# LITERATURE CITED

Ackerman, M.T., 1989 April.  Compilation of Lakes, Ponds, Reservoirs and Impoundments Relative to the Massachusetts Lake Classification Program.  Publication: #15901-171-50-4-89-c.r.  Technical Services Branch, Massachusetts Division of Water Pollution Control, Department of Environmental Quality Engineering, Westborough, MA.

Austin, P. (Patricia.Austin@state.ma.us) 1993. Quabbin Reservoir minimum release requirements.  Metropolitan District Commission, Division of Watershed Management.  West Boylston, MA.  E-mail to L.Kennedy dated 13 July 1993.

Bishop, B. 2001.  Personal Communication.  Aesthetic quality of tributaries to Quabbin Reservoir. Metropolitan District Commission, Division of Watershed Management.  Belchertown, MA.

Boisjolie, K.  2001. Personal Communication.  CSO information for the Chicopee River Basin. .  Massachusetts Department of Environmental Protection, Bureau of Resource Protection. Springfield, MA.

Brander, K. 2000.  Personal Communication. CSOs in the Chicopee River Basin. Massachusetts Department of Environmental Protection, Division of Municipal Services. Wilmington, MA.

Breault, R.F. and S.L. Harris.  1997.  Geographical distribution and potential for adverse biological effects of selected trace elements and organic compounds in streambed sediment in the Connecticut, Housatonic, and Thames River Basins, 1992-94.  U.S. Geological Survey Water-Resources Investigations Report 97-4169.  National Water-Quality Assessment Program. Water Resources Division. Marlborough, MA.

Bumgardner, J. (James.Bumgardner@state.ma.us) 2001. Belchertown WMA registration/permit source information. DEP Western Regional Office, Bureau of Resource Protection, Springfield, MA.  E-mail to L. Kennedy dated 19 March 2001.

Chandler, D. 2001.  Personal Communication.  MDC Water quality data 1995 through 1999: Quabbin Reservoir and Ware River watersheds.  Metropolitan District Commission, Division of Watershed Management.  Belchertown, MA.

Coles, J.F.  1998.  Organochlorine compounds in fish tissue for the Connecticut, Housatonic, and Thames River Basins study unit, 1992-94. U.S. Geological Survey.  Water-Resources Investigations Report 98-4075.  National Water-Quality Assessment Program. Water Resources Division. Marlborough, MA.

- Environmental Law Reporter. 1988. Clean Water Deskbook. Environmental Law Institute. Washington, D.C.

EOEA. 1999a. MassGIS statewide 1:25000 land use datalayer.  Environmental Data Center. Executive Office of Environmental Affairs. Boston, MA.

EOEA. 1999b. MassGIS datalayers. Environmental Data Center. Executive Office of Environmental Affairs. Boston, MA.

EOEA. 2001. MassGIS power layer. Environmental Data Center. Executive Office of Environmental Affairs. Boston, MA.

EPA. 1997. Guidelines for Preparation of the Comprehensive State Water Quality Assessments (305(b) Reports) and Electronic Updates: Report Contents.  U.S. Environmental Protection Agency. Assessment and Watershed Protection Division (4503F).  Office of Wetlands, Oceans, and Watersheds.  Office of Water.  Washington D.C.

FERC. 20 December 2000. Hydropower. [Online]. Federal Energy Regulatory Commission. http://www.ferc.gov/hydro/hydro2.htm [12 December 2000].

Garabedian S.P., J.F. Coles, S.J. Grady, E.C.T. Trench and M.J. Zimmermen. 1998. Water Quality in the Connecticut, Housatonic and Thames River Basins, Connecticut, Massachusetts, New Hampshire, New York and Vermont, 1992-95.  U.G. Geological Survey Circular 1155. Marlborough, MA.

Gottlieb, A. 1994.  Letter to M. L Gaudet, Deputy Commissioner Fitchburg D.P.W.Division of Water Supply dated 28 February 1994. Water Withdrawal Permit #9P-2-08-097.01. Massachusetts Department of Environmental Protection, Office of Watershed Management.  Boston, MA.

Halliwell, D.B., W.A. Kimball and A.J. Screpetis.  1982.  Massachusetts Stream Classification Program Part I: Inventory of Rivers and Streams.  Massachusetts Division of Fisheries and Wildlife, Department of Fisheries, Wildlife, and Recreational Vehicles and Massachusetts Division of Water Pollution Control, Department of Environmental Quality Engineering. Westborough, MA.

Harris, S.L.  1997.  Inorganic and organic constituents and grain-size distribution in streambed sediment and ancillary data for the Connecticut, Housatonic, and Thames River Basins study unit, 1992-94.  U.S. Geological Survey Open File Report 96-937.  National Water-Quality Assessment.  Marlborough, MA.

Hogan, P.H.  2000.  Personal Communication.  Chicopee River Basin:  NPDES permitting information. Massachusetts Department of Environmental Protection, Division of Watershed Management, Worcester, MA.

Joyce J.P. 2000. Letter to P. Hogan, DWM dated 21 December 2000. Westover Air Reserve Base Storm water Permit Reapplication. Department of the Airforce. Airforce Reserve Command, Support Group Commander. Chicopee MA.

Kimball, W.A.1975.  The Chicopee River Basin 1974 Water Quality Analysis.  Water Quality Section, Division of Water Pollution Control, Massachusetts Water Resources Commission.  Westborough, MA.

Kimball, W.A. 1998. Draft Chicopee River Basin Monitoring Plan. Massachusetts Department of Environmental Protection, Central Regional Office.  Worcester, MA.

Kimball, W.A. 2001. Personal Communication. Chicopee River Permitting Information. Massachusetts Department of Environmental Protection, Central Regional Office.  Worcester, MA.

Kleinschmidt Associates and CEEI. 1999. Consolidated Edison Energy, Inc Development Plan for the Chicopee River Projects. Kleinschmidt Associates for Consolidated Edison Energy, Inc.  Pittsfield, ME.

LeVangie, D. 2001.  Water withdrawal  registration and permit information.  Water Management Act Database.  Massachusetts Department of Environmental Protection, Division of Watershed Management, Database Manager.  Boston, MA.

Lyons, P.  2000.  Personal Communication.  Town of Palmer instream fecal coliform bacteria data October 1999 through October 2000. Commonwealth of Massachusetts, Executive Office of Environmental Affairs, Chicopee River Watershed Team Leader, Belchertown, MA.

Lyons, P.  2001.  Personal Communication.  Ware River Water Withdrawal Information. Commonwealth of Massachusetts, Executive Office of Environmental Affairs, Chicopee River Watershed Team Leader, Belchertown, MA.

MA DEM.  1993.  Areas of Critical Environmental Concern (ACEC) Program Guide June 1993.  Commonwealth of Massachusetts, Executive Office of Environmental Affairs, Department of Environmental Management, ACEC Program.  Boston,  MA.

MA DEP.  1996. (Revision of 1995 report).  Massachusetts surface water quality standards.  Massachusetts Department of Environmental Protection, Division of Water Pollution Control, Technical Services Branch.  Westborough, MA  114p.  (Revision of 314 CMR 4.00, effective June 23, 1996.)

MA DEP.  1998. Open file.  DWM 1998 RBP II habitat assessment field sheets.  Massachusetts Department of Environmental Protection, Division of Watershed Management, Worcester, MA.

MA DEP. 1999. Final Massachusetts Section 303(d) List of Waters 1998. Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester, MA.

MA DEP. 2000a.  Commonwealth of Massachusetts Summary of Water Quality 2000.  Massachusetts Department of Environmental Protection, Division of Watershed Management, Worcester, MA.

MA DEP. 2000b.  Open File.  PALIS updates.  Massachusetts Department of Environmental Protection, Division of Watershed Management. Worcester, MA.

MA DEP. 2000c.  Open NPDES permit files.  Massachusetts Department of Environmental Protection, Division of Watershed Management. Worcester, MA.

MA DEP. 2000d. Open WMA and NPDES permit files.  Massachusetts Department of Environmental Protection, Bureau of Resource Protection. Springfield, MA.

MA DEP. 2000e.  Open numeric biocriteria development project files.  Massachusetts Department of Environmental Protection, Division of Watershed Management. Worcester, MA.

MA DEP 2000f.  Draft Total Maximum Daily Loads of Phosphorus for Selected Chicopee Basin Lakes -- DEP DWM TMDL Draft Report MA36025-2000-2.   Massachusetts Department of Environmental Protection, Division of Watershed Management. Worcester, MA.

MA DEP 6 February 2001.  Bureau of Waste Site Cleanup – Site/Reportable Releases Lookup.  [Online]. http://www.dep.state.ma.us/dep/bwsc/sites/report.htm [29 January 2001].

MA DEP 8 March 2001.  Bureau of Waste Site Cleanup – Site/Reportable Releases Lookup.  [Online]. http://www.dep.state.ma.us/dep/bwsc/sites/report.htm [29 January 2001].

MA DEP and DEM.  1998. Eutrophication and Aquatic Plant Management in Massachusetts Draft Generic Environmental Impact Report.  Massachusetts Department of Environmental Protection, Division of Watershed Management. Worcester, MA and Massachusetts Department of Environmental Management. Boston, MA.

MA DPH. 1994.  Public Health Interim Freshwater Fish Consumption Advisory.  Massachusetts Department of Public Health. Boston, MA.

MA DPH. 1999.  Freshwater Fish Consumption Advisory List.  The Commonwealth of Massachusetts, Bureau of Environmental Health Assessment. Boston, MA.

Mattson, M. 2001 Personal Communication.  Chicopee River Basin Lakes TMDLs..  Massachusetts Department of Environmental Protection, Division of Watershed Management. Worcester, MA.

McCollum, R. 2000.  Letter to E. Golden, Chairman Ludlow Board of Public Works dated 13 October 2000.  Ludlow-DWPC-OPS Ludlow Collection System NPDES MA0101338 Compliance Evaluation Non-sampling.  DEP Western Regional Office, Bureau of Resource Protection, Springfield, MA.

McCollum, R. 2001.  Personal Communication.  Chicopee River Basin information; MASSPOWER facility and CEEI . DEP Western Regional Office, Bureau of Resource Protection, Springfield, MA.

MDC. 1997. Water Quality Report 1996. Massachusetts Metropolitan District Commission, Division of Watershed Management, Quabbin Section, Belchertown, MA.

MDC. 3 January 2001. MDC/DWM Watershed Protection Plan Update Quabbin Reservoir Watershed and Ware River Watershed DRAFT - Executive Summary - DRAFT .  [Online]. Massachusetts Metropolitan District Commission.  http://www.state.ma.us/mdc/quabplan.html, [December 2000].

Persaud, D., R. Jaagumagi, and A. Hayton.  1993.  Guidelines for the protection and management of aquatic sediment quality in Ontario.  Water Resources Branch, Ontario Ministry of the Environment.  Ontario, Canada.

Pistrang, L.  (Larry.Pistrang@state.ma.us).  2000.  MDC Quabbin Reservoir Watershed benthic macroinvertebrate data -  excel spreadsheets for 1990 – 1994 data.  E-mails to L.Kennedy (Laurie.Kennedy@state.ma.us).

Rojko, A. M., W. A. Kimball, and A. J. Screpetis.  1995.  Designated Outstanding Resource Waters of Massachusetts 1995.  Massachusetts Executive Office of Environmental Affairs, Department of Environmental Protection, Bureau of Resource Protection, Office of Watershed Management.  Grafton, MA.

Sloaner, M.  2001.  Personal Communication.  Chicopee River Fish Consumption Health Risk Assessment.  Massachusetts Department Of Public Health, Bureau of Environmental Health Assessment..  Boston, MA.

Socolow, R.S., L.Y. Comeau., J.L. Zanca and L.R. Ramsbey.  1999.  Water Resources Data for Massachusetts and Rhode Island, Water Year 1998.  U.S. Geological Survey Report MA-RI-98-1. Water Resources Division, Marlborough, MA.

Socolow, R.S., J.L. Zanca, D. Murino Jr., and L.R. Ramsbey.  2000.  Water Resources Data for Massachusetts and Rhode Island, Water Year 1999.  U.S. Geological Survey Report MA-RI-99-1. Water Resources Division, Northboro, MA.

Szal, G.M.  8 June 1998. (Gerald.Szal@state.ma.us).  Hardwick WPC-Gilbertville – Hardwick Landfill Leachate. Email to R. Kimball (Robert.Kimball@state.ma.us).

UWRWA. 1999. Prince River – Shoreline Survey. Upper Ware River Watershed Association, Barre MA.

USGS 1998. Unpublished Data. Provisional data for low-flow frequency statistics for Massachusetts gaging stations. (3.5” floppy disk).  U.S. Geological Survey, Water Resources Division, Marlborough, MA.

Wandle, S.W. Jr. 1984.  Gazetteer of Hydrologic Characteristics of Streams in Massachusetts – Connecticut River Basin.  U. S. Geological Survey, Water-Resources Investigations Report 84-4282.  Boston, MA.

# APPENDIX A - 1998 DEP DWM CHIcOPEE RIVER BASIN QA/QC REPORT

INTRODUCTION

Quality Assurance/Quality Control (QA/QC) activities were conducted as part of the DEP DWM Chicopee River Watershed Monitoring Survey in 1998 (Kimball 1998).  The QA/QC review was conducted to ensure that the collection and analysis of the monitoring data followed approved standard operating procedures (SOPs) and that data collected met data quality objectives (DQO’s).  The 1998 monitoring data subjected to this QA/QC review includes the following: discrete water samples, in-situ water quality measurements and fish tissue samples.  All discrete water sample and fish tissue monitoring data were reviewed independently by the Wall Experiment Station’s (WES) Quality Assurance Program, the Division of Watershed Management’s (DWM) Quality Assurance Officer, Assessment Coordinator, and the DWM database manager.  All in-situ water quality measurements were reviewed independently by DWM’s Hydrolab® Multiprobe Series 3 analyzer (hereafter referred to as Hydrolab®) Instrument Coordinator and Database Manager.  Data that fell outside established QA/QC acceptance criteria were investigated and may have been subject to censoring. The Quality Assurance/Quality Control appendix is divided into three sections: A.1 field and laboratory data objectives; A.2 QA/QC data; A.3 analytical methods.

A.1 Field and Laboratory QA/QC Objectives

Data collected by DWM in the 1998 Chicopee River survey was subject to field and laboratory data quality objectives.  Section A.1.1 outlines the field collection objectives and laboratory quality control for discrete water samples.  Section A.1.2 includes fish tissue laboratory quality control methods and Section A.1.3 includes Hydrolab® QA/QC procedures.

A.1.1	Discrete Water Sample Data

FIELD

A detailed QA/QC assessment of the four data quality objectives and additional DWM quality assurance observations for the 1998 Chicopee River Watershed data can be found in the 1998 QA/QC Assessment Report (MA DEP 2000).

The collection of discrete water sample analytes followed DWM Standard Operating Procedures (MA DEP 1999b).  Four field collection quality control criteria were applied to the Chicopee River Watershed 1998 discrete water sample data:

1.0	Sampling/Analysis Holding Time: Each analyte has a standard holding time that has been established to ensure sample/analysis integrity.  Refer to DWM Standard Operating Procedure Table 1.0 CN# 1.0 (MA DEP 1999b) for a complete listing.  If the standard holding time was exceeded, this objective is violated and data are censored.

2.0	Quality Control Sample Frequency: At a minimum, one field blank and one replicate must be collected for every ten samples by any given sampling crew on any given date. If less than one quality control sample per 10 field samples was collected, this objective is violated and data are censored.

- Field Blank: Field blanks were prepared at the DWM Worcester Laboratory.  Reagent grade water was transported into the field in a sample container where it was transferred into a different sample container and fixed where necessary using the same method as its corresponding field sample.   All blanks were submitted to the WES laboratory “blind”.  If the field blanks were significantly different (>2 standard deviations (Clesceri et al. 1998)) from the detection limit, this data quality objective is violated.

4.0	Field Replicate: Two independent samples were collected from the same location and as close as possible to the same time in the field.  Both samples were submitted to WES laboratory “blind”.  In order for this data quality objective to be met, the results must be:

<20% Relative Percent Difference (RPD) for method detection limits >1mg/L

<30% RPD for method detection limits <1mg/L

LABORATORY

Discrete water sample analysis followed EPA-approved laboratory QA/QC methodologies in accordance with WES Standard Operating Procedures (MA DEP 1995). The quality of data generated at WES was determined by analyzing the results of a variety of quality control procedures including but not limited to:

Low Calibration Standards – Checks the stability of the instrument’s calibration curve. Analyzes the accuracy of an instrument’s calibration within a 5% range.

Reference Standards  – Generally, a second source standard (a standard different from the calibration stock standard) that analyzes the accuracy of an instrument’s calibration within a 5% range.

Laboratory Reagent Blank/Method Blank (LRB) – Reagent grade water (de-ionized) extracted with every sample set to ensure that the system is free of target analytes (< MDL).

Duplicate Sample – Measures the precision (% Relative Percent Difference) of the extraction and analytical process.  The acceptable laboratory %RPD range is typically  25%.

Spike Sample (Laboratory Fortified Blank - LFB, Laboratory Fortified Matrix - LFM)– Measures the accuracy (% Recovery) of an analytical method.  The acceptable laboratory % recovery range is typically between 80 – 120% for LFB samples and 70 –130% for LFM discrete water samples.

The WES Laboratory is solely responsible for the administration of its Quality Assurance Program and Standard Operating Procedures.  The frequency of the laboratory’s quality control procedure was at times inconsistent with their Quality Assurance Plan (MA DEP 1995).  In these circumstances additional quality assurance procedures were used.  Refer to WES’s Quality Assurance Plan (MA DEP 1995) for specific laboratory analytical QA/QC criteria.  WES laboratory releases discrete water sample data when their established QA/QC criteria are met or the data are labeled as outside of these criteria.

A.1.2	Fish Tissue Data

Fish were collected and processed according to DWM’s Quality Assurance Project Plan (MA DEP 1999a). Tissue preparation and analysis strictly adhered to EPA-approved laboratory QA/QC methodologies in accordance with WES Standard Operating Procedures (MA DEP 1995).  The quality of tissue data generated at WES was determined by incorporating a variety of quality control samples:

Laboratory Reagent Blank/Method Blank (LRB) – Clean clam tissue matrix extracted with every sample set to ensure that the system is free of target analytes (< MDL).

Laboratory Fortified Blank (LFB) – Clean clam tissue matrix spiked with a low concentration of target compounds.  LFB results are used to establish accuracy of system’s performance.  The acceptable laboratory % recovery range is typically 80 – 120%.

Laboratory Fortified Matrix (LFM) – Tissue matrix spiked with a low concentration of a target compound.  LFM results are used to establish accuracy of the extraction and analytical process.  The acceptable laboratory % recovery range is typically between 70 – 130% for metal analysis and 60 –140% for PCB/Organochlorine Pesticide analysis

Quality Control Standard (QCS) – A pre-spiked secondary tissue sample.  QCS results are used to establish accuracy in the extraction and test methods.  The acceptable laboratory  % recovery range is typically between 80–120%.

The WES Laboratory is solely responsible for the administration of its Quality Assurance Program and Standard Operating Procedures.  The frequency of the laboratory’s quality control procedure was at times inconsistent with their Quality Assurance Plan (MA DEP 1995).  In these circumstances additional quality assurance procedures were used.  Refer to WES’s Quality Assurance Plan (MA DEP 1995) for specific laboratory analytical QA/QC criteria.  WES laboratory releases tissue data when their established QA/QC criteria are met or the data are labeled as outside of these criteria.

A.1.3	In-situ Water Quality Analysis

A detailed QA/QC assessment of Hydrolab® pre-survey calibration and check, post survey check and data reduction activities for the 1998 Chicopee River Watershed data can be found in the 1998 Hydrolab® QA/QC Technical Memorandum (MA DEP 1998)

Trained DWM staff members conducted in-situ measurements using a Hydrolab®.  The instrument measures dissolved oxygen, temperature, pH, conductivity, depth and turbidity and calculates total dissolved solids and % saturation of oxygen.  To ensure the quality of the in-situ data, the following QA/QC steps were taken:

1.0	Pre- Survey Calibration and Check: Standard pre-survey calibration of the Hydrolab® unit was conducted in accordance with the DWM SOP for Hydrolab® use (MA DEP 1999c).  After the instrument was calibrated and before the instrument was released to field staff, an instrument check using both a low ionic standard and filtered de-ionized water was performed.  The purpose of this check is to make sure that the instrument is providing stable readings as the waters in Massachusetts are typically of low ionic strength.  If the instrument failed acceptance criteria, it was not released to field staff until the source of error was identified and corrected.

2.0	Post Survey Check: A standard post survey check of the Hydrolab® unit was performed in accordance with the DWM SOP for Hydrolab® use (MA DEP 1999c).  Upon return of the Hydrolab® unit to DWM’s lab after a survey run, a visual inspection was performed to identify any physical damage that may have occurred in the field.  The calibration of the unit was then checked against both a low ionic standard and filtered de-ionized water.  The results of the post survey calibration check were compared to the pre-calibration results.  If visual damage was observed and/or post calibration acceptance criteria were not achieved, the source of error was investigated and data collected in the field may have been subject to qualification or censoring.

3.0	Data Reduction: The Hydrolab® Coordinator and Database Manager reviewed the Hydrolab® data for instability, instrument malfunction, operator technique and aberrant trends.  If any of these conditions were detected, the data was investigated and may have been recommended for censoring.  The Database Manager electronically tagged all data recommended for censoring in the database.

A.2 QA/QC Data

Field blank and field replicate sampling results for the discrete water quality sampling (physico/chemical and bacteriological) are provided in Tables A.2-1 through A.2-4.  DEP DWM QA/QC water quality data is managed and maintained in the Water Quality Data Access Database.  Tables A.2-5 and A.2-6 contain laboratory QA/QC data for organics in tissue analyses and metals in tissue analyses, respectively.

Chicopee River Basin 1998 Water Quality Assessment ReportAppendix AA4

36wqar.docDWM CN 47.0

Table A.2-1.  1998 DEP DWM Chicopee River Basin instream physico-chemical QA/QC field blank data.  (All units expressed in mg/L unless otherwise specified.)

Time	Alkalinity	Hardness	Specific 	Chloride	Suspended	Total 	Turbidity	Total 	Ammonia	Nitrate	Total

(24hr)	Conductivity 	 Solids	Solids	 (NTU)	Kjeldahl 	Phosphorus

(umhos)	Nitrogen

Field Blank Sample

36-0012	BLANK	06/24/98	**	2.0	<0.66 	--	**  	<1.0	--	<0.1  	--	<0.02	<0.02	<0.01

36-0018	BLANK	07/15/98	**	3.0	<0.66 	--	<1.0	<1.0	--	0.10	--	<0.02	<0.02	<0.01

36-0025	BLANK	08/19/98	11:30	3.0	<0.66 	--	<1.0	<1.0	--	<0.1  	--	<0.02	<0.02	<0.01

36-0032	BLANK	09/16/98	11:05	<1.0	<0.66 	--	<1.0	<1.0	--	<0.1  	--	<0.02	<0.02	<0.01

36-0039	BLANK	10/14/98	11:25	1.0	<0.66 	--	<1.0	<1.0	--	<0.1  	--	<0.02	<0.02	<0.01

Field Blank Sample*

34-0008	BLANK	06/30/98	12:00	--  	--  	--	--  	--  	--	--  	--	<0.02	<0.02	<0.01

34-0016	BLANK	07/28/98	14:00	--  	--  	--	--  	<1.0	--	--  	--	<0.02	<0.02	<0.01

34-0025	BLANK	08/26/98	12:05	--  	--  	--	--  	<1.0	--	--  	--	<0.02	<0.02	<0.01

34-0033	BLANK	09/23/98	11:43	--  	--  	--	--  	<1.0	--	--  	--	<0.02	<0.02	0.01

34-0041	BLANK	10/20/98	11:58	--  	--  	--	<1.0	<1.0	--	--  	-0.1	<0.02	<0.02	<0.01

34-0049	BLANK	11/17/98	12:10	--  	--  	--	<1.0	<1.0	--	--  	-0.1	<0.02	<0.02	<0.01

34-0057	BLANK	12/14/98	11:45	--  	--  	--	<2.0	<0.5	--	--  	-0.1	<0.02	<0.02	<0.01

34-0065	BLANK	01/11/99	12:50	--  	--  	--	<2.0	<0.5	--	--  	-0.1	<0.02	0.02	0.01

34-0073	BLANK	02/09/99	11:55	--  	--  	--	<1.0	<1.0	--	--  	-0.1	<0.02	<0.02	<0.01

34-0081	BLANK	03/10/99	12:35	--  	--  	--	<2.0	<1.0	--	--  	-0.1	<0.02	<0.02	<0.01

34-0089	BLANK	03/23/99	12:45	--  	--  	--	<1.0	<0.5	--	--  	-0.1	<0.02	<0.02	<0.01

34-0097	BLANK	04/06/99	11:55	--  	--  	--	<1.0	<1.0	--	--  	-0.1	<0.02	<0.02	<0.01

34-0105	BLANK	04/21/99	11:55	--  	--  	--	<1.0	<1.0	--	--  	-0.1	<0.02	<0.02	<0.01

34-0113	BLANK	05/12/99	12:00	--  	--  	--	<1.0	<1.0	--	--  	-0.1	<0.02	<0.02	<0.01

** = missing/censored data          -- = no data

*Data collected as part of 104(b)(3) project 98-10/104 Connecticut River Land Use & Nutrient Study (in Appendix D, Kennedy and Weinstein 2000).

Chicopee River Basin 1998 Water Quality Assessment ReportAppendix AA5

36wqar.docDWM CN 47.0

Table A.2-2. 1998 DEP DWM Chicopee River Basin instream physico-chemical QA/QC field replicate data.  (All units expressed in mg/L unless otherwise specified.)

Time	Alkalinity	Hardness	Specific 	Chloride	Suspended	Total 	Turbidity	Total 	Ammonia	Nitrate	Total

(24hr)	Conductivity 	 Solids	Solids	 (NTU)	Kjeldahl 	Phosphorus

(umhos)	Nitrogen

QUABOAG RIVER,  Station: QRG

36-0007	36-0008	06/24/98	10:19	14  	18  	--	**  	8.4	--	5.8  	--	<0.02	<0.02	0.09

36-0008	36-0007	06/24/98	10:19	14  	18  	--	**  	8.3	--	5.4  	--	<0.02	0.02	0.09

Relative Percent Difference (RPD):	0.0%	0.0%	1.2%	7.1%	0.0%	0.0%	0.0%

36-0015	36-0014	07/15/98	**	14  	19  	--	25  	2.7	--	3.0  	--	<0.02	0.09	0.09

36-0014	36-0015	07/15/98	9:50	14  	19  	--	24  	3.2	--	3.0  	--	<0.02	0.07	0.08

Relative Percent Difference (RPD):	0.0%	0.0%	4.1%	16.9%	0.0%	0.0%	25.0%	11.8%

SWIFT RIVER,  Station: SRG

36-0023	36-0024	08/19/98	11:30	6.0	8.8	--	4.0	<1.0	--	0.35	--	<0.02	<0.02	<0.01

36-0024	36-0023	08/19/98	11:30	5.0	8.7	--	5.0	<1.0	--	0.30	--	<0.02	<0.02	<0.01

Relative Percent Difference (RPD):	18.2%	1.1%	22.2%	0.0%	15.4%	0.0%	0.0%	0.0%

36-0030	36-0031	09/16/98	11:05	4.0	7.5	--	4.0	<1.0	--	0.35	--	<0.02	<0.02	0.01

36-0031	36-0030	09/16/98	11:05	4.0	7.5	--	4.0	<1.0	--	0.35	--	<0.02	0.02	<0.01

Relative Percent Difference (RPD):	0.0%	0.0%	0.0%	0.0%	0.0%	0.0%	0.0%	0.0%

36-0037	36-0038	10/14/98	11:25	5.0	9.2	--	5.0	<1.0	--	0.42	--	<0.02	0.03	0.01

36-0038	36-0037	10/14/98	11:25	5.0	9.1	--	4.0	<1.0	--	0.40	--	<0.02	<0.02	0.01

Relative Percent Difference (RPD):	0.0%	1.1%	22.2%	0.0%	4.9%	0.0%	40.0%	0.0%

CONNECTICUT RIVER,  Station: CT06*

34-0006	34-0007	06/30/98	12:00	--  	--  	--	--  	--  	--	--  	--	<0.02	0.14	0.11

34-0007	34-0006	06/30/98	12:00	--  	--  	--	--  	--  	--	--  	--	<0.02	0.14	0.13

Relative Percent Difference (RPD):	0.0%	0.0%	16.7%

34-0014	34-0015	07/28/98	14:00	--  	--  	--	--  	<1.0	--	--  	--	<0.02	0.18	<0.01

34-0015	34-0014	07/28/98	14:00	--  	--  	--	--  	<1.0	--	--  	--	<0.02	0.18	<0.01

Relative Percent Difference (RPD):	0.0%	0.0%	0.0%	0.0%

34-0023	34-0024	08/26/98	12:05	--  	--  	--	--  	1.2	--	--  	--	<0.02	0.18	0.01

34-0024	34-0023	08/26/98	12:05	--  	--  	--	--  	1.2	--	--  	--	<0.02	0.18	0.02

Relative Percent Difference (RPD):	0.0%	0.0%	0.0%	66.7%

34-0031	34-0032	09/23/98	11:43	--  	--  	--	--  	<1.0	--	--  	--	<0.02	0.20	0.02

34-0032	34-0031	09/23/98	11:43	--  	--  	--	--  	<1.0	--	--  	--	<0.02	0.22	0.02

Relative Percent Difference (RPD):	0.0%	0.0%	9.5%	0.0%

34-0039	34-0040	10/20/98	11:58	--  	--  	--	9.0	1.2	--	--  	0.18	<0.02	0.19	0.02

34-0040	34-0039	10/20/98	11:58	--  	--  	--	9.0	1.2	--	--  	0.17	<0.02	0.19	0.02

Relative Percent Difference (RPD):	0.0%	0.0%	5.7%	0.0%	0.0%	0.0%

** = missing/censored data          -- = no data

*Data collected as part of 104(b)(3) project 98-10/104 Connecticut River Land Use & Nutrient Study (in Appendix D, Kennedy and Weinstein 2000).

Chicopee River Basin 1998 Water Quality Assessment ReportAppendix AA6

36wqar.docDWM CN 47.0

Table A.2-2.  Continued.  1998 DEP DWM Chicopee River Basin instream physico-chemical QA/QC field replicate data.  (All units expressed in mg/L unless otherwise specified.)

Time	Alkalinity	Hardness	Specific 	Chloride	Suspended	Total 	Turbidity	Total 	Ammonia	Nitrate	Total

(24hr)	Conductivity 	 Solids	Solids	 (NTU)	Kjeldahl 	Phosphorus

(umhos)	Nitrogen

CONNECTICUT RIVER,  Station: CT06*     Continued

34-0047	34-0048	11/17/98	12:10	--  	--  	--	11  	1.0	--	--  	0.13	<0.02	0.25	0.02

34-0048	34-0047	11/17/98	12:10	--  	--  	--	11  	<1.0	--	--  	0.12	<0.02	0.24	0.02

Relative Percent Difference (RPD):	0.0%	0.0%	8.0%	0.0%	4.1%	0.0%

34-0055	34-0056	12/14/98	11:45	--  	--  	--	6.0	1.8	--	--  	0.17	<0.02	0.29	0.02

34-0056	34-0055	12/14/98	11:45	--  	--  	--	7.0	1.9	--	--  	0.15	<0.02	0.28	0.02

Relative Percent Difference (RPD):	15.4%	5.4%	12.5%	0.0%	3.5%	0.0%

34-0063	34-0064	01/11/99	12:50	--  	--  	--	10  	0.8	--	--  	0.18	0.02	0.38	0.02

34-0064	34-0063	01/11/99	12:50	--  	--  	--	11  	0.6	--	--  	0.18	0.02	0.39	0.02

Relative Percent Difference (RPD):	9.5%	28.6%	0.0%	0.0%	2.6%	0.0%

34-0071	34-0072	02/09/99	11:55	--  	--  	--	13  	1.1	--	--  	0.15	0.02	0.33	0.02

34-0072	34-0071	02/09/99	11:55	--  	--  	--	12  	0.9	--	--  	0.16	<0.02	0.32	0.02

Relative Percent Difference (RPD):	8.0%	20.0%	6.5%	0.0%	3.1%	0.0%

34-0079	34-0080	03/10/99	12:35	--  	--  	--	11  	4.1	--	--  	0.17	<0.02	0.29	0.03

34-0080	34-0079	03/10/99	12:35	--  	--  	--	12  	3.9	--	--  	0.22	<0.02	0.29	0.03

Relative Percent Difference (RPD):	8.7%	5.0%	25.6%	0.0%	0.0%	0.0%

34-0087	34-0088	03/23/99	12:45	--  	--  	--	9.0	110  	--	--  	0.56	0.03	0.26	0.25

34-0088	34-0087	03/23/99	12:45	--  	--  	--	9.0	130  	--	--  	0.56	0.02	0.26	0.26

Relative Percent Difference (RPD):	0.0%	16.7%	0.0%	40.0%	0.0%	3.9%

34-0095	34-0096	04/06/99	11:55	--  	--  	--	5.0	43  	--	--  	0.24	<0.02	0.33	0.07

34-0096	34-0095	04/06/99	11:55	--  	--  	--	5.0	45  	--	--  	0.27	<0.02	0.32	0.06

Relative Percent Difference (RPD):	0.0%	4.5%	11.8%	0.0%	3.1%	15.4%

34-0103	34-0104	04/21/99	11:55	--  	--  	--	7.0	1.9	--	--  	0.11	<0.02	0.31	0.02

34-0104	34-0103	04/21/99	11:55	--  	--  	--	7.0	1.6	--	--  	0.15	<0.02	0.31	0.02

Relative Percent Difference (RPD):	0.0%	17.1%	30.8%	0.0%	0.0%	0.0%

34-0111	34-0112	05/12/99	12:00	--  	--  	--	7.0	1.0	--	--  	0.15	<0.02	0.24	0.01

34-0112	34-0111	05/12/99	12:00	--  	--  	--	7.0	<1.0	--	--  	0.16	<0.02	0.23	0.01

Relative Percent Difference (RPD):	0.0%	0.0%	6.5%	0.0%	4.3%	0.0%

** = missing/censored data          -- = no data

*Data collected as part of 104(b)(3) project 98-10/104 Connecticut River Land Use & Nutrient Study (in Appendix D, Kennedy and Weinstein 2000).

Table A.2-3.  1998 DEP DWM Chicopee River Basin instream bacteriological QA/QC field blank data.  (cfu/100mLs.)

Time	FECAL	E-COLI	ENTEROCOCCUS

(24hr)

Field Blank Sample

36-0012	BLANK	06/24/98	**	<20	<20	<20

36-0018	BLANK	07/15/98	**	<20	--  	--

36-0025	BLANK	08/19/98	11:30	<16	--  	--

36-0032	BLANK	09/16/98	11:05	<16	--  	--

36-0039	BLANK	10/14/98	11:25	<6	<6	--

** = missing/censored data          -- = no data

Table A.2-4. 1998 DEP DWM Chicopee River Basin instream bacteriological QA/QC field replicate data.  (cfu/100mLs, log10 transformed.)

Time	FECAL	E-COLI	ENTEROCOCCUS

(24hr)

QUABOAG RIVER,  Station: QRG

36-0007	36-0008	06/24/98	10:19	1.778	1.778	3.301

36-0008	36-0007	06/24/98	10:19	2.146	2.000	3.602

Relative Percent Difference (RPD):	18.8%	11.7%	8.7%

36-0015	36-0014	07/15/98	**	2.973	--  	--

36-0014	36-0015	07/15/98	9:50	2.681	--  	--

Relative Percent Difference (RPD):	10.3%

SWIFT RIVER,  Station: SRG

36-0023	36-0024	08/19/98	11:30	2.114	--  	--

36-0024	36-0023	08/19/98	11:30	1.820	--  	--

Relative Percent Difference (RPD):	15.0%

36-0030	36-0031	09/16/98	11:05	1.204	--  	--

36-0031	36-0030	09/16/98	11:05	1.820	--  	--

Relative Percent Difference (RPD):	40.7%

36-0037	36-0038	10/14/98	11:25	2.079	1.973	--

36-0038	36-0037	10/14/98	11:25	2.255	2.041	--

Relative Percent Difference (RPD):	8.1%	3.4%

** = missing/censored data          -- = no data

Table A.2-5.  1998 DEP DWM Chicopee River Basin laboratory QA/QC data for metals in fish tissue.  (Data expressed in mg/kg wet weight unless otherwise noted.)

TableA.2-6.  AOAC Method 983.21 target analytes.  (Data expressed in µg/g wet weight.)

| ANALYTE | MINIMUM DETECTION LIMIT |  |
| --- | --- | --- |
| PCB A1242 |  | 0.26 |
| PCB A1254 |  | 0.37 |
| PCB A1260 |  | 0.11 |
| Chlordane |  | 0.044 |
| Toxaphene |  | 0.11 |
| a-BHC |  | 0.017 |
| b-BHC |  | 0.014 |
| Lindane |  | 0.012 |
| d-BHC |  | 0.029 |
| Hexachlorocyclopentadiene |  | 0.0077 |
| Trifluralin |  | 0.0062 |
| Hexachlorobenzene |  | 0.0091 |
| Heptachlor |  | 0.013 |
| Heptachlor Epoxide |  | 0.013 |
| Methoxychlor |  | 1.07 |
| DDD |  | 0.010 |
| DDE |  | 0.014 |
| DDT |  | 0.013 |
| Aldrin |  | 0.0092 |

Table A.2-7.  1998 DEP DWM laboratory QA/QC blank data for organics in fish tissue.

| DATE ANALYZED | LABORATORY SAMPLE NUMBER | ANALYTE |  |  |
| --- | --- | --- | --- | --- |
|  |  | % Lipid | Pesticides | PCB’s |
| 22 December 1998 | BLANK - 1 | 0.15 | ND | ND |
| 30 December 1998 | BLANK - 2 | 0.16 | ND | ND |
| 7 January 1999 | BLANK - 3 | 0.08 | ND | ND |
| 3 February 1999 | BLANK - 4 | 0.11 | ND | ND |
| 4 February 1999 | BLANK - 5 | 0.08 | ND | ND |
| 5 February 1999 | BLANK - 6 | 0.16 | ND | ND |
| 9 February 1999 | BLANK - 7 | 0.18 | ND | ND |
| 10 February 1999 | BLANK - 8 | 0.14 | ND | ND |
| 11 February 1999 | BLANK - 9 | 0.20 | ND | ND |
| 12 February 1999 | BLANK - 10 | 0.12 | ND | ND |

ND - Not detected

Table A.2-8.  1998 DEP DWM laboratory QA/QC duplicate data for organics in fish tissue.  The analytes were extracted and analyzed according to modified AOAC 983.21 procedure for the analysis of PCBs and Organochlorine Pesticides.  (Data expressed in µg/g wet weight unless otherwise noted.)

| DATE ANALYZED | LABORATORY SAMPLE NUMBER | ANALYTE |  |  |
| --- | --- | --- | --- | --- |
|  |  | Pesticides* | PCBs | % Lipid |
| 29 December 1998 | L980381-3 | ND | ND | 0.23 |
|  | L980381-3 duplicate | ND | ND | 0.67 |
|  | relative percent difference | NA | NA | 97.8% |
| 3 February1999 | L980445-1 | DDE* 0.021 | ND | 0.17 |
|  | L980445-1 duplicate | DDE* 0.018 | ND | 0.11 |
|  | relative percent difference | DDE* 15.4% | NA | 42.8% |
| 5 February 1999 | L980538-2 | ND | ND | 0.38 |
|  | L980538-2 duplicate | ND | ND | 0.32 |
|  | relative percent difference | NA | NA | 17.1% |
| 12 February 1999 | L980610-3 | ND | ND | 0.17 |
|  | L980610-3 duplicate | ND | ND | 0.20 |
|  | relative percent difference | NA | NA | 16.2% |

*NOTE:  Analytes in Table A.2-6 not appearing in the above table were included in the analysis and were not detected. 		ND - not detected		NA - not applicable

Table A.2-9.  1998 DEP DWM laboratory QA/QC lab fortified matrix and matrix spike duplicate data for organics in fish tissue.  The analytes were extracted and analyzed according to modified AOAC 983.21 procedure for the analysis of PCBs and Organochlorine Pesticides.  (Data expressed in µg/g wet weight unless otherwise noted.)

| DATE ANALYZED | 29 December 1998 | 4 February 1999 | 11 February 1999 | 11 February 1999 |
| --- | --- | --- | --- | --- |
| LABORATORY SAMPLE NUMBER | Matrix Spike L980381-1 | Matrix Spike L980522-3 | Matrix Spike L980609-1 | Matrix Spike Duplicate L980609-1 |
| %LIPIDS | 0.07 | 0.06 | 0.07 | 0.07 |
| ANALYTE | PCB A1260 MDL 0.11 | TOXAPHENE MDL 0.11 | PCB A1260 MDL 0.11 | PCB A1260 MDL 0.11 |
| Expected | 0.92 | 0.96 | 0.99 | 0.95 |
| Lab Fortified Matrix | 0.78 | 0.84 | 1.13 | 0.97 |
| Recovery (%) | 85 | 88 | 114 | 102 |

NOTE:  Analytes in Table A.2-6 not appearing in the above table were included in the analysis and were not detected.		MDL – minimum detection limit

Table A.2-10.  1998 DEP DWM laboratory QA/QC lab fortified blank data for organics in fish tissue.  The analytes were extracted and analyzed according to modified AOAC 983.21 procedure for the analysis of PCBs and Organochlorine Pesticides.  (Data expressed in µg/g wet weight unless otherwise noted.)

| DATE ANALYZED | 30 December 1998 | 7 January 1999 |
| --- | --- | --- |
| LABORATORY SAMPLE NUMBER | Laboratory fortified blank #1 | Laboratory fortified blank #2 |
| %LIPIDS | 0.09 | 0.25 |
| ANALYTE | CHLORDANE MDL 0.044 | PCB A1242 MDL 0.26 |
| Expected | 1.85 | 2.0 |
| Lab Fortified Matrix | 1.69 | 2.2 |
| Recovery (%) | 91 | 110 |

NOTE:  Analytes in Table A.2-6 not appearing in the above table were included in the analysis and were not detected.		MDL – minimum detection limit

A.3	Analytical Methods

Discrete Water Sample Analytes			EPA Method*	SM Methods**	Other Methods

Fecal Coliform							SM 9222D

E. Coli, MTEC							SM 9213D

Enterococcus							SM 9230C

Alkalinity								SM 2320B

Chloride (4500)							SM 4500CL-B

Hardness					EPA 200.7

Turbidity						EPA 180.1

Ammonia-N					EPA 350.1

Nitrate/Nitrite-N					EPA 353.1

Phosphorus-P (MAN)						SM 4500P-E

Suspended Solids						SM 2540D

Total Kjeldahl Nitrogen				EPA351.2

Fish Tissue Analytes

PCB Arochlor 1242								AOAC 983.21***

PCB Arochlor 1254									“

PCB Arochlor 1260									“

Chlordane										“

Toxaphene										“

a-BHC											“

b-BHC											“

Lindane											“

d-BHC											“

Hexachlorocyclopentadiene								“

Trifluralin										“

Hexachlorobenzene									“

Heptachlor										“

Heptachlor Epoxide									“

Methoxychlor										“

DDD											“

DDE											“

DDT											“

Aldrin											“

Lipids											“

Arsenic	 					EPA 200.9

Lead 						EPA 200.7

Selenium 					EPA 200.9

Cadmium 					EPA 200.7

Mercury 						EPA 245.6

In-Situ Water Quality Analytes

Hydrolab® Multiprobe Series 3 analyzer (MA DEP 1999c)

* =  “Methods for Chemical Analysis of Water and Wastes”, Environmental Protection Agency, Environmental Monitoring Systems Laboratory – Cincinnati (EMSL-CI), EPA-600/4-79-020, Revised March 1983 and 1979 where applicable.

** = Standard Methods, Examination of Water and Wastewater, 20th edition

***= PCBs and Organochlorine Pesticides in Biological Tissue, AOAC Official Methods of Analysis, 1990.  The samples were extracted and analyzed according to the modified AOAC 983.21 procedure for the analysis of PCBs and Organochlorine Pesticides.

### REFERENCES

Clesceri, L.S., A.E. Greenberg, and A.D. Eaton, (editors).  1998.  Standard Methods for the Examination of Water and Wastewater 20th Edition. American Public Heath Association, Washington, D.C.

Kennedy, L.K. and M.J. Weinstein.  2000.  Connecticut River Basin 1998 Water Quality Assessment Report. Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester, MA

Kimball, W.A. 1998. Draft Chicopee River Basin Monitoring Plan. Massachusetts Department of Environmental Protection, Central Regional Office.  Worcester, MA.

MA DEP.  1995, January Draft. Laboratory Quality Assurance Plan and Standard Operating Procedures. Massachusetts Department of Environmental Protection, Division of Environmental Analysis, Senator William X. Wall Experiment Station.  Lawrence, MA.

MA DEP.  1998.  Open File.  1998 QA/QC Hydrolab Technical Memorandum CN 35.0.  Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester, MA.

MA DEP.  1999a.  CN 13.0  Fish Contaminant Monitoring Program, Quality Assurance Project Plan, 1999.  Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester, MA.

MA DEP.  1999b. CN 1.0  Grab Collection Techniques for DWM Water Quality Sampling, Standard Operating Procedure.  October 25, 1999.  Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester, MA.

MA DEP.  1999c.  CN 4.0  Hydrolab® Series 3 Multiprobe, Standard Operating Procedure.  September 23, 1999.  Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester, MA.

MA DEP.  2000.  CN 11.0  1998 QA/QC Assessment Report .  2000. Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester, MA.

# APPENDIX B – 1998 DEP dwm CHICOPEE RIVER BASIN SURVEY DATA

## MATERIALS AND METHODS

The DWM began sampling in June 1998 and continued through October 1998.  The DWM sampling plan matrix is summarized in Table B1.  Sampling components at river stations included: in-situ Hydrolab® Multiprobe Series 3 analyzer (hereafter referred to as Hydrolab®) measurements, physico-chemical and nutrient sampling, fecal coliform bacteria sampling, benthic macroinvertebrate sampling, fish population sampling, and fish sampling for organic and metal toxins in edible fillets.  Synoptic surveys of lakes were conducted during June, July, and August, 1998 to coincide with the maximum extent of macrophyte growth.  Each sampling component is described in the sections that follow.

Table B1.  1998 Chicopee River Basin Surveys DEP DWM stream sampling matrix.

| Stream Names | Station1 | 1998 June | 1998 July | 1998 August | 1998 September | 1998 October |
| --- | --- | --- | --- | --- | --- | --- |
| Ware River, south of Route 122, Barre | CBG | C,N,B,H | C,N,B | C,N,B,H | C,N,B,H | C,N,B,H |
| Ware River | 36-WAREUP |  |  |  | M |  |
| Ware River, downstream of Route 32, Ware | WA09A | C,N,B,H | C,N,B,H | C,N,B,H | C,N,B,H | C,N,B,H |
|  | 36-WAREDN |  |  |  | M |  |
| Swift River | SRG | C,N,B,H | C,N,B,H | C,N,B,H | C,N,B,H | C,N,B,H |
|  | 36-SWIFT |  |  |  | M |  |
| Sevenmile River | SMG | C,N,B,H | C,N,B,H | C,N,B,H | C,N,B,H | C,N,B,H |
| Forget-Me-Not Brook |  |  |  | F |  |  |
|  | 36-FNBUP |  |  |  | M |  |
|  | 36-FNDDN |  |  | F | M |  |
|  |  |  |  | F |  |  |
| Quaboag River | 36-Quabup |  |  |  | M |  |
|  | QRG | C,N,B,H | C,N,B,H | C,N,B,H | C, N, B | C,N,B,H |
|  | 36-QUABDN |  |  |  | M |  |
|  | F0065 |  |  | T |  |  |
| Chicopee River | F0063 | T |  |  |  |  |

B=Bacteria (fecal coliform, E. coli, Enterococcus);  C=Chemistry (alkalinity, hardness, chlorides, total suspended solids, turbidity);  F = Fish population sampling;  H= Hydrolab® multiprobe meter (depth, pH, dissolved oxygen, conductivity, temperature, total dissolved solids, turbidity);  M=Macroinvertebrate kick sampling and habitat assessment;  N=Nutrients (total phosphorus, ammonia, nitrate-nitrogen, TKN);  T = Toxics in fish tissue (Cd, Pb, Hg, As, Se, % lipids, PCBs, organochlorine pesticides)

NOTE:  Data was also collected as part of projects (97-09/104 Numeric Biocriteria and 98-10/104 Connecticut River Land Use & Nutrient Study) authorized under the 104(b)(3) Wetlands and Water Quality Grant Program (see Appendix E of this report).  While these stations are not included in this matrix, the water quality data are presented in Tables B4 and B5 respectively and the stations are depicted in Figure B2.

SURVEY CONDITIONS

Conditions prior to each survey were characterized by analyzing precipitation and streamflow data.  Two weather station precipitation gages, Barre Station #BAR416 and Ware Station #WAR315 were used to determine precipitation and weather conditions in the five days prior to and on the sampling dates.  Data from these stations was provided by the DEM Office of Water Resources (MA DEM 1998).  Discharge (hereinafter referred to as streamflow) and duration data were obtained from six continuous USGS stream gages in the basin; Ware River near Barre (01172500), Ware River at Intake Works near Barre (01173000), Ware River at Gibbs Crossing (01173500), Swift River at west Ware (01175500), Sevenmile River near Spencer (01175670), and Quaboag River at West Brimfield (01176000) (Figure B1).  Streamflow statistics for the period-of-record (POR) for all gages are available from USGS.  These data can be found in their Water Resources Data for Massachusetts and Rhode Island, Water Year 1998 and 1999 reports (Socolow et al., 1999 and 2000).  The period of record (POR) for the discharge gages are: Ware River near Barre; July 1946 to present, Ware River at Intake Works near Barre; January 1928 to present, Ware River at Gibbs Crossing; August 1912 to present, Swift River at west Ware; October 1912 to present, Sevenmile River near Spencer; October 1960 to present, and Quaboag River at West Brimfield; August 1912 to present.

Figure B1.  Location of USGS gaging stations in the Chicopee River Basin.

STREAM WATER QUALITY MONITORING

The water quality sampling effort was conducted at stations identified in Figure B2.  Sampling at these synoptic monitoring locations included:

- in situ measurements using the Hydrolab® Multiprobe Series 3 analyzer (measures dissolved oxygen, water temperature, pH, conductivity, depth and turbidity and calculates total dissolved solids and % oxygen saturation),

- bacteria (fecal coliform, E. coli, and Enterococcus),.

- physico-chemical variables (alkalinity, hardness, chloride, suspended solids, and turbidity), and

- nutrient concentrations (total phosphorus, nitrate nitrogen, and ammonia).

Procedures used for water sampling and sample handling are described in the Grab Collection Techniques for DWM Water Quality Sampling, Standard Operating Procedure (MA DEP 1999a) and Hydrolab® Series 3 Multiprobe, Standard Operating Procedure (MA DEP 1999b) (Kimball 2001).  The Wall Experiment Station (WES), the Department’s analytical laboratory, supplied all sample bottles and field preservatives, which were prepared according to the WES Laboratory Quality Assurance Plan and Standard Operating Procedures (MA DEP 1995).  Samples were preserved in the field as necessary, transported on ice to WES on each sampling date, and analyzed according to the WES Standard Operating Procedure (SOP).  The quality control protocols that were followed for all samples (field blank, field replicate, and raw water) are described in Appendix A of this report.

Figure B2.  Location of 1998 DEP DWM water quality sampling and fish toxics monitoring stations in the Chicopee River Basin.  Stations sampled in the basin by DEP DWM as part of the 104(b)3 Numeric Biocriteria project (97-09/104)(data collected 1996 and 1998) and the Connecticut River Land Use & Nutrient Study project (98-10/104)(data collected 1998 and 1999) are also shown.

MACROINVERTEBRATES

Aquatic macroinvertebrates were collected from selected sites (Figure C1) within the Chicopee River Basin.  Within a 100-m reach on the selected stream, material from ten individual kick samples (representing a total sample area of approximately 2 m2) was composited.  Collected material was transferred to a plastic jar, labeled, and preserved with denatured 95% ethanol (Appendix C).  Habitat quality was scored at each sampling location following a habitat assessment procedure modified from Plafkin et al. (1989).

A technical memorandum (Appendix C) by John Fiorentino of DEP DWM entitled Chicopee River Watershed 1998 Biological Assessment presents the aquatic macroinvertebrate analysis of samples collected from selected sites in the Chicopee River Basin.

FISH POPULATION

The DWM conducted fish population surveys at three locations on Forget-Me-Not Brook on 25 August of 1998 to determine if impacts from the North Brookfield WWTP are affecting fish populations.  One station (Reach 1) was sampled above/upstream of the treatment plant and two stations (Reach 2 and Reach 3) were sampled below/downstream of the treatment plant.

The surveys were conducted using techniques similar to Rapid Bioassement Protocols V (fish) as described by Plafkin et al. (1989).

Fish populations were sampled, by electrofishing, using a Smith Root Model 12 battery powered backpack electrofisher.  Reaches of approximately 100m were sampled by passing a pole mounted anode ring from side to side through the stream channel and in and around likely fish holding cover.  All fish stunned were netted and held in buckets.  Sampling proceeded from an obstruction or constriction, upstream to an endpoint at another obstruction or constriction such as a waterfall or shallow riffle.  Following completion of a sampling run, all fish were identified to species, counted, and released alive.

FISH TOXICS

Fish toxics monitoring is aimed primarily at assessing human health risks associated with the consumption of freshwater fishes.  The program is a cooperative effort between three DEP Offices/Divisions, (Watershed Management, Research and Standards, and Environmental Analysis), the Department of Fisheries and Wildlife Environmental Law Enforcement (DFWELE), and the Department of Public Health (DPH).  Fish tissue monitoring is typically conducted to assess the concentrations of toxic contaminants in freshwater fish, identify waterbodies where those concentrations may pose a risk to human health, and identify waters where toxic chemicals may impact fish and other aquatic life.  Fish tissue analysis has been restricted to edible fillets.  The fish toxics monitoring was designed to screen the edible fillets of several species of fish representing different feeding guilds (i.e., bottom dwelling omnivores, top-level predators, etc.) for the presence of heavy metals, PCBs and organochlorine pesticides and to assess human health risks associated with the consumption of freshwater fishes.

Two sites were collectively decided on as sampling stations (Figure B2) for the Chicopee River Basin following meetings that DWM staff held with the EOEA Chicopee Watershed Team as well as DEP/WERO Bureau of Waste Site Clean up (BWSC) staff.  The Chicopee River in the vicinity of the Uniroyal Hazardous Waste Site (station F0063) was targeted because of the possibility of PCB contamination from the site.  The lower Quaboag River (station F0065) was selected because of the DFWELE trout stocking program, high fishing pressure, and DPH’s Fish Consumption Advisory on the upstream impoundments (Quacumquasit Pond also known as South Pond and Quaboag Pond also known as North Pond).

Sampling of the Chicopee River at station F0063 was conducted with boat mounted electrofishing gear.  The sampling reach, adjacent to the Uniroyal site, extended from the Chicopee Falls Dam downstream to the Dwight Station Dam.  Personal from DWM, EOEA and BWSC conducted the survey on 23 June 1998.  Electrofishing was performed by maneuvering a Cofelt electrofishing boat through the littoral zone and shallow water habitat of the waterbody, and collecting most fish shocked.  Fish collected by electrofishing were stored in a live well filled with site water until the sampling was completed.  Fish included in the sample were placed in ice filled coolers and brought back to the laboratory for sample processing.

Sampling of the Lower Quaboag River at station F0065 was conducted with a Smith Root Model 12 backpack electrofishing unit.  Samples were collected from the Lower Quaboag River at the Palmer Street Bridge, Palmer and the Rt. 32 Bridge crossing at Three Rivers in Palmer and Monson.  There is no barrier to migration between these sites and therefore fish collected from both locations will be considered as from one station.  Personnel from DFWELE and DWM conducted the survey on 17 August 1998.  Sampling proceeded by passing a pole mounted anode ring from side to side through the stream channel and in and around likely fish holding cover.  All fish stunned were netted and held in buckets.  Fish included in the sample were placed in ice filled coolers and brought back to the laboratory for sample processing.

Uniform protocols, designed to assure accuracy and prevent cross-contamination of samples, were followed for collecting, processing and shipping fish.  Lengths and weights were measured and fish were visually inspected for tumors, lesions, or other anomalies.  Scale samples were obtained from each fish to determine age.  Fish were filleted (skin off) on glass cutting boards and prepared for freezing.  All equipment used in the filleting process was rinsed in tap water to remove slime, scales, and other fluids such as blood, then re-rinsed in deionized water before (and/or after) each sample.  Composite samples (single fillets from each of two or more like-sized individuals of the same species) targeted for % lipids, PCBs and organochlorine pesticide analysis were wrapped together in aluminum foil.  The opposite fillets targeted for metals analysis were placed in VWR 32-ounce high density polyethylene (HDPE) cups with covers.  Samples were tagged and frozen for subsequent delivery to the Department’s Wall Experiment Station (WES).

Methods used at WES for metals analysis include the following:

Mercury is analyzed by a cold vapor method using a Perkin Elmer, FIMS (Flow Injection Mercury System) which uses Flow Injection Atomic Absorption Spectroscopy.  Cadmium and lead are analyzed using a Perkin Elmer, Optima 3000 XL ICP – Optical Emission Spectrophotometer.  Arsenic and selenium are analyzed using a Perkin Elmer, Zeeman 5100 PC, Platform Graphite Furnace, Atomic Absorption Spectrophotometer.

PCB/organochlorine pesticide analysis was performed on a gas chromatograph equipped with an electron capture detector.  Additional information on analytical techniques used at WES is available from the laboratory (MA DEP 1994).

LAKES

In the Chicopee River Basin there are 174 lakes, ponds or impoundments (the term "lakes" will hereafter be used to include all), covering 32,099 acres, that have been identified and assigned Pond and Lake Information System (PALIS) code numbers (Ackerman 1989 and MA DEP 2000).  During June, July and August 1998 DWM synoptic surveys were conducted on 73 of these lakes constituting 93% of the lakes in the Chicopee River Basin.

Observations, from at least one access point on each lake (multiple access points on larger lakes), were recorded on standardized field sheets during the synoptic surveys.  An attempt was made to observe the entire surface area of each lake to determine the extent of areal macrophyte cover.  At each sampling location, general water quality conditions, identification and abundance of aquatic and wetland macrophyte plant species, and estimates of total percent areal coverage were recorded.

Macrophyte visual observations were augmented at each station by identifying plant specimens collected from the lake bottom.  Specimens were retrieved utilizing a “rake” (a short handled, double-sided garden rake on a 50 foot line) thrown to its maximum extension in multiple directions at each station.  Macrophytes collected on the “rake” were identified (in-situ or in the laboratory) and recorded on the field sheets.

Transparency was measured where possible using a standard 20-centimeter diameter Secchi disk attached to a rope with metric calibrations.  When Secchi disk measurements were not feasible, transparency was estimated as being above or below 1.2 meters.  This depth is based on the MA DPH bathing beach standard (4 foot Secchi disk depth) (MA DPH 1969).

Trophic status has been estimated primarily using visual observations of macrophyte cover and phytoplankton populations. Trophic status (level of nutrient enrichment) determinations and designated use impairment assessments were made on site.  Occasionally, older data from more detailed diagnostic studies were utilized.  A more definitive assessment of trophic status would require more extensive collection of water quality and biological data.

## RESULTS

SURVEY CONDITIONS

To fulfill the assessment guidance, information on precipitation (MA DEM 1998) and stream discharge (Socolow et al. 1999 and 2000) were analyzed to estimate hydrological conditions during the water quality sampling events.  This review was conducted to estimate the streamflow condition in relation to the 7-day, 10-year (7Q10) low flow.  Additionally, this review was used to determine whether the fecal coliform bacteria data were representative of “wet” or “dry weather” sampling conditions.

The major stream discharges in the Chicopee River Basin are routinely regulated for municipal supplies; therefore, gage data throughout the basin should be interpreted with caution.  Gage # 01172500, Gage # 01173000, and Gage # 01173500 on the Ware River are located downstream of the Barre Falls Reservoir and are thus affected by municipal withdrawals.  The Ware Intake Works, which diverts water to the Quabbin Reservoir for use by the MWRA, is located upstream of Gage # 01173500 further regulating flow recorded at this gage.  Gage # 01175500 on the Swift River is affected by diversions of water from Quabbin Reservoir to the Wachusett Reservoir, the Chicopee Valley Aqueduct, and the City of Worcester.  Gage # 01175670 on the Sevenmile River is occasionally affected by ponds upstream that regulate flow. Gage # 01176000 on the Quaboag River is slightly affected during high flows by retarding reservoirs.  Gage # 01177000 on the Chicopee River is the most downstream gage in the basin and consequently the most regulated.  It is affected especially by withdrawals in the Swift River, Ware River, and Quaboag River subbasins, thus, data from the Chicopee River gage while included in Table B3, is not utilized in the following survey condition summaries.

Survey conditions are described below for each DWM sampling event reviewed for the assessment.

10 June 1998  This survey was conducted during and following relatively dry weather with minor precipitation occurring on 7-8 June (Table B2).  Streamflows (Table B3) recorded for this event were below the monthly averages for June 1998 and below the monthly period of record (POR) for each USGS streamflow gage.  Discharges on this day at the three USGS gages on the Ware River were approximately eight to fifty times higher than the 7-day, 10-year (7Q10) low flow estimates with monthly average discharges approximately 23 to 131 times higher than the 7Q10 low flow estimates (Table B3).  On the Swift River, sampling date and monthly average discharges were approximately two times higher than the 7Q10 low flow estimates.  The Sevenmile River sampling date discharges were approximately 48 times higher than the 7Q10 low flow estimates with monthly average discharges approximately 98 times higher than the 7Q10 low flow estimates.  On the Quaboag River sampling date discharges were approximately 9 times higher than the 7Q10 low flow estimates with monthly average discharges approximately 19 times higher than the 7Q10 low flow estimates. Data collected during this survey will be interpreted as being representative of dry weather conditions.

24 June 1998  This late June survey was conducted during and following relatively dry weather with the exception of 0.43 inches of rain recorded at precipitation station #BAR416 and 0.10 inches recorded at station #WAR315 four days prior to the sampling event (Table B2).  Streamflows for the June 24 sampling event were above the monthly averages for June 1998 with the exception of the Sevenmile River.  Streamflows were also above the monthly POR with the exception of the Swift River.  Discharges on this day at the three USGS gages on the Ware River were approximately 25 to 64 times higher than the 7-day, 10-year (7Q10) low flow estimates with monthly average discharges approximately 23 to 131 times higher than the 7Q10 low flow estimates (Table B3).  On the Swift River, sampling date discharges were approximately four times higher than the 7Q10 low flow estimates and monthly average discharges were approximately two times higher than the 7Q10 low flow estimates.  The Sevenmile River sampling date discharges were approximately 70 times higher than the 7Q10 low flow estimates with monthly average discharges approximately 98 times higher than the 7Q10 low flow estimates.  On the Quaboag River sampling date discharges were approximately 25 times higher than the 7Q10 low flow estimates with monthly average discharges approximately 19 times higher than the 7Q10 low flow estimates. Since less than a half-inch of precipitation was recorded within five days of the survey and streamflows were generally receding, the data collected during this survey will be interpreted as being representative of dry weather conditions.

15 July 1998  This survey was conducted during and following relatively dry weather (Table B2).  Streamflows (Table B3) recorded for this event were below the monthly averages for July 1998.  However discharges were below the monthly POR for USGS streamflow gages on the Ware and Sevenmile Rivers and above the monthly POR for USGS Gages on the Swift and Quaboag Rivers.  Discharges on this day at the three USGS gages on the Ware River were approximately four to 23 times higher than the 7-day, 10-year (7Q10) low flow estimates with monthly average discharges approximately 11 to 82 times higher than the 7Q10 low flow estimates (Table B3).  On the Swift River, sampling date discharges were approximately three times higher than the 7Q10 low flow estimates and monthly average discharges were approximately five times higher than the 7Q10 low flow estimates.  The Sevenmile River sampling date discharges were approximately 20 times higher than the 7Q10 low flow estimates with monthly average discharges approximately 35 times higher than the 7Q10 low flow estimates.  On the Quaboag River sampling date discharges were approximately eight times higher than the 7Q10 low flow estimates with monthly average discharges approximately ten times higher than the 7Q10 low flow estimates. Data collected during this survey will be interpreted as being representative of dry weather conditions.

19 August 1998  This survey was conducted during and following relatively dry weather with minor precipitation occurring one and two days prior to the sampling date (Table B2).  Streamflows were at or below the monthly mean for August 1998 with the exception of the Sevenmile River.  Streamflows were below the monthly POR at each gage.  Discharges on this day at the three USGS gages on the Ware River were approximately two to four times higher than the 7-day, 10-year (7Q10) low flow estimates with monthly average discharges approximately two to five times higher than the 7Q10 low flow estimates (Table B3).  On the Swift River, sampling date discharges were approximately 1.3 times higher than the 7Q10 low flow estimates and monthly average discharges were approximately two times higher than the 7Q10 low flow estimates.  The Sevenmile River sampling date discharges were approximately eight times higher than the 7Q10 low flow estimates with monthly average discharges approximately seven times higher than the 7Q10 low flow estimates.  On the Quaboag River sampling date discharges were approximately two times higher than the 7Q10 low flow estimates with monthly average discharges approximately two times higher than the 7Q10 low flow estimates.  Data collected during this survey will be interpreted as being representative of dry weather conditions.

16 September 1998  This survey was conducted during and following relatively dry weather conditions with the exception of minor precipitation recorded on the day before the sampling event (Table B2). Streamflows were below the monthly averages for September 1998 with the exception of the Swift and Sevenmile Rivers.  Streamflows were also below the monthly POR for all gages with the exception of the Swift River.  Discharges on this day at the three USGS gages on the Ware River were approximately 1.2 to 1.4 times higher than the 7-day, 10-year (7Q10) low flow estimates with monthly average discharges approximately 1.4 to 1.9 times higher than the 7Q10 low flow estimates (Table B3).  On the Swift River, sampling date discharges were approximately four times higher than the 7Q10 low flow estimates and monthly average discharges were approximately three times higher than the 7Q10 low flow estimates.  The Sevenmile River sampling date discharges were approximately two times higher than the 7Q10 low flow estimates with monthly average discharges approximately 1.8 times higher than the 7Q10 low flow estimates.  On the Quaboag River sampling date discharges were approximately 1.4 times higher than the 7Q10 low flow estimates with monthly average discharges approximately 1.5 times higher than the 7Q10 low flow estimates.  Data collected during this survey will be interpreted as being representative of dry weather conditions.

14 October 1998  A storm event was reported at both the Barre and Ware precipitation stations on the sampling date with over an inch of rain recorded at both gages (Table B2).  Prior to the sampling event precipitation occurred on the 9th and 10th of October with recordings of 0.20 inches and 1.48 inches, respectively at Barre station #BAR416 and 0.44 inches and 1.15 inches, respectively at Ware station #WAR315.  Increases in flow are depicted in Figure B3; Ware River system (a and b), Swift River system (c) and Quaboag River drainage area (d).  No fluctuation in flow was evident at the Swift gage most likely due to the fact that the Quabbin has an immense holding capacity and flow from it is consistently regulated.  The Quaboag system had runoff from the storm event evident at the USGS gage over many days, with the response being more characteristic of holding basins reaching capacity and then discharging at a higher but consistent manner, rather than the direct storm event/response picture presented by the Ware gages.  On the sampling date, river flows had not returned to levels prior to the 9th and 10th of October, remaining above the monthly average for October 1998 with the exception of the Swift River.  Flows remained above the monthly POR with the exception of the Sevenmile River.  Discharges on the sampling day at the three USGS gages on the Ware River were approximately 12 to 49 times higher than the 7-day, 10-year (7Q10) low flow estimates with monthly average discharges approximately six to 25 times higher than the 7Q10 low flow estimates (Table B3).  On the Swift River, sampling date discharges were approximately 1.3 times higher than the 7Q10 low flow estimates and monthly average discharges were approximately 1.6 times higher than the 7Q10 low flow estimates.  The Sevenmile River sampling date discharges were approximately 31 times higher than the 7Q10 low flow estimates with monthly average discharges approximately 16 times higher than the 7Q10 low flow estimates.  On the Quaboag River sampling date discharges were approximately 11 times higher than the 7Q10 low flow estimates with monthly average discharges approximately six times higher than the 7Q10 low flow estimates.  The data will be considered as being representative of wet weather conditions.

Figure B3.  Flow and precipitation data for the Ware, Swift, and Quaboag Rivers during the period of 10/9/98 through 10/14/98.

Table B2. MA DEM precipitation data summaries at Barre Station #BAR416 and Ware Station #WAR315 for the 1998 DWM surveys (MA DEM 1998).

| Chicopee River Basin Survey |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Precipitation Data Summary (reported in inches of rain) |  |  |  |  |  |  |
| Survey Dates | 5 Days Prior | 4 Days Prior | 3 Days Prior | 2 Days Prior | 1 Day Prior | Sample Date |
| Barre (Cold Brook) #BAR416 |  |  |  |  |  |  |
| 6/10/98 | 0.0 | 0.0 | 0.10 | 0.33 | 0.0 | 0.0 |
| 6/24/98 | 0.04 | 0.43 | 0.0 | 0.0 | 0.01 | 0.0 |
| 7/15/98 | * | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 8/19/98 | 0.09 | 0.0 | 0.0 | 0.17 | 0.04 | 0.0 |
| 9/16/98 | 0.0 | 0.0 | 0.0 | 0.0 | 0.15 | 0.0 |
| 10/14/98 | 0.20 | 1.48 | * | 0.0 | 0.0 | 1.10 |
| Ware Center # WAR315 |  |  |  |  |  |  |
| 6/10/98 | 0.0 | 0.0 | 0.25 | 0.08 | 0.0 | 0.0 |
| 6/24/98 | 0.0 | 0.10 | 0.0 | 0.0 | 0.0 | 0.0 |
| 7/15/98 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 8/19/98 | 0.0 | 0.0 | 0.0 | 0.20 | 0.16 | 0.0 |
| 9/16/98 | 0.0 | 0.0 | 0.0 | 0.0 | 0.11 | 0.0 |
| 10/14/98 | 0.44 | 1.15 | 0.0 | 0.02 | 0.0 | 1.14 |

*  trace amount of precipitation noted

Table B3. USGS gage data summaries in the Chicopee River Basin for the 1998 DWM surveys (Socolow et al. 1999 and 2000).

| Chicopee River Basin Survey |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| USGS Flow Data Summary (reported in cfs) |  |  |  |  |  |  |  |  |  |  |
| Survey Dates |  | 5 Days Prior |  | 4 Days Prior | 3 Days Prior | 2 Days Prior | 1 Day Prior | Sample Date | Monthly Mean | POR* Monthly Mean |
| Ware River near Barre, MA. (Provisional 7Q10 = 1.235 cfs USGS 1998) |  |  |  |  |  |  |  |  |  |  |
| Gage #01172500 ** |  |  |  |  |  |  |  |  |  |  |
| 06/10/98 |  | 78 | 63 |  | 54 | 51 | 64 | 62 | 162 | 74.7 |
| 06/24/98 |  | e103 | 113 |  | 475 | 341 | 217 | 261 | 162 | 74.7 |
| 07/15/98 |  | 293 | 94 |  | 51 | 42 | 34 | 29 | 102 | 32.6 |
| 08/19/98 |  | 16 | 11 |  | 7.8 | 6.6 | 6.5 | 5.1 | 6.90 | 29.5 |
| 09/16/98 |  | 1.8 | 1.5 |  | 1.4 | 1.3 | 1.4 | 1.5 | 2.44 | 26.2 |
| 10/14/98 |  | 34 | 50 |  | 90 | 83 | 65 | 61 | 31.5 | 53.6 |
| Ware River at Intake Works near Barre, MA (Provisional 7Q10 = 6.500 cfs USGS 1998) |  |  |  |  |  |  |  |  |  |  |
| Gage #01173000 |  |  |  |  |  |  |  |  |  |  |
| 06/10/98 | 150 |  | 136 |  | 113 | 114 | 126 | 119 | 300 | 139 |
| 06/24/98 | 345 |  | 450 |  | 329 | 303 | 388 | 416 | 300 | 139 |
| 07/15/98 | 384 |  | 163 |  | 113 | 83 | 71 | 63 | 158 | 69.2 |
| 08/19/98 | 33 |  | 27 |  | 23 | 22 | 22 | 18 | 21.1 | 54.7 |
| 09/16/98 | 13 |  | 11 |  | 11 | 10 | 9.4 | 9.4 | 12.4 | 64.7 |
| 10/14/98 | 82 |  | 92 |  | 130 | 130 | 122 | 110 | 58.9 | 88.4 |

* Period of Record

e – Estimate

** USGS notes that records above 200 cfs are poor at this gage (Socolow et al.  1999)

# USGS notes that records below 28 cfs are poor during September at this gage (Socolow et al.  1999)

Table B3.  Continued. USGS gage data summaries in the Chicopee River Basin for the 1998 DWM surveys (Socolow et al. 1999 and 2000).

| Survey Dates |  | 5 Days Prior |  | 4 Days Prior | 3 Days Prior | 2 Days Prior |  |  | 1 Day Prior | Sample Date | Monthly Mean | POR* Monthly Mean |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ware River at Gibbs Crossing, MA (Provisional 7Q10 = 22.373 cfs USGS 1998) |  |  |  |  |  |  |  |  |  |  |  |  |
| Gage #01173500 |  |  |  |  |  |  |  |  |  |  |  |  |
| 06/10/98 | 275 |  | 223 |  | 182 | 169 |  |  | 163 | 184 | 522 | 250 |
| 06/24/98 | 691 |  | 620 |  | 951 | 600 |  |  | 494 | 561 | 522 | 250 |
| 07/15/98 | 464 |  | 445 |  | 166 | 153 |  |  | 123 | 108 | 250 | 142 |
| 08/19/98 | 55 |  | 54 |  | 50 | 47 |  |  | 60 | 46 | 46.0 | 122 |
| 09/16/98 | 30 |  | 30 |  | 29 | 28 |  |  | 28 | 28 | 32.8 | 136 |
| 10/14/98 | 183 |  | 260 |  | 409 | 336 |  |  | 246 | 271 | 136 | 168 |
| Swift River at West Ware, MA (Provisional 7Q10 = 27.824 cfs USGS 1998) |  |  |  |  |  |  |  |  |  |  |  |  |
| Gage #01175500 |  |  |  |  |  |  |  |  |  |  |  |  |
| 06/10/98 | 38 |  | 38 |  | 38 | 38 |  |  | 70 | 69 | 79.9 | 129 |
| 06/24/98 | 37 |  | 49 |  | 85 | 95 |  |  | 98 | 112 | 79.9 | 129 |
| 07/15/98 | 209 |  | 181 |  | 153 | 135 |  |  | 112 | 101 | 143 | 77.6 |
| 08/19/98 | 37 |  | 37 |  | 37 | 37 |  |  | 37 | 37 | 68.9 | 78.6 |
| 09/16/98 | 75 |  | 113 |  | 114 | 114 |  |  | 114 | 115 | 101 | 79.7 |
| 10/14/98 | 38 |  | 39 |  | 39 | 37 |  |  | 37 | 38 | 44.8 | 72.3 |
| Sevenmile River near Spencer, MA (Provisional 7Q10 = 0.227 cfs USGS 1998) |  |  |  |  |  |  |  |  |  |  |  |  |
| Gage #01175670 |  |  |  |  |  |  |  |  |  |  |  |  |
| 06/10/98 | 11 |  | 8.8 |  | 7.6 | 8.2 |  |  | 11 | 11 | 22.4 | 12.1 |
| 06/24/98 | 35 |  | 28 |  | 24 | 20 |  |  | 17 | 16 | 22.4 | 12.1 |
| 07/15/98 | 9.5 |  | 8.8 |  | 8.1 | 7.2 |  |  | 5.0 | 4.7 | 8.16 | 5.12 |
| 08/19/98 | 1.7 |  | 1.8 |  | 1.8 | 1.9 |  |  | 2.1 | 1.9 | 1.77 | 4.23 |
| 09/16/98 | 0.35 |  | 0.25 |  | 0.20 | 0.24 |  |  | 0.26 | 0.55 | 0.41 | 3.85 |
| 10/14/98 | 4.6 |  | 8.0 |  | 14 | 11 |  |  | 7.4 | 7.1 | 3.75 | 29.2 |
| Quaboag River at West Brimfield, MA (Provisional 7Q10 = 15.847 cfs USGS 1998) |  |  |  |  |  |  |  |  |  |  |  |  |
| Gage #01176000 # |  |  |  |  |  |  |  |  |  |  |  |  |
| 06/10/98 | 207 |  | 195 |  | 182 |  | 170 |  | 170 | 158 | 313 | 190 |
| 06/24/98 | 584 |  | 541 |  | 522 |  | 492 |  | 448 | 403 | 313 | 190 |
| 07/15/98 | 203 |  | 181 |  | 164 |  | 148 |  | 135 | 131 | 169 | 105 |
| 08/19/98 | 32 |  | 31 |  | 30 |  | 30 |  | 32 | 32 | 35.3 | 106 |
| 09/16/98 | 23 |  | 23 |  | 23 |  | 23 |  | 23 | 23 | 24.8 | 105 |
| 10/14/98 | 81 |  | 85 |  | 155 |  | 162 |  | 162 | 179 | 96.8 | 607 |
| Chicopee River at Indian Orchard, MA (Provisional 7Q10 = 125.963 cfs USGS 1998) |  |  |  |  |  |  |  |  |  |  |  |  |
| Gage #01177000 |  |  |  |  |  |  |  |  |  |  |  |  |
| 06/10/98 | 801 |  | 698 |  | 635 |  |  | 589 | 574 | 640 | 1162 | 813 |
| 06/24/98 | 1650 |  | 1520 |  | 1510 |  |  | 1600 | 1220 | 1230 | 1162 | 813 |
| 07/15/98 | 992 |  | 1010 |  | 825 |  |  | 600 | 580 | 505 | 769 | 484 |
| 08/19/98 | 250 |  | 216 |  | 217 |  |  | 196 | 193 | 190 | 255 | 449 |
| 09/16/98 | 183 |  | 160 |  | 205 |  |  | 268 | 205 | 226 | 220 | 482 |
| 10/14/98 | 605 |  | 661 |  | 782 |  |  | 827 | 646 | 662 | 386 | 531 |

* Period of Record

e – Estimate

** USGS notes that records above 200 cfs are poor at this gage (Socolow et al.  1999)

# USGS notes that records below 28 cfs are poor during September at this gage (Socolow et al.  1999)

STREAM WATER QUALITY MONITORING

The Hydrolab® in-situ results are provided in Table B4.  Discrete water sampling data includes physico-chemical (Table B5) and bacterial data (Table B6).  DEP DWM water quality data is managed and maintained in the Water Quality Data Access Database.

Table B4.  1998 DEP DWM Chicopee River Basin, in-situ Hydrolab® data.

WEST BRANCH SWIFT RIVER1

Station: WM01WBS,  Mile Point: 1.3

Description: Shutesbury, approximately 300 meters north (upstream) of Cooleyville Road

BC-0022	09/27/96	16:06	<0.3	10.5	5.3	25	0.02	10.6	94	3

BC-0071	09/21/98	11:23	<0.3	16.3	6.2	31	0.02	8.7	87	--

UNNAMED TRIBUTARY1

Station: WM02SIB,  Mile Point: 0.4

Description: Shutesbury, unnamed stream (also known as Sibley Brook) due east of the West Branch Swift River approximately 600 meters north (upstream) of Cooleyville Road

BC-0021	09/27/96	14:50	<0.3	10.4	5.7	18	0.01	10.7	94	7

MIDDLE BRANCH SWIFT RIVER1

Station: WM03MBS,  Mile Point: 3

Description: New Salem, off the north side of Neilson Road approximately 800 meters west (upstream) of Holtshire Road

BC-0020	09/27/96	12:12	<0.3	9.8	6.5	31	0.02	11.0	96	4

EAST BRANCH SWIFT RIVER1

Station: WM07EBS,  Mile Point: 5.2

Description: Petersham, approximately 250 meters north (upstream) of Quaker Drive.

BC-0028	10/03/96	15:39	<0.3	12.6	6.2	41	0.03	10.1	94	8

BC-0070	 09/21/98	09:36	<0.3	16.4	6.7	40	0.03	8.5	85	<1

MOCCASIN BROOK1

Station: WM08MOC,  Mile Point: 0.2

Description: Petersham, approximately 250 meters above confluence with East Branch Swift River.

BC-0027	10/03/96	12:59	<0.3	14.3  	6.2	30	0.02	9.1	88	7

SWIFT RIVER

Station: SRG,  Mile Point: 7.9

Description: even with gaging station west of River Road, Ware

36-0003	06/10/98	14:22	0.5	14.6	**	39	0.02	10.5	101	--

36-0010	06/24/98	11:52	0.5	17.0	6.8	35	0.02	9.8	100	--

36-0017	07/15/98	11:01	<0.3	19.0	6.8	35	0.02	9.1	96	--

36-0023	08/19/98	11:29	<0.3	14.3	6.7	37	0.02	10.3	99	--

36-0030	09/16/98	11:07	0.4	14.6	6.5	34	0.02	9.9	96	--

36-0037	10/14/98	11:25	<0.3	13.9	6.2	39	0.03	9.5	90	--

WARE RIVER

Station: CBG,  Mile Point: 29.4

Description: south of Route 122 at the northern end of the gaging station weir, Barre   (sampled above footbridge approximately 2-3 feet above gaging station)

36-0005	06/10/98	15:48	0.9	17.7	6.3	56	0.04	9.4	96	--

36-0011	06/24/98	14:12	0.5	20.6	5.9	41	0.03	8.2	89	--

36-0026	08/19/98	13:31	<0.3	22.3	6.6	69	0.04	8.3	94	**

36-0033	09/16/98	12:57	<0.3	20.3	6.6	73	0.05	8.8	96	--

36-0040	10/14/98	12:59	<0.3	12.5	5.8	67	0.04	10.4	96	--

** = censored data,  -- = no data

1 Data collected as part of 104(b)3 Numeric Biocriteria  project (97-09/104).

Table B4.  Continued. 1998 DEP DWM Chicopee River Basin, in-situ Hydrolab® data.

Time	Measurement 	Temp	pH 	Cond 	TDS 	DO 	SAT 	Turb

(24hr)	Depth (m)	(°C)	(SU)	(uS/cm)	(g/l)	(mg/l)	(%)	(NTU)

WARE RIVER

Station: WA09A,  Mile Point: 8.2

Description: downstream/west of Route 32, Ware

36-0004	06/10/98	14:56	0.5	21.0	6.8	73	0.05	9.0	99	--

36-0009	06/24/98	11:09	0.7	20.6	6.6	50	0.03	8.7	95	--

36-0016	07/15/98	10:23	<0.3	22.8	6.8	80	0.05	6.7	76	--

36-0022	08/19/98	10:43	<0.3	21.0	7.0	103	0.07	8.7	96	**

36-0029	09/16/98	10:35	0.3	21.2	6.8	118	0.08	7.9	88	--

36-0036	10/14/98	10:48	<0.3	13.0	6.5	81	0.05	9.4	88	--

UNNAMED TRIBUTARY1

Station: LW09PAR,  Mile Point: 0.1

Description: unnamed tributary (known as Parkers Brook on USGS 1988 Barre quad) approximately 160 meters west (downstream) of Coldbrook Road, Oakham   (due south of Route 122)

BC-0069	09/17/98	14:50	<0.3	14.4	6.3	116	0.07	8.5	82	10

PRINCE RIVER1

Station: WM06PRI,  Mile Point: 3

Description: Barre, just south (downstream) of Old Coldbrook Road (Old Worcester Road)

BC-0026	10/03/96	08:59	<0.3	13.6	6.1	60	0.04	9.6	92	6

MOOSE BROOK1

Station: LW08MOO,  Mile Point: 2.1

Description: approximately 880 meters south (downstream) of Taylor Hill Road, Hardwick   (due east of Brook Road)

BC-0068	09/17/98	12:52	<0.3	15.5	7.0	57	0.04	9.5	93	8

MUDDY BROOK1

Station: LW07MUD,  Mile Point: 2.6

Description: approximately 1350 meters north (upstream) of North Street, Ware   (due east of Greenwich Road)

BC-0067	09/17/98	10:39	<0.3	15.7	6.7	68	0.04	8.3	82	10

SEVENMILE RIVER

Station: SMG,  Mile Point: 5.6

Description: upstream/north of Cooney Road, Spencer   (sampled by gaging station)

36-0001	06/10/98	10:05	0.3	17.4	6.7	58	0.04	8.7	89	--

36-0006	06/24/98	09:11	0.3	21.4	6.6	58	0.04	7.5	83	--

36-0013	07/15/98	08:59	<0.3	21.4	6.9	65	0.04	7.2	80	--

36-0020	08/19/98	09:07	<0.3	18.0	6.9	86	0.05	8.7	90	**

36-0027	09/16/98	09:05	<0.3	18.0	6.9	103	0.07	8.6	90	--

36-0034	10/14/98	09:19	<0.3	12.5	6.3	66	0.04	9.3	85	--

TURKEY HILL BROOK1

Station: LW06TUR,  Mile Point: 1.2

Description: approximately 45 meters north (upstream) of Wire Village Road, Spencer

BC-0066	09/17/98	08:20	<0.3	14.4	7.0	101	0.06	9.2	88	9

QUABOAG RIVER

Station: QRG,  Mile Point: 10.1

Description: east of Route 67, north of Route 90 approximately 25 feet upstream/north of gaging station, Brimfield

36-0002	06/10/98	11:05	0.7	19.2	**	154	0.10	9.6	101	--

36-0007	06/24/98	10:19	0.7	22.9	7.3	109	0.07	8.5	97	--

36-0014	07/15/98	09:50	<0.3	24.3	7.7	138	0.09	8.1	95	--

36-0021	08/19/98	10:04	<0.3	20.9	7.9	340	0.2	9.6	105	**

36-0035	10/14/98	10:10	<0.3	13.5	7.0	180	0.1	10.1	95	--

FOSKETT MILL STREAM1

Station: LW04FOS,  Mile Point: 2.4

Description: approximately 195 meters south (upstream) of Monson Road, Brimfield   (due east of Sutcliffe Road)

BC-0063	09/16/98	10:55	<0.3	16.7	6.9	38	0.02	9.2	93	10

** = censored data,  -- = no data

1 Data collected as part of 104(b)3 Numeric Biocriteria  project (97-09/104).

Chicopee River Basin 1998 Water Quality Assessment ReportAppendix BB13

36wqar.docDWM CN 47.0

Table B5.  1998 DEP DWM Chicopee River Basin, instream physico/chemical data.  All units in mg/L unless otherwise noted.

Time	Alkalinity	Hardness	Specific 	Chloride	Suspended	Total 	Turbidity	Total 	Ammonia	Nitrate	Total

(24hr)	Conductivity 	 Solids	Solids	 (NTU)	Kjeldahl 	Phosphorus

(umhos)	Nitrogen

QUABOAG RIVER

Station: QRG,  Mile Point: 10.1

Description: east of Route 67, north of Route 90 approximately 25 feet upstream/north of gaging station, Brimfield

36-0007	36-0008	06/24/98	10:19	14  	18  	--	**  	8.4	--	5.8  	--	<0.02	<0.02	0.09

36-0008	36-0007	06/24/98	10:19	14  	18  	--	**  	8.3	--	5.4  	--	<0.02	0.02	0.09

36-0015	36-0014	07/15/98	**	14  	19  	--	25  	2.7	--	3.0  	--	<0.02	0.09	0.09

36-0014	36-0015	07/15/98	9:50	14  	19  	--	24  	3.2	--	3.0  	--	<0.02	0.07	0.08

36-0021	08/19/98	10:00	19  	22  	--	77  	<1.0	--	1.5  	--	<0.02	0.23	0.15

36-0028	09/16/98	10:00	23  	23  	--	13  	<1.0	--	1.0  	--	<0.02	0.34	0.23

36-0035	10/14/98	10:11	13  	26  	--	30  	2.4	--	2.6  	--	<0.02	0.12	0.07

SEVENMILE RIVER

Station: SMG,  Mile Point: 5.6

Description: upstream/north of Cooney Road, Spencer   (sampled by gaging station)

36-0006	06/24/98	9:11	10  	14  	--	**  	1.9	--	3.2  	--	<0.02	0.02	0.04

36-0013	07/15/98	8:59	12  	17  	--	9.0	1.6	--	2.7  	--	<0.02	0.09	0.04

36-0020	08/19/98	9:00	11  	23  	--	8.0	<1.0	--	1.9  	--	<0.02	0.13	0.02

36-0027	09/16/98	9:05	15  	28  	--	9.0	<1.0	--	1.6  	--	<0.02	0.35	0.02

36-0034	10/14/98	9:18	8.0	16  	--	7.0	<1.0	--	1.7  	--	<0.02	0.04	0.02

WARE RIVER

Station: CBG,  Mile Point: 29.4

Description: south of Route 122 at the northern end of the gaging station weir, Barre   (sampled above footbridge approximately 2-3 feet above gaging station)

36-0011	06/24/98	14:12	4.0	7.4	--	**  	3.2	--	1.7  	--	<0.02	<0.02	0.04

36-0019	07/15/98	12:29	8.0	11  	--	9.0	3.3	--	3.2  	--	0.33	0.02	0.09

36-0026	08/19/98	13:30	7.0	12  	--	10  	5.7	--	3.5  	--	<0.02	0.03	0.05

36-0033	09/16/98	12:57	7.0	11  	--	13  	1.4	--	2.0  	--	<0.02	0.03	0.04

36-0040	10/14/98	12:59	4.0	13  	--	8.0	1.6	--	1.7  	--	<0.02	0.02	0.03

WARE RIVER

Station: WA09A,  Mile Point: 8.2

Description: downstream/west of Route 32, Ware

36-0009	06/24/98	11:09	6.0	10  	--	**  	6.5	--	4.2  	--	<0.02	0.10	0.06

36-0016	07/15/98	10:23	12  	20  	--	11  	1.6	--	2.4  	--	<0.02	0.36	0.07

36-0022	08/19/98	10:40	14  	23  	--	14  	<1.0	--	2.3  	--	<0.02	0.56	0.08

36-0029	09/16/98	10:35	15  	24  	--	16  	<1.0	--	1.5  	--	<0.02	0.62	0.04

36-0036	10/14/98	10:48	8.0	18  	--	9.0	3.2	--	2.8  	--	0.04	0.19	0.06

** = missing/censored data          -- = no data

Chicopee River Basin 1998 Water Quality Assessment ReportAppendix BB14

36wqar.docDWM CN 47.0

Table B5.  Continued.  1998 DEP DWM Chicopee River Basin, instream physico/chemical data.  All units in mg/L unless otherwise noted.

Time	Alkalinity	Hardness	Specific 	Chloride	Suspended	Total 	Turbidity	Total 	Ammonia	Nitrate	Total

(24hr)	Conductivity 	 Solids	Solids	 (NTU)	Kjeldahl 	Phosphorus

(umhos)	Nitrogen

SWIFT RIVER

Station: SRG,  Mile Point: 7.9

Description: even with gaging station west of River Road, Ware

36-0010	06/24/98	11:50	4.0	7.6	--	**  	<1.0	--	0.50	--	<0.02	<0.02	0.01

36-0017	07/15/98	11:01	5.0	8.0	--	3.0	<1.0	--	0.35	--	<0.02	<0.02	<0.01

36-0023	36-0024	08/19/98	11:30	6.0	8.8	--	4.0	<1.0	--	0.35	--	<0.02	<0.02	<0.01

36-0024	36-0023	08/19/98	11:30	5.0	8.7	--	5.0	<1.0	--	0.30	--	<0.02	<0.02	<0.01

36-0030	36-0031	09/16/98	11:05	4.0	7.5	--	4.0	<1.0	--	0.35	--	<0.02	<0.02	0.01

36-0031	36-0030	09/16/98	11:05	4.0	7.5	--	4.0	<1.0	--	0.35	--	<0.02	0.02	<0.01

36-0037	36-0038	10/14/98	11:25	5.0	9.2	--	5.0	<1.0	--	0.42	--	<0.02	0.03	0.01

36-0038	36-0037	10/14/98	11:25	5.0	9.1	--	4.0	<1.0	--	0.40	--	<0.02	<0.02	0.01

CHICOPEE RIVER*

Station: CT03,  Mile Point: 0.8

Description: off the upstream/east side of the Route 116 bridge, Chicopee

34-0003	06/30/98	9:45	--  	--  	--	--  	--  	--	--  	--	0.04	0.24	0.06

34-0011	07/28/98	10:05	--  	--  	--	--  	1.0	--	--  	--	<0.02	0.33	0.04

34-0020	08/26/98	9:30	--  	--  	--	--  	--  	--	--  	--	0.02	0.35	0.04

34-0028	09/23/98	9:55	--  	--  	--	--  	6.6	--	--  	--	0.06	0.40	0.07

34-0036	10/20/98	10:05	--  	--  	--	17  	1.6	--	--  	0.29	<0.02	0.27	0.05

34-0044	11/17/98	9:50	--  	--  	--	24  	7.0	--	--  	0.41	<0.02	0.37	0.06

34-0052	12/14/98	10:05	--  	--  	--	20  	1.3	--	--  	0.22	<0.02	0.46	0.04

34-0060	01/11/99	10:20	--  	--  	--	42  	1.9	--	--  	0.38	0.06	0.45	0.04

34-0068	02/09/99	10:15	--  	--  	--	15  	1.6	--	--  	0.29	0.02	0.26	0.03

34-0076	03/10/99	9:45	--  	--  	--	16  	1.6	--	--  	0.2	<0.02	0.19	0.03

34-0084	03/23/99	10:20	--  	--  	--	15  	5.6	--	--  	0.23	<0.02	0.22	0.05

34-0092	04/06/99	10:15	--  	--  	--	17  	1.5	--	--  	0.21	<0.02	0.20	0.03

34-0100	04/21/99	10:00	--  	--  	--	18  	2.1	--	--  	0.28	<0.02	0.25	0.03

34-0108	05/12/99	10:20	--  	--  	--	18  	3.5	--	--  	0.27	0.02	0.27	0.04

** = missing/censored data          -- = no data

* Samples collected using bucket sampling protocols (MA DEP 1999a).  Data collected as part of 104(b)(3) project 98-10/104 Connecticut River Land Use & Nutrient Study (in Appendix D, Kennedy and Weinstein 2000).

Table B6.  1998 DEP DWM Chicopee River Basin bacteria data.  Units in cfu/100 mLs.

Time	FECAL	E-COLI	ENTEROCOCCUS

(24hr)

QUABOAG RIVER

Station: QRG,  Mile Point: 10.1

Description: east of Route 67, north of Route 90 approximately 25 feet upstream/north of gaging station, Brimfield

36-0007	36-0008	06/24/98	10:19	60	60	2,000

36-0008	36-0007	06/24/98	10:19	140	100	4,000

36-0015	36-0014	07/15/98	**	940	--  	--

36-0014	36-0015	07/15/98	9:50	480	--  	--

36-0021	08/19/98	10:00	330	--  	--

36-0028	09/16/98	10:00	33	--  	--

36-0035	10/14/98	10:11	140	25	--

SEVENMILE RIVER

Station: SMG,  Mile Point: 5.6

Description: upstream/north of Cooney Road, Spencer   (sampled by gaging station)

36-0006	06/24/98	9:11	140	20	100

36-0013	07/15/98	8:59	120	--  	--

36-0020	08/19/98	9:00	66	--  	--

36-0027	09/16/98	9:05	920	--  	--

36-0034	10/14/98	9:18	130	130	--

WARE RIVER

Station: CBG,  Mile Point: 29.4

Description: south of Route 122 at the northern end of the gaging station weir, Barre   (sampled above footbridge

approximately 2-3 feet above gaging station)

36-0011	06/24/98	14:12	<20	40	280

36-0019	07/15/98	12:29	10	--  	--

36-0026	08/19/98	13:30	25	--  	--

36-0033	09/16/98	12:57	<16	--  	--

36-0040	10/14/98	12:59	38	25	--

WARE RIVER

Station: WA09A,  Mile Point: 8.2

Description: downstream/west of Route 32, Ware

36-0009	06/24/98	11:09	880	180	820

36-0016	07/15/98	10:23	310	--  	--

36-0022	08/19/98	10:40	440	--  	--

36-0029	09/16/98	10:35	98	--  	--

36-0036	10/14/98	10:48	170	150	--

SWIFT RIVER

Station: SRG,  Mile Point: 7.9

Description: even with gaging station west of River Road, Ware

36-0010	06/24/98	11:50	60	40	380

36-0017	07/15/98	11:01	220	--  	--

36-0023	36-0024	08/19/98	11:30	130	--  	--

36-0024	36-0023	08/19/98	11:30	66	--  	--

36-0030	36-0031	09/16/98	11:05	16	--  	--

36-0031	36-0030	09/16/98	11:05	66	--  	--

36-0037	36-0038	10/14/98	11:25	120	94	--

36-0038	36-0037	10/14/98	11:25	180	110	--

** = missing/censored data          -- = no data

MACROINVERTEBRATES

Results from DEP DWM’s 1998 benthic macroinvertebrate studies in the Chicopee River Basin are presented in Appendix C  (Chicopee River Watershed 1998 Biological Assessment, author: John Fiorentino).

FISH POPULATION

Results from the 1998 fish population survey (MA DEP 1998b) are presented in Table B7.

Table B7.  1998 DEP DWM Chicopee River Basin Survey.  Fish population data for 25 August 1998.

| Station Description |  |  |  | Species1 |  |  |  |  |  | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | BND | WS | P | CP |  |  |  |
| Forget-Me-Not Brook (Reach1) upstream(east) of North Brookfield WWTP, east of East Brookfield Road, North Brookfield |  |  |  | 67 | 15 | 1 |  |  |  |  |
| Forget-Me-Not Brook (Reach2) downstream (south) of North Brookfield WWTP, west of East Brookfield Road, North Brookfield |  |  |  | 109 | 9 |  |  |  |  | Fish observed upstream all the way to the WWTP effluent. |
| Forget-Me-Not Brook (Reach3) upstream/north of Slab City Road, North Brookfield |  |  |  | 37 | 12 | 2 | 6 |  |  |  |
| 1Species Key |  |  |  |  |  |  |  |  |  |  |
| BND | blacknose dace | Rhinichthys atratulus |  |  |  |  |  |  |  |  |
| CP | chain pickerel | Esox niger |  |  |  |  |  |  |  |  |
| P | pumpkinseed | Lepomis gibbosus |  |  |  |  |  |  |  |  |
| WS | white sucker | Catostomus commersoni |  |  |  |  |  |  |  |  |

All three stations sampled on Forget-Me-Not Brook exhibited similar fish populations.  Blacknose dace were by far the most dominant fish species, followed by white suckers.  These were the only true stream species present at all three stations.  Pumpkinseed sunfish were collected from both stations downstream of the West Brookfield WWTP and chain pickerel were also collected at the extreme downstream station.  Sunfish and pickerel are both considered “pond” species but can survive in some stream systems.  These fish are most likely transients of the wetland area that the brook flows through.

FISH TOXICS

Smallmouth bass (Micropterus dolomieu), white suckers (Catostomus commersoni), and redbreasted sunfish (Lepomis auritus) were collected from the Chicopee River in the vicinity of the Uniroyal site.  Rock bass (Ambloplites rupestris), white suckers, and redbreasted sunfish were sampled from the Quaboag River station.  All fish were processed as composite samples comprising two, three or five individual fish.  The samples were analyzed for metals (As, Cd, Pb, Hg and Se), PCB’s, organochlorine pesticides and percent lipids.  These data (MA DEP 1998c) are provided in Table B8.

Cadmium and lead were not detected in the edible fillets of any sample analyzed.  Arsenic was found above the 0.04 mg/kg detection limit in only two of the seven samples, both with a value of 0.06 mg/kg. Selenium was detected in all samples analyzed ranging from 0.16 to 0.22 mg/kg wet weight.  Mercury in the fish tissue from the Chicopee River station ranged between 0.11 and 0.50 mg/kg and between 0.34 and 0.36 mg/kg from the Quaboag River fish.

Table B8.  1998 DEP DWM fish toxics monitoring data for Quaboag River, Palmer and Chicopee River, Chicopee.  Results (mg/kg wet wt.) are from composite samples of fillets with skin off.

PCBs were below detection in all samples analyzed. Organochlorine pesticides were also not detected in any of the samples analyzed.  The % lipids content of the fish analyzed ranged between 0.10 and 0.90%.

Lakes

Lake synoptic survey results (MA DEP 1998d) are presented in Table B9.

TABLE B9.  1998 DEP DWM Chicopee River Basin Survey.  Chicopee watershed lake status in summer 1998.

| LAKE | WBID | SIZE (Acres) | TROPHIC STATE | OBSERVATIONS, Objectionable Conditions |
| --- | --- | --- | --- | --- |
| Adams Pond, Oakham | MA36001 | 30 | D | West of island 30% covered with floating plants; dark color; low transparency |
| Asnacomet Pond**, Hubbardston | MA36005 | 127 | U | Moderate stands of pipewort occasional around perimeter |
| Beaver Lake, Ware | MA36010 | 150 | U | Non-native plants (Mh, Ms, Ls) |
| Bennett Street Pond, Palmer | MA36014 | 6 | E | 100% covered with duckweed and lilies |
| Bickford Pond**, Hubbardston/Princeton | MA36015 | 163 | U | No obvious problems |
| Brigham Pond**, Hubbardston | MA36020 | 45 | U | Dense cover of floating plants in southeast cove. M. sp. |
| Brookhaven Lake, West Brookfield | MA36021 | 34 | E | Most of pond covered with clouds of algae |
| Brooks Pond**, Petersham | MA36022 | 86 | E | Extensive bog at northern end has filled in a large area; remaining pond has very dense plant cover (75-100%) |
| Brooks Pond, North Brookfield/New Braintree/Oakham/Spencer | MA36023 | 190 | U | North end not observed; may have been treated with herbicides |
| Browning Pond, Oakham/Spencer | MA36025 | 106 | E | Dense plants in southwest cove, southern shoreline out to about 100 m, southeast coves and northern end of pond.; algae clouds around southern shoreline. M. sp. |
| Carter Pond**, Petersham | MA36029 | 44 | U | Most of lake surface scattered with floating juvenile leaves, but will likely worsen over the summer; transparency low |
| Chicopee Brook Pond, Monson | MA36031 | 9 | E | Non-native plants (Ls); algal scum; silt; about 75% filled in by emergents. |
| Chicopee Reservoir, Chicopee | MA36033 | 22 | U | Slight brown scum at windward dam shore; rare stands of emergents around shore. |
| Cloverdale Street Pond, Rutland | MA36036 | 19 | E | Entire pond covered with very dense plant growth; encroachment has occurred along west, south, and east shores |
| Conant Brook Reservoir, Monson | MA36038 | 4 | U | Little water; ACOE flood control reservoir |
| Connor Pond**, Petersham | MA36039 | 22 | U | Non-native plants (Ls); very dense plants in northwest and northeast arms |
| Crystal Lake, Palmer | MA36043 | 16 | U | No obvious problems observed |
| Cunningham Pond**, Hubbardston | MA36044 | 27 | E | Except for channels almost entire pond filled with emergents; floating leafed plants |
| Cusky Pond, New Braintree | MA36045 | 33 | E | Marginal community of emergent plants, but nearly entire water surface covered with floating leaf plants |
| Dean Pond, Oakham | MA36050 | 64 | E | Brown color of water is definitely symptomatic of excessive growth of phytoplankton; low transparency; north end of pond covered with floating leaf plants |
| Dean Pond, Monson/Brimfield | MA36049 | 12 | U | Some fairly dense scattered beds of Myriophyllum sp. (M. sp.) |
| Demond Pond**, Rutland | MA36051 | 120 | M | Aquatic plants sparse throughout |

**   indicates Class A Public Water Supply waterbody or tributary thereto (all others are Class B)

WBID – Waterbody Identification code , Trophic State:   D = Dystrophic, E = Eutrophic, H = Hypereutrophic, M = Mesotrophic, O = Oligotrophic,  U = Undetermined.

Non-native Plants – Cc = Cabomba caroliniana,  Ls = Lythrum salicaria, Mh = Myriophyllum heterophyllum,

Ms = Myriophyllum spicatum, Pa = Phragmites australis

Note:   M. sp. – Possible Myriophyllum heterophyllum, requires further confirmation when flowering heads are evident.

TABLE B9. (Cont.) 1998 DEP DWM Chicopee River Basin Survey. Chicopee watershed lake status in summer 1998.

| LAKE | WBID | SIZE (Acres) | TROPHIC STATE | OBSERVATIONS, Objectionable Conditions |
| --- | --- | --- | --- | --- |
| Dimmock Pond, Springfield | MA36053 | 9.5 | E | North and east shores with floating leaf emergent beds; otherwise floating leaf patchy around shore. M. sp. |
| Doane Pond**, North Brookfield | MA36054 | 28 | H | Grey/brown organic turbidity; floating leaf plants predominant over 60% of pond |
| Edson Pond**, Rutland | MA36180 | 36 | E | South basin totally covered with plants; north basin about 70% covered; low Secchi disk depth |
| Fivemile Pond, Springfield | MA36061 | 35.3 | U | Non-native plants (Ls, Pa); 50 ducks and 20 geese on lake |
| Fivemile Pond South, Springfield | MA36182 | 4 | E | Totally covered with very dense vegetation. M. sp. |
| Forest Lake, Palmer | MA36063 | 45 | U | Non-native plants (Ls, Ms); 25% of lake surface with very dense plant cover |
| Gaston Pond**, Barre | MA36065 | 15 | U | South end of pond covered with very dense plants. M. sp. |
| Hardwick Pond, Hardwick | MA36066 | 66 | U | Non-native plants (Cc, Mh); dark dissolved organics; low transparency |
| Harris Pond, Ludlow | MA36067 | 12 | E | Algal mats, duckweed, some moderately dense patches along sides of lower end of lake; very dense through west of upper end. |
| Haviland Pond, Ludlow | MA36069 | 25 | U | Non-native plants (Pa); goose droppings prevalent on beach |
| Horse Pond**, North Brookfield | MA36072 | 63 | E | Scum-like remnants of a cyanobacteria bloom; aquatic plants are sparse |
| Knights Pond**, Belchertown | MA36077 | 36 | U | Patches of floating leaf plants in the north, northwest, and southeast parts of the lake; emergents occasional around shore |
| Lake Lashaway, North/East Brookfield | MA36079 | 270 | E | Non-native plants (Cc); cyanobacteria bloom quite evident but not severe |
| Lake Lorraine, Springfield | MA36084 | 28.5 | U | Very few patches of floating-leaf plants |
| Lake Whittemore, Spencer | MA36165 | 52 | E | Aquatic plants are scant in this lake; phytoplankton is abundant; cyanobacteria bloom; transparency low; aesthetically poor |
| Long Pond**, Rutland | MA36082 | 168 | H | Non-native plants (Ls, Mh); middle basin almost entirely covered with plants; low transparency |
| Long Pond, Springfield | MA36083 | 18 | E | Non-native plants (Ls); most of pond with dense to very dense cover. M. sp. |
| Lovewell Pond**, Hubbardston | MA36085 | 82 | U | Frequent very dense patches of floating leaf plants throughout center part of pond; emergent and floating plants dense along southwest shore; some floating mats/islands in center |
| Mare Meadow Reservoir**, Westminister/Hubbardston | MA36090 | 240 | U | No development around entire reservoir except road on west shore; no problems evident |
| Mare Meadow Reservoir, North **, Westminster | MA36178 | 38 | U | No problems evident |
| Minechoag Pond, Ludlow | MA36093 | 21 | E | Non-native plants (Ls); not much open water but would likely be > 1.2m Secchi disk depth; golf course on west shore; very dense vegetation to island and along north shore |

**   indicates Class A Public Water Supply waterbody or tributary thereto (all others are Class B)

WBID – Waterbody Identification code , Trophic State:   D = Dystrophic, E = Eutrophic, H = Hypereutrophic,

M = Mesotrophic, O = Oligotrophic,  U = Undetermined.

Non-native Plants – Cc = Cabomba caroliniana,  Ls = Lythrum salicaria, Mh = Myriophyllum heterophyllum,

Ms = Myriophyllum spicatum, Pa = Phragmites australis

Note:   M. sp. – Possible Myriophyllum heterophyllum, requires further confirmation when flowering heads are evident.

TABLE B9. (Cont.) 1998 DEP DWM Chicopee River Basin Survey. Chicopee watershed lake status in summer 1998.

| LAKE | WBID | SIZE (Acres) | TROPHIC STATE | OBSERVATIONS, Objectionable Conditions |
| --- | --- | --- | --- | --- |
| Mona Lake, Springfield | MA36094 | 11 | E | Non-native plants (Ls); filamentous algae; very dense vegetation over 60% of surface |
| Moose Hill Reservoir, Spencer/Leicester | MA36179 | 51 | D | Non-native plants (Ls); moderate turbidity |
| Moosehorn Pond**, Hubbardston | MA36097 | 67 | E | Non-native plants (Mh); bog along north and northwest shore |
| Moulton Pond**, Rutland | MA36098 | 65 | E | Non-native plants (Pa); north end of pond and around perimeter covered with very dense vegetation; someone trying to stop beaver dam building (at culvert under road) by pulling logs off dam. M. sp. |
| Muddy Pond**, Oakham/Rutland | MA36102 | 23 | U | Severe erosion where outflow bypassed dam; water now retained by beaver dam, west, north, and northwest portions with very dense submergent plants; dark stain in water; low Secchi disk transparency |
| Nine Mile Pond, Wilbraham | MA36107 | 30 | U | Occasional very dense patches of floating leaf plants along shore; south basin along east shore with Decadon sp. and Nymphaea sp. Out to about 50–100 feet |
| Old Reservoir, Barre | MA36114 | 37 | U | Water level down 6’ from original spillway height; few patches of floating leaf; north end appears to have bog encroachment; low transparency; dark stain in water |
| Palmer Reservoir**, Palmer | MA36115 | 8 | U | Non-native plants (Ls) |
| Paradise Lake, Monson | MA36116 | 17 | U | No observed problems |
| Pattaquattic Pond, Palmer | MA36117 | 18 | U | Annual herbicide treatments, private camp; many cottages, heavy use; no observed problems |
| Peppers Mill Pond, Ware | MA36121 | 11 | U | About ½ of pond at north end covered to the surface with thick stands of cattail and burreed; fringe areas with very dense pondweed |
| Perry Hill Pond, Hubbardston | MA36122 | 23 | U | Small patches of floating leaf plants scattered throughout body. M. sp. |
| Pottapaug Pond Basin**, (northeast basin Quabbin Reservoir) Petersham/Hardwick | MA36125 | 568 | U | Scattered areas of dense water lilies and dense beds of milfoil and bladderwort; only observed southern end of pond. M. sp. |
| Powder Mill Pond, Barre | MA36126 | 18 | U | No obvious problems. M. sp. |
| Quabbin Reservoir**, Hardwick/New Salem Shutesbury/Pelham/Ware /Petersham/Belchertown | MA36129 | 25000 | O | Non-native plants (Pa), northern coves of reservoir with patchy areas of dense milfoil. M. sp. |
| Queen Lake**, Phillipston | MA36132 | 134 | U | No obvious problems |
| Red Bridge Impoundment, Ludlow/Wilbraham | MA36171 | 83 | U | Non-native plants (Ls); some brown silt on rocks; no other problems observed |
| Shaw Pond**, Leicester | MA36138 | 64 | M | Vegetation is scant around periphery of pond |
| South Barre Reservoir, Barre | MA36141 | 21 | U | Low transparency |
| Spectacle Pond, Wilbraham | MA36142 | 16 | U | Non-native plants (Ls); band of floating leaf plants about 50 feet around entire pond. M. sp. |

**   indicates Class A Public Water Supply waterbody or tributary thereto (all others are Class B)

WBID – Waterbody Identification code , Trophic State:   D = Dystrophic, E = Eutrophic, H = Hypereutrophic,

M = Mesotrophic, O = Oligotrophic,  U = Undetermined.

Non-native Plants - Cc = Cabomba caroliniana,  Ls = Lythrum salicaria, Mh = Myriophyllum heterophyllum,

Ms = Myriophyllum spicatum, Pa = Phragmites australis

Note:   M. sp. – Possible Myriophyllum heterophyllum, requires further confirmation when flowering heads are evident.

TABLE B9. (Cont.) 1998 DEP DWM Chicopee River Basin Survey. Chicopee watershed lake status in summer 1998.

| LAKE | WBID | SIZE (Acres) | TROPHIC STATE | OBSERVATIONS, Objectionable Conditions |
| --- | --- | --- | --- | --- |
| Springfield Reservoir**, Ludlow | MA36145 | 393 | U | Slight brown silt on rocks and cobbles; no obvious problems |
| Stone Bridge Pond**, Templeton | MA36148 | 32 | E | north end of upper pond filling in from side(s) with only a channel remaining; lower pond very dense (90%) with plants ; very dark stain; low transparency |
| Sugden Reservoir, Spencer | MA36150 | 83 | U | Aquatic vegetation is extremely scant in this reservoir; low transparency; moderate stain |
| Thayer Pond**, Rutland | MA36181 | 46 | E | Very dense vegetation over entire pond |
| Thompson Lake, Palmer | MA36154 | 32 | U | Non-native plants (Ls); no obvious problems |
| Thompsons Pond, Spencer | MA36155 | 117 | U | Lycott Environmental Research treated pond with herbicides earlier in summer; low transparency; stain in water; many coves with dense plant growth |
| Town Barn Beaver Pond, Petersham | MA36156 | 6 | E | Non-native plants (Pa); water areas entirely covered with floating and emergent plants; beaver lodge at northeast end |
| Waite Pond**, Hubbardston | MA36161 | 34 | U | Patches of floating leaf plants occasional in south end; west shore filling in (bog) |
| Wickaboag Pond, West Brookfield | MA36166 | 320 | E | North end of pond with very dense vegetation and poor habitat |
| Williamsville Pond**, Hubbardston | MA36167 | 57 | E | Majority of south end of lake viewed had very dense vegetation; north end not observed |

**   indicates Class A Public Water Supply waterbody or tributary thereto (all others are Class B)

WBID – Waterbody Identification code , Trophic State:   D = Dystrophic, E = Eutrophic, H = Hypereutrophic,

M = Mesotrophic, O = Oligotrophic,  U = Undetermined.

Non-native Plants - Cc = Cabomba caroliniana,  Ls = Lythrum salicaria, Mh = Myriophyllum heterophyllum,

Ms = Myriophyllum spicatum, Pa = Phragmites australis

Note:   M. sp. – Possible Myriophyllum heterophyllum, requires further confirmation when flowering heads are evident.

### REFERENCES

Ackerman, M.T., 1989 April.  Compilation of Lakes, Ponds, Reservoirs and Impoundments Relative to the Massachusetts Lake Classification Program.  Publication:  #15901-171-50-4-89-c.r.  Technical Services Branch, Massachusetts Division of Water Pollution Control, Department of Environmental Quality Engineering.  Westborough,  MA.

Kennedy, L.K. and M.J. Weinstein.  2000.  Connecticut River Basin 1998 Water Quality Assessment Report. Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester, MA

Kimball, W.A. 2001.  Personal Communication.  Chicopee River Basin Sampling Methods.  Massachusetts Department of Environmental Protection, Central Regional Office.  Worcester, MA

MA DEM. 1998. Open File.  Monthly Precipitation Report. Commonwealth of Massachusetts, Executive Office of Environmental Affairs, Department of Environmental Management.  Boston,  MA.

MA DEP.  1995, January Draft.  Laboratory Quality Assurance Plan and Standard Operating Procedures. Massachusetts Department of Environmental Protection, Division of Environmental Analysis, Senator William X. Wall Experiment Station.  Lawrence, MA.

MA DEP.  1998a.  Commonwealth of Massachusetts Summary of Water Quality 1998.  Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester,  MA.

MA DEP.  1998b.  Open File.  1998 Fish Population Survey Data in the Chicopee River Basin.  Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester,  MA.

MA DEP.  1998c.  Open File.  1998 Fish Toxics Monitoring Data in the Chicopee River Basin.  Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester,  MA.

MA DEP.  1998d.  Open File.  1998 Synoptic Lake Surveys Coding Sheets.  Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester,  MA.

MA DEP.  1999a. CN 1.0  Grab Collection Techniques for DWM Water Quality Sampling, Standard Operating Procedure.  October 25, 1999.  Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester, MA.

MA DEP.  1999b.  CN 4.0  Hydrolab® Series 3 Multiprobe, Standard Operating Procedure.  September 23, 1999.  Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester, MA.

MA DEP.  2000.  Open files.  PALIS updates.  Massachusetts Department of Environmental Protection, Division of Watershed Management, Watershed Planning Program.  Worcester,  MA.

MA DPH.  1969.  State Sanitary Code.  Article 7, Regulation 10.2B.  Massachusetts Department of Public Health.  Boston,  MA.

MA DPH.  1999.  Freshwater Fish Consumption Advisory List.  Massachusetts Department of Public Health.  Boston,  MA.

Plafkin, J.L., M.T. Barbour, K.D. Porter, S.K. Gross, R.M. Hughes.  1989.  Rapid Bioassessment Protocols For Use In Streams And Small Rivers: Benthic Macroinvertebrates And Fish.  U.S. Environmental Protection Agency.  Washington,  D.C.  EPA/444/4-89-001.

Socolow, R.S., J.L. Zanca, Domenic Murino, Jr., and L.R. Ramsbey.  2000.  Water Resources Data for Massachusetts and Rhode Island, Water Year 1999.  U.S. Geological Survey Report MA-RI-99-1.  Water Resources Division.  Northborough,  MA.

Socolow, R.S., L.Y. Comeau, J. L. Zanca, and L.R. Ramsbey.  1999. Water Resources Data for Massachusetts and Rhode Island, Water Year 1998. U.S. Geological Survey Report MA-RI-98-1.  Water Resources Division.  Marlborough,  MA.

USGS.  1998.  Unpublished Data. Provisional low-flow frequency statistics for gaging stations (3.5” floppy disc).  United States Geological Survey, Water Resources Division.  Marlborough,  MA.

# APPENDIX c

## Technical Memorandum

Subject:	CHICOPEE River Watershed 1998 Biological Assessment

Prepared by:	John Fiorentino, DEP/ Division of Watershed Management, Worcester, MA

Date:		1 November 1999

# INTRODUCTION

Biological monitoring is a useful means of detecting anthropogenic impacts to the aquatic community. Resident biota (e.g. benthic macroinvertebrates, fish, periphyton) in a water body are natural monitors of environmental quality and can reveal the effects of episodic and cumulative pollution and habitat alteration (Plafkin et al. 1989, Barbour et al. 1995). Biological surveys and assessments are the primary approaches to biomonitoring.

As part of the Massachusetts Department of Environmental Protection/Division of Watershed Management’s (MADEP/DWM) 1998 Chicopee River watershed assessments, aquatic benthic macroinvertebrate biomonitoring was conducted to evaluate the biological health of various portions of the watershed. A total of six biomonitoring stations were sampled to bracket the effects of the following perceived stressors to the aquatic communities of the Chicopee River watershed: the Ware Wastewater Treatment Plant (WWTP) and miscellaneous nonpoint pollution sources (e.g. storm water) associated with the Town of Ware on the Ware River; the Warren WWTP on the Quaboag River; and the North Brookfield WWTP on Forget-me-not Brook. A site-specific sampling approach was implemented, in which the aquatic community and habitat downstream from the stressor (downstream study site) were compared to an upstream reference station (control site) representative of “least disturbed” biological conditions in the waterbody. While the alternative to this site-specific approach is to compare the study site to a regional reference station (i.e., “best attainable” condition), the site-specific approach is more appropriate for an assessment of a known or suspected stressor, provided that the stations being compared share basically similar instream and riparian habitat characteristics (Plafkin et al. 1989). Since both the quality and quantity of available habitat affect the structure and composition of resident biological communities, effects of such features can be minimized by sampling similar habitats at stations being compared, providing a more direct comparison of water quality conditions (Plafkin et al. 1989). Sampling highly similar habitats will also reduce metric variability, attributable to factors such as current speed and substrate type.

To provide additional information necessary for making basin-wide aquatic life use designations required by Section 305b of the Clean Water Act, all Ware River and Quaboag River stations were compared to a regional reference station in the Swift River as well. Use of a regional reference station is particularly useful in assessing nonpoint source (NPS) pollution impacts (e.g. physical habitat degradation) at upstream control sites as well as downstream sites suspected as chemically-impacted from known point source stressors (Hughes 1989). Stations in Forget-me-not Brook (first-order stream) were not compared to the Swift River (third-order) station due to considerable differences in stream morphology, flow regimes, and drainage area.  Sampling locations, along with station identification numbers and dates, are noted in Table C1.  Sampling locations are shown in Figure C1.

Table C1. List of macroinvertebrate biomonitoring station locations sampled during the 1998 Chicopee River watershed survey, including station identification number, station description, and sampling date.

| STATION | SITE DESCIPTION | SAMPLING DATE |
| --- | --- | --- |
| 36-SWIFT | Swift River, downstream from Route 9 (at USGS gage), Belchertown/Ware, MA | 21 Sept. 1998 |
| 36-WAREUP | Ware River, downstream from Route 32 (upstream from Ware and Ware WWTP), Hardwick, MA | 17 Sept. 1998 |
| 36-WAREDN | Ware River, downstream from Route 32 (downstream from Ware and Ware WWTP), Ware, MA | 17 Sept. 1998 |
| 36-QUABUP | Quaboag River, downstream from Gilbert Rd. (upstream from Warren WWTP), Warren, MA | 17 Sept. 1998 |
| 36-QUABDOWN | Quaboag River, upstream from Interstate 90 (downstream from Warren WWTP), Palmer-Brimfield, MA | 17 Sept. 1998 |
| 36-FNBUP | Forget-me-not Brook, upstream from E. Brookfield Rd. (upstream from N. Brookfield WWTP), N. Brookfield, MA | 16 Sept. 1998 |
| 36-FNBDN | Forget-me-not Brook, downstream from E. Brookfield Rd. (downstream from N. Brookfield WWTP), N. Brookfield, MA | 16 Sept. 1998 |

Figure C1.  Location of DWM biomonitoring stations for the 1998 Chicopee River watershed survey.

The main objectives of biomonitoring in the Chicopee River watershed were: (a) to determine the biological health of streams within the watershed by conducting assessments based on aquatic macroinvertebrate communities; and (b) to identify problem stream segments so that efforts can be focussed on developing NPDES permits, storm water management, and control of other nonpoint source (NPS) pollution.

Specific tasks were:

- Conduct benthic macroinvertebrate sampling at locations throughout the Chicopee River watershed.

- Based upon the macroinvertebrate data, identify river segments within the watershed with potential point/nonpoint source pollution problems; and

- Using the benthic macroinvertebrate data and supporting water chemistry and field data, assess the types of water quality problems that are present, and if possible, make recommendations for remedial actions.

# METHODS

Macroinvertebrate sampling and processing procedures are described in detail in the DWM benthos monitoring SOP (Nuzzo 1999) but a brief description will be given here. Sampling was conducted throughout a 100 m reach, in riffle/run areas with fast currents and cobble/gravel substrates—generally the most productive habitats, supporting the most diverse communities in the stream system.  Ten kicks in squares approximately 0.46 m x 0.46 m were composited for a total sample area of about 2 m2.  Samples were preserved in the field with denatured 95% ethanol, then brought to the DWM lab for processing. Before leaving the sample reach, habitat qualities were scored using a modification of the evaluation procedure in Plafkin et al. (1989). The habitat assessment is intended to support the biosurvey and enhance the interpretation of the biological data. The matrix used to assess habitat quality is based on key physical characteristics of the water body and surrounding land use. Most parameters evaluated are instream physical attributes often related to overall land use and are potential sources of limitation to the aquatic biota (Plafkin et al. 1989). The ten habitat parameters are as follows: instream cover, epifaunal substrate, embeddedness, sediment deposition, velocity/depth combinations, channel flow status, right and left (when facing downstream) bank vegetative protection, right and left bank stability, right and left bank riparian vegetative zone width.  Habitat parameters are scored, totaled, and compared to a regional reference station and/or a site-specific control (upstream reference) station to provide a final habitat ranking.

Macroinvertebrate sample processing entailed distributing a sample in pans, selecting grids within the pans at random, and sorting specimens from the other materials in the sample until approximately 100 organisms (±10%) were extracted. Specimens were identified to family as allowed by available keys, specimen condition, and specimen maturity.  Taxonomic data were analyzed using a modification of Rapid Bioassessment Protocol II (RBP II) metrics and scores (Plafkin et al. 1989). Based on the taxonomy various community, population, and functional parameters, or “metrics,” were calculated which allow an investigator to measure important aspects of the biological integrity of the community. This integrated approach provides more assurance of a valid assessment because a variety of biological parameters are evaluated. Deficiency of any one metric should not invalidate the entire approach (Plafkin et al. 1989). Metric values for each station were scored based on comparability to the reference station, and scores were totaled. The percent comparability of total metric scores for each study site to those for a selected minimally-impaired reference station (i.e., “best attainable” situation) yields an impairment score for each site. RBP II analysis separates sites into three categories: non-impaired, moderately impaired, and severely impaired. Impairment of the benthic community may be indicated by the absence of generally pollution-sensitive macroinvertebrate taxa such as Ephemeroptera, Plecoptera, and Trichoptera (EPT); dominance of a particular taxon, especially the pollution-tolerant Chironomidae and Oligochaeta taxa; low taxa richness; or shifts in community composition relative to the reference station (Plafkin et al. 1989). Those biological metrics calculated and used in the analysis of Chicopee River watershed macroinvertebrate data are listed and defined below. For a more detailed description of metrics used to evaluate benthos data see Plafkin et al. (1989):

- Taxa richness—a measure based on the number of taxa present. The lowest possible taxonomic level is assumed to be genus or species; however, specimens collected in the Chicopee River watershed were identified to family.

- EPT Index—a count of the number of taxa (families for RBP II) from the orders Ephemeroptera (mayflies), Plecoptera (stoneflies), and Trichoptera (caddisflies). As a group these are considered three of the most sensitive aquatic insect orders. Therefore, the greater the contribution to total richness from these three orders, the healthier the community.

- Biotic Index—based on the Hilsenhoff Biotic Index (HBI), this is an index designed to produce a numerical value to indicate the level of organic pollution. Organisms have been assigned a value ranging from zero to ten based on their tolerance to organic pollution. A value of zero indicates the taxon is highly intolerant of pollution and is likely to be found only in pollution-free waters. A value of ten indicates the taxon is tolerant of pollution and may be found in highly polluted waters. The number of organisms and the individually assigned values are used in a mathematical formula that describes the degree of organic pollution at the study site. The formula for calculating HBI is:

| HBI =  xiti n | where | xi = number of individuals within a taxon |
| --- | --- | --- |
|  |  | ti = tolerance value of a taxon |
|  |  | n = total number of organisms in the sample |

- Ratio of EPT and Chironomidae Abundance—The EPT and Chironomidae abundance ratio uses relative abundance of these indicator groups as a measure of community balance. Skewed populations having a disproportionate number of the generally tolerant Chironomidae (“midges”) relative to the more sensitive insect groups may indicate environmental stress.

- Percent Contribution Dominant Taxon—is the percent contribution of the numerically dominant taxon (family) to the total numbers of organisms. A community dominated by few taxa indicates environmental stress. Conversely, more balance among taxa indicates a healthy community.

- Ratio of Scraper and Filtering Collector Functional Feeding Groups—this ratio reflects the community food base. The proportion of the two feeding groups is important because predominance of a particular feeding type may indicate an unbalanced community responding to an overabundance of a particular food source (Plafkin et al. 1989).

- Community Similarity—is a comparison of a study site community to a reference site community. Similarity is often based on indices that compare community composition. Most community similarity indices stress richness and/or richness and abundance. Generally speaking, communities will become more dissimilar as stress increases.

# RESULTS AND DISCUSSION

The taxonomic list of macroinvertebrates collected at each sampling station is attached as an appendix (Table A1). Included in the taxa list are total organism counts, and the functional feeding group (FFG) and tolerance value (TV) of each taxon.

Summary tables of the RBP II data analyses, including biological metric calculations, metric scores, and impairment scores, are included in the Appendix as well. Table A2 is the summary table for Ware River and Quaboag River stations when compared to the regional reference station in the Swift River (36-SWIFT). Table A3 summarizes the assessment of the Ware River, Quaboag River, and Forget-me-not Brook study sites (36-WAREDN, 36-QUABDOWN, and 36-FNBDN) based on comparisons to an upstream control station. Stations on Forget-me-not Brook were not compared to the regional reference station due to considerable differences in stream morphology, flow regimes, and drainage area. Habitat assessment scores for each station are also included in the summary tables, while a more detailed summary of habitat parameters evaluated is shown in Table A4.

The benthic macroinvertebrate data for this watershed generally indicate healthy aquatic communities and good habitat in the Ware River, Quaboag River, and Swift River, but likely problems in Forget-me-not Brook.

#### Swift River

The Swift River drains the Quabbin Reservoir and its 150.6 square miles of drainage area. Prior to the creation of the Quabbin Reservoir, the Swift River was formed by the confluence of its West, Middle, and East Branches. Today it carries the overflow from the reservoir south for 10 miles to the Ware River in Belchertown. The three branches of the Swift River are some of the many streams that feed Quabbin Reservoir, the largest inland body of water in Massachusetts. The Quabbin Reservoir is part of the Metropolitan District Commission (MDC) and Massachusetts Water Resources Authority (MWRA) water supply system, which together with the Wachusett Reservoir, provides drinking water for 2.5 million people in 46 eastern Massachusetts communities.

36-SWIFT—Swift River, mile point 9.0, downstream from Route 9 (at USGS gage), Belchertown/Ware, MA.

Habitat

DWM’s Swift River macroinvertebrate biomonitoring station was located approximately 865 m downstream (southeast) from Route 9 on the Belchertown/Ware border, and about 2 km downstream from the Quabbin Reservoir and its major retaining structure, Windsor Dam. The 100 m sampling reach began just upstream from a United States Geological Survey (USGS) gage established on the Ware side of the river, in a sparsely settled portion of the watershed located in the Swift River Wildlife Management Area. Fast water areas (i.e., “riffles”) of varying depths dominated the reach, and coupled with an abundance of rocky substrates, provided excellent epifaunal habitat for macroinvertebrates and good cover for fish. Both stream banks were well-vegetated and stable, with a fairly wide and undisturbed riparian zone along the left (east) bank. The riparian zone along the right bank, however, was somewhat reduced due to the close proximity of three houses. Despite the narrow buffer between back yards and river, NPS inputs were not evident. Riparian vegetation was dominated by red oak (Quercus rubra) and white pine (Pinus strobus), and interspersed with red maple (Acer rubrum)—typical species of the Quabbin watershed (Spencer and Lyons 1986). A shrub layer dominated by riverbank grape (Vitis riparia) occupied both banks. 36-SWIFT received a composite habitat score of 161/200—the highest received by a biomonitoring station in the Chicopee River watershed (Table A4). 36-SWIFT was the designated regional reference station for the Chicopee River watershed survey by virtue of its high habitat evaluation, historically high water quality, and minimal upstream/adjacent land use impacts (e.g. absence of point source inputs, lack of channelization, minimal development and agricultural activity nearby, undisturbed and well-vegetated riparian zone).

Benthos

Besides offering exceptional habitat, this reach of the stream was characterized by a macroinvertebrate assemblage indicating a healthy aquatic community.  Ten different taxa were recorded and most of the metric values were strongly indicative of clean water and “best attainable” conditions (Table A2). In particular, those attributes that measure components of community structure (i.e., taxa richness, biotic index, EPT index)—which display the lowest inherent variability among the RBP metrics used (Resh 1988)—scored well (although an EPT index of 6 was lower than expected), further corroborating the designation as a reference station. A biotic index of 3.85 was quite low relative to the other biomonitoring stations in the survey, indicating the dominance of the Swift River benthos assemblage by highly pollution-sensitive taxa. Only the percent dominant taxon metric performed poorly—the result of an assemblage somewhat hyperdominated by the filter-feeding caddisfly Hydropsychidae. This most likely relates to the influence of the Quabbin Reservoir upstream and not the direct impact of pollutants. Typically, in lentic systems such as the impoundment upstream, the primary source of organic matter is autochthonous (produced within the system), with secondary inputs of allochthonous (transported into the system from someplace else) materials from shoreline vegetation and fluvial inputs (Wetzel 1975, Merritt et al. 1984). Phytoplankton production—and to a lesser extent, littoral vascular plant production—and associated dissolved organic matter (DOM), are the primary source of autochthonous matter (Wetzel 1975). It is the physical-chemical flocculation (non-biological) of this DOM and/or other biological processes which lead to the formation of FPOM, the primary nutrition resource utilized by filter-feeders such as Hydropsychidae, who use silken nets to capture this food resource as it is suspended in the water column (Wetzel 1975). While FPOM production in lotic systems is primarily a result of the processing of microbially colonized Course Particulate Organic Material (CPOM) by aquatic shredders, the high concentration of FPOM in stream systems immediately below pond and reservoir outlets has mainly lentic origins.

#### Ware  River

The mainstem of the Ware River is formed in the Town of Barre at the confluence of the East Branch and West Branch of the Ware River. From this confluence the river flows 34 miles in a southwesterly direction, dropping 480 feet in elevation and draining 435 square miles. Less than one mile above the Three Rivers section of Palmer, the Ware River merges with the Swift River. A short distance downstream, these two rivers then combine with the Quaboag River to form the Chicopee River.

36-WAREUP—Ware River, mile point 16.6, downstream from Route 32, Hardwick, MA.

36-WAREUP was designated the upstream control station for comparisons with 36-WAREDN, located farther downstream, in an attempt to bracket the effects of multiple stressors in the Town of Ware. More specifically, the Ware WWTP (NPDES # MA0100889)—an advanced treatment facility which also treats the wastewater effluent from a coil coating company (Profiles) and a paper company (Kenzaki Paper)—and runoff associated with the urban nature of Ware (e.g. storm water) are the major perceived threats to this portion of the watershed. Nutrient loading has historically contributed to water quality degradation downstream from the Ware WWTP (MADEP 1989; MADEP 1992). In addition, toxicity testing conducted by MADEP (1989) as part of the 1989 Ware and Quabbin River survey found the Ware WWTP effluent to be moderately toxic to Daphnia pulex. To evaluate the validity of 36-WAREUP as an upstream reference station and to better assess this portion of the Ware River  (i.e., the segment upstream from Ware and the Ware WWTP), biological status at 36-WAREUP was compared to the regional reference station in the Swift River as well.

Habitat

The 36-WAREUP biomonitoring station began approximately 65 m downstream (west) from Route 32 in the Gilbertville section of Hardwick and extended 100 m upstream; thus, sampling was conducted both upstream and downstream from the road crossing in the most well developed riffle areas. Flat, slow water dominated this portion of the river; however, the riffle areas at 36-WAREUP were not so limited as to preclude the 10-kick sample collection required by the sampling protocol. While moss-covered rocky substrates were abundant throughout the sample reach, the shallow nature of the river resulted in less than optimal habitat for fish and macroinvertebrates. Although not severe, some sediment deposition and associated substrate embeddedness was observed, most likely originating from the road crossing and nearby storm drain and/or a dirt parking lot adjacent to the sampling reach. Other NPS inputs in the form of trash appear to enter the river from the road crossing as well. Houses along the left (east) bank and an abandoned mill near the right bank (west) encroached upon a riparian zone comprised of red maple (Acer rubrum) and white ash (Fraxinus americanus), a shrub layer of dogwood (Cornus sp.) and elderberry (Sambucus canadensis), and some herbaceous growth consisting mainly of Joe-pie-weed (Eupatorium maculatum). Both river banks were considered stable and fairly well-vegetated. 36-WAREUP received a total habitat assessment score of 139/200 (Table A4).

Benthos

The 36-WAREUP macroinvertebrate assemblage received a total metric score of 36, which was 92% comparable to the regional reference station in the Swift River (Table A2). Several of the biological metrics calculated for 36-WAREUP scored better than those of the reference condition, including the taxa richness and EPT richness metrics—generally considered the most robust metrics used in the RBP data analysis. Along with good values for the richness metrics, low biotic index and percent dominant taxon values indicated a well-balanced assemblage dominated by pollution-intolerant taxa. The high comparability of the 36-WAREUP benthos community to reference conditions at 36-SWIFT corroborate its designation as a control site for downstream studies on the Ware River. NPS inputs associated with road runoff appear to only minimally impact the aquatic community and habitat at 36-WAREUP; however, efforts should be made to eliminate instream trash deposits in this portion of the river and deter the dumping of trash from the Route 32 road crossing in the future. Based on the high comparability to the “best attainable” conditions at 36-SWIFT, the aquatic community at 36-WAREUP was considered “non-impaired.”

36-WAREDN—Ware River, mile point 8.3, downstream from Route 32, Ware, MA.

Habitat

The 36-WAREDN sampling reach began approximately 120 m downstream (west) from Route 32 in the Gibbs Crossing section of Ware—about 2 miles downstream from the Ware WWTP and about 2.5 miles from downtown Ware. As with the upstream Ware River station, rocky substrates dominated the sampling reach at 36-WAREDN; however, a greater variety of flow regimes (i.e., deep and shallow riffles) provided even better epifaunal habitat for invertebrates here than at the upstream control site. A mix of rubble, snags, and other woody debris provided fish with optimal cover as well. Like the 36-WAREUP station, the presence of Route 32 just upstream from the sampling reach was a potential source of NPS pollution. Indeed, sediment deposition—probably the result of road runoff—was observed throughout the reach. An adequate riparian zone along the right bank appeared to buffer the reach from NPS inputs from an adjacent house, while a heavily wooded riparian zone dominated by red maple (Acer rubrum), oak (Quercus sp.), and alder (Alnus sp.) extended undisturbed from the left bank. Instream vegetation was dominated by aquatic mosses, although submerged macrophytes (Myriophyllum sp., Potamogeton sp.) were observed as well. Both banks were fairly well-vegetated and stable, save for a few small areas of erosion. 36-WAREDN received a total habitat score of 154/200, which was actually slightly higher than the score received by the control station 36-WAREUP (Table A4). The high comparability of habitat at the study site and reference site allowed for a direct comparison of biological condition.

Benthos

The benthic community at 36-WAREDN was found to be 93% comparable to the upstream reference condition at 36-WAREUP, receiving a total metric score of 39/42 and a “non-impaired” bioassessment relative to the “best attainable” conditions for this waterbody (Table A3). Metric values for taxa richness and EPT index were similar to those of 36-WAREUP, while values for EPT/Chironomidae and Scrapers/Filterers metrics were actually higher. In addition, a biotic index of 3.72—the lowest received by a biomonitoring station in the 1998 survey—indicates a macroinvertebrate assemblage highly intolerant of the organic pollution one would associate with an improperly treated point source or storm drain discharge. Based on upstream comparisons then, it appears that the combined effects of the Ware WWTP and other anthropogenic perturbations associated with the Town of Ware do not noticeably impact water quality or biological integrity in this portion of the Ware River.

Virtually all biological metrics calculated for 36-WAREDN performed better than those for the regional reference station in the Swift River, indicating even better community balance and richness of pollution-sensitive forms. When using 36-SWIFT as the reference, 36-WAREDN received a total metric score of 39, representing 100% comparability to the “best attainable” conditions in the Chicopee River watershed (Table A2). Once again, this resulted in a bioassessment of “non-impaired” for 36-WAREDN. Thus, it appears that NPS or other unknown forms of pollution have virtually no perceptible effect on the resident biota in this portion of the Ware River.

#### Quaboag  River

The outlet of Quaboag Pond officially marks the beginning of the Quaboag River. From the outlet of Quaboag Pond, the Quaboag River flows in a generally southwesterly direction for 26 miles and drops 300 feet in elevation. Its total drainage area (including the East Brookfield and Seven Mile rivers) is 210 square miles. The confluence of the Quaboag River and the Ware River at Three Rivers, a section of the Town of Palmer, forms the Chicopee River.

36-QUABUP—Quaboag River, mile point 13.3, downstream from Gilbert Road, Warren, MA.

36-QUABUP was designated the upstream control station for comparison with 36-QUABDOWN, located further downstream, in an attempt to bracket the effects of the Warren WWTP (NPDES # MA0101567) on the downstream biota. The wastewater treatment facility is a secondary treatment facility engaged in the collection and treatment of municipal wastewater for the Town of Warren. The plant has historically contributed to elevated levels of fecal coliform bacteria in this portion of the river (MADEP 1992). To evaluate the validity of 36-QUABUP as an upstream reference station and to better assess this portion of the Ware River (i.e., the segment upstream from the Warren WWTP), biological integrity at 36-QUABUP was compared to the regional reference station in the Swift River as well.

Habitat

The 36-QUABUP sampling reach began approximately 245 m downstream (west) from Gilbert Road, near the West Warren section of Warren. Riffle areas were somewhat short and shallow throughout the reach, providing macroinvertebrates with less than optimal epifaunal habitat. An abundance of instream mosses probably offered additional benthos microhabitat, however. Fish cover here was sub-optimal as well, yet adequate for maintenance of populations. Stream banks were fairly stable and well-vegetated, although the right bank was dominated by non-native vegetation—most notably purple loosestrife (Lythrum salicaria). Riparian vegetative zone width was the most degraded habitat parameter, with railroad tracks only minimally buffered from the left bank, and the WWTP property dominating the right bank’s riparian zone. Those trees present were mostly oaks (Quercus spp.), red maple (Acer rubrum), birch (Betula sp.), and willow (Salix sp.). A herbaceous layer of royal ferns (Osmunda regalis) and loosestrife occupied the stream margins along both banks. While NPS pollution was not evident in the sampling reach, a large (55 gal) container of unknown substance was observed approximately 150 m upstream from the station. 36-QUABUP received a total habitat assessment score of 134/200—the lowest habitat evaluation of a biomonitoring station in the 1998 survey (Table A4).

Benthos

The 36-QUABUP macroinvertebrate assemblage received a total metric score of 36, which was 92% comparable to the regional reference station in the Swift River (Table A2). In spite of the somewhat low habitat evaluation, the benthos data indicate a healthy aquatic community. Taxa richness and EPT richness were higher here than at the “best attainable” conditions of 36-SWIFT. In addition, a 25% value for the percent dominant taxon metric infers this was the most evenly distributed macroinvertebrate assemblage of all the Ware, Quaboag, and Swift River stations.  The high comparability to the Swift River station indicated that this site was “non-impaired,” and justifies its use as an upstream control for the downstream station 36-QUABDOWN.

36-QUABDOWN—Quaboag River, mile point 10.2, upstream from Interstate 90 (upstream from USGS gage), Palmer/Brimfield, MA.

Habitat

The 36-QUABDOWN sampling reach began approximately 530 m upstream (north) from Interstate 90 and just upstream from the USGS gage at Palmer/Brimfield. The Warren WWTP is approximately 2 miles upstream. Much like the upstream reference station in Warren, the 36-QUABDOWN biomonitoring reach contained an abundance of rocky substrates in mostly shallow riffles. The lack of fast deep-water flow regimes resulted in less than optimal epifaunal habitat for macroinvertebrates. The presence of large boulders in deep pools did provide fish with additional cover not observed at the upstream site. Both banks were fairly well-vegetated, yet occasional areas of “sloughing” compromised bank stability somewhat. Despite the reduction of the riparian zone due to adjacent railroad tracks near the left bank and foot traffic along the right bank, NPS pollution was not evident. Like the upstream reference station, riparian vegetation was dominated by red maple (Acer rubrum), oaks (Quercus spp.), birch (Betula sp.), and a fern (Osmunda regalis) understory. Also present was a fairly well developed shrub layer of alder (Alnus sp.) and red-osier dogwood (Cornus stolonifera). 36-QUABDOWN received a total habitat score of 144/200—slightly higher than the assessment of the upstream reference station (Table A4).

Benthos

36-QUABDOWN contained the most diverse assemblage of macroinvertebrates sampled during the 1998 biomonitoring survey, including the richest assemblage of pollution-sensitive EPT taxa. Values for taxa richness, biotic index, EPT index, and EPT/Chironomidae metrics all performed better than upstream reference conditions at 36-QUABUP (Table A3). The resulting total metric score of 33 was 79% comparable to the “best attainable” biological conditions for the Quaboag River (Table A3) and indicated “non-impairment” of the aquatic community. Trophic structure appears to have shifted from the periphyton-based guild (i.e., dominated by scrapers) observed at 36-QUABUP, to one dominated by filter-feeders at 36-QUABDOWN (Table A1). While it is possible that the increase in the suspended FPOM (fine particulate organic material) food resource utilized by these filterers may be attributed to the Warren WWTP discharge, impairment of water quality downstream from the treatment facility appears minimal at most.

Biological metrics calculated for the 36-QUABDOWN station performed even better when compared to the regional reference condition at 36-SWIFT. A total metric score of 33 was 85% comparable to the Swift River assemblage, again resulting in a “non-impaired” bioassessment for the 36-QUABDOWN aquatic community (Table A2). Virtually all metrics outperformed the reference station, including taxa richness and EPT index—corroborating that biological integrity and water quality in this portion of the Quaboag River appear good.

#### Forget-me-not Brook

Originating in North Brookfield, Forget-me-not Brook flows in a southerly direction for approximately 4 miles, joining the Quaboag River in Brookfield after merging with Dunn Brook near West Main Street in North Brookfield. The mouth of Dunn Brook is less than one mile below Quaboag Pond. Along its course, the elevation of Forget-me-not Brook/Dunn Brook drops slightly over 100 feet as the stream meanders through mostly undeveloped open space.

36-FNBUP—Forget-me-not Brook, mile point 3.6, upstream from East Brookfield Road, North Brookfield, MA.

36-FNBUP was designated the upstream control station for comparisons with 36-FNBDN, located a short distance downstream, in an attempt to bracket the effects of the North Brookfield WWTP (NPDES # MA0101061) on the downstream aquatic community. The wastewater treatment facility is a secondary treatment facility engaged in the collection and treatment of municipal wastewater for the Town of North Brookfield. Below the treatment plant, the stream’s size severely limits its assimilative capacity and has historically resulted in numerous violations of Class “B" criteria (MADEP 1978; MADEP 1991; MADEP 1992; Warren Kimball, MADEP, personal communication). An added concern during the 1998 biomonitoring survey was that discharge-related water quality degradation and its affect on downstream biota would be exacerbated by the lower-than-average flow conditions witnessed during the sampling period.

Habitat

The 36-FNBUP sampling reach began approximately 10 m upstream (northeast) from E. Brookfield Road in N. Brookfield and about 200 m upstream from the North Brookfield Wastewater Treatment Plant. A small first-order stream, this portion of Forget-me-not Brook meandered through an undeveloped and forested area offering a mostly shaded canopy throughout the sampling reach. An abundance of cobble substrates offered good epifaunal habitat for macroinvertebrates; however, shallow instream conditions (water filled less than 50% of the available channel) resulted in less than optimal fish cover. Moderate sediment deposition in pool areas led to a further reduction in fish habitat. Both stream banks were well-vegetated and stable, and an undisturbed riparian zone offered good protection from potential overland NPS inputs. Hardwoods, especially red maple (Acer rubrum), alder (Alnus sp.), and ash (Fraxinus sp.) dominated the riparian zone. Herbaceous vegetation, most notably forget-me-not (Myosotis scorioides), goldenrod (Solidago sp.), ferns, and grasses were observed in the understory and along the stream banks. 36-FNBUP received a total habitat assessment score of 149/200 (Table A4).

Benthos

The 36-FNBUP macroinvertebrate assemblage displayed optimum community structure (composition and dominance), with a richness of 15, and EPT index of 8, and a dominant taxon percentage of only 21% (Table A3). Trophic structure also appeared balanced, with filter-feeders, gatherers, and scrapers well-represented. The benthos received a total metric score of 42—the highest score possible—and represented the highest biological potential in the Forget-me-not Brook/Dunn Brook sub-basin.

36-FNBDN—Forget-me-not Brook, mile point 3.3, downstream from East Brookfield Road, North Brookfield, MA.

Habitat

As with the upstream station, the 36-FNBDN sampling reach contained an abundance of cobble substrates in well developed, albeit shallow, riffle areas. While slight increases in baseflow resulted from discharge contributions from the treatment plant and improved macroinvertebrate and fish habitat slightly, the channel remained only about half full. Instream deposition and associated substrate embeddedness were fairly substantial, with the upstream road crossing a possible source of runoff. Again the riparian zone was undisturbed and heavily wooded, with birch (Betula sp.), poplar (Populus sp.), and alder (Alnus sp.) the dominant trees. Grasses, ferns, forget-me-not (Myosotis scorioides), goldenrod (Solidago sp.), blackberry (Rubus sp.), and asters (Aster sp.) comprised the herbaceous layer along the stream margins. Both banks were stable and well-vegetated. 36-FNBDN received a total habitat assessment score of 151/200 (Table A4).

Most habitat parameters at 36-FNBDN scored similarly to reference conditions at 36-FNBUP. The high comparability to upstream reference conditions in terms of habitat type and quality, coupled with similar stream flow conditions, allowed for a direct comparison of biological condition between upstream and downstream stations.

Benthos

Results of the RBPII assessment indicated “moderate impairment” to the benthic community relative to upstream reference conditions. A total metric score of 18 out of a possible 42 was only 43% comparable to metric scores at 36-FNBUP (Table A3). That habitat quality is similar at both Forget-me-not Brook sites implies that detected impacts at the 36-FNBDN study site can be attributed to water quality factors. Significant reductions in richness, particularly the pollution-sensitive EPTs, are indicative of water quality degradation and potentially low levels of dissolved oxygen. The hyperdominance of filter-feeders—specifically Hydropsychidae, which comprised 76% of the benthos sample—in the macroinvertebrate assemblage found here appears to reflect the effects of considerable organic enrichment, and is indicative of an unbalanced community responding to an overabundance of a food resource (in this case, suspended FPOM). Shifts in trophic structure at 36-FNBDN are also evident in the low scraper/filterer metric score, as well as the abundance of filamentous algae observed throughout the reach.

The 36-FNBDN aquatic community appears to be structured in response to—and notably stressed from—water quality conditions related to the N. Brookfield WWTP. The hyperdominance of one filter-feeding taxon in a habitat that should support a diverse benthic community, species reduction due to loss of intolerant forms, and substantial instream algal cover suggest the effects of nutrient loading and organic enrichment often associated with an inadequately treated wastewater discharge.

RECOMMENDATIONS

36-WAREUP—Efforts should be made to reduce sediment inputs from the Route 32 bridge that appear to be causing instream deposition and substrate embeddedness. Other NPS inputs in the form of trash appear to enter the river from the road crossing as well. Implementing structural or non-structural Best Management Practices (BMPs) and a river cleanup would address both issues respectively.

36-WAREDN—Again, the Route 32 crossing appears to be the source of sediment inputs to the sampling reach just downstream. BMPs may alleviate the effects of runoff.

36-QUABUP—While NPS pollution was not evident in the sampling reach, a rather dubious 55 gal container was observed in the stream approximately 150 m upstream from the top of the reach. The contents of the container are unknown, but it should be removed as soon as possible.

36-FNBUP and 36-FNBDN—Biological integrity has been reduced downstream from the N. Brookfield WWTP, with resident biota structured in response to organic enrichment, nutrient loading, and possibly low levels of dissolved oxygen. DEP may wish to consider reinstating an instream dissolved oxygen monitoring program at the N. Brookfield WWTP, with results of monthly DO monitoring to be submitted along with the plant’s Discharge Monitoring Report Forms (DMRs). Previously required by the facility in their 1995 NPDES permit, DEP authorized the plant to discontinue dissolved oxygen monitoring in June of 1997 based on results of the year long monitoring program. At the very least, DEP should conduct a site visit of the treatment facility, review its existing NPDES permit limits, note recent compliance or violations, and make permit modifications where necessary. Biomonitoring should be conducted at 36-FNBUP and 36-FNBDN during the next monitoring year (i.e., “year 2”) in the 5-year basin cycle for the Chicopee River watershed.

Instream sediment deposition compromises epifaunal habitat for macroinvertebrates and fish spawning habitat at both upstream and downstream stations. Road runoff, especially from any of the several E. Brookfield Road river crossings, should be investigated as a possible source.

REFERENCES

Barbour, M. T., J. B. Stribling, and J. R. Carr. 1995. The multimetric approach for establishing biocriteria and measuring biological condition. pp. 63-80. in W. S. Davis and T. P. Simon (eds.). Biological Assessment and Criteria: Tools for Water Resource Planning and Decision Making. Lewis Publishers, Boca Raton, FL.

Commonwealth of Massachusetts, Department of Environmental Protection. 1978. Upper Quaboag River Basin Water Quality Data – 1977. DEP/Division of Water Pollution Control, Westborough, MA. 48 p.

Commonwealth of Massachusetts, Department of Environmental Protection. 1989. Ware and Quaboag Rivers Water Quality Data, Wastewater Discharge Data, and Analysis – 1989. DEP/Division of Water Pollution Control, Westborough, MA. 28 p.

Commonwealth of Massachusetts, Department of Environmental Protection. 1991. Upper Quaboag River Basin Water Quality Data, Wastewater Discharge Data, and Analysis – 1990. DEP/Division of Water Pollution Control, Westborough, MA. 25 p.

Commonwealth of Massachusetts, Department of Environmental Protection. 1992 Massachusetts  Summary of Water Quality. DEP/Division of Water Pollution Control, N. Grafton, MA. 96 p.

Hughes, Robert M. 1989. Ecoregional Biological Criteria. Water Quality Standards for 21st Century. 147-151.

Markowitz, Daniel V. 1986. Total Quality Watersheds. Water Environment & Technology. Vol. 8. No. 8. 55-60.

Merritt, R. W., K. W. Cummins, and T. M. Burton. The role of aquatic insects in the processing and cycling of nutrients. pp. 134-163. in V. H. Resh and D. M. Rosenberg (eds.). The Ecology of Aquatic Insects. Praeger Publishers, New York, NY.

Nuzzo, R.  1999. Standard Operating Procedures (Working Draft): Water Quality Monitoring in Streams using Aquatic Macroinvertebrates. Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester, MA. 8 p.

Plafkin, J. L., M. T. Barbour, K. D. Porter, S. K. Gross, and R. M. Hughes. 1989. Rapid Bioassessment Protocols for Use in Streams and Rivers: Benthic Macroinvertebrates and Fish. EPA/440/4-89-001. Office of Water, US Environmental Protection Agency, Washington, DC.

Resh, V. H. 1988. Variability, accuracy, and taxonomic costs of rapid bioassessment approaches in benthic biomonitoring. Presented at the 36th annual North American Benthological Society meeting at Tuscaloosa, Alabama, 17-20 May 1988.

Spencer, B. A. and P. J. Lyons. 1986. A Ten Year Forest and Wildlife Management Plan for the Quabbin Watershed. Metropolitan District Commission. Belchertown, MA.

Wetzel, R. G. 1975. Limnology. W. B. Saunders Co., Philadelphia, PA.  743 p.

Wiederholm, T. 1984. Responses of aquatic insects to environmental pollution. pp. 508-557. in.  V. H. Resh and D. M. Rosenberg (eds.). The Ecology of Aquatic Insects. Praeger Publishers, New York, NY.

APPENDIX

Macroinvertebrate taxa list, RBPII data analysis, and Habitat evaluation

Table A1. Family-level taxa list and counts, functional feeding group (FFG), and tolerance values (TV) for macroinvertebrates collected from 7 stream sites in the Chicopee River watershed between 16 and 21 September 1998. Sampling stations were in: Swift River (36-SWIFT), Ware River (36-WAREUP; 36-WAREDN), Quaboag River (36-QUABUP; 36-QUABDOWN), and Forget-me-not Brook (36-FNBUP; 36-FNBDN).

| TAXON | FFG1 | TV2 | 36- SWIFT | 36- WAREUP | 36- WAREDN | 36- QUABUP | 36- QUAB DOWN | 36- FNBUP | 36- FNBDN |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hydrobiidae | SC | 8 |  |  | 1 |  |  |  |  |
| Ancylidae | SC | 7 |  |  |  | 1 | 2 |  |  |
| Pisidiidae | FC | 6 | 8 |  | 1 |  | 3 |  |  |
| Naididae | GC | 9 |  |  |  |  |  | 2 |  |
| Lumbriculidae | GC | 7 | 4 |  |  |  |  |  | 1 |
| Baetidae | GC | 4 | 8 | 23 | 25 | 27 | 30 | 5 | 7 |
| Oligoneuriidae | GC | 4 |  | 3 | 2 | 3 | 2 |  |  |
| Heptageniidae | SC | 4 | 9 | 6 | 18 | 4 | 3 | 6 |  |
| Ephemerellidae | GC | 1 | 14 | 4 | 1 | 11 | 6 | 1 | 1 |
| Calopterygidae | PR | 5 |  |  |  |  |  | 1 |  |
| Coenagrionidae | PR | 9 |  |  |  | 1 |  |  |  |
| Perlidae | PR | 1 |  | 1 |  |  |  |  |  |
| Perlodidae | PR | 2 | 2 |  |  |  | 1 | 7 |  |
| Corydalidae | PR | 5 |  | 1 |  |  |  |  |  |
| Philopotamidae | FC | 3 |  | 29 | 11 | 1 | 1 | 18 |  |
| Hydropsychidae | FC | 4 | 41 | 14 | 13 | 14 | 24 | 20 | 81 |
| Rhyacophilidae | PR | 0 | 2 | 1 | 4 |  |  | 4 |  |
| Glossosomatidae | SC | 0 |  |  |  | 3 | 5 | 4 | 2 |
| Brachycentridae | FC | 1 |  |  |  |  | 1 |  |  |
| Lepidostomatidae | SH | 1 |  |  | 1 | 1 |  |  |  |
| Leptoceridae | PR | 4 |  |  |  |  | 1 |  |  |
| Pyralidae | SH | 5 |  |  |  |  | 1 |  |  |
| Psephenidae | SC | 4 |  |  |  |  | 1 | 7 |  |
| Elmidae | SC | 4 |  | 7 | 14 | 21 | 4 | 5 | 1 |
| Tipulidae | SH | 5 |  |  |  |  |  | 1 |  |
| Simuliidae | FC | 6 | 1 | 1 | 1 | 10 | 2 | 1 | 2 |
| Chironomidae | GC | 6 | 5 | 17 |  | 8 | 9 | 22 | 11 |
| Empididae | PR | 6 |  |  |  | 2 | 1 |  |  |
| TOTAL |  |  | 94 | 107 | 92 | 107 | 97 | 104 | 106 |

1 Functional feeding group (FFG) lists the primary feeding habit of each species and follows the abbreviations: SH-Shredder; GC-Gathering Collector; FC-Filtering Collector; SC-Scraper; PR-Predator

2 Tolerance Value (TV) is an assigned value used in the calculation of the biotic index. Tolerance values range from 0 for organisms very intolerant of organic pollution to 10 for organisms that are very tolerant.

Table A2. Summary of RBP II data analysis for macroinvertebrate communities sampled at stations in the Chicopee River watershed between 16 and 21 September 1998. Seven biological metrics were calculated and scored (in italics) for taxa collected at each station. Scores were then totaled and compared to the regional reference station (36-SWIFT). The percent comparability to the reference station yields a final impairment score for each study site.

| STATION # | 36- SWIFT |  | 36- WAREUP |  | 36- WAREDN |  | 36- QUABUP |  | 36-QUABDOWN |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| STREAM | Swift River |  | Ware River (upst of Ware and Ware WWTP) |  | Ware River (dnst of Ware and Ware WWTP) |  | Quaboag River (upst of Warren WWTP) |  | Quaboag River (dnst of Warren WWTP) |  |
| Habitat Score | 161 |  | 139 |  | 154 |  | 134 |  | 144 |  |
| Taxa Richness | 10 | 6 | 12 | 6 | 12 | 6 | 14 | 6 | 18 | 6 |
| Biotic Index | 3.85 | 6 | 3.90 | 6 | 3.72 | 6 | 3.99 | 6 | 3.93 | 6 |
| Ept Index | 6 | 6 | 8 | 6 | 8 | 6 | 8 | 6 | 10 | 6 |
| Ept/Chironomidae | 15.20 | 6 | 4.76 | 3 | undefined | 6 | 8.00 | 3 | 8.22 | 3 |
| Scrapers/Filterers | 0.18 | 6 | 0.30 | 6 | 1.32 | 6 | 1.16 | 6 | 0.48 | 6 |
| % Dominant Taxon | 44% | 3 | 27% | 6 | 27% | 6 | 25% | 6 | 31% | 3 |
| Community Similarity | 100% | 6 | 38% | 3 | 37% | 3 | 42% | 3 | 53% | 3 |
| Total Metric Score | 39 |  | 36 |  | 39 |  | 36 |  | 33 |  |
| % Comparability To Reference Station |  |  | 92% |  | 100% |  | 92% |  | 85% |  |
| Biological Condition-Degree Impairment | REFERENCE |  | NON-IMPAIRED |  | NON-IMPAIRED |  | NON-IMPAIRED |  | NON-IMPAIRED |  |

Table A3. Summary of RBP II data analysis for macroinvertebrate communities sampled at stations in the Chicopee River watershed between 16 and 21 September 1998. Seven biological metrics were calculated and scored (in italics) for taxa collected at each station. Scores were then totaled and compared to an upstream reference station (36-WAREUP; 36-QUABUP; 36-FNBUP). The percent comparability to the reference station yields a final impairment score for each study site.

| STATION # | 36- WAREUP |  | 36- WAREDN |  | 36- QUABUP |  | 36-QUABDOWN |  | 36- FNBUP |  | 36- FNBDN |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| STREAM | Ware River (upst of Ware and Ware WWTP) |  | Ware River (dnst of Ware and Ware WWTP) |  | Quaboag River (upst of Warren WWTP) |  | Quaboag River (dnst of Warren WWTP) |  | Forget-me-not Brook (upst of N.Brookfied WWTP) |  | Forget-me-not Brook (dnst of N.Brookfied WWTP) |  |
| Habitat Score | 139 |  | 154 |  | 134 |  | 144 |  | 149 |  | 151 |  |
| Taxa Richness | 12 | 6 | 12 | 6 | 14 | 6 | 18 | 6 | 15 | 6 | 8 | 3 |
| Biotic Index | 3.90 | 6 | 3.72 | 6 | 3.99 | 6 | 3.93 | 6 | 3.91 | 6 | 4.17 | 6 |
| Ept Index | 8 | 6 | 8 | 6 | 8 | 6 | 10 | 6 | 8 | 6 | 4 | 0 |
| Ept/Chironomidae | 4.76 | 6 | undefined | 6 | 8.00 | 6 | 8.22 | 6 | 2.95 | 6 | 8.27 | 6 |
| Scrapers/Filterers | 0.30 | 6 | 1.32 | 6 | 1.16 | 6 | 0.48 | 3 | 0.56 | 6 | 0.04 | 0 |
| % Dominant Taxon | 27% | 6 | 27% | 6 | 25% | 6 | 31% | 3 | 21% | 6 | 76% | 0 |
| Community Similarity | 100% | 6 | 64% | 3 | 100% | 6 | 69% | 3 | 100% | 6 | 39% | 3 |
| Total Metric Score | 42 |  | 39 |  | 42 |  | 33 |  | 42 |  | 18 |  |
| % Comparability To Reference Station |  |  | 93% |  |  |  | 79% |  |  |  | 43% |  |
| Biological Condition-Degree Impairment | REFERENCE |  | NON-IMPAIRED |  | REFERENCE |  | NON-IMPAIRED |  | REFERENCE |  | MODERATELY IMPAIRED |  |

Table A4. Habitat assessment summary for macroinvertebrate biomonitoring stations sampled during the 1998 Chicopee River watershed survey. For those primary parameters, scores ranging from 16-20 = optimal; 11-15 = sub-optimal; 6-10 = marginal; 0-5 = poor. For those secondary parameters, scores ranging from 9-10 = optimal; 6-8 = sub-optimal; 3-5 = marginal; 0-2 = poor.

| STATION | 36- SWIFT | 36- WAREUP | 36- WAREDN | 36- QUABUP | 36-QUABDOWN | 36- FNBUP | 36- FNBDN |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Primary Parameters (range is 0-20) |  |  |  |  |  |  |  |
| Instream Cover | 15 | 12 | 16 | 11 | 14 | 12 | 15 |
| Epifaunal Substrate | 19 | 14 | 18 | 14 | 14 | 16 | 17 |
| Embeddedness | 10 | 15 | 17 | 17 | 19 | 16 | 10 |
| Channel Alteration | 18 | 13 | 14 | 13 | 16 | 20 | 20 |
| Sediment Deposition | 20 | 15 | 13 | 14 | 14 | 10 | 10 |
| Velocity-Depth Combinations | 17 | 13 | 16 | 12 | 13 | 10 | 13 |
| Channel Flow Status | 16 | 14 | 11 | 13 | 14 | 7 | 8 |
| Secondary Parameters (range is 0-10 for each bank) |  |  |  |  |  |  |  |
| Bank Vegetative Protection | 17 | 14 | 18 | 15 | 15 | 20 | 20 |
| Bank Stability | 16 | 18 | 15 | 18 | 14 | 18 | 18 |
| Riparian Vegetative Zone Width | 13 | 11 | 16 | 7 | 11 | 20 | 20 |
| Total Score | 161 | 139 | 154 | 134 | 144 | 149 | 151 |

# APPENDIX D – SUMMARY OF NPDES and WMA PERMITTING INFORMATION,

# CHICOPEE RIVER BASIN

Table D1.  Chicopee River Basin Municipal Treatment Plants. [Note: All general NPDES permits (MAG######) have a flow limit of 1.0 MGD.  Volumes in the permitted flow (MGD) column for the general permittees were taken from their NPDES general permit applications.]

| Permittee | NPDES # | Last Date of permit issuance | Permitted Flow (MGD) | Type of Treatment | Special Notes/Conditions for next permit |  |
| --- | --- | --- | --- | --- | --- | --- |
| Barre WWTP | MA0103152 | 10/21/1997 | 0.3 | secondary | Permit expired 30 September 2000, permit will be reissued in 2001; Facility utilizes UV for disinfection |  |
| Charles L. McLaughlin State Fish Hatchery, Belchertown | MA0110043 | 2/29/1996 | Outfall 001: 6.4 average monthly 7.0 maximum daily | Aerated lagoons |  | Discharge to Swift River, permit had limits for total phosphorus (1.0 mg/L daily maximum), total ammonia (4.2 mg/L monthly average) and Formaldehyde (0.74 mg/L daily maximum). |
| Chicopee WWTP | MA0101508 | 9/29/1995 | 17 active CSOs that discharge into the Chicopee River | secondary | To be reissued in 2001, Combined sewer overflow (CSO) control |  |
| Hardwick WPCF-Gilbertville | MA0100102 | 9/11/1995 | 0.23 | secondary | Chlorine for disinfection |  |
| Hardwick WPCF-Wheelwright | MA0102431 | 9/11/1995 | 0.043 | secondary | Chlorine for disinfection |  |
| Ludlow Sewage Collection System | MA0101338 | 8/26/1985 | Outfalls 003, 004, 007, 008, and 009 |  | CSOs to Chicopee River being eliminated, permit will likely be eliminated |  |
| North Brookfield WWTP | MA0101061 | 9/11/1995 | 0.76 | AWT; NH3N & TP | To be reissued in early 2001; possible that the facility will be regionalized (sewering of Lake Lashaway and part of Brookfield) |  |
| Palmer WWTP | MA0101168 | 9/29/2000 | 5.6 via outfall 027 and multiple CSOs | secondary; TP | The permit lists 21 active CSOs to the Quaboag, Ware, Swift and Chicopee rivers. The town’s long term CSO control plan has been completed and approved. |  |
| Spencer WWTP | MA0100919 | 1/12/1993 | 1.08 | AWT; NH3N & TP (year-round) | Discharge will require highest degree of phosphorus removal; discharges to Quaboag Pond; to be reissued 2001 |  |
| Ware WWTP | MA0100889 | 9/29/2000 | 1.0 | AWT; NH3N & TP | Discharge to Ware River Dechlorination is required. |  |
| Warren WWTP | MA0101567 | 9/29/2000 | 1.5 | secondary | Discharge to Quaboag River, monitoring of Total Phosphorus |  |
| Springfield Water and Sewer Commission (Ludlow Reservoir), Ludlow | MAG640022 | 2/21/2001 | -- |  | Water treatment facility discharge to Higher Brook |  |

Table D2.  Chicopee River Basin Industrial Treatment Plants. [Note: All general NPDES permits (MAG######) have a flow limit of 1.0 MGD.  Volumes in the permitted flow (MGD) column for these facilities were taken from their NPDES general permit applications.]

| Permittee | NPDES # | Last Date of permit issuance | Permitted Flow (MGD) | Type of Discharge | Special Notes/Conditions for next permit |
| --- | --- | --- | --- | --- | --- |
| Brookfield Wire Co. Inc., West Brookfield | MA0004715 | 6/27/1986 | Outfall 001 - 0.003 Outfall 002 approx. 180 gal/day | NCCW, treated wastewater from wire rinsing, cleaning and coating operations | Discharge to unnamed tributary to Willow Brook |
| Cascades Diamond, Inc., Thorndike | MAG250963 | 2/23/2001 | Outfall 002: average monthly flow of 0.13 Outfall 003: average monthly flow of 0.116 | NCCW | Discharge to Ware River |
| Concrete Block Insulating Systems, West Brookfield | MAG250121 | 6/6/1995 | Average monthly flow of 0.37 | NCCW | Discharge to wetland adjacent to Coys Brook near confluence with Quaboag River |
| Connecticut Valley Sanitary Waste Disposal, Inc. (Chicopee Sanitary Landfill), Chicopee | MA0033847 | 9/23/1994 | Outfall 001: 0.29 SW1 - SW5 storm water outfalls | Outfall 001: uncontaminated groundwater to Fuller Brook | This permit required the development of a Storm water Pollution Prevention Plan (SWPPP) |
| Consolidated Edison Energy Massachusetts, Inc., Chicopee and Ludlow | MA0035777 MA0035815 MA0035823 MA0035831 | 9/30/1996 |  | primarily turbine bearing seal leakage, thrust bearing leakage, floor drains, wheelpit drains. Dwight Station also has thrust bearing oil cooler – NCCW | Power plant facilities (Dwight Station, Indian Orchard Station, Red Bridge Station, and Putts Bridge Station in Chicopee and Ludlow) along Chicopee River. These permits required the development of a BMP for pollution prevention. It should also be noted that these hydropower stations are listed as exempt from FERC permits |
| Dan Wesson Arms, Inc., Palmer | MA0026891 | 3/21/1979 | 0.005 daily average of process wastewater |  | Facility gone, permit will be terminated |
| Doncasters Inc., Storm Forge Division, Springfield | MAG250947 | 12/1/2000 | Average monthly flow 0.057 | NCCW | Discharge is to Poor Brook, acute toxicity test will be required (May 2001) |
| Eastern Etching & Manufacturing Company, Chicopee | MA0000647 | 9/29/1995 | 0.0035 average monthly 0.007 maximum daily | - | Treated wire rinsing, cleaning and coating operations wastewater; facility was required to conduct acute whole effluent toxicity tests |
| The Hanson Group (formerly Glendale Plastics) | MA0032913 | 1989 application | Not applicable | Storm water | Issue either general or individual NPDES permit |
| Polymer Injection Molding (formerly Montec Plastics), Monson | MAG250376 | 12/1/2000 | Maximum daily flow of 0.375 | NCCW | Discharge is to Chicopee Brook, application identified two outfalls |
| # Quabbin Wire & Cable Co. Inc., Ware | MA0030571 | 8/14/1997 | No limit | Contact cooling water, maximum daily temperature of 83F | Discharge is to the Ware River |

Table D2.  Continued.  Chicopee River Basin Industrial Treatment Plants. [Note: All general NPDES permits (MAG######) have a flow limit of 1.0 MGD.  Volumes in the permitted flow (MGD) column for these facilities were taken from their NPDES general permit applications.]

| Permittee | NPDES # | Last Date of permit issuance | Permitted Flow (MGD) | Type of Discharge | Special Notes/Conditions for next permit |
| --- | --- | --- | --- | --- | --- |
| # Solutia,Inc., Springfield (formerly Monsanto Company, Indian Orchard Plant) | MA0001147 | 11/3/1993 | Outfall 017 - 6.0 Outfall 018 - 0.9 7 Outfalls (003, 004, 006, 007, 009, 014 and 015) - 0.5 Outfalls: 004W, 006W, 009W, and 010: overflow from cooling towers and storm water - 0.16 | NCCW and storm water runoff, and overflow from cooling towers Maximum daily temperatures of 90F, and free chlorine residual of 0.5 mg/L |  |
| Westover AFB, Chicopee | MA0005444 | 12/09/76 | No limits | Runway runoff and wash water | Discharges to Cooley Brook, terminate individual permit if they receive coverage under their general storm water permit |
| # Wm. E. Wright Limited Partnership, West Warren | MA0001074 | 9/18/1984 | 0.008 | NCCW and storm water runoff | Discharge to Quaboag River |

Chicopee River Basin 1998 Assessment ReportAppendix DD4

36wqar.docDWM CN 47.0

Table D3.  List of WMA registered and permitted average annual water withdrawals in the Chicopee River Basin (LeVangie, D. 2001.  Water Management Act Database.  Massachusetts Department of Environmental Protection, Division of Watershed Management, Database Manager.  Boston, MA.).

| Permit | Registration | PWSID | System Name | Registered Volume (mgd) | 20 Year Permitted Volume (mgd) | Source | G or S | Well/Source Name | Withdrawal location |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 10802401 | 1024000 | Belchertown Water District | 0.19 |  | 024-01G | G | Tubular Wells Tap | Belchertown |
|  | 10802401 | 1024000 | Belchertown Water District | 0.19 |  | 024-05G | G | PS-1 (Daigle) | Belchertown |
| 9P210830903 | 10806101 | 1309000 | Ware Water Department | 0.95 | 0.44 | 1309000-01G | G | Well #2 | Ware |
| 9P210830903 | 10806101 | 1309000 | Ware Water Department | 0.95 | 0.44 | 1309000-01G | G | Well #1 | Ware |
| 9P210830903 | 10806101 | 1309000 | Ware Water Department | 0.95 | 0.44 | 1309000-01G | G | Well #3 | Ware |
| 9P210830903 | 10806101 | 1309000 | Ware Water Department | 0.95 | 0.44 | 1309000-03G | G | Dismal Swamp Well | Ware |
| 9P210830903 | 10806101 | 1309000 | Ware Water Department | 0.95 | 0.44 | 1309000-02G | G | Well #4 | Ware |
|  | 10819101 | 1191000 | Monson Water & Sewer Department | 0.92 |  | 191-02S | S | Conant Pond | Monson |
|  | 10819101 | 1191000 | Monson Water & Sewer Department | 0.92 |  | 191-05G | G | Bunyan Road Well | Monson |
|  | 10819101 | 1191000 | Monson Water & Sewer Department | 0.92 |  | 191-03G | G | Bethany Road Well | Monson |
|  | 10819101 | 1191000 | Monson Water & Sewer Department | 0.92 |  | 191-04G | G | Palmer Road Well | Monson |
| 9P210822701** | 10822701 | 1227003 | Three Rivers Fire District | 0.4 | 0 | 1227003-03G | G | Well #3 | Three Rivers |
| 9P210822701** | 10822701 | 1227003 | Three Rivers Fire District | 0.4 | 0 | 1227003-01G | G | Well #1 | Three Rivers |
|  | 10828101 | 1161000 | Springfield Water&Sewer Commission | 1.82 |  | 161-01S | S | Ludlow Reservoir | Ludlow |
|  | 10822702 | 1227000 | Palmer Water Department | 0.65 |  | 227-01S | S | Upper Graves Brook Res. | Palmer |
|  | 10822702 | 1227000 | Palmer Water Department | 0.65 |  | 227-02G | G | Gravel Pack Well #2 | Palmer |
|  | 10822702 | 1227000 | Palmer Water Department | 0.65 |  | 227-02S | S | Lower Graves Brook Res. | Palmer |
|  | 10822704 | 1227002 | Bondsville Water District | 0.36 |  | 1227002-02G | G | Well #2 | S. Belchertown |
|  | 10822704 | 1227002 | Bondsville Water District | 0.36 |  | 1227002-03G | G | Well #3 | S. Belchertown |
|  | 10822704 | 1227002 | Bondsville Water District | 0.36 |  | 1227002-01G | G | Well #1 | S. Belchertown |
|  | 10833901 |  | Dauphinais & Son, Inc*. | 0.34 |  |  |  |  |  |
|  | 20802101 | 2021000 | Barre Water Department | 0.26 |  | 2021000-01G | G | Well #1 | South Barre |
|  | 20802101 | 2021000 | Barre Water Department | 0.26 |  | 2021000-03G | G | South Barre Well | South Barre |
|  | 20802101 | 2021000 | Barre Water Department | 0.26 |  | 2021000-01S | S | Town Reservoir | Barre |
|  | 20802101 | 2021000 | Barre Water Department | 0.26 |  | 2021000-02G | G | Well #2 | Barre |
|  | 20804501 | 2045000 | Brookfield Water Department | 0.09 |  | 2045000-02G | G | Quaboag St. Pumping Sta. | East Brookfield |
|  | 20808401 | 2084000 | East Brookfield Water Department | 0.11 |  | 2084000-01G | G | West Street Well | East Brookfield |

*  indicates average withdrawal over less than 365 days, ** permit for new source no change in withdrawal volume, G – ground water, S – surface water, PWS – Public Water Supply

Chicopee River Basin 1998 Assessment ReportAppendix DD5

36wqar.docDWM CN 47.0

Table D3.  Continued.  List of WMA registered and permitted average annual water withdrawals in the Chicopee River Basin (LeVangie 2001).

| Permit | Registration | PWSID | System Name | Registered Volume (mgd) | 20 Year Permitted Volume (mgd) | Source | G or S | Well/Source Name | Withdrawal location |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 20821201 | 2212000 | North Brookfield Water Department | 0.43 |  | 2212000-02S | S | North Pond | North Brookfield |
|  | 20828002 |  | Bond Construction Corporation* | 0.27 |  |  |  |  |  |
| 9P20828001 | 20828001 | 2280000 | Spencer Water Department | 0.48 | 0.49 | 280-02G | G | Meadow Rd. Well | Spencer |
| 9P20828001 | 20828001 | 2280000 | Spencer Water Department | 0.48 | 0.49 | 280-01G | G | Cranberry Brook Well | Spencer |
| 9P20828001 | 20828001 | 2280000 | Spencer Water Department | 0.48 | 0.49 | 280-01S | S | Shaw Pond | Leicester |
| 9P220831101 | 20831101 |  | Hardwick Knitted Fabrics, Inc | 0.23 | 0.5 |  |  |  |  |
|  | 20832301 | 2323000 | West Brookfield Water Department | 0.26 |  | 2323000-01G | G | #1 Well | West Brookfield |
|  | 20832301 | 2323000 | West Brookfield Water Department | 0.26 |  | 2323000-02G | G | #2 Well | West Brookfield |
|  | 10822705 |  | Cascades Diamond Inc | 1.17 |  |  |  |  |  |
|  | 20831102 | 2311000 | Warren Water District | 0.2 |  | 311-01G | G | Tub Wells, Comins Pond | Warren |
|  | 10830901 | MWRA | MDC/MWRA | 186.7 |  |  | S | Ware River Intake | Barre |
|  | 10830901 | MWRA | MDC/MWRA | 186.7 |  |  | S | Chicopee Valley Aqueduct | Ware |
|  | 10830901 | MWRA | MDC/MWRA | 186.7 |  |  | S | Quabbin Aqueduct | Hardwick |
| 9P20809701 | 20809701 | 2097000 | Fitchburg Water Department | 0.67 | 0.11 | 2097000-06S | S | Mare Meadow Reservoir | Hubbardston |
| 9P20809701 |  | 2097000 | Fitchburg Water Department |  | 0.11 | 2097000-09S | S | Bickford Reservoir | Hubbardston |
|  | 10802402 |  | DFW | 6.43 |  |  | G | Palmer Hatchery-Well #2 | Palmer |
|  | 10802402 |  | DFW | 6.43 |  |  | S | McLaughlin Hatchery | Belchertown |
|  | 10802402 |  | DFW | 6.43 |  |  | G | McLaughlin Hatchery #3 | Ware |
|  | 10802402 |  | DFW | 6.43 |  |  | G | McLaughlin Hatchery #2 | Belchertown |
|  | 10802402 |  | DFW | 6.43 |  |  | S | Palmer Hatchery-Reservoir | Palmer |
|  | 10802402 |  | DFW | 6.43 |  |  | G | Palmer Hatchery-Well 1 | Palmer |
|  | 10802402 |  | DFW | 6.43 |  |  | G | McLaughlin Hatchery #1 | Belchertown |
| 9P10802401 |  |  | DFW | 0 | 1.03 |  | G | McLaughlin Hatchery #4 | Belchertown |
| 9P10830901 |  |  | Ware Fiber Recovery Associates |  | 0.5 |  |  |  |  |
| 9P210802402 |  | 1024013 | Coldspring Golf Course, Inc. |  | 0.16 |  | G | PW-1 | Belchertown |
| 9P210802402 |  | 1024013 | Coldspring Golf Course, Inc. |  | 0.16 |  | G | PW-2 | Belchertown |
| 9P210802402 |  | 1024013 | Coldspring Golf Course, Inc. |  | 0.16 | 1024013-01G | G | PW-3 | Belchertown |
| 9P210802402 |  | 1024013 | Coldspring Golf Course, Inc. |  | 0.16 | 1024013-02G | G | PW-4 | Belchertown |

*  indicates average withdrawal over less than 365 days, ** permit for new source no change in withdrawal volume, G – ground water, S – surface water, PWS – Public Water Supply

# APPENDIX E - DEP 1999 GRANT AND LOAN PROGRAMS

Excerpted from the DEP/DWM World Wide Web site, http://www.state.ma.us/dep/brp/wm/wmpubs.htm#other ‘1999 Grant and Loan Programs - Opportunities for Watershed Planning and Implementation’.

604(b) WATER QUALITY MANAGEMENT PLANNING GRANT PROGRAM

This grant program is authorized under the federal Clean Water Act Section 604(b) for water quality assessment and management planning.  604(b) projects in the Connecticut River Watershed include:

- 96-03/604  Tannery Brook Urban Stream.  The project objective is to identify potential watershed management practices that will restore water quality in Tannery and Poor Brooks, two degraded urban streams, to a more natural condition.  The project will utilize a comprehensive watershed management approach to assess measures that address storm water runoff, erosion and sedimentation, wetland degradation, and flooding by using restoration and storm water control measures.

- 99-04/604  Chicopee River Watershed Basin Assessment.  The project objective is to address watershed assessment needs in the communities of Chicopee, Ludlow, Springfield and Wilbraham that fall within the Chicopee River basin.  The project will identify, compile and map existing storm water infrastructure components, BMPs, water quality data, and local water quality protection ordinances and bylaws to facilitate the generation of lists of BMP recommendations, sampling efforts needed for filling data gaps, and draft water protection bylaws for communities within the study area.

104(b)(3) WETLANDS AND WATER QUALITY GRANT PROGRAM

This Grant Program is authorized under Wetlands and Clean Water Act Section 104(b)(3) of the federal Clean Water Act.  The Water Quality proposals received by DEP under this National Environmental Performance Partnership Agreement (NEPPA) with the U.S. Environmental Protection Agency is a results oriented approach that will focus attention on environmental protection goals and the efforts to achieve them.  The goals of the NEPPA are to: 1) achieve clean air, 2) achieve clean water, 3) protect wetlands, 4) reduce waste generation, and 5) clean up waste sites.

- 97-09/104  Numeric Biocriteria.  This project is designed to address two issues relating to the current Biocriteria Pilot Study; specifically, to evaluate subecoregion difference in stream biota, if any, and formulate the biological indicators (fish and macroinvertebrates) that are essential to assess conditions and monitor changes in streams.  Study expects to establish reference streams in 5 of the 13 Massachusetts Ecological Subregions.  The study streams are located in the Connecticut, Westfield, Chicopee, Millers and Quinebaug River Basins.

Numeric Biocriteria sampling in the Chicopee River Basin.  Subecoregion = Worcester Monadnock Plateau:

| Candidate Reference Stream | Station | Benthic Macroinvertebrate | Fish Population | Insitu Hydrolab® Measurements |
| --- | --- | --- | --- | --- |
| Prince River | WM06PRI | 10 September 96 | 3 October 96 | 3 October 96 |
| Swift River-East Branch | WM07EBS | 10 September 96 16 September 98 | 3 October 96 | 3 October 96 21 September 98 |
| Moccasin Brook | WB08MOC | 10 September 96 | 3 October 96 | 3 October 96 |
| Swift River-West Branch | WM01WBS | 9 September 96 16 September 98 | 27 September 96 | 27 September 96 21 September 98 |
| Sibley Brook | WM02SIB | 9 September 96 | 27 September 96 | 27 September 96 |
| Swift River-Middle Branch | WM03MBS | 9 September 96 | 27 September 96 | 27 September 96 |
| Foskett Mill Stream | LW04FOS | 14 September 98 | Not conducted | 16 September 98 |
| Turkey Hill Brook | LW06TUR | 15 September 98 | Not conducted | 17 September 98 |
| Muddy Brook | LW07MUD | 15 September 98 | Not conducted | 17 September 98 |
| Moose Brook | LW08MOO | 15 September 98 | Not conducted | 17 September 98 |
| Parkers Brook | LW09PAR | 16 September 98 | Not conducted | 17 September 98 |

MA DEP DWM.  2000.  Open file.  Massachusetts Department of Environmental Protection, Division of Watershed Management, Worcester, MA.

- 98-10/104  Connecticut River Land Use & Nutrient Study.  This project will collect water quality and hydrologic data from selected sub-basins with uniform land use in the Connecticut River Basin.  These data will be used to refine nutrient loadings expected from selected land uses.  The information generated from this study will assist the Department to better identify nutrient sources and prioritize those for mitigation.

319 NONPOINT SOURCE GRANT PROGRAM

This grant program is authorized under Section 319 of the CWA for implementation projects that address the prevention, control, and abatement of nonpoint source (NPS) pollution.  In order to be considered eligible for funding projects must: implement measures that address the prevention, control, and abatement of NPS pollution; target the major source(s) of nonpoint source pollution within a watershed/subwatershed; have a 40 percent non-federal match of the total project cost (match funds must meet the same eligibility criteria as the federal funds); contain an appropriate method for evaluating the project results; address activities that are identified in the Massachusetts NPS Management Program Plan.

- 96-04/319  Demonstration of Urban Stream Stabilization.  Bioengineering will be used to restore an urban stream that has been adversely impacted by development within its watershed.  The existing erosion problem has caused disturbance to the streambed and banks, resulting in loss of wetlands.  In addition, the brook will be further impacted by increased storm water flows once combined sewer separation occurs; the bioengineering designs for the project will take into consideration this increase in flow.

- 97-01/319  Development of Storm water Utilities.  Bioengineering will be used to restore an urban stream that has been adversely impacted by development within its watershed.  The existing erosion problem has caused disturbance to the streambed and banks, resulting in loss of wetlands.  In addition, the brook will be further impacted by increased storm water flows once combined sewer separation occurs; the bioengineering designs for the project will take into consideration this increase in flow.

- 00-06/319  Management Strategies for Massachusetts Dairy Farms to Reduce the Risk of Nonpoint Source Pollution.  Outreach efforts (including: on-farm demonstrations, educational programs, and technical assistance) together with inter-agency advisory committee recommendations will reduce the risk of nonpoint source pollution from dairy farms by developing and helping to implement nutrient management plans for 15-25 dairy farms.

RESEARCH AND DEMONSTRATION GRANT PROGRAM

The Research and Demonstration Program (R&D) is authorized by section 38 of Chapter 21 of the Massachusetts General Laws and is funded by proceeds from the sale of Massachusetts bonds. Specifically, the R&D Program was established to enable the Department to conduct a program of study and research and demonstration relating to water pollution control and other scientific and engineering studies “...so as to insure cleaner waters in the coastal waters, rivers, streams, lakes and ponds of the Commonwealth.”

SOURCE WATER AND TECHNICAL ASSISTANCE/LAND MANAGEMENT GRANT PROGRAM

The Source Water Protection Technical Assistance/Land Management Grant Program provides funds to

third party technical assistance organizations that assist public water suppliers in protecting local and regional ground and surface drinking water supplies.

- 99-11/SWT  Palmer Source Water Protection Project.  This project will develop a Surface Water Supply Protection Plan for the Palmer Fire District No. 1 and Water District No. 1.  The Upper and Lower Reservoirs are interconnected and represent the primary source of water for the District.  The other water supply sources (groundwater) are currently threatened by gasoline release.  This project will develop a completed protection plan that will provide guidance and implementation tools for use in protecting its water supply.

- 00-03/SWT  Mass. Watershed Coalition.  This project will develop protection plans for eleven drinking water reservoirs and forest management plans for the associated town-owned (Rutland) watershed lands, and design storm water improvements for Rutland.  For the city of Worcester, a land prioritization plan and landowner outreach program and conservation toolbox (including a conservation restriction program) will be developed.

WELLHEAD PROTECTION GRANT PROGRAM

The Wellhead Protection Grant Program provides funds to assist public water suppliers in addressing wellhead protection through local projects and education.

- 99-05/WPH  Warren Wellhead Protection Project.  This project will upgrade a fuel storage tank located in Zone I.  Upgrade will include an appropriate secondary containment structure.  The project will also develop Wellhead Protection and Emergency Response Plans, and install additional fencing around Zone I access locations.

- 99-06/WHP  Meadowbrook Acres Wellhead Protection Project.  This project will properly abandon septic tanks located in the Zone I and II.  The septic systems are being abandoned in favor of the installation of a new wastewater treatment facility that will address the needs of the community and protect their sole well.  This project will also restore the Park landscape as per Department letter.

- 99-16/WHP  Gilbertville Wellhead Protection Project.  This project will implement wellhead protection, reduce the risk of aquifer contamination, and develop a Wellhead Protection Plan and an Emergency Response Plan.  Installation of a new fence and gate will prevent unauthorized access to the Zone I area.

- 99-17/WHP  Cool Sandy Beach Wellhead Protection Project.  This project will develop a Wellhead Protection Plan and help address the threat of on-site wastewater treatment systems located within the zone I and IWPA.  This project also will identify and map potential sources of pollution in the Zone I and IWPA, develop and EPA approved QAPP for sampling, sample as per QAPP, conduct a nitrogen loading analysis, and complete a wastewater management study to evaluate wastewater management options.

- 00-12/WHP  Ware Wellhead Protection Project.  This project will develop and implement an Emergency Response Plan.

CLEAN WATER STATE REVOLVING LOAN FUND (SRF) PROGRAM

The Massachusetts State Revolving Fund for water pollution abatement projects was established to provide a low-cost funding mechanism to assist municipalities seeking to comply with federal and state water quality requirements.  The SRF Program is jointly administered by the Division of Municipal Services of the Department of Environmental Protection and the Massachusetts Water Pollution Abatement Trust. Each year the Department solicits projects from Massachusetts municipalities and wastewater districts to be considered for subsidized loans, which are currently offered at 50% grant equivalency (approximates a no-interest loan).  In recent years the program has operated at an annual capacity of $150 to $200 million per year, representing the financing of 40 to 50 projects annually.  The SRF Program now provides increased emphasis on watershed management priorities.  A major goal of the SRF Program is to provide incentives to communities to undertake projects with meaningful water quality and public health benefits and which address the needs of the communities and the watershed.

COMMUNITY SEPTIC MANAGEMENT PROGRAM

The enactment of the Open Space Bond Bill in March of 1996 provided new opportunities and stimulated new initiatives to assist homeowners with failing septic systems.  The law appropriated $30 million to the DEP to assist homeowners.  The Department will use the appropriation to fund loans through the Massachusetts Water Pollution Abatement Trust.  The fund will provide a permanent state/local administered revolving fund to assist income-eligible homeowners in financing necessary Title 5 repairs. Working together, the DEP and the Trust have created the Community Septic Management Program to help Massachusetts’ communities protect threatened ground and surface waters while making it easier to comply with Title 5.  This loan program offers three options from which a local governmental unit can choose.

The following municipalities in the Chicopee Watershed have participated in the comprehensive Community Septic Management Program:

| Municipality | Bond Amount | Amount Spent | Account Balance as of December 2000 |
| --- | --- | --- | --- |
| Barre | $200,000 | $155,000 | $ 45,000 |
| Belchertown | $200,000 | $ 75,000 | $125,000 |
| Brookfield | $200,000 | $200,000 | $ -0- |
| Hardwick | $200,000 | $200,000 | $ -0- |
| Paxton | $200,000 | $200,000 | $ -0- |
| Phillipston | $200,000 | $138,000 | $ 62,000 |
| Sutton | $200,000 | $175,000 | $ 25,000 |
| Spencer | $200,000 | $200,000 | $ -0- |
| Ware | $200,000 | $ 50,000 | $150,000 |

MASSACHUSETTS DRINKING WATER STATE REVOLVING FUND PROGRAM

The Massachusetts Drinking Water State Revolving Fund (DWSRF) provides low-cost financing to help community public water suppliers comply with federal and state drinking water requirements.  The DWSRF Program’s goals are to protect public health and strengthen compliance with drinking water requirements, while addressing the Commonwealth’s drinking water needs.  The Program incorporates affordability and watershed management priorities.  The DWSRF Program is jointly administered by the Division of Municipal Services of the Department of Environmental Protection (DEP) and the Massachusetts Water Pollution Abatement Trust (Trust).  DEP solicits projects from Massachusetts municipalities and community water systems (with at least 15 residential connections) to be considered for subsidized loans. The current subsidy level is equivalent to a 50% grant, which approximates a no-interest loan.  The Program will initially operate with approximately $50 million in financing capacity.  For calendar years 1998 through 2003, up to $400 million may be available through the loan program.

MASSACHUSETTS WATERSHED INITIATIVE PROGRAM

The Massachusetts Watershed Initiative Program projects are financed under the Massachusetts Watershed Initiative Program and administered by the Massachusetts Department of Environmental Protection (DEP) in State fiscal years 1999 through 2001.  EOEA Watershed Team Leaders, in conjunction with State and Federal agencies, municipal governments and regional planning agencies, universities, local watershed associations, businesses and other groups develop work plans that identify the most important goals for each watershed and the specific projects and programs which are needed to meet those goals.

- 00-04/MWI  Quaboag Sub-Basin Nonpoint Source Assessment.  The purpose of this project is to identify ways to protect and improve water quality in the Quaboag Sub-basin, with particular focus on the Wickaboag Pond watershed.  This project will provide the link between various land uses and the sources of any water quality problems within the Quaboag Sub-basin.

- 01-04/MWI  Chicopee Inventory of Storm water Structures.  This project will conduct an inventory of storm water structures in selected communities in the Chicopee River Watershed.