|  |  |  | Massachusetts Department of Environmental Protection - Drinking Water Program |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Cl |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | ## CHLORINE/CHLORAMINES - MONTHLY REPORT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I. PWS INFORMATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PWS ID #: |  |  |  |  | PWS Name: |  |  |  |  |  |  |  |  |  |  | City/Town: |  |  |  |  |  | Class: COM NTNC TNC |  |  |  |
| II. ANALYTICAL INFORMATION: Refer to your MassDEP Coliform Sampling Plan and/or DBPR monitoring plan to help complete this section. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Type Measured: Free Chlorine Total Chlorine Combined Chlorine |  |  |  |  |  |  |  |  |  |  |  | Analytical Method: |  |  |  |  |  |  | SM 4500-Cl: D E F G H I ASTM D1253-86 |  |  |  |  |  |  |
| Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| DEP APPROVED SAMPLE SITE INFORMATION1 |  |  |  |  |  |  |  |  |  | CHLORINE RESULT2 (mg/L) |  |  |  | COLLECTION AND ANALYSIS3: |  |  |  |  |  |  | COLLECTED AND ANALYZED BY: |  |  |  |  |
| ### DEP Sample Type1,4 | DEP Location Code #1 |  |  | DEP Approved SAMPLE LOCATION1 |  |  |  |  |  |  |  |  |  | DATE |  |  |  | TIME |  |  |  |  |  |  |  |
| 1 DEP Sample Type, Location Code#, and DEP Approved Sample Site Location must correspond to the same information on your DEP Total Coliform Sampling Plan. 2 SWTR systems: HPC must be collected at distribution sites with zero chlorine residual and results reported on the DEP Bacteriological Monthly Report form and on the appropriate SWTR Form. 3 Collection and Analysis: Chlorine residual shall be measured in the field (immediately upon collection) at the same time and location in the distribution system as total coliforms are sampled. Record ND values as 0 (zero). 4 Sample Type: RS-Routine Distribution Sample, RO-Original Site Repeat, UR-Upstream Repeat, DR-Downstream Repeat, AR-Additional Repeat, or SS-Special Sample (as determined by DEP). 5 All DISTRIBUTION samples taken and analyzed shall be included in determining compliance, even if that number is greater than the minimum required. If you collect repeat coliform samples within the distribution system during the month, you must also measure for a detectable chlorine residual at the repeat sites and include these samples. DO NOT include raw water (RW) or plant tap (PT) chlorine residual samples in your calculations. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| III. COMPLIANCE REPORTING: |  |  |  |  |  |  | Total # of Samples Collected for Month5: |  |  |  |  |  |  |  |  | Average Chlorine Result of All Samples For Month5 (mg/L): |  |  |  |  |  |  |  |  |  |
| In accordance with 310 CMR 22.15(2), if mailing paper reports, TWO copies of this report must be received by your MassDEP Regional Office no later than 10 days after the end of the month in which the results are received or no later than 10 days after the end of the monitoring period, whichever is sooner. Please note: Electronic reporting (eDEP) deadline is the same as above. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I certify under penalties of law that I am the person authorized to fill out this form and the information contained herein is true, accurate and complete to the best extent of my knowledge. |  |  |  |  |  |  |  |  |  |  | Primary Certified Operator Signature and Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| DEP Review Status: |  |  |  |  |  | Accepted Disapproved |  |  | Review Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |