## Sheet1
DOER PROPOSED
| ANNUAL (NO UTILITY AND STIMULUS) |  |  |  | CUMULATIVE (NO UTILITY AND STIMULUS) |  |  |  | S-REC ANALYSIS
| Commonwealth Solar Installations (Annual MW) | S-REC Carve Out Installations (Annual MW) | Total CS and S-REC Annual Installations (MW) | CS and RPS Annual Installation Growth Rate | Commonwealth Solar Installations (Cumulative MW) | S-REC Carve Out Installations (Cumulative MW) | Total CS and S-REC Cumulative Installations (MW) | Annual Cumulative Installation Growth Rate | S-RECS (MWh) | Solar RPS | Total Load
2009 | 10 | 0 | 10 |  | 15 | 0 | 15 |  | 0 |  | 51371000
2010 | 5 | 3 | 8 | -20% | 20 | 3 | 23 | 53.33% | 3416.4 | 0.00665% | 51371000
2011 | 4 | 1 | 5 | -37.5% | 24 | 4 | 28 | 21.74% | 4555.2 | 0.008867% | 51371000
2012 | 0 | 12 | 12 | 140% | 24 | 16 | 40 | 42.86% | 18220.8 | 0.03547% | 51371000
2013 | 0 | 20 | 20 | 66.67% | 24 | 36 | 60 | 50% | 40996.8 | 0.07981% | 51371000
2014 | 0 | 27 | 27 | 35% | 24 | 63 | 87 | 45% | 71744.4 | 0.1397% | 51371000
2015 | 0 | 34 | 34 | 25.93% | 24 | 97 | 121 | 39.08% | 110463.6 | 0.215% | 51371000
2016 | 0 | 46 | 46 | 35.29% | 24 | 143 | 167 | 38.02% | 162848.4 | 0.317% | 51371000
2017 | 0 | 60 | 60 | 30.43% | 24 | 203 | 227 | 35.93% | 231176.4 | 0.45% | 51371000
2018 | 0 | 79 | 79 | 31.67% | 24 | 282 | 306 | 34.8% | 321141.6 | 0.6251% | 51371000
2019 | 0 | 104 | 104 | 31.65% | 24 | 386 | 410 | 33.99% | 439576.8 | 0.8557% | 51371000
2020 | 0 | 138 | 138 | 32.69% | 24 | 524 | 548 | 33.66% | 596731.2 | 1.162% | 51371000
| ANNUAL (including Stimulus and Utility) |  |  |  | CUMMULATIVE (including Stimulus and Utility)
| CS and S-REC Annual Installations (MW) | Utility and Stimulus Annual Installations (MW) | Total Annual Installations (MW) | Total Annual Installation Growth Rate | CS and S-REC Cumulative Installations (MW) | Utility and Stimulus Cumulative Installations (MW) | Total Cumulative Installations (MW) | Annual Cumulative Installation Growth Rate
2009 | 10 | 0 | 10 |  | 15 | 0 | 15
2010 | 8 | 9 | 17 | 70% | 23 | 9 | 32 | 113.3%
2011 | 5 | 11 | 16 | -5.882% | 28 | 20 | 48 | 50%
2012 | 12 | 3 | 15 | -6.25% | 40 | 23 | 63 | 31.25%
2013 | 20 | 0 | 20 | 33.33% | 60 | 23 | 83 | 31.75%
2014 | 27 | 0 | 27 | 35% | 87 | 23 | 110 | 32.53%
2015 | 34 | 0 | 34 | 25.93% | 121 | 23 | 144 | 30.91%
2016 | 46 | 0 | 46 | 35.29% | 167 | 23 | 190 | 31.94%
2017 | 60 | 0 | 60 | 30.43% | 227 | 23 | 250 | 31.58%
2018 | 79 | 0 | 79 | 31.67% | 306 | 23 | 329 | 31.6%
2019 | 104 | 0 | 104 | 31.65% | 410 | 23 | 433 | 31.61%
2020 | 138 | 0 | 138 | 32.69% | 548 | 23 | 571 | 31.87%
ILLUSTRATIVE PROPOSAL TO MAINTAIN INDUSTRY GROWTH
| ANNUAL (NO UTILITY AND STIMULUS) |  |  |  | CUMULATIVE (NO UTILITY AND STIMULUS) |  |  |  | S-REC ANALYSIS
| Commonwealth Solar Installations (Annual MW) | S-REC Carve Out Installations (Annual MW) | Total CS and S-REC Annual Installations (MW) | CS and RPS Annual Installation Growth Rate | Commonwealth Solar Installations (Cumulative MW) | S-REC Carve Out Installations (Cumulative MW) | Total CS and S-REC Cumulative Installations (MW) | Annual Cumulative Installation Growth Rate | S-RECS (MWh) | Solar RPS | Total Load
2009 | 10 | 0 | 10 |  | 15 | 0 | 15 |  | 0 |  | 51371000
2010 | 5 | 7.15 | 12.15 | 21.5% | 20 | 7.15 | 27.15 | 81% | 8142.42 | 0.01585% | 51371000
2011 | 4 | 10.7622 | 14.7622 | 21.5% | 24 | 17.9123 | 41.9123 | 54.37% | 20398.4703 | 0.03971% | 51371000
2012 | 0 | 17.9361 | 17.9361 | 21.5% | 24 | 35.8484 | 59.8484 | 42.79% | 40824.1394 | 0.07947% | 51371000
2013 | 0 | 21.7924 | 21.7924 | 21.5% | 24 | 57.6408 | 81.6408 | 36.41% | 65641.3274 | 0.1278% | 51371000
2014 | 0 | 26.4778 | 26.4778 | 21.5% | 24 | 84.1186 | 108.1186 | 32.43% | 95794.2108 | 0.1865% | 51371000
2015 | 0 | 32.1705 | 32.1705 | 21.5% | 24 | 116.289 | 140.289 | 29.75% | 132429.9641 | 0.2578% | 51371000
2016 | 0 | 39.0871 | 39.0871 | 21.5% | 24 | 155.3762 | 179.3762 | 27.86% | 176942.4044 | 0.3444% | 51371000
2017 | 0 | 47.4909 | 47.4909 | 21.5% | 24 | 202.8671 | 226.8671 | 26.48% | 231025.0193 | 0.4497% | 51371000
2018 | 0 | 66.4872 | 66.4872 | 40% | 24 | 269.3543 | 293.3543 | 29.31% | 306740.6802 | 0.5971% | 51371000
2019 | 0 | 93.0821 | 93.0821 | 40% | 24 | 362.4364 | 386.4364 | 31.73% | 412742.6055 | 0.8035% | 51371000
2020 | 0 | 130.315 | 130.315 | 40% | 24 | 492.7514 | 516.7514 | 33.72% | 561145.3009 | 1.092% | 51371000
| ANNUAL |  |  |  | CUMULATIVE
| CS and S-REC Annual Installations (MW) | Utility and Stimulus Annual Installations (MW) | Total Annual Installations (MW) | Total Annual Installation Growth Rate | CS and S-REC Cumulative Installations (MW) | Utility and Stimulus Cumulative Installations (MW) | Total Cumulative Installations (MW) | Annual Cumulative Installation Growth Rate
2009 | 10 | 0 | 10 |  | 15 | 0 | 15
2010 | 12.15 | 9 | 21.15 | 111.5% | 27.15 | 9 | 36.15 | 141%
2011 | 14.7622 | 11 | 25.7623 | 21.81% | 41.9123 | 20 | 61.9123 | 71.26%
2012 | 17.9361 | 3 | 20.9361 | -18.73% | 59.8484 | 23 | 82.8484 | 33.82%
2013 | 21.7924 | 0 | 21.7924 | 4.09% | 81.6408 | 23 | 104.6408 | 26.3%
2014 | 26.4778 | 0 | 26.4778 | 21.5% | 108.1186 | 23 | 131.1186 | 25.3%
2015 | 32.1705 | 0 | 32.1705 | 21.5% | 140.289 | 23 | 163.289 | 24.54%
2016 | 39.0871 | 0 | 39.0871 | 21.5% | 179.3762 | 23 | 202.3762 | 23.94%
2017 | 47.4909 | 0 | 47.4909 | 21.5% | 226.8671 | 23 | 249.8671 | 23.47%
2018 | 66.4872 | 0 | 66.4872 | 40% | 293.3543 | 23 | 316.3543 | 26.61%
2019 | 93.0821 | 0 | 93.0821 | 40% | 386.4364 | 23 | 409.4364 | 29.42%
2020 | 130.315 | 0 | 130.315 | 40% | 516.7514 | 23 | 539.7514 | 31.83%
SUMMARY CHARTS
| DOER Straw Proposal -CS and S-REC Annual Installations (MW) | Recommendation -Total CS and S-REC Annual Installations (MW)
2009 | 10 | 10
2010 | 8 | 12.15
2011 | 5 | 14.7622
2012 | 12 | 17.9361
2013 | 20 | 21.7924
2014 | 27 | 26.4778
2015 | 34 | 32.1705
2016 | 46 | 39.0871
2017 | 60 | 47.4909
2018 | 79 | 66.4872
2019 | 104 | 93.0821
2020 | 138 | 130.315
| DOER Straw Proposal -CS and S-REC Cumulative Installations (MW) | Recommendation -Total CS and S-REC Cumulative Installations (MW)
2009 | 15 | 15
2010 | 23 | 27.15
2011 | 28 | 41.9123
2012 | 40 | 59.8484
2013 | 60 | 81.6408
2014 | 87 | 108.1186
2015 | 121 | 140.289
2016 | 167 | 179.3762
2017 | 227 | 226.8671
2018 | 306 | 293.3543
2019 | 410 | 386.4364
2020 | 548 | 516.7514
| DOER Straw Proposal - Annual Installations (MW) | Recommendation - Annual Installations (MW)
2009 | 10 | 10
2010 | 17 | 21.15
2011 | 16 | 25.7623
2012 | 15 | 20.9361
2013 | 20 | 21.7924
2014 | 27 | 26.4778
2015 | 34 | 32.1705
2016 | 46 | 39.0871
2017 | 60 | 47.4909
2018 | 79 | 66.4872
2019 | 104 | 93.0821
2020 | 138 | 130.315
| DOER Straw Proposal -Cumulative Installations (MW) | Recommendation -Cumulative Installations (MW)
2009 | 15 | 15
2010 | 32 | 36.15
2011 | 48 | 61.9123
2012 | 63 | 82.8484
2013 | 83 | 104.6408
2014 | 110 | 131.1186
2015 | 144 | 163.289
2016 | 190 | 202.3762
2017 | 250 | 249.8671
2018 | 329 | 316.3543
2019 | 433 | 409.4364
2020 | 571 | 539.7514
Governor's current goal
DOER Scenario has two years of negative growth based on Commonwealth Solar and S-REC.
DOER Scenario has two years of negative growth, even with stimulus and utility solar
Maintains Governor's current goal