## Attachment D Component Cost Lis
Class | Subclass | Component | Unit | Amount/Unit | Lifespan | Quantity | Cost
Site | Exterior Walls | Retaining Wall, Cast-in-Place Concrete | SF | 65.81 | 75 |  | 0
Site | Exterior Walls | Retaining Wall, Concrete Block | SF | 45 | 50 |  | 0
Site | Exterior Walls | Retaining Wall, RR Tie/Timber | SF | 13.01 | 25 |  | 0 | Component Based Total: | 0
Site | Exterior Walls | Stone Wall, Solid | SF | 85.45 | 25 |  | 0 | Soft Costs:
Site | Fences | Fence, Chain Link | LF | 38 | 25 |  | 0 | Other Costs:
Site | Fences | Fence, Plastic | LF | 52.44 | 30 |  | 0 | Total | 0
Site | Fences | Fence, Wood | LF | 36.25 | 25 |  | 0
Site | Gas Service | Piping, Underground Gas | LF | 45 | 50 |  | 0
Site | Irrigation Systems | Irrigation System | SF | 1.79 | 25 |  | 0
Site | Paving | Curb, Asphalt | LF | 8 | 10 |  | 0
Site | Paving | Curb, Concrete | LF | 25 | 40 |  | 0
Site | Paving | Curb, Granite | LF | 40 | 50 |  | 0
Site | Paving | Roadway/Parking Lot Paving, Asphalt | SF | 7.04 | 20 |  | 0
Site | Paving | Roadway/Parking Lot Paving, Concrete | SF | 10 | 30 |  | 0
Site | Paving | Walkway, Asphalt | SF | 9.52 | 20 |  | 0
Site | Paving | Walkway, Concrete | SF | 10 | 30 |  | 0
Site | Paving | Walkway, Unit Pavers | SF | 22 | 30 |  | 0
Site | Septic, Sewer and Wastewater Systems | Lift/Pumping Station (0-199 GPM) | EACH | 394236.15 | 30 |  | 0
Site | Septic, Sewer and Wastewater Systems | Lift/Pumping Station (200-600 GPM) | EACH | 453145 | 30 |  | 0
Site | Septic, Sewer and Wastewater Systems | Lift/Pumping Station (over 600 GPM) | EACH | 543774 | 30 |  | 0
Site | Septic, Sewer and Wastewater Systems | Piping, Underground Sewer | LF | 60 | 50 |  | 0
Site | Septic, Sewer and Wastewater Systems | Sanitary Sewer Manhole | EACH | 7509.26 | 50 |  | 0
Site | Septic, Sewer and Wastewater Systems | Septic System | BEDRM | 6000 | 15 |  | 0
Site | Septic, Sewer and Wastewater Systems | Wastewater Treatment System | BEDRM | 7800.57 | 30 |  | 0
Site | Sheds | Storage Shed (0-120 SF) | EACH | 8297.3 | 20 |  | 0
Site | Sheds | Storage Shed (over 120 SF) | EACH | 16594.1 | 40 |  | 0
Site | Site Drainage Systems | Catch Basin | EACH | 7509.26 | 60 |  | 0
Site | Site Drainage Systems | Headwall | EACH | 4829.23 | 60 |  | 0
Site | Site Drainage Systems | Piping, Stormwater | LF | 104.38 | 60 |  | 0
Site | Site Drainage Systems | Storm Drainage Manhole | EACH | 7509.26 | 60 |  | 0
Site | Water Supply | Fire Hydrant | EACH | 11004.95 | 50 |  | 0
Site | Water Supply | Piping, Underground Water | LF | 110.17 | 50 |  | 0
Site | Water Supply | Water Well System | EACH | 113441.61 | 50 |  | 0
Exterior Specialties | Ramp, Stair and Railing Assemblies | Balcony | SF | 60 | 30 |  | 0
Exterior Specialties | Ramp, Stair and Railing Assemblies | Exterior Canopy | SF | 25 | 30 |  | 0
Exterior Specialties | Ramp, Stair and Railing Assemblies | Exterior Railing, Metal | LF | 120 | 30 |  | 0
Exterior Specialties | Ramp, Stair and Railing Assemblies | Exterior Railing, Vinyl or Vinyl-Clad | LF | 56.78 | 40 |  | 0
Exterior Specialties | Ramp, Stair and Railing Assemblies | Exterior Railing, Wood | LF | 20 | 30 |  | 0
Exterior Specialties | Ramp, Stair and Railing Assemblies | Metal Fire Escape w/Landings | FLIGHT | 6376.4 | 40 |  | 0
Exterior Specialties | Ramp, Stair and Railing Assemblies | Ramp, Concrete w/Railings | LF | 818.25 | 30 |  | 0
Exterior Specialties | Ramp, Stair and Railing Assemblies | Ramp, Metal | LF | 625.34 | 30 |  | 0
Exterior Specialties | Ramp, Stair and Railing Assemblies | Ramp, Treated Wood | LF | 40 | 30 |  | 0
Exterior Specialties | Ramp, Stair and Railing Assemblies | Stairs, Concrete-Fill Metal Pan | STEP | 932.18 | 40 |  | 0
Exterior Specialties | Ramp, Stair and Railing Assemblies | Steps, Cast-in-Place Concrete or Masonry | STEP | 655.77 | 40 |  | 0
Exterior Specialties | Ramp, Stair and Railing Assemblies | Steps, Granite | STEP | 463.93 | 75 |  | 0
Exterior Specialties | Ramp, Stair and Railing Assemblies | Steps, Pre-Cast Concrete | FLIGHT | 2340.18 | 40 |  | 0
Exterior Specialties | Ramp, Stair and Railing Assemblies | Steps, Treated Wood/Railroad Tie | STEP | 500.76 | 30 |  | 0
Exterior Specialties | Ramp, Stair and Railing Assemblies | Vehicular Guide/Guard Rail Assembly | LF | 35.61 | 30 |  | 0
Exterior Specialties | Ramp, Stair and Railing Assemblies | Wood Porch System | SF | 31.13 | 20 |  | 0
Exterior Specialties | Equipment | Dumpster- 10 CY | EACH | 3433.63 | 10 |  | 0
Exterior Specialties | Equipment | Dumpster 15 CY | EACH | 4322.8 | 10 |  | 0
Exterior Specialties | Equipment | Dumpster 6 CY | EACH | 904.15 | 10 |  | 0
Exterior Specialties | Equipment | Dumpster Location (Enclosure and Pad) | EACH | 4500 | 30 |  | 0
Exterior Specialties | Equipment | Mail Box, Exterior, Multi-Unit | EACH | 3168.72 | 30 |  | 0
Exterior Specialties | Equipment | Mail Box, Single (on Post) | EACH | 388.41 | 20 |  | 0
Exterior Specialties | Equipment | Mail Box, Single (Wall-Mounted) | EACH | 275.77 | 20 |  | 0
Exterior Specialties | Recreation Equipment | Basketball Court (Court and Hoop) | SF | 3.71 | 20 |  | 0
Exterior Specialties | Recreation Equipment | Handball Court | SF |  | 15 |  | 0
Exterior Specialties | Recreation Equipment | Playground Equipment | PIECE | 3500 | 15 |  | 0
Exterior Specialties | Recreation Equipment | Playground Surface, Mat Rubber over Asphalt/Concrete/Compacted Gravel | SF | 20.91 | 30 |  | 0
Exterior Specialties | Recreation Equipment | Playground Surface, Sand over Compacted Gravel | SF | 1.58 | 15 |  | 0
Structural | Structural Roof Assemblies | Flat Roof | SF | 52.43 | 75 |  | 0
Structural | Structural Roof Assemblies | Pitched Roof | SF | 10.04 | 75 |  | 0
Structural | Chimney Assemblies | Brick Chimney, Multiple Flue | VLF | 249.88 | 75 |  | 0
Structural | Chimney Assemblies | Brick Chimney, Single Flue | VLF | 221.39 | 75 |  | 0
Structural | Chimney Assemblies | Insulated Metal Chimney | VLF | 135.7 | 40 |  | 0
Structural | Foundations | Foundation Walls, Cast-in-Place Concrete | LF | 309.86 | 100 |  | 0
Structural | Foundations | Foundation Walls, Masonry | LF | 306 | 100 |  | 0
Structural | Foundations | Foundation Walls, Stone | LF | 912.54 | 100 |  | 0
Structural | Foundations | Slab on Grade | SF | 8.14 | 100 |  | 0
Building Envelope | Exterior Doors | Automatic Door Opener | EACH | 6837.3 | 15 |  | 0
Building Envelope | Exterior Doors | Bulkhead Door Assembly | EACH | 1424.17 | 20 |  | 0
Building Envelope | Exterior Doors | Electric Door Operator | EACH | 8273.13 | 20 |  | 0
Building Envelope | Exterior Doors | Exterior Door, Sliding Glass | EACH | 2729.23 | 30 |  | 0
Building Envelope | Exterior Doors | Exterior Double Door, Other | EACH | 4615.61 | 30 |  | 0
Building Envelope | Exterior Doors | Exterior Double Door, Storefront | EACH | 7671.1 | 30 |  | 0
Building Envelope | Exterior Doors | Exterior Single Door, Non-Unit, Other | EACH | 2421 | 30 |  | 0
Building Envelope | Exterior Doors | Exterior Single Door, Non-Unit, Storefront | EACH | 3754.63 | 30 |  | 0
Building Envelope | Exterior Doors | Exterior Single Door, Unit | EACH | 2997.23 | 30 |  | 0
Building Envelope | Exterior Doors | Fixed Vandal-proof Screen Panel | EACH | 271.78 | 10 |  | 0
Building Envelope | Exterior Doors | Garage/Overhead Door | EACH | 6538.24 | 30 |  | 0
Building Envelope | Exterior Doors | keyed interior lockset | EACH | 196.88 | 20 |  | 0
Building Envelope | Exterior Doors | keyed lockset | EACH | 434 | 20 |  | 0
Building Envelope | Exterior Doors | Roof Access Hatch | EACH | 2140 | 20 |  | 0
Building Envelope | Exterior Doors | Roof Access Ladder | VLF | 173.49 | 20 |  | 0
Building Envelope | Exterior Doors | Storm/Screen Door | EACH | 594.27 | 20 |  | 0
Building Envelope | Siding | Glass Block | SF | 63.44 | 50 |  | 0
Building Envelope | Siding | Masonry Mortar (Tuckpointing) | SF/WALL | 7.54 | 40 |  | 0
Building Envelope | Siding | Siding, Aluminum | SF/WALL | 5.83 | 40 |  | 0
Building Envelope | Siding | Siding, Brick Veneer | SF/WALL | 31.66 | 100 |  | 0
Building Envelope | Siding | Siding, Cementitious (e.g. Hardie Board) | SF/WALL | 8 | 40 |  | 0
Building Envelope | Siding | Siding, Composite (Wood & Plastic, e.g. Werzalit) | SF/WALL | 8 | 30 |  | 0
Building Envelope | Siding | Siding, Exterior Insulation & Finish System (EIFS) | SF/WALL | 23.09 | 30 |  | 0
Building Envelope | Siding | Siding, Hardboard (e.g. Masonite) | SF/WALL | 16.56 | 30 |  | 0
Building Envelope | Siding | Siding, Metal Clad Plywood Panel | SF/WALL | 12.26 | 30 |  | 0
Building Envelope | Siding | Siding, Metal Panel Assembly | SF/WALL | 5.4 | 40 |  | 0
Building Envelope | Siding | Siding, Stucco (Non-EIFS) | SF/WALL | 20.03 | 40 |  | 0
Building Envelope | Siding | Siding, Vinyl | SF/WALL | 6 | 40 |  | 0
Building Envelope | Siding | Siding, Wood Clapboard (including Cape Cod Siding) | SF/WALL | 10 | 40 |  | 0
Building Envelope | Siding | Siding, Wood Shingles | SF/WALL | 5.2 | 40 |  | 0
Building Envelope | Siding | Siding, Wood, T111 | SF/WALL | 4.57 | 40 |  | 0
Building Envelope | Siding | Siding, Wood, Vertical Board (e.g. Board & Batten) | SF/WALL | 8.38 | 40 |  | 0
Building Envelope | Siding | Trombe Wall | SF/WALL | 120.32 | 30 |  | 0
Building Envelope | Windows | Roof Window/Skylight | EACH | 602.95 | 30 |  | 0
Building Envelope | Windows | Vinyl Shutters | SET | 173.34 | 20 |  | 0
Building Envelope | Windows | Window, Awning, Large | EACH | 1132.86 | 30 |  | 0
Building Envelope | Windows | Window, Awning, Medium | EACH | 885.57 | 30 |  | 0
Building Envelope | Windows | Window, Awning, Small | EACH | 728.92 | 30 |  | 0
Building Envelope | Windows | Window, Casement, Large | EACH | 631.81 | 30 |  | 0
Building Envelope | Windows | Window, Casement, Medium | EACH | 613.69 | 30 |  | 0
Building Envelope | Windows | Window, Casement, Small | EACH | 500 | 30 |  | 0
Building Envelope | Windows | Window, Combination | EACH | 1800 | 30 |  | 0
Building Envelope | Windows | Window, Double Hung, Large | EACH | 900 | 30 |  | 0
Building Envelope | Windows | Window, Double Hung, Medium | EACH | 750 | 30 |  | 0
Building Envelope | Windows | Window, Double Hung, Small | EACH | 600 | 30 |  | 0
Building Envelope | Windows | Window, Fixed, Large | EACH | 1457.83 | 40 |  | 0
Building Envelope | Windows | Window, Fixed, Medium | EACH | 1283.49 | 40 |  | 0
Building Envelope | Windows | Window, Fixed, Small | EACH | 1020.66 | 40 |  | 0
Building Envelope | Windows | Window, Hopper, Large | EACH | 1011.3 | 30 |  | 0
Building Envelope | Windows | Window, Hopper, Medium | EACH | 829.46 | 30 |  | 0
Building Envelope | Windows | Window, Hopper, Small | EACH | 575.61 | 30 |  | 0
Building Envelope | Windows | Window, Other | EACH | 0 | 30 |  | 0
Building Envelope | Windows | Window, Sliding, Large | EACH | 900 | 30 |  | 0
Building Envelope | Windows | Window, Sliding, Medium | EACH | 700 | 30 |  | 0
Building Envelope | Windows | Window, Sliding, Small | EACH | 600 | 30 |  | 0
Roofing | Roof Drainage | Downspouts, Aluminum | VLF | 10.28 | 30 |  | 0
Roofing | Roof Drainage | Downspouts, Copper | VLF | 23.3 | 30 |  | 0
Roofing | Roof Drainage | Downspouts, Galvanized Steel | VLF | 9.89 | 30 |  | 0
Roofing | Roof Drainage | Downspouts, PVC | VLF | 11.84 | 30 |  | 0
Roofing | Roof Drainage | Gutters, Aluminum | LF | 10.97 | 30 |  | 0
Roofing | Roof Drainage | Gutters, Copper | LF | 17.87 | 30 |  | 0
Roofing | Roof Drainage | Gutters, Galvanized Steel | LF | 10.04 | 30 |  | 0
Roofing | Roof Drainage | Gutters, Wood | LF | 35.15 | 30 |  | 0
Roofing | Roof Drainage | Scupper Drain | EACH | 647.35 | 40 |  | 0
Roofing | Roofing Systems | Asphalt Shingle Roof | SF | 5.81 | 25 |  | 0
Roofing | Roofing Systems | Built Up Roof | SF | 11 | 20 |  | 0
Roofing | Roofing Systems | EPDM roofing system | SF | 9.5 | 25 |  | 0
Roofing | Roofing Systems | Metal/Copper Roof | SF | 26 | 40 |  | 0
Roofing | Roofing Systems | Rolled Roofing System | SF | 3.56 | 15 |  | 0
Roofing | Roofing Systems | Roof Insulation | SF | 3.31 | 25 |  | 0
Roofing | Roofing Systems | Roofing, Other | SF | 9.06 | 15 |  | 0
Roofing | Roofing Systems | Single-Ply Membrane Roof | SF | 10 | 25 |  | 0
Roofing | Roofing Systems | Slate Roof | SF | 15 | 60 |  | 0
Roofing | Roofing Systems | Wood Shake Roof | SF | 9.76 | 25 |  | 0
Interior Construction | Cabinets and Counters | Kitchen Cabinet, Full Height (Pantry-Type) | LF | 877.49 | 20 |  | 0
Interior Construction | Cabinets and Counters | Kitchen Cabinet, Lower | LF | 407.83 | 20 |  | 0
Interior Construction | Cabinets and Counters | Kitchen Cabinet, Upper | LF | 200 | 20 |  | 0
Interior Construction | Cabinets and Counters | Kitchen Countertop | LF | 78.98 | 20 |  | 0
Interior Construction | Interior Doors | Bi-Fold Door | EACH | 452.87 | 50 |  | 0
Interior Construction | Interior Doors | Hinged Double Door, Non-Unit | EACH | 1398.28 | 50 |  | 0
Interior Construction | Interior Doors | Hinged Double Door, Unit | EACH | 2518.19 | 50 |  | 0
Interior Construction | Interior Doors | Hinged Single Door, Non-Unit | EACH | 791.06 | 50 |  | 0
Interior Construction | Interior Doors | Hinged Single Door, Unit | EACH | 939.95 | 50 |  | 0
Interior Construction | Interior Doors | Sliding Door | EACH | 1228.12 | 50 |  | 0
Interior Construction | Interior Doors | Unit Entry Door, Interior | EACH | 1670.16 | 50 |  | 0
Interior Construction | Interior Floor Finishes | Carpet Tiles | SF | 12 | 15 |  | 0
Interior Construction | Interior Floor Finishes | Carpet, Roll Goods | SF | 9.11 | 10 |  | 0
Interior Construction | Interior Floor Finishes | Ceramic/Masonry Tile Floor | SF | 11.4 | 25 |  | 0
Interior Construction | Interior Floor Finishes | Exposed Concrete Floor | SF | 6.88 | 50 |  | 0
Interior Construction | Interior Floor Finishes | Hardwood Floor | SF | 12 | 50 |  | 0
Interior Construction | Interior Floor Finishes | Seamless Epoxy Flooring | SF | 23.89 | 25 |  | 0
Interior Construction | Interior Floor Finishes | Vinyl Asbestos Tile | SF | 4.21 | 40 |  | 0
Interior Construction | Interior Floor Finishes | Vinyl Composition Tile | SF | 4.23 | 30 |  | 0
Interior Construction | Interior Floor Finishes | Vinyl Sheet Goods | SF | 10.86 | 30 |  | 0
Interior Construction | Interior Stair and Rail Assemblies | Railings, Metal | LF | 95.81 | 20 |  | 0
Interior Construction | Interior Stair and Rail Assemblies | Railings, Wood | LF | 108.11 | 20 |  | 0
Interior Construction | Interior Stair and Rail Assemblies | Ramp, Concrete | LF | 737.98 | 50 |  | 0
Interior Construction | Interior Stair and Rail Assemblies | Ramp, Wood | LF | 40 | 20 |  | 0
Interior Construction | Interior Stair and Rail Assemblies | Stair Treads, Vinyl | EACH | 64.71 | 30 |  | 0
Interior Construction | Interior Stair and Rail Assemblies | Stair Treads, Wood | EACH | 72.5 | 75 |  | 0
Interior Construction | Interior Stair and Rail Assemblies | Stairs, Concrete | STEP | 47.26 | 50 |  | 0
Interior Construction | Interior Stair and Rail Assemblies | Stairs, Steel, Grate Type | STEP | 854.5 | 20 |  | 0
Interior Construction | Interior Stair and Rail Assemblies | Stairs, Wood | STEP | 325.21 | 20 |  | 0
Interior Construction | Interior Specialties | Acoustical Ceiling Tile, Glue-On, 12''x12'' | SF | 4.4 | 20 |  | 0
Interior Construction | Interior Specialties | Acoustical Ceiling Tile, Suspended Grid | SF | 6.73 | 20 |  | 0
Interior Construction | Interior Specialties | Bathroom Medicine Cabinet | EACH | 400.18 | 10 |  | 0
Interior Construction | Interior Specialties | Brick Fireplace | EACH | 11386.24 | 100 |  | 0
Interior Construction | Interior Specialties | Mail Box, Interior/Foyer, Multi-Unit | UNIT | 73.16 | 50 |  | 0
Interior Construction | Interior Specialties | Refrigerator | EACH | 1070 | 10 |  | 0
Interior Construction | Interior Specialties | Stove, Electric | EACH | 829.25 | 20 |  | 0
Interior Construction | Interior Specialties | Stove, Gas | EACH | 829.25 | 20 |  | 0
Interior Construction | Interior Specialties | Toilet Partition (1 Wall and 1 Door) | EACH | 1312.83 | 20 |  | 0
Interior Construction | Interior Specialties | Trash Chute, Interior | FLIGHT | 3074.91 | 100 |  | 0
Interior Construction | Interior Specialties | Urinal Partition | EACH | 454.44 | 20 |  | 0
Building Specialties | Equipment | Incinerator | EACH | 603977.55 | 50 |  | 0
Building Specialties | Equipment | Trash Compacter | EACH | 22094.06 | 30 |  | 0
Conveying | Elevators | Elevator Cab Renovation | EACH | 14988.29 | 25 |  | 0
Conveying | Elevators | Elevator Controller, Starter, Cabling, ADA Fixtures (3-4 Story) | EACH | 30251.54 | 25 |  | 0
Conveying | Elevators | Elevator Controller, Starter, Cabling, ADA Fixtures (5-8 Story) | EACH | 37814.43 | 25 |  | 0
Conveying | Elevators | Elevator Controller, Starter, Cabling, ADA Fixtures (Over 8 Stories) | EACH | 47145.27 | 25 |  | 0
Conveying | Elevators | Elevator Door Equipment | EACH | 9516.05 | 25 |  | 0
Conveying | Elevators | Elevator Double Bulkhead Jack (3-4 Story) | EACH | 52929.29 | 50 |  | 0
Conveying | Elevators | Elevator Double Bulkhead Jack (5-8 Story) | EACH | 75628.87 | 50 |  | 0
Conveying | Elevators | Elevator Power Equipment and Pulleys (Traction-Geared Elevator) | EACH | 33001.69 | 40 |  | 0
Conveying | Elevators | Elevator Power Unit (Motor, Pump, and Valve) | EACH | 16369.89 | 25 |  | 0
Conveying | Elevators | Hydraulic Freight Elevator | EACH | 386827.22 | 20 |  | 0
Conveying | Elevators | Hydraulic Passenger Elevator | EACH | 214632.12 | 25 |  | 0
Conveying | Elevators | Traction Geared Freight Elevator | EACH | 821294.34 | 25 |  | 0
Conveying | Elevators | Traction Geared Passenger Elevator | EACH | 679458.56 | 25 |  | 0
Conveying | Lifts | Stair Climber Chair Lift | EACH | 22398.31 | 15 |  | 0
Conveying | Lifts | Wheelchair Lift, Straight Run Inclined Lift | EACH | 44537.68 | 25 |  | 0
Conveying | Lifts | Wheelchair Lift, Up to 72" Lifting Height | EACH | 29389.69 | 25 |  | 0
Fire Suppression | Fire Equipment | Fire Equipment Cabinet, Recessed w/Tools | EACH | 602.04 | 25 |  | 0
Fire Suppression | Fire Equipment | Fire Extinguisher Cabinet and Fire Extinguisher | EACH | 406.54 | 25 |  | 0
Fire Suppression | Fire Equipment | Fire Hose Connection (with or without Hose) | EACH | 1016.34 | 75 |  | 0
Fire Suppression | Fire Equipment | Fire Pump System | EACH | 55000 | 25 |  | 0
Fire Suppression | Sprinkler Systems | Sprinkler System (Valve Assembly, Riser, Branch Piping, Heads) | SF/FLR | 5.9 | 75 |  | 0
Plumbing | Fixtures | Bath Faucet | EACH | 367.69 | 10 |  | 0
Plumbing | Fixtures | Bathroom Sink | EACH | 647.35 | 20 |  | 0
Plumbing | Fixtures | Bathroom Vanity | EACH | 535 | 10 |  | 0
Plumbing | Fixtures | Bathtubs/Showers | EACH | 3314.43 | 20 |  | 0
Plumbing | Fixtures | Clothes Dryer (LHA Owned) | EACH | 3282.06 | 10 |  | 0
Plumbing | Fixtures | Clothes Washer (LHA Owned) | EACH | 1974.42 | 10 |  | 0
Plumbing | Fixtures | Dishwasher | EACH | 1456.54 | 10 |  | 0
Plumbing | Fixtures | Garbage Disposal | EACH | 479.04 | 10 |  | 0
Plumbing | Fixtures | Kitchen faucet | EACH | 297.14 | 10 |  | 0
Plumbing | Fixtures | Kitchen Sink | EACH | 1618.38 | 20 |  | 0
Plumbing | Fixtures | Shower Stall | EACH | 5224.11 | 20 |  | 0
Plumbing | Fixtures | Slop Sink | EACH | 2419.79 | 20 |  | 0
Plumbing | Fixtures | Tub Surround--¼’ thickness solid surface | EACH | 1058.2 | 25 |  | 0
Plumbing | Fixtures | Water Closets | EACH | 1508.33 | 20 |  | 0
Plumbing | Fixtures | Water Fountain | EACH | 2634.71 | 10 |  | 0
Plumbing | Plumbing Specialties | Sewage Ejection Pump System | EACH | 9207.91 | 30 |  | 0
Plumbing | Plumbing Specialties | Solar Hot Water Assist. System (Photovoltaics) | EACH | 18837.89 | 30 |  | 0
Plumbing | Plumbing Specialties | Sump Pump System | EACH | 981.38 | 15 |  | 0
Plumbing | Roof Drainage | Roof Drain Inlet Grate | EACH | 692.66 | 30 |  | 0
Plumbing | Water Heaters | DHW Storage Tank, Multiple Apartment | UNIT | 2378.61 | 15 |  | 0
Plumbing | Water Heaters | DHW Storage Tank, Multiple Apartment (High Rise) | EACH | 25000 | 30 |  | 0
Plumbing | Water Heaters | DHW Storage Tank, Single Apartment | EACH | 2848.34 | 15 |  | 0
Plumbing | Water Heaters | Water Heater, Multiple Apartment, Electric | UNIT | 963 | 15 |  | 0
Plumbing | Water Heaters | Water Heater, Multiple Apartment, Gas | UNIT | 1070 | 15 |  | 0
Plumbing | Water Heaters | Water Heater, Multiple Apartment, Oil | UNIT | 1177 | 15 |  | 0
Plumbing | Water Heaters | Water Heater, Single Apartment, Electric | EACH | 3333.85 | 15 |  | 0
Plumbing | Water Heaters | Water Heater, Single Apartment, Gas | EACH | 2848.34 | 15 |  | 0
Plumbing | Water Heaters | Water Heater, Single Apartment, Oil | EACH | 3430.96 | 15 |  | 0
Plumbing | Piping | Piping, Domestic Water, Copper | LF | 23.3 | 50 |  | 0
Plumbing | Piping | Piping, Domestic Water, Galvanized | LF | 21.09 | 30 |  | 0
Plumbing | Piping | Piping, Gas | LF | 7.7 | 30 |  | 0
Plumbing | Piping | Piping, Heating Water, Black Pipe | LF | 56.32 | 30 |  | 0
Plumbing | Piping | Piping, Heating Water, Copper | LF | 42.41 | 30 |  | 0
Plumbing | Piping | Piping, Waste, Cast Iron | LF | 70.64 | 30 |  | 0
Plumbing | Piping | Piping, Waste, PVC | LF | 65.48 | 50 |  | 0
HVAC | Boilers | Boiler Installation, Multiple Apartment, Gas | UNIT | 4815 | 20 |  | 0
HVAC | Boilers | Boiler Installation, Multiple Apartment, Gas (High Rise) | UNIT | 7476.89 | 30 |  | 0
HVAC | Boilers | Boiler Installation, Multiple Apartment, Oil | UNIT | 4815 | 20 |  | 0
HVAC | Boilers | Boiler Installation, Single Apartment, Gas | EACH | 15000 | 20 |  | 0
HVAC | Boilers | Boiler Installation, Single Apartment, Oil | EACH | 12000 | 20 |  | 0
HVAC | Cooling Systems | Ducted Central Air System, Cooling | TONS | 5321.22 | 15 |  | 0
HVAC | Cooling Systems | Split System AC | TONS | 1472.73 | 10 |  | 0
HVAC | Cooling Systems | Thru-the-Wall AC w/Wall Sleeve | EACH | 3398.59 | 10 |  | 0
HVAC | Cooling Systems | Window A/C Unit | EACH | 1553.64 | 15 |  | 0
HVAC | Cooling/Heating Systems | Air Source Heat Pump 12k BTUH | EACH | 5350 | 15 |  | 0
HVAC | Cooling/Heating Systems | Air Source Heat Pump 15k BTUH | EACH | 6420 | 15 |  | 0
HVAC | Cooling/Heating Systems | Ducted Central Air System, Heating and Cooling | TONS | 5109.76 | 15 |  | 0
HVAC | Cooling/Heating Systems | Packaged Terminal Air Conditioning Unit (PTAC) w/Heat | EACH | 3398.59 | 15 |  | 0
HVAC | Fuel Storage | Oil Storage Tank, Aboveground | GALLON | 13.54 | 20 |  | 0
HVAC | Fuel Storage | Oil Storage Tank, Underground | GALLON | 17.1 | 15 |  | 0
HVAC | Fuel Storage | Propane Tank, Aboveground | GALLON | 13.54 | 20 |  | 0
HVAC | Fuel Storage | Propane Tank, Underground | GALLON | 17.1 | 15 |  | 0
HVAC | Furnaces | Furnace, Electric | EACH | 5340.64 | 15 |  | 0
HVAC | Furnaces | Furnace, Gas | EACH | 3500 | 15 |  | 0
HVAC | Furnaces | Furnace, Oil | EACH | 3139.65 | 15 |  | 0
HVAC | Heating Systems | Baseboard/Wall Radiation, Electric | LF | 46.73 | 25 |  | 0
HVAC | Heating Systems | Baseboard/Wall Radiation, Water | LF | 38.84 | 25 |  | 0
HVAC | Heating Systems | Convectors | EACH | 1359.44 | 25 |  | 0
HVAC | Heating Systems | Ducted Central System, Heating and Ventilation Only, Electric | TONS | 9184.6 | 25 |  | 0
HVAC | Heating Systems | Ducted Central System, Heating and Ventilation Only, Gas | TONS | 1443.59 | 25 |  | 0
HVAC | Heating Systems | Ducted Central System, Heating and Ventilation Only, Oil | TONS | 2954.12 | 25 |  | 0
HVAC | Heating Systems | Ducted Central System, Heating and Ventilation Only, Roof-Mounted | CFM | 30 | 25 |  | 0
HVAC | Heating Systems | Fan Coil Units, Heating Only | EACH | 1000 | 15 |  | 0
HVAC | Heating Systems | Freestanding Pellet Stove | EACH | 1682.07 | 20 |  | 0
HVAC | Heating Systems | Gas-Fired Unit Heaters, Through-the-Wall Type | EACH | 3866.63 | 15 |  | 0
HVAC | Heating Systems | Hydronic Piping (PEX-a), 1" dia | LF | 6.23 | 40 |  | 0
HVAC | Heating Systems | Hydronic Piping (PEX-a), 1/2" dia | LF | 2.75 | 40 |  | 0
HVAC | Heating Systems | Hydronic Piping (PEX-a), 3/4" dia | LF | 3.24 | 40 |  | 0
HVAC | Heating Systems | Hydronic Zone Valve-Themostat assembly | EACH | 1239.06 | 20 |  | 0
HVAC | Heating Systems | Radiant Panel, Electric | EACH | 497.16 | 20 |  | 0
HVAC | Heating Systems | Radiators, Cast Iron | EACH | 80.27 | 60 |  | 0
HVAC | Heating Systems | Radiators, Fin Tube (Wall-Recessed) | EACH | 102.93 | 20 |  | 0
HVAC | Ventilation Systems | Bathroom Exhaust Fan | EACH | 750 | 20 |  | 0
HVAC | Ventilation Systems | Central Ducted Exhaust System (Duct & Register/Unit) | UNIT | 3705.95 | 40 |  | 0
HVAC | Ventilation Systems | Central Ducted Ventilation System (e.g. Corridor Make-Up Air) | CFM | 20 | 40 |  | 0
HVAC | Ventilation Systems | Exhaust Fan, Other | EACH | 551.54 | 20 |  | 0
HVAC | Ventilation Systems | Kitchen Exhaust Fan/Hood | EACH | 1579.53 | 20 |  | 0
Electrical | CATV | CATV Feeder Cabling, Aboveground | LF | 1.73 | 50 |  | 0
Electrical | CATV | CATV Feeder Cabling, Underground | LF | 56.77 | 50 |  | 0
Electrical | CATV | CATV Interior Cabling System | JACK | 421.03 | 20 |  | 0
Electrical | Egress/Emergency Lighting | Emergency Light Fixture | EACH | 1959.53 | 30 |  | 0
Electrical | Egress/Emergency Lighting | Exit Light Fixture | EACH | 834.44 | 30 |  | 0
Electrical | Electrical Specialties | Carbon Monoxide Detector, Battery-Powered | EACH | 67.4 | 10 |  | 0
Electrical | Electrical Specialties | Carbon Monoxide Detector, Hard-Wired | EACH | 509.45 | 10 |  | 0
Electrical | Electrical Specialties | Emergency Call Alarm System | UNIT | 2273.81 | 30 |  | 0
Electrical | Electrical Specialties | Paging/Sound System, Ceiling Speakers | LOC | 2276.96 | 30 |  | 0
Electrical | Electrical Specialties | Roof De-Icing System | L.F. | 12.84 | 10 |  | 0
Electrical | Exterior Lighting | Bollard Light | EACH | 1843.65 | 30 |  | 0
Electrical | Exterior Lighting | Ext. Fixture, High Pressure Sodium, Building-Mounted | EACH | 1753.68 | 30 |  | 0
Electrical | Exterior Lighting | Ext. Fixture, Incandescent or Fluorescent | EACH | 579.38 | 30 |  | 0
Electrical | Exterior Lighting | Ext. Fixture, Mercury Vapor or Metal Halide, Building-Mounted | EACH | 983.33 | 30 |  | 0
Electrical | Exterior Lighting | Light Pole w/Fixture | EACH | 6439.84 | 30 |  | 0
Electrical | Fire Detection Systems | Fire Alarm System, Addressable, Complete | UNIT | 3500 | 25 |  | 0
Electrical | Fire Detection Systems | Fire Alarm System, Zoned, Complete | UNIT | 2500 | 25 |  | 0
Electrical | Fire Detection Systems | Smoke/Heat Detector, Battery-Powered | EACH | 288.72 | 25 |  | 0
Electrical | Fire Detection Systems | Smoke/Heat Detector, Hard-Wired | EACH | 728.92 | 25 |  | 0
Electrical | Fire Detection Systems | Strobe and Horn (ADA Type) | EACH | 376.64 | 20 |  | 0
Electrical | Generator Systems | 100 kW Standby Emergency Generator System | EACH | 89238 | 25 |  | 0
Electrical | Generator Systems | 30 kW Standby Emergency Generator System | EACH | 72974 | 25 |  | 0
Electrical | Generator Systems | 60 kW Standby Emergency Generator System | EACH | 80250 | 25 |  | 0
Electrical | Generator Systems | Co-Generation System | KW | 321000 | 25 |  | 0
Electrical | Generator Systems | Standby Emergency Generator System | EACH | 49684.11 | 25 |  | 0
Electrical | Interior Lighting | Interior Fluorescent Fixture | EACH | 1598.95 | 40 |  | 0
Electrical | Interior Lighting | Interior Fluorescent Fixture, Special | EACH | 5275.9 | 40 |  | 0
Electrical | Interior Lighting | Interior HID Metal Halide Fixture (Gymnasium Style) | EACH | 1566.59 | 40 |  | 0
Electrical | Interior Lighting | Interior Incandescent Fixture | EACH | 627.93 | 40 |  | 0
Electrical | Interior Lighting | Interior Incandescent Fixture, Special | EACH | 1566.59 | 40 |  | 0
Electrical | Phone/Data | Phone/Data Service, Aboveground | LF | 1.31 | 50 |  | 0
Electrical | Phone/Data | Phone/Data Service, Underground | LF | 56.4 | 50 |  | 0
Electrical | Phone/Data | Telephone Wiring System | JACK | 282.9 | 20 |  | 0
Electrical | Power Distribution | Electric Feeder Service, Aboveground | LF | 5.83 | 50 |  | 0
Electrical | Power Distribution | Electric Feeder Service, Underground | LF | 60.85 | 50 |  | 0
Electrical | Power Distribution | GFCI Branch Circuit and Device | EACH | 300 | 50 |  | 0
Electrical | Power Distribution | Panelboard, Main Breaker, 1 Ph, 240V | EACH | 6278.76 | 50 |  | 0
Electrical | Power Distribution | Panelboard, Main Breaker, 3 Ph, 208V | EACH | 6344.03 | 50 |  | 0
Electrical | Power Distribution | Panelboard, Main Breaker, 3 Ph, 480V | EACH | 9029.73 | 50 |  | 0
Electrical | Power Distribution | Switchboard, Distribution Section, 120/208V | EACH | 17640.02 | 50 |  | 0
Electrical | Power Distribution | Switchboard, Distribution Section, 277/480V | EACH | 35000 | 50 |  | 0
Electrical | Power Distribution | Transformer, Dry Type, 1 PH | EACH | 10131.03 | 50 |  | 0
Electrical | Power Distribution | Transformer, Dry Type, 3 PH | EACH | 6570.6 | 50 |  | 0
Electrical | Power Distribution | Transformer, Oil Type, 3 Ph | EACH | 23045.66 | 50 |  | 0
Electrical | Power Distribution | Unit Load Center, <100 Amp | EACH | 1032.55 | 50 |  | 0
Electrical | Power Distribution | Unit Load Center, 100 Amp or Larger | EACH | 2388.24 | 50 |  | 0
Electrical | Security Systems | Card Key Security Access System (Bldg. Entrances Only) | BLDG | 10000 | 20 |  | 0
Electrical | Security Systems | CCTV Camera System w/Cabling (Excludes Camera) | LOC | 900 | 20 |  | 0
Electrical | Security Systems | Intercom System, Conduit & Wiring, Wall Boxes & Eqt | LOC | 1745.26 | 20 |  | 0
Electrical | Security Systems | Keypad Security Access System, 4-Point System | EACH | 7067.35 | 20 |  | 0