# INTRODUCTION

The Massachusetts Watershed Initiative is a collaborative effort between state and federal environmental agencies, municipal agencies, citizens, non-profit groups, businesses and industries in the watershed.  The mission is to improve water quality conditions and to provide a framework under which the restoration and/or protection of the basin’s natural resources can be achieved.  Implementation of this initiative is underway in a process known as the “Watershed Approach”.  The “Five-year Cycle” of the “Watershed Approach”, as illustrated in Figure 3, provides the management structure to carry out the mission.  Information researched and developed in the first three years of the “Five-year Cycle” was utilized by the Massachusetts Department of Environmental Protection (MA DEP) to report on water quality conditions in the Massachusetts portion of the Connecticut River Basin. This report fulfills part of MA DEP’s mandate under the Clean Water Act (CWA).

Figure 3. Clean Water Act Implementation Cycle

The objective of the CWA is to restore and maintain the chemical, physical, and biological integrity of the Nation’s waters (Environmental Law Reporter 1988).  To meet this goal, the CWA requires states to develop information on the quality of the Nation's water resources and report this information to the U.S. Environmental Protection Agency (EPA), the U.S. Congress, and the public.  EPA and the states are responsible for implementation of the CWA mandates.  Under Section 305(b) of the CWA, MA DEP must submit a statewide report every two years to the EPA, which summarizes the status of water quality in the Commonwealth.  The most recent 305(b) Report is the Commonwealth of Massachusetts Summary of Water Quality 2000 (MA DEP 2000a). The statewide 305(b) Report is based on the compilation of current assessment information for the Commonwealth’s 27 watersheds.  Assessments made for 305(b) reporting utilize data from a variety of sources.  The 305(b) Report provides an evaluation of water quality, progress made towards maintaining and restoring water quality, and the extent to which problems remain at the statewide level.

The Connecticut River Basin 1998 Water Quality Assessment Report has been developed by MA DEP’s Division of Watershed Management (DWM) to provide data and detailed assessment information for selected segments (a specifically defined reach of river or an individual lake) in the Connecticut River Basin. This assessment information is maintained by MA DEP in the Water Body System (WBS) database, which is updated every two years and used to generate the state’s 305(b) Report.  The assessments contained in this report will be submitted to EPA in the 2002 305(b) Report.  Described in the following section (Assessment Methodology) are the standardized assessment methodologies for the interpretation of instream biological, habitat, physical/chemical, toxicity, and other data.

ASSESSMENT METHODOLOGY

### WATER QUALITY CLASSIFICATION

The Massachusetts Surface Water Quality Standards designate the most sensitive uses for which the surface waters of the Commonwealth shall be enhanced, maintained and protected; prescribe minimum water quality criteria required to sustain the designated uses; and include provisions for the prohibition of discharges (MA DEP 1996).  These regulations undergo public review every three years.  These surface waters are segmented and each segment is assigned to one of the six classes described below:

- Inland Water Classes

- Class A – These waters are designated as a source of public water supply.  To the extent compatible with this use they shall be an excellent habitat for fish, other aquatic life and wildlife, and suitable for primary and secondary contact recreation.  These waters shall have excellent aesthetic value.  These waters are designated for protection as Outstanding Resource Waters (ORW’s) under 314 CMR 4.04(3).

- Class B – These waters are designated as a habitat for fish, other aquatic life, and wildlife, and for primary and secondary contact recreation.  Where designated they shall be suitable as a source of water supply with appropriate treatment.  They shall be suitable for irrigation and other agricultural uses and for compatible industrial cooling and process uses.  These waters shall have consistently good aesthetic value.

- Class C – These waters are designated as a habitat for fish, other aquatic life and wildlife, and for secondary contact recreation. These waters shall be suitable for the irrigation of crops used for consumption after cooking and for compatible industrial cooling and process uses.  These waters shall have good aesthetic value.

- Coastal and Marine Classes

- Class SA – These waters are designated as an excellent habitat for fish, other aquatic life and wildlife and for primary and secondary recreation. In approved areas they shall be suitable for shellfish harvesting without depuration (Open Shellfishing Areas). These waters shall have excellent aesthetic value.

- Class SB – These waters are designated as a habitat for fish, other aquatic life and wildlife and for primary and secondary contact recreation.  In approved areas they shall be suitable for shellfish harvesting with depuration (Restricted Shellfishing Areas).  These waters shall have consistently good aesthetic value.

- Class SC – These waters are designated as a habitat for fish, other aquatic life, and wildlife and for secondary contact recreation.  They shall also be suitable for certain industrial cooling and process uses.  These waters shall have good aesthetic value.

The CWA Section 305(b) water quality reporting process is an essential aspect of the Nation's water pollution control effort.  It is the principal means by which EPA, Congress, and the public evaluate existing water quality, assess progress made in maintaining and restoring water quality, and determine the extent of remaining problems.  In so doing, the States report on waterbodies within the context of meeting their designated uses (described above in each class).  Each class is identified by the most sensitive, and therefore governing, water uses to be achieved and protected.  These uses include: Aquatic Life, Fish Consumption, Drinking Water, Primary and Secondary Contact Recreation, Shellfishing and Aesthetics. Three subclasses of Aquatic Life are also designated in the standards: Cold Water Fishery (capable of sustaining a year-round population of cold water aquatic life such as trout), Warm Water Fishery (waters which are not capable of sustaining a year-round population of cold water aquatic life), and Marine Fishery (suitable for sustaining marine flora and fauna).

A summary of the state water quality standards (Table 3) prescribes minimum water quality criteria to sustain the designated uses.  Furthermore these standards describe the hydrological conditions at which water quality criteria must be met (MA DEP 1996).  In rivers and streams, the lowest flow conditions at and above which criteria must be met is the lowest mean flow for seven consecutive days to be expected once in ten years (7Q10).  In artificially regulated waters, the lowest flow conditions at which criteria must be met is the flow equal or exceeded 99% of the time on a yearly basis or another equivalent flow which has been agreed upon.  In coastal and marine waters and for lakes and ponds the most severe hydrological condition is determined by MA DEP on a case by case basis.

The availability of appropriate and reliable scientific data and technical information is fundamental to the 305(b) reporting process.  It is EPA policy (EPA Order 5360.1 CHG 1) that any organization performing work for or on behalf of EPA establish a Quality System to support the development, review, approval, implementation, and assessment of data collection operations.  To this end, MA DEP describes its Quality System in an EPA-approved Quality Management Plan to ensure that environmental data collected or compiled by the Agency are of known and documented quality and are suitable for their intended use.  For external sources of information, MA DEP requires the following: 1) an appropriate Quality Assurance Project Plan including a QA/QC plan, 2) use of a state certified lab (certified in the applicable analysis), 3) data management QA/QC be described, and 4) the information be documented in a citable report.

EPA provides guidelines to the states for making their use support determinations (EPA 1997).   The determination of whether or not a waterbody can be assessed to determine if it supports each of its designated uses is a function of the type(s), quality and quantity of available current information. Although data/information older than five years are usually considered “historical” and used for descriptive purposes, they can be utilized in the use support determination providing they are known to reflect the current conditions.  While the water quality standards (Table 3) prescribe minimum water quality criteria to sustain the designated uses, numerical criteria are not available for every indicator of pollution.  Best available guidance in the literature may be applied in lieu of actual numerical criteria (e.g., freshwater sediment data may be compared to Guidelines for the Protection and Management of Aquatic Sediment Quality in Ontario 1993 by D. Persaud, R. Jaagumagi and A. Hayton).

Each designated use within a given segment is individually assessed as 1) support, 2) partial support, or 3) non- support.  The term threatened is used when the use is fully supported but may not support the use within two years because of adverse pollution trends or anticipated sources of pollution.  When too little current data/information exists or no reliable data are available the use is not assessed.  In this report, however, if there is some indication that water quality impairment may exist based on any given variable, it is identified with an “Alert Status”.  It is important to note, however, that not all waters are assessed.   Many small and/or unnamed lakes, rivers and estuaries are currently unassessed; the status of their designated uses has never been reported to EPA in the state’s 305(b) Report nor is information on these waters maintained in the WBS database.

Table 3.  Summary of Massachusetts Surface Water Quality Standards (MADEP 1996). Note: Italics are direct quotations.

| Dissolved Oxygen | Class A, BCWF*, SA :  6.0 mg/L and > 75% saturation unless background conditions are lower Class BWWF**, SB:  5.0 mg/L and > 60% saturation unless background conditions are lower Class C: Not < 5.0 mg/L for more than 16 of any 24 –hour period and not < 3.0 mg/L anytime unless background conditions are lower; levels cannot be lowered below 50% saturation due to a discharge Class SC: Not < 5.0 mg/L for more than 16 of any 24 –hour period and not < 4.0 mg/L anytime unless background conditions are lower; and 50% saturation; levels cannot be lowered below 50% saturation due to a discharge |
| --- | --- |
| Temperature | Class A: < 68°F (20°C) and  1.5°F (0.8°C) for Cold Water and < 83°F (28.3°C) and  1.5°F (0.8°C) for Warm Water Class BCWF: < 68°F (20°C) and 3°F (1.7°C) due to a discharge Class BWWF: < 83°F (28.3°C) and 3°F (1.7°C) in lakes, 5°F (2.8°C) in rivers Class C, SC: <85°F (29.4°C) nor 5°F (2.8°C) due to a discharge Class SA: <85°F (29.4°C) nor a maximum daily mean of 80°F (26.7°C) and 1.5°F (0.8°C) Class SB: <85°F (29.4°C) nor a maximum daily mean of 80°F (26.7°C) and 1.5°F (0.8°C) between July through September and  4.0°F (2.2°C) between October through June |
| pH | Class A, BCWF, BWWF: 6.5 – 8.3 and 0.5 outside the background range. Class C: 6.5 – 9.0 and 1.0 outside the naturally occurring range. Class SA, SB: 6.5 – 8.5 and 0.2 outside the normally occurring range. Class SC: 6.5 – 9.0 and 0.5 outside the naturally occurring range. |
| Fecal Coliform Bacteria | Class A: an arithmetic mean of < 20 organisms /100 ml in any representative set of samples and < 10% of the samples > 100 organisms/100 ml. Class B: a geometric mean of < 200 organisms /100 ml in any representative set of samples and < 10% of the samples > 400 organisms /100 ml. (This criterion can be applied on a seasonal basis at the discretion of the MA DEP.) Class C: a geometric mean of < 1000 organisms /100ml, and < 10% of the samples > 2000 organisms/100 ml. Class SA: approved Open Shellfish Areas: a geometric mean (MPN method) of < 14 organisms/100 ml and < 10% of the samples > 43 organisms/100 ml (MPN method). Waters not designated for shellfishing: < a geometric mean of 200 organisms in any representative set of samples, and < 10% of the samples > 400 organisms /100 ml. (This criterion can be applied on a seasonal basis at the discretion of the DEP.) Class SB: approved Restricted Shellfish Areas: < a fecal coliform median or geometric mean (MPN method) of 88 organisms/100 ml and < 10% of the samples > 260 organisms /100 ml (MPN method). Waters not designated for shellfishing: < a geometric mean of 200 organisms in any representative set of samples, and < 10% of the samples > 400 organisms /100 ml. (This criterion can be applied on a seasonal basis at the discretion of the MA DEP.) Class SC: < a geometric mean of 1000 organisms/100 ml and < 10% of the samples > 2000 organisms/100ml. |
| Solids | All Classes: These waters shall be free from floating, suspended, and settleable solids in concentrations or combinations that would impair any use assigned to each class, that would cause aesthetically objectionable conditions, or that would impair the benthic biota or degrade the chemical composition of the bottom. |
| Color and Turbidity | All Classes: These waters shall be free from color and turbidity in concentrations or combinations that are aesthetically objectionable or would impair any use. |  |  |
| Oil & Grease | Class A, SA: Waters shall be free from oil and grease, petrochemicals and other volatile or synthetic organic pollutants. Class SA: Waters shall be free from oil and grease and petrochemicals. Class B, C,SB, SC: Waters shall be free from oil and grease, petrochemicals that produce a visible film on the surface of the water, impart an oily taste to the water or an oily or other undesirable taste to the edible portions of aquatic life, coat the banks or bottom of the water course or are deleterious or become toxic to aquatic life. |
| Taste and Odor | Class A, SA: None other than of natural origin. Class B, C,SB, SC: None in such concentrations or combinations that are aesthetically objectionable, that would impair any use assigned to each class, or that would cause tainting or undesirable flavors in the edible portions of aquatic life. |
| Aesthetics | All Classes: All surface waters shall be free from pollutants in concentrations or combinations that settle to form objectionable deposits; float as debris, scum or other matter to form nuisances; produce objectionable odor, color, taste or turbidity; or produce undesirable or nuisance species of aquatic life. |
| Toxic Pollutants ~ | All Classes: All surface waters shall be free from pollutants in concentrations or combinations that are toxic to humans, aquatic life or wildlife… The division shall use the recommended limit published by EPA pursuant to 33 USC 1251, 304(a) as the allowable receiving water concentrations for the affected waters unless a site-specific limit is established. |
| Nutrients | Shall not exceed the site-specific limits necessary to control accelerated or cultural eutrophication. |

*Class BCWF = Class B Cold Water Fishery, ** Class BWWF = Class B Warm Water Fishery,  criterion (referring to a change from ambient) is applied to the effects of a permitted discharge.  ~ USEPA. 19 November 1999.  Federal Register Document. [Online]. United States Environmental Protection Agency. http://www.epa.gov/fedrgstr/EPA-WATER/1998/December/Day-10/w30272.htm.

Designated Uses

The Massachusetts Surface Water Quality Standards designate the most sensitive uses for which the surface waters of the Commonwealth shall be enhanced, maintained and protected.  Each of these uses is briefly described below (MA DEP 1996):

- AQUATIC LIFE - suitable habitat for sustaining a native, naturally diverse, community of aquatic flora and fauna.  Three subclasses of aquatic life are also designated in the standards for freshwater bodies; Cold Water Fishery - capable of sustaining a year-round population of cold water aquatic life such as trout, Warm Water Fishery - waters which are not capable of sustaining a year-round population of cold water aquatic life, and Marine Fishery - suitable for sustaining marine flora and fauna.

- FISH CONSUMPTION - pollutants shall not result in unacceptable concentrations in edible portions of marketable fish or shellfish or for the recreational use of fish, shellfish, other aquatic life or wildlife for human consumption.

- DRINKING WATER - used to denote those waters used as a source of public drinking water.  They may be subject to more stringent regulation in accordance with the Massachusetts Drinking Water Regulations (310 CMR 22.00).  These waters are designated for protection as Outstanding Resource Waters under 314 CMR 4.04(3).

- PRIMARY CONTACT RECREATION - suitable for any recreation or other water use in which there is prolonged and intimate contact with the water with a significant risk of ingestion of water. These include, but are not limited to, wading, swimming, diving, surfing and water skiing.

- SECONDARY CONTACT RECREATION - suitable for any recreation or other water use in which contact with the water is either incidental or accidental.  These include, but are not limited to, fishing, boating and limited contact incident to shoreline activities.

- AESTHETICS - all surface waters shall be free from pollutants in concentrations or combinations that settle to form objectionable deposits; float as debris, scum or other matter to form nuisances; produce objectionable odor, color, taste or turbidity; or produce undesirable or nuisance species of aquatic life.

- AGRICULTURAL AND INDUSTRIAL - suitable for irrigation or other agricultural process water and for compatible industrial cooling and process water.

Other restrictions which denote specific subcategories of use assigned to the segment that may affect the application of criteria or specific antidegradation provision of 314 CMR 4.00, which are specified along segments of the Connecticut River, include:

- CSO – These waters are identified as impacted by the discharge of combined sewer overflows in the classification tables in 314 CMR 4.06(3).  Overflow events may be allowed by the permitting authority without a variance or partial use designation where the provisions 314 CMR 4.06(1)(d)10 are met.  The waterbody may be subject to short-term impairment of swimming or other recreational uses, but support these uses through most of their annual period of use; and the aquatic life community may suffer some adverse impact yet is still generally viable).

[Note:  The State Water Quality Standards (SWQS) have "CSO" listed where CSO impacts occur.  However, this is only a notation and does not have regulatory significance unless all of the provisions of 314 CMR 4.06 (1) (d) 10. have been met (Facilities Plan Approval, Use Attainability Analysis, etc.) and MA DEP makes a formal administrative determination after a public hearing and MEPA filing that a B(CSO) designation is supported and appropriate (Brander 2000).]

- The guidance used to assess the Aquatic Life, Fish Consumption, Drinking Water, Primary and Secondary Contact Recreation and Aesthetics uses follows.

- AQUATIC LIFE USE

This use is suitable for sustaining a native, naturally diverse, community of aquatic flora and fauna. The results of biological (and habitat), toxicological, and chemical data are integrated to assess this use.  The nature, frequency, and precision of the MA DEP's data collection techniques dictate that a weight of evidence be used to make the assessment, with biosurvey results used as the final arbiter of borderline cases.  The following chart provides an overview of the guidance used to assess the status (support, partial support, non-support) of the Aquatic Life Use:

| Variable (# indicates reference) | Support—Data available clearly indicates support. Minor excursions from chemical criteria (Table 3) may be tolerated if the biosurvey results demonstrate support. | Partial Support -- Uncertainty about support in the chemical or toxicity testing data, or there is some minor modification of the biological community. Excursions not frequent or prolonged. | Non-Support -- There are frequent or severe violations of chemical criteria, presence of acute toxicity, or a moderate or severe modification of the biological community. |
| --- | --- | --- | --- |
| BIOLOGY |  |  |  |
| Rapid Bioassessment Protocol (RBP) II or III (4) | Non-Impaired | Slightly Impaired | Moderately or Severely Impaired |
| Fish Community (4) | Best Professional Judgement (BPJ) | BPJ | BPJ |
| Habitat and Flow (4) | BPJ | BPJ | Dewatered Streambed due to artificial regulation or channel alteration |
| Macrophytes (4) | BPJ | Non-native plant species present, but not dominant, BPJ | Non-native plant species dominant, BPJ |
| Plankton/ Periphyton (4) | No algal blooms | Occasional algal blooms | Persistent algal blooms |
| TOXICITY TESTS |  |  |  |
| Water Column (4) | >75% survival either 48 hr or 7-day exposure | >50 - <75% survival either 48 hr or 7-day exposure | <50% survival either 48 hr or 7-day exposure |
| Effluent (4) | Meets permit limits | (NOTE: if limit is not met, the stream is listed as threatened for 1.0 river mile downstream from the discharge.) |  |
| Sediment (4) | >75% survival | >50 - <75% survival | <50% survival |
| CHEMISTRY- WATER |  |  |  |
| DO (3, 6) | Criteria (Table 3) | Criteria exceed in 11-25% of measurements. | Criteria exceeded >25% of measurements. |
| pH (3, 6) | Criteria (Table 3) | Criteria exceed in 11-25% of measurements. | Criteria exceeded >25% of measurements. |
| Temperature (3, 6) 1 | Criteria (Table 3), 1 | Criteria exceed in 11-25% of measurements. | Criteria exceeded >25% of measurements. |
| Turbidity (4) |  5 NTU due to a discharge | BPJ | BPJ |
| Suspended Solids (4) | 25 mg/L max., 10 mg/L due to a discharge | BPJ | BPJ |
| Nutrients (3) Total Phosphorus(4) | Table 3, (Site-Specific Criteria; Maintain Balanced Biocommunity, no pH/DO violations) | BPJ | BPJ |
| Toxic Pollutants (3, 6) Ammonia-N (3, 4) Chlorine (3, 6) | Criteria (Table 3) 0.254 mg/L NH3-N 2 0.011 mg/L TRC | BPJ | Criterion is exceed in > 10% of samples. |
| CHEMISTRY – SEDIMENT |  |  |  |
| Toxic Pollutants (5) | < L-EL3, Low Effect Level | One pollutant between L-EL and S-EL | One pollutant  S-EL (severe) |
| Nutrients (5) | < L-EL | between L-EL and S-EL |  S-EL |
| Metal Normalization to Al or Fe (4) | Enrichment Ratio < 1 | Enrichment Ratio >1 but <10 | Enrichment Ratio >10 |
| CHEMISTRY- EFFLUENT |  |  |  |
| Compliance with permit limits (4) | In-compliance with all limits | NOTE: If the facility is not in compliance with their permit limits, the information is used to threaten one river mile downstream from the discharge. |  |
| CHEMISTRY-TISSUE |  |  |  |
| PCB – whole fish (1) | <500 g/kg wet weight | BPJ | BPJ |
| DDT (2) | <14.0 g/kg wet weight | BPJ | BPJ |
| PCB in aquatic tissue (2) | <0.79 ng TEQ/kg wet weight | BPJ | BPJ |

- 1maximum daily mean T in a month (min 6 measurements evenly distributed over 24-hours) <criterion, 2Ammonia levels for pH of 9.0, actual “criterion” varies with pH and is evaluated case-by-case. 3For the purpose of this report, the S-EL for total PCB in sediment (which varies with TOC content) with 1% TOC is 5.3 PPM while a sediment sample with 10% TOC is 53ppm.

Note: The National Academy of Sciences/National Academy of Engineering (NAS/NAE) guideline for maximum organochlorine concentrations (i.e., total PCB) in fish tissue for the protection of fish-eating wildlife is 500g/kg wet weight (PPB, not lipid-normalized).  PCB data (tissue) in this report are presented in g/kg wet weight (PPB) and are not lipid-normalized to allow for direct comparison to the NAS/NAE guideline.

- FISH CONSUMPTION USE

Pollutants shall not result in unacceptable concentrations in edible portions of marketable fish or shellfish or for the recreational use of fish, shellfish, other aquatic life or wildlife for human consumption.  The assessment of this use is made using the most recent list of Fish Consumption Advisories issued by the Massachusetts Executive Office of Health and Human Services, Department of Public Health (DPH), Bureau of Environmental Health Assessment (MA DPH 1999).  The DPH list identifies waterbodies where elevated levels of a specified contaminant in edible portions of freshwater species poses a health risk for human consumption; hence the Fish Consumption Use is assessed as non-support in these waters.   In 1994, DPH also issued a statewide “Interim Freshwater Fish Consumption Advisory” for mercury (MA DPH 1994).  This precautionary measure was aimed at pregnant women only; the general public was not considered to be at risk from fish consumption.  DPH’s interim advisory does not include fish stocked by the state Division of Fisheries and Wildlife or farm-raised fish sold commercially.  Because of the statewide interim advisory, however, no fresh waters can be assessed as supporting the Fish Consumption Use.  The following is an overview of the guidance used to assess the status (support, partial support, non-support) of the Fish Consumption Use.

| Variable (# indicates reference) | Support —No restrictions or bans in effect | Partial Support – A "restricted consumption" fish advisory is in effect for the general population or a sub-population that could be at potentially greater risk (e.g., pregnant women, and children | Non-Support – A "no consumption" advisory or ban in effect for the general population or a sub-population for one or more fish species; or there is a commercial fishing ban in effect |
| --- | --- | --- | --- |
| DPH Fish Consumption Advisory List (8) | Not applicable, precluded by statewide advisory (Hg) | Not applicable | Waterbody on DPH Fish Consumption Advisory List * |

- DRINKING WATER USE

The Drinking Water Use denotes those waters used as a source of public drinking water.  These waters may be subject to more stringent regulation in accordance with the Massachusetts Drinking Water Regulations (310 CMR 22.00).  They are designated for protection as Outstanding Resource Waters in 314 CMR 4.04(3).  This use is assessed by MA DEP’s Drinking Water Program (DWP).  Below is EPA’s guidance used to assess the status (support, partial support, non-support) of the drinking water use.

| Variable (# indicates reference) | Support-- No closures or advisories (no contaminants with confirmed exceedences of MCLs, conventional treatment is adequate to maintain the supply). | Partial Support – Is one or more advisories or more than conventional treatment is required | Non-Support – One or more contamination-based closures of the water supply |
| --- | --- | --- | --- |
| Drinking Water Program (DWP) Evaluation | Reported by DWP | Reported by DWP | Reported by DWP |

- PRIMARY CONTACT RECREATIONAL USE

This use is suitable for any recreational or other water use in which there is prolonged and intimate contact with the water with a significant risk of ingestion of water (1 April to 15 October).  These include, but are not limited to, wading, swimming, diving, surfing and water skiing.  The chart below provides an overview of the guidance used to assess the status (support, partial support, non-support) of the Primary Contact Use.

| Variable (# indicates reference) | Support-- Criteria are met, no aesthetic conditions that preclude the use | Partial Support –Criteria exceeded intermittently (neither frequent nor prolonged), marginal aesthetic violations | Non-Support –Frequent or prolonged violations of criteria, formal bathing area closures, or severe aesthetic conditions that preclude the use |
| --- | --- | --- | --- |
| Fecal Coliform Bacteria (3, 9) * | Criteria met OR Dry Weather Guidance <5 samples--<400/100 ml maximum Wet Weather Guidance Dry weather samples meet and wet samples <2000/100 ml | Guidance exceeded in 11-25% of the samples OR Wet Weather Dry weather samples meet and wet samples >2000/100 ml | Guidance exceeded in > 25% of the samples |
| pH (3, 6) | Criteria exceeded in <10 % of the measurements | Criteria exceeded in 11-25% of the measurements | Criteria exceeded in >25% of the measurements |
| Temperature (3) | Criteria met | Criteria exceeded 11-25% of the time | Criteria exceeded 25% of the time |
| Color and Turbidity (3, 6) |  5 NTU (due to a discharge) exceeded in <10 % of the measurements | Guidance exceeded in 11-25% of the measurements | Guidance exceeded in >25% of the measurements |
| Secchi disk depth (10) ** | Lakes - >1.2 meters ( > 4’) | Infrequent excursions from the guidance | Frequent and/or prolonged excursions from the guidance |
| Oil & Grease (3) | Criteria met | ### Criteria exceeded 11-25% of the time | ### Criteria exceeded >25% of the time |
| Aesthetics (3) Biocommunity (4)** | No nuisance organisms that render the water aesthetically objectionable or unusable; Lakes – cover of macrophytes < 50% of lake area at maximum extent of growth. | Lakes – cover of macrophytes 50-75% of lake area at their maximum extent of growth. | Lakes – cover of macrophytes >75% of lake area at their maximum extent of growth. |

Note: Excursions from criteria due to natural conditions are not considered impairment of use.

* Fecal Coliform bacteria interpretations require additional information in order to apply this use assessment guidance.  Bacteria data results (fecal coliform) are interpreted according to whether they represent dry weather or wet weather (stormwater runoff) conditions.  Accordingly, it is important to interpret the amount of precipitation received in the study region immediately prior to sampling and streamflow conditions.

** Lakes exhibiting impairment of the primary contact recreation use (swimmable) because of macrophyte cover and/or transparency (Secchi disk depth) are assessed as either partial or non-support. If no fecal coliform bacteria data are available and the lake (entirely or in part) met the transparency (Secchi disk depth) and aesthetics guidance this use is not assessed.

- SECONDARY CONTACT RECREATIONAL USE

This use is suitable for any recreation or other water use in which contact with the water is either incidental or accidental.  These include, but are not limited to, fishing, boating and limited contact incident to shoreline activities. Following is an overview of the guidance used to assess the status (support, partial support, non-support) of the Secondary Contact Use.

| Variable (# indicates reference) | Support-- Criteria are met, no aesthetic conditions that preclude the use | Partial Support –Criteria exceeded intermittently (neither frequent nor prolonged), marginal aesthetic violations | Non-Support –Frequent or prolonged violations of criteria, or severe aesthetic conditions that preclude the use |
| --- | --- | --- | --- |
| Fecal Coliform Bacteria (4) * | Dry Weather Guidance <5 samples--<2000/100 ml maximum >5 samples--<1000/100 ml geometric mean < 10% samples >2000/100 ml Wet Weather Guidance Dry weather samples meet and wet samples <4000/100 ml | Wet Weather Guidance Dry weather samples meet and wet samples >4000/100 ml | Criteria exceeded in dry weather |
| Oil & Grease (3) | Criteria met | Criteria exceeded 11-25% of the time | Criteria exceeded >25% of the time |
| Aesthetics (3) Biocommunity (4) ** | No nuisance organisms that render the water aesthetically objectionable or unusable; Lakes – cover of macrophytes < 50% of lake area at their maximum extent of growth. | Macrophyte cover is between 50 – 75% | Macrophyte cover exceeds 75% of the lake area. |

Note: Excursions from criteria due to natural conditions are not considered impairment of use.

* Fecal Coliform bacteria interpretations require additional information in order to apply this use assessment guidance.  Bacteria data results (fecal coliform) are interpreted according to whether they represent dry weather or wet weather (stormwater runoff) conditions.  Accordingly it is important to interpret the amount of precipitation received in the subject region immediately prior to sampling and streamflow conditions.

** In lakes if no fecal coliform data are available, macrophyte cover is the only criterion used to assess the Secondary Contact Recreational Use.

For the Primary and Secondary Contact Recreational uses the following steps are taken to interpret the fecal coliform bacteria results:

- Identify  the range of fecal coliform bacteria results,

- Calculate the geometric mean (monthly, seasonally, or on dataset),  (Note: the geometric mean is only calculated on datasets with >5 samples collected within a 30-day period.)

- Calculate the % of sample results exceeding 400 cfu/100 mLs,

- Determine if the samples were collected during wet or dry weather conditions (review precipitation and streamflow data),

Dry weather can be defined as: No/trace antecedent (to the sampling event) precipitation that causes more than a slight increase in streamflow.

Wet weather can be defined as: Precipitation antecedent to the sampling event that results in a marked increase in streamflow.

- Apply the following to interpret dry weather data:

<10% of the samples exceed criteria (step 2 and 3, above) assessed as Support,

- 11-25% of the samples exceed criteria (step 2 and 3, above) assessed as Partial Support,

>25% of the samples exceed criteria (step 2 and 3, above) assessed as Non-Support.

- AESTHETICS USE

All surface waters shall be free from pollutants in concentrations or combinations that settle to form objectionable deposits; float as debris, scum or other matter to form nuisances; produce objectionable odor, color, taste or turbidity; or produce undesirable or nuisance species of aquatic life. The aesthetic use is closely tied to the public health aspects of the recreational uses (swimming and boating).  Below is an overview of the guidance used to assess the status (support, partial support, non-support) of the Aesthetics Use.

| Variable (# indicates reference) | Support – 1. No objectionable bottom deposits, floating debris, scum, or nuisances; 2. objectionable odor, color, taste or turbidity, or nuisance aquatic life | Partial Support - Objectionable conditions neither frequent nor prolonged | Non-Support – Objectionable conditions frequent and/or prolonged |
| --- | --- | --- | --- |
| Aesthetics (3)* Visual observation (4) | Criteria met | BPJ (spatial and temporal extent of degradation) | BPJ (extent of spatial and temporal degradation |

- * For lakes, the aesthetic use category is generally assessed at the same level of impairment as the more severely impaired recreational use category (Primary or Secondary Contact).

References

- Coles, J.C. 1998.Organochlorine Compounds in Fish Tissue from the Connecticut, Housatonic and Thames River Basins Study Unit, 1992-94. National Water-Quality Assessment Program. U.S. Department of the Interior, U.S. Geological Survey. Marlborough, MA.

- Environment Canada.  04 November 1999.  Canadian Environmental Quality Guidelines.  [Online]. Environment Canada. http://www.ec.gc.ca/ceqg-rcqe/tistbl_e.doc [28 September 1998].

- MA DEP.  1996. (Revision of 1995 report).  Massachusetts surface water quality standards.  Massachusetts Department of Environmental Protection, Division of Water Pollution Control, Technical Services Branch.  Westborough, MA  (Revision of 314 CMR 4.00, effective June 23, 1996).

- MA DEP.  1999. Open File. Department of Watershed Management 305(b) Assessment Guidance.  Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester, MA

- Persaud, D., R. Jaagumagi, and A. Hayton.  1993.  Guidelines for the protection and management of aquatic sediment quality in Ontario.  Water Resources Branch, Ontario Ministry of the Environment.  Queen’s Printer for Ontario. Canada.

- USEPA. 1997. Guidelines for Preparation of the Comprehensive State Water Quality Assessments (305(b) Reports) and Electronic Updates: Supplement.  Assessment and Watershed Protection Division (4503F), Office of Wetlands, Oceans and Watersheds, Office of Water, U.S. Environmental Protection Agency. Washington, DC.

- USEPA. 19 November 1999.  Federal Register Document. [Online]. United States Environmental Protection Agency. http://www.epa.gov/fedrgstr/EPA-WATER/1998/December/Day-10/w30272.htm.

- MA DPH. 1999.  Freshwater Fish Consumption Advisory List.  The Commonwealth of Massachusetts, Bureau of Environmental Health Assessment. Boston, MA.

- Kimball, W.A., 1996. Memorandum to 305(b) Committee.  Re: Small data sets/ wet weather data. Massachusetts Department of Environmental Protection, Office of Watershed Management.  Grafton, MA.

- MA DPH. 1969. Article 7 Regulation 10.2B of the State Sanitary Code. Commonwealth of Massachusetts. Department of Public Health. Boston, MA.

- Churchill, N.  1999.  Personal Communication.  Shellfish Project Classification Area Information as of 1 January 1999.  Department of Fisheries, Wildlife, and Environmental Law Enforcement, Division of Marine Fisheries.  Pocasset, MA.

# Connecticut RIVER BASIN

### DESCRIPTION

The Connecticut River and its tributaries constitute the largest river basin in New England.  It has a maximum length of approximately 280 miles, a maximum width of about 60 miles and a total drainage area of approximately 11,250 square miles.  From its origin in the Connecticut Lakes Region near the Canadian border, the 410 mile Connecticut River flows southward to form the boundary between New Hampshire and Vermont.  It then flows through Massachusetts and Connecticut to the Long Island Sound.   The river provides 70-80% of the freshwater entering the sound and is an integral part of its ecosystem (NEIWPCC 1997). The Connecticut River traverses approximately 67 river miles and drains approximately 2,726 square miles within Massachusetts.

The river elevation change in Massachusetts is approximately 150 feet, a mean gradient of approximately two feet per river mile.  The basin is bounded to the west by the Berkshire Mountains, which rise to an elevation above 3000 feet and to the east by the Central Massachusetts Plateau that rises to an approximate maximum elevation of 2000 feet.

Figure 4.  Location of Connecticut River Basin.

Based upon the Massachusetts Water Resources Commission's delineation, the Connecticut River Basin drains approximately 670 square miles (exclusive of the Deerfield, Millers, Westfield and Chicopee subbasins).  There are a total of 183 named rivers in the basin which flow approximately 538 river miles (Halliwell et al. 1982).   The communities of Agawam, Amherst, Ashfield, Belchertown, Bernardston, Chesterfield, Chicopee, Conway, Deerfield, East Longmeadow, Easthampton, Erving, Gill, Goshen, Granby, Greenfield, Hadley, Hampden, Hatfield, Holyoke, Huntington, Leverett, Leydon, Longmeadow, Ludlow, Monson, Montague, Montgomery, Northampton, Northfield, Pelham, Royalston, Shutesbury, South Hadley, Southampton, Southwick, Springfield, Sunderland, Warwick, Wendell, West Springfield, Westfield, Westhampton, Whately, Wilbraham, and Williamsburg lie wholly or in part within the watershed boundaries.  Major tributaries discharging to the Connecticut River within Massachusetts, include the Millers, Deerfield, Chicopee and Westfield rivers.

The Connecticut River Basin (Figure 4) is located in western Massachusetts.  It is bordered by the Deerfield River Basin to the northwest, the Westfield River Basin to the southwest, the Millers River Basin to the northeast and by the Chicopee River Basin to the southeast. The Connecticut River enters Massachusetts in the town of Northfield and flows south/southwest through the state for approximately 67 river miles exiting Massachusetts at the towns of Longmeadow and Agawam.

A total of 123 lakes, ponds or impoundments (the term "lakes" will hereafter be used to include all) have been identified and assigned PALIS code numbers (Pond and Lake Information System, Ackerman 1989) in the Connecticut River Basin. Less than half of these (48) are greater than or equal to 10 acres in size.  Only 24 lakes in this watershed are recognized officially as Great Ponds.

### Classification

Consistent with the National Goal Uses of “fishable and swimmable waters”, the classification of waters in the Connecticut River Basin according to the SWQS, include the following (MA DEP 1996):

Class A Public Water Supplies in the Connecticut River Basin:

- Atkins Reservoir, Source to outlet in Shutesbury and those tributaries thereto

- Hawley Reservoir, Source to outlet in Pelham and those tributaries thereto

- Hill Reservoir, Source to outlet in Pelham and those tributaries thereto

- Reservoir (Running Gutter Brook Reservoir), Source to outlet in Hatfield and those tributaries thereto

- White Reservoir, Source to outlet in Southampton and those tributaries thereto

- Tighe Carmody Reservoir (Manhan Reservoir), Source to outlet in Southampton and those tributaries thereto

- Whiting Street Reservoir, Source to outlet in Holyoke and those tributaries thereto

- Green Pond, Source to outlet in Montague and those tributaries thereto

- Lake Pleasant, Source to outlet in Montague and those tributaries thereto

- Roberts Meadow Reservoir, Source to outlet in Northampton and those tributaries thereto

- Mt. Street Reservoir, Source to outlet in Williamsburg and those tributaries thereto

- Unnamed Reservoir (Northampton Reservoir [New], Ryans Reservoir), Source to outlet in Whately and those tributaries thereto

- Northampton Reservoir [Old] (West Whately Reservoir), Source to outlet in Whately and those tributaries thereto

- Reservoir (Louisiana Brook Reservoir, Grandin Reservoir, Upper Reservoir), Source to outlet in Northfield and those tributaries thereto

- Lithia Springs Reservoir, Source to outlet in South Hadley and those tributaries thereto

- Reservoir (Mt. Brook Reservoir), Source to outlet in Westhampton and those tributaries thereto

- Unquomonk Reservoir, Source to outlet in Williamsburg and those tributaries thereto

- Unnamed Reservoir (Roaring Brook Reservoir), Reservoir to outlet in Conway and those tributaries thereto

In the Connecticut River Basin, all designated ORWs are associated with the Class A waters (Rojko et al. 1995).  The designation of ORW is applied to those waters with exceptional socio-economic, recreational, ecological and/or aesthetic values. ORWs have more stringent requirements than other waters because the existing use is so exceptional or the perceived risk of harm is such that no lowering of water quality is permissible.  ORWs include certified vernal pools and all designated Class A Public Water Supplies, and may include surface waters found in National Parks, State Forests and Parks, Areas of Critical Environmental Concern (ACEC) and those protected by special legislation (MA DEM 1993).  Wetlands that border ORWs are designated as ORWs to the boundary of the defined area.

- No areas in the Connecticut River Basin have been formally designated as ACECs by the Massachusetts Secretary of Environmental Affairs.

Class B Warm Water Fisheries in the Connecticut River Basin:

- Connecticut River, New Hampshire/Vermont/Massachusetts State Line to the Holyoke Dam, Holyoke/South Hadley

- Connecticut River, Holyoke Dam, Holyoke/South Hadley to the Connecticut State Line, Longmeadow/Agawam, (CSO)

- Bachelor Brook, outlet Forge Pond Granby to confluence with Connecticut River, South Hadley

- Weston Brook, from the confluence with Lampson Brook, Belchertown to inlet Forge Pond, Granby

- Lampson Brook, Belchertown WWTP to confluence with Weston Brook

Unlisted waters not otherwise designated in the SWQS are designated Class B, High Quality Water.  According to the SWQS, where fisheries designations are necessary, they shall be made on a case-by-case basis.

SUMMARY OF EXISTING CONDITIONS AND PERCEIVED PROBLEMS

The Clean Water Act Section 303(d) requires states to identify those waterbodies that are not meeting Surface Water Quality Standards (SWQS).  The following table identifies waterbodies in the Connecticut River Basin in Massachusetts which are on the 1998 Section 303(d) list of waters (MA DEP 1999a):

Table 4.  1998 303(d) list of impaired waters, Connecticut River Basin (MA DEP 1999a).

| 1998 303(d) Listed Waterbody |  | Cause of Impairment |
| --- | --- | --- |
| Connecticut River | New Hampshire/Vermont state line to Route 10 bridge, Northfield | priority organics (PCB) and pathogens (fecal coliform bacteria) |
|  | Route 10 bridge, Northfield to Turners Falls Dam, Montague | PCB |
|  | Turners Falls Dam, Montague to confluence with Deerfield River, Greenfield | PCB |
|  | Confluence with Deerfield River, Greenfield to Holyoke Dam, Holyoke | PCB, and fecal coliform bacteria |
| Weston Brook should be Connecticut River | Holyoke Dam, Holyoke to Connecticut state line, Longmeadow/Agawam | PCB, fecal coliform bacteria, and suspended solids |
| Weston Brook | Headwaters Belchertown to inlet Forge Pond, Granby | unionized ammonia, chlorine, nutrients, organic enrichment/low DO, and fecal coliform bacteria |
| Lampson Brook | Belchertown State Hospital WWTP to confluence with Weston Brook, Belchertown | unionized ammonia, chlorine, nutrients, and organic enrichment/low DO |
| Arcadia Lake | Belchertown | nutrients, and noxious aquatic plants |
| Lake Bray | Holyoke | noxious aquatic plants |
| Forge Pond | Granby | nutrients and noxious aquatic plants |
| Ingraham Brook Pond | Granby | noxious aquatic plants |
| Leverett Pond | Leverett | noxious aquatic plants and turbidity |
| Loon Pond | Springfield | nutrients and noxious aquatic plants |
| Metacomet Lake | Belchertown | organic enrichment/low DO |
| Nashawannuck Pond | Easthampton | nutrients, organic enrichment/low DO, and noxious aquatic plants |
| Venture Pond | Springfield | nutrients, organic enrichment/low DO, noxious aquatic plants, and turbidity |
| Lake Warner | Hadley | nutrients, organic enrichment/low DO, noxious aquatic plants, and turbidity |
| Watershops Pond | Springfield | noxious aquatic plants |
| Lake Wyola | Shutesbury | noxious aquatic plants, organic enrichment/low DO, and nutrients |
| Aldrich Lake* | Granby | noxious aquatic plants |
| Aldrich Lake* | Granby | noxious aquatic plants |
| Upper Van Horn Park Pond** | Springfield | Nutrients, noxious aquatic plants |

*needs confirmation (additional data connection is necessary to confirm the presence of impairment)

**mistakenly listed as being in the Chicopee River Basin in the 1998 303(d) list

According to the Commonwealth of Massachusetts Summary of Water Quality 1992 Appendix I Basin/Segment Information (MA DEP 1993) the water quality of the entire length of the Connecticut River mainstem in Massachusetts did not support the uses designated for Class B waters.  This non-support status was due to the presence of priority organics (in particular, PCBs), and in some areas, pathogens (as measured by fecal coliform bacteria), and suspended solids primarily from urban runoff, combined sewer overflows and unknown sources.  Water quality in the tributary streams to the mainstem in most cases supported the uses designated for Class B waters, however many of these streams were characterized as "threatened" due mainly to: nutrients, pesticides, siltation, pathogens, organic enrichment, and thermal modifications. Nonpoint source impacts to tributaries were described by local groups and agencies as being localized and directly related to specific land-use activities occurring within a subwatershed.  Sources of these contaminants were identified in all but two tributaries as exclusively nonpoint in origin and included: urban runoff/storm sewers, land development, silvaculture, recreational activities, on-site wastewater treatment systems, and agriculture (MA DEP 1993).

There is a MA DPH fish consumption advisory for the mainstem Connecticut River because of PCB contamination.  A summary of the historical information of fish toxics monitoring as well as a synopsis of current investigations is provided in Appendix B.  The most recent MA DPH Fish Consumption Advisory List for the Connecticut River recommends the following (MA DPH 1999):

Children younger than 12 years, pregnant women, and nursing mothers should not eat any fish from the Connecticut River (all towns between Northfield and Longmeadow), and

The general public should not consume channel catfish, white catfish, American eel, or yellow perch from the Connecticut River (all towns between Northfield and Longmeadow).

This advisory does not make exception for anadromous fish therefore it is also applicable to them (Beattie 2000).

In 1994, MA DPH also issued a statewide Interim Freshwater Fish Consumption Advisory for mercury (MA DPH 1994).  This precautionary measure was aimed at pregnant women only; the general public was not considered to be at risk from fish consumption. The advisory encompasses all freshwaters in Massachusetts therefore the Fish Consumption Use can not be assessed as support.

### sources of information

Multiple local, state and federal agencies provided information used in the water quality assessment of the Connecticut River Basin.  Within the Massachusetts Department of Environmental Protection (MA DEP) information was obtained from three programmatic bureaus: Bureau of Resource Protection (BRP, see below), Bureau of Waste Prevention (industrial wastewater discharge information) and the Bureau of Waste Site Cleanup (hazardous waste site cleanup information).  Specifically, lake synoptic survey data were provided by MA DEP BRP Division of Watershed Management (DWM) Watershed Planning Program (Table 8).  Water withdrawal and wastewater discharge permit information was provided by the MA DEP Western Regional Office Connecticut River Watershed Team and the DWM Watershed Permitting Program (Water Management Act, and National Pollutant Discharge Elimination System). [Note: The BRP DWM Drinking Water Program evaluates the status of the Drinking Water Use and this information is therefore not provided in this assessment report.]  Projects funded through various MA DEP grant and loan programs also provide valuable information that may be used in the water quality assessment report.  A summary these projects for the Connecticut River Basin is provided in Appendix A.

Other state agencies contributing information to this report include: the Massachusetts Department of Public Health (MA DPH), the Department of Fisheries, Wildlife, and Environmental Law Enforcement (DFWELE) Division of Fisheries and Wildlife and Riverways programs, and the Department of Environmental Management (DEM).   Federal agencies contributing include the EPA and United States Geological Survey (USGS).   In addition to state and federal agencies, regional, local, and citizen monitoring groups provide data/information for the watershed management process which may be used to indicate areas of both high and degraded water quality, as well as causes and sources of contamination.

Discussions with regional planning agencies, conservation districts, local officials, and environmental interest groups in the watershed revealed several major nonpoint source related water quality concerns for the Connecticut River mainstem.  In the north and central sections of the mainstem of the river, riverbank erosion and siltation were cited as major problems.  Urban runoff was identified as the major nonpoint source while combined sewer overflows were the major point source contributor to water quality degradation in the southern reach of the river.

The USGS as part of their National Water-Quality Assessment (NAWQA) Program in the Connecticut, Housatonic, and Thames River Basins Study Unit conducted water quality sampling in the Connecticut River Basin between 1992 and 1995.   A summary of their data collection efforts, by study component, is provided in Table 5.  Results of these investigations are published in Breault and Harris (1997), Coles (1996 and 1998), Garabedian et al. (1998), and Harris (1997).  One specific objective of their study was to determine the occurrence and distribution of organochorines in fish tissue along the mainstem Connecticut River (headwaters to mouth).  Elevated levels of total PCB in fish at four sampling stations (Charleston, NH, Montague and Longmeadow, MA and Portland, CT) exceeded the NAS/NAE guidelines for the protection of fish-eating wildlife (Coles 1998).   Since this dataset however is limited to only one sample per station, these data were only used to place the Aquatic Life Use on “Alert Status”.

Table 5.  Summary of Data Collection by USGS NAWQA Program in the Connecticut River Basin (Garabedian et al. 1998).

| STUDY COMPONENT | STUDY OBJECTIVE | BRIEF DESCRIPTION OF SAMPLING EFFORT | FREQUENCY OF SAMPLE COLLECTION AND LOCATION* |
| --- | --- | --- | --- |
| Pesticides in Surface Water | Determine the occurrence and distribution of pesticides to surface water from urban, agricultural, and forested settings. | Sample streams during high and low flow conditions for pesticides and (or) nutrients, organic carbon, suspended sediment, and streamflow | Once per site (1992-1994) MC, NH, LM |
| Contaminants in fish tissue | Determine the presence of organochlorine compounds that can accumulate in fish tissues | Collect eight white sucker and submit composite of eight whole fishes for organic compound analysis | Once per site (1993-1994) MC, NH, LM |
| Bottom-sediment survey | Determine presence of potentially toxic compounds within the bed sediments of streams and evaluate their potential for adverse biological effects on aquatic organisms | Sample depositional zones of streams for trace elements and hydrophobic organic compounds. | Once per site (1993-1994) MC, NH, LM |

* Connecticut River at Montague City (MC), Mill River-Northampton (a tributary of Connecticut River near Oxbow/Manhan River) at Northampton (NH), and Connecticut River near Longmeadow (LM)

A Connecticut River Watershed Restoration 319 Project (Phase I) was conducted by the Franklin Regional Council of Governments and the CRSEC.  This project, funded by EPA and MA DEP, began in 1996 and was completed in 1998.  The purpose of this project was to reduce erosion to the banks of the Connecticut River through the design and installation of bioengineered bank stabilization.  Three sites in Northfield were selected for streambank restoration: Wickey, Crooker, and Shearer.  Wickey and Shearer were constructed in the fall/winter of 1996, and planted in the fall to spring of 1996-97.  The Crooker site was constructed in the summer of 1997, and planted between the fall of 1997 and the fall of 1998.  The Franklin Regional Council of Governments and Connecticut River Streambank Erosion Committee (1999) reported the following in Connecticut River Watershed Restoration Project: S.319 Project 96-03, 1996-1998:

Severe bank erosion in the Connecticut River has also been a concern for many years, particularly in the Turners Falls Pool (Franklin Regional Council of Governments and Connecticut River Streambank Erosion Committee 1999).  Numerous studies have been completed to identify the causes of the erosion, assess the condition of the banks, and seek ways to mitigate the damage.  A 1979 “Report on Connecticut River Streambank Erosion Study” completed by the Army Corps of Engineers (ACOE) provides a detailed discussion of river hydrology and an analysis of the erosion in the Connecticut River in Massachusetts, New Hampshire and Vermont. The report attempts to identify the causes of erosion and rates the importance of each contribution to the banks of the Connecticut.  In addition to natural causes such as shear stress and stage variation, the report identified pool fluctuations and boat waves as contributing factors.  Pool fluctuations are named as causing an increase in bank instability on the order of 18% of the shear stress exerted in the bank merely by flowing water.  The report also points out the difference in the nature of the erosion caused by wave action, which only works at the level of the water; and the various shear stress forces that work on the full height of the submerged bank, where the maximum shear stress is exerted on the bank below water at about 2/3 of the water’s depth.  In July of 1991, the ACOE completed a follow-up report on the erosion in the Turners Falls Pool, “General Investigation Study, Connecticut River Streambank Erosion: Connecticut River, Turners Falls Dam to State Line, MA.”  That study concluded that the riverbank erosion had increased almost threefold since 1979, with approximately one-third of the shoreline undergoing active erosion.  In the spring of 1994, the Franklin County Commission convened a group of stakeholders to take up the problem of erosion in the Turners Falls Power Pool.

The Connecticut River Atlantic Salmon Restoration Program began in 1967 when Massachusetts, Connecticut, Vermont, New Hampshire, the U.S. Fish and Wildlife Service, and National Marine Fisheries Service signed a statement of intent to restore anadromous fish to the Connecticut River (USFWS 2000).  In 1983, Congress passed the Atlantic Salmon Compact which formed the Connecticut River Atlantic Salmon Commission.  The Silvio O. Conte National Fish and Wildlife Refuge Act of 1991 reaffirmed the importance of conserving, protecting, and enhancing migratory fish populations and habitat, supporting research, and education.  The Connecticut River Atlantic Salmon Commission, has set forth six goals to accomplish its mission of restoring and enhancing Atlantic salmon populations in the Connecticut River:

- manage Atlantic salmon production to produce sea-run Atlantic salmon returns,

- enhance and maintain the quantity, quality, and accessibility of salmon habitat necessary to support re-established spawning populations,

- protect Connecticut River Atlantic salmon from exploitation,

- allocate adult sea-run salmon to maximize benefits to the program,

- assess program effectiveness by conducting monitoring, evaluation, and research, and by implementing appropriate changes, and

- to provide the public with information and opportunities to be involved in the restoration program

The stock enhancement aspect of the program involves the release of smolts and fry into the waters of the Connecticut and its tributaries (USFWS 2000).   Early in the program, two-year old hatchery reared smolts of Canadian origin were released.  In 1983, in an effort to increase the number of smolts released, one-year old smolts were produced.  Fry stocking was initiated in 1987 and has continued to increase.  By the spring of 1997, the total number of fry stocked in the Connecticut Basin was nearly 8.5 million.  In Massachusetts, Division of Fisheries and Wildlife personnel have stocked salmon fry from the Roger Reed State Fish Hatchery and the White River National Salmon Hatchery in the following streams in the Connecticut River Basin in Massachusetts: Mill Brook (Northfield), Fourmile Brook (Northfield), one branch and one tributary of the Manhan River, two branches and two tributaries of the Mill River, and the Sawmill River.  Fifteen streams in the Deerfield River Basin, the mainstem Westfield River and twenty-two of its tributaries and the Millers River were also stocked. Since 1987, nearly 13.6 million fry have been released (Slater 2000).

In addition to releasing Atlantic salmon into the Connecticut River Basin, the Commission has worked to construct fishways at dams on the mainstem Connecticut River in Holyoke, Turners Falls, Vernon, Bellows Falls, Wilder, and on tributaries at the Leesville Dam (Salmon River), Rainbow Dam (Farmington River), and Decorative Specialties International (DSI) Dam (Westfield River). Fishways provide upstream passages for salmon returning from the ocean to spawn, as well as allow researchers areas to view, count, and collect salmon for use as broodstock.   Two major utility companies that operate six mainstem hydroelectric facilities have signed agreements with the Commission. The agreements establish timeframes for the construction of downstream passage facilities that will alleviate some of the deleterious affects of turbines to smolts (USFWS 2000).

The Massachusetts Water Watch Partnership (MassWWP) conducted a “Swimming Hole” Project in 1998 (Walk et al.  1998). Their project was funded in part by the Massachusetts Executive Office of Environmental Affairs as part of a Massachusetts Watershed Initiative (MWI) grant.  The project scope included water sampling at popular recreational areas for fecal coliform bacteria analysis along the Massachusetts portion of the Connecticut River to evaluate potential health risks.  Unfortunately, this dataset does not meet minimum acceptability criteria required by EPA and MA DEP for use in reporting 305(b) assessments.

The Smith College Environmental Science Program initiated an interdisciplinary pilot study of the Mill River-Hatfield sub-watershed system through funding from the Sylvio O. Conte National Fish and Wildlife Refuge and the Clark Science Center Summer Student Research Program in the summer of 1997 (Clark Science Center 2000).   The study included an analysis of hydrology and water chemistry, a biotoxicological evaluation of in-stream fauna, a population and genetic variation survey of Alasmidonta host fish species, a mussel population and reproduction study (since 1998), a vegetation and riparian corridor survey, and a land use analysis. The Mill River-Hatfield is also represented by an active watershed group.

The Connecticut River Watershed has many facilities, which discharge to the mainstem of the river and to several of its tributaries.  The following types of NPDES discharges occur in the watershed (Hogan 2000):

- Municipal wastewater treatment plants (WWTPs):  these facilities treat wastewater from domestic and industrial sources within the WWTP service area. They range in size from the Springfield Regional Facility with a treatment capacity of 50 MGD to the Town of Northfield WPCF which has a capacity of 0.2 MGD and treats only municipal, sanitary wastewater

- Power Plants: there are several power generation facilities within the watershed; they are of two types: hydro-power and oil/coal burning; water diversion and release is the main component related to the former and effluent temperature loading is most critical from the latter

- Industrial WWTPs and non-process discharges: the majority of industrial process wastewaters are treated at the municipal WWTP under conditions of their industrial pre-treatment program which is controlled by the municipality and is a condition of the municipal WWTP NPDES permit; the significant industrial WWTPs are listed in Appendix C, Table C1; there are several industries which have permits for the discharge of non-contact cooling water and storm water; these discharges are authorized and controlled under general permits issued to the facilities by USEPA; the associated impacts from these facilities are minimum and do not get significant environmental review from MA DEP

- Aquaculture and Fish Hatcheries: there are several aquaculture and fish hatchery facilities in the Connecticut River Basin. These operations raise tilapia, salmon and trout. The wastes from these facilities, particularly those to smaller tributary streams can be significant unless there is proper operation of the hatchery and a minimal discharge of waste and food. Water pollution control is best managed by implementation of BMPs (e.g., operational procedures used by the facility to enhance control of solids collection, preventative maintenance program for cleaning equipment, precautions that will be taken to prevent non-indigenous organisms from becoming established in the local surface waters, etc.).

- Combined Sewer Overflows (Brander 2000): The three major CSO permittees, the Cities of Springfield, Chicopee, and Holyoke, are now in the process of CSO facilities planning.  Springfield and Holyoke have submitted Draft Facilities Plan/EIR documents.  Chicopee is still in the process of doing the work to support their DFP/EIR. There are outstanding technical and affordability issues with all three of the CSO communities.  These issues shall be resolved through further planning work, through the MEPA process, and further regulatory meetings/negotiations.

The final facility plans, which are now expected to be filed in late 2001 or early 2002, have been delayed to allow the communities to collaborate on a receiving water quality modeling project.  The receiving water model, which was developed for the Springfield plan, is being expanded to include the regional area from the Holyoke CSOs (upstream of the Holyoke Dam) south to the CT line.  The modeling project, which includes some dry and wet weather instream sampling, CSO sampling, and stormdrain sampling, will allow for an improved understanding of the collective impacts of regional CSO abatement strategies.

In the CSO impact area, the Connecticut River is Class B.  A CSO-impacted segment can only be reclassified to B (CSO) or B (partial) or C if the findings of the facility planning efforts identify levels of CSO control reflective of those classifications to be the highest feasible level of control.  The final facilities plan also needs to support a Use Attainability Analysis in this regard as well (Brander 2000).

There are three major hydropower projects on the Connecticut River which operate under permits issued by the Federal Energy Regulatory Commission (FERC). The licenses for these facilities were initially issued in the period 1950-1960 and are valid for 30-50 years.  The licenses are currently undergoing reissuance and will be conditioned to significantly reduce environmental impacts (e.g., hydromodification, erosion, etc.).

Four of the 14 municipal wastewater treatment plants in the Connecticut River Basin submit quarterly toxicity testing reports to EPA and MA DEP as required by their NPDES permits. Data from these toxicity reports are maintained by DWM in a database entitled “Toxicity Testing Data - TOXTD”.  Information from the reports includes: survival of test organisms exposed to ambient river water (used as dilution water), physicochemical analysis (e.g., hardness, alkalinity, pH, total suspended solids) of the dilution water, and the whole effluent toxicity test results.  These data were reviewed and summarized (ranges) for use in the assessment of current water quality conditions in the Connecticut River Basin.  These include:

- Holyoke Water Pollution Control Facility (WPCF) (MA0101630)

- Chicopee Water Pollution Control District (WPCD) (MA0101508)

- Springfield Regional Wastewater Treatment Plant (WWTP) (MA0101613)

- Belchertown WWTP (MA0102148)

The ten smaller municipal wastewater treatment plants in the Connecticut River Basin submit semi-annual toxicity testing reports to EPA and MA DEP. These include:

- Northfield WPCF (MA0100200)

- Montague WPCF (MA0100137)

- South Deerfield WWTP (MA0101648)

- Sunderland Waste Water Treatment Facility (WWTF) (MA0101079)

- Amherst WWTP (MA0100218)

- Hatfield WWTF (MA0101290)

- Northampton Publicly Owned Treatment Works (POTW) (MA0101818)

- Hadley WWTP (MA0100099)

- Easthampton WWTP (MA0101478)

- South Hadley WWTP (MA0100455)

Three industrial NPDES discharges also conduct toxicity testing of their effluents.  These include:

- Esleek Paper Company (MA0005011)

- Northfield Mt. Hermon (MA0032573)

- University of Massachusetts Coal Storage & Handling facility (MA0032689)

The following minor NPDES facilities are also listed as discharging in the Connecticut River Basin (McCollum 2000, MA DEP 2000c and 2000d).  Some discharge into rivers not assessed in this report.  These facilities include:

- MA0001503  JPS Elastomerics Corp. in Easthampton (Wilton Brook)

- MA0003735  Rexham Graphics, Inc., South Hadley (Buttery Brook)

- MA0034584  Auth Fuels, Inc., East Longmeadow (Pecousic Brook)

- MA0031313  Redwing Meadow Farm Fish Hatchery, Sunderland (unnamed tributary to Mill River)

- MA0026034  Hillside Nursing Home, South Deerfield (tributary to Connecticut River)

- MA0103195  Hendricks St. Wellfield, Easthampton (Broad Brook)

Registration and permit files (both public water suppliers and other industrial users) were reviewed to determine where stream segments might be affected by water withdrawal activities (LeVangie 2000, MA DEP 2000d, and McCollum 2000).   The information is summarized in the segments where the withdrawals occur.

OBJECTIVES

This report summarizes information generated in the Connecticut River Basin through Year 1 (information gathering in 1997) and Year 2 (environmental monitoring in 1998) activities established in the “Five-year Cycle” of the Watershed Initiative.  Data collected by DWM in 1998 was limited to synoptic lake surveys.  Together with other sources of information (identified in each segment assessment), the status of water quality conditions of lakes and rivers in the Connecticut River Basin was assessed in accordance with EPA’s and MA DEP’s use assessment methods. Not all waters in the Connecticut River Basin are included in the MA DEP/EPA Water Body System (WBS) database or this report.

The objectives of this water quality assessment report are to:

- Evaluate whether or not rivers and lakes in the Connecticut River Basin, defined as segments in the WBS database, currently support their designated uses (i.e., meet water quality standards),

- identify water withdrawals and/or major point (wastewater discharges) and nonpoint (land-use practices, stormwater discharges, etc.) sources of pollution that may impair water quality conditions,

- identify the presence or absence of any non-native macrophytes in lakes,

- identify waters (or segments) of concern that require additional data to fully assess water quality conditions,

- recommend additional monitoring needs and/or remediation actions in order to better determine the level of impairment or to improve/restore water quality, and

- provide information to the Connecticut River Watershed Team for use in its annual and 5-year watershed action plan.

Report Format

The rivers assessed in the Connecticut River Basin are presented in the Connecticut River Basin – River Segment Assessments section of this report.  The rivers segments are ordered according to the Massachusetts Stream Classification Program (Halliwell et al. 1982) hierarchy, hydrologically (from most upstream to downstream).  Summaries for tributary streams follow the segment into which they discharge. Each stream segment summary is formatted as follows:

Segment identification

Name, water body identification number (WBID), location, length/size, classification.

Sources of information: coding system (waterbody identification number e.g., MA34-01) used by DEP to reference the stream segment in databases such as 305(b) and 303(d), the Massachusetts SWQS (MA DEP 1996), and other descriptive information.

Segment description

Major land-use estimates (the top three uses for the subwatershed) and other descriptive information.

Sources of information: descriptive information from USGS topographical maps, base geographic data from MassGIS, land use statistics from a GIS analysis using the MassGIS land use coverage developed at a scale of 1:25,000 and based on aerial photographs taken in 1985 and 1990-1992 (EOEA 1999a), WERO descriptive information (McCollum 2000).

Segment locator map

Subbasin map, major river location, segment origin and termination points, and segment drainage area (gray shaded).

Sources of information: MassGIS (EOEA 1999b) data layers (stream/lake segments, and quadrangle maps).

Water withdrawals and wastewater discharge permit information

Water withdrawal, NPDES wastewater discharge, and hazardous waste site summaries.

- Sources of information: WMA Database Printout (LeVangie 2000); open permit files located in Worcester and Springfield DEP Offices (MA DEP 2000c and d and McCollum 2000).

### Use assessment

Aquatic Life, Fish Consumption, Drinking Water (where applicable), Primary Contact, Secondary Contact, and Aesthetics.

Sources of information include: synoptic lake survey data (MA DEP 1998) data and from the DEP DWM Toxicity Testing Database “TOXTD”, the MA DPH Freshwater Fish Consumption Advisory List (MA DPH 1999) was used to determine the Fish Consumption Use.  Where other sources of information were used to assess designated uses, citations are included.

### Summary

Use summary table (uses, status, causes and sources of impairment).

### Recommendations

Additional monitoring and implementation needs.

The assessment of lakes in the Connecticut River Basin is provided in the Connecticut River Basin – Lakes section of this report.