|  |
| --- |
| UST Owner/Operator Requirements:1. Respond to every leak detection system alarm that may indicate the presence of leakage or a release.
2. Within 72 hours of alarm, conclude an investigation to determine whether there is a release or leakage from the UST system.
3. If unable to determine there was **not** a release or leakage, conduct and pass a tightness test within 72 hours of concluding the investigation.
4. Any failed tightness test requires compliance with 310 CMR 80.33 within 24 hours of obtaining knowledge of a release, or 72 hours of obtaining knowledge of leakage.
5. Maintain all records in a hard copy or electronic log for a minimum of four years.
 |
|   |
| Facility Name |       | UST ID# |       |
|  |
| **Date** of Alarm |       | **Date** Investigation Concluded |       |
| Investigation Determination: | [ ]  No release or leakage. [ ]  Unable to determine there was **not** a release or leakage (Tightness Testing Required within **72 hours** of determination). |
| Basis for Determination:       |
| If Required, Tightness Test **Date** |       | **Test Results** (attached) | [ ]  Pass  | [ ]  Fail: Release |
| [ ]  Fail: Leakage |
| Failed Test: Release | All product removed from UST within **24 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |       |
| Failed Test: Leakage | All product removed from UST within **72 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |       |
|  |
| **Date** of Alarm: |       | **Date** Investigation Concluded: |       |
| Investigation Determination: | [ ]  No release or leakage. [ ]  Unable to determine there was **not** a release or leakage (Tightness Testing Required within **72 hours** of determination). |
| Basis for Determination:       |
| If Required, Tightness Test **Date** |       | **Test Results** (attached) | [ ]  Pass  | [ ]  Fail: Release |
| [ ]  Fail: Leakage |
| Failed Test: Release | All product removed from UST within **24 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |       |
| Failed Test: Leakage | All product removed from UST within **72 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |       |
|  |
| Facility Name |       | UST ID# |       |
|  |
| **Date** of Alarm |       | **Date** Investigation Concluded |       |
| Investigation Determination: | [ ]  No release or leakage. [ ]  Unable to determine there was **not** a release or leakage (Tightness Testing Required within **72 hours** of determination). |
| Basis for Determination:       |
| If Required, Tightness Test **Date** |       | **Test Results** (attached) | [ ]  Pass  | [ ]  Fail: Release |
| [ ]  Fail: Leakage |
| Failed Test: Release | All product removed from UST within **24 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |       |
| Failed Test: Leakage | All product removed from UST within **72 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |       |
|  |
| **Date** of Alarm |       | **Date** Investigation Concluded |       |
| Investigation Determination | [ ]  No release or leakage. [ ]  Unable to determine there was **not** a release or leakage (Tightness Testing Required within **72 hours** of determination). |
| Basis for Determination:       |
| If Required, Tightness Test **Date** |       | **Test Results** (attached) | [ ]  Pass  | [ ]  Fail: Release |
| [ ]  Fail: Leakage |
| Failed Test: Release | All product removed from UST within **24 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |       |
| Failed Test: Leakage | All product removed from UST within **72 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |       |