|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| UST Owner/Operator Requirements:   1. Respond to every leak detection system alarm that may indicate the presence of leakage or a release. 2. Within 72 hours of alarm, conclude an investigation to determine whether there is a release or leakage from the UST system. 3. If unable to determine there was **not** a release or leakage, conduct and pass a tightness test within 72 hours of concluding the investigation. 4. Any failed tightness test requires compliance with 310 CMR 80.33 within 24 hours of obtaining knowledge of a release, or 72 hours of obtaining knowledge of leakage. 5. Maintain all records in a hard copy or electronic log for a minimum of four years. | | | | | | | | | | | | | | | |
|  | | | | | | | | | | | | | | | |
| Facility Name |  | | | | | | | | UST ID# | | | |  | | |
|  | | | | | | | | | | | | | | | |
| **Date** of Alarm |  | | | | **Date** Investigation Concluded | | | | | | | |  | | |
| Investigation Determination: | No release or leakage.  Unable to determine there was **not** a release or leakage (Tightness Testing Required within **72 hours** of determination). | | | | | | | | | | | | | | |
| Basis for Determination: | | | | | | | | | | | | | | | |
| If Required, Tightness Test **Date** | | |  | **Test Results** (attached) | | | | | | | Pass | Fail: Release | | | |
| Fail: Leakage | | | |
| Failed Test: Release | | All product removed from UST within **24 hours** of failed test? | | | | | Yes | No | | **Date** Removed (HW Manifest attached) | | | | |  |
| Failed Test: Leakage | | All product removed from UST within **72 hours** of failed test? | | | | | Yes | No | | **Date** Removed (HW Manifest attached) | | | | |  |
|  | | | | | | | | | | | | | | | |
| **Date** of Alarm: |  | | | | | **Date** Investigation Concluded: | | | | | | |  | | |
| Investigation Determination: | No release or leakage.  Unable to determine there was **not** a release or leakage (Tightness Testing Required within **72 hours** of determination). | | | | | | | | | | | | | | |
| Basis for Determination: | | | | | | | | | | | | | | | |
| If Required, Tightness Test **Date** | | |  | **Test Results** (attached) | | | | | | | Pass | Fail: Release | | | |
| Fail: Leakage | | | |
| Failed Test: Release | | All product removed from UST within **24 hours** of failed test? | | | | | Yes | No | | **Date** Removed (HW Manifest attached) | | | | |  |
| Failed Test: Leakage | | All product removed from UST within **72 hours** of failed test? | | | | | Yes | No | | **Date** Removed (HW Manifest attached) | | | | |  |
|  | | | | | | | | | | | | | | | |
| Facility Name |  | | | | | | | | UST ID# | | | |  | | |
|  | | | | | | | | | | | | | | | |
| **Date** of Alarm |  | | | | **Date** Investigation Concluded | | | | | | | |  | | |
| Investigation Determination: | No release or leakage.  Unable to determine there was **not** a release or leakage (Tightness Testing Required within **72 hours** of determination). | | | | | | | | | | | | | | |
| Basis for Determination: | | | | | | | | | | | | | | | |
| If Required, Tightness Test **Date** | | |  | **Test Results** (attached) | | | | | | | Pass | Fail: Release | | | |
| Fail: Leakage | | | |
| Failed Test: Release | | All product removed from UST within **24 hours** of failed test? | | | | | Yes | No | | **Date** Removed (HW Manifest attached) | | | |  | |
| Failed Test: Leakage | | All product removed from UST within **72 hours** of failed test? | | | | | Yes | No | | **Date** Removed (HW Manifest attached) | | | |  | |
|  | | | | | | | | | | | | | | | |
| **Date** of Alarm |  | | | | | **Date** Investigation Concluded | | | | | | |  | | |
| Investigation Determination | No release or leakage.  Unable to determine there was **not** a release or leakage (Tightness Testing Required within **72 hours** of determination). | | | | | | | | | | | | | | |
| Basis for Determination: | | | | | | | | | | | | | | | |
| If Required, Tightness Test **Date** | | |  | **Test Results** (attached) | | | | | | | Pass | Fail: Release | | | |
| Fail: Leakage | | | |
| Failed Test: Release | | All product removed from UST within **24 hours** of failed test? | | | | | Yes | No | | **Date** Removed (HW Manifest attached) | | | |  | |
| Failed Test: Leakage | | All product removed from UST within **72 hours** of failed test? | | | | | Yes | No | | **Date** Removed (HW Manifest attached) | | | |  | |