INDIVIDUAL:                                        Joseph Jones				                                                                                                                              SAMPLE

CPAP MACHINE:  		PHILLIPS RESPIRONICS DREAM STATION with NUANCE PILLOWS MASK

SUPPLIER: 			ACME Home Care

Primary Contact: Matthew 800.555.5555 x12784

Area office: 444.111.1111

ORDERING PHYSICIAN: 		Dr. James Doctor

DEVICE NAME/ORDER: 		Auto CPAP 4-10cm H2O

2 YEAR WARRANTY AS OF 12/4/2017. DEVICE REPLACEMENT EVERY 5 YEARS.

PARTS REPLCEMENT SCHEDULE 2018:

|  | JANUARY | FEBRUARY | MARCH | APRIL | MAY | JUNE | JULY | AUGUST | SEPTEMBER | OCTOBER | NOVEMBER | DECEMBER |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MASK |  |  | REPLACE |  |  | REPLACE |  |  | REPLACE |  |  | REPLACE |
| STAFF INITIALS: |  |  |  |  |  |  |  |  |  |  |  |  |
| PILLOWS REPLACEMENT CUSHION | 2/MTH | 2/MTH | 2/MTH | 2/MTH | 2/MTH | 2/MTH | 2/MTH | 2/MTH | 2/MTH | 2/MTH | 2/MTH | 2/MTH |
| STAFF INITIALS: |  |  |  |  |  |  |  |  |  |  |  |  |
| HEADGEAR |  |  |  |  |  | REPLACE |  |  |  |  |  | REPLACE |
| STAFF INITIALS: |  |  |  |  |  |  |  |  |  |  |  |  |
| TUBING |  |  | REPLACE |  |  | REPLACE |  |  | REPLACE |  |  | REPLACE |
| STAFF INITIALS: |  |  |  |  |  |  |  |  |  |  |  |  |
| FILTER (DISPOSABLE) | 2/MTH | 2/MTH | 2/MTH | 2/MTH | 2/MTH | 2/MTH | 2/MTH | 2/MTH | 2/MTH | 2/MTH | 2/MTH | 2/MTH |
| STAFF INITIALS: |  |  |  |  |  |  |  |  |  |  |  |  |
| WATER CHAMBER |  |  |  |  |  | REPLACE |  |  |  |  |  | REPLACE |
| STAFF INITIALS: |  |  |  |  |  |  |  |  |  |  |  |  |