## Sheet2
CPS INVENTORY COMPONENT VERIFICATION FORM - (xx-xx-xx Run Date)
|  | LHA |  | Anytown Housing Authority
|  | PROJECT NAME |  | FF: Solar Panel System Removal - Patch Roofs - 2016 245027
|  | FISH NUMBER |  | 245027
WORK PLAN NUMBER
|  | CIMS PROJECT NUMBER(S) |  | 245-667-01-0-15-680
|  | DEVELOPMENTS |  | 667-1
FACILITY NUMBER LEGEND:
|  | Facility Number |  |  |  | Facility Name |  |  | Address Line 1
|  | 245-667-01-001 |  |  |  | 75 MILL ST - 1 |  |  | 75 MILL ST
|  | 245-667-01-002 |  |  |  | 75 MILL ST - 2 |  |  | 75 MILL ST
|  | 245-667-01-003 |  |  |  | 75 MILL ST - 3 |  |  | 75 MILL ST
|  | 245-667-01-004 |  |  |  | 75 MILL ST - 4 |  |  | 75 MILL ST
|  | 245-667-01-005 |  |  |  | 75 MILL ST - 5 |  |  | 75 MILL ST
|  | 245-667-01-006 |  |  |  | 75 MILL ST - 6 |  |  | 75 MILL ST
|  | 245-667-01-007 |  |  |  | 75 MILL ST - 7 |  |  | 75 MILL ST
|  | 245-667-01-008 |  |  |  | 75 MILL ST - 8 |  |  | 75 MILL ST
|  | 245-667-01-009 |  |  |  | 75 MILL ST - 9 |  |  | 75 MILL ST
|  | 245-667-01-010 |  |  |  | COMMUNITY BLDG |  |  | 75 MILL ST
|  | 245-667-01-011 |  |  |  | Garage |  |  | 75 Mill Street
|  | 245-667-01-S01 |  |  |  | 75 MILL ST SITE |  |  | 75 MILL ST
FORM INSTRUCTIONS:
INSTRUCTION A. Attached are all of the CPS Inventory Components for the subject Developments for this project. Based on the entire scope of the FISH project, including all alternates and change orders, identify the subject components for each facility and verify and edit the Year Installed and Quantity fields as necessary and provide important Notes that may be informative to the LHA staff.
INSTRUCTION B-1. If only a portion of the subject component(s) were repaired or replaced, copy the component row and edit one row based on the project and edit the other row to reflect the remaining quantity that was not addressed by the project. Provide applicable notes in the "Notes" column indicating location(s). (for example: Units 1,2,3A,4A and 5 only...) INSTRUCTION B-2. If the project addressed components that are not identified in the attached components list then either write in the component, quantity, unit of measure, year installed and note at the bottom of the components list or provide a note next to the component(s) that the project work is related to. (For example: Replacement of Fascia and Rake boards are not in the inventory so provide a note next to the Roofing and/or Siding component: "Replaced 100 LF of Fascia and 100 LF of Rake boarding at Facility # 200-705-01-001 -- Building B......"
INSTRUCTION C. If many of the inventory components in the component list below are NOT applicable to the subject project, they can be deleted in order to simplify the task and decrease the amount of pages that need to be transmitted to the LHA.
INSTRUCTION D. Once the designer has completed this verification/update task, they should sign the form on the Signature page, attach this form to the Certificate of Substantial Completion (CSC) form and submit it electronically in conjunction with the CSC to the LHA who will in turn obtain the DHCD Construction Advisor signature, obtain a LHA Board Vote and electronically transmit it to DHCD along with the CSC. By signing this form the LHA and Designer certify that this form has been completed, reviewed and approved and is attached to the CSC.
q COMPONENTS NOT LISTED
If the subject project addressed components that are NOT identified in the CPS list of Inventory Components below then check the "COMPONENTS NOT LISTED" checkbox above and follow INSTRUCTION B-2 above.
CPS INVENTORY COMPONENT LIST:
| Facility # |  | ID |  | Description |  | Year Installed | Qty |  | Unit | Notes
| 245-667-01-S01 |  | 19 |  | Walkway, Concrete |  | 1980 | 1638 |  | SF
| 245-667-01-S01 |  | 23 |  | Sanitary Sewer Manhole |  | 1980 | 9 |  | EACH
| 245-667-01-S01 |  | 25 |  | Piping, Underground Sewer |  | 1980 | 700 |  | LF
| 245-667-01-S01 |  | 27 |  | Storage Shed (over 120 SF) |  | 1980 | 1 |  | EACH
| 245-667-01-S01 |  | 29 |  | Catch Basin |  | 1980 | 9 |  | EACH
| 245-667-01-S01 |  | 31 |  | Storm Drainage Manhole |  | 1980 | 1 |  | EACH
| 245-667-01-S01 |  | 32 |  | Piping, Stormwater |  | 1980 | 950 |  | LF
| 245-667-01-S01 |  | 34 |  | Piping, Underground Water |  | 1980 | 700 |  | LF
| 245-667-01-S01 |  | 36 |  | Dumpster Location (Enclosure and Pad) |  | 1980 | 2 |  | EACH
| 245-667-01-S01 |  | 42 |  | Exterior Railing, Metal |  | 1980 | 195 |  | LF
| 245-667-01-S01 |  | 46 |  | Ramp, Concrete w/Railings |  | 1980 | 10 |  | LF
| 245-667-01-S01 |  | 222 |  | CATV Feeder Cabling, Underground |  | 1980 | 700 |  | LF
| 245-667-01-S01 |  | 231 |  | Light Pole w/Fixture |  | 1980 | 34 |  | EACH
| 245-667-01-S01 |  | 244 |  | Phone/Data Service, Underground |  | 1980 | 700 |  | LF
| 245-667-01-S01 |  | 256 |  | Electric Feeder Service, Underground |  | 1980 | 700 |  | LF
| 245-667-01-001 |  | 294 |  | Stove, Electric |  | 1996 | 8 |  | EACH | year is an estimate
| 245-667-01-001 |  | 304 |  | Piping, Gas |  | 1980 | 43 |  | LF
| 245-667-01-001 |  | 305 |  | Piping, Heating Water, Copper |  | 1980 | 557 |  | LF
| 245-667-01-001 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 8 |  | EACH
| 245-667-01-001 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 1 |  | EACH | located in boiler room
| 245-667-01-002 |  | 50 |  | Steps, Cast-in-Place Concrete or Masonry |  | 1980 | 2 |  | STEP
| 245-667-01-002 |  | 52 |  | Wood Porch System |  | 1980 | 378 |  | SF | brick patio, not wood porch
| 245-667-01-002 |  | 61 |  | Insulated Metal Chimney |  | 1980 | 50 |  | VLF
| 245-667-01-002 |  | 63 |  | Foundation Walls, Cast-in-Place Concrete |  | 1980 | 364 |  | LF
| 245-667-01-002 |  | 64 |  | Slab on Grade |  | 1980 | 6681 |  | SF
| 245-667-01-002 |  | 67 |  | Pitched Roof |  | 1980 | 8014 |  | SF
| 245-667-01-002 |  | 68 |  | Electric Door Operator |  | 1980 | 2 |  | EACH
| 245-667-01-002 |  | 69 |  | Exterior Single Door, Non-Unit, Other |  | 1980 | 1 |  | EACH
| 245-667-01-002 |  | 71 |  | Exterior Single Door, Unit |  | 1980 | 6 |  | EACH
| 245-667-01-002 |  | 74 |  | Exterior Door, Sliding Glass |  | 1980 | 6 |  | EACH
| 245-667-01-002 |  | 75 |  | Storm/Screen Door |  | 1995 | 6 |  | EACH
| 245-667-01-002 |  | 90 |  | Siding, Wood, T111 |  | 1980 | 3640 |  | SF/WALL
| 245-667-01-002 |  | 99 |  | Window, Double Hung, Large |  | 2007 | 8 |  | EACH
| 245-667-01-002 |  | 100 |  | Window, Double Hung, Medium |  | 2007 | 8 |  | EACH
| 245-667-01-002 |  | 112 |  | Downspouts, Aluminum |  | 2004 | 160 |  | VLF
| 245-667-01-002 |  | 116 |  | Gutters, Aluminum |  | 2004 | 270 |  | LF
| 245-667-01-002 |  | 121 |  | Asphalt Shingle Roof |  | 2004 | 8017 |  | SF
| 245-667-01-002 |  | 131 |  | Kitchen Cabinet, Lower |  | 1998 | 26 |  | LF
| 245-667-01-002 |  | 132 |  | Kitchen Cabinet, Upper |  | 1998 | 44 |  | LF
| 245-667-01-002 |  | 133 |  | Kitchen Countertop |  | 1998 | 38 |  | LF
| 245-667-01-002 |  | 134 |  | Bi-Fold Door |  | 1980 | 22 |  | EACH
| 245-667-01-002 |  | 136 |  | Hinged Single Door, Unit |  | 1980 | 12 |  | EACH
| 245-667-01-002 |  | 140 |  | Carpet, Roll Goods |  | 1980 | 1964 |  | SF
| 245-667-01-002 |  | 145 |  | Vinyl Composition Tile |  | 1980 | 204 |  | SF
| 245-667-01-002 |  | 146 |  | Vinyl Sheet Goods |  | 1980 | 340 |  | SF
| 245-667-01-002 |  | 170 |  | Bathroom Sink |  | 1980 | 6 |  | EACH
| 245-667-01-002 |  | 171 |  | Bathtubs/Showers |  | 1980 | 6 |  | EACH
| 245-667-01-002 |  | 174 |  | Kitchen Sink |  | 1998 | 6 |  | EACH
| 245-667-01-002 |  | 177 |  | Water Closets |  | 2002 | 6 |  | EACH
| 245-667-01-002 |  | 182 |  | DHW Storage Tank, Multiple Apartment |  | 2008 | 6 |  | UNIT | indirect-fired, solar assist
| 245-667-01-002 |  | 190 |  | Boiler Installation, Multiple Apartment, Gas |  | 2008 | 6 |  | UNIT
| 245-667-01-002 |  | 203 |  | Oil Storage Tank, Underground |  | 1980 | 1000 |  | GALLON
| 245-667-01-002 |  | 209 |  | Baseboard/Wall Radiation, Water |  | 1980 | 244 |  | LF
| 245-667-01-002 |  | 215 |  | Bathroom Exhaust Fan |  | 1980 | 6 |  | EACH
| 245-667-01-002 |  | 219 |  | Kitchen Exhaust Fan/Hood |  | 1998 | 6 |  | EACH
| 245-667-01-002 |  | 220 |  | CATV Interior Cabling System |  | 1990 | 8 |  | JACK
| 245-667-01-002 |  | 225 |  | Emergency Call Alarm System |  | 1980 | 6 |  | UNIT
| 245-667-01-002 |  | 230 |  | Ext. Fixture, Incandescent or Fluorescent |  | 1980 | 14 |  | EACH
| 245-667-01-002 |  | 234 |  | Smoke/Heat Detector, Hard-Wired |  | 1980 | 6 |  | EACH
| 245-667-01-002 |  | 235 |  | Fire Alarm System, Zoned, Complete |  | 1980 | 6 |  | UNIT
| 245-667-01-002 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 3 |  | EACH | located in boiler room
| 245-667-01-002 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 20 |  | EACH
| 245-667-01-002 |  | 241 |  | Interior Incandescent Fixture |  | 1980 | 12 |  | EACH
| 245-667-01-002 |  | 245 |  | Telephone Wiring System |  | 1980 | 18 |  | JACK
| 245-667-01-002 |  | 247 |  | Transformer, Dry Type, 1 PH |  | 1980 | 1 |  | EACH
| 245-667-01-002 |  | 252 |  | Panelboard, Main Breaker, 3 Ph, 208V |  | 1980 | 2 |  | EACH | located in boiler room
| 245-667-01-002 |  | 257 |  | Unit Load Center, <100 Amp |  | 1980 | 6 |  | EACH
| 245-667-01-002 |  | 267 |  | Piping, Domestic Water, Copper |  | 1980 | 322 |  | LF
| 245-667-01-002 |  | 273 |  | GFCI Branch Circuit and Device |  | 1980 | 12 |  | EACH
| 245-667-01-002 |  | 274 |  | Piping, Waste, Cast Iron |  | 1980 | 129 |  | LF
| 245-667-01-002 |  | 275 |  | Solar Hot Water Assist. System (Photovoltaics) |  | 2008 | 1 |  | EACH
| 245-667-01-002 |  | 293 |  | Refrigerator |  | 1996 | 6 |  | EACH | year is an estimate
| 245-667-01-002 |  | 294 |  | Stove, Electric |  | 1996 | 6 |  | EACH | year is an estimate
| 245-667-01-002 |  | 304 |  | Piping, Gas |  | 1980 | 51 |  | LF
| 245-667-01-002 |  | 305 |  | Piping, Heating Water, Copper |  | 1980 | 464 |  | LF
| 245-667-01-002 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 6 |  | EACH
| 245-667-01-002 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 1 |  | EACH | located in boiler room
| 245-667-01-003 |  | 50 |  | Steps, Cast-in-Place Concrete or Masonry |  | 1980 | 2 |  | STEP
| 245-667-01-003 |  | 52 |  | Wood Porch System |  | 1980 | 378 |  | SF | brick patio, not wood porch
| 245-667-01-003 |  | 61 |  | Insulated Metal Chimney |  | 1980 | 50 |  | VLF
| 245-667-01-003 |  | 63 |  | Foundation Walls, Cast-in-Place Concrete |  | 1980 | 364 |  | LF
| 245-667-01-003 |  | 64 |  | Slab on Grade |  | 1980 | 6681 |  | SF
| 245-667-01-003 |  | 67 |  | Pitched Roof |  | 1980 | 8014 |  | SF
| 245-667-01-003 |  | 68 |  | Electric Door Operator |  | 1980 | 2 |  | EACH
| 245-667-01-003 |  | 69 |  | Exterior Single Door, Non-Unit, Other |  | 1980 | 1 |  | EACH
| 245-667-01-003 |  | 71 |  | Exterior Single Door, Unit |  | 1980 | 6 |  | EACH
| 245-667-01-003 |  | 74 |  | Exterior Door, Sliding Glass |  | 1980 | 6 |  | EACH
| 245-667-01-003 |  | 75 |  | Storm/Screen Door |  | 1995 | 6 |  | EACH
| 245-667-01-003 |  | 90 |  | Siding, Wood, T111 |  | 1980 | 3640 |  | SF/WALL
| 245-667-01-003 |  | 99 |  | Window, Double Hung, Large |  | 2007 | 8 |  | EACH
| 245-667-01-003 |  | 100 |  | Window, Double Hung, Medium |  | 2007 | 8 |  | EACH
| 245-667-01-003 |  | 112 |  | Downspouts, Aluminum |  | 2004 | 160 |  | VLF
| 245-667-01-003 |  | 116 |  | Gutters, Aluminum |  | 2004 | 270 |  | LF
| 245-667-01-003 |  | 121 |  | Asphalt Shingle Roof |  | 2004 | 8017 |  | SF
| 245-667-01-003 |  | 131 |  | Kitchen Cabinet, Lower |  | 1998 | 26 |  | LF
| 245-667-01-003 |  | 132 |  | Kitchen Cabinet, Upper |  | 1998 | 44 |  | LF
| 245-667-01-003 |  | 133 |  | Kitchen Countertop |  | 1998 | 38 |  | LF
| 245-667-01-003 |  | 134 |  | Bi-Fold Door |  | 1980 | 22 |  | EACH
| 245-667-01-003 |  | 136 |  | Hinged Single Door, Unit |  | 1980 | 12 |  | EACH
| 245-667-01-003 |  | 140 |  | Carpet, Roll Goods |  | 1980 | 1964 |  | SF
| 245-667-01-003 |  | 145 |  | Vinyl Composition Tile |  | 1980 | 204 |  | SF
| 245-667-01-003 |  | 146 |  | Vinyl Sheet Goods |  | 1980 | 340 |  | SF
| 245-667-01-003 |  | 170 |  | Bathroom Sink |  | 1980 | 6 |  | EACH
| 245-667-01-003 |  | 171 |  | Bathtubs/Showers |  | 1980 | 6 |  | EACH
| 245-667-01-003 |  | 174 |  | Kitchen Sink |  | 1998 | 6 |  | EACH
| 245-667-01-003 |  | 177 |  | Water Closets |  | 2002 | 6 |  | EACH
| 245-667-01-003 |  | 182 |  | DHW Storage Tank, Multiple Apartment |  | 2008 | 6 |  | UNIT | indirect-fired, solar assist
| 245-667-01-003 |  | 190 |  | Boiler Installation, Multiple Apartment, Gas |  | 2008 | 6 |  | UNIT
| 245-667-01-003 |  | 203 |  | Oil Storage Tank, Underground |  | 1980 | 1000 |  | GALLON
| 245-667-01-003 |  | 209 |  | Baseboard/Wall Radiation, Water |  | 1980 | 244 |  | LF
| 245-667-01-003 |  | 215 |  | Bathroom Exhaust Fan |  | 1980 | 6 |  | EACH
| 245-667-01-003 |  | 219 |  | Kitchen Exhaust Fan/Hood |  | 1998 | 6 |  | EACH
| 245-667-01-003 |  | 220 |  | CATV Interior Cabling System |  | 1990 | 8 |  | JACK
| 245-667-01-003 |  | 225 |  | Emergency Call Alarm System |  | 1980 | 6 |  | UNIT
| 245-667-01-003 |  | 230 |  | Ext. Fixture, Incandescent or Fluorescent |  | 1980 | 14 |  | EACH
| 245-667-01-003 |  | 234 |  | Smoke/Heat Detector, Hard-Wired |  | 1980 | 6 |  | EACH
| 245-667-01-003 |  | 235 |  | Fire Alarm System, Zoned, Complete |  | 1980 | 6 |  | UNIT
| 245-667-01-003 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 3 |  | EACH | located in boiler room
| 245-667-01-003 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 20 |  | EACH
| 245-667-01-003 |  | 241 |  | Interior Incandescent Fixture |  | 1980 | 12 |  | EACH
| 245-667-01-003 |  | 245 |  | Telephone Wiring System |  | 1980 | 18 |  | JACK
| 245-667-01-003 |  | 247 |  | Transformer, Dry Type, 1 PH |  | 1980 | 1 |  | EACH
| 245-667-01-003 |  | 252 |  | Panelboard, Main Breaker, 3 Ph, 208V |  | 1980 | 2 |  | EACH | located in boiler room
| 245-667-01-003 |  | 257 |  | Unit Load Center, <100 Amp |  | 1980 | 6 |  | EACH
| 245-667-01-003 |  | 267 |  | Piping, Domestic Water, Copper |  | 1980 | 322 |  | LF
| 245-667-01-003 |  | 273 |  | GFCI Branch Circuit and Device |  | 1980 | 12 |  | EACH
| 245-667-01-003 |  | 274 |  | Piping, Waste, Cast Iron |  | 1980 | 129 |  | LF
| 245-667-01-003 |  | 275 |  | Solar Hot Water Assist. System (Photovoltaics) |  | 2008 | 1 |  | EACH
| 245-667-01-003 |  | 293 |  | Refrigerator |  | 1996 | 6 |  | EACH | year is an estimate
| 245-667-01-003 |  | 294 |  | Stove, Electric |  | 1996 | 6 |  | EACH | year is an estimate
| 245-667-01-003 |  | 304 |  | Piping, Gas |  | 1980 | 51 |  | LF
| 245-667-01-003 |  | 305 |  | Piping, Heating Water, Copper |  | 1980 | 464 |  | LF
| 245-667-01-003 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 6 |  | EACH
| 245-667-01-003 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 1 |  | EACH | located in boiler room
| 245-667-01-004 |  | 40 |  | Balcony |  | 1980 | 498 |  | SF
| 245-667-01-004 |  | 44 |  | Exterior Railing, Wood |  | 1980 | 90 |  | LF
| 245-667-01-004 |  | 52 |  | Wood Porch System |  | 1980 | 504 |  | SF | brick patio, not wood porch
| 245-667-01-004 |  | 61 |  | Insulated Metal Chimney |  | 1980 | 30 |  | VLF
| 245-667-01-004 |  | 63 |  | Foundation Walls, Cast-in-Place Concrete |  | 1980 | 446 |  | LF
| 245-667-01-004 |  | 64 |  | Slab on Grade |  | 1980 | 7602 |  | SF
| 245-667-01-004 |  | 67 |  | Pitched Roof |  | 1980 | 9122 |  | SF
| 245-667-01-004 |  | 69 |  | Exterior Single Door, Non-Unit, Other |  | 1980 | 1 |  | EACH
| 245-667-01-004 |  | 71 |  | Exterior Single Door, Unit |  | 1980 | 12 |  | EACH
| 245-667-01-004 |  | 74 |  | Exterior Door, Sliding Glass |  | 1980 | 12 |  | EACH
| 245-667-01-004 |  | 75 |  | Storm/Screen Door |  | 1995 | 12 |  | EACH
| 245-667-01-004 |  | 90 |  | Siding, Wood, T111 |  | 1980 | 6830 |  | SF/WALL
| 245-667-01-004 |  | 95 |  | Window, Awning, Small |  | 1980 | 36 |  | EACH
| 245-667-01-004 |  | 99 |  | Window, Double Hung, Large |  | 2007 | 23 |  | EACH
| 245-667-01-004 |  | 100 |  | Window, Double Hung, Medium |  | 2007 | 8 |  | EACH
| 245-667-01-004 |  | 112 |  | Downspouts, Aluminum |  | 2004 | 340 |  | VLF
| 245-667-01-004 |  | 116 |  | Gutters, Aluminum |  | 2004 | 349 |  | LF
| 245-667-01-004 |  | 121 |  | Asphalt Shingle Roof |  | 2004 | 9122 |  | SF
| 245-667-01-004 |  | 131 |  | Kitchen Cabinet, Lower |  | 1998 | 50 |  | LF
| 245-667-01-004 |  | 132 |  | Kitchen Cabinet, Upper |  | 1998 | 72 |  | LF
| 245-667-01-004 |  | 133 |  | Kitchen Countertop |  | 1998 | 50 |  | LF
| 245-667-01-004 |  | 134 |  | Bi-Fold Door |  | 1980 | 48 |  | EACH
| 245-667-01-004 |  | 136 |  | Hinged Single Door, Unit |  | 1980 | 24 |  | EACH
| 245-667-01-004 |  | 140 |  | Carpet, Roll Goods |  | 1980 | 3378 |  | SF
| 245-667-01-004 |  | 143 |  | Hardwood Floor |  | 1980 | 100 |  | SF | located in stairwells
| 245-667-01-004 |  | 145 |  | Vinyl Composition Tile |  | 1980 | 1020 |  | SF
| 245-667-01-004 |  | 146 |  | Vinyl Sheet Goods |  | 1980 | 540 |  | SF
| 245-667-01-004 |  | 147 |  | Railings, Metal |  | 1980 | 120 |  | LF | ; located in stairwells
| 245-667-01-004 |  | 148 |  | Railings, Wood |  | 1980 | 180 |  | LF | located in stairwells
| 245-667-01-004 |  | 170 |  | Bathroom Sink |  | 1980 | 12 |  | EACH
| 245-667-01-004 |  | 171 |  | Bathtubs/Showers |  | 1980 | 12 |  | EACH
| 245-667-01-004 |  | 174 |  | Kitchen Sink |  | 1998 | 12 |  | EACH
| 245-667-01-004 |  | 177 |  | Water Closets |  | 2002 | 12 |  | EACH
| 245-667-01-004 |  | 182 |  | DHW Storage Tank, Multiple Apartment |  | 2008 | 12 |  | UNIT | indirect-fired, solar assist
| 245-667-01-004 |  | 190 |  | Boiler Installation, Multiple Apartment, Gas |  | 2008 | 12 |  | UNIT
| 245-667-01-004 |  | 203 |  | Oil Storage Tank, Underground |  | 1980 | 1500 |  | GALLON
| 245-667-01-004 |  | 209 |  | Baseboard/Wall Radiation, Water |  | 1980 | 480 |  | LF
| 245-667-01-004 |  | 215 |  | Bathroom Exhaust Fan |  | 1980 | 12 |  | EACH
| 245-667-01-004 |  | 219 |  | Kitchen Exhaust Fan/Hood |  | 1998 | 12 |  | EACH
| 245-667-01-004 |  | 220 |  | CATV Interior Cabling System |  | 1990 | 12 |  | JACK
| 245-667-01-004 |  | 225 |  | Emergency Call Alarm System |  | 1980 | 12 |  | UNIT
| 245-667-01-004 |  | 228 |  | Ext. Fixture, High Pressure Sodium, Building-Mounted |  | 1980 | 4 |  | EACH
| 245-667-01-004 |  | 230 |  | Ext. Fixture, Incandescent or Fluorescent |  | 1980 | 25 |  | EACH
| 245-667-01-004 |  | 234 |  | Smoke/Heat Detector, Hard-Wired |  | 1980 | 12 |  | EACH
| 245-667-01-004 |  | 235 |  | Fire Alarm System, Zoned, Complete |  | 1980 | 12 |  | UNIT
| 245-667-01-004 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 2 |  | EACH | located in storage room
| 245-667-01-004 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 2 |  | EACH | located in stairwells
| 245-667-01-004 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 3 |  | EACH | located in boiler room
| 245-667-01-004 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 40 |  | EACH
| 245-667-01-004 |  | 241 |  | Interior Incandescent Fixture |  | 1980 | 30 |  | EACH
| 245-667-01-004 |  | 245 |  | Telephone Wiring System |  | 1980 | 36 |  | JACK
| 245-667-01-004 |  | 247 |  | Transformer, Dry Type, 1 PH |  | 1980 | 1 |  | EACH
| 245-667-01-004 |  | 252 |  | Panelboard, Main Breaker, 3 Ph, 208V |  | 1980 | 2 |  | EACH | located in boiler room
| 245-667-01-004 |  | 257 |  | Unit Load Center, <100 Amp |  | 1980 | 12 |  | EACH
| 245-667-01-004 |  | 267 |  | Piping, Domestic Water, Copper |  | 1980 | 422 |  | LF
| 245-667-01-004 |  | 273 |  | GFCI Branch Circuit and Device |  | 1980 | 24 |  | EACH
| 245-667-01-004 |  | 274 |  | Piping, Waste, Cast Iron |  | 1980 | 169 |  | LF
| 245-667-01-004 |  | 275 |  | Solar Hot Water Assist. System (Photovoltaics) |  | 2008 | 1 |  | EACH
| 245-667-01-004 |  | 286 |  | Exterior Double Door, Other |  | 1980 | 1 |  | EACH
| 245-667-01-004 |  | 289 |  | Hinged Double Door, Non-Unit |  | 1980 | 1 |  | EACH | located in storage room
| 245-667-01-004 |  | 293 |  | Refrigerator |  | 1996 | 12 |  | EACH | year is an estimate
| 245-667-01-004 |  | 294 |  | Stove, Electric |  | 1996 | 12 |  | EACH | year is an estimate
| 245-667-01-004 |  | 304 |  | Piping, Gas |  | 1980 | 42 |  | LF
| 245-667-01-004 |  | 305 |  | Piping, Heating Water, Copper |  | 1980 | 576 |  | LF
| 245-667-01-004 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 1 |  | EACH | located in boiler room
| 245-667-01-004 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 12 |  | EACH
| 245-667-01-004 |  | 312 |  | Stair Treads, Wood |  | 1980 | 30 |  | EACH | located in stairwells
| 245-667-01-005 |  | 40 |  | Balcony |  | 1980 | 470 |  | SF
| 245-667-01-005 |  | 41 |  | Exterior Canopy |  | 1980 | 140 |  | SF
| 245-667-01-005 |  | 42 |  | Exterior Railing, Metal |  | 1980 | 67 |  | LF
| 245-667-01-005 |  | 44 |  | Exterior Railing, Wood |  | 1980 | 174 |  | LF
| 245-667-01-005 |  | 48 |  | Ramp, Treated Wood |  | 1980 | 87 |  | LF
| 245-667-01-005 |  | 50 |  | Steps, Cast-in-Place Concrete or Masonry |  | 1980 | 1 |  | STEP
| 245-667-01-005 |  | 52 |  | Wood Porch System |  | 1980 | 162 |  | SF | brick patio, not wood porch
| 245-667-01-005 |  | 60 |  | Brick Chimney, Single Flue |  | 1980 | 25 |  | VLF
| 245-667-01-005 |  | 63 |  | Foundation Walls, Cast-in-Place Concrete |  | 1980 | 238 |  | LF
| 245-667-01-005 |  | 64 |  | Slab on Grade |  | 1980 | 3160 |  | SF
| 245-667-01-005 |  | 67 |  | Pitched Roof |  | 1980 | 3792 |  | SF
| 245-667-01-005 |  | 71 |  | Exterior Single Door, Unit |  | 1980 | 6 |  | EACH
| 245-667-01-005 |  | 74 |  | Exterior Door, Sliding Glass |  | 1980 | 4 |  | EACH
| 245-667-01-005 |  | 75 |  | Storm/Screen Door |  | 1995 | 6 |  | EACH
| 245-667-01-005 |  | 90 |  | Siding, Wood, T111 |  | 1980 | 4760 |  | SF/WALL
| 245-667-01-005 |  | 99 |  | Window, Double Hung, Large |  | 2007 | 19 |  | EACH
| 245-667-01-005 |  | 100 |  | Window, Double Hung, Medium |  | 2007 | 7 |  | EACH
| 245-667-01-005 |  | 112 |  | Downspouts, Aluminum |  | 2004 | 160 |  | VLF
| 245-667-01-005 |  | 116 |  | Gutters, Aluminum |  | 2004 | 121 |  | LF
| 245-667-01-005 |  | 121 |  | Asphalt Shingle Roof |  | 2004 | 3792 |  | SF
| 245-667-01-005 |  | 131 |  | Kitchen Cabinet, Lower |  | 1998 | 24 |  | LF
| 245-667-01-005 |  | 132 |  | Kitchen Cabinet, Upper |  | 1998 | 36 |  | LF
| 245-667-01-005 |  | 133 |  | Kitchen Countertop |  | 1998 | 24 |  | LF
| 245-667-01-005 |  | 134 |  | Bi-Fold Door |  | 1980 | 24 |  | EACH
| 245-667-01-005 |  | 136 |  | Hinged Single Door, Unit |  | 1980 | 12 |  | EACH
| 245-667-01-005 |  | 140 |  | Carpet, Roll Goods |  | 1980 | 1650 |  | SF
| 245-667-01-005 |  | 143 |  | Hardwood Floor |  | 1980 | 50 |  | SF | located in stairwell
| 245-667-01-005 |  | 145 |  | Vinyl Composition Tile |  | 1980 | 612 |  | SF
| 245-667-01-005 |  | 146 |  | Vinyl Sheet Goods |  | 1980 | 180 |  | SF
| 245-667-01-005 |  | 147 |  | Railings, Metal |  | 1980 | 32 |  | LF | ; located in stairwell
| 245-667-01-005 |  | 170 |  | Bathroom Sink |  | 1980 | 6 |  | EACH
| 245-667-01-005 |  | 171 |  | Bathtubs/Showers |  | 1980 | 6 |  | EACH
| 245-667-01-005 |  | 174 |  | Kitchen Sink |  | 1998 | 6 |  | EACH
| 245-667-01-005 |  | 177 |  | Water Closets |  | 2002 | 6 |  | EACH
| 245-667-01-005 |  | 182 |  | DHW Storage Tank, Multiple Apartment |  | 2008 | 6 |  | UNIT | indirect-fired, solar assist
| 245-667-01-005 |  | 190 |  | Boiler Installation, Multiple Apartment, Gas |  | 2008 | 6 |  | UNIT
| 245-667-01-005 |  | 203 |  | Oil Storage Tank, Underground |  | 1980 | 1000 |  | GALLON
| 245-667-01-005 |  | 209 |  | Baseboard/Wall Radiation, Water |  | 1980 | 240 |  | LF
| 245-667-01-005 |  | 215 |  | Bathroom Exhaust Fan |  | 1980 | 6 |  | EACH
| 245-667-01-005 |  | 219 |  | Kitchen Exhaust Fan/Hood |  | 1998 | 6 |  | EACH
| 245-667-01-005 |  | 220 |  | CATV Interior Cabling System |  | 1990 | 6 |  | JACK
| 245-667-01-005 |  | 225 |  | Emergency Call Alarm System |  | 1980 | 6 |  | UNIT
| 245-667-01-005 |  | 228 |  | Ext. Fixture, High Pressure Sodium, Building-Mounted |  | 1980 | 4 |  | EACH
| 245-667-01-005 |  | 230 |  | Ext. Fixture, Incandescent or Fluorescent |  | 1980 | 8 |  | EACH
| 245-667-01-005 |  | 234 |  | Smoke/Heat Detector, Hard-Wired |  | 1980 | 6 |  | EACH
| 245-667-01-005 |  | 235 |  | Fire Alarm System, Zoned, Complete |  | 1980 | 6 |  | UNIT
| 245-667-01-005 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 1 |  | EACH | located in stairwell
| 245-667-01-005 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 3 |  | EACH | located in boiler room
| 245-667-01-005 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 18 |  | EACH
| 245-667-01-005 |  | 241 |  | Interior Incandescent Fixture |  | 1980 | 18 |  | EACH
| 245-667-01-005 |  | 245 |  | Telephone Wiring System |  | 1980 | 18 |  | JACK
| 245-667-01-005 |  | 252 |  | Panelboard, Main Breaker, 3 Ph, 208V |  | 1980 | 2 |  | EACH | located in boiler room
| 245-667-01-005 |  | 257 |  | Unit Load Center, <100 Amp |  | 1980 | 6 |  | EACH
| 245-667-01-005 |  | 267 |  | Piping, Domestic Water, Copper |  | 1980 | 278 |  | LF
| 245-667-01-005 |  | 273 |  | GFCI Branch Circuit and Device |  | 1980 | 12 |  | EACH
| 245-667-01-005 |  | 274 |  | Piping, Waste, Cast Iron |  | 1980 | 111 |  | LF
| 245-667-01-005 |  | 275 |  | Solar Hot Water Assist. System (Photovoltaics) |  | 2008 | 1 |  | EACH
| 245-667-01-005 |  | 286 |  | Exterior Double Door, Other |  | 1980 | 1 |  | EACH
| 245-667-01-005 |  | 293 |  | Refrigerator |  | 1996 | 6 |  | EACH | year is an estimate
| 245-667-01-005 |  | 294 |  | Stove, Electric |  | 1996 | 6 |  | EACH | year is an estimate
| 245-667-01-005 |  | 304 |  | Piping, Gas |  | 1980 | 40 |  | LF
| 245-667-01-005 |  | 305 |  | Piping, Heating Water, Copper |  | 1980 | 436 |  | LF
| 245-667-01-005 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 1 |  | EACH | located in boiler room
| 245-667-01-005 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 6 |  | EACH
| 245-667-01-005 |  | 312 |  | Stair Treads, Wood |  | 1980 | 15 |  | EACH | located in stairwell
| 245-667-01-006 |  | 40 |  | Balcony |  | 1980 | 425 |  | SF
| 245-667-01-006 |  | 41 |  | Exterior Canopy |  | 1980 | 140 |  | SF
| 245-667-01-006 |  | 42 |  | Exterior Railing, Metal |  | 1980 | 67 |  | LF
| 245-667-01-006 |  | 44 |  | Exterior Railing, Wood |  | 1980 | 174 |  | LF
| 245-667-01-006 |  | 48 |  | Ramp, Treated Wood |  | 1980 | 87 |  | LF
| 245-667-01-006 |  | 50 |  | Steps, Cast-in-Place Concrete or Masonry |  | 1980 | 2 |  | STEP
| 245-667-01-006 |  | 52 |  | Wood Porch System |  | 1980 | 162 |  | SF | brick patio, not wood porch
| 245-667-01-006 |  | 60 |  | Brick Chimney, Single Flue |  | 1980 | 25 |  | VLF
| 245-667-01-006 |  | 63 |  | Foundation Walls, Cast-in-Place Concrete |  | 1980 | 238 |  | LF
| 245-667-01-006 |  | 64 |  | Slab on Grade |  | 1980 | 3160 |  | SF
| 245-667-01-006 |  | 67 |  | Pitched Roof |  | 1980 | 3792 |  | SF
| 245-667-01-006 |  | 71 |  | Exterior Single Door, Unit |  | 1980 | 6 |  | EACH
| 245-667-01-006 |  | 74 |  | Exterior Door, Sliding Glass |  | 1980 | 3 |  | EACH
| 245-667-01-006 |  | 75 |  | Storm/Screen Door |  | 1995 | 6 |  | EACH
| 245-667-01-006 |  | 90 |  | Siding, Wood, T111 |  | 1980 | 4760 |  | SF/WALL
| 245-667-01-006 |  | 99 |  | Window, Double Hung, Large |  | 2007 | 21 |  | EACH
| 245-667-01-006 |  | 100 |  | Window, Double Hung, Medium |  | 2007 | 7 |  | EACH
| 245-667-01-006 |  | 112 |  | Downspouts, Aluminum |  | 2004 | 160 |  | VLF
| 245-667-01-006 |  | 116 |  | Gutters, Aluminum |  | 2004 | 121 |  | LF
| 245-667-01-006 |  | 121 |  | Asphalt Shingle Roof |  | 2004 | 3792 |  | SF
| 245-667-01-006 |  | 131 |  | Kitchen Cabinet, Lower |  | 1998 | 24 |  | LF
| 245-667-01-006 |  | 132 |  | Kitchen Cabinet, Upper |  | 1998 | 36 |  | LF
| 245-667-01-006 |  | 133 |  | Kitchen Countertop |  | 1998 | 24 |  | LF
| 245-667-01-006 |  | 134 |  | Bi-Fold Door |  | 1980 | 24 |  | EACH
| 245-667-01-006 |  | 136 |  | Hinged Single Door, Unit |  | 1980 | 12 |  | EACH
| 245-667-01-006 |  | 140 |  | Carpet, Roll Goods |  | 1980 | 1650 |  | SF
| 245-667-01-006 |  | 143 |  | Hardwood Floor |  | 1980 | 50 |  | SF | located in stairwell
| 245-667-01-006 |  | 145 |  | Vinyl Composition Tile |  | 1980 | 612 |  | SF
| 245-667-01-006 |  | 146 |  | Vinyl Sheet Goods |  | 1980 | 180 |  | SF
| 245-667-01-006 |  | 147 |  | Railings, Metal |  | 1980 | 32 |  | LF | ; located in stairwell
| 245-667-01-006 |  | 170 |  | Bathroom Sink |  | 1980 | 6 |  | EACH
| 245-667-01-006 |  | 171 |  | Bathtubs/Showers |  | 1980 | 6 |  | EACH
| 245-667-01-006 |  | 174 |  | Kitchen Sink |  | 1998 | 6 |  | EACH
| 245-667-01-006 |  | 177 |  | Water Closets |  | 2002 | 6 |  | EACH
| 245-667-01-006 |  | 182 |  | DHW Storage Tank, Multiple Apartment |  | 2008 | 6 |  | UNIT | indirect-fired, solar assist
| 245-667-01-006 |  | 190 |  | Boiler Installation, Multiple Apartment, Gas |  | 2008 | 6 |  | UNIT
| 245-667-01-006 |  | 203 |  | Oil Storage Tank, Underground |  | 1980 | 1000 |  | GALLON
| 245-667-01-006 |  | 209 |  | Baseboard/Wall Radiation, Water |  | 1980 | 240 |  | LF
| 245-667-01-006 |  | 215 |  | Bathroom Exhaust Fan |  | 1980 | 6 |  | EACH
| 245-667-01-006 |  | 219 |  | Kitchen Exhaust Fan/Hood |  | 1998 | 6 |  | EACH
| 245-667-01-006 |  | 220 |  | CATV Interior Cabling System |  | 1990 | 6 |  | JACK
| 245-667-01-006 |  | 225 |  | Emergency Call Alarm System |  | 1980 | 6 |  | UNIT
| 245-667-01-006 |  | 228 |  | Ext. Fixture, High Pressure Sodium, Building-Mounted |  | 1980 | 4 |  | EACH
| 245-667-01-006 |  | 230 |  | Ext. Fixture, Incandescent or Fluorescent |  | 1980 | 8 |  | EACH
| 245-667-01-006 |  | 234 |  | Smoke/Heat Detector, Hard-Wired |  | 1980 | 6 |  | EACH
| 245-667-01-006 |  | 235 |  | Fire Alarm System, Zoned, Complete |  | 1980 | 6 |  | UNIT
| 245-667-01-006 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 1 |  | EACH | located in stairwell
| 245-667-01-006 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 18 |  | EACH
| 245-667-01-006 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 3 |  | EACH | located in boiler room
| 245-667-01-006 |  | 241 |  | Interior Incandescent Fixture |  | 1980 | 18 |  | EACH
| 245-667-01-006 |  | 245 |  | Telephone Wiring System |  | 1980 | 18 |  | JACK
| 245-667-01-006 |  | 252 |  | Panelboard, Main Breaker, 3 Ph, 208V |  | 1980 | 2 |  | EACH | located in boiler room
| 245-667-01-006 |  | 257 |  | Unit Load Center, <100 Amp |  | 1980 | 6 |  | EACH
| 245-667-01-006 |  | 267 |  | Piping, Domestic Water, Copper |  | 1980 | 278 |  | LF
| 245-667-01-006 |  | 273 |  | GFCI Branch Circuit and Device |  | 1980 | 12 |  | EACH
| 245-667-01-006 |  | 274 |  | Piping, Waste, Cast Iron |  | 1980 | 111 |  | LF
| 245-667-01-006 |  | 275 |  | Solar Hot Water Assist. System (Photovoltaics) |  | 2008 | 1 |  | EACH
| 245-667-01-006 |  | 286 |  | Exterior Double Door, Other |  | 1980 | 1 |  | EACH
| 245-667-01-006 |  | 293 |  | Refrigerator |  | 1996 | 6 |  | EACH | year is an estimate
| 245-667-01-006 |  | 294 |  | Stove, Electric |  | 1996 | 6 |  | EACH | year is an estimate
| 245-667-01-006 |  | 304 |  | Piping, Gas |  | 1980 | 40 |  | LF
| 245-667-01-006 |  | 305 |  | Piping, Heating Water, Copper |  | 1980 | 436 |  | LF
| 245-667-01-006 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 1 |  | EACH | located in boiler room
| 245-667-01-006 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 6 |  | EACH
| 245-667-01-006 |  | 312 |  | Stair Treads, Wood |  | 1980 | 15 |  | EACH | located in stairwell
| 245-667-01-007 |  | 40 |  | Balcony |  | 1980 | 440 |  | SF
| 245-667-01-007 |  | 41 |  | Exterior Canopy |  | 1980 | 140 |  | SF
| 245-667-01-007 |  | 42 |  | Exterior Railing, Metal |  | 1980 | 25 |  | LF
| 245-667-01-007 |  | 44 |  | Exterior Railing, Wood |  | 1980 | 88 |  | LF
| 245-667-01-007 |  | 48 |  | Ramp, Treated Wood |  | 1980 | 87 |  | LF
| 245-667-01-007 |  | 50 |  | Steps, Cast-in-Place Concrete or Masonry |  | 1980 | 1 |  | STEP
| 245-667-01-007 |  | 51 |  | Steps, Treated Wood/Railroad Tie |  | 1980 | 15 |  | STEP
| 245-667-01-007 |  | 52 |  | Wood Porch System |  | 1980 | 243 |  | SF | brick patio, not wood porch
| 245-667-01-007 |  | 60 |  | Brick Chimney, Single Flue |  | 1980 | 25 |  | VLF
| 245-667-01-007 |  | 63 |  | Foundation Walls, Cast-in-Place Concrete |  | 1980 | 238 |  | LF
| 245-667-01-007 |  | 64 |  | Slab on Grade |  | 1980 | 3160 |  | SF
| 245-667-01-007 |  | 67 |  | Pitched Roof |  | 1980 | 3792 |  | SF
| 245-667-01-007 |  | 71 |  | Exterior Single Door, Unit |  | 1980 | 6 |  | EACH
| 245-667-01-007 |  | 74 |  | Exterior Door, Sliding Glass |  | 1980 | 3 |  | EACH
| 245-667-01-007 |  | 75 |  | Storm/Screen Door |  | 1995 | 6 |  | EACH
| 245-667-01-007 |  | 90 |  | Siding, Wood, T111 |  | 1980 | 4760 |  | SF/WALL
| 245-667-01-007 |  | 99 |  | Window, Double Hung, Large |  | 2007 | 21 |  | EACH
| 245-667-01-007 |  | 100 |  | Window, Double Hung, Medium |  | 2007 | 7 |  | EACH
| 245-667-01-007 |  | 112 |  | Downspouts, Aluminum |  | 2004 | 160 |  | VLF
| 245-667-01-007 |  | 116 |  | Gutters, Aluminum |  | 2004 | 121 |  | LF
| 245-667-01-007 |  | 121 |  | Asphalt Shingle Roof |  | 2004 | 3792 |  | SF
| 245-667-01-007 |  | 131 |  | Kitchen Cabinet, Lower |  | 1998 | 24 |  | LF
| 245-667-01-007 |  | 132 |  | Kitchen Cabinet, Upper |  | 1998 | 36 |  | LF
| 245-667-01-007 |  | 133 |  | Kitchen Countertop |  | 1998 | 24 |  | LF
| 245-667-01-007 |  | 134 |  | Bi-Fold Door |  | 1980 | 24 |  | EACH
| 245-667-01-007 |  | 136 |  | Hinged Single Door, Unit |  | 1980 | 12 |  | EACH
| 245-667-01-007 |  | 140 |  | Carpet, Roll Goods |  | 1980 | 1650 |  | SF
| 245-667-01-007 |  | 143 |  | Hardwood Floor |  | 1980 | 50 |  | SF | located in stairwell
| 245-667-01-007 |  | 145 |  | Vinyl Composition Tile |  | 1980 | 612 |  | SF
| 245-667-01-007 |  | 146 |  | Vinyl Sheet Goods |  | 1980 | 180 |  | SF
| 245-667-01-007 |  | 147 |  | Railings, Metal |  | 1980 | 32 |  | LF | ; located in stairwell
| 245-667-01-007 |  | 170 |  | Bathroom Sink |  | 1980 | 6 |  | EACH
| 245-667-01-007 |  | 171 |  | Bathtubs/Showers |  | 1980 | 6 |  | EACH
| 245-667-01-007 |  | 174 |  | Kitchen Sink |  | 1998 | 6 |  | EACH
| 245-667-01-007 |  | 177 |  | Water Closets |  | 2002 | 6 |  | EACH
| 245-667-01-007 |  | 182 |  | DHW Storage Tank, Multiple Apartment |  | 2008 | 6 |  | UNIT | indirect-fired, solar assist
| 245-667-01-007 |  | 190 |  | Boiler Installation, Multiple Apartment, Gas |  | 2008 | 6 |  | UNIT
| 245-667-01-007 |  | 203 |  | Oil Storage Tank, Underground |  | 1980 | 1000 |  | GALLON
| 245-667-01-007 |  | 209 |  | Baseboard/Wall Radiation, Water |  | 1980 | 240 |  | LF
| 245-667-01-007 |  | 215 |  | Bathroom Exhaust Fan |  | 1980 | 6 |  | EACH
| 245-667-01-007 |  | 219 |  | Kitchen Exhaust Fan/Hood |  | 1998 | 6 |  | EACH
| 245-667-01-007 |  | 220 |  | CATV Interior Cabling System |  | 1990 | 6 |  | JACK
| 245-667-01-007 |  | 225 |  | Emergency Call Alarm System |  | 1980 | 6 |  | UNIT
| 245-667-01-007 |  | 228 |  | Ext. Fixture, High Pressure Sodium, Building-Mounted |  | 1980 | 4 |  | EACH
| 245-667-01-007 |  | 230 |  | Ext. Fixture, Incandescent or Fluorescent |  | 1980 | 8 |  | EACH
| 245-667-01-007 |  | 234 |  | Smoke/Heat Detector, Hard-Wired |  | 1980 | 6 |  | EACH
| 245-667-01-007 |  | 235 |  | Fire Alarm System, Zoned, Complete |  | 1980 | 6 |  | UNIT
| 245-667-01-007 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 18 |  | EACH
| 245-667-01-007 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 3 |  | EACH | located in boiler room
| 245-667-01-007 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 1 |  | EACH | located in stairwell
| 245-667-01-007 |  | 241 |  | Interior Incandescent Fixture |  | 1980 | 18 |  | EACH
| 245-667-01-007 |  | 245 |  | Telephone Wiring System |  | 1980 | 18 |  | JACK
| 245-667-01-007 |  | 252 |  | Panelboard, Main Breaker, 3 Ph, 208V |  | 1980 | 2 |  | EACH | located in boiler room
| 245-667-01-007 |  | 257 |  | Unit Load Center, <100 Amp |  | 1980 | 6 |  | EACH
| 245-667-01-007 |  | 267 |  | Piping, Domestic Water, Copper |  | 1980 | 278 |  | LF
| 245-667-01-007 |  | 273 |  | GFCI Branch Circuit and Device |  | 1980 | 12 |  | EACH
| 245-667-01-007 |  | 274 |  | Piping, Waste, Cast Iron |  | 1980 | 111 |  | LF
| 245-667-01-007 |  | 275 |  | Solar Hot Water Assist. System (Photovoltaics) |  | 2008 | 1 |  | EACH
| 245-667-01-007 |  | 286 |  | Exterior Double Door, Other |  | 1980 | 1 |  | EACH
| 245-667-01-007 |  | 293 |  | Refrigerator |  | 1996 | 6 |  | EACH | year is an estimate
| 245-667-01-007 |  | 294 |  | Stove, Electric |  | 1996 | 6 |  | EACH | year is an estimate
| 245-667-01-007 |  | 304 |  | Piping, Gas |  | 1980 | 40 |  | LF
| 245-667-01-007 |  | 305 |  | Piping, Heating Water, Copper |  | 1980 | 436 |  | LF
| 245-667-01-007 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 1 |  | EACH | located in boiler room
| 245-667-01-007 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 6 |  | EACH
| 245-667-01-007 |  | 312 |  | Stair Treads, Wood |  | 1980 | 15 |  | EACH | located in stairwell
| 245-667-01-008 |  | 40 |  | Balcony |  | 1980 | 470 |  | SF
| 245-667-01-008 |  | 41 |  | Exterior Canopy |  | 1980 | 128 |  | SF
| 245-667-01-008 |  | 42 |  | Exterior Railing, Metal |  | 1980 | 67 |  | LF
| 245-667-01-008 |  | 44 |  | Exterior Railing, Wood |  | 1980 | 174 |  | LF
| 245-667-01-008 |  | 48 |  | Ramp, Treated Wood |  | 1980 | 87 |  | LF
| 245-667-01-008 |  | 50 |  | Steps, Cast-in-Place Concrete or Masonry |  | 1980 | 1 |  | STEP
| 245-667-01-008 |  | 51 |  | Steps, Treated Wood/Railroad Tie |  | 1980 | 15 |  | STEP
| 245-667-01-008 |  | 52 |  | Wood Porch System |  | 1980 | 162 |  | SF | brick patio, not wood porch
| 245-667-01-008 |  | 60 |  | Brick Chimney, Single Flue |  | 1980 | 25 |  | VLF
| 245-667-01-008 |  | 63 |  | Foundation Walls, Cast-in-Place Concrete |  | 1980 | 238 |  | LF
| 245-667-01-008 |  | 64 |  | Slab on Grade |  | 1980 | 3160 |  | SF
| 245-667-01-008 |  | 67 |  | Pitched Roof |  | 1980 | 3792 |  | SF
| 245-667-01-008 |  | 71 |  | Exterior Single Door, Unit |  | 1980 | 6 |  | EACH
| 245-667-01-008 |  | 74 |  | Exterior Door, Sliding Glass |  | 1980 | 4 |  | EACH
| 245-667-01-008 |  | 75 |  | Storm/Screen Door |  | 1995 | 6 |  | EACH
| 245-667-01-008 |  | 90 |  | Siding, Wood, T111 |  | 1980 | 4760 |  | SF/WALL
| 245-667-01-008 |  | 99 |  | Window, Double Hung, Large |  | 2007 | 19 |  | EACH
| 245-667-01-008 |  | 100 |  | Window, Double Hung, Medium |  | 2007 | 7 |  | EACH
| 245-667-01-008 |  | 112 |  | Downspouts, Aluminum |  | 2004 | 160 |  | VLF
| 245-667-01-008 |  | 116 |  | Gutters, Aluminum |  | 2004 | 121 |  | LF
| 245-667-01-008 |  | 121 |  | Asphalt Shingle Roof |  | 2004 | 3792 |  | SF
| 245-667-01-008 |  | 131 |  | Kitchen Cabinet, Lower |  | 1998 | 24 |  | LF
| 245-667-01-008 |  | 132 |  | Kitchen Cabinet, Upper |  | 1998 | 36 |  | LF
| 245-667-01-008 |  | 133 |  | Kitchen Countertop |  | 1998 | 24 |  | LF
| 245-667-01-008 |  | 134 |  | Bi-Fold Door |  | 1980 | 24 |  | EACH
| 245-667-01-008 |  | 136 |  | Hinged Single Door, Unit |  | 1980 | 12 |  | EACH
| 245-667-01-008 |  | 140 |  | Carpet, Roll Goods |  | 1980 | 1650 |  | SF
| 245-667-01-008 |  | 143 |  | Hardwood Floor |  | 1980 | 50 |  | SF | located in stairwell
| 245-667-01-008 |  | 145 |  | Vinyl Composition Tile |  | 1980 | 612 |  | SF
| 245-667-01-008 |  | 146 |  | Vinyl Sheet Goods |  | 1980 | 180 |  | SF
| 245-667-01-008 |  | 147 |  | Railings, Metal |  | 1980 | 32 |  | LF | ; located in stairwell
| 245-667-01-008 |  | 170 |  | Bathroom Sink |  | 1980 | 6 |  | EACH
| 245-667-01-008 |  | 171 |  | Bathtubs/Showers |  | 1980 | 6 |  | EACH
| 245-667-01-008 |  | 174 |  | Kitchen Sink |  | 1998 | 6 |  | EACH
| 245-667-01-008 |  | 177 |  | Water Closets |  | 2002 | 6 |  | EACH
| 245-667-01-008 |  | 182 |  | DHW Storage Tank, Multiple Apartment |  | 2008 | 6 |  | UNIT | indirect-fired, solar assist
| 245-667-01-008 |  | 190 |  | Boiler Installation, Multiple Apartment, Gas |  | 2008 | 6 |  | UNIT
| 245-667-01-008 |  | 203 |  | Oil Storage Tank, Underground |  | 1980 | 1000 |  | GALLON
| 245-667-01-008 |  | 209 |  | Baseboard/Wall Radiation, Water |  | 1980 | 240 |  | LF
| 245-667-01-008 |  | 215 |  | Bathroom Exhaust Fan |  | 1980 | 6 |  | EACH
| 245-667-01-008 |  | 219 |  | Kitchen Exhaust Fan/Hood |  | 1998 | 6 |  | EACH
| 245-667-01-008 |  | 220 |  | CATV Interior Cabling System |  | 1990 | 6 |  | JACK
| 245-667-01-008 |  | 225 |  | Emergency Call Alarm System |  | 1980 | 6 |  | UNIT
| 245-667-01-008 |  | 228 |  | Ext. Fixture, High Pressure Sodium, Building-Mounted |  | 1980 | 4 |  | EACH
| 245-667-01-008 |  | 230 |  | Ext. Fixture, Incandescent or Fluorescent |  | 1980 | 8 |  | EACH
| 245-667-01-008 |  | 234 |  | Smoke/Heat Detector, Hard-Wired |  | 1980 | 6 |  | EACH
| 245-667-01-008 |  | 235 |  | Fire Alarm System, Zoned, Complete |  | 1980 | 6 |  | UNIT
| 245-667-01-008 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 3 |  | EACH | located in boiler room
| 245-667-01-008 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 1 |  | EACH | located in stairwell
| 245-667-01-008 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 18 |  | EACH
| 245-667-01-008 |  | 241 |  | Interior Incandescent Fixture |  | 1980 | 18 |  | EACH
| 245-667-01-008 |  | 245 |  | Telephone Wiring System |  | 1980 | 18 |  | JACK
| 245-667-01-008 |  | 252 |  | Panelboard, Main Breaker, 3 Ph, 208V |  | 1980 | 2 |  | EACH | located in boiler room
| 245-667-01-008 |  | 257 |  | Unit Load Center, <100 Amp |  | 1980 | 6 |  | EACH
| 245-667-01-008 |  | 267 |  | Piping, Domestic Water, Copper |  | 1980 | 278 |  | LF
| 245-667-01-008 |  | 273 |  | GFCI Branch Circuit and Device |  | 1980 | 12 |  | EACH
| 245-667-01-008 |  | 274 |  | Piping, Waste, Cast Iron |  | 1980 | 111 |  | LF
| 245-667-01-008 |  | 275 |  | Solar Hot Water Assist. System (Photovoltaics) |  | 2008 | 1 |  | EACH
| 245-667-01-008 |  | 286 |  | Exterior Double Door, Other |  | 1980 | 1 |  | EACH
| 245-667-01-008 |  | 293 |  | Refrigerator |  | 1996 | 6 |  | EACH | year is an estimate
| 245-667-01-008 |  | 294 |  | Stove, Electric |  | 1996 | 6 |  | EACH | year is an estimate
| 245-667-01-008 |  | 304 |  | Piping, Gas |  | 1980 | 40 |  | LF
| 245-667-01-008 |  | 305 |  | Piping, Heating Water, Copper |  | 1980 | 436 |  | LF
| 245-667-01-008 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 6 |  | EACH
| 245-667-01-008 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 1 |  | EACH | located in boiler room
| 245-667-01-008 |  | 312 |  | Stair Treads, Wood |  | 1980 | 15 |  | EACH | located in stairwell
| 245-667-01-009 |  | 40 |  | Balcony |  | 1980 | 585 |  | SF
| 245-667-01-009 |  | 41 |  | Exterior Canopy |  | 1980 | 140 |  | SF
| 245-667-01-009 |  | 42 |  | Exterior Railing, Metal |  | 1980 | 67 |  | LF
| 245-667-01-009 |  | 44 |  | Exterior Railing, Wood |  | 1980 | 346 |  | LF
| 245-667-01-009 |  | 46 |  | Ramp, Concrete w/Railings |  | 1980 | 9 |  | LF
| 245-667-01-009 |  | 48 |  | Ramp, Treated Wood |  | 1980 | 224 |  | LF
| 245-667-01-009 |  | 50 |  | Steps, Cast-in-Place Concrete or Masonry |  | 1980 | 1 |  | STEP
| 245-667-01-009 |  | 52 |  | Wood Porch System |  | 1980 | 162 |  | SF | brick patio, not wood porch
| 245-667-01-009 |  | 60 |  | Brick Chimney, Single Flue |  | 1980 | 25 |  | VLF
| 245-667-01-009 |  | 63 |  | Foundation Walls, Cast-in-Place Concrete |  | 1980 | 238 |  | LF
| 245-667-01-009 |  | 64 |  | Slab on Grade |  | 1980 | 3160 |  | SF
| 245-667-01-009 |  | 67 |  | Pitched Roof |  | 1980 | 3792 |  | SF
| 245-667-01-009 |  | 71 |  | Exterior Single Door, Unit |  | 1980 | 6 |  | EACH
| 245-667-01-009 |  | 74 |  | Exterior Door, Sliding Glass |  | 1980 | 4 |  | EACH
| 245-667-01-009 |  | 75 |  | Storm/Screen Door |  | 1995 | 6 |  | EACH
| 245-667-01-009 |  | 90 |  | Siding, Wood, T111 |  | 1980 | 4760 |  | SF/WALL
| 245-667-01-009 |  | 99 |  | Window, Double Hung, Large |  | 2007 | 19 |  | EACH
| 245-667-01-009 |  | 100 |  | Window, Double Hung, Medium |  | 2007 | 7 |  | EACH
| 245-667-01-009 |  | 112 |  | Downspouts, Aluminum |  | 2004 | 160 |  | VLF
| 245-667-01-009 |  | 116 |  | Gutters, Aluminum |  | 2004 | 121 |  | LF
| 245-667-01-009 |  | 121 |  | Asphalt Shingle Roof |  | 2004 | 3792 |  | SF
| 245-667-01-009 |  | 131 |  | Kitchen Cabinet, Lower |  | 1998 | 24 |  | LF
| 245-667-01-009 |  | 132 |  | Kitchen Cabinet, Upper |  | 1998 | 36 |  | LF
| 245-667-01-009 |  | 133 |  | Kitchen Countertop |  | 1998 | 24 |  | LF
| 245-667-01-009 |  | 134 |  | Bi-Fold Door |  | 1980 | 24 |  | EACH
| 245-667-01-009 |  | 136 |  | Hinged Single Door, Unit |  | 1980 | 12 |  | EACH
| 245-667-01-009 |  | 140 |  | Carpet, Roll Goods |  | 1980 | 1650 |  | SF
| 245-667-01-009 |  | 143 |  | Hardwood Floor |  | 1980 | 50 |  | SF | located in stairwell
| 245-667-01-009 |  | 145 |  | Vinyl Composition Tile |  | 1980 | 612 |  | SF
| 245-667-01-009 |  | 146 |  | Vinyl Sheet Goods |  | 1980 | 180 |  | SF
| 245-667-01-009 |  | 147 |  | Railings, Metal |  | 1980 | 32 |  | LF | ; located in stairwell
| 245-667-01-009 |  | 170 |  | Bathroom Sink |  | 1980 | 6 |  | EACH
| 245-667-01-009 |  | 171 |  | Bathtubs/Showers |  | 1980 | 6 |  | EACH
| 245-667-01-009 |  | 174 |  | Kitchen Sink |  | 1998 | 6 |  | EACH
| 245-667-01-009 |  | 177 |  | Water Closets |  | 2002 | 6 |  | EACH
| 245-667-01-009 |  | 182 |  | DHW Storage Tank, Multiple Apartment |  | 2008 | 6 |  | UNIT | indirect-fired, solar assist
| 245-667-01-009 |  | 190 |  | Boiler Installation, Multiple Apartment, Gas |  | 2008 | 6 |  | UNIT
| 245-667-01-009 |  | 203 |  | Oil Storage Tank, Underground |  | 1980 | 1000 |  | GALLON
| 245-667-01-009 |  | 209 |  | Baseboard/Wall Radiation, Water |  | 1980 | 240 |  | LF
| 245-667-01-009 |  | 215 |  | Bathroom Exhaust Fan |  | 1980 | 6 |  | EACH
| 245-667-01-009 |  | 219 |  | Kitchen Exhaust Fan/Hood |  | 1998 | 6 |  | EACH
| 245-667-01-009 |  | 220 |  | CATV Interior Cabling System |  | 1990 | 6 |  | JACK
| 245-667-01-009 |  | 225 |  | Emergency Call Alarm System |  | 1980 | 6 |  | UNIT
| 245-667-01-009 |  | 228 |  | Ext. Fixture, High Pressure Sodium, Building-Mounted |  | 1980 | 4 |  | EACH
| 245-667-01-009 |  | 230 |  | Ext. Fixture, Incandescent or Fluorescent |  | 1980 | 8 |  | EACH
| 245-667-01-009 |  | 234 |  | Smoke/Heat Detector, Hard-Wired |  | 1980 | 6 |  | EACH
| 245-667-01-009 |  | 235 |  | Fire Alarm System, Zoned, Complete |  | 1980 | 6 |  | UNIT
| 245-667-01-009 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 18 |  | EACH
| 245-667-01-009 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 1 |  | EACH | located in stairwell
| 245-667-01-009 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 3 |  | EACH | located in boiler room
| 245-667-01-009 |  | 241 |  | Interior Incandescent Fixture |  | 1980 | 18 |  | EACH
| 245-667-01-009 |  | 245 |  | Telephone Wiring System |  | 1980 | 18 |  | JACK
| 245-667-01-009 |  | 252 |  | Panelboard, Main Breaker, 3 Ph, 208V |  | 1980 | 2 |  | EACH | located in boiler room
| 245-667-01-009 |  | 257 |  | Unit Load Center, <100 Amp |  | 1980 | 6 |  | EACH
| 245-667-01-009 |  | 267 |  | Piping, Domestic Water, Copper |  | 1980 | 278 |  | LF
| 245-667-01-009 |  | 273 |  | GFCI Branch Circuit and Device |  | 1980 | 12 |  | EACH
| 245-667-01-009 |  | 274 |  | Piping, Waste, Cast Iron |  | 1980 | 111 |  | LF
| 245-667-01-009 |  | 275 |  | Solar Hot Water Assist. System (Photovoltaics) |  | 2008 | 1 |  | EACH
| 245-667-01-009 |  | 286 |  | Exterior Double Door, Other |  | 1980 | 1 |  | EACH
| 245-667-01-009 |  | 293 |  | Refrigerator |  | 1996 | 6 |  | EACH | year is an estimate
| 245-667-01-009 |  | 294 |  | Stove, Electric |  | 1996 | 6 |  | EACH | year is an estimate
| 245-667-01-009 |  | 304 |  | Piping, Gas |  | 1980 | 40 |  | LF
| 245-667-01-009 |  | 305 |  | Piping, Heating Water, Copper |  | 1980 | 436 |  | LF
| 245-667-01-009 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 1 |  | EACH | located in boiler room
| 245-667-01-001 |  | 44 |  | Exterior Railing, Wood |  | 1980 | 15 |  | LF
| 245-667-01-001 |  | 48 |  | Ramp, Treated Wood |  | 1980 | 15 |  | LF
| 245-667-01-001 |  | 50 |  | Steps, Cast-in-Place Concrete or Masonry |  | 1980 | 1 |  | STEP
| 245-667-01-001 |  | 52 |  | Wood Porch System |  | 1980 | 504 |  | SF | brick patio, not wood porch
| 245-667-01-001 |  | 61 |  | Insulated Metal Chimney |  | 1980 | 25 |  | VLF
| 245-667-01-001 |  | 63 |  | Foundation Walls, Cast-in-Place Concrete |  | 1980 | 422 |  | LF
| 245-667-01-001 |  | 64 |  | Slab on Grade |  | 1980 | 7224 |  | SF
| 245-667-01-001 |  | 67 |  | Pitched Roof |  | 1980 | 8669 |  | SF
| 245-667-01-001 |  | 68 |  | Electric Door Operator |  | 1980 | 2 |  | EACH
| 245-667-01-001 |  | 69 |  | Exterior Single Door, Non-Unit, Other |  | 1980 | 1 |  | EACH
| 245-667-01-001 |  | 71 |  | Exterior Single Door, Unit |  | 1980 | 8 |  | EACH
| 245-667-01-001 |  | 74 |  | Exterior Door, Sliding Glass |  | 1980 | 8 |  | EACH
| 245-667-01-001 |  | 75 |  | Storm/Screen Door |  | 1995 | 8 |  | EACH
| 245-667-01-001 |  | 90 |  | Siding, Wood, T111 |  | 1980 | 4220 |  | SF/WALL
| 245-667-01-001 |  | 99 |  | Window, Double Hung, Large |  | 2007 | 16 |  | EACH
| 245-667-01-001 |  | 100 |  | Window, Double Hung, Medium |  | 2007 | 8 |  | EACH
| 245-667-01-001 |  | 112 |  | Downspouts, Aluminum |  | 2004 | 170 |  | VLF
| 245-667-01-001 |  | 116 |  | Gutters, Aluminum |  | 2004 | 284 |  | LF
| 245-667-01-001 |  | 121 |  | Asphalt Shingle Roof |  | 2004 | 8669 |  | SF
| 245-667-01-001 |  | 131 |  | Kitchen Cabinet, Lower |  | 1998 | 34 |  | LF
| 245-667-01-001 |  | 132 |  | Kitchen Cabinet, Upper |  | 1998 | 56 |  | LF
| 245-667-01-001 |  | 133 |  | Kitchen Countertop |  | 1998 | 46 |  | LF
| 245-667-01-001 |  | 134 |  | Bi-Fold Door |  | 1980 | 30 |  | EACH
| 245-667-01-001 |  | 136 |  | Hinged Single Door, Unit |  | 1980 | 16 |  | EACH
| 245-667-01-001 |  | 140 |  | Carpet, Roll Goods |  | 1980 | 2514 |  | SF
| 245-667-01-001 |  | 145 |  | Vinyl Composition Tile |  | 1980 | 408 |  | SF
| 245-667-01-001 |  | 146 |  | Vinyl Sheet Goods |  | 1980 | 400 |  | SF
| 245-667-01-001 |  | 170 |  | Bathroom Sink |  | 1980 | 8 |  | EACH
| 245-667-01-001 |  | 171 |  | Bathtubs/Showers |  | 1980 | 8 |  | EACH
| 245-667-01-001 |  | 174 |  | Kitchen Sink |  | 1998 | 8 |  | EACH
| 245-667-01-001 |  | 177 |  | Water Closets |  | 2002 | 8 |  | EACH
| 245-667-01-001 |  | 182 |  | DHW Storage Tank, Multiple Apartment |  | 2008 | 8 |  | UNIT | indirect-fired, solar assist
| 245-667-01-001 |  | 190 |  | Boiler Installation, Multiple Apartment, Gas |  | 2008 | 8 |  | UNIT
| 245-667-01-001 |  | 203 |  | Oil Storage Tank, Underground |  | 1980 | 1000 |  | GALLON
| 245-667-01-001 |  | 209 |  | Baseboard/Wall Radiation, Water |  | 1980 | 324 |  | LF
| 245-667-01-001 |  | 215 |  | Bathroom Exhaust Fan |  | 1980 | 8 |  | EACH
| 245-667-01-001 |  | 219 |  | Kitchen Exhaust Fan/Hood |  | 1998 | 8 |  | EACH
| 245-667-01-001 |  | 220 |  | CATV Interior Cabling System |  | 1990 | 10 |  | JACK
| 245-667-01-001 |  | 225 |  | Emergency Call Alarm System |  | 1980 | 8 |  | UNIT
| 245-667-01-001 |  | 230 |  | Ext. Fixture, Incandescent or Fluorescent |  | 1980 | 17 |  | EACH
| 245-667-01-001 |  | 234 |  | Smoke/Heat Detector, Hard-Wired |  | 1980 | 8 |  | EACH
| 245-667-01-001 |  | 235 |  | Fire Alarm System, Zoned, Complete |  | 1980 | 8 |  | UNIT
| 245-667-01-001 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 3 |  | EACH | located in boiler room
| 245-667-01-001 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 26 |  | EACH
| 245-667-01-001 |  | 241 |  | Interior Incandescent Fixture |  | 1980 | 18 |  | EACH
| 245-667-01-001 |  | 245 |  | Telephone Wiring System |  | 1980 | 24 |  | JACK
| 245-667-01-001 |  | 252 |  | Panelboard, Main Breaker, 3 Ph, 208V |  | 1980 | 2 |  | EACH | located in boiler room
| 245-667-01-001 |  | 257 |  | Unit Load Center, <100 Amp |  | 1980 | 8 |  | EACH
| 245-667-01-001 |  | 267 |  | Piping, Domestic Water, Copper |  | 1980 | 496 |  | LF
| 245-667-01-001 |  | 273 |  | GFCI Branch Circuit and Device |  | 1980 | 16 |  | EACH
| 245-667-01-001 |  | 274 |  | Piping, Waste, Cast Iron |  | 1980 | 198 |  | LF
| 245-667-01-001 |  | 275 |  | Solar Hot Water Assist. System (Photovoltaics) |  | 2008 | 1 |  | EACH
| 245-667-01-001 |  | 293 |  | Refrigerator |  | 1996 | 8 |  | EACH | year is an estimate
| 245-667-01-009 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 6 |  | EACH
| 245-667-01-009 |  | 312 |  | Stair Treads, Wood |  | 1980 | 15 |  | EACH | located in stairwell
| 245-667-01-010 |  | 41 |  | Exterior Canopy |  | 1980 | 36 |  | SF
| 245-667-01-010 |  | 42 |  | Exterior Railing, Metal |  | 1980 | 44 |  | LF
| 245-667-01-010 |  | 60 |  | Brick Chimney, Single Flue |  | 1980 | 25 |  | VLF
| 245-667-01-010 |  | 63 |  | Foundation Walls, Cast-in-Place Concrete |  | 1980 | 302 |  | LF
| 245-667-01-010 |  | 64 |  | Slab on Grade |  | 1980 | 4510 |  | SF
| 245-667-01-010 |  | 67 |  | Pitched Roof |  | 1980 | 5455 |  | SF
| 245-667-01-010 |  | 68 |  | Electric Door Operator |  | 1980 | 1 |  | EACH
| 245-667-01-010 |  | 70 |  | Exterior Single Door, Non-Unit, Storefront |  | 1980 | 2 |  | EACH
| 245-667-01-010 |  | 74 |  | Exterior Door, Sliding Glass |  | 1980 | 1 |  | EACH
| 245-667-01-010 |  | 90 |  | Siding, Wood, T111 |  | 1980 | 3020 |  | SF/WALL
| 245-667-01-010 |  | 100 |  | Window, Double Hung, Medium |  | 2007 | 2 |  | EACH
| 245-667-01-010 |  | 101 |  | Window, Double Hung, Small |  | 2007 | 7 |  | EACH
| 245-667-01-010 |  | 102 |  | Window, Fixed, Large |  | 2007 | 1 |  | EACH
| 245-667-01-010 |  | 103 |  | Window, Fixed, Medium |  | 2007 | 1 |  | EACH
| 245-667-01-010 |  | 104 |  | Window, Fixed, Small |  | 2007 | 1 |  | EACH
| 245-667-01-010 |  | 105 |  | Window, Hopper, Large |  | 2007 | 4 |  | EACH
| 245-667-01-010 |  | 106 |  | Window, Hopper, Medium |  | 2007 | 11 |  | EACH
| 245-667-01-010 |  | 112 |  | Downspouts, Aluminum |  | 2004 | 50 |  | VLF
| 245-667-01-010 |  | 116 |  | Gutters, Aluminum |  | 2004 | 73 |  | LF
| 245-667-01-010 |  | 121 |  | Asphalt Shingle Roof |  | 2004 | 5455 |  | SF
| 245-667-01-010 |  | 131 |  | Kitchen Cabinet, Lower |  | 1998 | 56 |  | LF
| 245-667-01-010 |  | 132 |  | Kitchen Cabinet, Upper |  | 1980 | 30 |  | LF
| 245-667-01-010 |  | 133 |  | Kitchen Countertop |  | 1998 | 53 |  | LF
| 245-667-01-010 |  | 134 |  | Bi-Fold Door |  | 1980 | 1 |  | EACH
| 245-667-01-010 |  | 135 |  | Hinged Single Door, Non-Unit |  | 1980 | 10 |  | EACH
| 245-667-01-010 |  | 140 |  | Carpet, Roll Goods |  | 1980 | 1540 |  | SF
| 245-667-01-010 |  | 145 |  | Vinyl Composition Tile |  | 1980 | 470 |  | SF
| 245-667-01-010 |  | 146 |  | Vinyl Sheet Goods |  | 1980 | 84 |  | SF
| 245-667-01-010 |  | 170 |  | Bathroom Sink |  | 1980 | 2 |  | EACH
| 245-667-01-010 |  | 172 |  | Clothes Dryer (LHA Owned) |  | 2004 | 3 |  | EACH
| 245-667-01-010 |  | 173 |  | Clothes Washer (LHA Owned) |  | 2004 | 5 |  | EACH
| 245-667-01-010 |  | 174 |  | Kitchen Sink |  | 1980 | 1 |  | EACH
| 245-667-01-010 |  | 177 |  | Water Closets |  | 2008 | 2 |  | EACH
| 245-667-01-010 |  | 190 |  | Boiler Installation, Multiple Apartment, Gas |  | 2007 | 1 |  | UNIT
| 245-667-01-010 |  | 203 |  | Oil Storage Tank, Underground |  | 1980 | 1000 |  | GALLON
| 245-667-01-010 |  | 209 |  | Baseboard/Wall Radiation, Water |  | 1980 | 28 |  | LF
| 245-667-01-010 |  | 211 |  | Fan Coil Units, Heating Only |  | 1980 | 3 |  | EACH
| 245-667-01-010 |  | 215 |  | Bathroom Exhaust Fan |  | 1980 | 2 |  | EACH
| 245-667-01-010 |  | 219 |  | Kitchen Exhaust Fan/Hood |  | 1980 | 1 |  | EACH
| 245-667-01-010 |  | 220 |  | CATV Interior Cabling System |  | 1990 | 2 |  | JACK
| 245-667-01-010 |  | 228 |  | Ext. Fixture, High Pressure Sodium, Building-Mounted |  | 1980 | 4 |  | EACH
| 245-667-01-010 |  | 230 |  | Ext. Fixture, Incandescent or Fluorescent |  | 1980 | 7 |  | EACH
| 245-667-01-010 |  | 234 |  | Smoke/Heat Detector, Hard-Wired |  | 1980 | 5 |  | EACH
| 245-667-01-010 |  | 235 |  | Fire Alarm System, Zoned, Complete |  | 1980 | 1 |  | UNIT
| 245-667-01-010 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 48 |  | EACH
| 245-667-01-010 |  | 241 |  | Interior Incandescent Fixture |  | 1980 | 27 |  | EACH
| 245-667-01-010 |  | 245 |  | Telephone Wiring System |  | 2000 | 7 |  | JACK
| 245-667-01-010 |  | 247 |  | Transformer, Dry Type, 1 PH |  | 1980 | 1 |  | EACH
| 245-667-01-010 |  | 252 |  | Panelboard, Main Breaker, 3 Ph, 208V |  | 1980 | 4 |  | EACH
| 245-667-01-010 |  | 267 |  | Piping, Domestic Water, Copper |  | 1980 | 220 |  | LF
| 245-667-01-010 |  | 268 |  | Mail Box, Interior/Foyer, Multi-Unit |  | 1980 | 62 |  | UNIT
| 245-667-01-010 |  | 273 |  | GFCI Branch Circuit and Device |  | 1980 | 2 |  | EACH
| 245-667-01-010 |  | 274 |  | Piping, Waste, Cast Iron |  | 1980 | 88 |  | LF
| 245-667-01-010 |  | 275 |  | Solar Hot Water Assist. System (Photovoltaics) |  | 2007 | 1 |  | EACH | one tank for each building
| 245-667-01-010 |  | 286 |  | Exterior Double Door, Other |  | 1980 | 1 |  | EACH
| 245-667-01-010 |  | 289 |  | Hinged Double Door, Non-Unit |  | 1980 | 1 |  | EACH
| 245-667-01-010 |  | 293 |  | Refrigerator |  | 1980 | 1 |  | EACH
| 245-667-01-010 |  | 294 |  | Stove, Electric |  | 1980 | 1 |  | EACH
| 245-667-01-010 |  | 304 |  | Piping, Gas |  | 1980 | 41 |  | LF
| 245-667-01-010 |  | 305 |  | Piping, Heating Water, Copper |  | 1980 | 391 |  | LF
| 245-667-01-010 |  | 306 |  | Carbon Monoxide Detector, Battery-Powered |  | 2006 | 1 |  | EACH
| 245-667-01-010 |  | 318 |  | Steps, Pre-Cast Concrete |  | 1980 | 8 |  | FLIGHT
| 245-667-01-011 |  | 63 |  | Foundation Walls, Cast-in-Place Concrete |  | 1980 | 128 |  | LF
| 245-667-01-011 |  | 64 |  | Slab on Grade |  | 1980 | 999 |  | SF
| 245-667-01-011 |  | 67 |  | Pitched Roof |  | 1980 | 1199 |  | SF
| 245-667-01-011 |  | 69 |  | Exterior Single Door, Non-Unit, Other |  | 1980 | 1 |  | EACH
| 245-667-01-011 |  | 72 |  | Garage/Overhead Door |  | 1980 | 2 |  | EACH
| 245-667-01-011 |  | 90 |  | Siding, Wood, T111 |  | 1980 | 1280 |  | SF/WALL
| 245-667-01-011 |  | 100 |  | Window, Double Hung, Medium |  | 1980 | 1 |  | EACH
| 245-667-01-011 |  | 115 |  | Downspouts, PVC |  | 2004 | 20 |  | VLF
| 245-667-01-011 |  | 116 |  | Gutters, Aluminum |  | 2004 | 37 |  | LF
| 245-667-01-011 |  | 121 |  | Asphalt Shingle Roof |  | 2004 | 1199 |  | SF
| 245-667-01-011 |  | 211 |  | Fan Coil Units, Heating Only |  | 1993 | 3 |  | EACH
| 245-667-01-011 |  | 228 |  | Ext. Fixture, High Pressure Sodium, Building-Mounted |  | 1980 | 2 |  | EACH
| 245-667-01-011 |  | 238 |  | Interior Fluorescent Fixture |  | 1980 | 4 |  | EACH
| 245-667-01-011 |  | 241 |  | Interior Incandescent Fixture |  | 1980 | 1 |  | EACH
| 245-667-01-011 |  | 312 |  | Stair Treads, Wood |  | 1980 | 18 |  | EACH
| 245-667-01-S01 |  | 1 |  | Retaining Wall, Cast-in-Place Concrete |  | 1980 | 500 |  | SF
| 245-667-01-S01 |  | 2 |  | Retaining Wall, Concrete Block |  | 1980 | 1608 |  | SF
| 245-667-01-S01 |  | 11 |  | Fence, Wood |  | 1980 | 168 |  | LF
| 245-667-01-S01 |  | 12 |  | Piping, Underground Gas |  | 1980 | 700 |  | LF
| 245-667-01-S01 |  | 14 |  | Roadway/Parking Lot Paving, Asphalt |  | 2003 | 55776 |  | SF
| 245-667-01-S01 |  | 15 |  | Curb, Asphalt |  | 2003 | 1159 |  | LF
| 245-667-01-S01 |  | 16 |  | Curb, Concrete |  | 1980 | 1222 |  | LF
| 245-667-01-S01 |  | 17 |  | Curb, Granite |  | 1980 | 150 |  | LF
| 245-667-01-S01 |  | 18 |  | Walkway, Asphalt |  | 2003 | 7711 |  | SF

## Sheet3
SIGNATURE PAGE - CPS INVENTORY COMPONENT VERIFICATION FORM - (xx-xx-xx Run Date)
By signing this form the parties certify that the information on this form has been updated based on this project and has been reviewed and approved by the LHA and Designer if applicable.
LHA Signature:
Printed Name:
Date:
LHA’s Project Designer Signature:
Printed Name:
Date:
DHCD Construction Advisor Signature:
Printed Name:
Date: