## Input Page
Guideline Version Date: August 28, 2015
RPS Class I 225 CMR 14.00
Solar Carve-Out Phase II
Guideline
Calculation of Annual Compliance Obligations
(Page 1 - Calculation Inputs)
|  | SREC-I Program Capacity Cap, MW | 653.8
|  | SREC-I Program Capacity Overage, MW | 253.8
|  | SREC-II Program Capacity Cap | 946.2
|  | Year in which Goal is to be met | 2020
|  | Cumulative Installed Capacity Target per 225 CMR 15.07(3)(e}3 | SREC-I Overage Distribution Factor | Cumulative Installed Capacity Targets, MW
|  | 2014 | 0 | 85
|  | 2015 | 0.16667 | 230
|  | 2016 | 0.33333 | 362.4
|  | 2017 | 0.5 | 509.1
|  | 2018 | 0.66667 | 654.8
|  | 2019 | 0.83333 | 800.5
|  | 2020 | 1 | 946.2
|  | Solar PV Capacity Factor | 13.21% | 1157.196 | MWh/year per MW
Market Sector SREC Factors
|  | Market Sector A | 1
|  | Market Sector B | 0.9
|  | Market Sector C | 0.8
|  | Managed Growth | 0.7
|  | SREC Term Limit, quarters | 40
|  | Percent of Annual Generation in Quarter (based on NREL data table to right) |  |  | NREL Insolation Data, Worcester, kWh/m2/day (Non-Tracking, Tilt = Latitude)
|  | Q1 | 0.23006 |  | Jan | 3.4 | 0.23006 | Quarterly Contribu-tion to Annual Total
|  | Q2 | 0.28942 |  | Feb | 4.2
|  | Q3 | 0.29314 |  | Mar | 4.8
|  | Q4 | 0.18738 |  | Apr | 5 | 0.28942
[5 empty] | May | 5.2
[5 empty] | Jun | 5.4
[5 empty] | Jul | 5.5 | 0.29314
[5 empty] | Aug | 5.3
[5 empty] | Sep | 5
[5 empty] | Oct | 4.3 | 0.18738
[5 empty] | Nov | 3
[5 empty] | Dec | 2.8
[5 empty] | Annual | 4.5 | 1

## Compliance Obligation Worksheet
RPS Class I 225 CMR 14.00 |  |  |  |  | Data Code | Black | Set Values by Regulation
Solar Carve-Out Phase II | [5 empty] | Red | Values input by DOER over time as provided by regulation
Guideline | [5 empty] | Blue | Calculated Values by formulas in spreadsheet
Calculation of Annual Compliance Obligations
(Page 2 - Compliance Obligation Calculation Spreadsheet)
| Year | 2013 | 2014 | 2014 | 2014 | 2014 | 2015 | 2015 | 2015 | 2015 | 2016 | 2016 | 2016 | 2016 | 2017 | 2017 | 2017 | 2017 | 2018 | 2018 | 2018 | 2018 | 2019 | 2019 | 2019 | 2019 | 2020 | 2020 | 2020 | 2020 | 2021 | 2021 | 2021 | 2021 | 2022 | 2022 | 2022 | 2022 | 2023 | 2023 | 2023 | 2023 | 2024 | 2024 | 2024 | 2024 | 2025 | 2025 | 2025 | 2025 | 2026 | 2026 | 2026 | 2026 | 2027 | 2027 | 2027 | 2027 | 2028 | 2028 | 2028 | 2028 | 2029 | 2029 | 2029 | 2029 | 2030 | 2030 | 2030 | 2030 | 2031 | 2031 | 2031 | 2031
| Quarter | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4
| Program Quarter |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72
Cumulative Installed Capacity Target [per 225 CMR 14.07(3)(e)3]
| Targeted Cumulative Installed Capacity (Annual, End-of-Year) |  | Q1 1: 85; Q1 5: 230; Q1 9: 362.4; Q1 13: 509.1; Q1 17: 654.8; Q1 21: 800.5; Q1 25: 946.2; Q1 29: 946.2; Q1 33: 946.2; Q1 37: 946.2; Q1 41: 946.2; Q1 45: 946.2; Q1 49: 946.2; Q1 53: 946.2; Q1 57: 946.2; Q1 61: 946.2; Q1 65: 946.2; Q1 69: 946.2
Compliance Obligation Terms 225 CMR 14.07(3)(e)1-5
Installed Capacity |  |  | Q1 1: Data to be entered by DOER on a Quarterly Basis during the subsequent quarter
| QUARTERLY Installed Capacities (MW) |  | 5.7966 | 8.1797 | 17.2565 | 23.0494 | 63.532 | 66.7668 | 36.3315 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Market Sector A |  | Q1 1: 0.49356; Q2 2: 6.3597; Q3 3: 11.6728; Q4 4: 19.8362; Q1 5: 29.7281; Q2 6: 42.217; Q3 7: 17.3946
| Market Sector B |  | Q1 1: 5.303; Q2 2: 1.82; Q3 3: 4.9176; Q4 4: 3.1138; Q1 5: 16.9685; Q2 6: 15.325; Q3 7: 5.1607
| Market Sector C |  | Q1 1: 0; Q2 2: 0; Q3 3: 0.66612; Q4 4: 0.099408; Q1 5: 7.8867; Q2 6: 0.4984; Q3 7: 0.50416
| Managed Growth |  | Q1 1: 0; Q2 2: 0; Q3 3: 0; Q4 4: 0; Q1 5: 8.9488; Q2 6: 8.7264; Q3 7: 13.272
Installed Capacity within SREC-II Term Limit 225 CMR 14.07(3)(e)1
| CUMULATIVE Installed Capacities (MW) |  | 5.7966 | 13.9763 | 31.2328 | 54.2822 | 117.8142 | 184.581 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | 220.9125 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Market Sector A |  | 0.49356 | 6.8532 | 18.526 | 38.3622 | 68.0903 | 110.3073 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.7019 | 127.0358 | 126.9364 | 119.0497 | 118.5513 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 118.0471 | 12
| Market Sector B |  | 5.303 | 7.123 | 12.0407 | 15.1544 | 32.123 | 47.4479 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 52.6087 | 43.6599 | 34.9335 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 21.6615 | 13
| Market Sector C |  | 0 | 0 | 0.66612 | 0.76553 | 8.6522 | 9.1506 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | 9.6548 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 14
| Managed Growth |  | 0 | 0 | 0 | 0 | 8.9488 | 17.6752 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | 30.9472 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 15
Qualified but not Installed SREC-II Supply 225 CMR 14.07(3)(e)2 |  |  | Q1 1: New data to be entered by DOER before August 30 of each CY after 2014 in determining Compliance Obligation for the next CY
| QUARTERLY Qualified but not Installed Capacities (MW) | [7 empty] | 13.3457 | 53.3732 | 38.5083 | 67.9661 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Market Sector A |  | Q3 7: 0.37285; Q4 8: 5.645; Q1 9: 3.273; Q2 10: 10.4947
| Market Sector B |  | Q3 7: 2.7867; Q4 8: 2.7986; Q1 9: 5.6013; Q2 10: 3.1919
| Market Sector C |  | Q3 7: 4.2061; Q4 8: 12.493; Q1 9: 4.65; Q2 10: 22.1795
| Managed Growth |  | Q3 7: 5.98; Q4 8: 32.4365; Q1 9: 24.984; Q2 10: 32.1
Projected New Supply 225 CMR 14.07(3)(e)3 |  |  | Q1 1: New data to be entered by DOER before August 30 of each CY after 2014 in determining Compliance Obligation for the next CY
| Maximum New Supply constrained by Cumulative Installed Capacity Targets (MW) |  | Q1 9: -31.7059; Q1 13: 114.9941; Q1 17: 260.6941; Q1 21: 406.3941; Q1 25: 552.0941; Q1 29: 552.0941; Q1 33: 552.0941; Q1 37: 552.0941; Q1 41: 552.0941; Q1 45: 552.0941; Q1 49: 552.0941; Q1 53: 552.0941; Q1 57: 552.0941; Q1 61: 552.0941; Q1 65: 552.0941; Q1 69: 552.0941
| Projected new supply will not be factored into the Compliance Obligation as the amount of installed and qualified capacity exceeds the annual target value |  | Q1 9: Projected Value below shall be no higher than the Target Value above; Q1 13: Projected Value below shall be no higher than the Target Value above; Q1 17: Projected Value below shall be no higher than the Target Value above; Q1 21: Projected Value below shall be no higher than the Target Value above; Q1 25: Projected Value below shall be no higher than the Target Value above; Q1 29: Projected Value below shall be no higher than the Target Value above; Q1 33: Projected Value below shall be no higher than the Target Value above; Q1 37: Projected Value below shall be no higher than the Target Value above; Q1 41: Projected Value below shall be no higher than the Target Value above; Q1 45: Projected Value below shall be no higher than the Target Value above; Q1 49: Projected Value below shall be no higher than the Target Value above; Q1 53: Projected Value below shall be no higher than the Target Value above; Q1 57: Projected Value below shall be no higher than the Target Value above; Q1 61: Projected Value below shall be no higher than the Target Value above; Q1 65: Projected Value below shall be no higher than the Target Value above; Q1 69: Projected Value below shall be no higher than the Target Value above
| ANNUAL Projected New Capacities (MW) |  | Q1 9: 480; Q1 13: 480; Q1 17: 480; Q1 21: 480; Q1 25: 480; Q1 29: 480; Q1 33: 480; Q1 37: 480; Q1 41: 480; Q1 45: 480; Q1 49: 480; Q1 53: 480; Q1 57: 480; Q1 61: 480; Q1 65: 480; Q1 69: 480
| QUARTERLY Projected New Capacities (MW) | [7 empty] | 40 | 85 | 60 | 90 | 90 | 115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Market Sector A |  | Q3 7: 30; Q4 8: 50; Q1 9: 40; Q2 10: 60; Q3 11: 60; Q4 12: 70
| Market Sector B |  | Q3 7: 10; Q4 8: 30; Q1 9: 15; Q2 10: 15; Q3 11: 15; Q4 12: 25
| Market Sector C |  | Q3 7: 0; Q4 8: 5; Q1 9: 5; Q2 10: 15; Q3 11: 15; Q4 12: 20
| Managed Growth |  | Q3 7: 0; Q4 8: 0; Q1 9: 0; Q2 10: 0; Q3 11: 0; Q4 12: 0
Rollover Volumes 225 CMR 14.07(3)(e)4 |  |  | Q1 1: Data to be entered by DOER before August 30 of each CY in determining Compliance Obligation for the next CY
Rollover Volumes (MWh)
| Reminted, Unsettled Auction Attributes from CY-3 |  | Q1 9: N/A
| Reminted, Unsettled Auction Attributes from CY-2 |  | Q1 9: 0
| Banked Volume from CY-2 |  | Q1 9: 41
Third Round Auction Volume Doubling 225 CMR 14.07(3)(e)5 |  |  | Q1 1: Data to be entered by DOER before August 30 of each CY in determining Compliance Obligation for the next CY
| Auction Volume from CY-2, if 3rd Round (MWh) |  | Q1 9: 0
CUMULATIVE Accounting of SREC Supply from Installed, Qualified but not Installed, and Projected New Supply
| Cumulative Capacities by Market Sector (MW) |  | 5.7966 | 13.9763 | 31.2328 | 54.2822 | 117.8142 | 184.581 | 234.2583 | 287.6314 | 326.1398 | 394.1059 | 394.1059 | 394.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | 874.1059 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Market Sector A |  | 0.49356 | 6.8532 | 18.526 | 38.3622 | 68.0903 | 110.3073 | 128.0748 | 133.7198 | 136.9928 | 147.4875 | 147.4875 | 147.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 457.4875 | 456.8214 | 456.722 | 448.8353 | 448.3369 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328 | 447.8328
| Market Sector B |  | 5.303 | 7.123 | 12.0407 | 15.1544 | 32.123 | 47.4479 | 55.3954 | 58.194 | 63.7953 | 66.9873 | 66.9873 | 66.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 176.9873 | 168.0385 | 159.3121 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401 | 146.0401
| Market Sector C |  | 0 | 0 | 0.66612 | 0.76553 | 8.6522 | 9.1506 | 13.8609 | 26.3539 | 31.0039 | 53.1834 | 53.1834 | 53.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | 113.1834 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Managed Growth |  | 0 | 0 | 0 | 0 | 8.9488 | 17.6752 | 36.9272 | 69.3637 | 94.3477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | 126.4477 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| SREC Generation (Actual and Projected) in the Quarter (MWh) |  | 1401.9893 | 4442.385 | 10141.0022 | 11408.7472 | 29333.8901 | 57842.0911 | 72886.613 | 55452.973 | 75940.4743 | 113483.4496 | 114938.3656 | 73473.259 | 211867.0993 | 266542.4797 | 269959.691 | 172569.1696 | 211867.0993 | 266542.4797 | 269959.691 | 172569.1696 | 211867.0993 | 266542.4797 | 269959.691 | 172569.1696 | 211867.0993 | 266542.4797 | 269959.691 | 172569.1696 | 211867.0993 | 266542.4797 | 269959.691 | 172569.1696 | 211867.0993 | 266542.4797 | 269959.691 | 172569.1696 | 211867.0993 | 266542.4797 | 269959.691 | 172569.1696 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Market Sector A |  | 131.394 | 2295.293 | 6284.2989 | 8318.4679 | 18126.9616 | 36944.253 | 43444.9001 | 28995.8021 | 36470.1483 | 49396.7113 | 50030.0025 | 31981.2041 | 121792.0938 | 153222.3116 | 155186.7002 | 99201.6248 | 121792.0938 | 153222.3116 | 155186.7002 | 99201.6248 | 121792.0938 | 153222.3116 | 155186.7002 | 99201.6248 | 121792.0938 | 153222.3116 | 155186.7002 | 99201.6248 | 121792.0938 | 153222.3116 | 155186.7002 | 99201.6248 | 121792.0938 | 153222.3116 | 155186.7002 | 99201.6248 | 121792.0938 | 153222.3116 | 155186.7002 | 99201.6248 | 121792.0938 | 153222.3116 | 154960.7422 | 99035.6277 | 119488.7101 | 150157.5815 | 151911.6583 | 97108.0854 | 119221.8078 | 149988.7259 | 151911.6583 | 97108.0854 | 119221.8078 | 149988.7259 | 151911.6583 | 97108.0854 | 119221.8078 | 149988.7259 | 151911.6583 | 97108.0854 | 119221.8078 | 149988.7259 | 151911.6583 | 97108.0854 | 119221.8078 | 149988.7259 | 151911.6583 | 97108.0854 | 119221.8078 | 149988.7259 | 151911.6583 | 97108.0854
| Market Sector B |  | 1270.5953 | 2147.092 | 3675.9369 | 2957.4816 | 7696.58 | 14302.1958 | 16911.8641 | 11356.9202 | 15285.2084 | 20191.9191 | 20450.7898 | 13072.9733 | 42405.7163 | 53349.1269 | 54033.0901 | 34540.1399 | 42405.7163 | 53349.1269 | 54033.0901 | 34540.1399 | 42405.7163 | 53349.1269 | 54033.0901 | 34540.1399 | 42405.7163 | 53349.1269 | 54033.0901 | 34540.1399 | 42405.7163 | 53349.1269 | 54033.0901 | 34540.1399 | 42405.7163 | 53349.1269 | 54033.0901 | 34540.1399 | 42405.7163 | 53349.1269 | 54033.0901 | 34540.1399 | 42405.7163 | 53349.1269 | 54033.0901 | 34540.1399 | 40261.6058 | 48021.3092 | 44585.1068 | 28500.6062 | 34990.8433 | 44020.7384 | 44585.1068 | 28500.6062 | 34990.8433 | 44020.7384 | 44585.1068 | 28500.6062 | 34990.8433 | 44020.7384 | 44585.1068 | 28500.6062 | 34990.8433 | 44020.7384 | 44585.1068 | 28500.6062 | 34990.8433 | 44020.7384 | 44585.1068 | 28500.6062 | 34990.8433 | 44020.7384 | 44585.1068 | 28500.6062
| Market Sector C |  | 0 | 0 | 180.7664 | 132.7977 | 1842.707 | 2451.7841 | 3761.4627 | 4571.6657 | 6603.0745 | 14249.7933 | 14432.4829 | 9225.8277 | 24105.2942 | 30326.0153 | 30714.8103 | 19634.1509 | 24105.2942 | 30326.0153 | 30714.8103 | 19634.1509 | 24105.2942 | 30326.0153 | 30714.8103 | 19634.1509 | 24105.2942 | 30326.0153 | 30714.8103 | 19634.1509 | 24105.2942 | 30326.0153 | 30714.8103 | 19634.1509 | 24105.2942 | 30326.0153 | 30714.8103 | 19634.1509 | 24105.2942 | 30326.0153 | 30714.8103 | 19634.1509 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Managed Growth |  | 0 | 0 | 0 | 0 | 1667.6415 | 4143.8582 | 8768.3861 | 10528.5851 | 17582.0431 | 29645.0259 | 30025.0903 | 19193.254 | 23563.995 | 29645.0259 | 30025.0903 | 19193.254 | 23563.995 | 29645.0259 | 30025.0903 | 19193.254 | 23563.995 | 29645.0259 | 30025.0903 | 19193.254 | 23563.995 | 29645.0259 | 30025.0903 | 19193.254 | 23563.995 | 29645.0259 | 30025.0903 | 19193.254 | 23563.995 | 29645.0259 | 30025.0903 | 19193.254 | 23563.995 | 29645.0259 | 30025.0903 | 19193.254 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Compliance Obligation Calculation (MWh) |  |  | Q1 1: 2014; Q1 5: 2015; Q1 9: 2016; Q1 13: 2017; Q1 17: 2018; Q1 21: 2019; Q1 25: 2020; Q1 29: 2021; Q1 33: 2022; Q1 37: 2023; Q1 41: 2024; Q1 45: 2025; Q1 49: 2026; Q1 53: 2027; Q1 57: 2028; Q1 61: 2029; Q1 65: 2030; Q1 69: 2031
| SRECs Generation from Installed, Qualified and Projected Supply |  | Q1 1: 27394.1236; Q1 5: 215515.5672; Q1 9: 377835.5485; Q1 13: 920938.4395; Q1 17: 920938.4395; Q1 21: 920938.4395; Q1 25: 920938.4395; Q1 29: 920938.4395; Q1 33: 920938.4395; Q1 37: 920938.4395; Q1 41: #REF!; Q1 45: #REF!; Q1 49: #REF!; Q1 53: #REF!; Q1 57: #REF!; Q1 61: #REF!; Q1 65: #REF!; Q1 69: #REF!
| Rollover Volume |  | Q1 1: 0; Q1 5: 0; Q1 9: 41; Q1 13: 0; Q1 17: 0; Q1 21: 0; Q1 25: 0; Q1 29: 0; Q1 33: 0; Q1 37: 0; Q1 41: 0; Q1 45: 0; Q1 49: 0; Q1 53: 0; Q1 57: 0; Q1 61: 0; Q1 65: 0; Q1 69: 0
| Third Round Auction Volume Doubling |  | Q1 1: 0; Q1 5: 0; Q1 9: 0; Q1 13: 0; Q1 17: 0; Q1 21: 0; Q1 25: 0; Q1 29: 0; Q1 33: 0; Q1 37: 0; Q1 41: 0; Q1 45: 0; Q1 49: 0; Q1 53: 0; Q1 57: 0; Q1 61: 0; Q1 65: 0; Q1 69: 0
Compliance Obligation 225 CMR 14.07(3)(c-e) |  |  | Q1 9: 377876.5485; Q1 13: 920938.4395; Q1 17: 920938.4395; Q1 21: 920938.4395; Q1 25: 920938.4395; Q1 29: 920938.4395; Q1 33: 920938.4395; Q1 37: 920938.4395; Q1 41: #REF!; Q1 45: #REF!; Q1 49: #REF!; Q1 53: #REF!; Q1 57: #REF!; Q1 61: #REF!; Q1 65: #REF!; Q1 69: #REF!
| Compliance Obligations Set in Regulation 225 CMR 14.07(3)(c and d) |  | Q1 1: 41278; Q1 5: 161958; Q1 9: Compliance Obligations are not final until August 30th of the Preceding Year
NOTE: The Compliance Obligation calculated hereby is not strictly the demand for SREC-IIs in the CY. The calculated Compliance Obligation is divided by the retail load in CY-2 [in 225 CMR 14.07(3)(a)] to set the CY Minimum Standard (% of retail load). The actual SREC-II demand is then equal to the actual settled retail load in CY times the Minimum Standard.