## Input Page
Guideline Version Date: July 10,2018
RPS Class I 225 CMR 14.00
Solar Carve-Out II
Guideline
Calculation of Annual Compliance Obligations
(Page 1 - Calculation Inputs)
|  | Solar PV Capacity Factor | 13.71% | 1200.996 | MWh/year per MW
Market Sector SREC Factors
|  | Market Sector A | 1
0.8
0.7
0.65
|  | Market Sector B | 0.9
0.7
0.6
0.55
|  | Market Sector C | 0.8
0.65
0.55
0.5
|  | Managed Growth | 0.7
0.55
0.5
0.45
|  | SREC Term Limit, quarters | 40
|  | Percent of Annual Generation in Quarter (based on NREL data table to right) |  |  | NREL Insolation Data, Worcester, kWh/m2/day (Non-Tracking, Tilt = Latitude)
|  | Q1 | 0.23006 |  | Jan | 3.4 | 0.23006 | Quarterly Contribu-tion to Annual Total
|  | Q2 | 0.28942 |  | Feb | 4.2
|  | Q3 | 0.29314 |  | Mar | 4.8
|  | Q4 | 0.18738 |  | Apr | 5 | 0.28942
[5 empty] | May | 5.2
[5 empty] | Jun | 5.4
[5 empty] | Jul | 5.5 | 0.29314
[5 empty] | Aug | 5.3
[5 empty] | Sep | 5
[5 empty] | Oct | 4.3 | 0.18738
[5 empty] | Nov | 3
[5 empty] | Dec | 2.8
[5 empty] | Annual | 4.5 | 1

## Minimum Standards
RPS Class I 225 CMR 14.00
Solar Carve-Out II
Guideline
Calculation of Annual Compliance Obligations and Minimum Standards
(Page 2 - Minimum Standard by Contract Execution Date)
Contract Execution Date | 2018 Compliance Obligation (MWh) | Total Retail Load Obligation from 2 Years Prior (MWh) | 2018 Minimum Standard (%)
Before 4/25/2014 | 0 | 46864431 | 0%
On or after 4/25/2014 and before 5/8/2016 | 1257046.1266 |  | 2.682%
On or after 5/8/2016 | 1906578.1406 |  | 4.068%
Note: Details behind the calculations used to determine these Compliance Obligations and Minimum Standards can be found in the other worksheets in this workbook

## Compliance Obligation
RPS Class I 225 CMR 14.00 | [5 empty] | Data Code | Black | Set Values by Regulation
Solar Carve-Out II | [6 empty] | Red | Values input by DOER over time as provided by regulation
Guideline | [6 empty] | Blue | Calculated Values by formulas in spreadsheet
Calculation of Annual Compliance Obligations and Minimum Standards
(Page 3 - Compliance Obligation Calculation Spreadsheet)
Note: This worksheet calculates the official 2018 Compliance Obligation and Minimum Standard and includes all SREC II eligible capacity. This Compliance Obligation and Minimum Standard applies to all retail electricity load served under contracts executed on or after 5/8/16.
| Year |  | 2013 | 2014 | 2014 | 2014 | 2014 | 2015 | 2015 | 2015 | 2015 | 2016 | 2016 | 2016 | 2016 | 2017 | 2017 | 2017 | 2017 | 2018 | 2018 | 2018 | 2018 | 2019 | 2019 | 2019 | 2019 | 2020 | 2020 | 2020 | 2020 | 2021 | 2021 | 2021 | 2021 | 2022 | 2022 | 2022 | 2022 | 2023 | 2023 | 2023 | 2023 | 2024 | 2024 | 2024 | 2024 | 2025 | 2025 | 2025 | 2025 | 2026 | 2026 | 2026 | 2026 | 2027 | 2027 | 2027 | 2027
| Quarter |  | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4
| Program Quarter |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56
Compliance Obligation Terms 225 CMR 14.07(3)(e)1-5
Installed Capacity 225 CMR 14.07(3)(e)1 |  |  |  | Q1 1: Data to be entered by DOER on a Quarterly Basis during the subsequent quarter
| QUARTERLY Installed Capacities (MW) |  |  | 5.8023 | 8.2135 | 17.3926 | 23.5652 | 64.0521 | 68.0535 | 71.6138 | 61.4825 | 126.5369 | 102.9468 | 74.3257 | 90.3385 | 174.6012 | 148.1362 | 63.1934 | 0.3072 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Market Sector | SREC Factor
| Market Sector A | 1 |  | Q1 1: 0.49926; Q2 2: 6.3935; Q3 3: 11.8388; Q4 4: 20.352; Q1 5: 30.1866; Q2 6: 43.2168; Q3 7: 41.5268; Q4 8: 45.6496; Q1 9: 64.2121; Q2 10: 65.6428; Q3 11: 59.554; Q4 12: 57.5529; Q1 13: 82.9325; Q2 14: 37.9236; Q3 15: 30.9238; Q4 16: 0
|  | 0.8 |  | Q1 1: 0; Q2 2: 0; Q3 3: 0; Q4 4: 0; Q1 5: 0; Q2 6: 0; Q3 7: 0; Q4 8: 0; Q1 9: 0; Q2 10: 0; Q3 11: 0; Q4 12: 0; Q1 13: 14.399; Q2 14: 19.4471; Q3 15: 10.4454; Q4 16: 0
|  | 0.7 |  | Q1 1: 0; Q2 2: 0; Q3 3: 0; Q4 4: 0; Q1 5: 0; Q2 6: 0; Q3 7: 0; Q4 8: 0; Q1 9: 0; Q2 10: 0; Q3 11: 0; Q4 12: 0; Q1 13: 0; Q2 14: 0.5985; Q3 15: 0; Q4 16: 0
|  | 0.65 |  | Q1 1: 0; Q2 2: 0; Q3 3: 0; Q4 4: 0; Q1 5: 0; Q2 6: 0; Q3 7: 0; Q4 8: 0; Q1 9: 0; Q2 10: 0; Q3 11: 0; Q4 12: 0; Q1 13: 0; Q2 14: 0; Q3 15: 0; Q4 16: 0
| Market Sector B | 0.9 |  | Q1 1: 5.303; Q2 2: 1.82; Q3 3: 4.8877; Q4 4: 3.1138; Q1 5: 17.0301; Q2 6: 15.6119; Q3 7: 8.4838; Q4 8: 10.6315; Q1 9: 15.9877; Q2 10: 14.9214; Q3 11: 7.7459; Q4 12: 18.2347; Q1 13: 30.6872; Q2 14: 31.0458; Q3 15: 8.5415; Q4 16: 0.3072
|  | 0.7 |  | Q1 1: 0; Q2 2: 0; Q3 3: 0; Q4 4: 0; Q1 5: 0; Q2 6: 0; Q3 7: 0; Q4 8: 0; Q1 9: 0; Q2 10: 0; Q3 11: 0; Q4 12: 0; Q1 13: 0.23814; Q2 14: 4.3666; Q3 15: 3.7631; Q4 16: 0
|  | 0.6 |  | Q1 1: 0; Q2 2: 0; Q3 3: 0; Q4 4: 0; Q1 5: 0; Q2 6: 0; Q3 7: 0; Q4 8: 0; Q1 9: 0; Q2 10: 0; Q3 11: 0; Q4 12: 0; Q1 13: 0.0765; Q2 14: 0.29866; Q3 15: 0.17367; Q4 16: 0
|  | 0.55 |  | Q1 1: 0; Q2 2: 0; Q3 3: 0; Q4 4: 0; Q1 5: 0; Q2 6: 0; Q3 7: 0; Q4 8: 0; Q1 9: 0; Q2 10: 0; Q3 11: 0; Q4 12: 0; Q1 13: 0; Q2 14: 0; Q3 15: 0; Q4 16: 0
| Market Sector C | 0.8 |  | Q1 1: 0; Q2 2: 0; Q3 3: 0.66612; Q4 4: 0.099408; Q1 5: 7.8867; Q2 6: 0.4984; Q3 7: 4.3432; Q4 8: 5.2014; Q1 9: 19.9; Q2 10: 10.8848; Q3 11: 5.044; Q4 12: 9.2882; Q1 13: 43.0117; Q2 14: 46.7374; Q3 15: 4.0573; Q4 16: 0
|  | 0.65 |  | Q1 1: 0; Q2 2: 0; Q3 3: 0; Q4 4: 0; Q1 5: 0; Q2 6: 0; Q3 7: 0; Q4 8: 0; Q1 9: 0; Q2 10: 0; Q3 11: 0; Q4 12: 0; Q1 13: 0; Q2 14: 0; Q3 15: 2.8668; Q4 16: 0
|  | 0.55 |  | Q1 1: 0; Q2 2: 0; Q3 3: 0; Q4 4: 0; Q1 5: 0; Q2 6: 0; Q3 7: 0; Q4 8: 0; Q1 9: 0; Q2 10: 0; Q3 11: 0; Q4 12: 0; Q1 13: 0; Q2 14: 0; Q3 15: 2.4219; Q4 16: 0
|  | 0.5 |  | Q1 1: 0; Q2 2: 0; Q3 3: 0; Q4 4: 0; Q1 5: 0; Q2 6: 0; Q3 7: 0; Q4 8: 0; Q1 9: 0; Q2 10: 0; Q3 11: 0; Q4 12: 0; Q1 13: 0; Q2 14: 0; Q3 15: 0; Q4 16: 0
| Managed Growth | 0.7 |  | Q1 1: 0; Q2 2: 0; Q3 3: 0; Q4 4: 0; Q1 5: 8.9488; Q2 6: 8.7264; Q3 7: 17.2601; Q4 8: 0; Q1 9: 26.4371; Q2 10: 11.4977; Q3 11: 1.9819; Q4 12: 5.2626; Q1 13: 3.256; Q2 14: 7.7186; Q3 15: 0; Q4 16: 0
|  | 0.55 |  | Q1 1: 0; Q2 2: 0; Q3 3: 0; Q4 4: 0; Q1 5: 0; Q2 6: 0; Q3 7: 0; Q4 8: 0; Q1 9: 0; Q2 10: 0; Q3 11: 0; Q4 12: 0; Q1 13: 0; Q2 14: 0; Q3 15: 0; Q4 16: 0
|  | 0.5 |  | Q1 1: 0; Q2 2: 0; Q3 3: 0; Q4 4: 0; Q1 5: 0; Q2 6: 0; Q3 7: 0; Q4 8: 0; Q1 9: 0; Q2 10: 0; Q3 11: 0; Q4 12: 0; Q1 13: 0; Q2 14: 0; Q3 15: 0; Q4 16: 0
|  | 0.45 |  | Q1 1: 0; Q2 2: 0; Q3 3: 0; Q4 4: 0; Q1 5: 0; Q2 6: 0; Q3 7: 0; Q4 8: 0; Q1 9: 0; Q2 10: 0; Q3 11: 0; Q4 12: 0; Q1 13: 0; Q2 14: 0; Q3 15: 0; Q4 16: 0
| CUMULATIVE Installed Capacities (MW) |  |  | 5.8023 | 14.0158 | 31.4084 | 54.9736 | 119.0257 | 187.0792 | 258.693 | 320.1755 | 446.7123 | 549.6591 | 623.9849 | 714.3233 | 888.9245 | 1037.0607 | 1100.2541 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | 1100.5613 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Market Sector | SREC Factor
| Market Sector A | 1 |  | 0.49926 | 6.8927 | 18.7315 | 39.0835 | 69.2701 | 112.4869 | 154.0136 | 199.6632 | 263.8753 | 329.5182 | 389.0722 | 446.6251 | 529.5576 | 567.4813 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 598.4051 | 593.1021 | 591.2821 | 586.3943 | 583.2805 | 566.2505 | 550.6385 | 542.1547 | 531.5233 | 515.5356 | 500.6142 | 492.8683 | 474.6336 | 443.9464 | 412.9005 | 404.3591 | 404.0519 | 12
|  | 0.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.399 | 33.8461 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | 44.2915 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | 0.5985 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.65 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Market Sector B | 0.9 |  | 5.303 | 7.123 | 12.0108 | 15.1245 | 32.1546 | 47.7666 | 56.2504 | 66.8818 | 82.8695 | 97.7909 | 105.5368 | 123.7715 | 154.4587 | 185.5045 | 194.046 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.3532 | 194.1151 | 189.7485 | 185.9854 | 185.9854 | 13
|  | 0.7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23814 | 4.6047 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | 8.3679 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0765 | 0.37516 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | 0.54882 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Market Sector C | 0.8 |  | 0 | 0 | 0.66612 | 0.76553 | 8.6522 | 9.1506 | 13.4938 | 18.6951 | 38.5951 | 49.4799 | 54.5239 | 63.8121 | 106.8238 | 153.5612 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.6184 | 157.5419 | 157.2433 | 157.0696 | 157.0696 | 14
|  | 0.65 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | 2.8668 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | 2.4219 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Managed Growth | 0.7 |  | 0 | 0 | 0 | 0 | 8.9488 | 17.6752 | 34.9353 | 34.9353 | 61.3724 | 72.8701 | 74.852 | 80.1146 | 83.3706 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 91.0892 | 15
|  | 0.55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.45 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Qualified but not Installed SREC-II Supply 225 CMR 14.07(3)(e)2 |  |  |  | Q1 1: New data to be entered by DOER before August 30 of each CY after 2014 in determining Compliance Obligation for the next CY
| QUARTERLY Qualified but not Installed Capacities (MW) | [16 empty] | 159.2 | 79.05 | 95.05 | 16 | 16 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Market Sector | SREC Factor
| Market Sector A | 1 |  | Q3 15: 75.3; Q4 16: 37.6; Q1 17: 37.6; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.8 |  | Q3 15: 26; Q4 16: 13; Q1 17: 13; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.7 |  | Q3 15: 0; Q4 16: 0; Q1 17: 10; Q2 18: 10; Q3 19: 10; Q4 20: 10
|  | 0.65 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
| Market Sector B | 0.9 |  | Q3 15: 15.2; Q4 16: 7.6; Q1 17: 7.6; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.7 |  | Q3 15: 7.5; Q4 16: 3.25; Q1 17: 3.25; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.6 |  | Q3 15: 0; Q4 16: 0; Q1 17: 2; Q2 18: 2; Q3 19: 2; Q4 20: 2
|  | 0.55 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
| Market Sector C | 0.8 |  | Q3 15: 21.6; Q4 16: 10.8; Q1 17: 10.8; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.65 |  | Q3 15: 8.4; Q4 16: 4.2; Q1 17: 4.2; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.55 |  | Q3 15: 0; Q4 16: 0; Q1 17: 2; Q2 18: 2; Q3 19: 2; Q4 20: 2
|  | 0.5 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
| Managed Growth | 0.7 |  | Q3 15: 5.2; Q4 16: 2.6; Q1 17: 2.6; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.55 |  | Q3 15: 0; Q4 16: 0; Q1 17: 2; Q2 18: 2; Q3 19: 2; Q4 20: 2
|  | 0.5 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.45 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
| CUMULATIVE Qualified but not Installed Capacities (MW) | [16 empty] | 159.2 | 238.25 | 331.3 | 345.3 | 359.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3 | 373.3
| Market Sector | SREC Factor
| Market Sector A | 1 | [15 empty] | 75.3 | 112.9 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5 | 150.5
|  | 0.8 | [15 empty] | 26 | 39 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52
|  | 0.7 | [15 empty] | 0 | 0 | 10 | 20 | 30 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
|  | 0.65 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Market Sector B | 0.9 | [15 empty] | 15.2 | 22.8 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4
|  | 0.7 | [15 empty] | 7.5 | 10.75 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14
|  | 0.6 | [15 empty] | 0 | 0 | 2 | 4 | 6 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
|  | 0.55 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Market Sector C | 0.8 | [15 empty] | 21.6 | 32.4 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2
|  | 0.65 | [15 empty] | 8.4 | 12.6 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8
|  | 0.55 | [15 empty] | 0 | 0 | 2 | 4 | 6 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
|  | 0.5 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Managed Growth | 0.7 | [15 empty] | 5.2 | 7.8 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4 | 10.4
|  | 0.55 | [15 empty] | 0 | 0 | 2 | 4 | 6 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
|  | 0.5 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.45 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Projected New Supply 225 CMR 14.07(3)(e)3 |  |  |  | Q1 1: New data to be entered by DOER before August 30 of each CY after 2014 in determining Compliance Obligation for the next CY
| QUARTERLY Projected New Capacities (MW) | [14 empty] | 0 | 0 | 12 | 24 | 24 | 24 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Market Sector | SREC Factor
| Market Sector A | 1 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.8 |  | Q3 15: 10; Q4 16: 20; Q1 17: 20; Q2 18: 20; Q3 19: 0; Q4 20: 0
|  | 0.7 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.65 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
| Market Sector B | 0.9 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.7 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.6 |  | Q3 15: 2; Q4 16: 4; Q1 17: 4; Q2 18: 4; Q3 19: 2; Q4 20: 0
|  | 0.55 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
| Market Sector C | 0.8 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.65 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.55 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.5 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
| Managed Growth | 0.7 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.55 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.5 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
|  | 0.45 |  | Q3 15: 0; Q4 16: 0; Q1 17: 0; Q2 18: 0; Q3 19: 0; Q4 20: 0
| CUMULATIVE Projected New Capacities (MW) | [16 empty] | 12 | 36 | 60 | 84 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86
| Market Sector | SREC Factor
| Market Sector A | 1 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.8 | [15 empty] | 10 | 30 | 50 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
|  | 0.7 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.65 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Market Sector B | 0.9 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.7 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.6 | [15 empty] | 2 | 6 | 10 | 14 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16
|  | 0.55 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Market Sector C | 0.8 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.65 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.55 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.5 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Managed Growth | 0.7 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.55 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.5 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.45 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Rollover Volumes 225 CMR 14.07(3)(e)4 |  |  |  | Q1 1: Data to be entered by DOER before August 30 of each CY in determining Compliance Obligation for the next CY
Rollover Volumes (MWh)
| Reminted, Unsettled Auction Attributes from CY-3 |  |  | Q1 9: N/A; Q1 13: 0; Q1 17: 0
| Reminted, Unsettled Auction Attributes from CY-2 |  |  | Q1 9: 0; Q1 13: 67046; Q1 17: 243377
| Banked Volume from CY-2 |  |  | Q1 9: 41; Q1 13: 3007; Q1 17: 9992
Third Round Auction Volume Doubling 225 CMR 14.07(3)(e)5 |  |  |  | Q1 1: Data to be entered by DOER before August 30 of each CY in determining Compliance Obligation for the next CY
| Auction Volume from CY-2, if 3rd Round (MWh) |  |  | Q1 9: 0; Q1 13: 0; Q1 17: 0
CUMULATIVE Accounting of SREC Supply from Installed, Qualified but not Installed, and Projected New Supply
Cumulative Capacities by Market Sector (MW)
| Market Sector | SREC Factor |  | 5.8023 | 14.0158 | 31.4084 | 54.9736 | 119.0257 | 187.0792 | 258.693 | 320.1755 | 446.7123 | 549.6591 | 623.9849 | 714.3233 | 888.9245 | 1037.0607 | 1271.4541 | 1374.8113 | 1493.8613 | 1533.8613 | 1551.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | 1567.8613 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Market Sector A | 1 |  | 0.49926 | 6.8927 | 18.7315 | 39.0835 | 69.2701 | 112.4869 | 154.0136 | 199.6632 | 263.8753 | 329.5182 | 389.0722 | 446.6251 | 529.5576 | 567.4813 | 673.7051 | 711.3051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 748.9051 | 743.6021 | 741.7821 | 736.8943 | 733.7805 | 716.7505 | 701.1385 | 692.6547 | 682.0233 | 666.0356 | 651.1142 | 643.3683 | 625.1336 | 594.4464 | 563.4005 | 554.8591 | 554.5519
|  | 0.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.399 | 33.8461 | 80.2915 | 113.2915 | 146.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | 166.2915 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5985 | 0.5985 | 0.5985 | 10.5985 | 20.5985 | 30.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | 40.5985 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.65 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Market Sector B | 0.9 |  | 5.303 | 7.123 | 12.0108 | 15.1245 | 32.1546 | 47.7666 | 56.2504 | 66.8818 | 82.8695 | 97.7909 | 105.5368 | 123.7715 | 154.4587 | 185.5045 | 209.246 | 217.1532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.7532 | 224.5151 | 220.1485 | 216.3854 | 216.3854
|  | 0.7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23814 | 4.6047 | 15.8679 | 19.1179 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | 22.3679 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0765 | 0.37516 | 2.5488 | 6.5488 | 12.5488 | 18.5488 | 22.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | 24.5488 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Market Sector C | 0.8 |  | 0 | 0 | 0.66612 | 0.76553 | 8.6522 | 9.1506 | 13.4938 | 18.6951 | 38.5951 | 49.4799 | 54.5239 | 63.8121 | 106.8238 | 153.5612 | 179.2184 | 190.0184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.8184 | 200.7419 | 200.4433 | 200.2696 | 200.2696
|  | 0.65 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.2668 | 15.4668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | 19.6668 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4219 | 2.4219 | 4.4219 | 6.4219 | 8.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | 10.4219 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Managed Growth | 0.7 |  | 0 | 0 | 0 | 0 | 8.9488 | 17.6752 | 34.9353 | 34.9353 | 61.3724 | 72.8701 | 74.852 | 80.1146 | 83.3706 | 91.0892 | 96.2892 | 98.8892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892 | 101.4892
|  | 0.55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 6 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.45 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
SREC Generation (Projected) in the Quarter (MWh)
| Market Sector | SREC Factor |  | 718 | 2365 | 6872 | 5953 | 16594 | 51130 | 73660 | 51450 | 82496 | 168106 | 189512 | 116383 | 147854 | 330910.2652 | 407942.4547 | 280798.3998 | 371820.9721 | 477403.2387 | 487220.3652 | 313543.9346 | 384945.0286 | 484285.6811 | 490494.4719 | 313543.9346 | 384945.0286 | 484285.6811 | 490494.4719 | 313543.9346 | 384945.0286 | 484285.6811 | 490494.4719 | 313543.9346 | 384945.0286 | 484285.6811 | 490494.4719 | 313543.9346 | 384945.0286 | 484285.6811 | 490494.4719 | 313543.9346 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Market Sector A | 1 | [14 empty] | 197255.4159 | 237180.9003 | 160077.4243 | 206919.426 | 260317.9875 | 263655.3976 | 168539.2099 | 206919.426 | 260317.9875 | 263655.3976 | 168539.2099 | 206919.426 | 260317.9875 | 263655.3976 | 168539.2099 | 206919.426 | 260317.9875 | 263655.3976 | 168539.2099 | 206919.426 | 260317.9875 | 263655.3976 | 168539.2099 | 206919.426 | 260317.9875 | 263655.3976 | 168539.2099 | 205454.2177 | 257842.0324 | 259426.9557 | 165135.4693 | 198035.238 | 243714.422 | 243852.2018 | 153487.6205 | 184022.9191 | 226326.0513 | 226500.7001 | 140684.7423 | 164243.1068 | 195836.9605 | 195340.6314 | 124800.5096
|  | 0.8 | [14 empty] | 9411.8798 | 22613.5806 | 20396.7704 | 32335.7919 | 46242.082 | 46834.9292 | 29938.7839 | 36756.5267 | 46242.082 | 46834.9292 | 29938.7839 | 36756.5267 | 46242.082 | 46834.9292 | 29938.7839 | 36756.5267 | 46242.082 | 46834.9292 | 29938.7839 | 36756.5267 | 46242.082 | 46834.9292 | 29938.7839 | 36756.5267 | 46242.082 | 46834.9292 | 29938.7839 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.7 | [14 empty] | 145.6262 | 147.4932 | 94.2836 | 2049.8257 | 5011.9996 | 7540.6374 | 6395.6133 | 7852.0401 | 9878.373 | 10005.0188 | 6395.6133 | 7852.0401 | 9878.373 | 10005.0188 | 6395.6133 | 7852.0401 | 9878.373 | 10005.0188 | 6395.6133 | 7852.0401 | 9878.373 | 10005.0188 | 6395.6133 | 7852.0401 | 9878.373 | 10005.0188 | 6395.6133 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.65 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Market Sector B | 0.9 | [14 empty] | 58032.9244 | 66299.395 | 43982.8048 | 55888.5551 | 70311.408 | 71212.8364 | 45522.1296 | 55888.5551 | 70311.408 | 71212.8364 | 45522.1296 | 55888.5551 | 70311.408 | 71212.8364 | 45522.1296 | 55888.5551 | 70311.408 | 71212.8364 | 45522.1296 | 55888.5551 | 70311.408 | 71212.8364 | 45522.1296 | 55888.5551 | 70311.408 | 71212.8364 | 45522.1296 | 55888.5551 | 70311.408 | 71212.8364 | 45522.1296 | 55888.5551 | 70311.408 | 71212.8364 | 45522.1296 | 55888.5551 | 70311.408 | 71212.8364 | 45522.1296 | 55829.3385 | 68870.8763 | 68561.4905 | 43827.2819
|  | 0.7 | [14 empty] | 1120.4136 | 3910.4439 | 3011.6972 | 4326.1025 | 5442.516 | 5512.2918 | 3523.6802 | 4326.1025 | 5442.516 | 5512.2918 | 3523.6802 | 4326.1025 | 5442.516 | 5512.2918 | 3523.6802 | 4326.1025 | 5442.516 | 5512.2918 | 3523.6802 | 4326.1025 | 5442.516 | 5512.2918 | 3523.6802 | 4326.1025 | 5442.516 | 5512.2918 | 3523.6802 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.6 | [14 empty] | 78.2419 | 538.3941 | 884.2773 | 2080.3127 | 3868.5208 | 4763.0479 | 3314.7902 | 4069.6434 | 5119.8739 | 5185.5133 | 3314.7902 | 4069.6434 | 5119.8739 | 5185.5133 | 3314.7902 | 4069.6434 | 5119.8739 | 5185.5133 | 3314.7902 | 4069.6434 | 5119.8739 | 5185.5133 | 3314.7902 | 4069.6434 | 5119.8739 | 5185.5133 | 3314.7902 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.55 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Market Sector C | 0.8 | [14 empty] | 42702.0604 | 50475.7255 | 34210.5386 | 44388.2541 | 55843.2874 | 56559.227 | 36154.9489 | 44388.2541 | 55843.2874 | 56559.227 | 36154.9489 | 44388.2541 | 55843.2874 | 56559.227 | 36154.9489 | 44388.2541 | 55843.2874 | 56559.227 | 36154.9489 | 44388.2541 | 55843.2874 | 56559.227 | 36154.9489 | 44388.2541 | 55843.2874 | 56559.227 | 36154.9489 | 44388.2541 | 55843.2874 | 56559.227 | 36154.9489 | 44388.2541 | 55843.2874 | 56559.227 | 36154.9489 | 44388.2541 | 55843.2874 | 56559.227 | 36154.9489 | 44371.3448 | 55738.9649 | 56404.6554 | 36056.1405
|  | 0.65 | [14 empty] | 0 | 2578.2383 | 2262.494 | 3532.0033 | 4443.488 | 4500.4558 | 2876.8736 | 3532.0033 | 4443.488 | 4500.4558 | 2876.8736 | 3532.0033 | 4443.488 | 4500.4558 | 2876.8736 | 3532.0033 | 4443.488 | 4500.4558 | 2876.8736 | 3532.0033 | 4443.488 | 4500.4558 | 2876.8736 | 3532.0033 | 4443.488 | 4500.4558 | 2876.8736 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.55 | [14 empty] | 0 | 468.9524 | 299.7734 | 671.9641 | 1227.7321 | 1630.7322 | 1289.9823 | 1583.7407 | 1992.448 | 2017.9922 | 1289.9823 | 1583.7407 | 1992.448 | 2017.9922 | 1289.9823 | 1583.7407 | 1992.448 | 2017.9922 | 1289.9823 | 1583.7407 | 1992.448 | 2017.9922 | 1289.9823 | 1583.7407 | 1992.448 | 2017.9922 | 1289.9823 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.5 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Managed Growth | 0.7 | [14 empty] | 22163.703 | 23729.3314 | 15578.3362 | 19628.7367 | 24694.2172 | 25010.8097 | 15987.9227 | 19628.7367 | 24694.2172 | 25010.8097 | 15987.9227 | 19628.7367 | 24694.2172 | 25010.8097 | 15987.9227 | 19628.7367 | 24694.2172 | 25010.8097 | 15987.9227 | 19628.7367 | 24694.2172 | 25010.8097 | 15987.9227 | 19628.7367 | 24694.2172 | 25010.8097 | 15987.9227 | 19628.7367 | 24694.2172 | 25010.8097 | 15987.9227 | 19628.7367 | 24694.2172 | 25010.8097 | 15987.9227 | 19628.7367 | 24694.2172 | 25010.8097 | 0 | 0 | 0 | 0 | 0
|  | 0.55 | [14 empty] | 0 | 0 | 0 | 303.9255 | 764.7158 | 1161.7798 | 990.2089 | 1215.7021 | 1529.4316 | 1549.0397 | 990.2089 | 1215.7021 | 1529.4316 | 1549.0397 | 990.2089 | 1215.7021 | 1529.4316 | 1549.0397 | 990.2089 | 1215.7021 | 1529.4316 | 1549.0397 | 990.2089 | 1215.7021 | 1529.4316 | 1549.0397 | 990.2089 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.5 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0.45 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Compliance Obligation Calculation (MWh) |  |  |  | Q1 1: 2014; Q1 5: 2015; Q1 9: 2016; Q1 13: 2017; Q1 17: 2018; Q1 21: 2019; Q1 25: 2020; Q1 29: 2021; Q1 33: 2022; Q1 37: 2023; Q1 41: 2024; Q1 45: 2025; Q1 49: 2026; Q1 53: 2027
| SRECs Generation from Installed, Qualified and Projected Supply |  |  | Q1 17: 1653209.1406; Q1 21: 1673269.1161; Q1 25: 1673269.1161; Q1 29: 1673269.1161; Q1 33: 1673269.1161; Q1 37: 1673269.1161; Q1 41: #VALUE!; Q1 45: #VALUE!; Q1 49: #VALUE!; Q1 53: #VALUE!
| Rollover Volume |  |  | Q1 17: 253369; Q1 21: 0; Q1 25: 0; Q1 29: 0; Q1 33: 0; Q1 37: 0; Q1 41: 0; Q1 45: 0; Q1 49: 0; Q1 53: 0
| Third Round Auction Volume Doubling |  |  | Q1 17: 0; Q1 21: 0; Q1 25: 0; Q1 29: 0; Q1 33: 0; Q1 37: 0; Q1 41: 0; Q1 45: 0; Q1 49: 0; Q1 53: 0
Compliance Obligation 225 CMR 14.07(3)(c-e) |  |  |  | Q1 9: 377877; Q1 13: 1374406; Q1 17: 1906578.1406; Q1 21: 1673269.1161; Q1 25: 1673269.1161; Q1 29: 1673269.1161; Q1 33: 1673269.1161; Q1 37: 1673269.1161; Q1 41: #VALUE!; Q1 45: #VALUE!; Q1 49: #VALUE!; Q1 53: #VALUE!
| Compliance Obligations Set in Regulation 225 CMR 14.07(3)(c and d) |  |  | Q1 1: 41278; Q1 5: 161958; Q1 13: Compliance Obligations are not final until August 30th of the Preceding Year
| Retail Electric Load from Two Years Prior (MWh) |  |  | Q1 1: 48992429; Q1 5: 49252581; Q1 9: 48129291; Q1 13: 48009723; Q1 17: 46864431; Q1 21: TBD; Q1 25: TBD; Q1 29: TBD; Q1 33: TBD; Q1 37: TBD; Q1 41: TBD; Q1 45: TBD; Q1 49: TBD; Q1 53: TBD
| Minimum Standard Percentage |  |  | Q1 1: 0.08425%; Q1 5: 0.3288%; Q1 9: 0.7851%; Q1 13: 2.863%; Q1 17: 4.068%; Q1 21: TBD; Q1 25: TBD; Q1 29: TBD; Q1 33: TBD; Q1 37: TBD; Q1 41: TBD; Q1 45: TBD; Q1 49: TBD; Q1 53: TBD
NOTE: The Compliance Obligation calculated hereby is not strictly the demand for SREC-IIs in the CY. The calculated Compliance Obligation is divided by the retail load in CY-2 [in 225 CMR 14.07(3)(a)] to set the CY Minimum Standard (% of retail load). The actual SREC-II demand is then equal to the actual settled retail load in CY times the Minimum Standard.

## Baseline (Pre 5-9-16 Contracts)
RPS Class I 225 CMR 14.00
Solar Carve-Out II
Guideline
Calculation of Annual Compliance Obligations and Minimum Standards
(Page 4 - Pre-5/8/16 Compliance Obligation Calculation Spreadsheet)
Note: This worksheet calculates the 2018 Compliance Obligation and Minimum Standard as if the SREC II Program Cap had never been lifted on 4/8/16. It is therefore assumed that no more than 947.7 MW of capacity would have been installed and that all of it would have been operational before 1/1/18. The allocation to Market Sectors is based on the percent of capacity qualified in each sector as of 4/8/16. This Compliance Obligation and Minimum Standard applies to all retail electricity load served under contracts executed after 4/25/14 and on or before 5/8/16.
| Market Sector | % Share of Qualified Capacity | MW at Original SREC II Cap | SREC Factor | Capacity Factor | Hrs/Year | Expected MWh
| Market Sector A | 54.58% | 517.2547 | 1 | 13.71% | 8760 | 621220.7776
| Market Sector B | 20.2% | 191.4354 | 0.9 | 13.71% | 8760 | 206921.8347
| Market Sector C | 17.22% | 163.1939 | 0.8 | 13.71% | 8760 | 156796.2153
| Managed Growth | 8% | 75.816 | 0.7 | 13.71% | 8760 | 63738.2989
[6 empty] | Total Generation | 1048677.1266
[6 empty] | Auction Volume (CY-3) | 0
[6 empty] | Auction Volume (CY-2) | 198377
[6 empty] | Banked Volume | 9992
[6 empty] | Total Obligation | 1257046.1266