The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARY A. BECKMAN

Acting Secretary

MARGRET R. COOKE Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph Street

Canton, MA 02021

Phone: 781-828-7700

MAURA T. HEALEY Governor KIMBERLEY L. DRISCOLL Lieutenant Governor

February 6, 2023

Paul Heroux, Sheriff

Bristol County Sheriff’s Office

Dartmouth Women’s Center

400 Faunce Corner Road

North Dartmouth, MA 02747	(electronic copy)

Re: Facility Inspection – Dartmouth Women’s Center, North Dartmouth

Dear Sheriff Heroux:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Minimum Requirements for the Management of Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the Dartmouth Women’s Center on January 24, 2023 accompanied by Lieutenant Andrew Mitzan, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 6 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH

cc: 	Margret R. Cooke, Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Mary A. Beckman, Acting Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC							(electronic copy)

Terrence Reidy, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit			(electronic copy)

Steven Sousa, Superintendent								(electronic copy)

Andrew Mitzan, Lieutenant, EHSO							(electronic copy)

Christopher Michaud, RS, Health Director, Dartmouth Board of Health			(electronic copy)

Clerk, Massachusetts House of Representatives						(electronic copy)

Clerk, Massachusetts Senate								(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Front Entrance Lobby

No Violations Noted

Control Room

No Violations Noted

Visiting Area

No Violations Noted

Women’s Center

Staff Break Room

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Classrooms

No Violations Noted

Food Service Area

Dining Area

No Violations Noted

Kitchen

No Violations Noted

Staff Bathroom

No Violations Noted

Laundry

No Violations Noted

Janitor’s Closet

No Violations Noted

A Wing

Bathroom

No Violations Noted

Bathroom Janitor’s Closet

No Violations Noted

Trauma Room

105 CMR 451.353*		Interior Maintenance: Upholstery damaged on examination table

Showers

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 3 leaking

Day Room

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double-bunked

B Wing

Bathroom

No Violations Noted

Bathroom Janitor’s Closet

No Violations Noted

Showers

No Violations Noted

Day Room

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double-bunked

C Wing

Office

No Violations Noted

Bathroom

No Violations Noted

Bathroom Janitor’s Closet

No Violations Noted

Showers

No Violations Noted

Day Room

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double-bunked

D Wing

Office

No Violations Noted

Bathroom

No Violations Noted

Bathroom Janitor’s Closet

No Violations Noted

Showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 3 leaking

Day Room

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double-bunked

Observations and Recommendations

- The inmate population was 49 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH