## read me
Guidelines for Use of the MassDEP-DWM-WPP Data Submittal Template
NOTE: Water quality data should be provided using the EXCEL templates provided (Sheets 1, 6 and 8). QA/QC information may be provided using attached templates (Sheets 2,3,4,5 and 7), or as a separate document.
1) Use of the flat-format template requires a working knowledge of MS Excel. Extra care must be taken to ensure that sample data line up with appropriate metadata on each row.
2) Separate tabs are provided for discrete water quality sample data, associated field QC data and laboratory QC data, continuous probe data and biological data.
3) Water quality data and continuous data must be submitted using the template provided (Sheets 1 and 6).
4) DWM-WPP strongly encourages the use of the attached templates for QA/QC data, but will accept other formats.
5) DO NOT INCLUDE ANY QC SAMPLE RESULTS IN THE WATER SAMPLE DATA SHEET.
Header definitions
1. Water Sample Data | Please paste all raw data (probe and grab sample results), EXCEPT QC SAMPLE RESULTS, in the appropriate columns.
Watershed | HUC-8 basin (pick list)
WaterBody | Name of water sampled.
StationID | ID# and/or name for water sampling station
Station Description | Exact description of where samples were collected
Latitude | accurate latitude coordinates for exact sampling location in decimal degrees, as provided by MassGIS, mapping software or strong signal GPS (NAD, 1983, Massachusetts State Plane Coordinate System)
Longitude | accurate longitude coordinates for exact sampling location in decimal degrees, as provided by MassGIS, mapping software or strong-signal GPS (NAD, 1983, Massachusetts State Plane Coordinate System)
SampleID | ID# for individual water sample
SampleDate | Month/Day/Year for when sample was collected
SampleTime | 24-hr. time for when sample was collected
FlowCondition | Options include flowing, stagnant, dry
Analyte | Parameter for numerical result provided (pick list)
Units | Measurement units for result (parameter-specific)
Result | Numerical value for analyte measured
Lab | Please indicate lab that parameter is analyzed by, for probe data, mark "NA"
SpecialNotes | As needed.
Sample depth (as approp.) | As needed.
2. Analyte Field QC | Fill in one section only for each date/parameter combination: Field Dupes, Field Blanks or Matrix Spikes. Please ensure that units are consistent with samples.
Field Duplicates | Enter side-by-side results of the sample and its QC match
Field Blanks | Use "<" to indicate values below the detection limit
Performance Evaluation Samples | Enter the expected and actual recovery for spikes
3. Probe Field QC | Provide duplicate results readings for each parameter and sampling event on a single record line. If necessary, add more columns. Please ensure that units are consistent with samples.
Field Duplicate Readings | For each parameter and sampling event, record the results of duplicates collected along side their QC match in a single record.
4. Lab QC | Please add lab QC in whatever form you have available, or use this template. Please ensure that units are consistent with samples.
5. Probe Calibration | Enter field calibration standards and readings for each sampling event on each instrument used, as well as lab duplicate data. Please ensure that units are consistent with samples.
Calibration Checks | Enter the target calibration and the reading for reach of your instruments for each sampling event
6. Continuous Data | Continuous data entry is similar to previous sample data entry
Watershed | HUC-8 basin.
WaterBody | Name of water sampled.
StationID | ID# and/or name for water sampling station
Station Description | Exact description of where samples were collected
Latitude | accurate latitude coordinates for exact sampling location in decimal degrees, as provided by MassGIS, mapping software or strong signal GPS (NAD, 1983, Massachusetts State Plane Coordinate System)
Longitude | accurate longitude coordinates for exact sampling location in decimal degrees, as provided by MassGIS, mapping software or strong-signal GPS (NAD, 1983, Massachusetts State Plane Coordinate System)
SampleID | ID# for individual water sample
SampleDate | Month/Day/Year for when sample was collected
SampleTime | 24-hr. time for when sample was collected
Analyte | Parameter for numerical result provided
Units | Measurement units for result (parameter-specific)
Result | Numerical value for analyte measured
SpecialNotes | Please include the description of the deployed instrument(s) (mfr, model #)
Lab | Please indicate lab that parameter is analyzed by, for probe data, mark "NA"
Sample depth (as approp.) | As needed.
7. Continuous Data QC | Add the probe QC that corresponds with the previous continuous data set. Please ensure that units are consistent with those of samples.
StationID | ID# and/or name for water sampling station
SampleDate | Month/Day/Year for when sample was collected
SampleTime | 24-hr. time for when sample was collected
QC Check-Temperature | Probe QC in degrees C
Continuous Probe Reading- Temperature | Corresponding continuous probe reading for time of QC check
QC Check- DO | Probe QC in degrees C
Continuous Probe Reading- DO | Corresponding continuous probe reading for time of QC check
QC Check- Conductivity | Probe QC in uS/cm
Continuous Probe Reading- Conductivity | Corresponding continuous probe reading for time of QC check
QC Check- Other | Feel free to add more probe parameters as necessary
Continuous Probe Reading- Other | Corresponding continuous probe reading for time of QC check
Description of QC Probe(s) | Please include the description of the QC probe (mfr, model #)
8. Biological Data | Please add biological QC in whatever form you have available

## 2. Analyte Field QC
2. Analyte Field QC (use template or provide in other format) |  | Field Duplicate |  |  |  | Field Blanks | Performance Evaluation
Date | Parameter | Sample ID | Field Result | Dup Match ID | Dup Result | Field Blank Result | True Value | Result | Comments
2015-04-07 | TN | 73-0216D1 | 0.57 | 73-0216 | 0.58
2015-04-07 | TN | 73-0216D2 | 0.59 | 73-0216 | 0.58
2015-04-07 | TN |  |  |  |  | < 0.01
2015-04-07 | TN |  |  |  |  | 0.012
2015-04-07 | TN | [5 empty] | 0.5 | 0.49
2015-04-07 | TN | [5 empty] | 0.9 | 0.91

## 3. Probe Field QC
3. Probe Field QC (use template or provide in other format)
Date | Parameter | Reading | Duplicate Reading
2015-04-07 | DO | 8.2 | 8.3

## 4. Lab QC
NOTE: Lab QC data can be provided in whatever format available.

## 5. Probe Calibration
5. Probe Calibrations (use template or provide in other format) |  | Calibration Check 1 |  |  |  | Calibration Check 2 |  |  |  | Calibration Check 3
Date | Parameter | Calibration Check Standard 1 | Instrument 1 Reading | Instrument 2 Reading | Instrument 3 Reading | Calibration Check Standard 2 | Instrument 1 Reading | Instrument 2 Reading | Instrument 3 Reading | Calibration Check Standard 3 | Instrument 1 Reading | Instrument 2 Reading | Instrument 3 Reading
2015-04-07 | pH | 7 | 7.12 | 7.05 | 6.99 | 10 | 10 | 10.04 | 9.98 | 4 | 4 | 4 | 4.07

## 6. Continuous Data
Watershed | WaterBody | StationID | StationDescription | Latitude | Longitude | SampleID | SampleDate | SampleTime | Analyte | Units | Result | SpecialNotes | Lab | Sample Depth (as needed)
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.5 | Temp | degrees C | 22.513 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.5208 | Temp | degrees C | 22.657 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.5417 | Temp | degrees C | 22.753 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.5625 | Temp | degrees C | 22.896 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.5833 | Temp | degrees C | 22.992 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.6042 | Temp | degrees C | 23.112 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.625 | Temp | degrees C | 23.208 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.6458 | Temp | degrees C | 23.256 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.6667 | Temp | degrees C | 23.28 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.6875 | Temp | degrees C | 23.256 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.7083 | Temp | degrees C | 23.232 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.5 | DO | mg/l | 9.12 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.5208 | DO | mg/l | 9.16 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.5417 | DO | mg/l | 9.19 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.5625 | DO | mg/l | 9.17 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.5833 | DO | mg/l | 9.15 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.6042 | DO | mg/l | 9.14 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.625 | DO | mg/l | 9.12 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.6458 | DO | mg/l | 9.08 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.6667 | DO | mg/l | 9.03 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.6875 | DO | mg/l | 9.01 | Company X Conductivity Logger | NA
Ex: Blackstone River | School Meadow Brook | SM02 | Washington Street, Walpole | 42.1254 | -71.246 | 73-0338 | 2016-04-07 12:00 | 40032.7083 | DO | mg/l | 8.95 | Company X Conductivity Logger | NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA

## 7. Continuous Data QC
Station ID | Date | Time | QC Check-Temperature | Continuous Probe Reading- Temperature | QC Check- DO | Continuous Probe Reading- DO | QC Check- Conductivity | Continuous Probe Reading- Conductivity | QC Check- Other | Continuous Probe Reading- Other | Description of QC Probe(s)
SM02 | 2016-04-07 | 12:00 | 22.8 | 22.5 | 8.9 | 9.1 | 359.6 |  |  |  | WaterStick100

## 8. Biological Data
NOTE: Biological data (e.g., aquatic plants, benthic maroinvertebrates, etc.) can be provided in whatever format available.

## Picklists (hidden)
Watersheds | Parameters
Blackstone River | Acid Neutralization Potential Acidity (ANPA)
Boston Harbor | Acid Neutralization Potential As %CaCO3
Buzzards Bay | Acid Volatile Sulfides
Cape Cod | Acidity, hydrogen ion (H+)
Charles River | Aeromonas hydrophila
Chicopee River | Algae, all groups, density
Connecticut River | Algae, blue-green (phylum cyanophyta) density
Deerfield River | Algae, brown (phylum phaeophyta) density
Farmington River | Algae, golden-brown (phylum chrysophyta) density
French and Quinebaug Rivers | Algae, green (phylum chlorophyta) density
Housatonic River | Algae, red (phylum rhodophyta) density
Hudson River | Algae, substrate rock/bank cover (choice list)
Ipswich River | Algae, yellow-green (phylum xanthophyta) density
Islands | algal entity density
Merrimack River | Alkalinity, Phenolphthalein (total hydroxide+1/2 carbonate)
Millers River | Alkalinity, total
Mount Hope/ Narragansett Bay | Aluminum, dissolved
Nashua River | Aluminum, acid-soluble
North Coastal | Aluminum, Organic + Inorganic Monomeric (reactive aluminum)
Parker River | Aluminum, Organic Monomeric (reactive aluminum)
Shawsheen River | Ammonia
South Coastal | Ammonia-nitrogen
SuAsCo (Sudbury-Assabet-Concord) | Anatoxin-a
Taunton River | Antimony, total
Ten Mile River | Antimony, dissolved
Westfield River | Apparent color
Arsenic, total
Arsenic, dissolved
Barium, total
Barium, dissolved
Barometric pressure
Beryllium, total
Beryllium, dissolved
Biochemical oxygen demand, non-standard conditions
Biochemical oxygen demand, standard conditions
Biomass, benthic
Biomass, chlorophycota
Biomass, chrysophyta
Biomass, cryptophycophyta
Biomass, cyanophycota
Biomass, drift macroinvertebrates
Biomass, euglenophycota
Biomass, periphyton
Biomass, phytoplankton
Biomass, plankton
Biomass, pyrrophycophyta
Biomass, zooplankton
Biomass/chlorophyll ratio
BOD, Sediment Load
BOD-5 day
Cadmium, total
Cadmium, dissolved
Calcium
Carbon, total
Carbonaceous biochemical oxygen demand, non-standard conditions
Carbonaceous biochemical oxygen demand, standard conditions
Cation exchange capacity
Chemical oxygen demand
Chloride
Chlorine
Chlorine demand
Chlorophyll
Chlorophyll a
Chlorophyll a (probe relative fluorescence)
Chlorophyll a (probe)
Chlorophyll a, corrected for pheophytin
Chlorophyll a, free of pheophytin
Chlorophyll a, uncorrected for pheophytin
Chlorophyll b
Chlorophyll c
Chlorophyll/Pheophytin ratio
Chromium, total
Chromium, dissolved
Chromium(III)
Chromium(VI)
Clostridium perfringens
Cobalt, total
Cobalt, dissolved
Coliform/Streptococcus ratio, fecal
Colored dissolved organic matter (CDOM)
Conductivity
Copper, total
Copper, dissolved
Cryptosporidium
Cyanide
Depth
Depth, below bottom surface
Depth, bottom
Depth, data-logger (non-ported)
Depth, data-logger (ported)
Depth, from ground surface to well water level
Depth, Secchi disk depth
Depth, Secchi disk depth (choice list)
Diatoms
Dissolved oxygen (DO)
Dissolved oxygen saturation
Enterobacter
Enterococcus
Escherichia coli
Fecal Coliform
Fecal Streptococcus Group Bacteria
Ferric ion
Ferrous ion
Filamentous Algae covering streambed (choice list)
Fixed dissolved solids
Fixed suspended solids
Floating algae mat - severity (choice list)
Floating debris - severity (choice list)
Floating Detergent/Soap - Severity (choice list)
Floating foam/suds - severity (choice list)
Floating Garbage Severity (choice List)
Floating sewage - severity (choice list)
Floating sludge - severity (choice list)
Floating solids or foam
Floating solids, unspecified mix (choice list)
Flow
Flow, runoff
Flow, stream stage (choice list)
Gage height
Giardia
Giardia lamblia
Gran acid neutralizing capacity
Gross alpha radioactivity, (Americium-241 ref std)
Gross alpha radioactivity, (nat-Uranium ref std)
Gross alpha radioactivity, (Plutonium-239 ref std)
Gross beta radioactivity, (Cesium-137 ref std)
Gross beta radioactivity, (Strontium-Yttrium-90 ref std)
Hardness, Ca, Mg
Hardness, carbonate
Hardness, magnesium
Hardness, non-carbonate
Hydrocarbons
Hydrocarbons, petroleum
Hydrocarbons, Petroleum (Unspecified Mix)
Ice cover, floating or solid - severity (choice list)
Inorganic carbon, total
Inorganic nitrogen (total)
Inorganic nitrogen (dissolved)
Iron, total
Iron, dissolved
Iron sulfide (FeS)
Kjeldahl nitrogen
Klebsiella
Lead, total
Lead, dissolved
Light attenuation at measurement depth
Light attenuation coefficient
Light attenuation, depth at 10%
Light attenuation, depth at 50%
Light attenuation, depth at 99%
Light, (PAR at depth/PAR at surface) x 100
Light, incident
Light, incident + reflected (ambient)
Light, photosynthetic active radiation (PAR)
Light, photosynthetic active radiation at depth (PAR)
Light, reflected
Light, transmissivity
Light, underwater extinction coefficient (K)
Light, underwater incident
Light, underwater incident + reflected
Light, underwater reflected
Macrophytes covering streambed (emergent and submerged) (choice list)
Magnesium
Manganese, total
Manganese, dissolved
MBAS
Mercury, total
Mercury, dissolved
Microcystin, total
Microcystin LR
Molybdenum, total
Molybdenum, dissolved
Naegleria
Nickel, total
Nickel, dissolved
Nitrate
Nitrate-Nitrogen
Nitrite
Nitrite-Nitrogen
Nitrogen, total
Nitrogenous biochemical oxygen demand
Odor severity (choice list)
Oil and Grease
Oil and Grease, surface slick/sheen - severity (choice list)
Organic carbon, total
Organic carbon, dissolved
Organic carbon, particulate
Organic Nitrogen, total
Organic Nitrogen, dissolved
Organic Nitrogen, particulate
Organic phosphorus, total
Organic phosphorus, dissolved
Organic phosphorus, particulate
Orthophosphate, total
Orthophosphate, dissolved
Perchlorate
Periphyton
Periphyton biovolume
Periphyton productivity
Periphyton, substrate rock/bank encrustation (choice list)
Pfiesteria
pH
Pheophytin a
Pheophytin/Chlorophyll ratio
Phosphorus, total
Phytoplankton
Phytoplankton biovolume
Phytoplankton productivity
Potassium
Precipitation
Precipitation 24hr prior to monitoring event (choice list)
Precipitation 24hr prior to monitoring event amount
Precipitation 48hr prior to monitoring event (choice list)
Precipitation 48hr prior to monitoring event amount
Precipitation during activity (choice list)
Precipitation event duration
Precipitation, time since event
Pseudomonas
Radioactivity, gross
Radium
Radon-222
Residence/flushing time, waterbody
Salinity
Salmonella
Selenium, total
Selenium, dissolved
Settleable solids
Silica, total
Silica, dissolved
Silver, total
Silver, dissolved
Simultaneously extracted metals
Simultaneously extracted metals/acid volatile sulfides
Sodium
Soluble Reactive Phosphorus (SRP)
Specific conductance
Staphylococcus
Stream Order
Stream stage
Streptococcus
Sulfate
Surfactants, anionic
Surfactants, cationic
Surfactants, ionic mix (anionic + cationic)
Surfactants, nonionic mix
Surfactants, unspecified mix
Suspended Sediment Concentration (SSC)
Suspended Sediment Discharge
Temperature, air
Temperature, sample
Temperature, water
Temperature, wet bulb
Thallium, total
Thallium, dissolved
Thermal discharge
Tide cycle duration
Tide cycle time
Tide range
Tide rate
Tide stage
Tin, total
Tin, dissolved
Total Coliform
Total dissolved solids
Total fixed solids
Total Nitrogen/Total Phosphorus Ratio (TN:TP)
Total nonfecal coliform
Total solids
Total suspended solids
Total volatile solids
Toxicity, A. abdita, coefficient of variation
Toxicity, A. verrilli, coefficient of variation
Toxicity, E. estuarius, coefficient of variation
Toxicity, L. plumulosus, coefficient of variation
Toxicity, R. abronius, coefficient of variation
Toxicity, sediment, Ampelisca abdita, control survival
Toxicity, sediment, Ampelisca abdita, significant (choice list)
Toxicity, sediment, Ampelisca abdita, survival
Toxicity, sediment, Ampelisca verrilli, control survival
Toxicity, sediment, Ampelisca verrilli, significant (choice list)
Toxicity, sediment, Ampelisca verrilli, survival
Toxicity, sediment, Eohaustorius estuarius, control survival
Toxicity, sediment, Eohaustorius estuarius, significant (choice list)
Toxicity, sediment, Eohaustorius estuarius, survival
Toxicity, sediment, L.plumulosus, control survival
Toxicity, sediment, Leptocheirus plumulosus, significant (choice list)
Toxicity, sediment, Leptocheirus plumulosus, survival
Toxicity, sediment, microtox, Vibrio fischeri, EC50
Toxicity, sediment, microtox, Vibrio fischeri, significant (choice list)
Toxicity, sediment, Rhepoxynius abronius, significant (choice list)
Toxicity, sediment, Rhepoxynius abronius, survival
Toxicity, water, 100%/ LC50 (% effluent) for Ceriodaphnia
Toxicity, water, Ceriodaphnia dubia, LC50
Transparency, tube with disk
True color
Turbidity
UV 254
Vanadium, total
Vanadium, dissolved
Velocity - stream
Velocity-discharge
Volatile suspended solids
Water level (probe)
Water level in well during pumping, MSL
Water level in well, depth from a reference point
Water level in well, MSL
Water level reference point elevation
Zinc, total
Zinc, dissolved
Zooplankton