Business Name:

Address:

Telephone#                                                                Fax#

Name of Owner of Practice:

Length of ownership:

Name of Dental Director (if applicable):

|  | Clinical Staff: (Dentists, Hygienists, Assistants, Other) | Job Title | Licenses and Permits | Current DEA Certificate Yes - No - NA | Current MCSR Yes - No - NA |  |  | Radiology Certificates Yes - No - NA |  |  | CPR, BLS, ACLS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | REQUIRED OFFICE DOCUMENTATION (See CDC Guidelines and Recommendations; Personnel Health Elements section – Dec. 2003) |  |  |  | CDC Recommendations |  |  |  | YES/NO |  | COMMENTS |
| 1. | All license(s) and permit(s) posted 234 CMR 5.04 |  |  |  | N/A |  |  |  |  |  |  |
| 2. | Spore test results 234 CMR 5.05(1) |  |  |  | VI(F)(10) |  |  |  |  |  |  |
| 3. | Written protocol for managing medical or dental emergencies 234 CMR 5.15(1) |  |  |  | I(A) |  |  |  |  |  |  |
| 4. | Annual office training to implement emergency protocols 234 CMR 5.15(4) |  |  |  | N/A |  |  |  |  |  |  |
| 5. | Controlled substance records maintained in accordance with 105 CMR 700.006 |  |  |  | N/A |  |  |  |  |  |  |
|  | INFECTION CONTROL 234 CMR 5.05(1) (See CDC Guidelines and Recommendations; Sterilization & Disinfection of Patient Care Items, Hand Hygiene and Special Considerations sections – Dec. 2003) |  |  |  |  |  |  |  |  |  |  |
| 6. | Infection control protocol 234 CMR 5.05(1) |  |  |  | I (A), (C), (D) & (E) |  |  |  |  |  |  |
| 7. | Weekly Spore testing/biologic monitoring completed for each in-service sterilizer |  |  |  | VI(F) |  |  |  |  |  |  |
| 8. | Independent spore testing service used |  |  |  | VI(F) |  |  |  |  |  |  |
| 9. | In-office biological spore testing conducted ** |  |  |  | VI(F) |  |  |  |  |  |  |
| 10. | Monitoring documentation for each in-service sterilizer |  |  |  | VI(F) |  |  |  |  |  |  |
| 11. | Type of FDA cleared medical device used for sterilization (autoclave, dry heat, chemical vapor method) ** |  |  |  | VI(A) |  |  |  |  |  |  |
| 12. | Sterilization pouches contain external and internal chemical indicators |  |  |  | VI(D) |  |  |  |  |  |  |
| 13. | Wrapped cassettes contain internal chemical indicators inside each cassette |  |  |  | VI(D) |  |  |  |  |  |  |
| 14. | Appropriate sterilization methods used for unwrapped patient care items |  |  |  | VI(A)-(G) |  |  |  |  |  |  |
| 15. | Appropriate sterilization methods used for dental instruments ** |  |  |  | VI(A)-(G) |  |  |  |  |  |  |
| 16. | FDA cleared chemical sterilant solution used ** |  |  |  | VI (A) |  |  |  |  |  |  |
| 17. | EPA registered hospital disinfectant used ** |  |  |  | VII(A)-(D) |  |  |  |  |  |  |
| 18. | All single use items, labeled as such, used in patient treatment discarded and not reused |  |  |  | VI(A) & IX(D) |  |  |  |  |  |  |
| 19. | Appropriate barrier products used in patient treatment discarded and not reused |  |  |  | VII(B) |  |  |  |  |  |  |
|  |  |  |  |  | CDC Recommendations |  |  |  | YES/NO |  | COMMENTS |
| 20. | Surgical masks, certified as particulate filter respirators (e.g., N95, N99 or N100) by the National Institute for Occupational Safety and Health (NIOSH) available when airborne precautions are necessary 1 |  |  |  | See End Note |  |  |  |  |  |  |
| 21. | Sterile gloves available for use during surgical procedures |  |  |  | IV(C) & (D) see also III |  |  |  |  |  |  |
| 22. | Sterile solutions (irrigants and/or coolants) available for use during surgical procedures |  |  |  | IX(F) |  |  |  |  |  |  |
| 23. | Single dose medications and/or infusions used for only one patient |  |  |  | IX(C) |  |  |  |  |  |  |
| 24. | Fluid infusion and administration sets (IV bags, tubing and connectors) disposed of after single use |  |  |  | IX(C) |  |  |  |  |  |  |
| 25. | New pair of latex-free, FDA-cleared medical gloves worn per patient and removed promptly after each use using proper hand hygiene methods |  |  |  | IV(C) & V |  |  |  |  |  |  |
| 26. | Latex free dental dams |  |  |  | V(A) |  |  |  |  |  |  |
| 27. | All dental health-care personnel use appropriate hand-hygiene methods |  |  |  | III & IV(C) |  |  |  |  |  |  |
| 28. | Alcohol based hand rubs available for use by dental health-care personnel ** |  |  |  | III(A) |  |  |  |  |  |  |
| 29. | All burs and diamonds sterilized between each patient or used as single use item |  |  |  | VI(A) & IX(D) |  |  |  |  |  |  |
| 30. | All contaminated laboratory burs sterilized between each patient or used as single use item |  |  |  | VI(A) & IX(D) |  |  |  |  |  |  |
| 31. | All orthodontic instruments sterilized between each patient or used as single use item |  |  |  | VI(A) & IX(D) |  |  |  |  |  |  |
| 32. | All endodontic instruments and files sterilized between each patient or used as single use item |  |  |  | VI(A) & IX(D) |  |  |  |  |  |  |
| 33. | All metal air-water syringe tips sterilized between each patient or used as single use item |  |  |  | VI(A) & IX(D) |  |  |  |  |  |  |
| 34. | All metal high-volume evacuation tips sterilized between patients or used as single use item |  |  |  | VI(A) & IX(D) |  |  |  |  |  |  |
| 35. | All periodontal instruments and/or ultrasonic tips sterilized between each patient |  |  |  | VI(A) |  |  |  |  |  |  |
| 36. | All metal impression trays sterilized between each patient or used as single use item |  |  |  | VI & IX(I) |  |  |  |  |  |  |
| 37. | All high speed handpieces maintained, sterilized and stored properly ** |  |  |  | VI(A) & IX(A) |  |  |  |  |  |  |
| 38. | All low speed handpieces maintained, sterilized and stored properly ** |  |  |  | VI(A) & IX(A) |  |  |  |  |  |  |
| 39. | All surgical handpieces maintained, sterilized and stored properly ** |  |  |  | VI(A) & IX(A) |  |  |  |  |  |  |
| 40. | All straight nose cone attachments maintained, sterilized and stored properly ** |  |  |  | VI(A) & IX(A) |  |  |  |  |  |  |
| 41. | All low speed contra-angles attachments maintained, sterilized and stored properly ** |  |  |  | VI(A) & IX(A) |  |  |  |  |  |  |
| 42. | All non-disposable prophy-angles maintained, sterilized and stored properly ** |  |  |  | VI(A) & IX(A) |  |  |  |  |  |  |
| 43. | Heat-tolerant intraoral radiograph accessories (e.g., film-holding and positioning devices) maintained, sterilized and stored properly ** |  |  |  | IX(B) |  |  |  |  |  |  |
|  | ENVIRONMENTAL INFECTION CONTROL (See CDC Guidelines and Recommendations; Environmental Infection Control section – Dec. 2003) |  |  |  |  |  |  |  |  |  |  |
| 44. | Nonregulated and regulated medical waste maintained, stored and disposed of in accordance with DPH regulations 105 CMR 480.000 |  |  |  | VII(A)-(F) |  |  |  |  |  |  |
| 45. | Clinical contact surfaces appropriately cleaned and disinfected upon contamination |  |  |  | VII(A)-(F) |  |  |  |  |  |  |
|  | DENTAL UNIT WATER QUALITY 234 CMR 5.05(1) (See CDC Guidelines and Recommendations; Dental Unit Waterlines, Biofilm & Water Quality section – Dec. 2003) |  |  |  |  |  |  |  |  |  |  |
| 46. | Use water that meets EPA regulatory standards for drinking water (i.e. <500 CFU/ml of heterotrophic water bacteria) for routine dental treatment output water |  |  |  | VIII(A)&(B) |  |  |  |  |  |  |
| 47. | Dental water treated and retested, when necessary ** |  |  |  | VIII(A)&(B) |  |  |  |  |  |  |
| 48. | Dental water lines flushed between each patient for a minimum of 20 seconds |  |  |  | VIII(A)&(B) |  |  |  |  |  |  |
|  | LABORATORY AREA (See CDC Guidelines and Recommendations; Special Considerations section – Dec. 2003) |  |  |  |  |  |  |  |  |  |  |
| 49. | Patient models properly disinfected 234 CMR 5.05(1) |  |  |  | IX(I) |  |  |  |  |  |  |
| 50. | Prosthetic appliances properly identified 234 CMR 5.14(h) |  |  |  |  |  |  |  |  |  |  |
| 51. | Dental laboratory prescription slips properly retained 234 CMR 5.14(h) |  |  |  |  |  |  |  |  |  |  |
|  | RADIOLOGY |  |  |  |  |  |  |  |  |  |  |
|  | (See CDC Guidelines and Recommendations; Special Considerations section – Dec. 2003) |  |  |  |  |  |  |  |  |  |  |
| 52. | DPH Radiation Control Program Certificate (current and posted) 234 CMR 5.05(3) |  |  |  |  |  |  |  |  |  |  |
| 53. | Duplication method available for non-digital images |  |  |  |  |  |  |  |  |  |  |
| 54. | Lead apron(s) inspected annually in accordance with DPH regulations at 105 CMR 120.407(E)(5) |  |  |  |  |  |  |  |  |  |  |

** and according to manufacturer’s recommendations and/or instructions for use

- CDC Guidelines for Infection Control in Dental Health-Care Settings-2003  ( Masks,  Protective Eyewear,  Face Shields) Vol. 52/ RR-17, page 17

Best Practices

- Maintain immunization records for all dental healthcare personnel, see CDC Guidelines at Recommendation I(F)

| LOCAL ANESTHESIA REQUIRED DRUGS AND EQUIPMENT 234CMR 6.15 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | DRUG AND/OR DRUG CLASSIFICATION | YES | NO | EXPIRATION DATE | COMMENTS |
| 55. | Acetylsalicylic acid (readily absorbable) |  |  |  |  |
| 56. | Ammonia inhalants |  |  |  |  |
| 57. | Antihistamine |  |  |  |  |
| 58. | Antihypoglycemic |  |  |  |  |
| 59. | Bronchodilator |  |  |  |  |
| 60. | Epinephrine |  |  |  |  |
| 61. | Vasodilator |  |  |  |  |
|  | EQUIPMENT |  |  |  |  |
| 62. | Portable Oxygen cylinder E tank capacity: Full ¾ ½ ¼ |  |  |  |  |
| 63. | Oxygen - wall supply |  |  |  |  |
| 64. | Ambu-bag or Portable bag-mask ventilator |  |  |  |  |
| 65. | Adult autoclavable or disposable oxygen face masks |  |  |  |  |
| 66. | Child autoclavable or disposable oxygen face masks |  |  |  |  |
| 67. | Automated External Defibrillator |  |  |  |  |
|  | Adult pads |  |  |  |  |
|  | Pediatric pads |  |  |  |  |
| 68. | Alternative Light source |  |  |  |  |
| 69. | Disposable CPR masks adult |  |  |  |  |
| 70. | Disposable CPR masks pediatric |  |  |  |  |
| 71. | Sphygmomanometer |  |  |  |  |
| 72. | Stethoscope |  |  |  |  |

|  | FOR PERMITS D-C (NITROUS OXIDE-OXYGEN ONLY), ALL OF THE ABOVE IN ADDITION TO THE FOLLOWING EQUIPMENT LISTED BELOW (234 CMR 6.07) | YES | NO | COMMENTS | N/A |
| --- | --- | --- | --- | --- | --- |
| 73. | Pulse oximeter |  |  |  |  |
| 74. | CPR backboard |  |  |  |  |
| 75. | Gas delivery machines checked and calibrated periodically as required by manufacturer; date last checked: |  |  |  |  |
| 76. | Equipment capable of delivering positive pressure ventilation |  |  |  |  |
| 77. | Gas delivery machines must have the following: - an oxygen fail-safe system |  |  |  |  |
| 78. | - safety keyed hose attachments |  |  |  |  |
| 79. | - capability to administer 100% oxygen in all rooms |  |  |  |  |
| 80. | - storage + signage for nitrous oxide oxygen tanks in compliance with safety codes |  |  |  |  |
| 81. | - adequate waste gas scavenging system |  |  |  |  |
| 82. | - autoclavable or disposable hoods |  |  |  |  |

|  | FOR PERMITS D-B2 (MINIMUM SEDATION) AND B- 1 (MODERATE SEDATION), ALL OF THE ABOVE IN ADDITION TO DRUG CLASSIFICATIONS AND EQUIPMENT LISTED BELOW (234 CMR 6.06 and 6.05) | YES | NO | EXPIRATION DATE | COMMENTS | N/A |
| --- | --- | --- | --- | --- | --- | --- |
| 83. | Anticonvulsant |  |  |  |  |  |
| 84. | Corticosteroid |  |  |  |  |  |
| 85. | Reversal Agents for Narcotics |  |  |  |  |  |
| 86. | Reversal Agents for Benzodiazepines |  |  |  |  |  |
| 87. | Vasopressor |  |  |  |  |  |
| 88. | Equipment for the insertion and maintenance of an Intravenous Infusion |  |  |  |  |  |
| 89. | Latex free tourniquet |  |  |  |  |  |

|  | FOR PERMIT D-A (GENERAL , DEEP, MINIMUM AND MODERATE SEDATION) ALL OF THE ABOVE INADDITON TO DRUGS AND/OR DRUG CLASSIFICATION PLUS EQUIPMENT LISTED BELOW (234 CMR 6.04) | YES | NO | EXPIRATION DATE | COMMENTS | N/A |
| --- | --- | --- | --- | --- | --- | --- |
| 90. | Antiemetic |  |  |  |  |  |
| 91. | Antihypertensive medication |  |  |  |  |  |
| 92. | Atropine |  |  |  |  |  |
| 93. | Dantrolene Sodium* |  |  |  |  |  |
| 94. | Lidocaine |  |  |  |  |  |
| 95. | Medication to treat Supraventricular Tachycardia |  |  |  |  |  |
| 96. | EKG Monitor |  |  |  |  |  |
| 97. | Endotracheal Tubes + forceps (including accessories) |  |  |  |  |  |
| 98. | Equipment for transporting patients |  |  |  |  |  |
| 99. | Laryngoscope |  |  |  |  |  |
| 100. | Magill forceps |  |  |  |  |  |
| 101. | Method to accurately record elapsed time |  |  |  |  |  |
| 102. | Nasopharyngeal airways (Adult + Pediatric) |  |  |  |  |  |
| 103. | Oropharyngeal airways (Adult + Pediatric) |  |  |  |  |  |
| 104. | Suction: |  |  |  |  |  |
| 105. | a. suction catheter for endotracheal tube; |  |  |  |  |  |
| 106. | b. tonsillar suction tip; |  |  |  |  |  |
| 107. | c. suction equipment for use during power failure; |  |  |  |  |  |
| 108. | d. suction equipment in all operatories and recover rooms |  |  |  |  |  |

*(required if a halogenated anesthesia agent (e.g. halothane, enflurane, isoflurane) is used or depolarizing skeletal muscle relaxants (e.g. succinylcholine) are routinely administered)

|  | FACILITY REQUIREMENTS FOR ADMINISTRATION OF GENERAL, DEEP, NITROUS OXIDE-OXYGEN, MODERATE AND MINIMUM SEDATION ANESTHESIA 234 CMR 6.00 | YES | NO | COMMENTS |
| --- | --- | --- | --- | --- |
| 109. | Documentation for checking and recording the maintenance of equipment and emergency drugs: Date(s) last checked: |  |  |  |
| 110. | Equipment for continuous patient monitoring during anesthesia |  |  |  |
| 111. | For facility permit D-A or D-B1 two auxiliary personnel available |  |  |  |
| 112. | For facility permit D-B2 or D-C one auxiliary personnel available |  |  |  |
|  | PRE-OPERATIVE PREPARATION REQUIREMENTS | YES | NO | COMMENTS |
| 113. | Use of an anesthesia informed consent form to be signed by patient |  |  |  |
| 114. | Recording of baseline vital signs in dental record |  |  |  |
| 115. | Medical history completed, reviewed and physical evaluation when necessary |  |  |  |
| 116. | Specific dietary instructions provided to the patient |  |  |  |
| 117. | Pre-operative verbal and written instructions provided to the patient and responsible person |  |  |  |

|  | ANESTHESIA RECORD/CHART DOCUMENTATION REQUIREMENTS | YES | NO | COMMENTS |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | The Anesthesia Chart is a time-oriented record which includes the names of all drugs administered, including local anesthesia, and includes the following: |  |  |  |  |  |  |  |
| 118. | -Recording of pulse oximetry |  |  |  |  |  |  |  |
| 119. | -Recording of heart rate |  |  |  |  |  |  |  |
| 120. | -Recording of respiratory rate |  |  |  |  |  |  |  |
| 121. | -Recording of blood pressure |  |  |  |  |  |  |  |
| 122. | -Recording of temperature |  |  |  |  |  |  |  |
| 123. | -Recording of end-tidal CO2 , if taken |  |  |  |  |  |  |  |
| 124. | -Duration of the procedure |  |  |  |  |  |  |  |
| 125. | -Documentation if patient is uncooperative or cannot tolerate monitoring |  |  |  |  |  |  |  |
| 126. | -Name of individuals present during the procedure |  |  |  |  |  |  |  |
|  | REQUIREMENTS FOR MANAGEMENT OF RECOVERY AND DISCHARGE OF PATIENTS | YES | NO | COMMENTS |  |  |  |  |
| 127. | Supervised area for recovery |  |  |  |  |  |  |  |
| 128. | Immediate availability of oxygen and suction equipment |  |  |  |  |  |  |  |
| 129. | Continuous monitoring of patients vital signs |  |  |  |  |  |  |  |
| 130. | Determination and documentation of level of consciousness |  |  |  |  |  |  |  |
| 131. | Determination and documentation of oxygenation |  |  |  |  |  |  |  |
| 132. | Determination and documentation of ventilation and circulation |  |  |  |  |  |  |  |
| 133. | Post-operative verbal and written instructions provided |  |  |  |  |  |  |  |