## Full Obligation
Commonwealth of Massachusetts
Executive Office of Energy and Environmental Affairs
DEPARTMENT OF ENERGY RESOURCES
RPS SOLAR CARVE-OUT
Preliminary Determination of CY 2019 Total Compliance Obligation
(per 225 CMR 14.07(2))
2018-09-04
Formula per 225 CMR 14.07(2)(g)
Total Compliance ObligationCY =
Estimated GenerationCY-1 - ACP VolumeCY-2 + Banked VolumeCY-2 + Auction VolumeCY-2
Term in Formula | CY 2019 Min Std Term | Value (MWh) | Source
Estimated GenerationCY-1 | Estimated Generation2018 | 764036.285 | per regulation; 225 CMR 14.07(2)(g) (see projection details in table below)
ACP VolumeCY-2 | ACP Volume2017 | 1545 | 2017 Annual Compliance Filings (see 2017 RPS/APS Annual Compliance Report, forthcoming)
Banked VolumeCY-2 | Banked Volume2017 | 34203 | 2017 Annual Compliance Filings (see 2017 RPS/APS Annual Compliance Report, forthcoming)
Auction VolumeCY-2 1 | Auction Volume2017 | 1520 | NEPOOL GIS (see 2017 RPS/APS Annual Compliance Report, forthcoming)
Calculations | CY 2019 Min Std Term | Value (MWh) | Source
Total Compliance ObligationCY 2 | Total Compliance Obligation2019 | 798214.285 | per formula above and regulation; 225 CMR 14.07(2)(g)
2017 MA Retail Load |  | 45722855 | 2017 Utility Load Verification (see 2017 Annual Compliance Report, forthcoming)
CY 2019 Minimum Standard |  | 1.746% | division of above two terms
Formula Results
Total Compliance Obligation 2019
798,214 MWh = 764,036 MWh - 1,545 + 34,203 + 1,520
CY 2019 Minimum Standard
1.7458% = 798,214 MWh / 45,722,855 MWh
Projection Details
Projection of CY 2019 Total SRECs Generated |  | Total Capacity (MW) | Actual/Projected CY 2019 SREC Generation3
(for use in formula above)
Expected MWh generated by qualified projects (Q1-Q4 2019) |  | 653.324 | 764036.285
TOTAL |  | 653.324 | 764036.285
1 Should the 2nd round of the 2017 Solar Credit Clearinghouse Auction scheduled to be held on July 26, 2018 not fully clear, the auction volume of 980 will be added to the Compliance Obligation for 2019 twice, resulting in a total volume of 1,960 added to the Compliance Obligation.
2 Stakeholders should note that the full compliance obligation is not necessarily required to be met with the purchase of SRECs. This is because any load served by competitive retail electric suppliers that was under contract prior to June 28, 2013 is exempt for the portion of a supplier's obligation resulting from the emergency rule change that expanded the program cap beyond 400 MW. This exemptions effectively reduces the actual demand for SRECs generated in any given Compliance Year. More information on the size of these exemptions and their impact on the market can be under the SREC exemptions section of the following webpage:
http://www.mass.gov/eea/energy-utilities-clean-tech/renewable-energy/rps-aps/retail-electric-supplier-compliance/rps-and-aps-minimum-standards.html
3 Projected generation assumes an annual average capacity factor of 13.35% .

## Min Standard at 400
Commonwealth of Massachusetts
Executive Office of Energy and Environmental Affairs
DEPARTMENT OF ENERGY RESOURCES
RPS SOLAR CARVE-OUT
Preliminary Determination of CY 2019 Total Compliance Obligation
(per 225 CMR 14.07(2)(a)5.)
2018-08-30
Formula per 225 CMR 14.07(2)(g)
Total Compliance ObligationCY =
Estimated GenerationCY-1 - ACP VolumeCY-2 + Banked VolumeCY-2 + Auction VolumeCY-2
Term in Formula | CY 2019 Min Std Term | Value (MWh) | Source
Estimated GenerationCY-1 | Estimated Generation2018 | 467784 | per regulation; 225 CMR 14.07(2)(g) (see projection details in table below)
ACP VolumeCY-2 | ACP Volume2017 | 1545 | 2017 Annual Compliance Filings (see 2017 RPS/APS Annual Compliance Report, forthcoming)
Banked VolumeCY-2 | Banked Volume2017 | 34203 | 2017 Annual Compliance Filings (see 2017 RPS/APS Annual Compliance Report, forthcoming)
Auction VolumeCY-2 1 | Auction Volume2017 | 1520 | NEPOOL GIS (see 2016 RPS/APS Annual Compliance Report, forthcoming)
Calculations | CY 2018 Min Std Term | Value (MWh) | Source
Total Compliance ObligationCY 2 | Total Compliance Obligation2019 | 501962 | per formula above and regulation; 225 CMR 14.07(2)(g)
2017 MA Retail Load |  | 45722855 | 2017 Utility Load Verification (see 2017 Annual Compliance Report, forthcoming)
CY 2019 Minimum Standard |  | 1.098% | division of above two terms
Formula Results
Preliminary Total Compliance Obligation 2019
501,962MWh = 467,784MWh - 1,545+ 34,203 + 1,520
Preliminary CY 2019 Minimum Standard
1.10978% = 501,962 MWh / 45,722,855 MWh
Projection Details
Projection of CY 2018 Total SRECs Generated |  | Total Capacity (MW) | Actual/Projected CY 2018 SREC Generation3
(for use in formula above)
Expected MWh generated by qualified projects (Q1-Q4 2018) |  | 400 | 467784
TOTAL |  | 400 | 467784
1 Should the 2nd round of the 2017 Solar Credit Clearinghouse Auction scheduled to be held on July 26,2018 not fully clear, the auction volume of 980 will be added to the Compliance Obligation for 2019 twice, resulting in a total volume of 1,960 added to the Compliance Obligation.
2 Stakeholders should note that the full compliance obligation is not necessarily required to be met with the purchase of SRECs. This is because any load served by competitive retail electric suppliers that was under contract prior to June 28, 2013 is exempt for the portion of a supplier's obligation resulting from the emergency rule change that expanded the program cap beyond 400 MW. This exemptions effectively reduces the actual demand for SRECs generated in any given Compliance Year. More information on the size of these exemptions and their impact on the market can be under the SREC exemptions section of the following webpage:
http://www.mass.gov/eea/energy-utilities-clean-tech/renewable-energy/rps-aps/retail-electric-supplier-compliance/rps-and-aps-minimum-standards.html
3 Projected generation assumes an annual average capacity factor of 13.35% .