Massachusetts Department of Environmental Protection

Source Water Assessment Program

February 2017

Land Use/Associated Contaminants Matrix

| AGRICULTURAL | Contaminants of Concern |  |
| --- | --- | --- |
| Livestock Operation | MIC/IOC nitrate | nitrite |
| Dairy Farms | MIC/IOC nitrate nitrite lindane methoxychlor | 2,4-D glyphosate dicamba EPTC |
| Fertilizer Storage or Use | IOC cyanide nitrate | nitrite fluoride |
| Forestry Operations | VOC turbidity benzene toluene ethylbenzene xylene | naphthalene 2-methylnaphthalene phenanthrene anthracene lindane |
| Manure Spreading or Storage | MIC/IOC nitrate | nitrite |
| Nurseries | SOC methoxychlor carbaryl | dimethoate disulfoton |
| Pesticide/Herbicide Storage or Use | SOC alachlor aldicarb aldicarb sulfoxide aldicarb sulfone atrazine carbofuran 2,4 -D lindane methoxychlor diquat endothal glyphosate hexachlorobenzene hexachlorocyclopentadiene oxamyl picloram simazine butachlor carbaryl dicamba 3-hydroxycarbofuran methomyl metolachlor metribuzin propachlor endosulfan acetochlor alachlor ESA | atrazine-desethyl cyanazine diazinon dimethoate disulfoton diuron fonofos linuron terbufos terbacil molinate 2,4,6 trichlorophenol methyl bromide prometon nitrobenzene acetone PCE TCE xylene 1,1,1,2 tetrachloroethane 1,3 dichloropropene m-dichlorobenzene nitrobenzene chlorodibromomethane trichloromethane chloromethane bromomethane selenium |
| Slaughterhouses | MIC/IOC nitrate | nitrite arsenic |

| COMMERCIAL | Contaminants of Concern |  |
| --- | --- | --- |
| Airports | VOC/SOC/IOC benzene toluene ethylbenzene xylene n-propylbenzene naphthalene 2-methylnaphthalene phenanthrene acetone MEK MIBK MTBE 1,2,4 trimethylbenzene 1,3,5 trimethylbenzene cumene 2,4-D 2,4,5-TP dalapon diquat glyphopsate carbon tetrachloride | o-dichlorobenzene 1,2 DCE chlorobenzene 1,1,1 TCA 1,1 DCA 1,2 DCA 1,1,2,2 tetrachloroethane PCE TCE methylene chloride methoxychlor heptachloroepoxide endosulfan cadmium mercury beryllium nickel phenol bromobenzene hexachlorobutadiene |
| Auto Repair Shops | VOC/IOC/SOC benzene toluene ethylbenzene xylene naphthalene 2-methylnaphthalene phenanthrene acetone MEK MIBK MTBE EDB 1,2,4 trimethylbenzene arsenic barium cadmium chromium lead mercury zinc PCBs o-dichlorobenzene 1,2 dichloropropane | chlorobenzene tetrachloroethylene 1,1,1 TCA TCE 1,1 DCA 1,2 DCA methylene chloride 1,2,3 trichlorobenzene benzo(a)pyrene dichlorodifluoromethane acenaphthene acenaphthylene anthracene benzo(a)anthracene benzo(b,j,k) fluoranthene benzo(g,h,I) perylene chrysene fluoranthene fluorene pyrene phenol chloroethane bromobenzene hexachlorobutadiene |
| Boat Yards/Builders | VOC/SOC/IOC toluene benzene ethylbenzene xylene naphthalene 2-methylnaphthalene phenanthrene acetone MEK MIBK MTBE EDB 1,2,4 trimethylbenzene arsenic barium cadmium chromium lead mercury zinc PCBs o-dichlorobenzene 1,2 dichloropropane chlorobenzene | tetrachloroethylene 1,1,1 TCA TCE 1,1 DCA 1,2 DCA methylene chloride 1,2 trichlorobenzene benzo(a)pyrene dichlorodifluoromethane acenaphthene acenaphthylene anthracene benzo(a)anthracene benzo(b,j,k) fluoranthene benzo(g,h,i) perylene chrysene fluoranthene fluorene pyrene phenol bromobenzene hexachlorobutadiene |
| Bus and Truck Terminals | VOC/SOC/IOC toluene benzene ethylbenzene xylene naphthalene 2-methylnaphthalene phenanthrene acetone MEK MIBK MTBE EDB 1,2,4 trimethylbenzene arsenic barium cadmium chromium lead mercury zinc PCBs o-dichlorobenzene 1,2 dichloropropane chlorobenzene | tetrachloroethylene 1,1,1 TCA TCE 1,1 DCA 1,2 DCA methylene chloride 1,2,3 trichlorobenzene benzo(a)pyrene dichlorodifluoromethane acenaphthene acenaphthylene anthracene benzo(a)anthracene benzo(b,j,k) fluoranthene benzo(g,h,i) perylene chrysene fluoranthene fluorene pyrene phenol chloromethane 1,3 dichloropropane hexachlorobutadiene 2-methylphenol |
| Car Washes | SURF/VOC/SOC toluene benzene ethylbenzene xylene naphthalene | 2-methylnaphthalene EDB 1,2,4 trimethylbenzene MTBE sodium |
| Cemeteries | SOC/IOC arsenic atrazine 2,4-D methoxychlor glyphosate simazine carbaryl | dicamba picloram diazinon pentachlorophenol phenol nitrate nitrite |
| Dry Cleaners | VOC PCE TCE | 1,2 dichloropropane 1,1,1 TCA |
| Funeral Homes | VOC chloroform pentachlorophenol | phenol |
| Furniture Stripping and Refinishing | VOC/IOC methylene chloride benzene chlorobenzene o-dichlorobenzene 1,2 DCA 1,1 DCA 1,2 DCE 1,1 DCE 1,2 dichloropropane 1,1,1 TCA TCE toluene xylene phenol 1,1,2,2 tetrachloroethane tetrachloroethane | carbon tetrachloride MEK MIBK methyl bromide acetone dimethyl phthalate pentachlorophenol antimony barium cadmium mercury lead zinc chromium ethylbenzene |
| Gas/Service Stations | VOC/SOC/IOC toluene benzene ethylbenzene xylene naphthalene 2-methylnaphthalene phenanthrene acetone MEK MIBK MTBE EDB 1,2,4 trimethylbenzene arsenic barium cadmium chromium lead mercury zinc PCBs o-dichlorobenzene 1,2 dichloropropane | chlorobenzene tetrachloroethylene 1,1,1 TCA TCE 1,1 DCA 1,2 DCA methylene chloride 1, 2,3 trichlorobenzene benzo(a)pyrene dichlorodifluoromethane acenaphthene acenaphthylene anthracene benzo(a)anthracene benzo(b,,j,k) fluoranthene benzo(g,h,i) perylene chrysene fluoranthene fluorene pyrene fluorotrichloromethane 2-methylphenol |
| Golf Courses | SOC/IOC atrazine 2,4-D methoxychlor glyphosate simazine carbaryl dicamba | picloram diazinon nitrate nitrite arsenic cadmium mercury cyanide |
| Junk Yards and Salvage Yards | VOC/SOC/IOC benzene toluene ethylbenzene xylene naphthalene 2-methylnaphthalene phenanthrene acetone MEK MIBK MTBE EDB 1,2,4 trimethylbenzene arsenic barium cadmium chromium lead mercury zinc PCBs | o-dichlorobenzene 1,2 dichloropropane chlorobenzene tetrachloroethylene 1,1,1 TCA TCE 1,1 DCA 1,2 DCA methylene chloride 1,2,3 trichlorobenzene benzo(a)pyrene dichlorodifluoromethane acenaphthene acenaphthylene anthracene benzo(a)anthracene benzo(b,j,k) fluoranthene benzo(g,h,i) perylene chrysene fluoranthene fluorene pyrene |
| Laundromats | MIC/SURF/VOC xylene carbon tetrachloride benzene | TCE 1,1,1 TCA boron |
| Medical Facilities | MIC/RAD/IOC/VOC legionella arsenic benzene bromoform chloroform chromium 1,1 DCA mercury methylene chloride phenanthrene phenol selenium silver toluene TCE zinc pentachlorophenol 1,1 dichlorobenzene | p-dichlorobenzene styrene thallium acetone 1,2 DCE dichlorodifluoromethane trichlorofluoromethane epichlorohydrin 1,1,1,2 tetrachloromethane 1,3 dichloropropane radium iodine manganese 2,4,6 trichlorophenol 2,4 dintrophenol 1,2 diphenylhydrazine 2 -methylphenol MTBE nitrobenzene |
| Nursing Homes | MIC | legionella |
| Paint Shops | VOC/IOC/SOC acetone methylene chloride benzene chlorobenzene o-dichlorobenzene 1,2 DCA 1,1 DCA 1,2 DCE 1,1 DCE 1,2 dichloropropane 1,1,1 TCA TCE toluene xylene phenol 1,1,2,2 tetrachloroethane TCE carbon tetrachloride MEK | MIBK methyl bromide dimethyl phthalate pentachlorophenol antimony barium cadmium mercury lead zinc chromium PCE ethylbenzene trichloromethane 1,2,4 trimethylbenzene cyanide di(2-ethylhexyl) phthalate hexylphthalate dichlorofluoromethane boron |
| Photo Processors | VOC/IOC/SOC cyanide 2,4 dinitrophenol cadmium | silver diethyl phthalate phenol selenium |
| Printer and Blueprint Shops | VOC/IOC barium cadmium chromium cobalt lead selenium MEK MIBK methylene chloride silver TCE PCE cumene ethylbenzene | antimony cyanide xylene 1,1,1 TCA 1,1,2 TCA benzene toluene acetone 2,4 dinitrophenol naphthalene ethylbenzene nitrate zinc |
| Railroad Tracks and Yards | VOC/SOC/IOC 2,4-D glyphosate picloram diquat ethylbenzene xylene naphthalene 2-methylnaphthalene phenanthrene acetone MEK MIBK MTBE EDB 1,2,4 trimethylbenzene arsenic barium cadmium chromium lead mercury zinc PCBs | o-dichlorobenzene 1,2 dichloropropane chlorobenzene tetrachloroethylene 1,1,1 TCA TCE 1,1 DCA 1,2 DCA methylene chloride 1,2,3 trichlorobenzene benzo(a)pyrene dichlorodifluoromethane acenaphthene acenaphthylene anthracene benzo(a)anthracene benzo(b,j,k) fluoranthene benzo(g,h,i) perylene chrysene fluoranthene fluorene pyrene bromobenzene |
| Repair Shops (Small Engine, Appliances, etc.) | VOC benzene carbon tetrachloride o-dichlorobenzene 1,2 dichloropropane chlorobenzene 1,1,1 TCA TCE toluene 1,1 DCA 1,2 DCA fluorotrichloromethane | dichlorodifluoromethane 1,1,2,2 tetrachloroethane acetone naphthalene mercury thallium antimony methylene chloride 1,2,4 trichlorobenzene methyl bromide nitrobenzene |
| Research Laboratories | VOC/SOC/ MIC/RAD/IOC silver pyrene phenanthrene methylene chloride acetone thallium selenium arsenic | benzene 1,1 DCA styrene toluene TCE pentachlorophenol dichlorodifluoromethane uranium manganese |
| Rust Proofers | VOC/IOC zinc | phenol 1,1,1,2 tetrachloroethane |
| Sand and Gravel Mining/Washing | VOC benzene toluene ethylbenzene | xylene naphthalene 2-methylnaphthalene phenanthrene |

| INDUSTRIAL | Contaminants of Concern |  |
| --- | --- | --- |
| Asphalt,Coal Tar, and Concrete Plants | VOC/SOC TCE 1,1,1 TCA 1,2 DCE methylene chloride chloroform MEK toluene ethylbenzene xylene naphthalene 2-methylnaphthalene phenanthrene benzo(a)pyrene | dichlorodifluoromethane acenaphthene acenaphthylene anthracene benzo(a)anthracene benzo(b,j,k) fluoranthene benzo(g,h,i) perylene chrysene fluoranthene fluorene pyrene sulfate |
| Chemical Manufacture or Storage | VOC/SOC/IOC benzene toluene xylene TCE methylene chloride hexachlorobenzene dioxin o-dichlorobenzene 1,2 DCA 1,1 DCA 1,2 DCE 1,2 dichloropropane ethylbenzene PCE vinyl chloride tribromomethane 1,1,2,2 tetrachloroethane mercury acetone phenol silver 1,1,2 TCA 2,4 dichlorophenol 2,4 dinitrotoluene methyl bromide chromium sodium MEK MIBK naphthalene nickel nitrate chlorobenzene MTBE antimony barium chromium lead tert butylbenzene sec butylbenzene | hexachlorobutadiene 1,2,3 trichlorobenzene p-dichlorobenzene bromobenzene 1,3 dichloropropene chloromethane chlorobenzene acrylamide epichlorohydrin hexachloropentadiene diethyl phthalate di(2-ethylhexyl)phthalate bromodichloromethane dibromomethane 1,1,1 TCA toluene MTBE MEK MIBK nitrate antimony barium nickel alumimum chromium nickel zinc cyanide styrene cumene bis 2 chloroethylether p-chloroaniline 2,4 dimethylphenol methyl mercury 2- methylnaphthalene 2,4,5 trichlorophenol 2,4,6 trichlorophenol 2,6 nitrotoluene nitrobenzene sodium |
| Electronics Manufacture | VOC/IOC/SOC carbon tetrachloride TCE PCE arsenic mercury antimony beryllium thallium acetone MEK toluene xylene methylene chloride styrene lead | barium arsenic silver selenium zinc nickel cyanide chromium cadmium barium nitrate di(2-ethylhexyl)phthalate dichlorofluoromethane 2-methylphenol |
| Electroplaters | VOC/IOC carbon tetrachloride 1,2 dichloropropane chlorobenzene PCE 1,1,1 TCA TCE o-dichlorobenzene 1,1 DCA | 1,2 DCA 1,1,2,2 tetrachloroethane cadmium chromium cyanide nickel phenol |
| Food Processors | MIC/IOC nitrate nickel barium | xylene zinc phenol bromomethane |
| Foundries or Metal Fabricators | VOC/IOC/SOC carbon tetrachloride 1,2 DCA 1,1 DCA 1,2 dichloropropane chlorobenzene PCE 1,1,1 TCA 1,1,2,2 TCA naphthalene arsenic cadmium chromium antimony cyanide selenium nickel methylene chloride antimony zinc barium silver lead vanadium | acetone phenol TCE toluene MEK MIBK xylene ethylbenzene nitrate dichlorofluoromethane hexachlorobenzene di(2-ethylhexyl)phthalate styrene dimethyl phthalate sodium manganese boron aluminum o-dichlorobenzene trichlorofluoromethane 1,1,2 TCA pyridine |
| Fuel Oil Distributors | VOC/SOC/IOC pyrene fluorene fluoranthene benzoanthracene chrysene benzo(a)pyrene phenanthrene naphthalene 2-methylnaphthalene benzene xylene dibenzo(a,h)anthracene ethylbenzene xylene toluene arsenic | cadmium chromium lead nickel zinc vanadium MTBE MIBK cumene methylene chloride MEK TCE 111 TCA PCE 1,3,5 trimethylbenzene |
| Gasification Plants (Oil or Coal) | VOC/SOC/IOC benzo(a)pyrene naphthalene barium cadmium chromium nitrate selenium antimony cyanide nickel acenaphthene acenaphthylene anthracene benzo(a)anthracene benzo(a,k)flouranthene | benzo(g,h,i)perylene chrysene benzo(a,h)anthracene 2,4 dimethylphenol fluorothene fluorene 2-methylnaphthalene phenanthrene phenol pyrene sulfate 2-methylphenol vanadium zinc |
| Hazardous Waste Storage, Treatment and Recycling | VOC/SOC/IOC PCBs pentachlorophenol hexachlorobenzene benzene carbon tetrachloride o-dichlorobenzene p-dichlorobenzene 1,2 DCA 1,1 DCA 1,2 DCE 1,1 DCE 1, 2 dichloropropane ethylbenzene chlorobenzene styrene PCE 1,1,1 TCA TCE toluene vinyl chloride xylene tribromomethane 1,1,2,2 tetrachloroethane 1,2,3 trichloropropane naphthalene fluorotrichloromethane dichlorofluoromethane asbestos arsenic barium cadmium chromium mercury | selenium antimony beryllium cyanide nickel thallium lead acetone di(2-ethylhexyl)phthalate 2-chlorophenol fluorene hexachloroethane MEK MIBK methylene chloride phenanthrene phenol pyrene silver 1,2,4 trichlorobenzene 1,1,2 trichloroethane 2,4,6 trichlorophenol 2,4 dichlorophenol 2,4 dinitrophenol methyl bromide zinc p-chlorotoluene bromobenzene 1,3,5 trimethylbenzene 1,2,3 trichlorobenzene n-butyl benzene hexachlorobutadiene cumene |
| Industrial Lagoons and Pits | VOC/SOC/IOC PCBs pentachlorophenol hexachlorobenzene benzene carbon tetrachloride o-dichlorobenzene p-dichlorobenzene 1,2 DCA 1,1 DCA 1,2 DCE 1,1 DCE 1,2 dichloropropane ethylbenzene chlorobenzene styrene PCE 111TCA TCE toluene vinyl chloride xylene tribromomethane 1,1,2,2 tetrachloroethane 1,2,3 trichloropropane naphthalene fluorotrichloromethane dichlorofluoromethane asbestos asenic | barium cadmium chromium mercury selenium antimony beryllium cyanide nickel thallium lead acetone di(2-ethylhexyl)phthalate 2-chlorophenol fluorene hexachloroethane MEK MIBK methylene chloride phenanthrene phenol pyrene silver 1,2,4 trichlorobenzene 1,1,2 trichloroethane 2,4,6 trichlorophenol 2,4 dichlorophenol 2,4 dinitrophenol methyl bromide zinc |
| Industrial Parks | VOC/SOC/IOC PCBs pentachlorophenol hexachlorobenzene benzene carbon tetrachloride o-dichlorobenzene p-dichlorobenzene 1,2 DCA 1,1 DCA 1,2 DCE 1,1 DCE 1,2 dichloropropane ethylbenzene chlorobenzene styrene PCE 1,1,1 TCA TCE toluene vinyl chloride xylene tribromomethane 1,1,2,2 tetrachloroethane 1,2,3 trichloropropane naphthalene fluorotrichloromethane dichlorofluoromethane asbestos asenic barium cadmium chromium mercury selenium antimony | beryllium cyanide nickel thallium lead acetone di(2-ethylhexyl)phthalate 2-chlorophenol fluorene hexachloroethane MEK MIBK methylene chloride phenanthrene phenol pyrene silver 1,2,4 trichlorobenzene 1,1,2 trichloroethane 2,4,6 trichlorophenol 2,4 dichlorophenol 2,4 dinitrophenol methyl bromide zinc dimethyl phthalate diethyl phthalate nitrate aluminum acrylamide 1,3 dichloropropane epichlorohydrin 1,2,4 trimethylbenzene 1,3,5 trimethylbenzene 1,2 diphenylhydrazine aluminum |
| Jewelry or Metalplating | VOC/IOC carbon tetrachloride 1,2 dichloropropane chlorobenzene PCE 1,1,1-TCA TCE o-dichlorobenzene 1,1 DCA 1,2 DCA 1,1,2,2 tetrachloroethane cadmium chromium cyanide nickel phenol barium aluminum | lead silver zinc nitrate toluene xylene methylene chloride MEK MIBK acetone ethylbenzene o-dichlorobenzene trichlorofluoromethane 1,1,2 TCA pyridine |
| Machine/ Metalworking Shops | VOC/IOC carbon tetrachloride 1,2 DCA 1,1 DCA 1,2 dichloropropane chlorobenzene PCE 1,1,1 TCA 1,1,2,2 tetrachloroethane naphthalene arsenic cadmium chromium antimony cyanide selenium nickel methylene chloride phenol | silver barium lead zinc nitrate styrene ethylbenzene MEK MIBK toluene acetone PCE TCE xylene nitrobenzene o-dichlorobenzene trichlorofluoromethane 1,1,2 TCA pyridine |
| Metal and Drum Cleaning/Reconditioning | VOC/SOC/IOC PCBs pentachlorophenol hexachlorobenzene benzene carbon tetrachloride o-dichlorobenzene p-dichlorobenzene 1,2 DCA 1,1 DCA 1,2 DCE 1,1 DCE 1,2 dichloropropane ethylbenzene chlorobenzene styrene PCE 1,1,1 TCA TCE toluene vinyl chloride xylene tribromomethane 1,1,2,2 tetrachloroethane 1,2,3 trichloropropane naphthalene fluorotrichloromethane dichlorofluoromethane asbestos asenic | barium cadmium chromium mercury selenium antimony beryllium cyanide nickel thallium lead acetone di(2-ethylhexyl)phthalate 2-chlorophenol fluorene hexachloroethane MEK MIBK methylene chloride phenanthrene phenol pyrene silver 1,2,4 trichlorobenzene 1,1,2 trichloroethane 2,4,6 trichlorophenol 2,4 dichlorophenol 2,4 dinitrophenol methyl bromide zinc |
| Nuclear Power Plants | MIC/RAD/IOC radium 226 radium 228 radium 222 Gross Beta Gross Alpha | cadmium uranium beryllium strontium boron vanadium |
| Paper Manufacture | VOC/IOC aluminum antimony zinc MEK | xylene toluene phenol |
| Pharmaceutical Manufacture | VOC/SOC dichlorodifluoromethane methylene chloride trichlorofluoromethane | 1,3 dichloropropane nitrobenzene manganese |
| Plastic Manufacture | VOC/SOC/IOC aluminum antimony barium methylene chloride diethyl phthalate epichlorohydrin ethylbenzene lead MEK MIBK nitrate phenol styrene | toluene 1,2,4 trimethylbenzene xylene zinc PCE TCE difluorochloromethane cyanide nickel chromium cadmium silver acetone |
| RCRA TSDF Facilities | VOC/SOC/IOC PCBs pentachlorophenol hexachlorobenzene benzene carbon tetrachloride o-dichlorobenzene p-dichlorobenzene 1,2 DCA 1,1 DCA 1,2 DCE 1,2 DCE 1,1 DCE 1,2 dichloropropane ethylbenzene chlorobenzene styrene PCE 1,1,1 TCA TCE toluene vinyl chloride xylene tribromomethane 1,1,2,2 tetrachloroethane 1,2,3 trichloropropane naphthalene fluorotrichloromethane dichlorofluoromethane asbestos asenic | barium cadmium chromium mercury selenium antimony beryllium cyanide nickel thallium lead acetone di(2-ethylhexyl)phthalate 2-chlorophenol fluorene hexachloroethane MEK MIBK methylene chloride phenanthrene phenol pyrene silver 1,2, 4 trichlorobenzene 1, 1, 2 trichloroethane 2,4,6 trichlorophenol 2,4 dichlorophenol 2 ,4 dinitrophenol methyl bromide zinc |
| Tanneries | VOC/IOC/SOC benzene o-dichlorobenzene p-dichlorbenzene toluene naphthalene arsenic chromium anthracene di(2-ethylhexyl)phthalate | dimethyl phthalate phenanthrene 2,4,6 trichlorophenol 2,4 dichlorophenol zinc pentachlorophenol cyanide cadmium |
| Textile Manufacture | VOC/IOC antimony chromium barium lead zinc | phenol xylene MIBK TCE MEK toluene |
| Wood Preserving Facilities | SOC/IOC 2,4 dinitrophenol pentachlorophenol anthracene aldrin | naphthalene cadmium arsenic chromium |

| RESIDENTIAL | Contaminants of Concern |  |
| --- | --- | --- |
| Fuel Oil Storage | VOC/SOC/IOC pyrene fluorene fluoranthene benzoanthracene chrysene benzo(a)pyrene phenanthrene naphthalene 2-methylnaphthalene benzene xylene dibenzo(a,h)anthracene | ethylbenzene xylene toluene arsenic cadmium chromium lead nickel zinc vanadium MTBE MIBK |
| Lawn Care | SOC/IOC atrazine 2,4 -D methoxychlor glyphosphate dicamba | carbaryl arsenic mercury diazinon |
| Septic Systems/Cesspools | MIC/VOC/IOC nitrate nitrite benzene toluene xylene ethylbenzene MTBE TCE acetone fluoride methylene chloride sulfate | 1,1,1 TCA PCE carbon tetrachloride phenol MEK MIBK styrene p-dichlorobenzene naphthalene cyanide silver |

| MISCELLANEOUS | Contaminants of Concern |  |
| --- | --- | --- |
| Aboveground Storage Tanks | VOC/SOC/IOC pyrene fluorene fluoranthene benzoanthracene chrysene benzo(a)pyrene phenanthrene naphthalene 2-methylnaphthalene benzene xylene dibenzo(a,h)anthracene | ethylbenzene xylene toluene arsenic cadmium chromium lead nickel zinc vanadium MTBE MIBK |
| Aquatic Wildlife | MIC |  |
| Clandestine Dumping | VOC/SOC/IOC PCBs pentachlorophenol hexachlorobenzene benzene carbon tetrachloride o-dichlorobenzene p-dichlorobenzene 1,2 DCA 1,1 DCA 1,2 DCE 1,1 DCE 1,2 dichloropropane ethylbenzene chlorobenzene styrene PCE 1,1,1 TCA TCE toluene vinyl chloride xylene tribromomethane 1,1,2,2 tetrachloroethane 1,2,3 trichloropropane naphthalene fluorotrichloromethane dichlorofluoromethane asbestos asenic | barium cadmium chromium mercury selenium antimony beryllium cyanide nickel thallium lead acetone di(2-ethylhexyl)phthalate 2-chlorophenol fluorene hexachloroethane MEK MIBK methylene chloride phenanthrene phenol pyrene silver 1,2,4 trichlorobenzene 1,1,2 trichloroethane 2,4,6 trichlorophenol 2,4 dichlorophenol 2,4 dinitrophenol methyl bromide zinc |
| Combined Sewer Outfalls | MIC/IOC/SOC VOC nitrate nitrite TCE benzene toluene ethylbenzene xylene MTBE benzo(a)pyrene naphthalene dichlorodifluoromethane arsenic barium cadmium chromium | cyanide selenium silver mercury lead acenaphthene acenaphthylene anthracene benzo(a)anthracene benzo(b,k)fluoranthene benzo(g,h,i)perylene chrysene fluoranthene fluorene 2-methylnaphthalene pryene |
| Composting Facilities | MIC/IOC nitrate | nitrite |
| Dredge Disposal Facilities | IOC arsenic cadmium chromium copper lead | mercury nickel PCBs vanadium zinc |
| Fire Training Facilities | VOC/IOC/SOC toluene ethylbenzene xylene benzene naphthalene 2-methylnaphthalene phenanthrene acetone MEK MIBK MBTE EDB 1,2,4-trimethylbenzene arsenic barium cadmium chromium lead mercury zinc PCBs o-diclorobenzene 1,2 dichloropropane chlorobenzene | tetrachloroethylene 1,1,1 TCA TCE PCE 1,1 DCA 1,2 DCA methylene chloride 1,2, 3 trichlorobenzene benzo(a)pyrene dichlorodifluoromethane acenaphthene acenaphthylene anthracene benzo(a)anthracene benzo(b,j,k) fluoranthene benzo(g,h,i) perylene chrysene fluoranthene fluorene pyrene chromodibromomethane fluorotrichloromethane bromodichloromethane dichlorodifluoromethane |
| Fishing/Boating | VOC/MIC benzene toluene xylene ethylbenzene | beryllium hexachloroethane MEK MIBK methylene chloride |
| Landfills and Dumps | VOC/SOC/ IOC styrene nitrate sulfate arsenic barium cadmium chromium cyanide lead mercury selenium silver TCE | hexachloroethane carbon tetrachloride 1,1 DCE 1,2 DCE chlorobenzene 1,4 dichlorobenzene MEK MIBK hexachlorobenzene benzene dichlorodifluoromethane PCBs methylene chloride |
| Land Application of Sewage Sludge | IOC/SOC cadmium chromium barium arsenic lead mercury | silver selenium endrin lindane methoxychlor toxaphene PCBs |
| Large Quantity Hazardous Waste Generator | VOC/SOC/IOC PCBs pentachlorophenol hexachlorobenzene benzene carbon tetrachloride o-dichlorobenzene p-dichlorobenzene 1,2 DCA 1,1 DCA 1,2 DCE 1,1 DCE 1,2 dichloropropane ethylbenzene chlorobenzene styrene PCE 1,1,1 TCA TCE toluene vinyl chloride xylene tribromomethane 1,1,2,2 tetrachloroethane 1,2,3 trichloropropane naphthalene fluorotrichloromethane dichlorofluoromethane asbestos asenic barium cadmium chromium mercury selenium antimony | beryllium cyanide nickel thallium lead acetone di(2-ethylhexyl)phthalate 2-chlorophenol fluorene hexachloroethane MEK MIBK methylene chloride phenanthrene phenol pyrene silver 1,2,4 trichlorobenzene 1,1,2 trichloroethane 2,4,6 trichlorophenol 2,4 dichlorophenol 2,4 dinitrophenol methyl bromide zinc dimethyl phthalate diethyl phthalate nitrate aluminum acrylamide 1,3 dichloropropane epichlorohydrin 1,2,4 trimethylbenzene 1,3,5 trimethylbenzene 1,2 diphenylhydrazine aluminum |
| Military Facilities | VOC/SOC/ IOC PCBs benzene ethylbenzene TCE PCE 1,1,1 TCA toluene xylene EDB 1,2,4 trimethylbenzene cumene naphthalene 1,3,5 trimethylbenzene n-propylbenzene beryllium hexachloroethane MEK MTBE 2-methylnaphthalene MIBK | methylene chloride phenanthrene 2,4 dinitrophenol 2,4 dinitrotoluene RDX 4 nitrophenol cyanide selenium antimony acetone zinc lead cadmium chromium barium arsenic alumimum vanadium di(2-ethylhexyl)phthalate endosulfan 2,6 dinitrotoluene |
| NPDES Locations | MIC/IOC/VOC nitrate nitrite TCE benzene toluene ethylbenzene xylene MTBE benzo(a)pyrene naphthalene dichlorodifluoromethane arsenic barium silver cadmium chromium | cyanide mercury lead selenium sulfate acenaphthene acenaphthylene anthracene benzo(a)anthracene benzo(b,k)fluoranthene benzo(g,h,i)perylene chrysene fluoranthene fluorene 2-methylnaphthalene pyrene |
| Pipelines (Oil and Sewer) | VOC/SOC/IOC pyrene fluorene fluoranthene benzo(a)anthracene chrysene benzo(a)pyrene phenanthrene naphthalene 2-methylnaphthalene benzene xylene dibenzo(a,h)anthracene ethylbenzene xylene toluene arsenic | cadmium chromium lead nickel zinc vanadium MTBE MIBK cumene methylene chloride MEK TCE 1,1,1 TCA PCE 1,2,4 trimethylbenzene |
| Prisons | MIC/VOC benzene carbon tetrachloride 1,1 DCE ethyl benzene 1,1,1 TCA toluene xylene TCE | methylene chloride 1,1 DCA 1,2 DCA naphthalene acetone MEK MIBK |
| Road and Maintenance Depots | VOC/IOC/SOC benzene toluene ethylbenzene xylene naphthalene 2-methylnaphthalene phenanthrene acetone MEK MIBK MTBE EDB 1,2,4 trimethylbenzene arsenic barium cadmium chromium lead mercury zinc PCBs | o-dichlorobenzene 1,2 dichloropropane monochlorobenzene tetrachloroethylene 1,1,1 TCA TCE 1,1 DCA 1,2 DCA methylene chloride 1,2,3 trichlorobenzene benzo(a)pyrene dichlorodifluoromethane acenaphthene acenaphthylene anthracene benzo(a)anthracene benzo(b,j,k) fluoranthene benzo(g,h,i) perylene chrysene fluoranthene fluorene pyrene |
| Schools, Colleges and Universities | VOC/IOC/SOC benzene toluene ethylbenzene xylene naphthalene 2-methylnaphthalene acetone MEK MIBK MTBE EDB 1,2,4 trimethylbenzene arsenic barium cadmium chromium lead mercury zinc PCBs o-dichlorobenzene 1,2 dichloropropane chlorobenzene tetrachloroethylene 1,1,1 TCA TCE 1,1 DCA 1,2 DCA | methylene chloride 1,2 trichlorobenzene benzo(a)pyrene dichlorodifluoromethane acenaphthene acenaphthylene anthracene benzo(a)anthracene benzo(b,j,k) fluoranthene benzo(g,h,i) perylene chrysene fluoranthene fluorene pyrene phenol chloroethane bromobenzene hexachlorobutadiene silver thallium selenium manganese uranium styrene phenanthrene indeno(1,2,3-cd)pyrene pentachlorophenol cyanide |
| Small Quantity Hazardous Waste Generator | VOC/IOC/SOC benzene toluene ethylbenzene xylene naphthalene 2-methylnaphthalene phenanthrene acetone MEK MIBK MTBE EDB 1,2,4 trimethylbenzene arsenic barium cadmium chromium lead mercury zinc PCBs o-dichlorobenzene 1,2 dichloropropane chlorobenzene tetrachloroethylene 1,1,1 TCA TCE | 1,1 DCA 1,2 DCA methylene chloride 1,2,3 trichlorobenzene benzo(a)pyrene dichlorodifluoromethane acenaphthene acenaphthylene anthracene benzo(a)anthracene benzo(b,j,k) fluoranthene benzo(g,h,i) perylene chrysene fluoranthene fluorene pyrene phenol chloroethane bromobenzene hexachlorobutadiene carbon tetrachloride fluorotrichloromethane 1,1,2,2, tetrachloroethane thallium antimony 1,2,4 trichlorobenzene methyl bromide nitrobenzene |
| Snow Dumps | IOC/VOC sodium benzene | toluene xylene ethylbenzene |
| Stormwater Drains/ Retention Basins | MIC/IOC/VOC/SOC nitrate nitrite TCE benzene toluene ethylbenzene xylene MTBE benzo(a)pyrene naphthalene dichlorodifluoromethane arsenic barium cadmium | chromium mercury lead acenaphthene acenaphthylene anthracene benzo(a)anthracene benzo(b,j,k)fluoranthene benzo(g,h,i)perylene chrysene fluoranthene fluorene 2-methylnaphthalene pryene |
| Tire Dumps | VOC/SOC benzene toluene ethylbenzene xylene naphthalene 2-methylnaphthalene phenanthrene acenaphthalate acenaphthene anthracene | benzo(a)anthracene benzo(a)pyrene benzo(b) fluoranthene chrysene dibenzo(a,h) anthracene fluoranthene fluorene indeno(1,2,3-cd)pyrene pyrene |
| Transmission Line Right-of- Ways | SOC glyphosate | picloram |
| Transportation Corridors | VOC/IOC/SOC glyphosate picloram benzene toluene ethylbenzene xylene naphthalene 2-methylnaphthalene phenanthrene 1,2,4 trimethyl benzene | benzo(a)pyrene acenaphthene acenaphthylene anthracene benzo(a)anthracene benzo(b,j,k) fluoranthene benzo(g,h,i) perylene chrysene fluoranthene fluorene pyrene |
| Underground Storage Tanks | VOC/SOC/IOC pyrene fluorene fluoranthene benzo(a)anthracene chrysene benzo(a)pyrene phenanthrene naphthalene 2-methylnaphthalene benzene xylene dibenzo(a,h)anthracene | ethylbenzene xylene toluene arsenic cadmium chromium lead nickel zinc vanadium MTBE MIBK |
| Utility Substation Transformers | VOC PCBs 1,2,3 trichlorobenzene | 1,1 biphenyl 1,2,4 trichlorobenzene |
| Very Small Quantity Generators | VOC/IOC/SOC benzene toluene ethylbenzene xylene naphthalene 2-methylnaphthalene phenanthrene acetone MEK MIBK MTBE EDB 1,2,4 trimethylbenzene arsenic barium cadmium chromium lead mercury zinc PCBs o-dichlorobenzene 1,2 dichloropropane chlorobenzene tetrachloroethylene 1,1,1 TCA TCE | 1,1 DCA 1,2 DCA methylene chloride 1,2,3 trichlorobenzene benzo(a)pyrene dichlorodifluoromethane acenaphthene acenaphthylene anthracene benzo(a)anthracene benzo(b,j,k) fluoranthene benzo(g,h,i) perylene chrysene fluoranthene fluorene pyrene phenol chloroethane bromobenzene hexachlorobutadiene carbon tetrachloride fluorotrichloromethane 1,1,2,2, tetrachloroethane thallium antimony 1,2,4 trichlorobenzene methyl bromide nitrobenzene |
| Waste Incinerators | SOC chrysene hexachloroethane ideno(1,2,3-c,d) pyrene | cyanide 2,4 dinitrophenol n-propyl benzene |
| Waste Transfer Stations | VOC/IOC styrene nitrate sulfate arsenic barium cadmium chromium cyanide lead mercury silver | TCE carbon tetrachloride 1,1 DCE 1,2 DCE chlorobenzene MEK MIBK methylene chloride benzene |
| Wastewater Treatment Plants | VOC/IOC/MIC methylene chloride nitrite nitrate arsenic barium cadmium chromium cyanide lead | copper mercury selenium silver zinc sulfate trichloromethane 1,2,3 trichlorobenzene n- propyl benzene |
| Water Treatment Sludge Lagoons | IOC manganese aluminum | arsenic radon |