The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-828-7703

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

May 8, 2019

Robert Ogden, Sheriff

Dukes County Jail and House of Correction

P.O. Box 252

Edgartown, MA 02539		(electronic copy)

Re: Facility Inspection - Dukes County Jail and House of Correction, Edgartown

Dear Sheriff Ogden:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and          105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the        Dukes County Jail and House of Correction on May 1, 2019 accompanied by Lieutenant Colonel Araujo. Violations noted during the inspection are listed below including 28 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

POLICE LOCK-UP AREA

Bail Office

No Violations Noted

Hallway

No Violations Noted

Booking Area

105 CMR 451.126	Hot Water: Hot water temperature recorded at 630F

Male Holding Cell

105 CMR 451.320*	Cell Size: Inadequate floor space

Female/Juvenile Holding Cell

105 CMR 451.341*	Natural Light in Cell: No natural light source in cells

105 CMR 451.320*	Cell Size: Inadequate floor space

HOUSE OF CORRECTIONS

Control Area

No Violations Noted

Visit Room

No Violations Noted

Attorney Visit Room

No Violations Noted

Food Service Area

Office

No Violations Noted

Kitchen

3-Compartment Sink

No Violations Noted

Mechanical Warewashing Machine

FC 4-501.116	Maintenance and Operation; Equipment: Test strips not available to test concentration of sanitizer in warewashing machine

Stove and Hood

No Violations Noted

Prep Table and Sink

No Violations Noted

Coffee Station and Small Refrigerator

No Violations Noted

Handwash Sink

No Violations Noted

Back Room

No Violations Noted

Pantry

No Violations Noted

Dining Room

No Violations Noted

First Floor Units

Pre-Release Unit

Laundry Area

No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Caulking damaged between toilet and wall

Showers	Unable to Inspect Shower # 2 – No Longer Used

No Violations Noted

Property Room

Cells

105 CMR 451.320*		Cell Size: Inadequate floor space in all cells

Uniform Closet

No Violations Noted

Maintenance Closet

No Violations Noted

Day Room

No Violations Noted

Canteen Room

No Violations Noted

Administrative Segregation Unit

Janitor’s Closet

No Violations Noted

Hallway

105 CMR 451.353*	Interior Maintenance: Wires exposed

105 CMR 451.353*	Interior Maintenance: Floor surface damaged outside cell # 3

105 CMR 451.353*	Interior Maintenance: Radiator paint damaged

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in cell # 2 and 3

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water not working in cell # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink not working in cell # 2

Unit # 1

Hallway

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet out-of-order in cell # 1

Shower Stall

No Violations Noted

Unit # 2

Day Room

No Violations Noted

Hallway

No Violations Noted

Dorm Shower

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 leaking

Dorm Bathroom

No Violations Noted

Dorm Room

105 CMR 451.320*	Cell Size: Inadequate floor space in dorm

105 CMR 451.353*	Interior Maintenance: Floor tile damaged in corner

105 CMR 451.353	Interior Maintenance: Wall surface damaged behind dryer

Storage Closet

105 CMR 451.353	Interior Maintenance: Floor tile damaged outside closet

Second Floor Units

Main Hallway

No Violations Noted

Education Room

No Violations Noted

Nurse’s Office

No Violations Noted

Nurse’s Office Bathroom

No Violations Noted

Unit # 3

Hallway

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

105 CMR 451.353*	Interior Maintenance: Radiator paint damaged

105 CMR 451.141*	Screens: Screen damaged in window # 2

105 CMR 451.350	Structural Maintenance: Windows do not operate properly, propped open with books

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1, 2, and 3

Shower Stall

No Violations Noted

Unit # 4

Hallway

105 CMR 451.353*	Interior Maintenance: Radiator paint damaged

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in cell # 3

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1 and 2

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 3

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 2

Shower Stall

105 CMR 451.123*	Maintenance: Threshold paint damaged

Administration Area

Human Services

No Violations Noted

Staff Bathroom

No Violations Noted

3rd Floor

No Violations Noted

Office Bathroom

No Violations Noted

Hallway

No Violations Noted

Outside Areas

Outside Gym Area

No Violations Noted

Male Locker Room

No Violations Noted

Staff Bathroom

No Violations Noted

Female Locker Room

No Violations Noted

Staff Bathroom

No Violations Noted

Observations and Recommendations

- The inmate population was 18 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale														Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

James Neville, Superintendent							(electronic copy)

Anthony DelValle, EHSO							(electronic copy)

Matthew Poole, Health Agent, Edgartown Health Department  			(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate