This form certifies that elevator State ID:         Location:       is in compliance and ready for inspection

Car	                                                                               Machine Room

Current Certificate Posted 			 Battery Lowering

Telephone                                 			 Machine Room/Clean/Fire Extinguisher

Emergency Lights/Bell                              		 All Key Switches Working Properly

Phase I Key Switch Operation                                 	 Medical Emergency Key Switch

Phase II Key Switch Operation                           	 Stop Switch/Key

Door Restrictors 			   		 Low Oil

Fire Service Lighting       				 Gage Installed on Valve

Access Key Switches

Pits                                                                                      Top of car

Clean                                                                    	  Clean

Packing    						  Proper Lighting

(Water in pit) 					  Inspection Operation

(Oil in pit)						 Stop Switch

Roller Guide Shoes

To be Completed by Authorized Representative of Elevator Company Signature: Date: Contractor Registration Number: By typing name above you agree that it is valid as your signature.

Pre-Inspection Checklist certifies that the unit has been pre-tested prior to periodic inspection and must be available on site/in machine room at the time of inspection 524 CMR 5.03 (8) (11)