Commonwealth of Massachusetts

Department of Labor Standards

OSHA Consultation Program

www.mass.gov/dols/consult

EMERGENCY ACTION PLAN

(29CFR 1910.38)

An Emergency Action Plan must be  kept in the workplace and available for employees to review. The Emergency Action Plan must be in writing unless there are 10 or fewer employees, in which case the plan may be orally communicated.  Emergencies may include fires, chemical releases, natural disasters etc.  The emergency action plan must contain the following elements:

1.	Emergency escape procedures and routes.

2.	Procedures to be followed by employees who may be required to remain in

the facility to operate critical plant operations prior to evacuation.

3.	Procedures to account for all employees after evacuation is completed.

4.	Rescue and medical duties for employees who may be required to perform

them.

5.	Procedures for reporting fire and emergencies including posting of

emergency phone numbers.

6.	Names or job titles of persons or departments who can be contracted for

further information or explanation of duties under the plan.

In addition, the employer must establish an employee alarm system to warn employees.  For workplaces where there are 10 or fewer employees, direct voice communication (shouting) is an acceptable alternative as long as all employees can readily hear such an alert.

Training

A sufficient number of employees must be designated and trained to assist in the safe and orderly emergency evacuation of employees.  All employees must be trained initially and whenever changes in the plan or procedures are made.