# Environmental Review Checklist

Effective January 14, 2026

Supersedes May 29, 2023, version

The purpose of this Environmental Review Checklist (ERC) for the scoping, Pre-25% Over the Shoulder (OTS), and 25% project stages is to identify permitting requirements early in the design process and streamline environmental review.

The MassDOT Environmental Representative (ER) shall complete ERC items identified for MassDOT input, in consultation with the Subject Matter Expert (SME), in advance of the scoping session and Pre-25% OTS. The MassDOT ER will confirm findings with the consultant at the scoping session and Pre-25% OTS, update their responses, review with the SMEs, update ProjectInfo, and distribute the ERC to the Project Manager (PM) and consultant. The consultant will complete and submit ERC items identified for their input with additional responses, actions, and supporting documentation with the 25% design submission.

The MassDOT ER will populate the first section of the table below with project information. The consultant will populate, sign, and date the second section of the table certifying that the findings in this checklist have undergone a quality review. The consultant is responsible for ensuring compliance with regulatory updates in its findings.

| ## Project Details (MassDOT ER to populate) |  |  |  |
| --- | --- | --- | --- |
| Project Name: |  |  |  |
| Project Number: | MassDOT Project Manager: |  | MassDOT District: |
| Consultant: | Consultant Project Manager: |  | Consultant Environmental Preparer: |
| Environmental Representative: |  |  |  |
| Scoping Session Date: |  | Pre-25% OTS Date: |  |
| ProjectInfo Populated/ Documentation Saved Date: |  | ProjectInfo Updated/Documentation Saved Date: |  |

| ## Certification (Consultant to populate) |  |
| --- | --- |
| Consultant Project Manager Certification (sign and date): | Consultant Environmental Preparer Certification (sign and date): |

The MassDOT ER will populate the second column, titled “MassDOT ER Response – Scoping/Pre-25% OTS,” of the Environmental Permits and Approvals Summary on the next page with assistance from the SME. The consultant will populate additional responses and actions in the third column, titled “Consultant Response/Action – 25%,” and provide supporting documentation at 25%, indicating when draft permit applications will be provided. Some boxes labeled “No action required” indicate that no action is required by that party.

## Environmental Permits and Approvals Summary

Identify if permits/approvals below are required and state the anticipated permit type(s). Ensure each permit/approval type is considered. Consultant is responsible for submitting draft permit applications/documents to MassDOT Environmental by the 75% design submittal, unless otherwise noted. Per the 75% submittal checklist, failure to do so will result in the 75% design submittal being rejected or put on hold. If applicable, describe approximate impacts.

| Permit/Summary Questions | MassDOT ER Response - Scoping/Pre-25% OTS | Consultant Response/Action – 25% |
| --- | --- | --- |
| Bridge Exempt (Y/N): If yes, this exempts the replacement of bridges and culverts and necessary approach work with functionally equivalent structures from review under the Massachusetts Wetlands Protection Act (WPA), Chapter 91 of the Massachusetts Public Waterfront Act, and the Massachusetts Environmental Policy Act (MEPA). For more information, see Section 24 of the 2014 Transportation Bond Bill. |  |  |
| WPA (Request for Determination of Applicability [RDA], Notice of Intent [NOI], Variance) If yes, scope consultant to prepare draft application using WPA checklist.* |  |  |
| Chapter 91 (Minor Modification, Permit, License, or Amendment) If yes, scope consultant to prepare draft application. |  |  |
| Directly within or within 1 mile of environmental justice (EJ) community? If yes, inform consultant to consider if project is subject to MEPA review. |  |  |
| MEPA (Environmental Notification Form [ENF], Expanded ENF [EENF]/Rollover Environmental Impact Report [EIR], EENF/Single EIR, ENF/Draft EIR/Final EIR) If yes, scope consultant to prepare draft filing. Discuss schedule. Ensure the consultant considers EJ populations in filing approach. |  |  |
| NEPA (Programmatic or Individual Categorical Exclusion [CE]) If yes, inform consultant that MassDOT Environmental will prepare NEPA documentation, unless otherwise noted. See NEPA Classes of Action and MassDOT’s Programmatic Agreement with the Federal Highway Administration [FHWA] for guidance. |  |  |
| Section 401 (Individual Water Quality Certification [WQC] for Fill, Individual WQC for Dredge, WQC Variance) If yes, scope consultant to prepare draft application using 401/404 checklist.* |  |  |
| Section 404 (Non-Reporting, Pre-Construction Notification [PCN], Individual Permit) If yes, scope consultant to prepare draft application using 401/404 checklist.* Notes: Impacts to intermittent streams and isolated vegetated wetlands will be considered jurisdictional under Section 404 unless an approved jurisdictional determination has been obtained from the USACE. |  |  |
| U.S. Coast Guard (Bridge Permit, Surface Transportation and Uniform Relocation Assistance Act (STURAA) Exemption, Advance Approval) If yes, scope consultant to prepare draft application and potentially a navigation impact report. |  |  |
| Coastal Zone Management (CZM) Federal Consistency Review (Y/N) If CZM review is needed and will not be conducted through the Section 404 or MEPA review, scope consultant to prepare a draft federal consistency review determination letter to CZM at 25%. |  |  |
| Essential Fish Habitat (EFH) (Y/N) If yes, refer to “Notes” in Question 54 for guidance on scoping the consultant. |  |  |
| Section 7 Endangered Species Act (Y/N; U.S. Fish & Wildlife Service [USFWS] and/or National Marine Fisheries [NMFS]) If yes, write USFWS and/or NMFS to designate which consultation is required. Refer to “Notes” in Question 52 and 53 for guidance on scoping the consultant. |  |  |
| Natural Heritage & Endangered Species Program (NHESP) Estimated or Priority Habitat If yes, inform consultant that MassDOT Environmental will coordinate directly with NHESP unless otherwise noted. |  |  |
| Section 106 (In-House, No Adverse Effect, Adverse Effect) MassDOT Environmental will complete Section 106 documentation, unless otherwise noted by its Cultural Resources Unit (CRU). |  | No action required for consultant. |
| Adjacent Parkland or Wildlife Refuges for Section 4(f) (Y/N) If yes, MassDOT Environmental will handle Section 4(f) documentation and consultation. |  | No action required for consultant. |
| Adjacent Section 6(f) Properties (Y/N) If yes, MassDOT Environmental will handle Section 6(f) documentation and consultation. |  | No action required for consultant. |
| Article 97 (Y/N) If yes, inform consultant that this project may be subject to MEPA review. Coordinate with MassDOT Right-Of-Way (ROW) to confirm Article 97 applicability. Note that on rare occasions, temporary easements may be subject to Article 97. |  |  |
| Other (Section 408, Chapter 253, etc.) Use the following references to inform the Section 408 and Chapter 253 review processes: USACE Recreation Areas, USACE Navigation Projects, and/or USACE National Channel Framework, and the Chapter 253 Dam Safety Permit Process. If applicable, scope consultant to conduct these consultations in coordination with the Project Manager. These are engineering level reviews and not the responsibility of MassDOT Environmental. |  |  |

The MassDOT ER will populate the second column, titled “MassDOT ER Response – Scoping/Pre-25% OTS,” of the Detailed Questions below with assistance from the SME. The consultant will populate additional responses and actions in the third column, titled “Consultant Response/Action – 25%,” and provide supporting documentation at 25%, indicating when draft permit applications will be provided. Some boxes labeled “No action required” indicate that no action is required by that party.

## Detailed Questions

### Outreach and Coordination

Provide supporting outreach and coordination documentation in Attachment D.

| Outreach and Coordination Questions | MassDOT ER Response - Scoping/Pre-25% OTS | Consultant Response/Action – 25% |
| --- | --- | --- |
| Describe prior opportunities that have been provided for public participation and any public opposition or controversy to date. | No action required for MassDOT ER |  |
| Provide all written correspondence of coordination that has occurred to date with local boards, commissions, and officials to identify specific issues or concerns regarding the project purpose and need and general scope of work. | No action required for MassDOT ER. |  |
| If the proponent has presented the project in a public meeting setting, summarize findings and attach information regarding the meeting including the name of the public board/commission, the date and location, public comments, and any formal meeting minutes. | No action required for MassDOT ER. |  |
| Confirm the consultant will submit a letter to the Local Historical Commission (LHC) with a project description and locus map, seeking comments, at 25%. Provide a hard copy (with a scope of work and locus) by mail to the State Historic Preservation Officer (SHPO). Notes: The consultant will submit a signed and dated letter to the LHC (by email or mail) as part of the 25% submittal. The consultant will forward by mail a hard copy of the LHC letter, scope of work, and locus to the SHPO. An electronic copy of the LHC letter and locus will be sent to MassDOT CRU with the 25% ERC submission. MassDOT CRU staff will submit early notification letters and accompanying materials to the three federally recognized tribes in Massachusetts, as needed. | No action required for MassDOT ER. |  |
| Is the project within a local historic district (LHD)? Provide documentation of coordination with the Local Historic District Commission (LHDC). Notes: This only applies to projects where the Municipality is the project proponent. An LHD is under the purview of a LHDC. The LHDC regulates proposed physical or aesthetic changes within the LHD. An LHDC is a regulatory body and is different from an LHC, which is advisory. If a municipal project is within an LHD, the proponent must contact the LHDC early in the design process to determine if a Certificate of Appropriateness (COA) is required. The COA or any other correspondence to or from the LHDC must be submitted to MassDOT CRU before the Section 106 consultation can be completed. |  |  |
| Will work occur within a designated Wild & Scenic River (WSR), or within 0.25 miles upstream or downstream of a WSR and its tributaries? Notes: If yes, scope consultant to submit a letter to the National Park Service with a project description and locus map by 25%. The consultant shall attach a copy of the letter with the 25% ERC. |  |  |
| Has a draft letter to the MA Office of Coastal Zone Management been included in the ERC, if applicable? Notes: If Question 10 is answered yes, include the notification letter as an attachment for review by the MassDOT Wetlands Unit with the 25% ERC. |  |  |

### Massachusetts Environmental Policy Act (MEPA)

| MEPA Questions | MassDOT ER Response - Scoping/Pre-25% OTS | Consultant Response/Action – 25% |
| --- | --- | --- |
| Identify, describe, and provide a screenshot/map of EJ populations within 1 mile of project site using the Executive Office of Energy and Environmental Affairs (EEA) EJ Maps Viewer (or most recent map). Identify English isolation languages within 1 mile. Notes: Measure from center of limit of work. For linear projects, measure from start and end points, and representative locations along the corridor using GIS or CAD. If an EJ neighborhood is close, err on the side of including it. If the project limits are still in development, include a buffer line to accommodate expansion of the limit. Consultant to inform if 5-mile radius applies. |  |  |
| Identify any MEPA Review Thresholds anticipated to be met or exceeded and why. - Land - State Listed Species - Wetlands, Waterways, and Tidelands - Transportation - Air - Solid and Hazardous Waste - Historical and Archaeological Resources - Areas of Critical Environmental Concern Notes: If present, scope consultant to prepare editable (MS Word format .doc or other) MEPA documentation to complete the MEPA process. If within 1 mile of an EJ population (or 5 miles in unusual circumstances), discuss the MEPA filing approach, schedule, and documentation with the consultant, ensuring compliance with MEPA’s EJ analysis and outreach protocols. |  |  |

### Chapter 91

| Chapter 91 Questions | MassDOT ER Response - Scoping/Pre-25% OTS | Consultant Response/Action – 25% |
| --- | --- | --- |
| Does the project propose work below the Mean High Water (MHW) Mark, below Historic MHW Mark, within a Great Pond, or within or over a navigable waterway? Notes: Consult MassGIS MassMapper, wetlands delineation data, and survey basemapping to determine if any portion of the project is within Chapter 91 jurisdiction, which is below the MHW of a tideland, below the Historic MHW and within the more seaward of the following: a) 250 feet of the MHW or b) between MHW and the first public way; within a Great Pond (defined as any Pond that is larger than 10 acres); or within or any non-tidal navigable waterway (any waterway large enough to navigate with a kayak or canoe). If a Chapter 91 license or permit is required, notify the consultant that a draft application should be submitted to MassDOT Environmental as early as possible. The list of Great Ponds in MA is provided here. See more information on the Chapter 91 process. The MassDOT Wetlands Unit will coordinate with the consultant to determine if the project requires a license, permit, amendment, or minor modification to an existing license under Chapter 91 of the Massachusetts Public Waterfront Act. |  |  |

### Stormwater

MassDOT ER and Consultant should use the Water Quality Data Form (WQDF) and MassDOT Stormwater Design Guide (SDG) to support this section. The Water Quality Data Form provides project-specific stormwater treatment requirements based on the watershed the project is located, in accordance with the MassDOT Impaired Waters Program (IWP). There may be additional stormwater treatment requirements based on the Massachusetts Stormwater Standards.

| Stormwater Questions | MassDOT ER Response - Scoping/Pre-25% OTS | Consultant Response/Action – 25% |
| --- | --- | --- |
| Confirm a WQDF is included in the Pre-25% submittal. Notes: A WQDF is required for all MassDOT projects that propose to impact pavement at each design stage starting at Pre-25%. Provide in Attachment E. |  |  |
| Does the project require compliance with the Massachusetts Stormwater Standards? Notes: Compliance with the Massachusetts Stormwater Standards is required for projects requiring an Order of Conditions under the WPA or a 401 Water Quality Certification under the Clean Water Act. |  |  |
| Which MassDOT IWP watershed(s) (including priority level) is the project located within? Notes: Please refer to the MassDOT WQDF Reference Map. |  |  |
| Does the project require structural Stormwater Control Measures (SCMs) based on the following? |  |  |
| - The project is located within a priority 1, 2, or 3 watershed. |  |  |
| - The project is subject to the Massachusetts Stormwater Standards. |  |  |
| - The project is not subject to the Stormwater Standards but is anticipated to have a significant increase in impervious cover. Notes: Discuss with the MassDOT Stormwater Unit, as applicable. |  | No action required for consultant. |
| - Due to drainage related problems (e.g., flooding, erosion)? Notes: Consider reaching out to the municipality or district personnel for information on known drainage issues at the project location. | No action required for MassDOT ER. |  |
| Does drainage discharge within or to a Critical Area, as specified in Standard 6 of the Massachusetts Stormwater Standards? If yes, refer to the SDG on Standard 6 and identify the Critical Area. |  |  |
| Will the project disturb one or more acres of land and require coverage under the Environmental Protection Agency (EPA) Construction General Permit? |  |  |

### Wetlands

| Wetlands Questions | MassDOT ER Response - Scoping/Pre-25% OTS | Consultant Response/Action – 25% |
| --- | --- | --- |
| Does the project qualify for limited project status under the WPA? |  |  |
| Does the project trigger a WPA variance (e.g. For non-limited bordering vegetated wetland (BVW) impacts >5,000 sf; BVW fill within an area of critical environmental concern (ACEC); etc.) Notes: Consultant to provide approximate quantities. See the MassDOT Wetland Mitigation Design Guidelines from MassDOT Landscape Section to mitigate for direct impacts to BVW. |  |  |
| Does the project occur within Land Subject to Coastal Storm Flowage (LSCSF)? Notes: The landward boundary of LSCSF shall be determined by identifying where the Base Flood Elevation on the FEMA FIRM corresponds to the ground elevation. |  |  |
| Does the project exceed 100 cubic yards of dredging/excavation from below the mean hightide line for coastal waters and below the high-water mark for inland waters, triggering a Dredge WQC? Notes: Consultant to provide approximate quantities. |  |  |
| Will work occur within Outstanding Resource Waters? Notes: If yes, an individual WQC is required for fill within wetland resource areas (Order of Conditions cannot serve). |  |  |
| Does the project exceed 50 linear feet of bank impact, or 5,000 square feet of land under water (LUW), BVW, bordering land subject to flooding (BLSF), and riverfront area (RFA) impact, triggering a Wildlife Habitat Evaluation? Notes: Consultant to provide approximate quantities. |  |  |
| Does the project exceed 200 permanent linear feet or 1,300 square feet, whichever is less, of stream loss, triggering a U.S. Army Corps of Engineers (USACE) Mitigation/Stream Visual Assessment Protocol Form? Notes: Consultant to provide approximate quantities. |  |  |
| Does the project exceed 1/10 acre loss of vegetated wetland (VW), triggering a USACE Mitigation Plan? Notes: Consultant to provide approximate quantities. |  |  |
| Is the project within any USACE Special Aquatic Sites (salt marsh, tidal flats, vegetated shallows, etc.)? Notes: Review USACE Nationwide Permits (NWPs) for applicable thresholds. |  |  |
| Does the project require coordination with the Department of Conservation and Recreation under the Watershed Protection Act for work in the Quabbin Reservoir, Ware River, or Wachusett Reservoir watersheds? Notes: If applicable, specify whether an exemption request, RDA, or other coordination will be required. |  |  |
| Will work occur on bridges over U.S. Coast Guard (USCG) regulated navigable waterways? Notes: If the MassDOT ER response is yes or unknown, please answer questions a-d below. The MassDOT Wetlands Unit will coordinate with USCG during scoping to determine level of coordination required (e.g., Bridge Work Inspection & Repair Notification Form; Navigability Survey; Navigational Impact Report; STURAA Exemption; Advance Approval, and/or Bridge Permit). |  | No action required for consultant. |
| - Will the work change the vertical or horizontal clearance of the existing structure? Notes: If no, questions b., c., and d. are not applicable. | No action required for MassDOT ER. |  |
| - Is the waterway tidal? | No action required for MassDOT ER. |  |
| - Is the waterway used by vessels over 21 feet in length? | No action required for MassDOT ER. |  |
| - Is the waterway used by sail boats or cabin cruisers? | No action required for MassDOT ER. |  |

### Public Properties

| Public Properties Questions | MassDOT ER Response - Scoping/Pre-25% OTS | Consultant Response/Action – 25% |
| --- | --- | --- |
| Identify any publicly owned open space within the project area. Notes: Consult with MassGIS MassMapper (Openspace by level of protection layer) to conduct an initial screen of properties that may be protected under Section 4(f) of the US DOT Act, Article 97 of the Amendments to the Massachusetts Constitution, or Section 6(f) of the Land and Water Conservation Fund Act. A Section 4(f) property is any publicly owned park, recreation area, wildlife, or waterfowl refuge, or public or private historic site (on the National Register of Historic Places). Learn more on Section 4(f). Article 97 property is any property held in accordance with natural resources protection and is subject to EEA’s Article 97 Land Disposition Policy and a 2/3 in favor vote from State Legislature. Refer to MassGIS metadata to determine if a property is subject to Article 97, however a more in-depth analysis of a property deed may be required to make a final determination. Confirm applicability with MassDOT Right of Way. A property is protected under Section 6(f) if the attribute GRANTPROG1 or GRANTPROG2 is LWCF on the openspace data layer. |  |  |

### Rare Species, Fish, & Wildlife

| Rare Species, Fish, & Wildlife Questions | MassDOT ER Response - Scoping/Pre-25% OTS | Consultant Response/Action – 25% |
| --- | --- | --- |
| - Is the project within (NHESP) Priority Habitats of Rare Species or Estimated Habitats of Rare Wildlife? - Notes: If yes, notify the consultant that MassDOT will coordinate with NHESP. The consultant shall prepare a locus map (USGS topo 1:24,000 scale) clearly showing the project limits, with stationing, against NHESP Priority and Estimated Habitats, and certified and potential vernal pools data layers within the 25% ERC in Attachment B. MassDOT ER shall coordinate with MassDOT Wildlife & Endangered Species Unit (WESU) on projects within Priority Habitats of Rare Species or Estimated Habitats of Rare Wildlife. Please include MassDOT WESU in future design review submissions. |  |  |
| - Is the project within a State Wildlife Transportation Action Plan (SWTAP) High Opportunity Location or within the latest NHESP BioMap? - Notes: If yes, involve MassDOT WESU at or before 25% submission. Strive to provide terrestrial wildlife passage and aquatic connectivity through the design of culvert and bridge replacements. MassDOT WESU will coordinate with MassWildlife or other agencies. Consider best management practices (BMPs) such as natural stream bed, bank, wildlife benches, vegetated rockfill, wildlife fencing, or other fluvial geomorphology considerations. The consultant should respond with background on existing environmental constraints and provide recommendations for wildlife connectivity improvements. Please include MassDOT WESU in future design review submissions. |  |  |
| If either Question 47 or 48 is answered yes, what are the needs and opportunities related to existing wildlife conflict issues and what wildlife accommodations does MassDOT WESU recommend for this project? Notes: Please include MassDOT WESU in future design review submissions. |  |  |
| Are there any vernal pools (e.g., certified or potential vernal pools) within or adjacent to the project limits? Notes: Strive to avoid impacts to the vernal pool and its surrounding habitat. |  |  |
| State whether any federally listed species or critical habitat is potentially known within the project area using the U.S. Fish and Wildlife Service’s Information for Planning and Conservation (IPaC) Tool. State the species or critical habitat. |  |  |
| Was the Northern Long-eared Bat or Tricolored Bat identified through IPaC as potentially within the project limits? Notes: If yes, consultant shall prepare the attached Northern long-eared bat and Tricolored Bat form and submit with the 25% ERC in Attachment F. |  |  |
| State what federally listed aquatic species or critical habitat are known to potentially occur within the project limits using the NMFS Greater Atlantic Region Fisheries Office (GARFO) Section 7 Species/Critical Habitat Information & Maps. Notes: If applicable, confirm if consultant has a qualified biologist / environmental scientist experienced in Section 7 of the Endangered Species Act. If yes, scope consultant for Section 7; if no, MassDOT Environmental will hire open services consultant. If Federal Aid, scope consultant to complete the NMFS Programmatic Form and provide at 25%; If no Federal Aid, the USACE will be the lead federal agency for Section 7 consultation, and the consultant shall prepare an affects analysis and recommended determination under the Endangered Species Act (ESA) to be included in the USACE permit application. |  |  |
| Does the project occur within designated Essential Fish Habitat (EFH) using National Marine Fisheries Service’s EFH Mapper or the MA Division of Marine Fisheries (DMF) Migratory Habitat Datalayer? Notes: If yes, confirm if consultant has a qualified fisheries biologist / environmental scientist experienced in EFH Assessment (EFHA). If yes, scope consultant for EFHA; if no, MassDOT Environmental will hire open services consultant. If Federal Aid, use the Federal Highway Administration (FHWA) Programmatic Agreement. If no Federal Aid, use the EFH and Fish and Wildlife Coordination Act Worksheet. If the project requires work within wetlands or will result in temporary or permanent water quality impacts (e.g., more than minor increase in impervious area/stormwater runoff; turbidity; etc.) associated with EFH, complete the EFH and Fish and Wildlife Coordination Act Worksheet and submit to MassDOT Environmental with the 25% submission. Consider activities such as noise, fish passage, and turbidity when determining consultation requirements and restrictions. |  |  |
| Is the project within any coldwater fisheries or within the DMF Priority Projects Datalayer? Notes: Consider fish passage, appropriate BMPs such as natural stream bed and bank, wildlife benches, vegetated rockfill, fluvial geomorphology considerations, and minimizing tree clearing/maximize shading near streams. MassDOT ER shall coordinate with MassDOT WESU Unit on projects within coldwater fisheries or the DMF Priority Projects Datalayer. Please include MassDOT WESU in future design review submissions. |  |  |
| Does the project include new, or replacement or extension (for culverts) of existing, culverts and bridges over rivers and streams? Notes: If yes, notify the consultant that the Massachusetts Stream Crossing Standards are applicable to non-tidal stream crossings, must be met to the maximum extent practicable (MEP), and an alternatives analysis for each structure shall be provided within the applicable permit applications. In addition, new non-tidal stream crossings must fully meet the Stream Crossing Standards, and the consultant shall provide a narrative description of how the standards have been fully met within the applicable permit applications. |  |  |

### Cultural Resources

| Cultural Resources Questions | MassDOT ER Response - Scoping/Pre-25% OTS | Consultant Response/Action – 25% |
| --- | --- | --- |
| Identify known cultural and historical resources in the project area using the Massachusetts Historical Commission’s Massachusetts Cultural Resource Information System (MACRIS) database. Notes: These include properties or structures listed on the National/State Register(s) of Historic Places or the Inventory of Historic and Archaeological Assets of the Commonwealth. If the project area is within a historic district, the MassDOT ER will inform the consultant. |  | No action required for consultant. |
| Ensure all areas of potential earth disturbance outside of the Highway Layout are identified so MassDOT CRU can determine if an archaeological survey is warranted. Notes: Limits of earth disturbance are generally the limit of slope work, but it will be necessary to identify other aspects of the project such as landscape improvements, wetland replication areas, SCMs, climate change resiliency measures, etc. | No action required for MassDOT ER. |  |

### Hazmat

| Hazmat Questions | MassDOT ER Response - Scoping/Pre-25% OTS | Consultant Response/Action – 25% |
| --- | --- | --- |
| Provide a summary of historic and current land use within the project area utilizing online resources such as the Massachusetts Department of Environmental Protection (MassDEP) Bureau of Waste Site Cleanup (BWSC) online site database, ESRI Imagery, Aerial Photographs, Historic Fill Maps, and Sanborn Maps. | No action required for MassDOT ER. Consultant hazmat assessment is expected as part of the ERC. |  |
| Provide a summary of local potential sources and adjacent release sites and sources of contamination (e.g., dry cleaners, tannery, dump ground, former landfill, active landfill, auto shredding, etc.) using MassDEP Online Search Tools, Sanborn Maps, Aerial Photographs, and Historic Fill Maps. | No action required for MassDOT ER. Consultant hazmat assessment is expected as part of the ERC. |  |
| Are there any known/suspect contaminated sites within and/or adjacent to project limits? Notes: If yes, on the site locus and existing conditions plan in Attachment G, identify boundaries of any MassDEP Release Tracking Numbers (RTNs), Toxic Substance Control Act (TSCA), superfund sites, and/or brownfield sites that abut or cross into project limits. Provide a statement of determination on whether there is any residual contamination in these known/suspect contaminated sites that could potentially impact the project limits. | No action required for MassDOT ER. Consultant hazmat assessment is expected as part of the ERC. |  |
| Are there any Activity Use Limitations (AULs) and/or Conditions associated with a Permanent Solution? Notes: If yes, Attachment G should include a figure depicting an outline of AUL/Conditions area and details of key regulatory obligations and cover requirements. | No action required for MassDOT ER. Consultant hazmat assessment is expected as part of the ERC. |  |
| For projects involving excavation work, provide any pre-existing sampling results from sites identified in Questions 59 and 60. Provide sample location plans, data tables comparing data to applicable regulatory thresholds, and laboratory reports of any existing soil, sediment, and/or groundwater sampling data. Also, provide available geotechnical boring data and historic topographic maps. | No action required for MassDOT ER. Consultant hazmat assessment is expected as part of the ERC. |  |
| Will the project generate excess soil? Notes: If yes, consultant to evaluate and provide a summary of onsite (e.g., raising grades, etc.) and/or offsite (at nearby offsite locations within the ROW, such as ramps/interchange lobes etc.) reuse opportunities and disposal options. On-site soil reuse should be prioritized, taking into account geotechnical suitability and performance considerations Consultant should also evaluate temporary stockpile locations (for soil awaiting onsite reuse or permanent off-site disposal). If off-site temporary stockpiling is required, consultant should communicate this information with the bidders via put-in section of Special Provisions. Review MassDOT Policy Directive P-22-001 for additional guidance. | No action required for MassDOT ER. Consultant hazmat assessment is expected as part of the ERC. |  |
| For rail trail projects, refer to the MassDEP Best Management Practices for Controlling Exposure to Soil During the Development of Rail Trails. | No action required for MassDOT ER. Consultant hazmat assessment is expected as part of the ERC. |  |
| For projects that involve/anticipate asbestos (either in building materials, utilities, and/or soil), review MassDEP asbestos regulations and guidance. | No action required for MassDOT ER. Consultant hazmat assessment is expected as part of the ERC. |  |
| For projects that anticipate Polychlorinated biphenyls (PCBs) in soil, sediment and/or groundwater, review the EPA TSCA regulations and guidance for potential need of additional assessment and EPA involvement. Design-phase soil assessment may be needed for projects with PCB impacts. | No action required for MassDOT ER. Consultant hazmat assessment is expected as part of the ERC. |  |
| Will the project require dewatering of contaminated or potentially contaminated groundwater? Notes: If yes, consultant to indicate whether onsite recharge is feasible or if offsite discharge under a National Pollutant Discharge Elimination System (NPDES)/Massachusetts Water Resources Authority (MWRA) permit is required. | No action required for MassDOT ER. Consultant hazmat assessment is expected as part of the ERC. |  |
| Identify all existing construction materials (inclusive of any non-soil materials) within the project limits which may require handling as hazardous waste or be subject to other environmental handling regulations upon disposal. Notes: Materials include (but are not limited to) suspected treated timber, asbestos, lead-based paint, mercury switches, PCB-containing materials, utility construction materials, etc. Consultant should evaluate the project scope and indicate whether a pre-demolition hazardous materials survey is required. | No action required for MassDOT ER. Consultant hazmat assessment is expected as part of the ERC. |  |

### National Environmental Policy Act (NEPA)

| NEPA Questions | MassDOT ER Response - Scoping/Pre-25% OTS | Consultant Response/Action – 25% |
| --- | --- | --- |
| Will the project require any building demolition or substantial ROW? Notes: If building demolition is anticipated (either in full or as part of renovations), notify MassDOT PM upon submittal of the 25% design, so the ROW section can secure access to the property. Notify the hazmat review group to initiate a hazardous materials building survey if needed. Notify MassDOT CRU if demolition includes a historic structure identified in Question 57. |  |  |
| Provide justification for proposed easements that are associated with environmental mitigation, BMPs, regulatory requirements, etc. Consider context of the area when identifying and proposing easements. | No action required for MassDOT ER. |  |
| Is this project a Type I Action necessitating a Type I Noise Assessment in accordance with MassDOT’s Type I and Type II Noise Abatement Policies and Procedures? Notes: A project is a Type I Project if it involves the following activities: - The construction of a highway on new location; - The physical alteration of an existing highway where there is either a substantial horizontal alteration or a substantial vertical alteration (Note that a substantial horizontal alteration is defined as when the distance is halved between a sensitive noise receptor- such as a building or park- and the through travel lane, and a substantial vertical alteration is defined as when the existing shielding is removed between the new roadway elevation and a sensitive noise receptor.); - The addition of a through traffic lane(s); - The addition of an auxiliary lane (greater than 2500 feet in length), except for when the auxiliary lane is a turn lane; - The addition or relocation of interchange lanes or ramps added to a quadrant to complete an existing partial interchange; - Restriping existing pavement for the purpose of adding a through-traffic lane or an auxiliary lane; or, - The addition of a new or substantial alteration of a weigh station, rest stop, ride-share lot or toll plaza. If yes, coordinate with the consultant to have the required Type I Noise Assessment completed. The outcome and recommendations of the Type I Noise Assessment will be communicated with the Design Engineer. Please see the Type I and Type II Noise Program Guidebook for more information about Type I projects. |  |  |

### Resiliency

MassDOT Environmental is currently updating its workflows to enhance vulnerability screening. Consult with MassDOT Environmental’s webpage for future resiliency documentation that may be posted at a future date.

| Resiliency Questions | MassDOT ER Response - Scoping/Pre-25% OTS | Consultant Response/Action – 25% |
| --- | --- | --- |
| Are there any transportation assets that may be subjected to flooding, failure, damage or clogging from extreme weather events, storm surges, and/or projected sea-level rise? If yes, should future climate change conditions be considered and should aspects of the project be designed to increase resilience? Explain. Notes: Due to the evolving nature of resiliency-related information, consult the best available sources at the time this section is completed. State or provide the dataset, study, analysis, or research (such as the Resilient MA Action Team (RMAT) Tool, sea level rise maps, MassDOT/FHWA Asset Management, Extreme Weather and Proxy Indicators Pilot Project, Deerfield River Watershed Vulnerability Assessment, etc.) that was used to aid in the assessment and design of the resiliency actions. |  |  |
| Provide analyses, if any, in Attachment H that informed the 25% design (e.g., hydraulic & hydrologic (H&H) analyses; fluvial geomorphology assessment; etc.). Notes: H&H analyses and/or fluvial geomorphology assessment are typically required for bridges or culverts greater than 10 feet. |  |  |
| Is the project within the coastal zone? Notes: If yes, consult FHWA’s HEC-25 Highways in the Coastal Environment which integrates coastal engineering principles to address challenges unique to coastal areas, such as coastal erosion, storm surge, and wave loads. Document relevant findings in response. |  |  |
| Is the project area in an effective Federal Emergency Management Agency (FEMA) Flood Zone? If yes, what flood zone or zones cover all or part of the project area (e.g. Zone A, AE, V, VE, etc.)? Notes: Scope consultant to identify base flood elevation. Include the applicable Flood Insurance Rate Map (FIRM) panel(s). Graphically identify the project location on the FIRM panel(s). |  |  |
| Is a FEMA designated Floodway present? Notes: Use FEMA’s Map Service Center to find effective, preliminary, pending, and historical products for a given map quadrant. Indicate the project location on the FIRM panel by outlining the project area in red. If the scale of the FIRM is too small to easily discern the project area, create and submit a more zoomed in FIRMette. Placing fill or a new or revised structure within a FEMA designated Floodway requires a no rise analysis to determine if the project will require a Letter of Map Revision (LOMR). The consultant must coordinate with MassDOT Hydraulics Section if fill or a new or revised structure is proposed to a FEMA designated Floodway and provide the no rise analysis with the 25% submission, if required. |  |  |
| Does the project experience a maximum extreme heat equal to or greater than 3 according to the Trust for Public Land 2024 Heat Severity Index? Notes: Refer to this data layer: Trust for Public Land 2024 Heat Severity Index. If yes, justify any tree removal and consider tree plantings within the highest heat severity areas. |  |  |

*Check MassDOT Environmental’s webpage for latest version (MassDOT Environmental).

## ATTACHMENTS FOR CONSULTANT TO PROVIDE WITH 25% SUBMISSION

(If not applicable, note)

Attachment A:	Project Description

Attachment B:	Figures

- Figure 1: USGS Locus

- Figure 2: Aerial Locus

- Figure 3: NHESP Locus

- Figure 4: FEMA FIRM

- Figure 5: Critical Resources Locus

- Figure 7: Openspace Resources Locus

- Figure 8: EJ Map

- Figure 9: Preliminary Environmental / Landscape Site Assessment (Aerial image figure(s) to identify suitable areas for wetland mitigation, potential areas and BMPs for stormwater treatment, invasive species found on site, etc.)

Attachment C:	MEPA/NEPA Supporting Documentation

- EJ Analysis (if MEPA EJ EIR)

- Proposed Outreach Plan (if MEPA EJ EIR)

- Draft EJ Screening Form (if MEPA EJ EIR)

- MEPA Review and Filing Schedule with Advanced Notification Milestones (if MEPA EJ EIR)

- RMAT Tool Output Preview Report (for all MEPA filing types)

Attachment D:	Additional Outreach/Early Coordination Supporting Documentation

Attachment E:	Water Quality Data Form

Attachment F:	Wildlife Supporting Documentation

Attachment G:	Hazardous Materials Supporting Documentation

Attachment H:	Resiliency Supporting Documentation (consult with MassDOT Environmental’s webpage for resiliency documentation that may be posted at a future date)

Attachment I:	Photographic documentation of field conditions and features (e.g., drainage features, wetland replication areas, wetlands to be altered, roadway conditions, intersection conditions, bicycle/pedestrian facilities, historic features, open space)

*Check MassDOT Environmental’s website for latest version (MassDOT Environmental).

## MEPA EJ ANALYSIS AND OUTREACH INSTRUCTIONS

If MEPA documentation is required and the project is subject to MEPA’s EJ Protocols and amended regulations, effective January 2022, include an EJ analysis and outreach plan in Attachment C in compliance with MEPA’s Public Involvement Protocol on EJ Populations and Protocol for Analysis of Project Impacts on EJ Populations. This information must be included as part of the MEPA filing.

Below summarizes the main requirements of the EJ analysis. The consultant should use this for guidance; however, the protocol above, or latest MEPA guidance, must be consulted for detailed instructions.

- Identification and locus map of EJ populations within 1 mile and 5 miles of the project site using MEPA’s EJ Map Viewer.

  - Measure from center of limit of work – for linear projects, measure from start and end points, and representative locations along the corridor. If EJ neighborhood is close, err on the side of including it. Additionally, if the project limits are still in development, include an additional buffer line to accommodate expansion of the limits.

- Narrative describing characteristics of the EJ populations within 1 mile of the project (e.g., the census block group identification number and EJ characteristics of “Minority”, “Minority and Income”, etc.).

  - If an EJ population has been identified within 5 miles of the project site, confirm that the project will not: meet or exceed thresholds under 301 CMR 1.03(8)(a)-(b); or generate 150 or more new average daily trips (ADT) of diesel vehicle traffic over a duration of 1 year or more.

- All languages in the 1 or 5 mile radius using the “Languages Spoken in Massachusetts” tab of the EJ Map Viewer. Identify which of these census tracts overlap with an EJ block group.

- Assessment of existing unfair or inequitable environmental burden. Consider the following:

  - Massachusetts Department of Public Health (MassDPH) EJ Tool, RMAT Tool, U.S. EPA’s EJ Screen

  - Feedback from outreach

- Analysis of project impacts to determine disproportionate adverse effect. Consider the following:

  - The nature and severity of the project environmental and public health impacts

  - The comparative impact on EJ populations versus non-EJ populations within the project site or other comparable areas

  - Construction period and permanent impacts

  - Project benefits

- Analysis of project impacts to determine change effects

- Enhanced Mitigation for project impacts to the EJ community. This is in addition to Mitigation and Section 61 Findings

- If these populations are reasonably found to be negatively affected by project, description of measures to promote public involvement with these EJ populations prior to filing ENF and during ENF review.

## NORTHERN LONG-EARED BAT/TRICOLORED BAT INSTRUCTIONS

If the Northern Long-eared Bat is determined through IPaC to potentially occur with the project limits, please complete a) through j):

  - Does the project include any activities that are greater than 300 feet from existing, actively used road/rail surfaces?

  - Review the following map: NHESP No. Long-eared Bat Locations (arcgis.com). Does the project include any activities within 0.5 miles of a known NLEB hibernaculum or within 0.25 miles of a maternity roost tree?

  - Is the project located within a karst area (map)?

  - Tree Trimming / Removal
Include an estimate, in acres, of all proposed clearing, grubbing, tree trimming, and tree removal for the areas listed in the table below. If number of trees is described, multiply by 0.09 to convert to acreage and add that number into the total.

| Tree Removal Location | Total (acres) |
| --- | --- |
| 0-100 feet of existing road/rail surfaces |  |
| 100-300 feet of existing road/rail surfaces |  |
| Over 300 feet from existing road/rail surfaces |  |

  - Does the project include any bridge removal, replacement, and/or maintenance? If yes:

      - Describe the proposed bridge work and timing of the work (month/season/year).

  - Does the project include the removal, replacement, and/or maintenance of any structure other than a bridge? (e.g., rest areas, offices, sheds, outbuildings, barns, parking garages, etc.). If yes:

      - Describe the proposed structure work and timing of the work (month/season/year).

  - Will the project involve the use of any temporary lighting?

  - Will the project install new or replace existing permanent lighting? If yes:

      - If replacing, have you considered using downward-facing, full cut-off lens lights (with same intensity or less for replacement lighting); or when using the BUG system, the goal is to be as close to 0 for all three ratings with a priority of "uplight" of 0 and "backlight" as low as practicable.

      - If proposing new, are lights increasing existing ambient lighting conditions?

  - Does the project include percussive or other activities (not including tree, bridge, or structure work) that will increase noise levels above existing traffic/background levels? [Examples: temporary use of pile drivers, rock drills, jackhammers, hoe rams, chainsaws, or blasting.]

  - Will the project raise the road profile above the tree canopy?

Projects that reach the 25% design after January 14, 2026, are required to submit this version of the ERC.  Projects that reached the 25% design prior to January 14, 2026, do not need to resubmit the ERC.