ERRATA SHEET

19 January 2001

The HUDSON RIVER BASIN 1997/1998 WATER QUALITY ASSESSMENT REPORT was prepared by Laurie E. Kennedy and Mollie J. Weinstein at the Department of Environmental Protection, Division of Watershed Management.  Report Number 11/12/13-AC-1.  DWM Control Number 15.0

# Pg 5 ASSESSMENT METHODOLOGY

In the AQUATIC LIFE USE guidance Phosphate – P should read Total Phosphorus.

# Pg 6 ASSESSMENT METHODOLOGY

In the FISH CONSUMPTION USE guidance the second sentence in the first paragraph should read… This assessment is made using the most recent list of Fish Consumption Advisories issued by the Massachusetts Executive Office of Health and Human Services, Department of Public Health (DPH), Bureau of Environmental Health Assessment. Fish Consumption Advisory List

# Pg 7 ASSESSMENT METHODOLOGY

# In the PRIMARY CONTACT RECREATIONAL USE guidance the wet weather guidance for fecal coliform bacteria for partial support should read…. Wet Weather Guidance Dry weather samples meet and wet samples > >2000/100 ml

# Pg 8 ASSESSMENT METHODOLOGY

In the SECONDARY CONTACT RECREATIONAL USE guidance the wet weather guidance for fecal coliform bacteria for partial support should read…. Wet Weather Guidance Dry weather samples meet and wet samples > >4000/100 ml

## Pg 22	THUNDER BROOK (Segment MA11-10)

The location should read….   Source, Cheshire to confluence with Kitchen Brook Hoosic River, Cheshire.

## Pg 23	SOUTH BROOK (SEGMENT MA11-15)

The location should read….Source, Cheshire West of Weston Mountain, Dalton to confluence with Kitchen Brook Hoosic River, Cheshire.

## Pg 27 BASSETT BROOK (Segment MA11-17)

Inset map is incorrect the brook flows from its source west of West Mountain Road, Adams to inlet of Bassett Reservoir, Cheshire.

## Pg 35	TOPHET BROOK (Segment MA11-19)

The location should read…. Source west of Jackson Burnett Road Savoy (in the Savoy Mountain State Forest Wildlife Management Area) to the confluence with the Hoosic River, Adams.

## Pg 37 HOOSIC RIVER (Segment MA11-04), WITHDRAWALS AND DISCHARGES

- NPDES PermitMA0100315 should read as follows: issued September 1992.  Adams Wastewater Treatment Plant is authorized to discharge via outfall #001 5.1 MGD of treated wastewater to the Hoosic River.

# Pg A4 APPENDIX A REFERENCES

The reference to CN 1.1 should reference CN 1.0. MA DEP.  1999. CN 1.0 Grab Collection Techniques for DWM Water Quality Sampling 1999. Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester, MA.

# Pg A4 APPENDIX A REFERENCES

Reference five should read…. 	MA DEP.  1999.  CN 4.0 Hydrolab® Multiprobe Series 3 and Appendixes CN 4.1 – 4.5, 1999. Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester, MA.

# Pg A4 APPENDIX A REFERENCES

Reference eight should read…. 	MA DEP.  1999.  CN 9.0 1998 Watershed QA/QC Assessment Report , 1999. Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester, MA.

# Pg A4 APPENDIX A REFERENCES

Reference nine should read…. Clesceri, L.S, A.E. Greenberg, and A.D. Eaton, (editors).  Standard Methods for the Examination of Water and Wastewater, 20th Edition, 1998. American Public Health Association, Washington, D.C.  Section 1010B “Statistics”, pg. 1-2 and 1-3.

Pg A-10 APPENDIX A A.3 ANALYTICAL METHODS

Chlorodane should be spelled Chlordane							Hexachlorocyclepentadiene should be spelled Hexachlorocyclopentadiene