The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-695-7447

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

February 11, 2021

Kevin F. Coppinger, Sheriff

Essex County Sheriff’s Department Headquarters

20 Manning Avenue

Middleton, MA 01929		(electronic copy)

Re: Facility Inspection - Essex County Correctional Alternative Center, Lawrence

Dear Sheriff Coppinger:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the Essex County Correctional Alternative Center on February 4, 2021 accompanied by Sean Gallagher, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 5 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Amy Medeiros

Environmental Health Inspector, CSP, BEH

cc: 	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 		(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Acting Director, Policy Development and Compliance Unit	 	(electronic copy)

Heidi Mora, Superintendent							(electronic copy)

Jose Hernandez, Assistant Superintendent						(electronic copy)

Sean Gallagher, EHSO  								(electronic copy)

Michael Armano, Director, Lawrence Inspectional Services				(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Main Building

Nurse’s Office

No Violations Noted

Storage Closet

No Violations Noted

Nurse’s Bathroom

No Violations Noted

# Food Service Areas

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

North Side 1st Floor

Dining Room

No Violations Noted

Ice Machine

No Violations Noted

Tray Room

FC 6-501.114(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Non-functional equipment not repaired or removed from premises, warewashing machine was out-of-order

Male Visitor’s Bathroom

No Violations Noted

Female Visitor’s Bathroom

No Violations Noted

Kitchen

Back Serving Area

No Violations Noted

2-Door Refrigerators

No Violations Noted

Serving/Prep Tables

No Violations Noted

Office

105 CMR 590.011(C)(3)(b)(1)	Additional Requirements: Food Allergy Awareness Training, food protection manager did not post Massachusetts food allergen awareness training certificate

Dry Storage Closet

No Violations Noted

Chemical Closet

No Violations Noted

Freezer (F2)

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice build-up on shelves

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to ice, build-up on boxes of food

Walk-in Refrigerator and Freezer (same unit)

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice build-up on floor

Main Kitchen Area

Office

No Violations Noted

Prep Tables

No Violations Noted

Loading Dock

No Violations Noted

2-Compartment Sink (Left)

No Violations Noted

2-Compartment Sink (Center)

No Violations Noted

2-Compartment Sink (Right)

No Violations Noted

Handwash Sink

No Violations Noted

Steamer

No Violations Noted

Ovens and Hoods

No Violations Noted

Kettles

No Violations Noted

Slop Sink

FC 6-501.16	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Wet mop stored upside down

Ice Machine

No Violations Noted

North Side 2nd Floor

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 1 clogged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leading at handwash sink # 4

105 CMR 451.126	Hot Water: Hot water temperature recorded at 900F

North Side 3rd Floor

Bathroom

105 CMR 451.123	Maintenance: Screen missing

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1050F

Main Bathroom

Toilets and Handwash Sinks

105 CMR 451.126	Hot Water: Hot water temperature recorded at 950F

Main Shower

105 CMR 451.121(A)*	Privacy: No privacy partition between showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 14 and 15 leaking

105 CMR 451.123*	Maintenance: Mildew on walls

Slop Sink

Unable to Inspect – Not Used

Officer’s Weight Room

No Violations Noted

Female Staff Bathroom

No Violations Noted

Male Staff Bathroom

Unable to Inspect – In Use

Back Building

Toilets and Handwash Sinks

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 4 loose

Shower Room

105 CMR 451.121(A)	Privacy: No privacy partition between showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 5 leaking

Annex Building

Basement

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 3 and 5 leaking at faucet

Slop Sink

No Violations Noted

Inmate Shower Room

105 CMR 451.121(A)*	Privacy: No privacy partition between showers

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 2 and 8 leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 3 missing shower head

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1250F

Observations and Recommendations

- The inmate population was 77 at the time of inspection.

- The Department recommends that the policies and procedures specific to Essex County Correctional Alternative Center pertaining to compliance with 105 CMR 480.000 be kept in a 3 ring binder in the Nurse’s Office so that is accessible to anyone who may require it.

- At the time of inspection, the warewash machine was out-of-order. As an interim measure, the facility had switched to Styrofoam trays and disposable utensils. The kitchen staff stated a service call had been placed.

- During the COVID-19 pandemic there have been several changes made to the conduct of inspections for the CSP, one of those changes made include reducing the amount of time CSP inspectors spend at one facility during an inspection. During the most recent inspection of your facility the CSP conducted an abbreviated inspection of your facility focusing on those areas that have historically shown up on past reports as well as areas of high concern for health and safety. The focused inspection was conducted in an effort to reduce COVID-19 exposure to facility staff, inmates and CSP inspectors, because of this, the inspection report is significantly shortened. We hope to return to standard inspectional procedures soon.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Medeiros														Environmental Health Inspector, CSP, BEH