The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

180 Beaman Street, West Boylston, MA 01583

Phone: 508-792-7880 Fax: 508-792-7706

TTY: 508-835-9796

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

April 2, 2019

Kevin F. Coppinger, Sheriff

Essex County Sheriff’s Department Headquarters

20 Manning Avenue

Middleton, MA 01929		(electronic copy)

Re: Facility Inspection - Essex County Correctional Alternative Center, Lawrence

Dear Sheriff Coppinger:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and          105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Essex County Correctional Alternative Center on March 20, 2019 accompanied by Sergeant Chris Goudreault. Violations noted during the inspection are listed below including 96 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Main Building

Nurse’s Office

105 CMR 480.500(A)(3)*	Procedures; Records; Record-Keeping Log: Generator had no written documentation for blood borne pathogen training

105 CMR 480.500(A)(4)*	Procedures; Records; Record-Keeping Log: Generator had no written documentation of emergency contact information

105 CMR 480.500(A)(5)*	Procedures; Records; Record-Keeping Log: Generator had no written documentation for all on-site waste storage areas including the capacity and duration of waste storage

Storage Closet

No Violations Noted

Nurse’s Bathroom

No Violations Noted

Lobby

No Violations Noted

Control Room

No Violations Noted

Shift Commander’s Office

Unable to Inspect –Under Construction

Parole Office

No Violations Noted

Bathroom (in Parole Office)

No Violations Noted

Hallway

No Violations Noted

Staff Break Room

No Violations Noted

Storage Room (downstairs in Break Room)

No Violations Noted

Second Floor Lobby

Deputy of Maintenance Office

No Violations Noted

Male Staff Bathroom

No Violations Noted

Assistant Superintendent’s Office

No Violations Noted

Superintendent’s Office

No Violations Noted

Conference Room

105 CMR 451.141	Screens: Screen missing

Female Staff Bathroom

No Violations Noted

Director of Programing Office

No Violations Noted

South Side 1st Floor

Attorney Rooms

No Violations Noted

Work Release Waiting Area

No Violations Noted

Work Release Office

No Violations Noted

Bracelet Office

No Violations Noted

Records Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Reintegration Office

No Violations Noted

Female Staff Bathroom

No Violations Noted

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling water damaged

Offices

No Violations Noted

Intake Area

Urine Lab

No Violations Noted

Shake Down Rooms

No Violations Noted

South Side 2nd Floor

Hallway

105 CMR 451.141	Screens: Screen missing

Room # S201

105 CMR 451.141	Screens: Screen missing

Room # S202

105 CMR 451.141	Screens: Screen missing

Room # S203

105 CMR 451.141*	Screens: Screen missing

Room # S204

105 CMR 451.353*	Interior Maintenance: Wall damaged

Room # S205

105 CMR 451.353*	Interior Maintenance: Wall damaged

105 CMR 451.141	Screens: Screen damaged

Room # S206

105 CMR 451.141	Screens: Screen missing

Room # S207

105 CMR 451.141*	Screens: Screen damaged

Room # S208

No Violations Noted

Bathroom

No Violations Noted

Room # S209

105 CMR 451.353*	Interior Maintenance: Heater rusted

105 CMR 451.353	Interior Maintenance: Light shield damaged

Room # S210

105 CMR 451.141	Screens: Screen missing

Room # S211

105 CMR 451.353*	Interior Maintenance: Ceiling cracked

Storage Room

No Violations Noted

South Side 3rd Floor

Hallway

No Violations Noted

Staff Bathroom

No Violations Noted

Storage Closet

Unable to Inspect – Locked

Lieutenant’s Office

No Violations Noted

Investigator’s Office

No Violations Noted

Hallway

No Violations Noted

Room # S301

105 CMR 451.340	Illumination: Insufficient lighting, light out

Room # S302

105 CMR 451.353*	Interior Maintenance: Door damaged near door knob

Property Room

Unable to Inspect – Locked

Room # S303

105 CMR 451.353*	Interior Maintenance: Outlet faceplate missing

Room # S304

105 CMR 451.340	Illumination: Insufficient lighting, light out

Room # S305

105 CMR 451.353*	Interior Maintenance: Door damaged

105 CMR 451.141	Screens: Screen missing

105 CMR 451.353*	Interior Maintenance: Wall damaged

105 CMR 451.340	Illumination: Insufficient lighting, light out

Inmate Bathroom

105 CMR 451.123	Maintenance: Light switch damaged

105 CMR 451.123	Maintenance: Wires exposed on light

105 CMR 451.123	Maintenance: Sink dirty

North Side 1st Floor

Dining Room

No Violations Noted

Ice Machine

FC 4-602.11(E)(4)(b)*	Cleaning of Equipment and Utensils, Frequency: Interior surfaces of ice machine dirty

Tray Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, mold observed on wall behind warewash machine

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at handwashing sink, no paper towels

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine sanitizer solution tested greater 	than recommended concentration

Male Visitor’s Bathroom

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Changing table dirty

Female Visitor’s Bathroom

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Changing table dirty

Kitchen

Back Serving Area

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed

3-Door Refrigerator

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

FC 3-501.16(B)*	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator temperature recorded at 460F

Serving/Prep Tables

No Violations Noted

Chemical Closet

No Violations Noted

Dry Storage Closet

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensils handle stored below the food and container line, cups stored in products

Freezer (F2)

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, excessive ice build-up on floor

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to ice, build-up on boxes of frozen fried patties

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets dirty

Walk-in Refrigerator and Freezer (same unit)

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, excessive ice build-up on floor and shelves

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to ice, build-up on boxes of frozen fried patties

Main Kitchen Area

Office

No Violations Noted

Prep Tables

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall fan dirty over prep tables

Loading Dock

No Violations Noted

2-Compartment Sink (Left)

No Violations Noted

2-Compartment Sink (Center)

No Violations Noted

2-Compartment Sink (Right)

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens not installed in exterior window above 2-compartment sink

Handwash Sink

No Violations Noted

Steamer

No Violations Noted

Ovens and Hoods

No Violations Noted

Kettles

No Violations Noted

Slop Sink

No Violations Noted

Ice Machine

No Violations Noted

North Side 2nd Floor

Counselor’s Office

105 CMR 451.353*	Interior Maintenance: Light shield damaged

105 CMR 451.141	Screens: Screen missing

Inmate Bathroom

105 CMR 451.123*	Maintenance: Floor not easily cleanable, unfinished

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures # 1-5 dirty

105 CMR 451.123*	Maintenance: Sinks # 1-5 dirty

105 CMR 451.123*	Maintenance: Ceiling dirty

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 850F

Hallway (Next to Barber Shop)

No Violations Noted

Storage Room (Next to Barber Shop)

No Violations Noted

Barber Shop

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353*	Interior Maintenance: Hair trimmers dirty

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Room # N201

No Violations Noted

Room # N202

105 CMR 451.340*	Illumination: Insufficient lighting, light out

105 CMR 451.353	Interior Maintenance: Wall damaged

105 CMR 451.141	Screens: Screen missing

Room # N203

105 CMR 451.340	Illumination: Insufficient lighting, light out

105 CMR 451.353	Interior Maintenance: Wall damaged

Room # N204

105 CMR 451.141	Screens: Screen missing

Room # N205

105 CMR 451.141	Screens: Screen missing

Room # N206

105 CMR 451.353	Interior Maintenance: Door knob damaged

Room # N207

105 CMR 451.353*	Interior Maintenance: Outlet cover missing

Room # N209

105 CMR 451.340	Illumination: Insufficient lighting, light out

105 CMR 451.353*	Interior Maintenance: Ceiling cracked

105 CMR 451.141	Screens: Screen missing

Room # N210

105 CMR 451.340	Illumination: Insufficient lighting, light out

105 CMR 451.141	Screens: Screen damaged

North Side 3rd Floor

Hallway

No Violations Noted

Room # N301

No Violations Noted

Room # N302

105 CMR 451.340	Illumination: Insufficient lighting, light out

Room # N303

105 CMR 451.353*	Interior Maintenance: Wall damaged above bed # 4

Room # N304

No Violations Noted

Room # N305

No Violations Noted

Room # N306

105 CMR 451.141	Screens: Screen missing

Closet

No Violations Noted

Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 980F at handwash sink

105 CMR 451.123*	Maintenance: Sink # 1-4 dirty

105 CMR 451.123*	Maintenance: One light out

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 4 leaking

Room # N307

105 CMR 451.353	Interior Maintenance: Light shield missing

105 CMR 451.340	Illumination: Insufficient lighting, light out

Room # N308

105 CMR 451.353	Interior Maintenance: Exposed wires in ceiling light

Basement

Laundry

No Violations Noted

Tunnel near Laundry

No Violations Noted

Maintenance Cage

105 CMR 451.350*	Structural Maintenance: Ceiling open and exposed outside of maintenance cage

Sewing Room

No Violations Noted

Maintenance Area

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with 	        105 CMR 590.000, coffee maker dirty

105 CMR 451.353	Interior Maintenance: Water in mop bucket

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Maintenance Office

Unable to Inspect – Locked

Maintenance Bathroom

Unable to Inspect – Locked

Chemical Room

105 CMR 451.353*	Interior Maintenance: Ceiling damaged

Main Bathroom

Toilets and Handwash Sinks

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty in stall # 1-9

105 CMR 451.123	Maintenance: Sink # 1 and 3 dirty

105 CMR 451.123*	Maintenance: Ceiling vents dusty

105 CMR 451.123	Maintenance: Ceiling tiles damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 7 and 8 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 3 leaking

Main Shower

105 CMR 451.121(A)*	Privacy: No privacy partition between showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 5, 11, and 13 leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 9 out-of-order

105 CMR 451.123*	Maintenance: Drain flies observed

Slop Sink

No Violations Noted

Re-entry (off of Gym)

Unable to Inspect –Not in Use

Officer’s Weight Room

105 CMR 451.350*	Structural Maintenance: Ceiling exposed and water damaged

105 CMR 451.353*	Interior Maintenance: Equipment padding damaged

105 CMR 451.353	Interior Maintenance: Mop in bucket

Female Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.123	Maintenance: Wall paint damaged

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Shower curtain damaged

Gym

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

105 CMR 451.350*	Structural Maintenance: Exterior doors not rodent and weathertight

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.360*	Protective Measures: Bird droppings observed

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, 3 lights out

105 CMR 451.372	Garbage Storage: No tight fitting cover on receptacle, birds observed flying in and out of trash can

Hallway

105 CMR 451.350*	Structural Maintenance: Exterior doors not rodent and weathertight

Male Bathroom # 105

No Violations Noted

Female Bathroom # 106

No Violations Noted

Contractor’s Office

Unable to Inspect – Locked

K-9 Office

Unable to Inspect – Locked

Garage

105 CMR 451.350*	Structural Maintenance: Exterior doors not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Roll down door not rodent and weathertight

Painting Garage

105 CMR 451.350*	Structural Maintenance: Exterior doors not rodent and weathertight

Back Building

Classroom

105 CMR 451.141	Screens: Screens missing

Office Area

No Violations Noted

Living Area

Unable to Inspect – Not in Use

Annex Building

First Floor

Dorm # 1

105 CMR 451.141	Screens: Screen damaged

Dorm # 2

105 CMR 451.103	Mattresses: Mattress damaged

Visiting Room

No Violations Noted

Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 970F

Handicapped Bathroom w/Shower

105 CMR 451.123	Maintenance: Shower floor dirty

Second Floor

Resource Room

No Violations Noted

Dorm # 4

Unable to Inspect –Not Used

Office

No Violations Noted

Basement

NETTP

No Violations Noted

Library/GED Room

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

105 CMR 451.123*	Maintenance: Sink # 1-7 dirty

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty in stall # 1-5

105 CMR 451.123	Maintenance: Standing water in toilet stall # 4 and 5

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, 1 urinal out-of-order

Slop Sink

105 CMR 451.353	Interior Maintenance: Caulking around slop sink moldy

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, no hot water supplied to slop sink

Inmate Shower Room

105 CMR 451.121(A)*	Privacy: No privacy partition between showers

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Wall paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2, 3, and 12 leaking

Observations and Recommendations

- The inmate population was 231 at the time of inspection.

- The Back Building was closed and no inmates were housed in the building at the time of inspection.                 The Department recommends thoroughly cleaning this area prior to housing inmates.

- The Re-Entry Area in the Gym was locked and not in use at the time of inspection. The Department recommends thoroughly cleaning this area prior to housing inmates.

- It was stated at the time of inspection Wellpath is providing healthcare services.

- There was no updated Blood Borne Pathogen Training documentation specific to the Essex County Correctional Alternative Center on file for anyone who is designated to handle medical or biological waste, according to      105 CMR 480.500(A)(3) you are required to have documentation of these individuals, including inmates. The Department requests this information be kept in a 3 ring binder in an area that is accessible to anyone who may require it.

- At the time of inspection policies and procedures specific to Essex County pertaining to compliance with          105 CMR 480.000 were unable to be located. The Department recommends these policies and procedures be kept in a 3 ring binder in an area that is accessible to anyone who may require it.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Medeiros														Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Michael Marks, Superintendent							(electronic copy)

Sean Gallagher, EHSO								(electronic copy)

Pascual A. Ruiz, Director, Lawrence Inspectional Services			(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate