The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-695-7414

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

June 14, 2021

Kevin F. Coppinger, Sheriff

Essex County Sheriff's Department Headquarters

20 Manning Avenue

Middleton, MA 01949		(electronic copy)

Re: Facility Inspection – Essex County Correctional Facility, Middleton

Dear Sheriff Coppinger:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the          Essex County Correctional Facility on June 7 and 8, 2021 accompanied by Lieutenant Peter Lundy, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 53 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Kerry Wagner, MPH

Environmental Analyst, CSP, BEH

cc: 	Monica Bharel, MD, MPH, Commissioner, DPH

Jan Sullivan, Acting Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Timothy Gotovich, Acting Director, Policy Development and Compliance Unit 	(electronic copy)

Aaron Eastman, Superintendent 							(electronic copy)

Lieutenant Peter Lundy, EHSO							(electronic copy)

Derek Fullerton, RS, CHO, Health Director, Middleton Health Department 	(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

# Administration Building

# Front Lobby

No Violations Noted

# Female Bathroom # 1002

No Violations Noted

# Male Bathroom # 1003

No Violations Noted

Officer’s Room

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Hallway to 2nd Floor

Canteen Office

No Violations Noted

# Second Floor

# Administration Area

# Female Bathroom # 2002

105 CMR 451.123	Maintenance: Ceiling vent dusty

# Male Bathroom # 2003

No Violations Noted

# Kitchenette # 2011

No Violations Noted

Offices

No Violations Noted

# Bathroom # 2012

105 CMR 451.123	Maintenance: Ceiling vent dusty

Slop Sink # 2018

No Violations Noted

# First Floor

# Administration Hallway

# Storage Room # 1007

No Violations Noted

# Large Conference Room # 1008

No Violations Noted

# Office # 1009

No Violations Noted

# Female Staff Bathroom # 1013

No Violations Noted

# Male Staff Bathroom # 1014

No Violations Noted

# Small Conference Room # 1015

No Violations Noted

Offices # 1021

No Violations Noted

Storage Room # 1016

Unable to Inspect – Locked

# Mop/Hot Water Heater Room # 1017

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

# Weight Room # 1018

No Violations Noted

# Male Staff Locker Room # 1030

No Violations Noted

# Female Staff Locker Room # 1031

No Violations Noted

# Central Control

No Violations Noted

# Control Bathroom # 1004

No Violations Noted

Urine Room # 1005

No Violations Noted

# Records/I.T./Visits Area

# Visitor Entrance Area

No Violations Noted

# Visitor Area

No Violations Noted

# Bathroom (2)

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 780F in left side bathroom

Office # 1001A

No Violations Noted

Storage Room # 1001B

No Violations Noted

# Roll Call Room

# Room # 1001C

No Violations Noted

Muster Room

No Violations Noted

Male Bathroom # 1169

No Violations Noted

Female Bathroom # 1168

No Violations Noted

# Records Hallway

# Office # 1004

No Violations Noted

IT Offices # 1003

No Violations Noted

# Nursing Mother’s Room # 1009

No Violations Noted

# Male Staff Bathroom # 1010

No Violations Noted

# Records Office # 1011

No Violations Noted

# Female Staff Bathroom # 1012

No Violations Noted

# Property Room # 1013

No Violations Noted

Shift Commander’s Office # 1014

No Violations Noted

# Office # 1015

No Violations Noted

# Holding Unit Hallway # 1016

# Lawyer Interview Room # 1-5

No Violations Noted

New Interview Room Hallway

No Violations Noted

Interview Room # 6 -12

No Violations Noted

Holding Cells # 1-3

No Violations Noted

Visitor’s Tubes # 1044

No Violations Noted

Storage Closet # 1046

No Violations Noted

Visitor’s Room # 1047

No Violations Noted

Video Conference Rooms 	Unable to Inspect Room # 1 and 2 – In Use

No Violations Noted

Staff Dining # 1041

No Violations Noted

# Holding Unit # 1022 – Unoccupied

Common Area

No Violations Noted

Medical Office

No Violations Noted

# Holding Tanks # 1-4

No Violations Noted

Shower Area

No Violations Noted

Safe Keep Room

No Violations Noted

Sleeping Area

No Violations Noted

# Storage Room

No Violations Noted

Closet

No Violations Noted

Food Service Area

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged and stained throughout food service area

# Mechanical Tray Warewash Area

FC 4-703.11(B) 	Sanitization of Equipment and Utensils; Methods: Mechanical warewash machine does not achieve a utensil surface temperature of 160°F as measured by an irreversible registering temperature indicatorP

FC 4-501.15	Maintenance and Operation; Equipment: Warewashing machine not operating in accordance with manufacturer's instructions, wash cycle water temperature gauges not reading in accordance with data plate

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, water temperature and pressure gauge for sanitizing cycle not functioning on warewash machine

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, baseboard damaged throughout warewashing area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall covering damaged around tables behind warewash machine

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wood behind wall covering water damaged

3-Compartment Sink and Small Warewash Machine

No Violations Noted

# Spray Room

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet with red knob leaking

# Walk-In Refrigerator # 1

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets dirty

# Freezer # 2

No Violations Noted

Walk-In Cooler # 3

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall paint damaged

Handwash Sink

No Violations Noted

2-Compartment Sink

No Violations Noted

# Food Preparation and Baking Area

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration

Pull Cage

No Violations Noted

# Kettle Hood Area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall damaged near tilt skillet

# Oven Hood Area

No Violations Noted

# Front Hoods and Tray Prep Area

No Violations Noted

Serving Line

No Violations Noted

Aramark Office

No Violations Noted

Officer’s Room

No Violations Noted

# Hallway

No Violations Noted

Utensil Storage Room

No Violations Noted

Aramark Training Room # 1024

No Violations Noted

Inmate Break Room

No Violations Noted

Chemical Storage Closet

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, large amount of rust observed in slop sink basin

# Slop Sink Room

No Violations Noted

# Loading Dock

105 CMR 451.351*	Handrails: Handrail and supporting baluster not provided on both sides of stairs near dumpster

Outside Freezer

No Violations Noted

# Uniform Room # 1025

No Violations Noted

# Staff Locker Room and Mop Closet # 1026

No Violations Noted

# Female Staff Bathroom # 1199

No Violations Noted

# Male Staff Bathroom # 1200

No Violations Noted

# Laundry/Changing Room # 1027

No Violations Noted

# Back Storage

No Violations Noted

# Back Cage

No Violations Noted

Refrigerator # 4

No Violations Noted

# Inmate Bathroom # 1029

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1380F

105 CMR 451.123	Maintenance: Faucet leaking at handwash sink

# Inmate Dining Room

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration

# Health Services Unit (H.S.U.)

# Entrance

No Violations Noted

# Inmate Bathroom # 2002

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

# Waiting Lobby

No Violations Noted

# Nurse’s Office # 2003

No Violations Noted

# I1-Isolation Room # 2005

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

# I2-Isolation Room # 2006

105 CMR 451.353	Interior Maintenance: Wall covering joints damaged

# Exam Room # 2041

No Violations Noted

# Interview Room # 2040

No Violations Noted

Room # 2037

No Violations Noted

Medication Administration/Storage Room # 2038

No Violations Noted

# Common Area

No Violations Noted

# Nurse’s Desk

No Violations Noted

# Waiting Room # 2007

No Violations Noted

# Janitor’s Closet # 2008

No Violations Noted

# R1 # 2009

No Violations Noted

# R2 # 2010

No Violations Noted

# R3 # 2011

105 CMR 451.353	Interior Maintenance: Baseboard damaged

# R4 # 2012

No Violations Noted

R5 # 2014 	Unable to Inspect Bathroom – In Use

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353*	Interior Maintenance: Door paint damaged

105 CMR 451.353*	Interior Maintenance: Wall covering joints damaged

# Storage # 2016

No Violations Noted

# Inmate Shower # 2017

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1200F

105 CMR 451.126	Hot Water for Bathing and Hygiene: Excessive water pressure in shower

# Conference Room # 2018

Unable to Inspect – In Use

# Staff Bathroom # 2019

No Violations Noted

R6 # 2015

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353*	Interior Maintenance: Wall covering and joints damaged

105 CMR 451.123*	Maintenance: Ceiling vent dusty in bathroom

105 CMR 451.123	Maintenance: Bottom of door damaged at bottom

# Back Hallway

# Staff Office # 2043

No Violations Noted

# Office # 2021

No Violations Noted

# Room # 2022

No Violations Noted

# Office # 2023

No Violations Noted

# Staff Bathroom

No Violations Noted

Office # 2024 - 2027

105 CMR 480.400(C)*	Shipping Papers: Generator was not maintaining copy of shipping papers with         record-keeping log for at least 375 days, missing shipping paper from 5/12/21

Storage Room # 2038

No Violations Noted

# Dentist Room # 2029

No Violations Noted

# Medical Waste Storage Room

No Violations Noted

Medicine Room # 2035

Unable to Inspect – Under Construction

X-Ray Room # 2030

No Violations Noted

Exam Room # 2031

No Violations Noted

# Urine Lab Room # 2032

No Violations Noted

# Exam Room # 2033

No Violations Noted

# Diabetic Room # 2034

No Violations Noted

# 240 BUILDING (J)

105 CMR 451.350	Structural Maintenance: Entrance door not rodent and weathertight, door does not fully close

# A & B Control

No Violations Noted

# Control Bathroom

No Violations Noted

# A Block

# Common Area

105 CMR 451.353	Interior Maintenance: Uncovered junction box on ceiling, wires left exposed

# Slop Sink Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, backflow preventer leaking

# Cells

105 CMR 451.104	Beds: Bed not in good repair, top bunk broken in cell # 528

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 531, 554, and 550

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 506, 510, 523, 534, and 537

105 CMR 451.353*	Interior Maintenance: Top of chair missing in cell # 553 and 558

105 CMR 451.353	Interior Maintenance: Top of chair missing in cell # 518, 523, 535, 538, 541, 549, and 554

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 513, 527, and 544

# Shower Area

105 CMR 451.123	Maintenance: Pooling water on floor outside all showers

Handicapped Shower

No Violations Noted

# B Block

# Common Area

105 CMR 451.360	Protective Measures: Birds observed in block

105 CMR 451.353*	Interior Maintenance: Ceiling water stained above cell # 660

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, chlorine sanitizer solution tested lower than recommended concentration

# Slop Sink Room (downstairs)

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, backflow preventer leaking

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles missing in cell # 646

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 638, 644, and 647

105 CMR 451.353*	Interior Maintenance: Desk chair missing in cell # 642

105 CMR 451.353	Interior Maintenance: Desk chair missing in cell # 638

Counselor’s Office (upstairs)

Unable to Inspect – No Used

Shower Area

No Violations Noted

Handicapped Shower

No Violations Noted

# C & D Control

No Violations Noted

# Control Bathroom

No Violations Noted

# C Block

# Common Area

105 CMR 451.353	Interior Maintenance: Ceiling tile water stained

105 CMR 451.353	Interior Maintenance: Wall vent near cell # 730 dusty

# Slop Sink Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink clogged

Cells

105 CMR 451.353*	Interior Maintenance: Screen damaged in cell # 734 and 743

105 CMR 451.353	Interior Maintenance: Screen damaged in cell # 709, 745, 755, and 760

105 CMR 451.353*	Interior Maintenance: Desk chair missing in cell # 749 and 752

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 708, 730, and 741

# Shower Area

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure in shower # 9

105 CMR 451.123	Maintenance: Shower wall not secured in shower # 9

Handicapped Shower

Unable to Inspect – Not Used

# D Block

# Common Area

105 CMR 451.360*	Protective Measures: Birds observed in block

105 CMR 451.353	Interior Maintenance: Floor tiles damaged near ice machine

# Slop Sink Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing

# Cells

105 CMR 451.141	Screens: Screen damaged in cell # 806

105 CMR 451.353*	Interior Maintenance: Floor tiles missing in cell # 807 and 823

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 834, 850, and 855

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 845 and 853

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 801 and 834

# Shower Area

No Violations Noted

Handicapped Shower

Unable to Inspect – Not Used

# PROGRAM BUILDING (K)

# Lower Programs

# Chapel # 1009A

No Violations Noted

# Hot Water Heater Room # 1005

No Violations Noted

# Clergy # 1006

No Violations Noted

# Clergy # 1007

No Violations Noted

Clergy # 1008

No Violations Noted

Inmate Bathroom # 1004

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet clogged

Classrooms

No Violations Noted

Offices

No Violations Noted

# Exterior Hallway Door

No Violations Noted

Teacher’s Break Room # 1014

No Violations Noted

Male Staff Bathroom # 1015

No Violations Noted

# Female Staff Bathroom # 1016

No Violations Noted

Teacher’s Room # 1025

No Violations Noted

Classroom # 7

No Violations Noted

# Library

No Violations Noted

# Upper Programs

# Bathroom # 1277

Unable to Inspect – Locked

Slop Sink # 1278

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, backflow preventer leaking

# Male Staff Bathroom # 2024

No Violations Noted

# Female Staff Bathroom # 2025

No Violations Noted

# Conference Room # 2036

No Violations Noted

Offices

No Violations Noted

Storage Closet # 2037

Unable to Inspect – Locked

# Vocational Education Building

# First Floor

# Laundry

No Violations Noted

K9 Room

No Violations Noted

Sewing Room

No Violations Noted

Storage Room

No Violations Noted

# Slop Sink

105 CMR 451.130*	Plumbing: No backflow preventer on slop sink

Storage Closet (outside Laundry)

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Voke 1

Officer’s Station

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, gaskets damaged on refrigerator

Common Area

No Violations Noted

Voke 1 Bathroom/Showers

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 950F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 2 out-of-order

105 CMR 451.123*	Maintenance: Floor surface damaged in front of urinals and in shower # 3

105 CMR 451.123*	Maintenance: Door missing in toilet stall # 5

105 CMR 451.123	Maintenance: Black substance on stainless steel pipes behind all toilets

Sleeping Area

No Violations Noted

# Voke 2

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

Office # 0927-0929

No Violations Noted

Common Area

No Violations Noted

Sleeping Area

No Violations Noted

Kitchenette # 0930

No Violations Noted

Med Room

Unable to Inspect – In Use

Chemical Storage Cabinet

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

# Voke 2 Bathroom/Showers

105 CMR 451.123*	Maintenance: Grout missing between wall tiles in shower # 8

105 CMR 451.123	Maintenance: Handle missing at handwash sink # L2

105 CMR 451.123	Maintenance: Black substance on stainless steel pipes behind all toilets

Voke Hallway

Inmate Bathroom

No Violations Noted

# Warehouse # 0911

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, backflow preventer leaking

Barber Shop

No Violations Noted

Storage Room

No Violations Noted

Ice Machine

105 CMR 451.353	Interior Maintenance: Ice machine out-of-order

Staff Bathroom (outside Voke 3)

No Violations Noted

Storage Closet (outside Voke 3)

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

# Voke 3

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

# Common Area

No Violations Noted

Officer’s Station

No Violations Noted

# Voke 3 Bathroom/Showers

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 1 out-of-order

105 CMR 451.123*	Maintenance: Wall tile damaged in shower # 8

105 CMR 451.126	Hot Water: Hot water temperature recorded at 950F at handwash sink # L2

Sleeping Area

No Violations Noted

# Second Floor

Office # 2002

No Violations Noted

# M.A.P. Offices

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                       105 CMR 590.000, uncovered silverware

# M.A.P. Area

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink in exam room

# Hallway

No Violations Noted

Counselor’s Office # 2003

No Violations Noted

Laundry Room # 2004

Unable to Inspect – Locked

# Staff Bathroom # 2005

No Violations Noted

Slop Sink Room # 2006

105 CMR 451.353	Interior Maintenance: Wet mop stored in slop sink

# Group Room # 2008

No Violations Noted

Voke 4

Sleeping Area

105 CMR 451.322	Cell Size: Inadequate floor space in dorm room

Shower Area

No Violations Noted

Kitchenette

No Violations Noted

Toilet Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 6 out-of-order

Common Area

No Violations Noted

Medical Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with           105 CMR 590.000, interior of microwave oven dirty

Councilor’s Office

No Violations Noted

Janitor’s Closet

No Violations Noted

Toiletries Cabinet

No Violations Noted

# 120 Building (F)

# Entryway

No Violations Noted

# A & B Control

No Violations Noted

# Control Bathroom

No Violations Noted

# A Block (Segregation Unit)

# Common Area

No Violations Noted

# Slop Sink Room

No Violations Noted

# Cells

105 CMR 451.103	Mattresses: Mattress damaged, no cover on mattress in cell # 111

105 CMR 451.353	Interior Maintenance: Cell # 145 dirty

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 121, 122, 143, 153, 156, and 158

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 128, 134, and 136

Shower Area

Unable to Inspect – In Use

# B Block

# Common Area

105 CMR 451.353	Interior Maintenance: Floor tiles damaged outside cell # 209

105 CMR 451.353	Interior Maintenance: Floor wet and dirty around ice machine

# Slop Sink Room

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Meeting Room

No Violations Noted

# Cells

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 231 and 243

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 252

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 202

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 203

Shower Area

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure in shower # 1

105 CMR 451.123	Maintenance: Pooling water on floor outside showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing in shower # 7

105 CMR 451.123	Maintenance: Wall paint damaged outside shower # 9

Handicapped Shower

No Violations Noted

# 60 Building (G)

105 CMR 451.350	Structural Maintenance: Exterior walls of building damaged

# Control

No Violations Noted

# Control Bathroom

No Violations Noted

# Cell Block

105 CMR 451.360	Protective Measures: Birds observed in block

# Common Area

105 CMR 451.350	Structural Maintenance: Metal floor support near stairs rusted

# Slop Sink Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing

105 CMR 451.353	Interior Maintenance: Door frame damaged

# Cells

105 CMR 451.141	Screens: Screen damaged in cell # 309 and 343

105 CMR 451.353	Interior Maintenance: Floor tile damaged in cell # 310, 320, 325, and 339

105 CMR 451.353	Interior Maintenance: Top of chair seat missing in cell # 327

# Lower Shower Area

105 CMR 451.123	Maintenance: Floor paint damaged outside shower # 1, 2, and 3

Handicapped Shower

No Violations Noted

# Upper Shower Area

105 CMR 451.353*	Interior Maintenance: Ceiling tiles discolored above showers

105 CMR 451.123	Maintenance: Floor paint damaged outside shower # 5, 6, 7, and 8

105 CMR 451.123	Maintenance: Drain flies in shower # 9

# 80 Building (H)

# Lower 80 – First Floor

# Control

No Violations Noted

# Control Bathroom

No Violations Noted

Common Area

No Violations Noted

# Storage Room

105 CMR 451.350*	Structural Maintenance: Door leading to exterior not rodent and weathertight

# Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # L5 slow to drain

# Slop Sink Room

No Violations Noted

# Staff Bathroom

No Violations Noted

Offices

Unable to Inspect – Locked

# Dorm Rooms

105 CMR 451.322*	Cell Size: Inadequate floor space in all dorm rooms

# Dorm Room # 401

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

# Dorm Room # 402

No Violations Noted

# Dorm Room # 403

No Violations Noted

# Dorm Room # 404

105 CMR 451.353	Interior Maintenance: Baseboard missing

105 CMR 451.353	Interior Maintenance: Ceiling vents blocked

# Dorm Room # 405

No Violations Noted

# Dorm Room # 406

105 CMR 451.353*	Interior Maintenance: Ceiling panel damaged

105 CMR 451.141	Screens: Screen not tight-fitting

Dorm Room # 407

No Violations Noted

# Dorm Room # 408

105 CMR 451.353*	Interior Maintenance: Ceiling panel damaged over beds

105 CMR 451.353*	Interior Maintenance: Ceiling vents blocked

# Dorm Room # 409

No Violations Noted

# Dorm Room # 410 (unoccupied)

Unable to Inspect – Under Construction

# 80 Building Stairway

105 CMR 451.350	Structural Maintenance: Stair damaged near entrance to Lower 80

# Upper 80 - Second Floor

# Control

No Violations Noted

Control Bathroom

Unable to Inspect – In Use

# Common Area

No Violations Noted

Offices

No Violations Noted

# Storage Room

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

# Inmate Bathroom

105 CMR 451.123	Maintenance: Handwash sink # R1 and R4 dirty

# Staff Bathroom

# No Violations Noted

Storage Room

Unable to Inspect – Locked

# Slop Sink Room (near bathroom)

No Violations Noted

# Dorm Rooms

105 CMR 451.322*	Cell Size: Inadequate floor space in all dorm rooms

# Dorm Room # 411

No Violations Noted

# Dorm Room # 412

105 CMR 451.353	Interior Maintenance: Uncovered junction box

# Dorm Room # 413

No Violations Noted

# Dorm Room # 414

105 CMR 451.353	Interior Maintenance: Wall covering damaged

# Dorm Room # 415

No Violations Noted

# Dorm Room # 416 (unoccupied)

No Violations Noted

# Dorm Room # 417

105 CMR 451.353	Interior Maintenance: Uncovered junction box

# Dorm Room # 418

105 CMR 451.353*	Interior Maintenance: Wall board damaged

# Dorm Room # 419

No Violations Noted

# Dorm Room # 420

Unable to Inspect – Not Used

# Gym Building (I)

# 105 CMR 451.350*	Structural Maintenance: Exterior corner of building damaged near entrance

# Captain’s Office

Unable to Inspect – Locked

# Gym

No Violations Noted

# Weight Area

No Violations Noted

Shower Room

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 3

# Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at middle handwash sink

Storage Room/Officer’s Bathroom

No Violations Noted

# Outside the Fence

# Warehouse

No Violations Noted

Exterior Door

No Violations Noted

# Bathroom # 1003

No Violations Noted

# Slop Sink Room # 1004

No Violations Noted

Garage

# Bathroom # 1007

No Violations Noted

# Office

No Violations Noted

Chemical Storage

No Violations Noted

Intake Building

X-Ray Machines/Entrance

No Violations Noted

Intake Area

Storage Room (with Refrigerator)

No Violations Noted

Changing Rooms # 1 – 6

No Violations Noted

Staff Bathrooms (2)

No Violations Noted

Custodial Closet

No Violations Noted

Holding Cells # 1 – 7

No Violations Noted

Bail Commissioner’s Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                  105 CMR 590.000, excessive ice buildup in freezer

Booking Area

No Violations Noted

Medical Screening

No Violations Noted

Handicapped Bathroom

No Violations Noted

Handicapped Shower

No Violations Noted

Shower # 1

No Violations Noted

Shower # 2

No Violations Noted

Records

No Violations Noted

Female Bathroom (within Records)

No Violations Noted

Property Room

No Violations Noted

Inmate Bathroom

No Violations Noted

Main Entrance

Transport Office

No Violations Noted

Lobby

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Observations and Recommendations

- The inmate population was 928 at the time of inspection.

- During the kitchen inspection, the warewash machine did not reach the appropriate temperature to properly sanitize trays. As an interim measure, it was stated that the Kitchen staff would be manually sanitizing dishes/trays after they have been washed in the warewash machine.

- At the time of inspection, the CSP recommended numbering all showers throughout the institution. This will assist the CSP and employees to better recognize where issues exist.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Kerry Wagner, MPH										Environmental Analyst CSP, BEH