The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone:  (781) 828-7910

Facsimile:  (781) 828-7703

marian.robertson@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JOHN W. POLANOWICZ SECRETARY LAUREN A. SMITH, MD, MPH INTERIM COMMISSIONER

May 13, 2013

Frank G. Cousins, Jr., Sheriff

Essex County Correctional Facility

20 Manning Avenue

Middleton, MA 01949

Re: Facility Inspection – Essex County Correctional Facility

Dear Sheriff Cousins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Essex County Correctional Facility on April 22 and 23, 2013 accompanied by Officer Cory Mathieson, EHSO, and Lieutenant Karen Paluzzi, Policy Coordinator. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

# Administration Building

# Front Lobby

105 CMR 451.141*	Screens: Screen damaged

# Women’s Bathroom # 1002

105 CMR 451.123	Maintenance: Wall dirty

# Men’s Bathroom

105 CMR 451.123*	Maintenance: Sink fixture not properly sealed to wall, caulking damaged

105 CMR 451.123	Maintenance: Sink loose from wall

105 CMR 451.123	Maintenance: Wall damaged around toilet

105 CMR 451.123	Maintenance: Wall dirty near hand dryer

105 CMR 451.123	Maintenance: Ceiling vent rusty

# Administration Hallway-First Floor

# Kitchenette # 1007

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gasket dirty

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall in doorway damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, phone jack loose

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

# Training 1 # 1008

No Violations Noted

# Training 2 #1009

No Violations Noted

# Administration #1012

105 CMR 451.353*	Interior Maintenance: Water damaged ceiling tiles

# Female Staff Bathroom # 1013

105 CMR 451.123	Maintenance: Wall dirty near hand dryer

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink possibly leaking, bucket located under sink containing water

# Male Staff Bathroom # 1014

105 CMR 451.123	Maintenance: Wall dirty

# Training # 1015

No Violations Noted

Storage # 1016

No Violations Noted

# Mop/Hot Water Heater Room # 1017

105 CMR 451.344	Illumination in Habitable Areas: Light fixture not functioning properly

105 CMR 451.353	Interior Maintenance: Light shield missing

# Weight Room # 1018

No Violations Noted

# Male Staff Locker Room # 1030

105 CMR 451.123	Maintenance: Bench finish damaged, no longer easily cleanable

105 CMR 451.126	Water Supply: No hot or cold water supplied to handwash sink # 1

# Female Staff Locker Room # 1031

105 CMR 451.123*	Maintenance: Wall tiles damaged near entrance

105 CMR 451.123*	Maintenance: Wall tiles missing near entrance

105 CMR 451.123	Maintenance: Ceiling dirty near ceiling vent

# Administration Area-Second Floor

# Women’s Bathroom # 2002

105 CMR 451.123*	Maintenance: Sink fixture not properly sealed to wall, caulking damaged

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Caulking damaged around toilet

# Men’s Bathroom # 2003

No Violations Noted

# Kitchenette # 2011

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of toaster oven dirty

FC 4-601.11(B)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, cooking 	equipment dirty, coffee maker

Office # 2007

No Violations Noted

# Bathroom # 2012

105 CMR 451.123	Maintenance: Ceiling vent dusty

Slop Sink # 2018

No Violations Noted

# Control

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, gaskets damaged on refrigerator unit

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

# Control Bathroom # 1004

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Floor dirty

# Office Area

# 1003 B

No Violations Noted

# Food Service and Medical Building

105 CMR 451.350	Structural Maintenance: Entrance not rodent and weathertight

# Visitor Entrance Area

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

# Visitor Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged around phones

# Bathroom 1

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Sink dirty

# Bathroom 2

Unable to Inspect – Locked

# Visitor Area # 142 A

105 CMR 451.353	Interior Maintenance: Wall paint damaged around phones

# Old Roll Call Room

Male Bathroom # 1169

No Violations Noted

Female Bathroom # 1168

No Violations Noted

# Records Hallway

# Male Staff Bathroom # 1010

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Records Office # 1011

105 CMR 451.353	Interior Maintenance: Water damaged ceiling tiles

# Female Staff Bathroom # 1012

105 CMR 451.123	Maintenance: Ceiling vent dusty

# Break Room # 1013

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior surfaces of refrigerator dirty

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Frequency: Interior of toaster dirty

FC 4-602.13*	Cleaning of Equipment and Utensils, Frequency: Nonfood-Contact surfaces dirty counter top

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles missing

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, water damaged ceiling tiles

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, outlet cover missing

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, phone jack cover missing

# Filing Room # 1015

No Violations Noted

# Intake Hallway # 1016

105 CMR 451.350	Structural Maintenance: Possible ceiling leak, standing water observed on floor

# Slop Sink Room # 1034

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Interior Maintenance: Slop sink dirty

105 CMR 451.353*	Interior Maintenance: No light shield provided in maintenance area

# Property Room # 1035

105 CMR 451.350	Structural Maintenance: Wall damaged at entrance

# Shift Commander’s Office # 1039

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

# Intake Unit # 1022

105 CMR 451.353*	Interior Maintenance: Sink fixture not secured properly to wall

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink faucet damaged

# Shower Area

105 CMR 451.123	Maintenance: Light fixture not functioning properly

# Cells

# 1152

No Violations Noted

# 1153

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent covered with paper

# 1154

105 CMR 451.123	Maintenance: Toilet dirty

# 1155

105 CMR 451.353	Interior Maintenance: Floor dirty

# Storage Room

No Violations Noted

# Patrol Area

# Break Room

No Violations Noted

Visitors # 1047

No Violations Noted

# 240 Building (J)

105 CMR 451.353	Interior Maintenance: Wall paint peeling at entrance

# A & B Control

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty and rusted

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Water damaged ceiling tiles

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

# Control Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Unlabeled chemical bottle

# A Block

# Common Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near phones on both levels
105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

105 CMR 451.350	Structural Maintenance: Baseboard damaged near ice machine

# Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Wall dirty near slop sink

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Hole in ceiling near pipes

# Cells

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 522

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 503, 505, 506, 507, 510, 515, 518, 519, 520, 521, 526, 531, 533, 537, 538, 539, 540, 541, 542, 543, 545, 546, 548, 553, 557, and 559

105 CMR 451.353	Interior Maintenance: Light blocked in cell # 542

# Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in all shower stalls

105 CMR 451.123*	Maintenance: Standing water observed on floor in shower area

105 CMR 451.123*	Maintenance: Wall paint damaged outside of shower unit in shower stall # 1 and 9

105 CMR 451.123	Maintenance: Ceiling vents dirty outside showers

# B Block

# Common Area

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

105 CMR 451.353	Interior Maintenance: Leak marks on wall coming from ceiling

105 CMR 451.353	Interior Maintenance: Water damaged ceiling tiles

# Slop Sink Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Slop sink damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Light shield missing

# Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 611, 617, 625, 627, 634, 635, 645, 649, 650, and 658

105 CMR 451.123	Maintenance: Wall paint damage in cell # 657

# Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in all shower stalls

105 CMR 451.123*	Maintenance: Wall vents dusty

# C & D Control

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty at entrance before control

105 CMR 451.350	Structural Maintenance: Ceiling damaged around vent

# Control Bathroom

105 CMR 451.123	Maintenance: Ceiling vent rusted and dusty

105 CMR 451.123	Maintenance: Ceiling tiles damaged and dusty

# C Block

# Common Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near phones

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

# Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Standing water on floor

105 CMR 451.353*	Interior Maintenance: Slop sink dirty

105 CMR 451.353*	Interior Maintenance: Dent in ventilation system, causing a gap

# Cells

105 CMR 451.123*	Maintenance: Wall paint damaged in cell # 723

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 701, 704, 705, 713, 715, 717, 723, 725, 727, 729, 730, 733, 735, 739, 740, 742, 743, 744, 746, 749, 750, 752, 755, 754, and 758

# Shower Area

105 CMR 451.123*	Maintenance: Wall vents dirty

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and floors in all shower stalls

105 CMR 451.123*	Maintenance: Wall paint damaged outside shower unit in shower stall # 1

# D Block

# Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling dirty around vents

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

105 CMR 451.353	Interior Maintenance: Table top damaged near microwaves

# Slop Sink Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated, insulation loose

105 CMR 451.353*	Interior Maintenance: Wall dirty near slop sink

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

# Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 856 and 857

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 817

105 CMR 451.353	Interior Maintenance: Floor tiles damaged and missing in cell # 840

# Shower Area

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls in all shower stalls

105 CMR 451.123	Maintenance: Wall paint damage in stall # 1

105 CMR 451.123	Maintenance: Wall vents dusty outside of showers

Food Service Area

105 CMR 590.003(A)(1)	Management and Personnel: The person in charge is unfamiliar with the operations of the kitchen and equipment used in the kitchen to ensure that the establishment operates in compliance with 105 CMR 590.000

# Mechanical Warewashing Area

FC 6-304.11  	Ventilation; Mechanical: Inadequate ventilation, rust present around mechanical warewashing area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, rust damaged ceiling tiles supports

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty behind sink

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, seams from wall cover damaged and missing

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged leaving unfinished wood exposed

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged under mechanical warewashing machine

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, standing water observed on floor, floor drains not draining properly

FC 6-501.14	Maintenance and Operation; Cleaning: Ventilation Systems, vents above mechanical warewashing machine dirty and dusty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, light shields dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, possible mold growth on caulking around table and sink

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, caulking damaged around caulking around table and sink

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, baseboard damaged throughout warewashing area

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, sink drains into bucket on floor

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, garbage disposal missing under sink

# Manual Warewashing Room

FC 5-250.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, drains held close using Styrofoam cups

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, baseboard damaged

FC 4-101.16	Materials for Construction and Repair; Multiuse: Sponges used in kitchen

FC 6-501.14	Maintenance and Operation; Cleaning: Ventilation Systems, vent dusty above pots and pan rack

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Pans not stored in the inverted position

# Spray Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, mold along wall and floor

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, drain cover broken

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light shield damaged

# Walk-In Refrigerator # 1

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from contamination, utensils left uncovered

FC 4-903.12 (A)(8)	Protection of Clean Items, Storing: Utensils stored in an inappropriate location, plastic forks stored with butter

# Freezer # 2

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant or protected by light shields

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, ice observed on floor under vent fans

Walk-In Cooler # 3

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

# Food Preparation and Baking Area

FC 5-250.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, 2 bay sink leaking

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged behind prep sink

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling dirty

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, floor drains filled with debris and food

# Kettle Hood Area

105 CMR 451.353* 	Interior Maintenance: Kitchen exhaust system not in compliance with the provisions for inspection, cleaning, and labeling required by 527 CMR 11.00, Exhaust Systems in Commercial Cooking Operations

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Exhaust hoods dirty and dusty

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty behind kettles

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling dirty

# Oven Hood Area

105 CMR 451.353* 	Interior Maintenance: Kitchen exhaust system not in compliance with the provisions for inspection, cleaning, and labeling required by 527 CMR 11.00, Exhaust Systems in Commercial Cooking Operations

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Exhaust hoods dirty and dusty

# Front Hoods and Tray Prep Area

105 CMR 451.353* 	Interior Maintenance: Kitchen exhaust system not in compliance with the provisions for inspection, cleaning, and labeling required by 527 CMR 11.00, Exhaust Systems in Commercial Cooking Operations

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Exhaust hoods dirty and dusty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged under tilt skillets

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty behind tilt skillets

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged behind tilt skillet

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested less than 	recommended concentration in sanitizer buckets

# Boiler Room # 1030

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall and baseboard damaged

# Pull Room # 1031

Unable to Inspect – Under Construction

Barrel Room

Unable to Inspect – Under Construction

Chemical Room # 196

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling vent rusty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling vent dusty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, standing water observed on floor

Utensil Storage Room

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, 2 stored ladle dirty at the time of inspection

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged

# Slop Sink Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, sink rusted

# Loading Dock

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Roll down door not weather and vermin tight

# Hallway

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

# Archive File Room # 1025

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling vent dusty

# Staff Locker Room and Mop Closet # 1026

FC 6-501.11*		Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

FC 6-501.11		Maintenance and Operation; Repairing: Facility not in good repair, baseboard damaged

# Female Staff Bathroom # 1199

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor paint damaged

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sink water temperature recorded at 1040F

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling vent dusty

# Male Staff Bathroom # 1200

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sink water temperature recorded at 1040F

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor paint peeling

# Spice Room

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from contamination, items left uncovered

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, spilled spices on shelves and floor

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

# Back Storage

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from contamination, items left uncovered, torn bag

# Back Cage

FC 6-404.11	Location and Placement; Distressed Merchandise: Dented/Damaged cans not properly segregated

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from contamination, sugar left uncovered

Fridge # 4

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, possible mold growth inside of fridge

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, bottom of fridge dirty

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, vent fans dusty

# Inmates Bathroom #1029

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at handwashing sink

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, walls dirty

# Staff Dinning Room # 1041

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Mold growth inside of vending machine

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not repaired or removed from premises, vending machine not functioning properly and forming mold growth

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sink water temperature recorded at 1350F

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at handwashing sink, no paper towels

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty behind vending machines

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged, hole in wall

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling vent dusty

# Inmate Dinning Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall covering missing or damaged in several areas

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall and wall seams damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

FC 6-101.11(A)(1)	Materials for Construction and Repairs: Surface not easily cleanable, wall heater unit rust damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall heater unit dusty

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested less than 	recommended concentration in sanitizer buckets

Shift Supervisor # 1050

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 7-102.11	Poisonous or Toxic Materials; Working Containers: Working containers of poisonous or toxic materials must be clearly labeled with common name

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling paint damaged

# Medical Housing Unit

# Entrance

No Violations Noted

# Inmate Bathroom #2002

105 CMR 451.123*	Maintenance: Baseboard damaged

105 CMR 451.126*	Water Supply: No cold water supplied to handwash sink

# Waiting Lobby

105 CMR 451.353*	Interior Maintenance: Thermostat cover damaged/missing

# Nurse’s Office # 2003

105 CMR 451.353*	Interior Maintenance: Countertop no longer easily cleanable, finish missing

# Nurse’s Break Room # 2004

105 CMR 451.350*	Structural Maintenance: Water damaged ceiling tiles

FC 4-102.11(B)(2)	Materials for Construction and Repair; Multiuse: Unused single-service article not 	protected against contamination, utensils uncovered

# I1-Isolation Room # 2005

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

# I1-Isolation Room # 2006

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

# Waiting Room # 2007

105 CMR 451.350	Structural Maintenance: Wall damaged

# Janitor’s Closet # 2008

105 CMR 451.350*	Structural Maintenance: Wall damaged behind faucet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Interview Room # 2040

No Violations Noted

# Intake Processing Room # 2041

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose

# Common Area

No Violations Noted

# Nurse’s Desk

105 CMR 451.123*	Maintenance: Desk finish damaged and no longer easily cleanable

# R1 (2009)

105 CMR 451.353*	Interior Maintenance: Baseboard damaged

# R2 (2010)

105 CMR 451.350*	Structural Maintenance: Wall seam cover missing

# R3 (2011)

# No Violations Noted

# R4 (2012)

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ceiling vent covered by paper

R5 (2014)

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353	Interior Maintenance: Standing water in bucket

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ceiling vent covered by paper

R5 (2014) Bathroom

105 CMR 451.123	Maintenance: Floor tiles damaged in bathroom

105 CMR 451.123	Maintenance: Soap scum on walls and floor in shower

105 CMR 451.123	Maintenance: Rust damaged ceiling tiles and supports

R6 (2015)

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

105 CMR 451.353	Interior Maintenance: Lights covered by paper

R6 (2015) Bathroom

105 CMR 451.123	Maintenance: Sink dirty in bathroom

105 CMR 451.123	Maintenance: Soap scum on walls and floor in shower

105 CMR 451.123	Maintenance: Baseboard damaged and missing in bathroom

105 CMR 451.123	Maintenance: Wall damaged

# Storage # 2016

105 CMR 451.353	Interior Maintenance: Oxygen tanks not secure to wall or floor

# Inmate Shower # 2017	Used as Storage

105 CMR 451.123*	Maintenance: Wall not sealed around water controls

105 CMR 451.123*	Maintenance: Shower tiles and grout damaged

105 CMR 451.123*	Maintenance: Ceiling vents dirty

105 CMR 451.123*	Maintenance: Wall left unrepaired after water controls were moved

105 CMR 451.123*	Maintenance: Shower floor dirty

105 CMR 451.123*	Maintenance: Soap scum on walls and floor

# Staff Bathroom # 2019

105 CMR 451.123*	Maintenance: Ceiling vent dirty

# Staff Break Room # 2022

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

# Storage # 2037

105 CMR 451.353*	Interior Maintenance: Outlet cover missing

105 CMR 451.350*	Structural Maintenance: Wall damaged

# Back Hallway

# Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

# Hallway Sink

No Violations Noted

# Dentist Room # 2029

105 CMR 451.353	Interior Maintenance: Wall paint peeling in storage area

X-Ray Room # 2030

No Violations Noted

Dark Room # 2031

No Violations Noted

# Urine Lab Room # 2032

No Violations Noted

# Exam Room # 2033

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink faucet loose

# Diabetic Room # 2034

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

# Medical Waste Storage Room # 2035

No Violations Noted

# Program Building (K)

# Lower Programs

# Chapel # 1009 A

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Inmate Bathroom # 1004

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Unfilled holes in wall from old plumbing fixture

# Hot Water Heater Room # 1005

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Water damaged ceiling

105 CMR 451.353*	Interior Maintenance: No light shield provided in maintenance area

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

# Clergy # 1006

No Violations Noted

# Clergy # 1007

No Violations Noted

Clergy # 1008

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Classrooms

105 CMR 451.353*	Interior Maintenance: Water damaged ceiling tiles in classroom # 1022

105 CMR 451.353	Interior Maintenance: Window blinds damaged in classroom # 1026

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty in classroom # 1026 and 1027

# Library

105 CMR 451.350*	Structural Maintenance: Wall damaged, hole in wall near doorway

# Door in hallway leading outdoors

105 CMR 451.350*	Structural Maintenance: Doorway not rodent and weathertight

Teacher’s Office # 1014

No Violations Noted

# Inmate Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink at time of inspection

105 CMR 451.123*	Maintenance: Wall not easily cleanable, seam cover missing and unfilled holes in the wall covering

105 CMR 451.123*	Maintenance: Bathroom vent dirty

105 CMR 451.126*	Water Supply: No hot water supplied to handwash sink

105 CMR 451.124*	Water Supply: Insufficient cold water supply in quantity and pressure in handwashing sink

Male Staff Bathroom # 1015

Unable to Inspect - Occupied

# Female Staff Bathroom # 1016

105 CMR 451.123*	Maintenance: Ceiling vent dirty and rusted

105 CMR 451.123*	Maintenance: No appropriate toilet paper holder provided, toilet paper roll secured using a plastic bag

# Upper Programs

# Bathroom # 1277

Unable to Inspect - Locked

# Male Staff Bathroom # 2024

105 CMR 451.353	Interior Maintenance: Water stained ceiling tiles near light fixture

# Female Staff Bathroom # 2025

No Violations Noted

# Conference Room # 2036

No Violations Noted

# Slop Sink Room # 1278

105 CMR 451.353*	Interior Maintenance: Slop sink dirty

105 CMR 451.353*	Interior Maintenance: Vent cover missing

105 CMR 451.353*	Interior Maintenance: Vent dirty

105 CMR 451.350*	Structural Maintenance: Wall damaged around sink

# Offices

# 2033

No Violations Noted

# 2035

No Violations Noted

# 2041

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

# 2042

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

# 2007

105 CMR 451.353*	Interior Maintenance: Water damaged ceiling tiles

# 2008

105 CMR 451.353*	Interior Maintenance: Water damaged ceiling tiles

# 2009

105 CMR 451.353*	Interior Maintenance: Water damaged ceiling tiles

105 CMR 451.123*	Maintenance: Ceiling tiles missing

# 2011

105 CMR 451.353*	Interior Maintenance: Water damaged ceiling tiles

# 2012

105 CMR 451.353	Interior Maintenance: Water damaged ceiling tiles

# Vocational Education Building

# First Floor

# Laundry

FC 4-501.11(A)*	Maintenance and Operation; Repairing: Equipment: Equipment not maintained in a state of good repair, refrigerator door handle missing and damaged

FC 4-501.11(A)*	Maintenance and Operation; Repairing: Equipment: Equipment not maintained in a state of good repair, refrigerator gasket damaged

105 CMR 451.130*	Plumbing: No backflow preventer on slop sink

105 CMR 451.353	Interior Maintenance: Ceiling water stained

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Floor paint damaged throughout laundry area

105 CMR 451.353*	Interior Maintenance: Floor paint damaged around washing machines

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking behind washer # 1

105 CMR 451.353	Interior Maintenance: Back of washer # 3 damaged, corroded and rust damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, back of  washer # 3 leaking

Sewing Room

105 CMR 451.353	Interior Maintenance: One light shield missing

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent fan louvers not opening properly to outside

# Laundry Storage

105 CMR 451.353	Interior Maintenance: One light not functioning properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

# Voke Hallway

105 CMR 451.353	Interior Maintenance: Several lights not functioning properly

# Staff Bathroom # 0913

105 CMR 451.353*	Interior Maintenance: Vent dirty

# Slop Sink Room

No Violations Noted

# Voke 1	Not in Use

# Voke 1 Bathroom/Shower	Not in Use

# Voke 2

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353	Interior Maintenance: Vent fan dusty

Old Counselor Room # 0930

105 CMR 451.350	Structural Maintenance: Baseboard damaged

# Voke 2 Bathroom/Shower

105 CMR 451.123*	Maintenance: Soap scum on shower curtains, walls, and floor in all shower stalls

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Standing water observed on bathroom floor

105 CMR 451.123	Maintenance: Ceiling vents rusted

105 CMR 451.123	Maintenance: 5 lights not functioning properly

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 1 out-of-order

# Warehouse # 0911

Unable to Inspect - Locked

# Voke 3

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Wall paint damaged near phones

# Voke 3 Bathroom/Shower

105 CMR 451.123*	Maintenance: Standing water observed on bathroom floor

105 CMR 451.123	Maintenance: Soap scum on floors in all showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 1R leaking

# Second Floor

# Hallway

No Violations Noted

Classroom # 2003

No Violations Noted

# Staff Bathroom # 2005

No Violations Noted

# Slop Sink Room # 2006

105 CMR 451.123*	Maintenance: Ceiling vents dirty

# Classroom # 2011

No Violations Noted

# Classroom # 2010

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Voke 4	Not in Use

# Voke 4 Bathroom/Shower	Not in Use

# Barber Shop # 2008

105 CMR 451.353*	Interior Maintenance: Countertop damaged and no longer easily cleanable, held together by duct tape

105 CMR 451.353	Interior Maintenance: Several chair coverings damaged

# Print Shop # 2009

105 CMR 451.350*	Structural Maintenance: Wall panel missing near sink

# 120 Building (F)

# Entryway

# No Violations Noted

# A & B Control

105 CMR 451.350*	Structural Maintenance: Water damaged ceiling tiles

# Control Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

# A Block (Segregation Unit)

# Common Area

105 CMR 451.353*	Interior Maintenance: Water damaged ceiling tiles

# Slop Sink Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Floor damaged

# Cells

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 120, 147, and 157

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 129, 134, 141, 144, 145, 151, and 160

105 CMR 451.353*	Interior Maintenance: Light fixture blocked by paper in cell # 132

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 141 and 159

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 112

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 103, 104, 114, 138, and 156

# Shower Area

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and floor in shower stalls

105 CMR 451.123*	Maintenance: Wall paint damaged outside shower unit in stall # 1 and 9

105 CMR 451.123*	Maintenance: Ceiling vents damaged in handicap stall

105 CMR 451.123*	Maintenance: Floor drain blocked by debris in handicap shower

105 CMR 451.123*	Maintenance: Floors dirty in front of stalls

# B Block

# Common Area

105 CMR 451.350*	Structural Maintenance: Water damaged ceiling tiles

105 CMR 451.353*	Interior Maintenance: Floor dirty around ice machine

105 CMR 451.353	Interior Maintenance: Several ceiling tiles water damaged

105 CMR 451.353	Interior Maintenance: Portable fan dirty

# Slop Sink Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: One light shield missing in maintenance area

105 CMR 451.353	Interior Maintenance: Sink drain cover missing

105 CMR 451.353	Interior Maintenance: Standing water in bucket

# Cells

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 205 and 206

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 211, 216, 217, 224, 229, 234, 235, 240, 242, 248, and 252

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 220 and 253

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 219, 244, 250, 251, 254, 257, 259, and 260

105 CMR 451.353*	Interior Maintenance: Light fixture blocked by paper in cell # 233

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 230

105 CMR 451.141*	Screens: Screen damaged in cell # 256

105 CMR 451.141	Screens: Screen damaged in cell # 257

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 213

# Shower Area

105 CMR 451.123*	Maintenance: Ceiling dirty outside shower stalls

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and floor in shower stalls

105 CMR 451.123*	Maintenance: Ceiling paint damaged outside of shower stalls

105 CMR 451.123*	Maintenance: Shower vents dirty

105 CMR 451.123	Maintenance: Light out in handicapped shower

# 60 Building (G)

# Control

105 CMR 451.353*	Interior Maintenance: Water damaged ceiling tiles around vent

# Control Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Unlabeled chemical bottle

# Cell Block

# Common Area

105 CMR 451.128*	Ice: Unsanitary ice source and storage and handling conditions, exterior and interior of ice machine dirty

105 CMR 451.350*	Structural Maintenance: Wall damaged around phone upper and lower area

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

# Slop Sink Room

105 CMR 451.344*	Illumination in Habitable Areas: Light fixture not functioning properly

105 CMR 451.350*	Structural Maintenance: Slop sink damaged

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: No light shield provided in maintenance area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

# Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 323, 327, 328, 329, 335, 337, 351, and 353

105 CMR 451.123	Maintenance: Wall paint damaged in cell # 348 and 355

# Lower Shower Area

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and ceilings in shower

105 CMR 451.123*	Maintenance: Wall vents dirty

105 CMR 451.350*	Structural Maintenance: Floor damaged, rust on floor

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1170F

# Upper Shower Area

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Soap scum on walls and ceilings in shower

105 CMR 451.123*	Maintenance: Wall paint damaged outside shower units

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet knobs missing in shower

# 5

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1170F

# 80 Building (H)

# Lower 80–First Floor

# Control

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, refrigerator gasket damaged

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, refrigerator handle broken

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, interior of microwave oven damaged

# Control Bathroom

105 CMR 451.110	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink #

Common Area

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave ovens dirty

105 CMR 451.345* 	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light fixtures not functioning properly

105 CMR 451.353*	Interior Maintenance: Control missing from water fountain

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

# Storage Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

105 CMR 451.353	Interior Maintenance: Water damaged ceiling tiles

105 CMR 451.353	Interior Maintenance: Ceiling insulation damaged and falling through missing ceiling tiles

105 CMR 451.350	Structural Maintenance: Outer door not rodent and weathertight

# Inmate Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in all shower stalls

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head missing in shower

# 7

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 1 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 3R leaking

105 CMR 451.123	Maintenance: Urinal # 2, 3, and 4 dirty

105 CMR 451.123	Maintenance: Floor dirty in shower # 2

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 2

105 CMR 451.123	Maintenance: Plastic bags used to hold up shower curtains

105 CMR 451.123	Maintenance: Floors dirty around all toilets

105 CMR 451.123	Maintenance: Mirror broken at sink # 4R

# Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Slop sink damaged

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Vent dirty

105 CMR 451.353	Interior Maintenance: Ceiling tiles damaged]

105 CMR 451.353	Interior Maintenance: Light fixture not functioning properly

# Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

# Dorm Rooms

105 CMR 451.322*	Cell Size: Inadequate floor space in all dorm rooms

# Dorm Room # 401

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

# Dorm Room # 402

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

# Dorm Room # 403

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

# Dorm Room # 404

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty

105 CMR 451.353	Interior Maintenance: Ceiling dirty

# Dorm Room # 405

No Violations Noted

# Dorm Room # 406

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

Dorm Room # 407

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

# Dorm Room # 408

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

# Dorm Room # 409

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

105 CMR 451.353*	Interior Maintenance: Baseboard missing

105 CMR 451.350*		Structural Maintenance: Ceiling damaged

# Dorm Room # 410

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

105 CMR 451.350*	Structural Maintenance: Wall damaged under window

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

# 80 Building Stairway

No Violations Noted

# Upper 80-Second Floor

# Control

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

# FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, interior of microwave over damaged

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator handle broken and gaskets damaged

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

Control Bathroom

105 CMR 451.123	Maintenance: Caulking damaged around sink and toilet

105 CMR 451.123	Maintenance: Ceiling vent dusty

# Common Area

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.353*	Interior Maintenance: Water control missing from water fountain

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

# Storage

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

# Inmate Bathroom

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on wall and floor tiles in all shower stalls

105 CMR 451.123*	Maintenance: Ceiling vents dusty

105 CMR 451.123	Maintenance: Plastic bags used to hold up shower curtains

105 CMR 451.123	Maintenance: Door missing on toilet stall # 1

105 CMR 451.123	Maintenance: Standing water observed on floor

105 CMR 451.123	Maintenance: Wall cracked in all toilet stalls

105 CMR 451.126	Hot Water: Hot water temperature recorded at 550F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 4R leaking

# Staff Bathroom

No Violations Noted

# Slop Sink Room

105 CMR 451.350*	Structural Maintenance: Slop sink damaged

105 CMR 451.353*	Interior Maintenance: Vent dirty

# Dorm Rooms

# Dorm Room # 411

No Violations Noted

# Dorm Room # 412

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

# Dorm Room # 413

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Dorm Room # 414

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Dorm Room # 415

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Dorm Room # 416

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

# Dorm Room # 417

No Violations Noted

# Dorm Room # 418

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

# Dorm Room # 419

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

105 CMR 451.353	Interior Maintenance: Ceiling damaged

# Dorm Room # 420

No Violations Noted

# Gym Building (I)

# Gym

105 CMR 451.353	Interior Maintenance: Wall paint damaged

# Weight Area

105 CMR 451.353*	Interior Maintenance: Exercise equipment surface damaged and no longer easily cleanable

Storage Room

105 CMR 451.123	Maintenance: Floor paint damaged

# Inmate Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 870F

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sinks

# Outside the Fence

# Warehouse

No Violations Noted

Door to Outside

105 CMR 451.350*	Structural Maintenance: Doorway not rodent and weathertight

# Bathroom 1003

105 CMR 451.123*	Maintenance: Wall damaged

# Slop Sink Room 1004

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Water left in mop bucket

Garage

FC 6-501.11(A)*	Maintenance and Operation; Equipment: Equipment not maintained in a state of good repair, refrigerator gaskets damaged

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

105 CMR 451.123*	Maintenance: Handwash sink dirty

# Bathroom 1007

No Violations Noted

# Office

FC 4-204.112(A)	Design and Construction, Functionality: Thermometer not functioning properly in refrigerator

# Observations and Recommendations

- The inmate population was 1119 at the time of inspection

- Updated elevator permit in Administration Area was not available at the time of inspection

- Mechanical warewash machine was not reaching correct temperature required for adequate cleaning in Food Service Area. Recommended using 3-compartment sink or Styrofoam plates until the problem is corrected.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

# This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

# Marian Robertson

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Michael Mark, Superintendent

Cory Mathieson, EHSO

Middleton Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea J. Cabral, EOPS