The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone:  (781) 828-7910

Facsimile:  (781) 828-7703

marian.robertson@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

May 29, 2012

Frank G. Cousins, Jr., Sheriff

Essex County Correctional Facility

20 Manning Avenue

Middleton, MA 01949

Re: Facility Inspection

Dear Sheriff Cousins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Essex County Correctional Facility on May 16, 17, and 18, 2012 accompanied by Cory Mathieson, EHSO, and Amy Riordan of the Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

# Administration Building

# Front Lobby

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.141	Screens: Screen damaged

# Women’s Bathroom # 1002

105 CMR 451.123*	Maintenance: Sink fixture not properly sealed to wall, caulking damaged

105 CMR 451.123*	Maintenance: No appropriate toilet paper holder provided, toilet paper roll secured using a plastic bag

105 CMR 451.123	Maintenance: Floor paint peeling

# Men’s Bathroom

105 CMR 451.123*	Maintenance: Sink fixture not properly sealed to wall, caulking damaged

105 CMR 451.123*	Maintenance: Toilet fixture not properly sealed to wall, caulking damaged

105 CMR 451.350	Structural Maintenance: Wall damaged behind toilet

105 CMR 451.123	Maintenance: Floor paint peeling

# Administration Hallway-First Floor

# Kitchenette # 1007

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gasket dirty

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.123	Maintenance: Wall in doorway damaged

105 CMR 451.353	Interior Maintenance: Phone jack loose

# Training 1 # 1008

No Violations Noted

# Training 2 #1009

105 CMR 451.350	Structural Maintenance: Water damaged ceiling tiles

# Administration #1012

105 CMR 451.350	Structural Maintenance: Water damaged ceiling tiles

# Female Staff Bathroom # 1013

105 CMR 451.123*	Maintenance: Light switch cover loose

# Male Staff Bathroom # 1014

105 CMR 451.123*	Maintenance: Wall damaged behind toilet unit

# Training # 1015

No Violations Noted

# Weight Room # 1018

No Violations Noted

# Male Staff Locker Room # 1030

105 CMR 451.123*	Maintenance: Unfinished wood not easily cleanable near entryway

105 CMR 451.123*	Maintenance: Ceiling tiles missing

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water controls missing from handwashing sink # 4

# Female Staff Locker Room # 1031

105 CMR 451.123	Maintenance: Wall tiles damaged

105 CMR 451.123	Maintenance: Wall tiles missing

# Storage # 1016

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: No light shield provided in maintenance area

# Mop/Hot Water Heater Room # 1017

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water on floor

# Administration Area-Second Floor

# Women’s Bathroom # 2002

105 CMR 451.123*	Maintenance: Sink fixture not properly sealed to wall, caulking damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Men’s Bathroom # 2003

No Violations Noted

# Kitchenette # 2011

FC 4-903.11(A)(3)	Protection of Clean Items, Storing: Single use articles not stored 6” off the floor

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

FC 4-101.16	Materials for Construction and Repair; Multiuse: Sponges used in kitchen

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.11(B)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, cooking 	equipment dirty, coffee maker

Office # 2007

105 CMR 451.350	Structural Maintenance: Water damaged ceiling tiles

# Bathroom # 2012

No Violations Noted

# Control

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

# Control Bathroom

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Office Area

# 1003 B

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

# Server Room # 1003 D

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing

# Food Service and Medical Building

# Visitor Entrance Area

105 CMR 451.350	Structural Maintenance: Entrance not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

# Visitor Area

105 CMR 451.350	Structural Maintenance: Wall damaged, baseboards damaged

105 CMR 451.350	Structural Maintenance: Wall damaged, paint damaged around phones

105 CMR 451.350	Structural Maintenance: Floor damaged

# Bathroom 1

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

# Bathroom 2

Locked at time of inspection

# Visitor Area # 142 A

105 CMR 451.350	Structural Maintenance: Wall damaged, paint damaged around phones

# Old Roll Call Room

105 CMR 451.353	Interior Maintenance: Water fountain not working

Male Bathroom # 1169

No Violations Noted

Female Bathroom # 1168

No Violations Noted

# Records Hallway

# Male Staff Bathroom # 1010

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Female Staff Bathroom # 1012

No Violations Noted

# Break Room # 1013

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior surfaces of refrigerator dirty

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Frequency: Interior of toaster dirty

FC 4-602.13	Cleaning of Equipment and Utensils, Frequency: Nonfood-Contact surfaces dirty counter top

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, microwave broken on front of door

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles damaged

# FC 5-202.12(A)*	Plumbing System, Design: Handwashing sink water temperature recorded at 980F

105 CMR 451.350*	Structural Maintenance: Ceiling tiles missing

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

105 CMR 451.350	Structural Maintenance: Water damaged ceiling tiles

105 CMR 451.353	Interior Maintenance: Outlet cover missing

105 CMR 451.353	Interior Maintenance: Phone jack cover missing

# Filing Room # 1015

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing

# Intake Hallway # 1016

105 CMR 451.350	Structural Maintenance: Ceiling leaking in hallway

# Slop Sink Room # 1034

105 CMR 451.344	Illumination in Habitable Areas: One light fixture not functioning properly

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Interior Maintenance: Slop sink dirty

105 CMR 451.353*	Interior Maintenance: No light shield provided in maintenance area

# Property Room # 1159

FC 4-102.11(B)(2)	Materials for Construction and Repair; Multiuse: Unused single-service article not 	protected against contamination, utensils uncovered

105 CMR 451.350	Structural Maintenance: Wall damaged

# Shift Commander’s Office # 1039

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

# Intake Unit # 102

105 CMR 451.353*	Interior Maintenance: Sink fixture not secured properly to wall

105 CMR 451.353*	Interior Maintenance: Counter top damaged

105 CMR 451.353*	Interior Maintenance: Floor finish damaged behind the control counter

# Shower Area

105 CMR 451.350	Structural Maintenance: Shower tiles missing

105 CMR 451.350	Structural Maintenance: Floor damaged

# Cells # 1152/1153

105 CMR 451.353*	Interior Maintenance: Floor no longer easily cleanable, finish damaged in cell # 4

105 CMR 451.353	Interior Maintenance: Floor dirty

# Storage Room

No Violations Noted

# Patrol Area

# Break Room

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-102.11(B)(2)	Materials for Construction and Repair; Multiuse: Unused single-service article not 	protected against contamination, utensils uncovered

Visitors # 1047

105 CMR 451.353	Interior Maintenance: Wall dirty

105 CMR 451.350	Structural Maintenance: Wall damaged

# 240 Building (J)

# A & B Control

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty and rusted

FC 3-501.16(B)*	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator temperature recorded at 500F

FC 4-904.13(A)	Protection of Clean Items, Handling: Tableware not protected from contamination, not 	stored in the inverted position

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Water damaged ceiling tiles

# Control Bathroom

No Violations Noted

# A Block

# Common Area

105 CMR 451.353	Interior Maintenance: Wall paint damaged near phones on both levels

# Slop Sink Room

105 CMR 451.353	Interior Maintenance: Wall dirty near slop sink

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350	Structural Maintenance: Holes in ceiling near pipes

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.360	Protective Measures: Insects observed, drain flies observed near mop bucket

# Cells

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 504, 512, 522 and 534

105 CMR 451.123	Maintenance: Wall paint damaged in cell # 523 and 551

# Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls and floor in all shower stalls

105 CMR 451.123	Maintenance: Standing water observed on floor in shower area

105 CMR 451.123	Maintenance: Wall paint damaged outside of shower unit in shower stall # 1 and 9

105 CMR 451.123	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Floor drain damaged in handicap shower

# B Block

# Common Area

No Violations Noted

# Slop Sink Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Slop sink damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.350	Structural Maintenance: Wall damaged, rust damaged from ceiling leaking

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.123	Maintenance: Missing drain cover

105 CMR 451.353	Interior Maintenance: Water left in mop bucket

# Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 639 and 646

105 CMR 451.123	Maintenance: Wall paint damage in cell # 618, 643, and 647

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 606 and 615

# Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in all shower stalls

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Wall vents dirty

105 CMR 451.123	Maintenance: Wall paint damaged outside shower unit in shower stall # 1 and 9

# C & D Control

105 CMR 451.350	Structural Maintenance: Wall damaged around vent

# Control Bathroom

In use at time of inspection

# C Block

# Common Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near phones

# Slop Sink Room

105 CMR 451.123	Maintenance: Wall paint damaged

105 CMR 451.123	Maintenance: Floor drain in slop sink missing

105 CMR 451.353	Interior Maintenance: Standing water on floor

105 CMR 451.353	Interior Maintenance: Slop sink dirty

105 CMR 451.353	Interior Maintenance: Dent in ventilation system, causing a gap

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

# Cells

105 CMR 451.123	Maintenance: Wall paint damaged in cell # 723, 741, 749, 751, 752, 757, and 758

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 704, 706, 710, 720, and 724

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 711, 718, 720, 756, and 759

# Shower Area

105 CMR 451.123*	Maintenance: Wall vents dirty

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and floors in all shower stalls

105 CMR 451.123*	Maintenance: Wall paint damaged outside shower unit in shower stall # 1 and 9

# D Block

# Common Area

105 CMR 451.123	Maintenance: Ceiling dirty around vents

# Slop Sink Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated, insulation loose

105 CMR 451.353	Interior Maintenance: Wall dirty near slop sink

# Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 811, 813, 817, 827, and 854

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 801 and 802

# Shower Area

105 CMR 451.123	Maintenance: Soap scum and possible mold growth on walls in all shower stalls

105 CMR 451.123	Maintenance: Wall paint damage in stall # 9

# Food Service Area

# Mechanical Warewashing Area

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, rust present around mechanical warewashing area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water filter leaking above mechanical warewashing area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling rust damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty behind sink

FC 5-250.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, sink leaking on floor

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty, soapy looking substance on floor

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, seams from wall cover damaged and missing

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged leaving unfinished wood exposed

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged under mechanical warewashing machine

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, electrical outlet cover missing

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, standing water observed on floor

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

# Manual Warewashing Room

FC 5-250.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, drains held close using Styrofoam cups

FC 4-601.11(B)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, cooking 	equipment dirty (cutting board)

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, baseboard damaged

# Spray Room

FC 5-250.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, backflow leaking

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, mold along wall and floor

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, drain cover broken

# Walk-In Refrigerator

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

# Freezer

FC 3-305.11(A)(3)	Preventing Contamination from Premises: Food stored in an inappropriate location, 	food stored less than 6” from the floor

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged

# Food Preparation and Baking Area

FC 5-250.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, sink leaking

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged behind prep sink

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested less than 	recommended concentration in sanitizer bucket

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sinks water temperature recorded at 700F

105 CMR 451.353 	Interior Maintenance: Kitchen exhaust system not in compliance with the provisions for inspection, cleaning, and labeling required by 527 CMR 11.00, Exhaust Systems in Commercial Cooking Operations

# Boiler Room # 1022

Locked at time of inspection

# Pull Room # 1031

FC 4-102.11(B)(2)*	Materials for Construction and Repair; Multiuse: Unused single-service article not 	protected against contamination, utensils uncovered

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall cover not secured properly

FC 6-501.11*	Maintenance and Operation; Repairing: Ceiling repair not finished in a work-person like fashion

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture not functioning properly

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, baseboard/wall damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

FC 3-301.11(C)	Preventing Contamination by Employees After Receiving: Handling of ready-to-eat food with bare hands

FC 3.302.11(A) 	Preventing Food and Ingredient Contamination: Preventing cross contamination, food shall be protected against cross contamination, hot dog buns found in brown sugar

Utensil Storage Room

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, stored ladle dirty at the time of inspection

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged

# Slop Sink Room

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, sink rusted

# Loading Dock

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight, roll down door

# Barrel Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty

FC 6-202.15(A)(3)	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

# Hallway

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

# Officer’s Room # 1025

No Violations Noted

# Staff Locker Room and Mop Closet # 1026

FC 6-501.11*		Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

# Female Staff Bathroom # 1199

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor paint

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sink water temperature recorded at 890F

# Male Staff Bathroom # 1200

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sink water temperature recorded at 1010F

FC 5-202.12(D)	Plumbing System, Design: Plumbing not maintained in good repair, water controls

missing from handwashing sink

# Spice Room

FC 3-302.12	Preventing Food and Ingredient Contamination: Unlabeled food containers

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from contamination, items left uncovered

# Back Storage

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from contamination, items left uncovered, torn bag

# Back Cage

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Refrigerator dirty

# Inmates Bathroom #1029

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink

# Kettle Hood Area

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Grease hoods not maintained properly

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, kettle leaking

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty behind kettles

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling dirty

# Oven Hood Area

No Violations Noted

# Front Hoods and Tray Prep Area

FC 4-102.11(B)(2)	Materials for Construction and Repair; Multiuse: Unused single-service article not 	protected against contamination, utensils uncovered

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, outlet cover missing

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Grease hoods not maintained properly, grease hoods dirty

# Staff Dinning Room # 1041

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Vending machine draws dirty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles water damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles missing

FC 4-102.11(B)(2)	Materials for Construction and Repair; Multiuse: Unused single-service article not protected against contamination, utensils uncovered

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Take-out containers not stored in the inverted position

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sink water temperature recorded at 1350F

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at handwashing sink, no paper towels

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged, hole in floor

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty behind vending machines

# Inmate Dinning Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall covering missing or damaged in several areas

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall and wall seams damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture not functioning properly

# Health Service Unit

# Entrance

No Violations Noted

# Inmate Bathroom #2002

105 CMR 451.123*	Maintenance: Baseboard damaged

105 CMR 451.126*	Water Supply: No cold water supplied to handwash sink

# Waiting Lobby

105 CMR 451.353*	Interior Maintenance: Thermostat cover damaged/missing

# Nurse’s Office # 2003

105 CMR 451.353*	Interior Maintenance: Countertop no longer easily cleanable, finish missing

# Nurse’s Break Room # 2004

105 CMR 451.350*	Structural Maintenance: Water damaged ceiling tiles

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator door not installed properly leaving a one inch open gap

FC 4-102.11(B)(2)	Materials for Construction and Repair; Multiuse: Unused single-service article not 	protected against contamination, utensils uncovered

# I1-Isolation Room # 2005

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350	Structural Maintenance: Wall damaged

# I1-Isolation Room # 2006

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

# Waiting Room # 2007

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling

# Janitor’s Closet # 2008

105 CMR 451.350*	Structural Maintenance: Wall damaged behind faucet

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353*	Interior Maintenance: Ceiling dirty

# Interview Room # 2040

No Violations Noted

# Intake Processing Room # 2041

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose

# Common Area

105 CMR 451.353	Interior Maintenance: Thermostat cover damaged/missing

105 CMR 451.350*	Structural Maintenance: Wall damaged outside R1 (2009)

# Nurse’s Desk

105 CMR 451.123	Maintenance: Desk finish damaged and no longer easily cleanable

# R1 (2009)

105 CMR 451.353*	Interior Maintenance: Baseboard damaged

105 CMR 451.103	Mattresses: Mattress damaged, cover torn

# R2 (2010)

105 CMR 451.350*	Structural Maintenance: Wall seam cover missing

# R3 (2011

# No Violations Noted

# R4 (2012)

# No Violations Noted

R5 (2014) 	Bathroom occupied at time of inspection

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

R6 (2015)	Bathroom occupied at time of inspection

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

# Inmate Shower # 2017

105 CMR 451.123*	Maintenance: Wall not sealed around water controls

105 CMR 451.123*	Maintenance: Shower tiles and grout damaged

105 CMR 451.123*	Maintenance: Ceiling vents dirty

105 CMR 451.123*	Maintenance: Wall left unrepaired after water controls were moved

105 CMR 451.123*	Maintenance: Shower floor dirty

105 CMR 451.123*	Maintenance: Plastic bag used to secure handheld shower head

105 CMR 451.123	Maintenance: Soap scum on walls and floor

# Staff Bathroom # 2019

105 CMR 451.123*	Maintenance: Ceiling vent dirty

# Staff Break Room # 2022

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

# Storage # 2037

105 CMR 451.353	Interior Maintenance: Outlet cover missing

105 CMR 451.350	Structural Maintenance: Wall damaged

# Back Hallway

# Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

# Hallway Sink

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 890F

# Dentist Room # 2029

No Violations Noted

X-Ray Room # 2030

No Violations Noted

# Urine Lab Room # 2032

No Violations Noted

# Exam Room # 2033

No Violations Noted

# Diabetic Room # 2034

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Medical Waste Storage Room # 2035

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Program Building (K)

# Lower Programs

# Chapel # 1009 A

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Hot Water Heater Room # 1005

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Water damaged ceiling tiles

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: No light shield provided in maintenance area

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

# Clergy # 1006

No Violations Noted

# Clergy # 1007

No Violations Noted

# Classrooms

105 CMR 451.350	Structural Maintenance: Water damaged ceiling tiles in classroom # 1022

# Library

105 CMR 451.350	Structural Maintenance: Wall damaged, hole in wall near doorway

# Door in hallway leading outdoors

105 CMR 451.350	Structural Maintenance: Doorway not rodent and weathertight

Teacher’s Office # 1014

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.12(B)	Cleaning of Equipment and Utensils, Frequency: Interior of toaster dirty

# Inmate Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink at time of inspection

105 CMR 451.123*	Maintenance: Wall not easily cleanable, seam cover missing and unfilled holes in the wall covering

105 CMR 451.123*	Maintenance: Bathroom vent dirty

105 CMR 451.126*	Water Supply: No hot water supplied to handwash sink

105 CMR 451.124	Water Supply: Insufficient cold water supply in quantity and pressure in handwashing sink

# Male Staff Bathroom # 1015

105 CMR 451.353	Interior Maintenance: Outlet cover loose

105 CMR 451.123*	Maintenance: Front of counter top not easily cleanable, unfinished countertop

105 CMR 451.123*	Maintenance: Wall grout missing in several areas

105 CMR 451.123*	Maintenance: No appropriate toilet paper holder provided, toilet paper roll secured using a plastic bag

# Female Staff Bathroom # 1016

105 CMR 451.123*	Maintenance: Ceiling vent dirty and rusted

105 CMR 451.123*	Maintenance: No appropriate toilet paper holder provided, toilet paper roll secured using a plastic bag

# Upper Programs

# Bathroom # 1277

No Violations Noted

# Male Staff Bathroom # 2024

No Violations Noted

# Female Staff Bathroom # 2025

No Violations Noted

# Conference Room # 2036

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

# Slop Sink Room # 1278

105 CMR 451.353*	Interior Maintenance: Slop sink dirty

105 CMR 451.353*	Interior Maintenance: Vent cover missing

105 CMR 451.353*	Interior Maintenance: Vent dirty

105 CMR 451.353	Interior Maintenance: Water left in mop bucket

105 CMR 451.350	Structural Maintenance: Wall damaged around sink

# Offices

# 2033

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gasket dirty

105 CMR 451.350	Structural Maintenance: Water damaged ceiling tiles

# 2035

105 CMR 451.123	Maintenance: Ceiling tiles missing

# 2007

105 CMR 451.350	Structural Maintenance: Water damaged ceiling tiles

# 2008

105 CMR 451.350	Structural Maintenance: Water damaged ceiling tiles

# 2009

105 CMR 451.350	Structural Maintenance: Water damaged ceiling tiles

105 CMR 451.123	Maintenance: Ceiling tiles missing

# 2011

105 CMR 451.350	Structural Maintenance: Water damaged ceiling tiles

# Vocational Education Building

# First Floor

# Laundry

FC 4-501.11(A)*	Maintenance and Operation; Repairing: Equipment: Equipment not maintained in a state of good repair, refrigerator door handle missing and damaged

FC 4-501.11(A)*	Maintenance and Operation; Repairing: Equipment: Equipment not maintained in a state of good repair, refrigerator gasket damaged

105 CMR 451.130*	Plumbing: No backflow preventer on slop sink

105 CMR 451.353*	Interior Maintenance: Floor covered with cleaning solution in back room

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.350	Structural Maintenance: Floor paint damaged

105 CMR 451.350	Structural Maintenance: Floor paint damaged around washing machines

105 CMR 451.123	Maintenance: Floor drain damaged

# Laundry Storage

105 CMR 451.353	Interior Maintenance: No light shield provided

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

# Voke Hallway

# Staff Bathroom # 0913

105 CMR 451.353*	Interior Maintenance: Vent dirty

# Slop Sink Room

No Violations Noted

# Voke 1

105 CMR 451.103	Mattresses: Mattress damaged

105 CMR 451.141	Screens: Screen missing

105 CMR 451.353	Interior Maintenance: Chair damaged

# Voke 1 Bathroom/Shower

105 CMR 451.123	Maintenance: Soap scum on walls and floor in all shower stalls

105 CMR 451.350	Structural Maintenance: Shower # 7 missing shower head

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking on sink # 5

105 CMR 451.126	Hot Water: Hot water temperature recorded at 980F

# Voke 2

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.322	Cell Size: Inadequate floor space in dorm room

# Voke 2 Bathroom/Shower

105 CMR 451.123*	Maintenance: Soap scum on shower curtains, walls, and floor in all shower stalls

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Standing water observed on bathroom floor

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking # 1L

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink # 1R and 3L pipe leaking under countertop

# Warehouse # 0911

FC 6-501.16*	Maintenance and Operation; Cleaning: Wet mop stored in bucket

# Voke 3

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gasket dirty

105 CMR 451.353*	Interior Maintenance: Chair no longer easily cleanable, surface damaged

# Voke 3 Bathroom/Shower

105 CMR 451.123*	Maintenance: Standing water observed on bathroom floor

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose on handwash sink # 4L

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose on handwash sink # 1L

# Second Floor

# Hallway

No Violations Noted

# Inmate Bathroom

No Violations Noted

# Staff Bathroom # 2005

No Violations Noted

# Slop Sink Room # 2006

105 CMR 451.123	Maintenance: Ceiling vents dirty

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

# Classroom # 2011

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

105 CMR 451.344	Illumination in Habitable Areas: one light fixture not functioning properly

# Classroom # 2010

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Voke 4

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

105 CMR 451.128	Ice: Unsanitary ice source and storage and handling conditions, exterior and interior of ice machine dirty

105 CMR 451.353	Interior Maintenance: Floor dirty behind ice machine

# Voke 4 Bathroom/Shower

105 CMR 451.123	Maintenance: Soap scum on walls and floor in all shower stalls

# Barber Shop # 2008

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water controls missing from hair wash sink

105 CMR 451.353*	Interior Maintenance: Countertop damaged and no longer easily cleanable

# Print Shop # 2009

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not repaired or removed from premises; un-used microwave

105 CMR 451.353*	Interior Maintenance: Sink finish damaged and no longer easily cleanable

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.350	Structural Maintenance: Wall panel missing

# 120 Building (F)

# Entryway

# No Violations Noted

# A & B Control

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty and rusted

105 CMR 451.350*	Structural Maintenance: Water damaged ceiling tiles

# Control Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1060F

105 CMR 451.123	Maintenance: Ceiling vent missing

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water faucet broken

# A Block (Segregation Unit)

# Common Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice machine lid broken

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

# Slop Sink Room

105 CMR 451.344*	Illumination in Habitable Areas: Light fixture not functioning properly

105 CMR 451.123	Maintenance: Missing drain cover

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

# Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 101, 114, 115, 118, 120, 121, 127, 128, 130, 133, 135, 136, 139, 141, 142, 147, 148, 152, 155, 157, and 158

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 104, 105, 108, 132, 138, 149, and 153

105 CMR 451.123	Maintenance: Wall paint damaged in cell # 105, 109, 112, 119, 120, 121, 123, 125, 126, 129, 130, 141, 144, 145, 147, 149, 152, 154, and 160

105 CMR 451.103	Mattresses: Mattress damaged in cell # 108 and 136

105 CMR 451.350*	Structural Maintenance: Floor tile damaged in cell # 114 and 127

105 CMR 451.103	Mattresses: No mattress in cell # 132 and 136

# Shower Area

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and floor in shower stalls

105 CMR 451.123*	Maintenance: Wall paint damaged outside shower unit in stall # 1 and 9

105 CMR 451.123	Maintenance: Ceiling vents damaged in handicap stall

105 CMR 451.123	Maintenance: Floor drain blocked by debris in handicap shower

105 CMR 451.123	Maintenance: Floors dirty in front of stalls

# B Block

# Common Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice machine lid broken

105 CMR 451.350*	Structural Maintenance: Water damaged ceiling tiles

105 CMR 451.353*	Interior Maintenance: Ceiling dirty outside cell # 201

105 CMR 451.353	Interior Maintenance: Floor dirty around ice machine

# Slop Sink Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Slop sink damaged

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: No light shield provided in maintenance area

# Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 202, 204, 205, 206, 207, 208, 209, 236, 237, and 238

105 CMR 451.123	Maintenance: Wall paint damaged in cell # 203, 220, 224, 226, and 253

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 209, 212, 213, 214, 217, 222, 226, 229, 233, 235, 239, 251, 252, 258, and 259

105 CMR 451.353	Interior Maintenance: Light fixture blocked by towel in cell # 210

105 CMR 451.141*	Screens: Screen damaged in cell # 216, 245 and 248

105 CMR 451.141	Screens: Screen damaged in cell # 246, 249, 253, 251, 255, and 256

# Shower Area

105 CMR 451.123*	Maintenance: Ceiling dirty outside shower stalls

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and floor in shower stalls

105 CMR 451.123*	Maintenance: Ceiling paint damaged outside of shower stalls

105 CMR 451.123*	Maintenance: Shower vents dirty

# 60 Building (G)

# Control

105 CMR 451.350	Structural Maintenance: Water damaged ceiling tiles around vent

# Control Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Unlabeled chemical bottle

105 CMR 451.350*	Structural Maintenance: Water damaged ceiling tiles

# Cell Block

# Common Area

105 CMR 451.128*	Ice: Unsanitary ice source and storage and handling conditions, exterior and interior of ice machine dirty and damaged

105 CMR 451.350	Structural Maintenance: Wall damaged around phone upper and lower area

# Slop Sink Room

105 CMR 451.344*	Illumination in Habitable Areas: Light fixture not functioning properly

105 CMR 451.350*	Structural Maintenance: Slop sink damaged

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: No light shield provided in maintenance area

# Cells

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 301, 302, 322, 325, and 351

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 324

105 CMR 451.123	Maintenance: Wall paint damaged in cell # 310, 314, 315, 321, 336, 337, 349, and 358

105 CMR 451.123	Maintenance: Window broken, won’t shut in cell # 321

105 CMR 451.103	Mattresses: Mattress damaged in cell # 358

105 CMR 451.102	Pillows and Linens: Missing linens from bed in cell # 358

# Lower Shower Area

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and ceilings in shower

105 CMR 451.123*	Maintenance: Wall vents dirty

105 CMR 451.123*	Maintenance: Light shield cracked

105 CMR 451.350	Structural Maintenance: Floor damaged, rust on floor

# Upper Shower Area

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and ceilings in shower

105 CMR 451.123*	Maintenance: Wall paint damaged outside shower units

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet knobs missing in shower

# 5

# 80 Building (H)

# Lower 80–First Floor

# Control

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, refrigerator gasket damaged

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of toaster dirty

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

# Control Bathroom

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Common Area

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave ovens dirty

105 CMR 451.128*	Ice: Unsanitary ice source and storage and handling conditions, ice scoop not sanitized properly

105 CMR 451.345* 	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light fixtures not functioning properly

105 CMR 451.353*	Interior Maintenance: Controls missing from water fountain

105 CMR 451.350	Structural Maintenance: Water damaged ceiling tiles

105 CMR 451.350	Structural Maintenance: Insulation in ceiling damaged

# Storage Room

105 CMR 451.123	Maintenance: Ceiling tiles missing

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

# Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking from shower # 2

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower stalls

105 CMR 451.123*	Maintenance: Bathroom floor damaged in stall # 6

105 CMR 451.123*	Maintenance: Wall tiles cracked in toilet stalls

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head missing in shower

# 7

# Slop Sink Room

105 CMR 451.350*	Structural Maintenance: Slop sink damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Vent dirty

105 CMR 451.350	Structural Maintenance: Ceiling leaking causing rust damage

# Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Vent dirty

# Dorm Rooms

105 CMR 451.322	Cell Size: Inadequate floor space in all dorm rooms

# Dorm Room # 401

105 CMR 451.353*	Interior Maintenance: Vents dirty

# Dorm Room # 402

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

105 CMR 451.141*	Screens: Screen damaged

# Dorm Room # 403

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

# Dorm Room # 404

No Violations Noted

# Dorm Room # 405

105 CMR 451.103	Mattresses: Mattress damaged in bed # 4

# Dorm Room # 406

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

Dorm Room # 407

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

# Dorm Room # 408

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

# Dorm Room # 409

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

105 CMR 451.353*	Interior Maintenance: Baseboard missing

105 CMR 451.350		Structural Maintenance: Ceiling damaged

# Dorm Room # 410

105 CMR 451.353	Interior Maintenance: Ceiling vents dirty

105 CMR 451.350	Structural Maintenance: Wall damaged under window

105 CMR 451.350	Structural Maintenance: Ceiling damaged

# 80 Building Stairway

105 CMR 451.350*	Structural Maintenance: Windowsill damaged

# Upper 80-Second Floor

# Control

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gaskets dirty

# Common Area

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.128*	Ice: Unsanitary ice source and storage and handling conditions, exterior and interior of ice machine dirty

105 CMR 451.350*	Structural Maintenance: Several floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Water control missing from water fountain

105 CMR 451.353	Interior Maintenance: Ceiling vents dirty

# Storage

No Violations Noted

# Inmate Bathroom

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on wall and floor tiles in all shower stalls

105 CMR 451.123*	Maintenance: Soap scum on shower curtain in all shower stalls

105 CMR 451.123*	Maintenance: Ceiling vents dirty

105 CMR 451.123	Maintenance: Door broken on stall # 6

# Staff Bathroom

No Violations Noted

# Slop Sink Room

105 CMR 451.350*	Structural Maintenance: Slop sink damaged

105 CMR 451.344	Illumination in Habitable Areas: Light fixture not functioning properly

105 CMR 451.353*	Interior Maintenance: Vent dirty

105 CMR 451.350	Structural Maintenance: Water damaged ceiling tiles

105 CMR 451.123	Maintenance: Ceiling tiles missing

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

# Dorm Rooms

# Dorm Room # 411

No Violations Noted

# Dorm Room # 412

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

# Dorm Room # 413

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

# Dorm Room # 414

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

# Dorm Room # 415

No Violations Noted

# Dorm Room # 416

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

# Dorm Room # 417

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.141	Screens: Screen damaged, napkins stuffed in window seal and screen

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

# Dorm Room # 418

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

# Dorm Room # 419

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

105 CMR 451.353*	Interior Maintenance: Baseboard damaged

# Dorm Room # 420

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

# Gym Building (I)

# Gym

No Violations Noted

# Weight Area

105 CMR 451.353*	Interior Maintenance: Exercise equipment surface damaged and no longer easily cleanable

# Inmate Bathroom

105 CMR 451.123*	Maintenance: Uncapped pipes, pipes left after removed of plumbing fixture

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 920F

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sinks

# Outside the Fence

# Warehouse

105 CMR 451.128	Ice: Unsanitary ice source and storage and handling conditions, exterior and interior of ice machine dirty

Door to Outside

105 CMR 451.350	Structural Maintenance: Doorway not rodent and weathertight

# Bathroom 1003

105 CMR 451.123*	Maintenance: Wall damaged

# Slop Sink Room 1004

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Water left in mop bucket

Garage

FC 6-501.11(A)*	Maintenance and Operation; Equipment: Equipment not maintained in a state of good repair, refrigerator gaskets damaged

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

105 CMR 451.123*	Maintenance: Handwash sink dirty

105 CMR 451.113	Toilet and Handwashing Sink in Locked Cells: No toilet in locked cell

# Bathroom 1007

105 CMR 451.123*	Maintenance: Wall damaged

# Office

FC 4-601.11(B)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, cooking 	equipment dirty, coffee maker

# Observations and Recommendations

- The inmate population was 1169 at the time of inspection

- Elevator permit in Administration Area was expired at the time of inspection

- Water filter located above mechanical warewashing machine in the Food Service Area, should be changed and dated

- Storage in Spice Room should be kept 18” away from ceiling

- Considerable amount of water damage and ceiling leaking at time of inspection in the Intake Hallway (# 1016) and immediate action should be taken to prevent further water damage

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

# This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

# Marian Robertson

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Michael Mark, Superintendent

Cory Mathieson, EHSO

Middleton Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS