The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

180 Beaman Street, West Boylston, MA 01583

Phone: 508-792-7880 Fax: 508-792-7706

TTY: 508-835-9796

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

April 16, 2019

Kevin F. Coppinger, Sheriff

Essex County Sheriff's Department Headquarters

20 Manning Avenue

Middleton, MA 01949		(electronic copy)

Re: Facility Inspection – Essex County Correctional Facility, Middleton

Dear Sheriff Coppinger:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and           105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the         Essex County Correctional Facility on April 4 and 5, 2019 accompanied by Lieutenant Peter Lundy, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 121 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

# Administration Building

# Front Lobby

No Violations Noted

# Female Bathroom # 1002

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1000F at handwash sink

# Male Bathroom # 1003

No Violations Noted

Officer’s Room

No Violations Noted

Hallway to 2nd Floor

Canteen Office

No Violations Noted

# Second Floor

# Administration Area

# Female Bathroom # 2002

No Violations Noted

# Male Bathroom # 2003

No Violations Noted

# Kitchenette # 2011

No Violations Noted

Offices

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, no functioning thermometer in refrigerator in office # 2022

# Bathroom # 2012

No Violations Noted

Slop Sink # 2018

No Violations Noted

# First Floor

# Administration Hallway

# Storage Room # 1007

105 CMR 451.353	Interior Maintenance: Phone port not secured to wall

# Training 1 # 1008

Unable to Inspect – In Use

# Training 2 # 1009

No Violations Noted

# Female Staff Bathroom # 1013

No Violations Noted

# Male Staff Bathroom # 1014

No Violations Noted

# Training # 1015

No Violations Noted

Storage Room # 1016

No Violations Noted

# Mop/Hot Water Heater Room # 1017

No Violations Noted

# Weight Room # 1018

105 CMR 451.353*	Interior Maintenance: Equipment padding damaged

# Male Staff Locker Room # 1030

No Violations Noted

# Female Staff Locker Room # 1031

No Violations Noted

# Central Control

No Violations Noted

# Control Bathroom # 1004

No Violations Noted

Urine Room # 1005

No Violations Noted

# Records/I.T./Visits Area

# Visitor Entrance Area

No Violations Noted

# Visitor Area

No Violations Noted

# Bathroom (2)

105 CMR 451.123	Maintenance: Large section of ceiling missing and water damaged in right side bathroom

Office # 1001A

Unable to Inspect – Locked

Storage Room # 1001B

No Violations Noted

# Roll Call Room

# Room # 1001C

No Violations Noted

Muster Room

Unable to Inspect – Locked

Male Bathroom # 1169

No Violations Noted

Female Bathroom # 1168

No Violations Noted

# Records Hallway

# Office # 104

No Violations Noted

# Nursing Mother’s Room # 1009

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in refrigerator

# Male Staff Bathroom # 1010

No Violations Noted

# Records Office # 1011

No Violations Noted

# Female Staff Bathroom # 1012

No Violations Noted

# Property Room # 1013

No Violations Noted

Shift Commander’s Office # 1014

No Violations Noted

# Office # 1015

No Violations Noted

# Female Holding Unit Hallway # 1016

# Lawyer Interview Room # 1-5

No Violations Noted

New Interview Room Hallway

No Violations Noted

Visitor’s Tubes # 1044

No Violations Noted

Storage Closet # 1046

Unable to Inspect - Locked

Visitor’s Room # 1047

No Violations Noted

Video Conference Rooms

No Violations Noted

Staff Dining # 1041

No Violations Noted

# Female Holding Unit # 1022 – Unoccupied

Common Area

No Violations Noted

Medical Office

Unable to Inspect - Locked

# Holding Tanks # 1-4

No Violations Noted

Shower Area

No Violations Noted

Safe Keep Room

No Violations Noted

Sleeping Area

105 CMR 451.103	Mattresses: Mattress damaged

# Storage Room

No Violations Noted

Closet

No Violations Noted

Food Service Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor surface damaged throughout food service area

# Mechanical Tray Warewash Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, baseboard damaged throughout warewashing area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall covering damaged around tables behind warewash machine

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wood behind wall covering water damaged

3-Compartment Sink and Small Warewash Machine

FC 4-204.115*	Design and Construction, Functionality: Temperature measuring device not functioning properly on warewashing machine, temperature readout not functioning on small warewash machine

FC 4-501.112(A)(1)	Maintenance and Operation, Equipment: Inadequate water temperature in the small mechanical warewashing machine

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Nonfood contact surface dirty, tray drying racks dirty

# Spray Room

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Nonfood contact surface dirty, tray drying racks dirty

# Walk-In Refrigerator # 1

No Violations Noted

# Freezer # 2

No Violations Noted

Walk-In Cooler # 3

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall paint damaged

Handwash Sink

No Violations Noted

2-Compartment Sink

No Violations Noted

# Food Preparation and Baking Area

No Violations Noted

Pull Cage

No Violations Noted

# Kettle Hood Area

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, floor drain covers not properly replaced after cleaning

# Oven Hood Area

No Violations Noted

# Front Hoods and Tray Prep Area

FC 4-204.112(D)	Design and Construction, Functionality: Temperature measuring device not easily readable, digital readout not easily readable on special diets hot holding unit

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, floor drain covers not properly replaced after cleaning

Serving Line

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, temperature control knob broken on hot holding unit

Aramark Office

No Violations Noted

Officer’s Room

No Violations Noted

# Hallway

No Violations Noted

Utensil Storage Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged behind storage rack

Aramark Training Room # 1024

No Violations Noted

Inmate Break Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, counter top damaged

Chemical Storage Closet

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, large amount of rust observed in slop sink basin

# Slop Sink Room

No Violations Noted

# Loading Dock

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Outer door not weather and vermin tight, bottom of door not weathertight

105 CMR 451.351*	Handrails: Handrail and supporting baluster not provided on both sides of stairs near dumpster

Outside Freezer

No Violations Noted

# Archive File Room # 1025

Unable to Inspect – Not Used

# Staff Locker Room and Mop Closet # 1026

No Violations Noted

# Female Staff Bathroom # 1199

No Violations Noted

# Male Staff Bathroom # 1200

No Violations Noted

# Laundry Room # 1027

No Violations Noted

# Back Storage

No Violations Noted

# Back Cage

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged

FC 3-305.11(A)(3)	Preventing Contamination from Premises: Food stored in an inappropriate location, food stored less than 6 inches from the floor

Refrigerator # 4

No Violations Noted

# Inmate Bathroom # 1029

No Violations Noted

# Inmate Dining Room

No Violations Noted

# Health Services Unit (H.S.U.)

# Entrance

No Violations Noted

# Inmate Bathroom # 2002

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.123	Maintenance: Ceiling vent dusty

# Waiting Lobby

No Violations Noted

# Nurse’s Office # 2003

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, no functioning thermometer in refrigerator

# I1-Isolation Room # 2005

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

# I2-Isolation Room # 2006

105 CMR 451.353	Interior Maintenance: Wall vent blocked

105 CMR 451.330	Room Temperature: Room temperature 640F

# Exam Room # 2041

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

# Interview Room # 2040

No Violations Noted

# Common Area

No Violations Noted

# Nurse’s Desk

No Violations Noted

# Waiting Room # 2007

No Violations Noted

# Janitor’s Closet # 2008

105 CMR 451.353	Interior Maintenance: Wet mop stored in slop sink

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, food observed in chemical closet

# R1 # 2009

No Violations Noted

# R2 # 2010

No Violations Noted

# R3 # 2011

No Violations Noted

# R4 # 2012

No Violations Noted

R5 # 2014

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.123*	Maintenance: Floor damaged under toilet

105 CMR 451.353*	Interior Maintenance: Door paint damaged

# Storage # 2016

No Violations Noted

# Inmate Shower # 2017

No Violations Noted

# Conference Room # 2018

No Violations Noted

# Staff Bathroom # 2019

No Violations Noted

R6 # 2015

105 CMR 451.322	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353*	Interior Maintenance: Floor tile damaged

105 CMR 451.353*	Interior Maintenance: Wall board and wall board joints damaged

105 CMR 451.123*	Maintenance: Ceiling vent dusty in bathroom

# Back Hallway

# Staff Office # 2043

Unable to Inspect – Locked

# Office # 2021

No Violations Noted

# Room # 2022

No Violations Noted

# Office # 2023

No Violations Noted

# Staff Bathroom

No Violations Noted

Office # 2024 - 2027

105 CMR 480.500(B)(2)*	Procedures; Records; Record-Keeping Log: Generator did not maintain a record-keeping log for waste sent off-site for treatment, several entries missing

105 CMR 480.400(C)	Shipping Papers: Generator was not maintaining copy of shipping papers with         record-keeping log for at least 375 days

# Hallway Sink

Unable to Inspect – Under Construction

# Dialysis Room # 2037

Unable to Inspect – Under Construction

Storage Room # 2038

No Violations Noted

# Dentist Room # 2029

No Violations Noted

# Medical Waste Storage Room

No Violations Noted

Medicine Room # 2035

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

X-Ray Room # 2030

No Violations Noted

Dark Room # 2031

Unable to Inspect – No Longer In Use

# Urine Lab Room # 2032

105 CMR 451.353*	Interior Maintenance: Blue exam chair padding damaged

# Exam Room # 2033

No Violations Noted

# Diabetic Room # 2034

Unable to Inspect – Locked

# 240 BUILDING (J)

# A & B Control

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with            105 CMR 590.000, interior of microwave dirty

# Control Bathroom

No Violations Noted

# A Block

# Common Area

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling tiles above cell # 531

105 CMR 451.353	Interior Maintenance: Floor tiles damaged near Officer’s booth and ice machine

# Slop Sink Room

105 CMR 451.353	Interior Maintenance: Mop not stored properly

# Cells

105 CMR 451.353	Interior Maintenance: Low light setting not functioning in cell # 547

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 555, 557, and 560

105 CMR 451.353	Interior Maintenance: Door paint damaged in cell # 539, 544, and 560

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 544

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continually running in              cell # 536

# Shower Area

No Violations Noted

Handicapped Shower

No Violations Noted

# B Block

# Common Area

105 CMR 451.360*	Protective Measures: Bird observed in block

105 CMR 451.353*	Interior Maintenance: Ceiling water stained above cell # 660

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, ice scoop improperly stored in ice machine

# Slop Sink Room (downstairs)

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Cells

105 CMR 451.353*	Interior Maintenance: Screen damaged in cell # 613

105 CMR 451.353*	Interior Maintenance: Door paint damaged in cell # 654

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 609

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 619, 624, and 646

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 613

Counselor’s Office (upstairs)

Unable to Inspect – No Longer In Use

Shower Area

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123	Maintenance: Debris on floor in shower # 3

105 CMR 451.123	Maintenance: Pooling water on floor outside showers

Handicapped Shower

No Violations Noted

# C & D Control

No Violations Noted

# Control Bathroom

No Violations Noted

# C Block

# Common Area

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                   105 CMR 590.000, exterior of ice machine dirty

# Slop Sink Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, backflow preventer leaking

Cells

105 CMR 451.353	Interior Maintenance: Screen damaged in cell # 734

105 CMR 451.353*	Interior Maintenance: Desk chair missing in cell # 749

105 CMR 451.353	Interior Maintenance: Top of desk chair missing in cell # 748

105 CMR 451.353	Interior Maintenance: Door paint damaged in cell # 710, 713, 721, 726, 746, and 752

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 713 and 728

105 CMR 451.353	Interior Maintenance: Low light setting not functioning in cell # 749

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 722 and 758

105 CMR 451.103	Mattresses: Mattress damaged in cell # 708

# Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2 and 5

105 CMR 451.123	Maintenance: Walls dirty in shower # 1

Handicapped Shower

Unable to Inspect – Not Used

# D Block

# Common Area

No Violations Noted

# Slop Sink Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink continually running

# Cells

105 CMR 451.353*	Interior Maintenance: Top of desk chair missing in cell # 813 and 825

105 CMR 451.353	Interior Maintenance: Top of desk chair missing in cell # 855

105 CMR 451.353*	Interior Maintenance: Floor tile missing in cell # 803

105 CMR 451.353	Interior Maintenance: Floor tile missing in cell # 807 and 830

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 810

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 843

# Shower Area

No Violations Noted

Handicapped Shower

Unable to Inspect – Not Used

# PROGRAM BUILDING (K)

# Lower Programs

# Chapel # 1009A

No Violations Noted

# Hot Water Heater Room # 1005

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

# Clergy # 1006

No Violations Noted

# Clergy # 1007

No Violations Noted

Clergy # 1008

No Violations Noted

Inmate Bathroom # 1004

No Violations Noted

Classrooms

No Violations Noted

Offices

No Violations Noted

# Exterior Hallway Door

No Violations Noted

Teacher’s Break Room # 1014

No Violations Noted

Male Staff Bathroom # 1015

No Violations Noted

# Female Staff Bathroom # 1016

No Violations Noted

Teacher’s Room # 1025

No Violations Noted

# Library

105 CMR 451.353	Interior Maintenance: Carpet damaged near windows

# Upper Programs

# Bathroom # 1277

No Violations Noted

Slop Sink # 1278

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

# Male Staff Bathroom # 2024

105 CMR 451.126	Hot Water: Hot water temperature recorded at 950F

# Female Staff Bathroom # 2025

No Violations Noted

# Conference Room # 2036

No Violations Noted

Offices

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained in office # 2012 and 2028

Storage Closet # 2037

No Violations Noted

# Vocational Education Building

# First Floor

# Laundry

105 CMR 451.353	Interior Maintenance: Dryer out-of-order

K9 Room

No Violations Noted

Storage Room

No Violations Noted

# Slop Sink

105 CMR 451.130*	Plumbing: No backflow preventer on slop sink

Storage Closet (outside Laundry)

No Violations Noted

Voke 1

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

Officer’s Station

No Violations Noted

Common Area

No Violations Noted

Voke 1 Bathroom/Showers

105 CMR 451.114*	Shared Toilet and Handwashing Facilities: Inadequate number of handwash sinks per inmate population

105 CMR 451.114*	Shared Toilet and Handwashing Facilities: Inadequate number of toilets per inmate population

105 CMR 451.123*	Maintenance: Floor surface damaged in front of urinals and in shower # 3

105 CMR 451.123*	Maintenance: Door missing in toilet stall # 5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 3 and 4 leaking

105 CMR 451.126	Hot Water: Hot water temperature recorded at 950F at handwash sink # 2 and 3

Sleeping Area

105 CMR 451.353	Interior Maintenance: Vents dusty above bunks

# Voke 2 – Male Detox Unit

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

Office # 0927-0929

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                  105 CMR 590.000, box of bananas stored on floor in office # 0929

Common Area

No Violations Noted

Sleeping Area

No Violations Noted

Kitchenette # 0930

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Med Room

105 CMR 480.500(A)(3)*	Procedures; Records; Record-Keeping Log: Food stored in refrigerator used for medical supplies/medicine

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Chemical Storage Cabinet

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

# Voke 2 Bathroom/Showers

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 800F at handwash sink # L1

105 CMR 451.123	Maintenance: Mold observed on shower curtain in shower # 3 and 4

105 CMR 451.123	Maintenance: Curtain missing at shower # 6

105 CMR 451.123	Maintenance: Soap scum observed on walls in shower # 5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal out-of-order

Voke Hallway

Inmate Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

# Warehouse # 0911

Unable to Inspect – Locked

Barber Shop	Unable to Inspect Storage Closet – Locked

No Violations Noted

Staff Bathroom (outside Voke 3)

105 CMR 451.123	Maintenance: Wall tiles behind toilet damaged

Storage Closet (outside Voke 3)

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

# Voke 3

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

# Common Area

105 CMR 451.141	Screens: Screen missing

Officer’s Station

No Violations Noted

# Voke 3 Bathroom/Showers

105 CMR 451.123*	Maintenance: Mold observed on curtain in shower # 5

105 CMR 451.123	Maintenance: Mold observed on curtain in shower # 7

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 1 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 1 out-of-order

105 CMR 451.123*	Maintenance: Wall tile damaged in shower # 8

105 CMR 451.123	Maintenance: Slop sink basin damaged

Sleeping Area

No Violations Noted

# Second Floor

Office # 2002

No Violations Noted

# Classroom # 2011

No Violations Noted

# Classroom # 2010

105 CMR 451.141*	Screens: Screen damaged

# Print Shop # 2009

No Violations Noted

# Hallway

No Violations Noted

Counselor’s Office # 2003

No Violations Noted

Laundry Room # 2004

Unable to Inspect – Locked

# Staff Bathroom # 2005

No Violations Noted

Slop Sink Room # 2006

No Violations Noted

# Group Room # 2008

No Violations Noted

Voke 4 – Female Detox Unit

Shower Area

105 CMR 451.123*	Maintenance: Floor drain damaged in shower # L5

Kitchenette

No Violations Noted

Toilet Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 920F at handwash sinks

Common Area

No Violations Noted

Medical Office

Unable to Inspect – In Use

Councilor’s Office

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Toiletries Cabinet

No Violations Noted

# 120 Building (F)

# Entryway

No Violations Noted

# A & B Control

No Violations Noted

# Control Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1480F

# A Block (Segregation Unit)

# Common Area

No Violations Noted

# Slop Sink Room

No Violations Noted

# Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 145

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 137 and 156

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 106, 115, 135, 141, 142, 143, 147, and 160

105 CMR 451.353*	Interior Maintenance: Screen damaged in cell #103

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 123

105 CMR 451.353*	Interior Maintenance: Top of chair seat missing in cell # 155

105 CMR 451.353	Interior Maintenance: Top of chair seat missing in cell # 103 and 158

105 CMR 451.353	Interior Maintenance: Desk chair missing in cell # 121, 137, and 141

Shower Area

105 CMR 451.123	Maintenance: Pooling water outside shower # 4 and 5

105 CMR 451.123*	Maintenance: Soap scum observed on floor in shower # 3 and 6

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower # 7 and 9

105 CMR 451.123	Maintenance: Floor dirty outside shower # 2, 3, and 7

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 3, 4, 7, and 8

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, 5, and 9

# B Block

# Common Area

105 CMR 451.353*	Interior Maintenance: Cover of ice machine broken

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, dirty ice scoop improperly stored in ice machine

# Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

# Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles missing in cell # 242

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 240

105 CMR 451.353*	Interior Maintenance: Top of chair seat missing in cell # 246

105 CMR 451.353	Interior Maintenance: Top of chair seat missing in cell # 238 and 254

105 CMR 451.353	Interior Maintenance: Desk chair missing in cell # 259

Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, 3, 4, 5, 7, 8, and 9

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 3, 4, and 5

105 CMR 451.123	Maintenance: Wall paint damaged outside shower # 1 and 9

Handicapped Shower

Unable to Inspect – No Longer In Use

# 60 Building (G)

# Control

No Violations Noted

# Control Bathroom

No Violations Noted

# Cell Block

105 CMR 451.353*	Interior Maintenance: Wall discolored above cell # 357

# Common Area

No Violations Noted

# Slop Sink Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, backflow preventer leaking

# Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 313

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 343

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water continually running in  cell # 348

# Lower Shower Area

105 CMR 451.123	Maintenance: Walls dirty in shower # 2

Handicapped Shower

No Violations Noted

# Upper Shower Area

105 CMR 451.353*	Interior Maintenance: Ceiling tiles discolored above showers

105 CMR 451.123*	Maintenance: Wall paint damaged outside shower # 9

# 80 Building (H)

# Lower 80 – First Floor

# Control

No Violations Noted

# Control Bathroom

No Violations Noted

Common Area

No Violations Noted

# Storage Room

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.350*	Structural Maintenance: Door leading to exterior not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Hole in wall

# Inmate Bathroom

# 105 CMR 451.123*	Maintenance: Water leaking into dorm room # 410

105 CMR 451.123*	Maintenance: Baseboard epoxy damaged in shower # 2, 3, 4, 5, 6, and 7

105 CMR 451.123*	Maintenance: Wall tiles damaged in shower # 1 and 7

105 CMR 451.123*	Maintenance: Wall tile grout deteriorating in shower # 1 and 4

105 CMR 451.123	Maintenance: Walls and tile grout dirty in shower # 6

105 CMR 451.123	Maintenance: Shower partition damaged between shower # 6 and 7

105 CMR 451.123	Maintenance: Shower curtain dirty in shower # 6

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 1

105 CMR 451.123*	Maintenance: Ceiling tiles missing over showers

105 CMR 451.123*	Maintenance: Light shield water stained near showers

105 CMR 451.123*	Maintenance: Ceiling access panel rusted

105 CMR 451.123*	Maintenance: Door missing to toilet stall # 6

# Slop Sink Room

No Violations Noted

# Staff Bathroom

No Violations Noted

Offices

No Violations Noted

# Dorm Rooms

105 CMR 451.322*	Cell Size: Inadequate floor space in all dorm rooms

# Dorm Room # 401

105 CMR 451.340	Illumination: Insufficient lighting, light out

# Dorm Room # 402

105 CMR 451.353	Interior Maintenance: Door paint damaged

# Dorm Room # 403

No Violations Noted

# Dorm Room # 404

No Violations Noted

# Dorm Room # 405

105 CMR 451.353	Interior Maintenance: Door paint damaged

# Dorm Room # 406

105 CMR 451.353	Interior Maintenance: Ceiling panel damaged

Dorm Room # 407

105 CMR 451.340	Illumination: Insufficient lighting, light out

# Dorm Room # 408

105 CMR 451.353*	Interior Maintenance: Ceiling panel damaged over beds

105 CMR 451.340	Illumination: Insufficient lighting, 2 lights out

# Dorm Room # 409

No Violations Noted

# Dorm Room # 410 (unoccupied)

105 CMR 451.353*	Interior Maintenance: Floor water damaged

105 CMR 451.353	Interior Maintenance: Ceiling panels rusted

# 80 Building Stairway

No Violations Noted

# Upper 80 - Second Floor

# Control

No Violations Noted

Control Bathroom

No Violations Noted

# Common Area

105 CMR 451.353*	Interior Maintenance: Black chair seats around tables damaged

Offices

No Violations Noted

# Storage Room

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

# Inmate Bathroom

105 CMR 451.123*	Maintenance: Tile grout deteriorating in shower # 1, 3, 4, 6, and 7

105 CMR 451.123	Maintenance: Tile grout deteriorating in shower # 5

105 CMR 451.123*	Maintenance: Floor epoxy damaged in shower # 1

105 CMR 451.123	Maintenance: Curtain dirty in shower # 4

105 CMR 451.123*	Maintenance: Ceiling vent damaged

105 CMR 451.123*	Maintenance: Wall tiles cracked behind all toilet stalls

105 CMR 451.123*	Maintenance: Wall tiles missing in toilet stall # 2 and 3

105 CMR 451.123*	Maintenance: Wall tiles missing outside toilet stall # 1

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal # 2 out-of-order

# Staff Bathroom

Unable to Inspect – In Use

Storage Room

Unable to Inspect – Locked

# Slop Sink Room (near bathroom)

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

# Dorm Rooms

105 CMR 451.322*	Cell Size: Inadequate floor space in all dorm rooms

# Dorm Room # 411

No Violations Noted

# Dorm Room # 412

No Violations Noted

# Dorm Room # 413

No Violations Noted

# Dorm Room # 414

No Violations Noted

# Dorm Room # 415

105 CMR 451.340*	Illumination: Insufficient lighting, 1 light out

105 CMR 451.353	Interior Maintenance: Junction box left uncovered

# Dorm Room # 416

105 CMR 451.353	Interior Maintenance: Ceiling panel damaged

# Dorm Room # 417

No Violations Noted

# Dorm Room # 418

105 CMR 451.353*	Interior Maintenance: Wall board damaged

# Dorm Room # 419

# 105 CMR 451.340*	Illumination: Insufficient lighting, 1 light out

# Dorm Room # 420

No Violations Noted

# Gym Building (I)

# 105 CMR 451.350*	Structural Maintenance: Exterior corner of building damaged near entrance

# Captain’s Office

Unable to Inspect – Locked

# Gym

105 CMR 451.353	Interior Maintenance: Baseboard and lower wall damaged near officer’s bathroom

# Weight Area

No Violations Noted

Shower Room

105 CMR 451.123	Maintenance: Wall tiles damaged in shower # 3

# Inmate Bathroom

No Violations Noted

Storage Room/Officer’s Bathroom

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Back wall near sprinkler system water damaged

# Outside the Fence

# Warehouse

No Violations Noted

Exterior Door

No Violations Noted

# Bathroom # 1003

No Violations Noted

# Slop Sink Room # 1004

No Violations Noted

Garage

105 CMR 451.350*	Structural Maintenance: Right exterior corner of building damaged

# Bathroom # 1007

Unable to Inspect – Under Construction

# Office

No Violations Noted

Chemical Storage

105 CMR 451.353	Interior Maintenance: Back wall near sprinkler system water damaged

Intake Building

X-Ray Machines/Entrance

No Violations Noted

Intake Area

Storage Room (with Refrigerator)

No Violations Noted

Changing Rooms # 1 – 6

No Violations Noted

Staff Bathrooms (2)

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet leaking in bathroom near storage closet

Custodial Closet

No Violations Noted

Holding Cells # 1 – 7

No Violations Noted

Bail Commissioner’s Office

No Violations Noted

Booking Area

No Violations Noted

Medical Screening

No Violations Noted

Handicapped Bathroom

No Violations Noted

Handicapped Shower

No Violations Noted

Shower # 1

No Violations Noted

Shower # 2

No Violations Noted

Records

No Violations Noted

Female Bathroom (within Records)

No Violations Noted

Property Room

No Violations Noted

Inmate Bathroom

105 CMR 451.126*	Water Supply: No cold water supplied to handwash sink

Main Entrance

Transport Office

No Violations Noted

Lobby

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Observations and Recommendations

- The inmate population was 1,155 at the time of inspection.

- During the kitchen inspection, the small warewash machine did not reach the appropriate temperature to properly sanitize dishes. As an interim measure, it was stated that the Kitchen staff would be manually sanitizing dishes after they have been washed in the small warewash machine.

- At the time of inspection, the Community Sanitation Program (CSP) recommended numbering all showers throughout the institution. This will assist the CSP and Department of Correction employees to better recognize where issues exist.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Kerry Wagner, MPH													Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Aaron Eastman, Superintendent 							(electronic copy)

Lieutenant Peter Lundy, EHSO							(electronic copy)

Derek Fullerton, RS, CHO, Health Director, Middleton Health Department 	(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate