The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781-828-7910

Facsimile: 781-828-7703

lauren.molotnikov@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

June 1, 2011

Frank G. Cousins, Jr., Sheriff

Essex County Correctional Facility

20 Manning Avenue

Middleton, MA 01949

Re: Facility Inspection

Dear Sheriff Cousins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of Essex County Correctional Facility on April 27 and April 29, 2011 accompanied by Captain A. Statezni, Compliance Coordinator. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Administration Building

Front Lobby

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

105 CMR 451.353	Interior Maintenance: Vent and ceiling dirty

Women’s Bathroom # 1002

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Sprinkler head dirty

105 CMR 451.123*	Maintenance: Sink fixture not properly sealed to wall, caulking damaged

105 CMR 451.123	Maintenance: No appropriate toilet paper holder provided, toilet paper roll secured 	using a plastic bag

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1500F

Men’s Bathroom # 1003

105 CMR 451.123*	Maintenance: Sink fixture not properly sealed to wall, caulking damaged

105 CMR 451.123	Maintenance: Toilet fixture not properly sealed to wall, caulking damaged

105 CMR 451.123	Maintenance: No appropriate toilet paper holder provided, toilet paper roll secured 	using a plastic bag

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1500F

Administration Hallway-First Floor

Kitchenette 1007

FC 4-101.16*	Materials for Construction and Repair; Multiuse: Sponges used in kitchen

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	refrigerator gasket dirty

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded in excess 	of 1500F

Female Staff Bathroom # 1013

105 CMR 451.123*	Maintenance: Light switch cover loose

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1500F

Male Staff Bathroom # 1014

105 CMR 451.123	Maintenance: Wall damaged behind toilet unit

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1500F

Weight Room # 1029

No Violations Noted

Male Staff Locker Room # 1030

105 CMR 451.123*	Maintenance: Wall and wall tiles damaged and missing

105 CMR 451.123	Maintenance: Unfinished wood not easily cleanable near entryway

105 CMR 451.123	Maintenance: Ceiling tiles missing

105 CMR 451.123	Maintenance: Shower mats dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1300F

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water controls missing from 	handwash sink # 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking on handwash sink

# 1 and 2

105 CMR 451.130	Hot Water: Shower water temperature recorded in excess of 1200F

Female Staff Locker Room # 1031

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1300F

105 CMR 451.130	Hot Water: Shower water temperature recorded in excess of 1200F

Administration Area-Second Floor

Women’s Bathroom # 2002

105 CMR 451.123	Maintenance: Sink fixture not properly sealed to wall, caulking damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1500F

Men’s Bathroom # 2003

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1500F

Kitchenette # 2011

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	gasket dirty

Control

FC 3-501.16(B)*	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 440F on the lower shelf

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	gasket dirty on refrigerator unit

Control Bathroom

105 CMR 451.123	Maintenance: Cardboard used as a toilet paper holder not easily cleanable

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1500F

Food Service and Medical Building

Records Hallway

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottles being used by inmate worker at the 	time of inspection

Male Staff Bathroom # 1010

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 910F

Female Staff Bathroom # 1012

105 CMR 451.123	Maintenance: Toilet paper holder damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 930F

Break Room # 1013

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 580F

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Freezer	temperature recorded at 460F

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior 	surfaces of refrigerator dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	gasket dirty

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 980F

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles 	damaged

Intake Hallway # 1016

Slop Sink Room # 1034

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light bulb missing

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Slop sink dirty

105 CMR 451.353*	Interior Maintenance: No light shield provided in maintenance area

Shift Commander’s Office # 1039

Locked at the time of inspection

Intake Unit # 1022

105 CMR 451.353*	Interior Maintenance: Sink fixture not secured properly to wall

105 CMR 451.353*	Interior Maintenance: Counter top damaged

105 CMR 451.353	Interior Maintenance: Floor finish damaged behind the control counter

Property Room # 1012A

105 CMR 451.353*	Interior Maintenance: Ceiling vent damaged

Shower Area

105 CMR 451.123	Maintenance: Shower curtains damaged in stall # 1, 2, and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head # 1 missing

Cells

105 CMR 451.353	Interior Maintenance: Floor no longer easily cleanable, finish damaged in cell # 4

Storage Room

No Violations Noted

Food Service Area

Mechanical Warewashing Area

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate water temperature in the	mechanical warewashing machine at the start of inspection

FC 4-701.10*	Sanitization of Equipment and Utensils, Objective: Trays not being properly sanitized, 	tray rack not designed to hold insulator trays properly

# FC 5-203.14*	Plumbing System, Design: No backflow prevention device on spray hose on rinse 	sink, spray hose extends below flood line

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling rusted

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, seams from wall 	cover damaged and missing

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged 	leaving unfinished wood exposed

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged 	under mechanical warewashing machine

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, electrical outlet 	cover missing

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not properly cleaned, standing water 	observed on floor

Manual Warewashing Room

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, drains held closed using Styrofoam cups

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, cloth used to 	secure spray hose

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, baseboard 	damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, portable fan 	dirty

Spray Room

FC 5-203.14*	Plumbing System, Design: Backflow preventer cap missing spray hose

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

Front Hoods and Tray Prep Area

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC)	solution greater than manufacturer’s recommended concentration in sanitizer buckets

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Grease hoods not maintained properly

Kettle Hood Area

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Grease hoods not maintained properly, part of 	vent cover missing

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall seam missing 	and damaged

Oven Hood Area

No Violations Noted

Walk-In Refrigerator

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

Food Preparation and Baking Area

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sinks water temperature recorded at 700F

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

Boiler Room # 1022

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, insulation on pipes 	damaged

Freezer

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food 	not appropriately covered

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, freezer gasket damaged

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	freezer floor dirty

Milk Chest # 1184

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gasket damaged

Dry Storage Room # 1031

FC 4-102.11(B)(2)	Materials for Construction and Repair; Multiuse: Unused single-service article not 	protected against contamination, utensils uncovered

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall cover not 	secured properly

FC 6-501.11	Maintenance and Operation; Repairing: Ceiling repair not finished in a work-person 	like fashion

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 	not functioning properly

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not properly cleaned, ceiling dirty

Utensil Storage Room

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, stored 	utensils dirty at the time of inspection

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, knife lock 	box dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty

Slop Sink Room

No Violations Noted

Back Cage

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 	not functioning properly

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not properly cleaned, fans dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, food storage 	pallets dirty

Officer’s Room # 1025

No Violations Noted

Staff Locker Room and Mop Closet # 1026

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

Female Staff Bathroom # 1199

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 890F

Male Staff Bathroom # 1200

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 890F

Spice Room # 1027

No Violations Noted

Inmates Bathroom # 1029

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, no hot water provided at handwashing sink

FC 6-302.11	Numbers and Capacities; Toilets and Urinals: No toilet paper holder provided at toilet 	facilities

Loading Dock

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight, roll down door

Barrel Room

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty

Hallway

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

Inmate Dinning Room

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC)	solution above manufacturer’s recommended concentration in several sanitizer 	buckets

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall covering 	missing or damaged in several areas

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 	not functioning properly

Staff Dinning Room # 1041

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Vending machine draws dirty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles water 	damaged

Health Service Unit

Entrance

No Violations Noted

Inmate Bathroom # 2002

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper in bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 500F

105 CMR 451.126*	Water Supply: No cold water supplied to handwash sink

105 CMR 451.123*	Maintenance: Self-closer not working properly on door

105 CMR 451.123*	Maintenance: Baseboard damaged

Waiting Lobby

105 CMR 451.353*	Interior Maintenance: Thermostat cover damaged

Nurse’s Office # 2003

105 CMR 451.353	Interior Maintenance: Countertop no longer easily cleanable, finish missing

Nurse’s Break Room # 2004

105 CMR 451.353*	Interior Maintenance: Ceiling water stained

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator door not installed properly leaving a one inch open gap

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils not stored with handles up

I1-Isolation Room # 2005

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

I2-Isolation Room # 2006

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

Waiting Room # 2007

No Violations Noted

Janitor’s Closet # 2008

105 CMR 451.350*	Structural Maintenance: Wall damaged behind faucet

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Ceiling dirty

Interview Room # 2040

No Violations Noted

Intake Processing Room # 2041

105 CMR 451.126	Hot Water: Hot water temperature recorded at 940F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose

Common Area

105 CMR 451.350	Structural Maintenance: Wall damaged outside R1 (2009)

Nurse’s Desk

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

R1 (2009)

105 CMR 451.353	Interior Maintenance: Baseboard damaged

R2 (2010)

105 CMR 451.103	Mattresses: Mattress no longer easily cleanable, cover removed

105 CMR 451.350	Structural Maintenance: Wall seam cover missing

R3 (2011)

105 CMR 451.103	Mattresses: Mattress no longer easily cleanable, cover removed

R4 (2012)

No Violations Noted

R5 (2014)	Bathroom occupied at the time of inspection

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

R6 (2015)

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353	Interior Maintenance: Ceiling vents dirty

R6 Bathroom

105 CMR 451.123*	Maintenance: Floor tiles damaged

105 CMR 451.123*	Maintenance: Baseboard loose

105 CMR 451.123*	Maintenance: Ceiling rusted

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123	Maintenance: Soap scum on lower walls in shower stall

105 CMR 451.126*	Water Supply: No hot water supplied to handwash sink

Inmate Shower # 2017

105 CMR 451.123*	Maintenance: Wall not sealed around water controls

105 CMR 451.123*	Maintenance: Shower tiles and grout damaged

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123	Maintenance: Wall left unrepaired after water controls were moved

105 CMR 451.123	Maintenance: Shower floor dirty

105 CMR 451.123	Maintenance: Plastic bag used to secure handheld shower head

Staff Bathroom # 2019

105 CMR 451.123	Maintenance: Ceiling vent dirty

Staff Break Room # 2022

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Back Hallway

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty

Hallway Sink

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 890F

Dentist Room # 2029	Locked at the time of inspection

X-Ray Room

No Violations Noted

Urine Lab Room # 2032

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash sink

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 890F

Exam Room # 2033

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 920F

Diabetic Room # 2034

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1020F

Medical Waste Storage Room

No Violations Noted

Program Building (K)

Lower Programs

Classrooms

105 CMR 451.353	Interior Maintenance: Wall paint damaged in classroom # 1001

Inmate Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap available at handwash sink 	at the time of inspection

105 CMR 451.123*	Maintenance: Wall not easily cleanable, seam cover missing and unfilled holes in wall 	covering

105 CMR 451.123	Maintenance: Bathroom vent dirty

105 CMR 451.126*	Water Supply: No hot water supplied to handwash sink

Male Staff Bathroom # 1015

105 CMR 451.123*	Maintenance: Front of counter top not easily cleanable, unfinished countertop

105 CMR 451.123	Maintenance: Wall grout missing in several areas

105 CMR 451.123	Maintenance: No appropriate toilet paper holder provided, toilet paper roll secured 	using a plastic bag

Female Staff Bathroom # 1016

105 CMR 451.123*	Maintenance: Ceiling vent dirty and rusted

105 CMR 451.123	Maintenance: No appropriate toilet paper holder provided, toilet paper roll secured 	using a plastic bag

Upper Programs

Bathroom # 1277

No Violations Noted

Male Staff Bathroom # 2024

No Violations Noted

Female Staff Bathroom # 2025

No Violations Noted

Conference Room # 2036

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Slop Sink Room # 1278

105 CMR 451.353*	Interior Maintenance: Slop sink dirty

105 CMR 451.353*	Interior Maintenance: Vent cover missing

105 CMR 451.353	Interior Maintenance: Vent dirty

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Vocational Education Building

First Floor

Laundry

105 CMR 451.130*	Plumbing: No backflow preventer on slop sink

105 CMR 451.353*	Interior Maintenance: Floor covered with cleaning solution in back room

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator door handle missing and damaged

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gasket damaged

Voke Hallway

Staff Bathroom # 0913

105 CMR 451.353	Interior Maintenance: Vent dirty

Slop Sink Room

No Violations Noted

Voke 1	Closed at time of inspection

Voke 2

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	refrigerator gasket dirty

Voke 2 Bathroom

105 CMR 451.123*	Maintenance: Soap scum on shower curtain, walls, and floor in all shower stalls

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123	Maintenance: Standing water observed on bathroom floor

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking on sink # 1R

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 1R and 3L pipe leaking 	under countertop

Warehouse # 0918

105 CMR 451.353*	Interior Maintenance: Light shield missing in a maintenance area

Supply and Supply Office

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Office chair damaged and no longer easily cleanable

Voke 3

105 CMR 451.353*	Interior Maintenance: Chair no longer easily cleanable, surface damaged

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle in control room

Voke 3 Bathroom

105 CMR 451.123*	Maintenance: Standing water observed on bathroom floor

105 CMR 451.123*	Maintenance: Wall tiles damaged in stall # 1

105 CMR 451.123	Maintenance: Soap scum on shower curtains, walls, and floor in shower stalls

105 CMR 451.123	Maintenance: Ceiling vents dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1030F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose on handwash sink

# 4L

Second Floor

Hallway

No Violations Noted

Inmate Bathroom

No Violations Noted

Staff Bathroom # 2005

No Violations Noted

Slop Sink Room # 2006

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Voke 4 # 2007	Closed at time of inspection

Barber Shop # 2008

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water controls missing from hair 	wash sink

105 CMR 451.353	Interior Maintenance: Countertop damaged and no longer easily cleanable

Print Shop # 2009

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.353	Interior Maintenance: Sink finish damaged and no longer easily cleanable

120 Building (F)

Entryway

105 CMR 451.350	Structural Maintenance: Floor no longer easily cleanable, floor tiles missing

A & B Control

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, two light fixtures not 	functioning properly

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water damaged

Control Bathroom

105 CMR 451.123*	Maintenance: Ceiling tiles missing

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1060F

A Block (Segregation Unit)

Common Area

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, several lights 	not working properly

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

105 CMR 451.353*	Interior Maintenance: Portable fan dirty

105 CMR 451.353	Interior Maintenance: Floor tiles damaged near cell # 160

Slop Sink Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink clogged

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, light fixture not functioning 	properly

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 120

105 CMR 451.103	Mattresses: No mattress in cell # 152

105 CMR 451.104	Beds: Lower bed fixture not in good repair in cell # 139

105 CMR 451.141	Screens: Screen damaged in cell # 132, 137, 139, 144, 158, and 159

105 CMR 451.350*	Structural Maintenance: Floor no longer easily cleanable, tiles damaged in cell # 114, 	127, 146, 152, and 154

105 CMR 451.353	Interior Maintenance: Floor no longer easily cleanable, paint damaged in cell # 115, 	117, 118, and 137

105 CMR 451.353	Interior Maintenance: Walls no longer easily cleanable paint damaged in cell # 105, 	120, 121, 125, and 127

Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls in all shower stalls

105 CMR 451.123	Maintenance: Wall paint damaged outside shower unit in stall # 1 and 9

B Block

Common Area

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.353	Interior Maintenance: Ceiling dirty outside cell # 201

Slop Sink Room

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Slop sink damaged

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 212, 248, 253, 	254, 255, 256, 257, 258, and 260

105 CMR 451.141	Screens: Screen damaged in cell # 216, 245, 248, 254, and 260

105 CMR 451.350	Structural Maintenance: Wall paint damaged in cell # 216 and 219

105 CMR 451.350	Structural Maintenance: Floor no longer easily cleanable, tiles missing in cell # 238, 	251, and 252

Shower Area

105 CMR 451.123*	Maintenance: Ceiling dirty outside shower stalls

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and floor in all shower 	stalls

105 CMR 451.123	Maintenance: Ceiling paint damaged outside shower stalls

105 CMR 451.123	Maintenance: Shower vents dirty

60 Building (G)

Control

Control Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123	Maintenance: Unlabeled chemical bottle

105 CMR 451.123	Maintenance: Ceiling tiles water damaged

Cell Block

Common Area

105 CMR 451.128*	Ice: Unsanitary storage and handling conditions, exterior and interior of ice machine 	dirty

Slop Sink Room

105 CMR 451.344*	Illumination in Habitable Areas: Light fixture not working properly

105 CMR 451.350*	Structural Maintenance: Slop sink damaged

105 CMR 451.353*	Interior Maintenance: Pipe insulation damaged

105 CMR 451.353*	Interior Maintenance: Light shield not provided in a maintenance area

105 CMR 451.353	Interior Maintenance: Wall dirty near slop sink

Cells

105 CMR 451.350	Structural Maintenance: Floor no longer easily cleanable, tile missing in cell # 325 and 355

105 CMR 451.350	Structural Maintenance: Window does not appear rodent and weathertight in cell

# 303

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 343, 356, and 357

Lower Shower Area

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and floor in all shower 	stalls

105 CMR 451.123*	Maintenance: Wall vents dirty

105 CMR 451.123*	Maintenance: Light shield cracked

105 CMR 451.123*	Maintenance: One light fixture not functioning properly

Upper Shower Area

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and floor in all shower 	stalls

105 CMR 451.123*	Maintenance: Wall paint damaged outside shower units

80 Building (H)

Lower 80-First Floor

Control

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gasket damaged

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Control Bathroom

105 CMR 451.123	Maintenance: Handwash sink dirty

105 CMR 451.123	Maintenance: Unlabeled chemical bottle

Common Area

105 CMR 451.128	Ice: Unsanitary storage and handling conditions, ice scoop not sanitized properly

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

105 CMR 451.353	Interior Maintenance: Controls missing from water fountain

105 CMR 451.353	Interior Maintenance: Chairs damaged in shower area

Storage Room

No Violations Noted

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking from shower # 5

105 CMR 451.123	Maintenance: Soap scum on walls and floor in shower stalls

105 CMR 451.123*	Maintenance: Shower curtain missing in shower stall # 5

105 CMR 451.123	Maintenance: Bathroom floor damaged

105 CMR 451.123*	Maintenance: Wall tiles cracked in toilet stalls

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head missing in shower

# 5

Slop Sink Room

105 CMR 451.350*	Structural Maintenance: Slop sink damaged

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353*	Interior Maintenance: Vent dirty

Staff Bathroom

105 CMR 451.353	Interior Maintenance: Vent dirty

Dorm Rooms

Dorm Room # 401

105 CMR 451.353	Interior Maintenance: Vents dirty

105 CMR 451.353	Interior Maintenance: Cable outlet cover missing

Dorm Room # 402

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, two light fixtures not functioning properly

Dorm Room # 403

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, two light fixtures not functioning properly

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

Dorm Room # 404

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

Dorm Room # 405

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, two light fixtures not functioning properly

Dorm Room # 406

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Ceiling vents dirty

Dorm Room # 407

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

105 CMR 451.353	Interior Maintenance: Outlet cover missing

Dorm Room # 408

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, two light fixtures not functioning properly

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty

Dorm Room # 409

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

105 CMR 451.353	Interior Maintenance: Baseboard missing

Dorm Room # 410

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, two light fixtures not functioning properly

80 Building Stairway

105 CMR 451.350	Structural Maintenance: Windowsill damaged

Upper 80-Second Floor

Control

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator handle damaged

Control Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 910F

Common Area

105 CMR 451.128*	Ice: Unsanitary storage and handling conditions, exterior and interior of ice machine 	dirty

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

105 CMR 451.350	Structural Maintenance: Several floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Water control missing from water fountain

Storage Room

No Violations Noted

Inmate Bathroom

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on wall and floor tiles in all 	shower stalls

105 CMR 451.123*	Maintenance: Soap scum on shower curtain in all shower stalls

105 CMR 451.123*	Maintenance: Ceiling vents dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 700F

Staff Bathroom

No Violations Noted

Slop Sink Room

105 CMR 451.350*	Structural Maintenance: Slop sink damaged

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353*	Interior Maintenance: Vent dirty

Dorm Rooms

Dorm Room # 411

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

Dorm Room # 412

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

Dorm Room # 413

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, light fixture not functioning 	properly

Dorm Room # 414

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

Dorm Room # 415

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

Dorm Room # 416

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

Dorm Room # 417

105 CMR 451.353	Interior Maintenance: Ceiling vents dirty

Dorm Room # 418

105 CMR 451.353	Interior Maintenance: Ceiling vents dirty

Dorm Room # 419

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

105 CMR 451.353	Interior Maintenance: Ceiling vents dirty

105 CMR 451.353	Interior Maintenance: Baseboard damaged

Dorm Room # 420

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

105 CMR 451.353	Interior Maintenance: Floor tiles missing

Gym Building (I)

Gym

No Violations Noted

Weight Area

105 CMR 451.353	Interior Maintenance: Exercise equipment surface damaged and no longer easily cleanable

Inmate Bathroom

105 CMR 451.123*	Maintenance: Uncapped pipes, pipes left after removed of plumbing fixture

105 CMR 451.123	Maintenance: Ceiling vent dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1000F

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sinks

Staff Bathroom	Occupied at the time of inspection

240 Building (J)

A & B Control

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty and rusted

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 500F

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Ceiling water stained

Control Bathroom

No Violations Noted

A Block

Common Area

105 CMR 451.353	Interior Maintenance: Wall paint damaged near phones on both levels

105 CMR 451.128*	Ice: Unsanitary storage and handling conditions, exterior and interior of ice machine 	dirty

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Wall dirty near slop sink

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 252, 256, 257, 538, and 544

Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in all shower stalls

105 CMR 451.123*	Maintenance: Standing water observed on floor in shower area

105 CMR 451.123	Maintenance: Wall paint damaged outside shower unit in shower stall # 1 and 9

105 CMR 451.123*	Maintenance: Ceiling paint damaged

B Block

Common Area

105 CMR 451.128*	Ice: Unsanitary storage and handling conditions, exterior and interior of ice machine 	dirty

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

Slop Sink Room

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350	Structural Maintenance: Slop sink damaged

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 612

Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in all shower stalls

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Wall vents dirty

105 CMR 451.123	Maintenance: Wall paint damaged outside shower unit in shower stall # 1 and 9

C Block

Common Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice machine out of order

105 CMR 451.353	Interior Maintenance: Wall paint damaged near phones

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Slop sink dirty

Cells

105 CMR 451.103	Mattresses: Mattress uncovered and not easily cleanable in cell # 717, 728, 735,

and 747

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 712, 719, 748, and 756

Shower Area

105 CMR 451.123*	Maintenance: Wall vents dirty

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and floors in all shower 	stalls

105 CMR 451.123	Maintenance: Wall paint damaged outside shower unit in shower stall # 1 and 9

D Block

Common Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice machine out of order

Slop Sink Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.353*	Interior Maintenance: Pipe not insulated properly, insulation loose

105 CMR 451.353	Interior Maintenance: Wall dirty near slop sink

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell # 806

105 CMR 451.103	Mattresses: Mattress no longer easily cleanable, mattress cover missing in cell # 834, 844, 845, and 847

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 805, 809, 814, 815, 817, 821, 822, 823, 825, 826, 843, 850, 854, 855, and 856

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 822

Shower Area

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls in all shower stalls

105 CMR 451.123	Maintenance: Vent dirty in shower stall # 1 and 9

Outside the Fence

Warehouse

No Violations Noted

Bathroom 1003

105 CMR 451.123	Maintenance: Wall damaged

Slop Sink Room 1004

No Violations Noted

Walk-In Freezer	Offline at the time of inspection

Garage

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gasket damaged

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	refrigerator gasket dirty

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.123	Maintenance: Handwash sink dirty

Bathroom 1007

105 CMR 451.123	Maintenance: Unlabeled chemical bottle

105 CMR 451.123	Maintenance: Wall damaged

Office

No Violations Noted

Observations and Recommendations

- Throughout the facility paper towels were not stored in the designated holders. Recommend placing paper towel inside the holders to ensure they stay clean and dry

- Warehouse walk-in freezer was under repair at the time of inspection, the Department recommends refinishing floor before the unit is brought back online

- Shelves in the refrigerator unit in the main control room do not allow the air to freely move throughout the refrigerator unit, leaving the top shelf at 390F and the bottom drawer at 440F. Recommend using shelves that were intended for the refrigerator unit or taking steps to ensure the air is able to freely move throughout the unit

- Mechanical warewashing machine conveyer belt is not designed to hold the thick insulated trays used at this correctional facility. This appears to be preventing trays from being appropriately cleaned and sanitized as evident by the trays being place up against each other and falling over pooling water. Recommend the facility take further action to ensure each tray is cleaned and sanitized properly and that the mechanical warewashing machine meets the needs of the facility

- Missing water controls on the hair wash sink in the Barber Shop # 2008 make it impossible to properly adjust the water temperature, recommend replacing the water controls

- Please provided documentation confirming that all blankets supplied to inmates are fire retardant in accordance with 105 CMR 451.101

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within 10 days of receipt of this letter and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Lauren Molotnikov

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Acting Commissioner, DOC

Michael Mark, Superintendent

Captain A Statezni, Compliance Coordinator

Middleton Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS