The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-695-7414

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

November 22, 2019

Kevin F. Coppinger, Sheriff

Essex County Sheriff's Department Headquarters

20 Manning Avenue

Middleton, MA 01949		(electronic copy)

Re: Facility Inspection – Essex County Correctional Facility, Middleton

Dear Sheriff Coppinger:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the          Essex County Correctional Facility on November 7 and 12, 2019 accompanied by Lieutenant Peter Lundy, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 112 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Kerry Wagner, MPH

Environmental Health Inspector, CSP, BEH

cc: 	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Aaron Eastman, Superintendent 							(electronic copy)

Lieutenant Peter Lundy, EHSO							(electronic copy)

Derek Fullerton, RS, CHO, Health Director, Middleton Health Department 	(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

# Administration Building

# Front Lobby

No Violations Noted

# Female Bathroom # 1002

No Violations Noted

# Male Bathroom # 1003

No Violations Noted

Officer’s Room

No Violations Noted

Hallway to 2nd Floor

Canteen Office

No Violations Noted

# Second Floor

# Administration Area

# Female Bathroom # 2002

No Violations Noted

# Male Bathroom # 2003

No Violations Noted

# Kitchenette # 2011

No Violations Noted

Offices

No Violations Noted

# Bathroom # 2012

No Violations Noted

Slop Sink # 2018

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

# First Floor

# Administration Hallway

# Storage Room # 1007

No Violations Noted

# Training 1 # 1008

No Violations Noted

# Training 2 # 1009

No Violations Noted

# Female Staff Bathroom # 1013

No Violations Noted

# Male Staff Bathroom # 1014

No Violations Noted

# Training # 1015

Unable to Inspect – In Use

Storage Room # 1016

Unable to Inspect – Locked

# Mop/Hot Water Heater Room # 1017

105 CMR 451.130	Plumbing: No backflow preventer on slop sink

# Weight Room # 1018

No Violations Noted

# Male Staff Locker Room # 1030

105 CMR 451.123	Maintenance: Mold on curtain in shower # 2

105 CMR 451.123	Maintenance: Floor dirty in handicapped shower

# Female Staff Locker Room # 1031

No Violations Noted

# Central Control

No Violations Noted

# Control Bathroom # 1004

No Violations Noted

Urine Room # 1005

No Violations Noted

# Records/I.T./Visits Area

# Visitor Entrance Area

No Violations Noted

# Visitor Area

No Violations Noted

# Bathroom (2)

105 CMR 451.123	Maintenance: Ceiling grille/louver missing in right side bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 650F in left side bathroom

Office # 1001A

Unable to Inspect – Locked

Storage Room # 1001B

No Violations Noted

# Roll Call Room

# Room # 1001C

No Violations Noted

Muster Room

No Violations Noted

Male Bathroom # 1169

No Violations Noted

Female Bathroom # 1168

No Violations Noted

# Records Hallway

# Office # 1004

No Violations Noted

IT Offices # 1003

No Violations Noted

# Nursing Mother’s Room # 1009

No Violations Noted

# Male Staff Bathroom # 1010

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water handle leaking at handwash sink

# Records Office # 1011

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

# Female Staff Bathroom # 1012

No Violations Noted

# Property Room # 1013

No Violations Noted

Shift Commander’s Office # 1014

No Violations Noted

# Office # 1015

No Violations Noted

# Female Holding Unit Hallway # 1016

# Lawyer Interview Room # 1-5

No Violations Noted

New Interview Room Hallway	Unable to Inspect Room # 6, 7, 8, and 12 – In Use

No Violations Noted

Visitor’s Tubes # 1044

No Violations Noted

Storage Closet # 1046

Unable to Inspect - Locked

Visitor’s Room # 1047

No Violations Noted

Video Conference Rooms

No Violations Noted

Staff Dining # 1041

No Violations Noted

# Female Holding Unit # 1022 – Unoccupied

Common Area

No Violations Noted

Medical Office

Unable to Inspect - Locked

# Holding Tanks # 1-4

No Violations Noted

Shower Area

105 CMR 451.123	Maintenance: Floor dirty throughout shower area

Safe Keep Room

105 CMR 451.353	Interior Maintenance: Floor epoxy damaged in back left corner of room

105 CMR 451.353	Interior Maintenance: Floor dirty throughout room

Sleeping Area

No Violations Noted

# Storage Room

No Violations Noted

Closet

No Violations Noted

Food Service Area

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor surface damaged and stained throughout food service area

# Mechanical Tray Warewash Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, baseboard damaged throughout warewashing area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall covering damaged around tables behind warewash machine

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wood behind wall covering water damaged

FC 4-501.15	Maintenance and Operation; Equipment: Warewashing machine not operating in accordance with manufacturer's instructions, water temperature and pressure gauges not reading in accordance with data plate

3-Compartment Sink and Small Warewash Machine

FC 4-204.115*	Design and Construction, Functionality: Temperature measuring device not functioning properly on warewashing machine, temperature readout not functioning on small warewash machine

FC 4-501.112(A)(1)*	Maintenance and Operation, Equipment: Inadequate water temperature in the small mechanical warewashing machine

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, single bay sink, exterior of small warewash machine, and wall behind sink dirty

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, single compartment sink leaking

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, dirty pooling water around       3-compartment sink

# Spray Room

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Nonfood contact surface dirty, tray drying racks dirty

# Walk-In Refrigerator # 1

No Violations Noted

# Freezer # 2

No Violations Noted

Walk-In Cooler # 3

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall paint damaged

Handwash Sink

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1380F

2-Compartment Sink

No Violations Noted

# Food Preparation and Baking Area

No Violations Noted

Pull Cage

No Violations Noted

# Kettle Hood Area

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall damaged near tilt skillet

# Oven Hood Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, hood filters not properly in place

# Front Hoods and Tray Prep Area

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, hood filters dusty

Serving Line

No Violations Noted

Aramark Office

No Violations Noted

Officer’s Room

No Violations Noted

# Hallway

No Violations Noted

Utensil Storage Room

No Violations Noted

Aramark Training Room # 1024

FC 3-302.12	Protection from Contamination After Receiving, Preventing Food and Ingredient Contamination: Food or food ingredients that have been removed from original packages not labeled with common name of food, unlabeled sugar container

Inmate Break Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, counter top damaged

Chemical Storage Closet

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, large amount of rust observed in slop sink basin

# Slop Sink Room

No Violations Noted

# Loading Dock

105 CMR 451.351*	Handrails: Handrail and supporting baluster not provided on both sides of stairs near dumpster

Outside Freezer

No Violations Noted

# Uniform Room # 1025

No Violations Noted

# Staff Locker Room and Mop Closet # 1026

No Violations Noted

# Female Staff Bathroom # 1199

No Violations Noted

# Male Staff Bathroom # 1200

No Violations Noted

# Laundry/Changing Room # 1027

No Violations Noted

# Back Storage

No Violations Noted

# Back Cage

FC 3-302.12	Protection from Contamination After Receiving, Preventing Food and Ingredient Contamination: Food or food ingredients that have been removed from original packages not labeled with common name of food, unlabeled spices

Refrigerator # 4

No Violations Noted

# Inmate Bathroom # 1029

No Violations Noted

# Inmate Dining Room

No Violations Noted

# Health Services Unit (H.S.U.)

# Entrance

No Violations Noted

# Inmate Bathroom # 2002

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.123*	Maintenance: Ceiling vent dusty

# Waiting Lobby

No Violations Noted

# Nurse’s Office # 2003

No Violations Noted

# I1-Isolation Room # 2005

105 CMR 451.322	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: GFCI outlet damaged

105 CMR 451.104	Beds: Bed not in good repair, bed surfaces rusted

# I2-Isolation Room # 2006

105 CMR 451.322	Cell Size: Inadequate floor space in dorm room

# Exam Room # 2041

Unable to Inspect – In Use

# Interview Room # 2040

Unable to Inspect – In Use

M.A.T. Area

No Violations Noted

Medication Administration/Storage Room

No Violations Noted

# Common Area

No Violations Noted

# Nurse’s Desk

No Violations Noted

# Waiting Room # 2007

No Violations Noted

# Janitor’s Closet # 2008

105 CMR 451.353	Interior Maintenance: Standing water observed in mop bucket

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, backflow preventer leaking

# R1 # 2009

105 CMR 451.353	Interior Maintenance: Walls stained/discolored

# R2 # 2010

105 CMR 451.353	Interior Maintenance: Walls stained/discolored

# R3 # 2011

105 CMR 451.353	Interior Maintenance: Baseboard missing

# R4 # 2012

No Violations Noted

R5 # 2014

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.123*	Maintenance: Floor damaged under toilet

105 CMR 451.123	Maintenance: Floor dirty around toilet

105 CMR 451.353*	Interior Maintenance: Door paint damaged

105 CMR 451.353	Interior Maintenance: Wall joints damaged

# Storage # 2016

No Violations Noted

# Inmate Shower # 2017

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1200F

105 CMR 451.123	Maintenance: Mold observed on ceiling

# Conference Room # 2018

Unable to Inspect – In Use

# Staff Bathroom # 2019

No Violations Noted

R6 # 2015

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353*	Interior Maintenance: Wall board and wall board joints damaged

105 CMR 451.123*	Maintenance: Ceiling vent dusty in bathroom

105 CMR 451.123	Maintenance: Floor dirty around toilet

# Back Hallway

# Staff Office # 2043

No Violations Noted

# Office # 2021

No Violations Noted

# Room # 2022

No Violations Noted

# Office # 2023

No Violations Noted

# Staff Bathroom

No Violations Noted

Office # 2024 - 2027

105 CMR 480.400(C)*	Shipping Papers: Generator was not maintaining copy of shipping papers with         record-keeping log for at least 375 days, missing shipping paper from 7/10/19

Storage Room # 2038

No Violations Noted

# Dentist Room # 2029

No Violations Noted

# Medical Waste Storage Room

No Violations Noted

Medicine Room # 2035

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

X-Ray Room # 2030

No Violations Noted

Exam Room # 2031

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

# Urine Lab Room # 2032

105 CMR 451.353*	Interior Maintenance: Blue exam chair padding damaged

# Exam Room # 2033

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

# Diabetic Room # 2034

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

# 240 BUILDING (J)

# A & B Control

No Violations Noted

# Control Bathroom

No Violations Noted

# A Block

# Common Area

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling tiles above cell # 531

# Slop Sink Room

No Violations Noted

# Cells

105 CMR 451.353*	Interior Maintenance: Door paint damaged in cell # 560

# 105 CMR 451.353	Interior Maintenance: Door paint damaged in cell # 510, 512, 514, 518, 524, 525, and 527

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 533

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 534

105 CMR 451.353	Interior Maintenance: Top of chair missing in cell # 553 and 558

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, excessive water pressure at handwash sink in cell # 536

# Shower Area

105 CMR 451.123	Maintenance: Drain flies observed in shower # 5

Handicapped Shower

No Violations Noted

# B Block

# Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling water stained above cell # 660

105 CMR 451.353	Interior Maintenance: Floor tiles damaged near ice machine

# Slop Sink Room (downstairs)

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Door paint damaged in cell # 648

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 641 and 646

105 CMR 451.353	Interior Maintenance: Desk chair missing in cell # 642 and 654

105 CMR 451.101	Blankets: Blanket damaged in cell # 626

Counselor’s Office (upstairs)

Unable to Inspect – No Longer In Use

Shower Area	Unable to Inspect Shower # 2 – In Use

105 CMR 451.123*	Maintenance: Pooling water on floor outside showers

Handicapped Shower

No Violations Noted

# C & D Control

No Violations Noted

# Control Bathroom

No Violations Noted

# C Block

# Common Area

No Violations Noted

# Slop Sink Room

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Screen damaged in cell # 734

105 CMR 451.353	Interior Maintenance: Screen damaged in cell # 743

105 CMR 451.353*	Interior Maintenance: Desk chair missing in cell # 749

105 CMR 451.353	Interior Maintenance: Desk chair missing in cell # 752

105 CMR 451.353	Interior Maintenance: Door paint damaged in cell # 712

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 730

# Shower Area	Unable to Inspect Shower # 5, 7, and 9 – In Use

No Violations Noted

Handicapped Shower

Unable to Inspect – Not Used

# D Block

# Common Area

105 CMR 451.360	Protective Measures: Birds observed in block

# Slop Sink Room

No Violations Noted

# Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 834

105 CMR 451.353*	Interior Maintenance: Top of desk chair missing in cell # 825 and 855

105 CMR 451.353	Interior Maintenance: Desk chair missing in cell # 812 and 850

105 CMR 451.353*	Interior Maintenance: Floor tiles missing in cell # 807

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 823, 824, 826, 829, 840, and 851

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 818, 828, and 845

105 CMR 451.353	Interior Maintenance: Door paint damaged in cell # 819

# Shower Area

No Violations Noted

Handicapped Shower

Unable to Inspect – Not Used

# PROGRAM BUILDING (K)

# Lower Programs

# Chapel # 1009A

No Violations Noted

# Hot Water Heater Room # 1005

No Violations Noted

# Clergy # 1006

No Violations Noted

# Clergy # 1007

No Violations Noted

Clergy # 1008

No Violations Noted

Inmate Bathroom # 1004

No Violations Noted

Classrooms

No Violations Noted

Offices

No Violations Noted

# Exterior Hallway Door

No Violations Noted

Teacher’s Break Room # 1014

No Violations Noted

Male Staff Bathroom # 1015

No Violations Noted

# Female Staff Bathroom # 1016

No Violations Noted

Teacher’s Room # 1025

No Violations Noted

# Library

105 CMR 451.353*	Interior Maintenance: Carpet damaged near windows

# Upper Programs

# Bathroom # 1277

No Violations Noted

Slop Sink # 1278

No Violations Noted

# Male Staff Bathroom # 2024

No Violations Noted

# Female Staff Bathroom # 2025

105 CMR 451.123	Maintenance: Ceiling vent dusty

# Conference Room # 2036

Unable to Inspect – In Use

Offices

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                      105 CMR 590.000, no functioning thermometer in refrigerator in office # 2005 and 2013

Storage Closet # 2037

No Violations Noted

# Vocational Education Building

# First Floor

# Laundry

No Violations Noted

K9 Room

No Violations Noted

Sewing Room

No Violations Noted

Storage Room

No Violations Noted

# Slop Sink

105 CMR 451.130*	Plumbing: No backflow preventer on slop sink

Storage Closet (outside Laundry)

No Violations Noted

Voke 1

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

Officer’s Station

No Violations Noted

Common Area

No Violations Noted

Voke 1 Bathroom/Showers

105 CMR 451.114*	Shared Toilet and Handwashing Facilities: Inadequate number of handwash sinks per inmate population

105 CMR 451.114*	Shared Toilet and Handwashing Facilities: Inadequate number of toilets per inmate population

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 950F at handwash sink # 2

105 CMR 451.123*	Maintenance: Floor surface damaged in front of urinals and in shower # 3

105 CMR 451.123*	Maintenance: Door missing in toilet stall # 5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 1 urinal out-of-order

105 CMR 451.123	Maintenance: Floor dirty in shower # 5

Sleeping Area

105 CMR 451.103	Mattresses: One mattress missing cover

# Voke 2 – Male Detox Unit

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

Office # 0927-0929

No Violations Noted

Common Area

No Violations Noted

Sleeping Area

105 CMR 451.103	Mattresses: One mattress damaged

Kitchenette # 0930

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, sponges observed in kitchenette

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Med Room

105 CMR 451.126	Hot Water: Hot water temperature recorded at 950F at handwash sink

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Chemical Storage Cabinet

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

# Voke 2 Bathroom/Showers

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 900F at handwash sink # L1

105 CMR 451.123	Maintenance: Mold observed on shower curtain in shower # 8

105 CMR 451.123	Maintenance: Mold observed on tile grout in shower # 6

105 CMR 451.123	Maintenance: Grout missing between wall tiles in shower # 8

105 CMR 451.123	Maintenance: Wall tiles missing in shower # 5

Voke Hallway

Inmate Bathroom

No Violations Noted

# Warehouse # 0911

No Violations Noted

Barber Shop

No Violations Noted

Staff Bathroom (outside Voke 3)

No Violations Noted

Storage Closet (outside Voke 3)

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

# Voke 3

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

# Common Area

No Violations Noted

Officer’s Station

No Violations Noted

# Voke 3 Bathroom/Showers

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 1 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 4 out-of-order

105 CMR 451.123*	Maintenance: Wall tile damaged in shower # 8

105 CMR 451.123*	Maintenance: Slop sink basin damaged

Sleeping Area

No Violations Noted

# Second Floor

Office # 2002

No Violations Noted

# M.A.P. Offices

No Violations Noted

# M.A.P. Area

Unable to Inspect – Under Construction

# Hallway

No Violations Noted

Counselor’s Office # 2003

No Violations Noted

Laundry Room # 2004

No Violations Noted

# Staff Bathroom # 2005

No Violations Noted

Slop Sink Room # 2006

No Violations Noted

# Group Room # 2008

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Voke 4 – Female Detox Unit

Shower Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # L4 continually running

Kitchenette

No Violations Noted

Toilet Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1000F at handwash sinks

Common Area

No Violations Noted

Medical Office

No Violations Noted

Councilor’s Office

No Violations Noted

Janitor’s Closet

No Violations Noted

Toiletries Cabinet

No Violations Noted

# 120 Building (F)

# Entryway

No Violations Noted

# A & B Control

No Violations Noted

# Control Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1400F

# A Block (Segregation Unit)

# Common Area

No Violations Noted

# Slop Sink Room

No Violations Noted

# Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 148

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet clogged in cell # 142

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink continually running in cell # 139

105 CMR 451.353	Interior Maintenance: Cells generally dirty

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 115, 137, and 142

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 102, 105, 110, 113, 119, 131, 134, 144, 145, and 149

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 132, 145, and 160

105 CMR 451.353	Interior Maintenance: Wall damaged above window in cell # 112

105 CMR 451.353	Interior Maintenance: Desk chair missing in cell # 149

Shower Area

105 CMR 451.123*	Maintenance: Soap scum observed on floor in shower # 6, 7, and 9

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower # 1, 2, 5, and 8

105 CMR 451.123*	Maintenance: Floor dirty outside shower # 3 and 7

105 CMR 451.123	Maintenance: Floor dirty outside shower # 1 and 9

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 7, 8, and 9

# B Block

# Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

# Slop Sink Room

No Violations Noted

# Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles missing in cell # 240 and 242

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 217, 231, 232, 235, 236, 244, and 256

105 CMR 451.353*	Interior Maintenance: Top of chair seat missing in cell # 246 and 254

105 CMR 451.353	Interior Maintenance: Top of chair seat missing in cell # 235 and 236

105 CMR 451.353*	Interior Maintenance: Desk chair missing in cell # 259

105 CMR 451.353	Interior Maintenance: Desk chair missing in cell # 206

Shower Area

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 3, 4, and 5

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 7 and 9

Handicapped Shower

Unable to Inspect – No Longer In Use

# 60 Building (G)

# Control

No Violations Noted

# Control Bathroom

No Violations Noted

# Cell Block

105 CMR 451.353*	Interior Maintenance: Wall discolored above cell # 357

# Common Area

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

# Slop Sink Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, backflow preventer leaking

105 CMR 451.353	Interior Maintenance: Door frame damaged

# Cells

105 CMR 451.330	Room Temperature: Room temperature 620F in cell # 321 and 640F in room # 330

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 359

105 CMR 451.353	Interior Maintenance: Intake vent not functioning in cell # 355

# Lower Shower Area

105 CMR 451.123	Maintenance: Floor rust stained outside shower # 1 and 2

Handicapped Shower

105 CMR 451.130	Hot Water: Shower water temperature recorded at 900F

# Upper Shower Area

105 CMR 451.353*	Interior Maintenance: Ceiling tiles discolored above showers

105 CMR 451.123*	Maintenance: Wall paint damaged outside shower # 9

105 CMR 451.123		Maintenance: Wall paint damaged outside shower # 5

105 CMR 451.123	Maintenance: Soap scum on floor and walls in shower # 8

# 80 Building (H)

# Lower 80 – First Floor

# Control

No Violations Noted

# Control Bathroom

No Violations Noted

Common Area

No Violations Noted

# Storage Room

105 CMR 451.350*	Structural Maintenance: Door leading to exterior not rodent and weathertight

# Inmate Bathroom

# 105 CMR 451.123*	Maintenance: Water leaking into dorm room # 410

105 CMR 451.123*	Maintenance: Baseboard epoxy damaged in shower # 2, 3, 4, 5, 6, and 7

105 CMR 451.123*	Maintenance: Wall tiles damaged in shower # 1 and 7

105 CMR 451.123	Maintenance: Wall tiles missing in shower # 6 and 7

105 CMR 451.123*	Maintenance: Wall tile grout deteriorating in shower # 1 and 4

105 CMR 451.123*	Maintenance: Shower partition damaged between shower # 6 and 7

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 5

105 CMR 451.123	Maintenance: Floor drain dirty in shower # 6 and 7

105 CMR 451.123	Maintenance: Ceiling tiles missing, unfinished ceiling exposed over showers

105 CMR 451.123*	Maintenance: Light shield water stained near showers

105 CMR 451.123	Maintenance: Ceiling vents rusted

105 CMR 451.123*	Maintenance: Ceiling access panel rusted

105 CMR 451.123*	Maintenance: Door missing to toilet stall # 6

105 CMR 451.123	Maintenance: Wall tiles cracked behind toilet stalls

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure at handwash sink # 1R and 3L

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sinks leaking at sink # 5L

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 5R clogged

# Slop Sink Room

No Violations Noted

# Staff Bathroom

No Violations Noted

Offices

No Violations Noted

# Dorm Rooms

105 CMR 451.322*	Cell Size: Inadequate floor space in all dorm rooms

# Dorm Room # 401

No Violations Noted

# Dorm Room # 402

No Violations Noted

# Dorm Room # 403

No Violations Noted

# Dorm Room # 404

105 CMR 451.353	Interior Maintenance: Wall board not secured to wall

105 CMR 451.353	Interior Maintenance: Baseboard damaged

105 CMR 451.353	Interior Maintenance: Ceiling vents blocked and dusty

# Dorm Room # 405

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Dorm Room # 406

105 CMR 451.353*	Interior Maintenance: Ceiling panel damaged

Dorm Room # 407

105 CMR 451.353	Interior Maintenance: Ceiling panel damaged

105 CMR 451.353	Interior Maintenance: Ceiling vents blocked

# Dorm Room # 408

105 CMR 451.353*	Interior Maintenance: Ceiling panel damaged over beds

105 CMR 451.353	Interior Maintenance: Ceiling vents blocked

# Dorm Room # 409

105 CMR 451.353	Interior Maintenance: Ceiling vents blocked

# Dorm Room # 410 (unoccupied)

105 CMR 451.353*	Interior Maintenance: Floor water damaged

105 CMR 451.353*	Interior Maintenance: Ceiling panels rusted

105 CMR 451.353	Interior Maintenance: Pooling water on floor

# 80 Building Stairway

No Violations Noted

# Upper 80 - Second Floor

# Control

No Violations Noted

Control Bathroom

Unable to Inspect – In Use

# Common Area

No Violations Noted

Offices

No Violations Noted

# Storage Room

No Violations Noted

# Inmate Bathroom

105 CMR 451.123*	Maintenance: Tile grout deteriorating in shower # 1, 3, 4, 5, 6, and 7

105 CMR 451.123	Maintenance: Tile grout deteriorating in shower # 2

105 CMR 451.123*	Maintenance: Floor epoxy damaged in shower # 1

105 CMR 451.123	Maintenance: Floor epoxy damaged in shower # 5 and 7

105 CMR 451.123	Maintenance: Curtain missing in shower # 1

105 CMR 451.123*	Maintenance: Ceiling vent damaged

105 CMR 451.123*	Maintenance: Wall tiles cracked behind all toilet stalls

105 CMR 451.123*	Maintenance: Wall tiles missing in toilet stall # 2 and 3

105 CMR 451.123	Maintenance: Wall tiles missing in toilet stall # 6

105 CMR 451.123*	Maintenance: Wall tiles missing outside toilet stall # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, several handwash sinks leaking at bottom

# Staff Bathroom

# No Violations Noted

Storage Room

Unable to Inspect – Locked

# Slop Sink Room (near bathroom)

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

# Dorm Rooms

105 CMR 451.322*	Cell Size: Inadequate floor space in all dorm rooms

# Dorm Room # 411

105 CMR 451.353	Interior Maintenance: Door paint damaged

# Dorm Room # 412

105 CMR 451.353	Interior Maintenance: Door paint damaged

105 CMR 451.353	Interior Maintenance: Ceiling panels damaged

# Dorm Room # 413

105 CMR 451.353	Interior Maintenance: Door paint damaged

# Dorm Room # 414

105 CMR 451.353	Interior Maintenance: Door paint damaged

105 CMR 451.353	Interior Maintenance: Desk not secured to wall

# Dorm Room # 415

No Violations Noted

# Dorm Room # 416

105 CMR 451.353*	Interior Maintenance: Ceiling panel damaged

105 CMR 451.353	Interior Maintenance: Door paint damaged

# Dorm Room # 417

No Violations Noted

# Dorm Room # 418

105 CMR 451.353*	Interior Maintenance: Wall board damaged

105 CMR 451.353	Interior Maintenance: Door paint damaged

# Dorm Room # 419

105 CMR 451.353	Interior Maintenance: Ceiling panel damaged

# Dorm Room # 420

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked

# Gym Building (I)

# 105 CMR 451.350*	Structural Maintenance: Exterior corner of building damaged near entrance

# Captain’s Office

No Violations Noted

# Gym

No Violations Noted

# Weight Area

105 CMR 451.353	Interior Maintenance: Equipment padding damaged

Shower Room

105 CMR 451.123	Maintenance: Wall tiles damaged in shower # 3

# Inmate Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.123	Maintenance: Wall tiles missing

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, water jug and disposable cups stored in bathroom

Storage Room/Officer’s Bathroom

105 CMR 451.353	Interior Maintenance: Pooling water under sprinkler system

# Outside the Fence

# Warehouse

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, utensils not kept covered

Exterior Door

No Violations Noted

# Bathroom # 1003

No Violations Noted

# Slop Sink Room # 1004

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Garage

# Bathroom # 1007

No Violations Noted

# Office

No Violations Noted

Chemical Storage

No Violations Noted

Intake Building

X-Ray Machines/Entrance

No Violations Noted

Intake Area

Storage Room (with Refrigerator)

No Violations Noted

Changing Rooms # 1 – 6

No Violations Noted

Staff Bathrooms (2)

No Violations Noted

Custodial Closet

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Holding Cells # 1 – 7

No Violations Noted

Bail Commissioner’s Office

No Violations Noted

Booking Area

No Violations Noted

Medical Screening

No Violations Noted

Handicapped Bathroom

No Violations Noted

Handicapped Shower

No Violations Noted

Shower # 1

No Violations Noted

Shower # 2

No Violations Noted

Records

No Violations Noted

Female Bathroom (within Records)

105 CMR 451.123	Maintenance: Door handle missing

Property Room

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: Bathroom out-of-order

Main Entrance

Transport Office

No Violations Noted

Lobby

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Observations and Recommendations

- The inmate population was 1,080 at the time of inspection.

- During the kitchen inspection, the small warewash machine did not reach the appropriate temperature to properly sanitize dishes. As an interim measure, it was stated that the Kitchen staff would be manually sanitizing dishes after they have been washed in the small warewash machine.

- At the time of inspection, the CSP recommended numbering all showers throughout the institution. This will assist the CSP and Department of Correction employees to better recognize where issues exist.

- The kitchen exhaust system was not in compliance with the provisions for inspection, cleaning and labeling required by 527 CMR 1.00, Chapter 50 Commercial Cooking Operations. Paperwork was submitted stating the kitchen exhaust system’s annual inspection is valid until January 2020. The CSP recommends you contact the Middleton Fire Department to confirm the labeling requirements for your kitchen exhaust system.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Kerry Wagner, MPH										Environmental Health Inspector, CSP, BEH