The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 781-223-7503

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

MARYLOU SUDDERS

Secretary

MARGRET R. COOKE                        Commissioner

Tel: 617-624-6000

www.mass.gov/dph

October 28, 2022

Kevin F. Coppinger, Sheriff

Essex County Sheriff's Department Headquarters

20 Manning Avenue

Middleton, MA 01949			(electronic copy)

Re: Facility Inspection – Essex County Correctional Facility, Middleton

Dear Sheriff Coppinger:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Minimum Requirements for the Management of Medical or Biological Waste Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII);

105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X);

the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the Essex County Correctional Facility on October 18 and 19, 2022 accompanied by Lieutenant Peter Lundy, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 89 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Shanene Pierce

Environmental Health Inspector, CSP, BEH

cc: 	Margret R. Cooke, Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 		(electronic copy)

Carol A. Mici, Commissioner, DOC   							(electronic copy)

Terrence Reidy, Secretary, EOPSS								(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 			(electronic copy)

Aaron Eastman, Superintendent 								(electronic copy)

Lieutenant Peter Lundy, EHSO								(electronic copy)

Traci Mello, RN, MSN Health Director, Middleton Health Department 			(electronic copy)

Clerk, Massachusetts House of Representatives						(electronic copy)

Clerk, Massachusetts Senate									(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

# Administration Building

# Front Lobby

No Violations Noted

# Female Bathroom # 1002

No Violations Noted

# Male Bathroom # 1003

No Violations Noted

Officer’s Room

No Violations Noted

Hallway to 2nd Floor

Canteen Office #1020

No Violations Noted

# Second Floor

# Administration Area

# Female Bathroom # 2002

Unable to Inspect – In Use

# Male Bathroom # 2003

No Violations Noted

# Kitchenette # 2011

No Violations Noted

Offices

No Violations Noted

# Bathroom # 2012

No Violations Noted

Slop Sink # 2018

105 CMR 451.353	Interior Maintenance: Mop stored upside down

# First Floor

# Administration Hallway

# Storage Room # 1007

No Violations Noted

# Large Conference Room # 1008

No Violations Noted

# Office # 1009

Unable to Inspect – Locked

# Female Staff Bathroom # 1013

No Violations Noted

# Male Staff Bathroom # 1014

No Violations Noted

# Small Conference Room # 1015

No Violations Noted

Offices # 1012

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

# Mop/Hot Water Heater Room # 1017

No Violations Noted

# Weight Room # 1018

No Violations Noted

# Male Staff Locker Room # 1030

105 CMR 451.123*	Maintenance: Walls rusted around toilet fixture in stall # 1

# Female Staff Locker Room # 1031

No Violations Noted

# Central Control

No Violations Noted

# Control Bathroom # 1004

No Violations Noted

Urine Room # 1005

No Violations Noted

# Records/I.T./Visits Area

# Visitor Entrance Area

No Violations Noted

# Visitor Area

No Violations Noted

# Bathroom (2)

No Violations Noted

Office # 1001A

No Violations Noted

Storage Room # 1001B

No Violations Noted

# Roll Call Room

No Violations Noted

Muster Room

No Violations Noted

Male Bathroom # 1169

No Violations Noted

Female Bathroom # 1168

No Violations Noted

# Records Hallway

# Office # 1004

No Violations Noted

IT Offices # 1003

No Violations Noted

# Nursing Mother’s Room # 1009

No Violations Noted

# Male Staff Bathroom # 1010

105 CMR 451.123	Maintenance: Ceiling vent dusty

# Records Office # 1011

No Violations Noted

# Female Staff Bathroom # 1012

No Violations Noted

# Property Room # 1013

No Violations Noted

Shift Commander’s Office # 1014

No Violations Noted

# Office # 1015

No Violations Noted

# Holding Unit Hallway # 1017

# Lawyer Interview Rooms (2)

No Violations Noted

New Interview Room Hallway

No Violations Noted

Interview Room # 6-12

No Violations Noted

Holding Cells # 1-3

No Violations Noted

Visitor’s Tubes # 1044

No Violations Noted

Storage Closet # 1046

Unable to Inspect – Locked

Visitor’s Room # 1047

No Violations Noted

Video Conference Rooms

No Violations Noted

Holding Rooms/Video Rooms

No Violations Noted

Staff Dining # 1041

No Violations Noted

# Holding Unit # 1022

Common Area

105 CMR 451.353	Interior Maintenance: Floor tiles missing in hallway in front of showers and ice machine

Medical Office

No Violations Noted

Holding Tanks # 1-4		Unable to Inspect Holding Tank # 3 – Under Construction

No Violations Noted

Shower Area

Unable to Inspect – Under Construction

Safe Keep Room

No Violations Noted

Sleeping Area

No Violations Noted

# Storage Room

No Violations Noted

Closet

No Violations Noted

Food Service Area

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged and stained throughout food service area

105 CMR 590.002(A)(1)(B)       Management and Personnel: No certified food protection manager who is at least 18 years of age

105 CMR 590.011(C)(3)(a)	Additional Requirements: Food Allergy Awareness Training, food protection manager not certified in allergen awareness training

# Mechanical Tray Warewash Area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, baseboard damaged throughout warewashing area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall covering damaged around tables behind warewash machine

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wood behind wall covering water damaged

FC 4-301.14	Numbers and Capacities; Equipment: Ventilation hood systems and devices shall be sufficient in number and capacity to prevent condensation from collecting on walls and ceilings, excessive condensation collecting on walls and ceiling

3-Compartment Sink and Small Warewash Machine

No Violations Noted

# Spray Room

No Violations Noted

# Walk-In Refrigerator # 1

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, threshold not secured to floor

# Freezer # 2

No Violations Noted

Walk-In Cooler # 3

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall paint damaged

FC 4-601.11(C)	Cleaning of Equipment and Utensils, Objective: Nonfood contact surfaces of equipment dirty, accumulation of debris on shelving

Handwash Sink

No Violations Noted

2-Compartment Sink

No Violations Noted

# Food Preparation and Baking Area

No Violations Noted

Pull Cage

FC 3-304.12(A)	Preventing Contamination from Utensils: Scoop not stored properly in flour

# Kettle Hood Area

FC 7-102.11	Poisonous or Toxic Materials; Working Containers: Working containers of poisonous or toxic materials must be clearly labeled with common name

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall damaged near tilt skillet

# Oven Hood Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 1 convection oven out-of-order

# Front Hoods and Tray Prep Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 3-door refrigerator out-of-order

Serving Line

No Violations Noted

Aramark Office

No Violations Noted

Officer’s Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

# Hallway

No Violations Noted

Utensil Storage Room

FC 4-601.11(B)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, can opener dirty

Aramark Breakroom # 1024

No Violations Noted

Inmate Break Room

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling paint damaged

Chemical Storage Closet

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, no cold water available at slop sink

# Kitchen Laundry Room and Utility Storage

No Violations Noted

# Loading Dock

105 CMR 451.351*	Handrails: Handrail and supporting baluster not provided on one side of stairs near dumpster

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Exterior door leading to loading dock not weather and rodent tight

Outside Freezer

No Violations Noted

# Uniform Room # 1025

No Violations Noted

# Staff Locker Room and Mop Closet # 1026

No Violations Noted

# Female Staff Bathroom # 1199

No Violations Noted

# Male Staff Bathroom # 1200

No Violations Noted

# Laundry/Changing Room # 1027

No Violations Noted

# Back Storage

No Violations Noted

# Back Cage

No Violations Noted

Staff Refrigerator # 4

No Violations Noted

# Inmate Bathroom # 1029

No Violations Noted

Inmate Dining Room

No Violations Noted

# Health Services Unit (H.S.U.)

# Entrance

No Violations Noted

# Inmate Bathroom # 2002

No Violations Noted

# Waiting Lobby

No Violations Noted

# Nurse’s Office # 2003

No Violations Noted

# I1-Isolation Room # 2005

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

# I2-Isolation Room # 2006

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

# Exam Room # 2041

105 CMR 451.353	Interior Maintenance: Countertop damaged

# Interview Room # 2040

Unable to Inspect – In Use

Room # 2037

No Violations Noted

Medication Administration/Storage Room # 2038

No Violations Noted

# Common Area

No Violations Noted

# Nurse’s Desk

No Violations Noted

# Waiting Room # 2007

No Violations Noted

# Janitor’s Closet # 2008

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

# R1 # 2009

No Violations Noted

# R2 # 2010

No Violations Noted

# R3 # 2011

105 CMR 451.353*	Interior Maintenance: Wall covering joints damaged

# R4 # 2012

No Violations Noted

R5 # 2014

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353*	Interior Maintenance: Wall covering joints damaged

105 CMR 451.123*	Maintenance: Floor damaged under toilet

105 CMR 451.350	Structural Maintenance: Door does not close properly

# Storage # 2016

No Violations Noted

# Inmate Shower # 2017

105 CMR 451.123	Maintenance: Grout dirty

105 CMR 451.123	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Handrails loose

# Interview Room # 2018

No Violations Noted

# Staff Bathroom # 2019

No Violations Noted

R6 # 2015

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353*	Interior Maintenance: Wall covering and joints damaged

# Back Hallway

# Staff Office # 2043

No Violations Noted

# Office # 2021

No Violations Noted

# Break Room # 2022

No Violations Noted

# Office # 2023

No Violations Noted

# Staff Bathroom

No Violations Noted

Office # 2024 - 2027

No Violations Noted

Storage Room # 2038

No Violations Noted

# Dentist Room # 2029

No Violations Noted

# Medical Waste Storage Room

No Violations Noted

Supply Room # 2035

No Violations Noted

X-Ray Room # 2030

No Violations Noted

Office # 2031

No Violations Noted

# Exam Room # 2032

No Violations Noted

# Interview Room # 2033

No Violations Noted

# Diabetic Room # 2034

No Violations Noted

# 240 BUILDING (J)

# A & B Control

No Violations Noted

# Control Bathroom

105 CMR 451.123*	Maintenance: Bathroom door handle missing

# A Block

# Common Area

No Violations Noted

# Slop Sink Room

No Violations Noted

# Cells

105 CMR 451.353	Interior Maintenance: Top of chair missing in cell # 501, 519, and 556

105 CMR 451.353*	Interior Maintenance: Top of chair missing in cell # 518, 523, 535, 538, 541, 549, 553, 554, and 558

105 CMR 451.353	Interior Maintenance: Desk chair damaged in cell # 550

Shower Area			Unable to Inspect Shower # 8 – In Use

105 CMR 451.123*	Maintenance: Rust on threshold of shower # 6 and 7

105 CMR 451.123	Maintenance: Rust on ceiling in shower # 6

Handicapped Shower

105 CMR 451.123*	Maintenance: Bench paint damaged

# B Block

# Common Area

No Violations Noted

# Slop Sink Room (downstairs)

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 648

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 645

105 CMR 451.353*	Interior Maintenance: Floor tiles missing in cell # 638, 644, 646, and 647

105 CMR 451.353*	Interior Maintenance: Desk chair missing in cell # 638 and 642

Counselor’s Office (upstairs)

Unable to Inspect – Not Used

Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 3, 4, 5, 6, and 8

105 CMR 451.123	Maintenance: Soap scum on floors in shower # 3 and 4

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 3, 4, 5, and 6

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 7 and 8

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 7, 8, and 9

Handicapped Shower

No Violations Noted

# C & D Control

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

# Control Bathroom

No Violations Noted

# C Block

# Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling tile water stained

# Slop Sink Room

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 723

105 CMR 451.353*	Interior Maintenance: Screen damaged in cell # 709

105 CMR 451.353	Interior Maintenance: Desk chair missing in cell # 719

105 CMR 451.353*	Interior Maintenance: Desk chair missing in cell # 749 and 752

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 730

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 731, 734, 735, 741, and 749

# Shower Area

105 CMR 451.123	Maintenance: Ceiling damaged above shower # 3 and 4

Handicapped Shower

No Violations Noted

# D Block

# Common Area

105 CMR 451.360	Protective Measures: Birds observed in block

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in common area in front of cell # 829 and 830

# Slop Sink Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, left faucet handle damaged

# Cells	Unable to Inspect Cells # 801 - 807 – Under Construction

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 815, 827, 828, 829, 838, 842, 844, 845, 848, 856, and 860

105 CMR 451.353*	Interior Maintenance: Floor tiles missing in cell # 823, 849, and 855

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 847

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 837 and 841

# Shower Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 1 and 3 leaking

105 CMR 451.123*	Maintenance: Wall damaged above shower head in shower # 9

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 9

Handicapped Shower

No Violations Noted

# PROGRAM BUILDING (K)

# Lower Programs

# Chapel # 1009A

Unable to Inspect – In Use

# Mop Closet # 1005

No Violations Noted

# Clergy # 1006

No Violations Noted

# Clergy # 1007

No Violations Noted

Clergy # 1008

No Violations Noted

Inmate Bathroom # 1004

No Violations Noted

Classrooms

No Violations Noted

Offices

No Violations Noted

# Exterior Hallway Door

No Violations Noted

Teacher’s Break Room # 1014

No Violations Noted

Male Staff Bathroom # 1015

No Violations Noted

# Female Staff Bathroom # 1016

105 CMR 451.123	Maintenance: Wall tiles missing behind toilet

Teacher’s Room # 1025

No Violations Noted

Classroom # 7

No Violations Noted

# Library

No Violations Noted

# Upper Programs

# Bathroom # 1277

No Violations Noted

Slop Sink # 1278

No Violations Noted

# Male Staff Bathroom # 2024

105 CMR 451.123	Maintenance: Ceiling tiles water stained

# Female Staff Bathroom # 2025

No Violations Noted

# Conference Room # 2036

No Violations Noted

Offices

No Violations Noted

Storage Closet # 2037

Unable to Inspect – Locked

# Vocational Education Building

# First Floor

# Laundry

No Violations Noted

K9 Room

Unable to Inspect – Locked

Sewing Room

No Violations Noted

Storage Room

No Violations Noted

# Slop Sink

No Violations Noted

Storage Closet (outside Laundry)

No Violations Noted

Voke 1

Officer’s Station

No Violations Noted

Common Area

No Violations Noted

Voke 1 Bathroom/Showers

105 CMR 451.123	Maintenance: Floor damaged in shower # 4 and 5

105 CMR 451.123*	Maintenance: Floor damaged in shower # 3

105 CMR 451.123	Maintenance: Baseboard damaged in shower # 1, 3, 4, 5, and 6

105 CMR 451.123	Maintenance: Grout dirty in shower # 2, 3, and 6

105 CMR 451.123	Maintenance: Wall damaged above urinals

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, push button shroud missing

in shower # 5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 3 leaking

Sleeping Area

No Violations Noted

# Voke 2

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

Offices

No Violations Noted

Common Area

No Violations Noted

Sleeping Area

105 CMR 451.103	Mattresses: Mattress damaged on bed # 8

Kitchenette # 0930

No Violations Noted

Chemical Storage Cabinet

No Violations Noted

# Voke 2 Bathroom/Showers

105 CMR 451.123*	Maintenance: Grout missing between wall tiles in shower # 8

105 CMR 451.123*	Maintenance: Floor damaged under toilet fixture # 5

105 CMR 451.123	Maintenance: Black substance on stainless steel pipes behind toilet # 3, 4, and 5

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1000F at handwash sink # L3

105 CMR 451.123	Maintenance: Baseboard damaged in shower # 1, 2, 3, 4, 5, 6, and 7

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2, 6, and 7 leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # L5 and R1 leaking

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 6, 7, and 8

Voke Hallway

Inmate Bathroom

Unable to Inspect – In Use

# Warehouse # 0911

No Violations Noted

Barber Shop

No Violations Noted

Storage Room

No Violations Noted

Ice Machine

No Violations Noted

Staff Bathroom (outside Voke 3)

Unable to Inspect – Under Construction

Storage Closet (outside Voke 3)

Unable to Inspect – Under Construction

# Voke 3

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

# Common Area

No Violations Noted

Officer’s Station

No Violations Noted

# Voke 3 Bathroom/Showers

105 CMR 451.123	Maintenance: Wall damaged in toilet stall # 4

105 CMR 451.123	Maintenance: Missing tiles in shower # 8

105 CMR 451.360	Protective Measures: Flies observed

Sleeping Area

105 CMR 451.353*	Interior Maintenance: Wall damaged above bed # 29

# Second Floor

Office # 2002

Unable to Inspect – In Use

# M.A.P. Offices

No Violations Noted

Slop Cabinet

No Violations Noted

# M.A.P. Area

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling tiles missing

# Hallway

No Violations Noted

Counselor’s Office # 2003

No Violations Noted

Exam Room

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Inmate Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1030F

Laundry Room # 2004

No Violations Noted

# Staff Bathroom # 2005

No Violations Noted

Slop Sink Room # 2006

No Violations Noted

# Group Room # 2008

Unable to Inspect – In Use

Voke 4

Sleeping Area

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

Shower Area

105 CMR 451.123	Maintenance: Ceiling vents rusted

105 CMR 451.123	Maintenance: Grout dirty in shower # 1 and 5

105 CMR 451.123*	Maintenance: Grout dirty in shower # 6

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 4 and 5

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 3, 4, and 5

Kitchenette

No Violations Noted

Toilet Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 1, 7, and 8 leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water control not working on handwash sink # 7

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink # 2 leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, piping under handwash sink # 2 leaking

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, missing push water control at handwash sink # 6

105 CMR 451.123	Maintenance: Wall damaged near toilet stall # 6

Common Area

105 CMR 451.353*	Interior Maintenance: Floor damaged outside of shower area

Medical Office

No Violations Noted

Captain’s Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, microwave out-of-order

Janitor’s Closet

No Violations Noted

# 120 Building (F)

# Entryway

No Violations Noted

# A & B Control

105 CMR 451.123	Maintenance: Bathroom door handle missing

# Control Bathroom

No Violations Noted

# A Block (Segregation Unit)

# Common Area

No Violations Noted

# Slop Sink Room

No Violations Noted

# Cells

105 CMR 451.353*	Interior Maintenance: Low light setting for light fixture not working in cell # 122

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 149

Shower Area

105 CMR 451.123	Maintenance: Shower # 9 out-of-order

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 4

105 CMR 451.123	Maintenance: Walls dirty in shower # 2, 3, and 8

105 CMR 451.123	Maintenance: Soap scum on floors in shower # 6

105 CMR 451.123	Maintenance: Drain flies observed in handicapped shower

Counselor Room

Unable to Inspect – Not Used

# B Block

# Common Area

No Violations Noted

# Slop Sink Room

No Violations Noted

Counselor’s Room

Unable to Inspect – Not Used

# Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 252

Shower Area

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 6, 7, 8, and 10

105 CMR 451.123	Maintenance: Drain flies observed in shower # 2, 6, 8, and 9

Handicapped Shower

No Violations Noted

# 60 Building (G)

105 CMR 451.350*	Structural Maintenance: Exterior walls of building damaged

105 CMR 451.119	Bathing Facilities: Inadequate number of showers per inmate population

# Control

No Violations Noted

# Control Bathroom

No Violations Noted

# Cell Block

No Violations Noted

# Common Area

105 CMR 451.350*	Structural Maintenance: Metal floor support of second floor landing rusted near showers

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged outside of showers on second floor

105 CMR 451.128	Ice: Unsanitary ice storage and handling conditions

# Slop Sink Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing

105 CMR 451.353*	Interior Maintenance: Door frame damaged

105 CMR 451.360	Protective Measures: Drain flies observed

# Cells

105 CMR 451.353	Interior Maintenance: Floor tile damaged in cell # 322 and 342

105 CMR 451.353*	Interior Maintenance: Floor tile damaged in cell # 310, 320, 344, 350, 356, and 357

105 CMR 451.353	Interior Maintenance: Floor tile missing in cell # 335 and 354

# Lower Shower Area

105 CMR 451.123*	Maintenance: Rust on floor near threshold of shower # 1

Handicapped Shower

No Violations Noted

Upper Shower Area

Unable to Inspect – Under Construction

# 80 Building (H)

# Lower 80 – First Floor

Unable to Inspect – Under Construction

Upper 80 – Second Floor

# Control

No Violations Noted

Control Bathroom

No Violations Noted

# Common Area

No Violations Noted

Offices

No Violations Noted

# Storage Room

No Violations Noted

# Inmate Bathroom

105 CMR 451.123	Maintenance: Wall damaged in shower # 1 and 5

105 CMR 451.123	Maintenance: Curtain dirty in shower # 1 – 7

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2, 5, and 6

105 CMR 451.123	Maintenance: Wall paint damaged in toilet stall # 1

# Staff Bathroom

# No Violations Noted

Storage Room

Unable to Inspect – Locked

# Slop Sink Room (near bathroom)

105 CMR 451.353	Interior Maintenance: Floor tiles missing

# Dorm Rooms

105 CMR 451.322	Cell Size: Inadequate floor space in all dorm rooms

# Dorm Room # 411

No Violations Noted

# Dorm Room # 412

No Violations Noted

# Dorm Room # 413

No Violations Noted

# Dorm Room # 414

No Violations Noted

# Dorm Room # 415

No Violations Noted

# Dorm Room # 416

No Violations Noted

# Dorm Room # 417

No Violations Noted

# Dorm Room # 418

No Violations Noted

# Dorm Room # 419

No Violations Noted

# Dorm Room # 420

No Violations Noted

# Gym Building (I)

105 CMR 451.353	Interior Maintenance: Upholstery damaged on desk chair

105 CMR 451.119	Bathing Facilities: Inadequate number of showers per inmate population

# Captain’s Office

No Violations Noted

# Gym

No Violations Noted

# Weight Area

No Violations Noted

Shower Room

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Wall damaged in shower # 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 3 out-of-order

# Inmate Bathroom

105 CMR 451.123*	Maintenance: Wall damaged near handwash sink # 1

Storage Room/Officer’s Bathroom

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

# Outside the Fence

# Warehouse

No Violations Noted

Exterior Door

No Violations Noted

# Bathroom # 1003

No Violations Noted

# Slop Sink Room # 1004

No Violations Noted

Garage

# Bathroom # 1007

No Violations Noted

# Office

No Violations Noted

Chemical Storage

No Violations Noted

Intake Building

X-Ray Machines/Entrance

No Violations Noted

Intake Area

Officer Breakroom

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator out-of-order

Changing Rooms # 1 – 6

No Violations Noted

Staff Bathrooms (2)

No Violations Noted

Custodial Closet

No Violations Noted

Holding Cells # 1 – 7

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty in holding cell # 1

Bail Commissioner’s Office

No Violations Noted

Booking Area

No Violations Noted

Medical Screening

105 CMR 451.126	Hot Water: Hot water temperature recorded at 900F

Handicapped Bathroom

No Violations Noted

Handicapped Shower

No Violations Noted

Shower # 1

No Violations Noted

Shower # 2

No Violations Noted

Records

No Violations Noted

Female Bathroom (within Records)

No Violations Noted

Property Room

No Violations Noted

Inmate Bathroom

No Violations Noted

Main Entrance

Transport Office

No Violations Noted

Lobby

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Observations and Recommendations

- The inmate population was 1004 at the time of inspection.

- During the kitchen inspection the CSP observed:

  - Date marking discrepancies on refrigerated time/temperature control for safety food prepared on site. To ensure all time/temperature control for safety foods are consumed or discarded within the time frames stated in FC 3-501.17, the CSP recommended all staff be re-trained on the facility’s date marking procedures; and

  - Excessive condensation on the lids of time/temperature control for safety foods prepared on site. CSP discussed proper cooling techniques and recommended staff develop procedures to ensure time/temperature control for safety foods are cooled within the allotted time frame stated in

FC 3-501.14 Cooling.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Shanene Pierce											Environmental Health Inspector, CSP, BEH