

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

180 Beaman Street, West Boylston, MA 01583

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

Phone: 508-792-7880 Fax: 508-792-7706

TTY: 508-835-9796

|  |
| --- |
| CHARLES D. BAKER  Governor  KARYN E. POLITO  Lieutenant Governor |

November 14, 2017

Kevin F. Coppinger, Sheriff

Essex County Sheriff's Department Headquarters

20 Manning Avenue

Middleton, MA 01949

Re: Facility Inspection – Essex County Correctional Facility, Middleton

Dear Sheriff Coppinger:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; 105 CMR 520.000 Labeling; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Essex County Correctional Facility on November 2 and 3, 2017 accompanied by Lieutenant Peter Lundy, EHSO. Violations noted during the inspection are listed below including 112 repeat violations:

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

**Administration Building**

**Front Lobby**

No Violations Noted

*Female Bathroom # 1002*

105 CMR 451.126\* Hot Water: Hot water temperature recorded at 800F at handwash sink

105 CMR 451.110(A) Hygiene Supplies at Toilet and Handwash Sink: No toilet paper in bathroom

*Male Bathroom # 1003*

No Violations Noted

*Officer’s Room*

No Violations Noted

**Hallway to 2nd Floor**

*Canteen Office*

No Violations Noted

**Second Floor**

**Administration Area**

*Female Bathroom # 2002*

No Violations Noted

*Male Bathroom # 2003*

No Violations Noted

*Kitchenette # 2011*

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, sink dirty

*Payroll Office # 2007*

No Violations Noted

*Bathroom # 2012*

No Violations Noted

*Slop Sink # 2018*

105 CMR 451.353 Interior Maintenance: Food debris left in slop sink

**First Floor**

**Administration Hallway**

*Storage Room # 1007*

No Violations Noted

*Training 1 # 1008*

Unable to Inspect – In Use

*Training 2 # 1009*

No Violations Noted

*Female Staff Bathroom # 1013*

No Violations Noted

*Male Staff Bathroom # 1014*

No Violations Noted

*Training # 1015*

Unable to Inspect – In Use

*Storage Room # 1016*

Unable to Inspect – Locked

*Mop/Hot Water Heater Room # 1017*

No Violations Noted

*Weight Room # 1018*

105 CMR 451.353 Interior Maintenance: Equipment padding damaged

*Male Staff Locker Room # 1030*

105 CMR 451.126 Water Supply: No hot or cold water supplied to handwash sink # 1

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, water leaking from cold water handle on handwash sink # 2

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, handwash sink not draining properly at sink # 2

*Female Staff Locker Room # 1031*

No Violations Noted

**Central Control**

No Violations Noted

*Control Bathroom # 1004*

No Violations Noted

*Urine Room # 1005*

No Violations Noted

**Records/I.T./Visits Area**

*Visitor Entrance Area*

105 CMR 451.350\* Structural Maintenance: Entrance not rodent and weathertight

**Visitor Area**

105 CMR 451.353 Interior Maintenance: Wall left unfinished near bathroom # 64

*Bathroom # 64*

105 CMR 451.110(A) Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

*Storage Room*

Unable to Inspect – Locked

*Office # 1001A*

Unable to Inspect – Locked

*Storage Room # 1001B*

Unable to Inspect – Locked

**Roll Call Room**

*Room # 1001C*

No Violations Noted

*Muster Room*

No Violations Noted

*Male Bathroom # 1169*

No Violations Noted

*Female Bathroom # 1168*

No Violations Noted

**Records Hallway**

*I.T. Offices # 104*

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

*Bail Office/Storage # 1009*

No Violations Noted

*Male Staff Bathroom # 1010*

No Violations Noted

*Records Office # 1011*

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with 105 CMR 590.000, thermometer broken in refrigerator

*Female Staff Bathroom # 1012*

105 CMR 451.126 Water Supply: No cold water supplied to handwash sink

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, cold water handle broken

*Storage Room # 1013*

105 CMR 451.353\* Interior Maintenance: Wall left unfinished

105 CMR 451.353\* Interior Maintenance: Floor dirty

*Shift Commander’s Office*

105 CMR 451.200\* Food Storage, Preparation and Service: Food storage not in compliance with 105 CMR 590.000, excessive ice buildup in freezer

105 CMR 451.141 Screens: Screen damaged

*Office # 1015*

Unable to Inspect – Locked

**Female Holding Unit Hallway # 1016**

*Lawyer Interview Room # 1033*

No Violations Noted

*Lawyer Interview Room # 1032*

No Violations Noted

**New Interview Room Hallway**

No Violations Noted

*Visitor’s Tubes*

No Violations Noted

*Storage Closet # 1045*

Unable to Inspect – Locked

*Storage Closet # 1045 and 1046*

No Violations Noted

*Visitor’s Room # 1047*

No Violations Noted

*Video Conference Rooms (2)*

No Violations Noted

*Staff Dining # 1041*

105 CMR 451.200\* Food Storage, Preparation and Service: Food service not in compliance with 105 CMR 590.000, ceiling tiles water stained

105 CMR 451.200\* Food Storage, Preparation and Service: Food service not in compliance with 105 CMR 590.000, ceiling tiles missing

105 CMR 451.110(A)\* Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)\* Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

**Female Holding Unit # 1022 – Unoccupied**

*Common Area*

No Violations Noted

*Medical Office*

No Violations Noted

*Holding Tanks # 1-4*

105 CMR 451.320\* Cell Size: Inadequate floor space in cell # 4

*Shower Area*

105 CMR 451.123\* Maintenance: Floor paint damaged

*Safe Keep Room*

105 CMR 451.353\* Interior Maintenance: Bed surfaces rusted and dirty

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty

105 CMR 451.123 Maintenance: Floor dirty around toilet

*Sleeping Area*

No Violations Noted

*Storage Room*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

*Closet*

No Violations Noted

**Food Service Area**

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, floor surface damaged throughout food service area

*Mechanical Tray Warewash Area*

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, baseboard damaged throughout warewashing area

FC 6-501.11 Maintenance and Operation; Repairing: Facility not in good repair, wall covering damaged around tables behind warewash machine

FC 6-501.11 Maintenance and Operation; Repairing: Facility not in good repair, wood behind wall covering water damaged

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

FC 6-403.11(B) Location and Placement; Employee Accommodations: No locker room area designated for employees, inmate boots left under table

*3-Bay Sink and Small Warewash Machine*

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, baseboard damaged

FC 5-205.15(B)\* Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, hot water handle missing on single bay sink

FC 5-205.15(B) Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, floor drain clogged

*Spray Room*

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, light shield damaged

*Walk-In Refrigerator # 1*

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty under storage platforms

*Freezer # 2*

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

*Walk-In Cooler # 3*

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, wall paint damaged

*Handwash Sink*

No Violations Noted

*2-Bay Sink*

FC 5-203.14 Plumbing System, Design: No backflow prevention device on 2-bay sink

FC 5-205.15(B) Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, 2-bay sink leaking

*Food Preparation and Baking Area*

No Violations Noted

*Pull Cage*

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not cleaned properly, spilled oats observed on storage shelf

*Kettle Hood Area*

No Violations Noted

*Oven Hood Area*

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, floor and baseboard damaged throughout area

*Front Hoods and Tray Prep Area*

No Violations Noted

*Serving Line*

No Violations Noted

*Aramark Office*

No Violations Noted

*Officer’s Room*

No Violations Noted

*Aramark Training Room # 1024*

No Violations Noted

**Hallway**

No Violations Noted

*Utensil Storage Room*

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged behind storage rack

*Inmate Break Room*

FC 6-501.11 Maintenance and Operation; Repairing: Facility not in good repair, counter top damaged

*Old Slop Sink Closet*

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

*Slop Sink Room*

FC 6-501.16 Maintenance and Operation; Cleaning: Wet mop stored in bucket

*Loading Dock*

FC 6-202.15(A)(3) Design, Construction, and Installation; Functionality: Outer door not weather and vermin tight

*Outside Freezer*

No Violations Noted

*Archive File Room # 1025*

Unable to Inspect - Locked

*Staff Locker Room and Mop Closet # 1026*

No Violations Noted

*Female Staff Bathroom # 1199*

No Violations Noted

*Male Staff Bathroom # 1200*

No Violations Noted

*Laundry Room # 1027*

No Violations Noted

*Back Storage*

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty on right side of storage area

*Back Cage*

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged

*Refrigerator # 4*

No Violations Noted

*Inmate Bathroom #1029*

105 CMR 451.123\* Maintenance: Floor surface cracked

105 CMR 451.110(B) Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

*Inmate Dining Room*

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, top of radiators rusted

FC 6-202.15(A)(3)\* Design, Construction, and Installation; Functionality: Outer door not weather and vermin tight

FC 6-501.111(B) Maintenance and Operations; Pest Control: Bird observed

**Health Services Unit (H.S.U.)**

*Entrance*

No Violations Noted

*Inmate Bathroom # 2002*

No Violations Noted

*Waiting Lobby*

105 CMR 451.353 Interior Maintenance: Floor dirty around perimeter of lobby

*Nurse’s Office # 2003*

No Violations Noted

*I1-Isolation Room # 2005*

105 CMR 451.353\* Interior Maintenance: Floor tiles damaged

105 CMR 451.353\* Interior Maintenance: Wall louver damaged

*I2-Isolation Room # 2006*

No Violations Noted

*Exam Room # 2041*

Unable to Inspect – In Use

*Interview Room # 2040*

No Violations Noted

*Common Area*

No Violations Noted

*Nurse’s Desk*

No Violations Noted

*Waiting Room # 2007*

105 CMR 451.353 Interior Maintenance: Section of baseboard missing

105 CMR 451.353 Interior Maintenance: Walls dirty

*Janitor’s Closet # 2008*

105 CMR 451.353\* Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353\* Interior Maintenance: Standing water left in bucket

105 CMR 451.353 Interior Maintenance: Slop sink dirty

*R1 (# 2009)*

105 CMR 451.353 Interior Maintenance: Floor paint damaged

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked with toilet paper

*R2 (# 2010)*

105 CMR 451.353 Interior Maintenance: Walls dirty

*R3 (# 2011)*

105 CMR 451.117 Toilet Fixtures: Toilet fixture dirty

105 CMR 451.353 Interior Maintenance: Wall covering damaged near window

*R4 (# 2012)*

No Violations Noted

*R5 (# 2014)*

105 CMR 451.322 Cell Size: Inadequate floor space in dorm room

*R6 (# 2015)*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm room

105 CMR 451.353\* Interior Maintenance: Wall covering damaged

*Storage # 2016*

Unable to Inspect – Locked

*Inmate Shower # 2017*

105 CMR 451.130 Hot Water: Shower water temperature recorded at 1200F

105 CMR 451.123 Maintenance: Ceiling dirty above shower

105 CMR 451.123 Maintenance: Ceiling vent dusty

*Conference Room # 2018*

No Violations Noted

*Staff Bathroom # 2019*

No Violations Noted

**Back Hallway**

*Staff Break Room # 2022*

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

*Office # 2021*

No Violations Noted

*Office # 2023*

No Violations Noted

*Female Staff Bathroom*

105 CMR 451.123 Maintenance: Ceiling vent dusty

*HAS Office*

105 CMR 480.400(C) Shipping Papers: Generator was not maintaining copy of shipping papers with record-keeping log for at least 375 days, missing shipping papers

105 CMR 480.500(B)(2) Procedures; Records; Record-Keeping Log: Generator did not maintain a record-keeping log for waste sent off-site for treatment, incomplete record-keeping log

*Hallway Sink*

No Violations Noted

*Dialysis Room # 2037*

105 CMR 451.126 Hot Water: Hot water temperature recorded at 600F

*Storage Room # 2038*

No Violations Noted

*Offices*

No Violations Noted

*Dentist Room # 2029*

No Violations Noted

*Medical Waste Storage Room*

No Violations Noted

*Medicine Room # 2035*

No Violations Noted

*X-Ray Room # 2030*

No Violations Noted

*Dark Room # 2031*

Unable to Inspect – No Longer In Use

*Urine Lab Room # 2032*

No Violations Noted

*Exam Room # 2033*

No Violations Noted

*Diabetic Room # 2034*

No Violations Noted

**240 BUILDING (J)**

**A & B Control**

105 CMR 451.353 Interior Maintenance: Ceiling tiles water stained

*Control Bathroom*

105 CMR 451.123 Maintenance: Ceiling tile not secured to ceiling

**A Block**

*Common Area*

105 CMR 451.353\* Interior Maintenance: Wall paint damaged near telephones on 1st and 2nd floor

105 CMR 451.353 Interior Maintenance: Walls dirty around ice machine

*Slop Sink Room*

No Violations Noted

*Cells*

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # 528, 533, 538, and 549

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 509, 527, and 541

105 CMR 451.103 Mattresses: Mattress damaged in cell # 555

105 CMR 451.141 Screens: Screen damaged in cell # 530

*Shower Area*

105 CMR 451.123\* Maintenance: Water pooling outside of all showers

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 1, 2, 3, 4, 5, 7, 8, and 9

105 CMR 451.123 Maintenance: Soap scum on floor in shower # 1, 2, 4, 5, 7, and 9

*Handicapped Shower*

105 CMR 451.123 Maintenance: Floor dirty

**B Block**

*Common Area*

105 CMR 451.200 Food Storage, Preparation and Service: Food service not in compliance with 105 CMR 590.000, ice machine cover damaged

105 CMR 451.200 Food Storage, Preparation and Service: Food service not in compliance with 105 CMR 590.000, exterior of ice machine rusted

105 CMR 451.353 Interior Maintenance: Ceiling water stained above cell # 660

*Slop Sink Room (downstairs)*

No Violations Noted

*Cells*

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 602, 613, 651, 654, and 655

105 CMR 451.353\* Interior Maintenance: Wall damaged near bed in cell # 630

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # 658

105 CMR 451.353 Interior Maintenance: Door paint damaged in cell # 602, 603, and 617

*Counselor’s Office (upstairs)*

Unable to Inspect – No Longer In Use

*Shower Area*

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 1-9

105 CMR 451.123 Maintenance: Soap scum on floor in shower # 1-9

*Handicapped Shower*

105 CMR 451.123 Maintenance: Floor dirty

105 CMR 451.123 Maintenance: Debris in floor drain

**C & D Control**

No Violations Noted

*Control Bathroom*

No Violations Noted

**C Block**

*Common Area*

No Violations Noted

*Slop Sink Room*

105 CMR 451.353\* Interior Maintenance: Wet mop stored upside down

*Cells*

105 CMR 451.353 Interior Maintenance: Floor tiles missing in cell # 753

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # 737, 741, and 751

105 CMR 451.353 Interior Maintenance: Door paint damaged in cell # 731, 733, 737, and 741

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 704, 708, 721, 725, and 731

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, water continually running in cell # 747

105 CMR 451.141 Screens: Screen damaged in cell # 741, 743, and 745

105 CMR 451.103 Mattresses: Mattress damaged in cell # 751

*Shower Area* Unable to Inspect Shower # 1, 3, and 7 – In Use

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 2 and 5

105 CMR 451.123 Maintenance: Ceiling cracked between shower # 3 and 4

*Handicapped Shower*

Unable to Inspect – No Longer In Use

**D Block**

*Common Area*

No Violations Noted

*Slop Sink Room*

No Violations Noted

*Cells*

105 CMR 451.353\* Interior Maintenance: Top of desk chair missing in cell # 825

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, water continually running in cell # 810 and 816

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # 813, 818, 820, 841, 844, 845, and 860

105 CMR 451.353 Interior Maintenance: Door paint damaged in cell # 808, 810, 811, 831, 833, 840, and 848

*Shower Area*

No Violations Noted

*Handicapped Shower*

No Violations Noted

**PROGRAM BUILDING (K)**

**Lower Programs**

*Chapel # 1009A*

Unable to Inspect – In Use

*Hot Water Heater Room # 1005*

No Violations Noted

*Clergy # 1006*

No Violations Noted

*Clergy # 1007*

No Violations Noted

*Clergy # 1008*

No Violations Noted

*Inmate Bathroom*

No Violations Noted

*Classrooms*

No Violations Noted

*Offices*

No Violations Noted

*Exterior Hallway Door*

No Violations Noted

*Teacher’s Break Room* ***#*** *1014*

No Violations Noted

*Male Staff Bathroom # 1015*

105 CMR 451.126 Hot Water: Hot water temperature recorded at 1000F

105 CMR 451.123 Maintenance: Ceiling vent dusty

*Female Staff Bathroom # 1016*

No Violations Noted

*Teacher’s Room # 1025*

No Violations Noted

*Library*

No Violations Noted

**Upper Programs**

*Bathroom # 1277*

Unable to Inspect – Locked

*Slop Sink # 1278*

No Violations Noted

*Male Staff Bathroom # 2024*

No Violations Noted

*Female Staff Bathroom # 2025*

105 CMR 451.126 Water Supply: No cold water supplied to handwash sink

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, cold water handle not functioning

*Conference Room # 2036*

No Violations Noted

*Offices*

105 CMR 451.353\* Interior Maintenance: Ceiling tiles water stained in office # 2012 and 2028

105 CMR 451.200\* Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty in office # 2022

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with 105 CMR 590.000, no functioning thermometer in refrigerator in office # 2008, 2022, 2034, and 2044

*Storage Closet # 2037*

Unable to Inspect – Locked

**Vocational Education Building**

**First Floor**

*Laundry*

105 CMR 451.350\* Structural Maintenance: Doorway not rodent and weathertight

*K9 Room*

Unable to Inspect – Locked

*Storage Room*

No Violations Noted

*Slop Sink*

105 CMR 451.130\* Plumbing: No backflow preventer on slop sink

*Storage Closet (outside Laundry)*

105 CMR 451.353 Interior Maintenance: Unlabeled chemical bottle

**Voke 1**

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm room

*Common Area*

No Violations Noted

*Voke 1 Bathroom/Showers*

105 CMR 451.114 Shared Toilet and Handwashing Facilities: Inadequate number of handwash sinks per inmate population, 5 handwash sinks for 77 inmates

105 CMR 451.123\* Maintenance: Floor surface damaged in front of urinals

105 CMR 451.123 Maintenance: Handwash sink # 6 not draining properly

105 CMR 451.123 Maintenance: Handwash sink # 3 dirty

105 CMR 451.123 Maintenance: Mold observed on shower curtain in shower # 2, 4, and 6

*Sleeping Area*

No Violations Noted

**Voke 2 – Male Detox Unit**

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm room

*Office # 0927/0928*

105 CMR 451.353 Interior Maintenance: Floor tiles damaged in office # 0927

*Utility Closet # 0926*

No Violations Noted

*Common Area*

105 CMR 451.353 Interior Maintenance: Section of baseboard missing near window

105 CMR 451.141 Screens: Screen damaged

*Sleeping Area*

No Violations Noted

*Kitchenette # 0930*

105 CMR 451.110(A) Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(A) Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

*Med Room*

No Violations Noted

*Chemical Storage Cabinet*

105 CMR 451.353 Interior Maintenance: Unlabeled chemical bottle

*Voke 2 Bathroom/Showers*

105 CMR 451.123\* Maintenance: Tile grout dirty in shower # 8

105 CMR 451.123 Maintenance: Baseboard epoxy damaged in shower # 4

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 2, 7, and 8

105 CMR 451.123 Maintenance: Floor dirty in shower # 2, 4, 5, 6, 7, and 8

105 CMR 451.123\* Maintenance: Shower curtains dirty in shower # 4

105 CMR 451.123 Maintenance: Floor dirty in toilet stall # 5

**Voke Hallway**

*Warehouse # 0911*

Unable to Inspect – Locked

*New Barber Shop*

No Violations Noted

*Staff Bathroom (outside Voke 3)*

No Violations Noted

*Storage Closet (outside Voke 3)*

105 CMR 451.353 Interior Maintenance: Strong odor present in storage closet

**Voke 3**

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm room

*Common Area*

No Violations Noted

*Officer’s Station*

105 CMR 451.200\* Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

*Voke 3 Bathroom/Showers*

Unable to Inspect Bathroom/Showers – In Use

*Sleeping Area*

No Violations Noted

**Second Floor**

*Office # 2002*

Unable to Inspect – Locked

*Classroom # 2011*

No Violations Noted

*Classroom # 2010*

No Violations Noted

*Print Shop # 2009*

No Violations Noted

*Hallway*

No Violations Noted

*Counselor’s Office # 2003*

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with 105 CMR 590.000, refrigerator temperature recorded at 50°F

*Staff Bathroom # 2005*

No Violations Noted

*Slop Sink Room # 2006*

No Violations Noted

*Group Room # 2008*

No Violations Noted

**Voke 4 – Female Detox Unit**

*Shower Area*

105 CMR 451.123\* Maintenance: Floor drain damaged in shower # L5

105 CMR 451.123 Maintenance: Soap scum observed on curtain in shower # R1

105 CMR 451.123 Maintenance: Pooling water observed in front of all showers

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, shower # L2 continually running

*Kitchenette*

No Violations Noted

*Toilet Room*

No Violations Noted

*Common Area*

No Violations Noted

*Medical Office*

105 CMR 451.126 Hot Water: Hot water temperature recorded at 980F

*Councilor’s Office*

No Violations Noted

*Janitor’s Closet*

105 CMR 451.353 Interior Maintenance: Unlabeled chemical bottle

*Storage Closet*

No Violations Noted

**120 Building (F)**

**Entryway**

No Violations Noted

**A & B Control**

105 CMR 451.353\* Interior Maintenance: Ceiling tiles water stained

*Control Bathroom*

No Violations Noted

**A Block (Segregation Unit)**

*Common Area*

105 CMR 451.353\* Interior Maintenance: Ceiling tiles water stained

*Slop Sink Room*

105 CMR 451.353 Interior Maintenance: Unlabeled chemical bottle

*Cells*

105 CMR 451.353\* Interior Maintenance: Wall paint damaged in cell # 105, 129, and 157

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # 103, 106, 111, 112, 114, 120, 124, 125, 131, 132, 141, 144, and 153

105 CMR 451.353 Interior Maintenance: Ceiling paint damaged in cell # 156

105 CMR 451.353 Interior Maintenance: Ceiling dirty outside cell # 102, 114, and 127

105 CMR 451.353 Interior Maintenance: Door paint damaged in cell # 123, 124, 125, 126, and 128

105 CMR 451.140\* Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 102, 118, and 122

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 107, 114, 120, 123, 124, 126, 131, 149, and 153

105 CMR 451.141 Screens: Screen damaged in cell # 106, 112, 114, 119, 131, 135, 137, 139, and 141

105 CMR 451.353 Interior Maintenance: Top of chair seat missing in cell # 146 and 155

105 CMR 451.353 Interior Maintenance: Desk chair missing in cell # 141, 145, and 158

105 CMR 451.353\* Interior Maintenance: Desk damaged in cell # 145

105 CMR 451.353 Interior Maintenance: Bed surface rusted in cell # 111

105 CMR 451.103 Mattresses: Mattress damaged in cell # 101 and 152

*Shower Area* Unable to Inspect Shower # 7 and 8 – In Use

105 CMR 451.123 Maintenance: Pooling water outside shower # 1, 2, 4, 5, and 9

105 CMR 451.123 Maintenance: Floor dirty outside shower # 9

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 6

**B Block**

*Common Area*

105 CMR 451.353\* Interior Maintenance: Ceiling tiles water stained throughout block

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, microwave out-of-order

105 CMR 451.200 Food Storage, Preparation and Service: Food service not in compliance with 105 CMR 590.000, ice machine cover damaged

*Slop Sink Room*

105 CMR 451.353\* Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, no hot water supplied to slop sink

*Cells*

105 CMR 451.353\* Interior Maintenance: Floor tiles missing in cell # 211, 213, 218, 219, 233, 236, 237, 238, 239, 240, 241, 242, 243, 245, 246, 249, 250, 251, 254, 256, and 257

105 CMR 451.353 Interior Maintenance: Floor tiles missing in cell # 214, 215, 217, 220, 221, 223, and 232

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 207, 226, 227, 236, 237, 239, 241, and 245

105 CMR 451.103 Mattresses: Mattress damaged in cell # 211, 253, and 257

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # 207, 213, 214, 219, 223, and 245

105 CMR 451.353 Interior Maintenance: Door paint damaged in cell # 201, 203, 204, 206, 208, 210, 216, 220, 223, 232, 236, 237, 239, 248, and 260

*Shower Area*

105 CMR 451.123 Maintenance: Floor dirty in shower # 3 and 4

105 CMR 451.123 Maintenance: Floor dirty outside shower # 1

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 4 and 6

105 CMR 451.123 Maintenance: Light shield cracked in shower # 3, 4, and 5

*Handicapped Shower*

Unable to Inspect – No Longer In Use

**60 Building (G)**

**Control**

No Violations Noted

*Control Bathroom*

No Violations Noted

**Cell Block**

*Common Area*

No Violations Noted

*Slop Sink Room*

105 CMR 451.353 Interior Maintenance: Unlabeled chemical bottle

*Cells*

105 CMR 451.353\* Interior Maintenance: Wall paint damaged in cell # 336 and 357

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # 307, 323, 329, and 337

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 305, 310, 329, and 336

105 CMR 451.353 Interior Maintenance: Floor tile damaged in cell # 340

105 CMR 451.102 Pillows and Linens: Linens damaged in cell # 311

*Lower Shower Area*

105 CMR 451.123 Maintenance: Soap scum on floor in shower # 3

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 3

105 CMR 451.123\* Maintenance: Main drain outside showers dirty

105 CMR 451.123 Maintenance: Floor dirty and rust stained outside shower # 1

*Handicapped Shower*

No Violations Noted

*Upper Shower Area*

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 5

**80 Building (H)**

**Lower 80 – First Floor**

*Control*

No Violations Noted

*Control Bathroom*

105 CMR 451.353 Interior Maintenance: Unlabeled chemical bottle

*Common Area*

105 CMR 451.353\* Interior Maintenance: Chair seats damaged

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave dirty

105 CMR 451.353 Interior Maintenance: Table around microwave dirty

*Storage Room*

105 CMR 451.353\* Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.350\* Structural Maintenance: Door leading to exterior not rodent and weathertight

*Inmate Bathroom*

105 CMR 451.123\* Maintenance: Baseboard epoxy damaged in shower # 2, 3, 5, 6, and 7

105 CMR 451.123\* Maintenance: Wall tiles damaged in shower # 7

105 CMR 451.123\* Maintenance: Wall tile grout deteriorating in shower # 4

*Slop Sink Room*

105 CMR 451.353\* Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353 Interior Maintenance: Walls dirty around slop sink

*Staff Bathroom*

No Violations Noted

*Offices*

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with 105 CMR 590.000, no functioning thermometer in refrigerator is TRAC Program Coordinator’s office

**Dorm Rooms**

105 CMR 451.322\* Cell Size: Inadequate floor space in all dorm rooms

*Dorm Room # 401*

105 CMR 451.340 Illumination: Insufficient lighting, 1 light out

*Dorm Room # 402*

No Violations Noted

*Dorm Room # 403*

105 CMR 451.353 Interior Maintenance: Door paint damaged

*Dorm Room # 404*

105 CMR 451.353 Interior Maintenance: Debris and burn marks observed around wall outlet near table

*Dorm Room # 405*

No Violations Noted

*Dorm Room # 406*

No Violations Noted

*Dorm Room # 407*

105 CMR 451.353\* Interior Maintenance: GFCI outlet cover missing

*Dorm Room # 408*

105 CMR 451.340\* Illumination: Insufficient lighting, 1 light out

*Dorm Room # 409*

No Violations Noted

*Dorm Room # 410*

No Violations Noted

*Program Director’s Office*

No Violations Noted

*80 Building Stairway*

No Violations Noted

**Upper 80 - Second Floor**

*Control*

No Violations Noted

*Control Bathroom*

105 CMR 451.110(A) Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

*Common Area*

105 CMR 451.353\* Interior Maintenance: Chair seats damaged

*Offices*

No Violations Noted

*Storage Room*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

105 CMR 451.344 Illumination in Habitable Areas: Light not functioning properly, light out

*Inmate Bathroom*

105 CMR 451.123\* Maintenance: Wall tiles cracked behind shower # 6, 7, and all toilet stalls

105 CMR 451.123 Maintenance: Wall tiles missing in toilet stall # 2 and 3

105 CMR 451.123\* Maintenance: Urinal # 1 out-of-order

105 CMR 451.123 Maintenance: Urinal # 3 out-of-order

105 CMR 451.126\* Hot Water: Hot water temperature recorded at 700F at sink # R2

105 CMR 451.123\* Maintenance: Tile grout deteriorating in shower # 1 and 7

105 CMR 451.123 Maintenance: Tile grout deteriorating in shower # 4

105 CMR 451.123\* Maintenance: Floor epoxy damaged in shower # 1

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, shower # 1 continually running

*Staff Bathroom*

No Violations Noted

*Storage Room*

No Violations Noted

*Slop Sink Room (near bathroom)*

Unable to Inspect – No Longer In Use

**Dorm Rooms**

105 CMR 451.322\* Cell Size: Inadequate floor space in all dorm rooms

*Dorm Room # 411*

No Violations Noted

*Dorm Room # 412*

No Violations Noted

*Dorm Room # 413*

No Violations Noted

*Dorm Room # 414*

No Violations Noted

*Dorm Room # 415*

No Violations Noted

*Dorm Room # 416*

No Violations Noted

*Dorm Room # 417*

No Violations Noted

*Dorm Room # 418*

105 CMR 451.353\* Interior Maintenance: Wall covering damaged near table

*Dorm Room # 419*

No Violations Noted

*Dorm Room # 420*

105 CMR 451.353 Interior Maintenance: Floor tiles missing

**Gym Building (I)**

105 CMR 451.350\* Structural Maintenance: Exterior corner of building damaged near entrance

*Captain’s Office*

No Violations Noted

*Gym*

No Violations Noted

*Weight Area*

105 CMR 451.353\* Interior Maintenance: Equipment padding damaged

*Shower Room*

No Violations Noted

*Inmate Bathroom*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, handwash sink # 1 out-of-order

*Storage Room/Officer’s Bathroom*

105 CMR 451.123\* Maintenance: Floor paint damaged

**Outside the Fence**

**Warehouse**

No Violations Noted

*Exterior Door*

No Violations Noted

*Bathroom # 1003*

105 CMR 451.123 Maintenance: Wall damaged to the right of handwash sink

*Slop Sink Room # 1004*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

**Garage**

105 CMR 451.350 Structural Maintenance: Right exterior corner of building damaged

*Bathroom # 1007*

No Violations Noted

*Office*

No Violations Noted

*Storage*

Unable to Inspect – Locked

**Intake Building**

*X-Ray Machines/Entrance*

No Violations Noted

**Intake Area**

*Storage Room (with refrigerator)*

No Violations Noted

*Inmate Bathroom*

No Violations Noted

*Custodial Closet*

No Violations Noted

*Holding Cells*

105 CMR 451.353 Interior Maintenance: Floor dirty around toilet in cell # 2

105 CMR 451.353 Interior Maintenance: Floor dirty in cell # 7

*Handicapped Bathroom*

No Violations Noted

*Handicapped Shower*

No Violations Noted

*Shower # 1*

No Violations Noted

*Shower # 2*

No Violations Noted

*Bail Commissioner’s Office*

No Violations Noted

*Booking Area*

No Violations Noted

*Bathroom (near Booking)*

No Violations Noted

*Medical Screening*

105 CMR 451.126 Hot Water: Hot water temperature recorded at 700F

*Records*

No Violations Noted

*Female Bathroom (within Records)*

No Violations Noted

*Property Room*

No Violations Noted

*Staff Bathroom (outside Property)*

No Violations Noted

*Inmate Bathroom*

No Violations Noted

**Main Entrance**

*Transport Office*

No Violations Noted

*Lobby*

No Violations Noted

*Male Bathroom*

No Violations Noted

*Female Bathroom*

No Violations Noted

**Observations and Recommendations**

1. The inmate population was 1,197 at the time of inspection.
2. During the kitchen inspection the Department had difficulties determining if the warewash machine was reaching the proper temperature to adequately sanitize serving trays. The Department recommended contacting the warewash manufacturer for additional guidance on the most effective way to determine the surface temperature of items being washed and sanitized within the warewash machine.
3. The Department was asked to clarify the space required for each occupant within a cell and dormitory. Regulations state a cell or dormitory should contain a minimum of 60 square feet of floor space for each occupant, calculated on the basis of total habitable room area, which does not include areas where floor-to-ceiling height is less than 8 feet. Additionally, the Department recommends beds are configured to provide a minimum of 3 feet between single decked beds or 4 ½ feet between double decked beds with a distance of 6 feet be maintained between the heads of sleepers.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “[1999 Food Code](http://www.cfsan.fda.gov/%7Edms/fc99-toc.html)”.

To review the Labeling regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “General Food Regulations” click “105 CMR 520.000: Labeling.”

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Kerry Wagner, MPH

Environmental Health Inspector, CSP, BEH

cc: Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services

Thomas Turco, Commissioner, DOC

Michael Marks, Superintendent

Lieutenant Peter Lundy, EHSO

Derek Fullerton, RS, CHO, REHS, Health Director, Middleton Health Department

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Daniel Bennett, Secretary, EOPSS

Nelson Alves, Director, Policy Development and Compliance Unit