

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

180 Beaman Street, West Boylston, MA 01583

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

Phone: 508-792-7880 Fax: 508-792-7706

TTY: 508-835-9796

|  |
| --- |
| CHARLES D. BAKER  Governor  KARYN E. POLITO  Lieutenant Governor |

February 13, 2017

Frank G. Cousins, Jr., Sheriff

Essex County Women in Transition

20 Manning Avenue

Middleton, MA 01949

Re: Facility Inspection – Essex County Women in Transition, Salisbury

Dear Sheriff Cousins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; 105 CMR 520.000 Labeling; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Women in Transition on February 3, 2017 accompanied by Assistant Deputy Superintendent   
Kerri Patterson; Elizabeth Gilmartin, EHSO; Amy Riordan and Amy Medeiros, Community Sanitation Program. Violations noted during the inspection are listed below including 2 repeat violations:

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

*Hallway*

No Violations Noted

*Office (# 2)*

No Violations Noted

*Program Coordinator’s Office (# 3)*

No Violations Noted

*Deputy Superintendent’s Office (# 4)*

No Violations Noted

*Laundry Room (# 5)*

No Violations Noted

*Staff Bathroom (# 6)*

No Violations Noted

*Copy Room (# 7)*

No Violations Noted

*Hot Water Heater Room (# 8)*

No Violations Noted

*HSU (#9)*

105 CMR 480.100(C)(1) Storage Area: Storage area did not have prominent signage

*Communication Room (# 10)*

No Violations Noted

*Visitor’s Bathroom (# 12)*

No Violations Noted

***Dorm Rooms***

105 CMR 451.322\* Cell Size: Inadequate floor space in all dorm rooms

*Dorm Room (# 11)*

105 CMR 451.353 Interior Maintenance: One light out

*Dorm Room (# 13)*

No Violations Noted

*Dorm Room (# 14)*

105 CMR 451.102 Pillows and Linens: Pillow damaged

105 CMR 451.353 Interior Maintenance: One light out

105 CMR 451.123 Maintenance: Bathroom door damaged

*Dorm Room (# 15)*

105 CMR 451.102 Pillows and Linens: Blanket damaged

*Dorm Room (# 16)*

105 CMR 451.141 Screens: Screen damaged

*Dorm Room (# 17)*

No Violations Noted

*Shower Room (# 18)*

105 CMR 451.130\* Hot Water: Shower water temperature recorded at 1200F

*Kitchen (# 19)*

FC 6-501.11 Maintenance and Operation; Repairing: Facility not in good repair, one light not working

FC 4-501.11(B) Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, white refrigerator gasket dirty

*Meeting and Dining Room (# 20)*

FC 6-501.11 Maintenance and Operation; Repairing: Facility not in good repair, tabletop damaged near room entrance

FC 2-402.11 Hygienic Practices; Hair Restraints: Food service personnel not wearing appropriate hair restraints, hair nets

105 CMR 590.004(E) Food: Food service employees not wearing gloves

**Observations and Recommendations**

1. The inmate population was 21 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “[1999 Food Code](http://www.cfsan.fda.gov/~dms/fc99-toc.html)”.

To review the Labeling regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “General Food Regulations” click “105 CMR 520.000: Labeling.”

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Kerry Wagner

Environmental Health Inspector, CSP, BEH

cc: Jan Sullivan, Acting Director, BEH

Steven Hughes, Director, CSP, BEH

Timothy Miley, Director of Government Affairs

Marylou Sudders, Secretary, Executive Office of Health and Human Services

Thomas Turco, Commissioner, DOC

Aaron Eastman, Superintendent

Kerri Patterson, Assistant Deputy Superintendent

Elizabeth Gilmartin, EHSO

John Morris, CHO, Director, Salisbury Health Department

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Daniel Bennett, Secretary, EOPSS

Jennifer Gaffney, Director, Policy Development and Compliance Unit