## Full Obligation
Commonwealth of Massachusetts
Executive Office of Energy and Environmental Affairs
DEPARTMENT OF ENERGY RESOURCES
RPS SOLAR CARVE-OUT
Preliminary Determination of CY 2022 Total Compliance Obligation
(per 225 CMR 14.07(2))
2022-08-30
Formula per 225 CMR 14.07(2)(b)
Total Compliance ObligationCY = the greater of:
Estimated GenerationCY-1 - Estimated SREC Ineligible GenerationCY, or
Estimated GenerationCY-1 - Estimated SREC Ineligible GenerationCY - ACP VolumeCY-2 + Banked VolumeCY-2 + Auction VolumeCY-2
Term in Formula | CY 2023 Min Std Term | Value (MWh) | Source
Estimated GenerationCY-1 | Estimated Generation2022 | 555555.3909 | per regulation; 225 CMR 14.07(2)(b) (see projection details in table below)
Estimated SREC Ineligible GenerationCY | Estimated SREC Ineligible Generation2023 | 182861.1065 | per regulation; 225 CMR 14.07(2)(b) (see projection details in table below)
ACP VolumeCY-2 | ACP Volume2021 | 331 | 2021 Annual Compliance Filings (see 2021 RPS/APS Annual Compliance Report, forthcoming)
Banked VolumeCY-2 | Banked Volume2021 | 30645 | 2021 Annual Compliance Filings (see 2021 RPS/APS Annual Compliance Report, forthcoming)
Auction VolumeCY-2 | Auction Volume2021 | 7616 | NEPOOL GIS (see 2021 RPS/APS Annual Compliance Report, forthcoming)
Calculations | CY 2023 Min Std Term | Value (MWh) | Source
Total Compliance ObligationCY 1 | Total Compliance Obligation2023 | 410624.2844 | per formula above and regulation; 225 CMR 14.07(2)(b)
2021 MA Retail Load |  | 44374193 | 2021 Utility Load Verification (see 2021 Annual Compliance Report, forthcoming)
CY 2023 Minimum Standard |  | 0.9254% | division of above two terms
Formula Results
Preliminary Total Compliance Obligation 2023
Formula 1
555555.3909
Estimated CY 2023 SREC Ineligible Generation - | 182861.1065
= | 372694.2844
Formula 2
555555.3909
Estimated CY 2023 SREC Ineligible Generation - | 182861.1065
2021 ACP Volume - | 331
2021 Banked Volume + | 30645
2021 Auction Volume + | 7616
= | 410624.2844
Total Compliance Obligation (Greater Value) = | 410624.2844
CY 2023 Minimum Standard
410624.2844
÷ | 44374193
Minimum Standard = | 0.9254%
Projection Details
Projection of CY 2023 Total SRECs Generated |  | Total Capacity (MW)2 | Projected CY 2023 SREC Generation3
(for use in formula above)
Expected MWh generated by qualified projects |  | 487.8428 | 555555.3909
TOTAL |  | 487.8428 | 555555.3909
Projection of CY 2022 SREC Ineligible Generation |  | Total Capacity (MW) | Projected CY 2022 SREC Ineligible Generation3 | Quarterly Contribution to Annual Total Output (%) | Q1 | 23.01%
(for use in formula above) |  |  |  |  | Q2 | 28.94%
Expected MWh generated by projects that are no longer qualified (Q1 2022) |  | 51.4879 | 58634.3738 |  | Q3 | 29.31%
Expected MWh generated by projects that are no longer qualified (Q2 2022) |  | 24.1199 | 21148.6186 |  | Q4 | 18.74%
Expected MWh generated by projects that are no longer qualified (Q3 2022) |  | 45.2637 | 24769.0179 | Source: NREL Insolation Data, Worcester, kWh/m2/day (Non-Tracking, Tilt = Latitude)
Expected MWh generated by projects that are no longer qualified (Q4 2022) |  | 366.9713 | 78309.0961
TOTAL |  | 487.8428 | 182861.1065
1 Stakeholders should note that the full compliance obligation is not necessarily required to be met with the purchase of SRECs. This is because any load served by competitive retail electric suppliers that was under contract prior to June 28, 2013 is exempt for the portion of a supplier's obligation resulting from the emergency rule change that expanded the program cap beyond 400 MW. This exemptions effectively reduces the actual demand for SRECs generated in any given Compliance Year. More information on the size of these exemptions and their impact on the market can be under the SREC exemptions section of the following webpage:
http://www.mass.gov/eea/energy-utilities-clean-tech/renewable-energy/rps-aps/retail-electric-supplier-compliance/rps-and-aps-minimum-standards.html
2 Total Capacity has been reduced by 165.486224 MW to reflect amount of capacity that became ineligible prior to 1/1/23.
3 Projected generation assumes an annual average capacity factor of 13.00% .

## Min Standard at 400
Commonwealth of Massachusetts
Executive Office of Energy and Environmental Affairs
DEPARTMENT OF ENERGY RESOURCES
RPS SOLAR CARVE-OUT
Preliminary Determination of CY 2021 Total Compliance Obligation
(per 225 CMR 14.07(2)(c))
2022-08-30
Formula per 225 CMR 14.07(2)(b)
Total Compliance ObligationCY = the greater of:
Estimated GenerationCY-1 - Estimated SREC Ineligible GenerationCY, or
Estimated GenerationCY-1 - Estimated SREC Ineligible GenerationCY - ACP VolumeCY-2 + Banked VolumeCY-2 + Auction VolumeCY-2
Term in Formula | CY 2023 Min Std Term | Value (MWh) | Source
Estimated GenerationCY-1 | Estimated Generation2022 | 267064.2881 | per regulation; 225 CMR 14.07(2)(b) (see projection details in table below)
Estimated SREC Ineligible GenerationCY | Estimated SREC Ineligible Generation2023 | 182861.1065 | per regulation; 225 CMR 14.07(2)(b) (see projection details in table below)
ACP VolumeCY-2 | ACP Volume2021 | 331 | 2021 Annual Compliance Filings (see 2021 RPS/APS Annual Compliance Report, forthcoming)
Banked VolumeCY-2 | Banked Volume2021 | 30645 | 2021 Annual Compliance Filings (see 2021 RPS/APS Annual Compliance Report, forthcoming)
Auction VolumeCY-2 | Auction Volume2021 | 7616 | NEPOOL GIS (see 2021 RPS/APS Annual Compliance Report, forthcoming)
Calculations | CY 2023 Min Std Term | Value (MWh) | Source
Total Compliance ObligationCY 1 | Total Compliance Obligation2023 | 122133.1816 | per formula above and regulation; 225 CMR 14.07(2)(b)
2021 MA Retail Load |  | 44374193 | 2021 Utility Load Verification (see 2021 Annual Compliance Report, forthcoming)
CY 2023 Minimum Standard |  | 0.2752% | division of above two terms
Formula Results
Preliminary Total Compliance Obligation 2023
Formula 1
267064.2881
- | 182861.1065
= | 84203.1816
Formula 2
267064.2881
- | 182861.1065
- | 331
+ | 30645
+ | 7616
= | 122133.1816
Total Compliance Obligation (Greater Value) = | 122133.1816
CY 2023 Minimum Standard
122133.1816
÷ | 44374193
Minimum Standard = | 0.2752%
Projection Details
Projection of CY 2023 Total SRECs Generated |  | Total Capacity (MW)2 | Projected CY 2023 SREC Generation3
(for use in formula above)
Expected MWh generated by qualified projects (net of ineligible capacity as of Q4 2019 - Q4 2022) |  | 234.5138 | 267064.2881
TOTAL |  | 234.5138 | 267064.2881
Projection of CY 2022 SREC Ineligible Generation |  | Total Capacity (MW) | Projected CY 2022 SREC Ineligible Generation2 | Quarterly Contribution to Annual Total Output (%) | Q1 | 23.01%
(for use in formula above) |  |  |  |  | Q2 | 28.94%
Expected MWh generated by projects that are no longer qualified (Q1 2022) |  | 51.4879 | 58634.3738 |  | Q3 | 29.31%
Expected MWh generated by projects that are no longer qualified (Q2 2022) |  | 24.1199 | 21148.6186 |  | Q4 | 18.74%
Expected MWh generated by projects that are no longer qualified (Q3 2022) |  | 45.2637 | 24769.0179 | Source: NREL Insolation Data, Worcester, kWh/m2/day (Non-Tracking, Tilt = Latitude)
Expected MWh generated by projects that are no longer qualified (Q4 2022) |  | 366.9713 | 78309.0961
TOTAL |  | 487.8428 | 182861.1065
1 Stakeholders should note that the full compliance obligation is not necessarily required to be met with the purchase of SRECs. This is because any load served by competitive retail electric suppliers that was under contract prior to June 28, 2013 is exempt for the portion of a supplier's obligation resulting from the emergency rule change that expanded the program cap beyond 400 MW. This exemptions effectively reduces the actual demand for SRECs generated in any given Compliance Year. More information on the size of these exemptions and their impact on the market can be under the SREC exemptions section of the following webpage:
http://www.mass.gov/eea/energy-utilities-clean-tech/renewable-energy/rps-aps/retail-electric-supplier-compliance/rps-and-aps-minimum-standards.html
2 Total Capacity has been reduced by 165.486224 MW to reflect amount of capacity that became ineligible prior to 1/1/23.
3 Projected generation assumes an annual average capacity factor of 13.00% .