5 QUICK ACTIONS TO IMPROIVE INDOOR AIR QUALITY

- Contact HVAC Vendors

  - Reach out to professionals to complete a heating, ventilation, and AC system assessment.

- Short Term Fixes

  - Implement short term solutions, such as replacing air filters and repairing duct work.

- Install Portable Tools

  - Install supplementary, portable air quality equipment, such as air cleaners and purifiers.

- Monitor Quality

  - Set up indoor air quality monitoring system for ongoing observation and maintenance.

- Maintain Ventilation

  - Conduct regular maintenance of ventilation systems to ensure ongoing efficacy.

IMPROVE AIR QUALITY AND REDUCE THE SPREAD OF COVID-19