Section I.  PWS INFORMATION:

1. PWS Name:       ________________________ 2. PWS ID# :      _______  3. City/Town or District:      ___________________

4. Source(s) Fluoridated/MassDEP Source Code/Location ID:      ______________________________

5. Is the Source(s) Manifolded?   Yes    or   No     6. List the location or Mass DEP location ID# for the daily sample:      _______

Section II. PWS CHEMICAL USE INFORMATION:

1.  Type of fluoride used:  NaF     Na2SiF6     H2SiF6 .

2.  What is the purity of the fluoride compound?      ____%. (From shipping container or hydrometer test rounded to nearest unit).

- Are all fluoride-metering pumps protected by two (2) operating anti-siphon (back-pressure) valves?   Yes     No

- Was each anti-siphon valve disassembled and inspected in the last 12 months? Yes   Date       or  No   Explain:      _______

- Was the fluoride test meter calibrated each day before use? (See Note 2) Yes   or  No   Explain:      ______________________

- Do you require on site technical assistance? Yes  or  No    If yes, explain:      ________________________________________

Section III. DAILY RESULT

| DAYS of the month | Gallons of Water Treated (To nearest 1,000 gals) | Amt. Fluoride Added (lbs) | Saturator 1 Volume of Make Up Water Added Gals or Cu Ft | Calculated Fluoride Ion Dosage (ppm) | Results of Fluoride Test by PWS (ppm) 2,3 | ### Name of tester and Comments E.g. Reason(s) for not fluoridating or sampling. Changes in product or batch mixing day etc. |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |
| Total |  |  |  |  |  | If you use a Saturator: Calculated Monthly Fluoride Ion Dosage ____________ ppm |
| Average |  |  |  |  |  |  |

Notes:  1) If you use a Saturator you must calculate a monthly fluoride ion dosage based on pounds used.

2) If you use a Mass. certified lab. for daily sampling, attach a copy of your Mass. approved lab analytical report form to this report.

3) All pumping fluoridated sources MUST be tested daily for fluoride at the entry point to the distribution system or after the point of fluoride application.

4) The optimal  fluoride level is 0.7 mg/L.  5) Report all Fluoride results to the nearest tenth.

6) For Fluoride issues that require reporting, notify DPH at 617-624-5573 AND MassDEP Drinking Water Program Regional Office or 617-292-5770

I certify under penalty of law that I am the person authorized to fill out this form and the information contained herein is true, accurate and complete to the best of my knowledge and belief.

Name of PWS certified operator or responsible party:      ________________Signature: ___________________ Date:      ____

Phone #:      __________________Fax#:      ____________________ Email address:      ______________________________

Section IV: DPH USE: Date received      ___________ Comments:      ______________________________________________