## 24-hour Noon-Noon Avg
Notes:
Weymouth PurpleAir (PA) Sensor and MassDEP 24-hour PM2.5 Average Values Noon 2/16/23 - Noon 2/17/23.
T640 is MassDEP's regulatory PM2.5 monitor. The DEP PA is located at the same location as the T640.
| Baxter | Claremont | King's Cove | Skyline | Idlewell | Evans | DEP | DEP T640
PM2.5 | 11.8459 | 13.0594 | 12.6982 | 8.4238 | 15.043 | 11.5625 | 15.6142 | 11.2571
NAAQS | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
do not delete, formatting for graph
| 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
| 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23
Do Not Delete - For Graph Formatting
Good (AQI 0-50) | Unhealthy for Sensitive Groups (AQI 101-150) | Unhealthy (AQI 151-200) | Very Unhealthy (AQI 201-300)
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50
50 | 50 | 50 | 50

## 1-hr PM Avg Conc 2.16-2.17
Notes:
Weymouth PurpleAir (PA) Sensor and MassDEP 1-hour Data 2/16/23 - 2/17/23.
Data is the 1-hour value from PurpleAir, average of Channel A and B to get a single value.
Glenrose and Evans PA sensors are downgraded by PurpleAir due to poor channel agreement. Data in this table represents data from Channel B from each sensor only.
#N/A = no data provided by PurpleAir sensor.
T640 is MassDEP's regulatory PM2.5 monitor. The MassDEP PA is located at the same location as the T640.
Date & Time | Baxter | Claremont | King's Cove | Skyline | Idlewell | Glenrose | Evans | DEP | DEP T640
2023-02-16 | 7.8155 | 8.1865 | 8.023 | 5.4595 | 8.366 | #N/A | 6.036 | 8.9505 | 9.12
2023-02-16 01:00 | 7.905 | 8.4965 | 7.96 | 5.5965 | 8.3855 | #N/A | 6.294 | 8.713 | 8.7
2023-02-16 02:00 | 7.626 | 8.251 | 7.9785 | 5.579 | 8.421 | #N/A | 6.277 | 8.84 | 8.21
2023-02-16 03:00 | 7.45 | 8.061 | 7.5535 | 5.3465 | 8.038 | #N/A | 6.264 | 8.814 | 7.8
2023-02-16 04:00 | 7.8525 | 8.4885 | 7.562 | 5.6285 | 8.312 | #N/A | 6.454 | 9.3275 | 7.76
2023-02-16 05:00 | 7.753 | 8.8135 | 7.705 | 6.337 | 9.006 | #N/A | 7.549 | 9.951 | 8.02
2023-02-16 06:00 | 7.0215 | 7.803 | 8.3795 | 5.3105 | 8.574 | #N/A | 6.532 | 8.652 | 7.39
2023-02-16 07:00 | 7.113 | 8.236 | 9.8055 | 5.4405 | 8.56 | #N/A | 6.462 | 8.856 | 7.56
2023-02-16 08:00 | 4.987 | 6.5035 | 6.9945 | 4.672 | 6.536 | #N/A | 5.479 | 7.5285 | 7.25
2023-02-16 09:00 | 3.9125 | 4.2695 | 4.5155 | 3.228 | 4.807 | #N/A | 3.465 | 5.351 | 6.46
2023-02-16 10:00 | 2.3005 | 2.6745 | 2.5045 | 1.621 | 2.3525 | #N/A | 1.733 | 3.4465 | 5.27
2023-02-16 11:00 | 2.0105 | 2.1175 | 2.1205 | 1.312 | 2.0805 | #N/A | 1.232 | 2.9 | 4.58
2023-02-16 12:00 | 1.9965 | 2.323 | 1.4335 | 1.3285 | 1.912 | #N/A | 1.052 | 2.714 | 4.23
2023-02-16 13:00 | 2.163 | 2.2505 | 1.7665 | 1.1805 | 2.0155 | #N/A | 1.605 | 3.8995 | 4.64
2023-02-16 14:00 | 2.0595 | 2.3265 | 1.5915 | 1.3075 | 2.2015 | #N/A | 1.164 | 2.724 | 4.84
2023-02-16 15:00 | 2.338 | 2.543 | 2.148 | 1.2905 | 2.067 | #N/A | 1.534 | 2.806 | 5.42
2023-02-16 16:00 | 2.7735 | 3.0645 | 2.468 | 1.933 | 2.6005 | #N/A | 5.77 | 3.6965 | 6.5
2023-02-16 17:00 | 4.931 | 5.043 | 7.372 | 3.4585 | 10.808 | #N/A | 3.204 | 5.701 | 7.51
2023-02-16 18:00 | 7.017 | 8.8955 | 8.862 | 6.5345 | 11.6345 | #N/A | 9.047 | 9.7235 | 10.12
2023-02-16 19:00 | 11.475 | 12.513 | 15.958 | 6.697 | 19.037 | #N/A | 11.401 | 12.6155 | 12.38
2023-02-16 20:00 | 11.7945 | 14.263 | 15.739 | 7.827 | 17.618 | #N/A | 12.34 | 13.892 | 12.91
2023-02-16 21:00 | 8.7415 | 10.2935 | 11.823 | 7.3635 | 14.379 | #N/A | 11.875 | 13.5235 | 12.2
2023-02-16 22:00 | 8.411 | 10.884 | 9.2075 | 7.0075 | 13.1655 | #N/A | 9.955 | 11.6165 | 11.31
2023-02-16 23:00 | 9.001 | 10.3985 | 11.085 | 10.453 | 13.7105 | #N/A | 11.11 | 13.784 | 11.88
2023-02-17 | 10.4295 | 18.0365 | 14.616 | 14.849 | 44.6605 | #N/A | 16.591 | 24.2465 | 18.95
2023-02-17 01:00 | 20.2445 | 20.412 | 18.581 | 8.833 | 17.9885 | #N/A | 21.024 | 40.377 | 27.86
2023-02-17 02:00 | 14.525 | 15.385 | 13.9985 | 9.139 | 15.28 | #N/A | 12.47 | 17.3395 | 13.13
2023-02-17 03:00 | 15.79 | 18.707 | 16.745 | 11.0115 | 18.121 | #N/A | 14.869 | 19.6685 | 12.98
2023-02-17 04:00 | 18.9815 | 20.2925 | 19.4615 | 13.094 | 20.5755 | #N/A | 17.805 | 23.0355 | 13.52
2023-02-17 05:00 | 18.527 | 19.783 | 18.756 | 12.7165 | 19.2935 | #N/A | 16.788 | 22.258 | 12.35
2023-02-17 06:00 | 20.6175 | 21.9785 | 20.1945 | 14.199 | 20.576 | #N/A | 18.453 | 23.5785 | 11.73
2023-02-17 07:00 | 21.646 | 21.7875 | 20.647 | 14.266 | 21.2105 | #N/A | 18.169 | 24.0325 | 10.7
2023-02-17 08:00 | 17.699 | 17.923 | 18.5445 | 12.076 | 18.4235 | #N/A | 15.809 | 21.0925 | 9.96
2023-02-17 09:00 | 17.055 | 17.444 | 17.4295 | 11.7385 | 17.8755 | #N/A | 15.192 | 21.025 | 11.25
2023-02-17 10:00 | 18.0475 | 18.344 | 18.107 | 12.0485 | 18.029 | #N/A | 15.567 | 21.183 | 12.51
2023-02-17 11:00 | 18.038 | 18.534 | 18.223 | 11.819 | 17.85 | #N/A | 14.706 | 20.208 | 11.29
2023-02-17 12:00 | 13.104 | 13.0955 | 14.011 | 8.6055 | 12.468 | 14.369 | 9.721 | 13.9305 | 8.16
2023-02-17 13:00 | 9.5465 | 10.0735 | 10.9645 | 6.8075 | 10.187 | 9.214 | 8.163 | 11.896 | 6.84
2023-02-17 14:00 | 6.4655 | 7.122 | 8.1385 | 4.636 | 7.492 | 6.301 | 5.795 | 8.3885 | 5.78
2023-02-17 15:00 | 0.562 | 0.9775 | 3.24 | 0.604 | 0.494 | 0.202 | 0.424 | 1.504 | 3.06
2023-02-17 16:00 | 0.498 | 1.45 | 1.232 | 0.37 | 0.349 | 0.022 | 0.141 | 0.826 | 2.53
2023-02-17 17:00 | 0.58 | 1.1775 | 3.2375 | 0.253 | 0.5085 | 0.177 | 0.452 | 1.04 | 2.65
2023-02-17 18:00 | 0.792 | 1.52 | 2.7305 | 0.6135 | 0.929 | 0.386 | 0.715 | 1.5055 | 2.64
2023-02-17 19:00 | 2.365 | 3.2595 | 3.461 | 1.753 | 2.606 | 1.915 | 2.114 | 3.872 | 3.52
2023-02-17 20:00 | 2.2645 | 4.5325 | 6.1455 | 1.6835 | 10.4655 | 6.67 | 2.545 | 3.821 | 3.67
2023-02-17 21:00 | 1.9415 | 3.29 | 7.814 | 1.246 | 2.2165 | 3.542 | 1.296 | 3.7565 | 3.85
2023-02-17 22:00 | 1.974 | 3.6905 | 10.009 | 1.424 | 1.854 | 1.329 | 1.113 | 3.613 | 3.83
2023-02-17 23:00 | 1.5015 | 2.1875 | 9.1475 | 1.0355 | 1.45 | 0.836 | 0.633 | 2.839 | 3.48

## 10-min PM Avg Conc 2.16-2.17
Notes:
Weymouth PurpleAir (PA) Sensor and MassDEP 10-minute Average Data 2/16/23 - 2/17/23.
Data is the 10-minute value from PurpleAir, average of Channel A and B to get a single value.
Glenrose and Evans PA sensors are downgraded by PurpleAir due to poor channel agreement. Data in this table is data from Channel B from each sensor only.
#N/A = no data provided by PurpleAir sensor.
T640 is MassDEP's regulatory PM2.5 monitor. The MassDEP PA is located at the same location as the T640.
Date & Time | Baxter | Claremont | King's Cove | Skyline | Idlewell | Glenrose | Evans | DEP | DEP T640
2023-02-16 | 7.722 | 7.753 | 8.167 | 5.397 | 8.111 | #N/A | 5.79 | 9.466 | 9.3247
2023-02-16 00:10 | 7.702 | 7.935 | 8.379 | 5.395 | 8.397 | #N/A | 5.844 | 9.003 | 9.3296
2023-02-16 00:20 | 7.837 | 8.149 | 7.752 | 5.382 | 8.414 | #N/A | 5.766 | 8.746 | 9.1101
2023-02-16 00:30 | 7.922 | 8.333 | 7.994 | 5.554 | 8.625 | #N/A | 5.892 | 8.908 | 9.0385
2023-02-16 00:40 | 7.864 | 8.402 | 7.136 | 5.594 | 8.316 | #N/A | 6.4 | 8.958 | 9.0449
2023-02-16 00:50 | 7.846 | 8.545 | 8.712 | 5.437 | 8.33 | #N/A | 6.524 | 8.624 | 8.8703
2023-02-16 01:00 | 7.968 | 8.272 | 7.77 | 5.65 | 8.695 | #N/A | 6.352 | 8.965 | 8.9091
2023-02-16 01:10 | 8.079 | 8.535 | 7.52 | 5.734 | 8.263 | #N/A | 6.508 | 8.584 | 8.8311
2023-02-16 01:20 | 8.089 | 8.451 | 8.279 | 5.682 | 8.582 | #N/A | 6.27 | 9.118 | 8.6133
2023-02-16 01:30 | 7.789 | 8.662 | 7.526 | 5.509 | 8.083 | #N/A | 6.204 | 8.818 | 8.7447
2023-02-16 01:40 | 7.72 | 8.683 | 8.116 | 5.541 | 8.277 | #N/A | 6.316 | 8.29 | 8.6538
2023-02-16 01:50 | 7.787 | 8.377 | 8.549 | 5.463 | 8.414 | #N/A | 6.116 | 8.504 | 8.4743
2023-02-16 02:00 | 7.742 | 8.076 | 7.968 | 5.688 | 8.358 | #N/A | 6.126 | 8.794 | 8.3891
2023-02-16 02:10 | 7.569 | 8.25 | 8.128 | 5.613 | 8.783 | #N/A | 6.3 | 8.699 | 8.4953
2023-02-16 02:20 | 7.599 | 8.186 | 7.525 | 5.473 | 8.309 | #N/A | 6.174 | 8.728 | 8.3843
2023-02-16 02:30 | 7.737 | 8.32 | 7.992 | 5.628 | 8.29 | #N/A | 6.29 | 8.9335 | 8.0723
2023-02-16 02:40 | 7.447 | 8.571 | 8.446 | 5.602 | 8.49 | #N/A | 6.274 | 8.991 | 7.9491
2023-02-16 02:50 | 7.665 | 8.101 | 7.809 | 5.469 | 8.298 | #N/A | 6.494 | 8.895 | 7.9455
2023-02-16 03:00 | 7.255 | 8.141 | 7.542 | 5.455 | 8.285 | #N/A | 6.296 | 9.071 | 7.9971
2023-02-16 03:10 | 7.491 | 8.369 | 7.501 | 5.469 | 7.883 | #N/A | 6.176 | 8.854 | 7.836
2023-02-16 03:20 | 7.58 | 8.216 | 7.48 | 5.337 | 8.189 | #N/A | 6.092 | 8.802 | 7.8693
2023-02-16 03:30 | 7.343 | 7.69 | 7.428 | 5.379 | 8.445 | #N/A | 6.296 | 8.479 | 7.8347
2023-02-16 03:40 | 7.403 | 7.845 | 7.808 | 5.038 | 7.856 | #N/A | 6.352 | 8.898 | 7.7218
2023-02-16 03:50 | 7.628 | 8.106 | 7.564 | 5.401 | 7.569 | #N/A | 6.368 | 8.778 | 7.5432
2023-02-16 04:00 | 7.853 | 7.9 | 7.318 | 5.462 | 7.935 | #N/A | 6.268 | 8.973 | 7.6788
2023-02-16 04:10 | 7.432 | 8.167 | 7.7 | 5.375 | 8.322 | #N/A | 6.176 | 9.081 | 7.7924
2023-02-16 04:20 | 7.491 | 8.503 | 7.68 | 6.02 | 8.1125 | #N/A | 6.452 | 8.863 | 7.5712
2023-02-16 04:30 | 7.946 | 8.783 | 7.463 | 5.491 | 8.323 | #N/A | 6.266 | 9.607 | 7.6995
2023-02-16 04:40 | 8.26 | 8.54 | 7.453 | 5.553 | 8.537 | #N/A | 6.794 | 8.65 | 7.7538
2023-02-16 04:50 | 8.132 | 9.037 | 7.758 | 5.868 | 8.642 | #N/A | 6.764 | 10.793 | 8.076
2023-02-16 05:00 | 8.194 | 9.64 | 7.209 | 5.967 | 9.224 | #N/A | 6.784 | 10.1 | 8.2155
2023-02-16 05:10 | 8.244 | 8.665 | 7.473 | 6.495 | 8.817 | #N/A | 7.024 | 9.83 | 7.8533
2023-02-16 05:20 | 8.121 | 7.989 | 7.451 | 6.533 | 9.113 | #N/A | 8.476 | 10.098 | 7.8848
2023-02-16 05:30 | 7.108 | 8.288 | 7.911 | 6.394 | 9.525 | #N/A | 7.872 | 10.97 | 8.5502
2023-02-16 05:40 | 7.282 | 10.534 | 8.039 | 6.618 | 8.784 | #N/A | 7.398 | 9.336 | 8.0714
2023-02-16 05:50 | 7.57 | 7.763 | 8.146 | 6.017 | 8.573 | #N/A | 7.74 | 9.371 | 7.5412
2023-02-16 06:00 | 7.047 | 7.553 | 8.834 | 5.748 | 8.602 | #N/A | 6.948 | 9.287 | 7.6617
2023-02-16 06:10 | 7.457 | 8.349 | 8.042 | 5.028 | 8.736 | #N/A | 6.622 | 8.668 | 7.2684
2023-02-16 06:20 | 6.746 | 7.4 | 7.94 | 5.148 | 8.262 | #N/A | 6.378 | 8.597 | 7.1764
2023-02-16 06:30 | 6.48 | 7.393 | 7.61 | 5.283 | 8.32 | #N/A | 6.366 | 8.447 | 7.357
2023-02-16 06:40 | 7.095 | 8.375 | 8.154 | 5.184 | 8.771 | #N/A | 6.282 | 8.343 | 7.389
2023-02-16 06:50 | 7.303 | 7.748 | 9.7 | 5.472 | 8.755 | #N/A | 6.598 | 8.569 | 7.4699
2023-02-16 07:00 | 6.893 | 9.701 | 10.865 | 5.395 | 9.435 | #N/A | 6.31 | 8.463 | 7.3922
2023-02-16 07:10 | 6.819 | 7.661 | 7.97 | 5.536 | 8.967 | #N/A | 7.008 | 8.67 | 7.4567
2023-02-16 07:20 | 7.14 | 7.657 | 9.157 | 5.455 | 8.6035 | #N/A | 6.588 | 8.87 | 7.5069
2023-02-16 07:30 | 7.565 | 8.667 | 10.145 | 5.616 | 8.479 | #N/A | 6.288 | 9.114 | 7.5911
2023-02-16 07:40 | 7.399 | 7.876 | 10.407 | 5.561 | 8.12 | #N/A | 6.526 | 9.399 | 7.7275
2023-02-16 07:50 | 6.863 | 7.855 | 10.291 | 5.08 | 7.758 | #N/A | 6.052 | 8.617 | 7.684
2023-02-16 08:00 | 5.58 | 6.798 | 9.047 | 5.405 | 7.696 | #N/A | 5.696 | 8.188 | 7.5737
2023-02-16 08:10 | 5.158 | 7.778 | 7.352 | 4.865 | 6.998 | #N/A | 6.066 | 8.16 | 7.5043
2023-02-16 08:20 | 4.951 | 7.016 | 7.063 | 4.636 | 6.4935 | #N/A | 5.832 | 7.723 | 7.1554
2023-02-16 08:30 | 4.984 | 5.631 | 6.674 | 4.526 | 6.368 | #N/A | 5.114 | 7.207 | 7.2346
2023-02-16 08:40 | 4.554 | 5.47 | 6.292 | 4.554 | 5.89 | #N/A | 5.162 | 7.005 | 7.2265
2023-02-16 08:50 | 4.695 | 6.329 | 5.539 | 4.045 | 5.77 | #N/A | 5 | 6.89 | 6.8203
2023-02-16 09:00 | 4.687 | 5.594 | 5.883 | 4.129 | 5.536 | #N/A | 4.584 | 6.66 | 6.8471
2023-02-16 09:10 | 4.276 | 4.798 | 5.318 | 3.709 | 5.254 | #N/A | 3.932 | 6.165 | 6.7078
2023-02-16 09:20 | 3.932 | 4.48 | 4.54 | 3.489 | 5.091 | #N/A | 4.016 | 5.775 | 6.5486
2023-02-16 09:30 | 3.809 | 3.546 | 4.45 | 3.079 | 4.77 | #N/A | 3.522 | 5.071 | 6.5151
2023-02-16 09:40 | 3.36 | 3.697 | 3.53 | 2.601 | 4.339 | #N/A | 2.638 | 4.53 | 6.2831
2023-02-16 09:50 | 3.408 | 3.5 | 3.372 | 2.36 | 3.856 | #N/A | 2.1 | 3.906 | 5.854
2023-02-16 10:00 | 2.849 | 3.241 | 2.816 | 1.899 | 3.075 | #N/A | 2.106 | 3.92 | 5.8246
2023-02-16 10:10 | 2.37 | 2.801 | 2.722 | 1.881 | 2.786 | #N/A | 1.778 | 3.852 | 5.6679
2023-02-16 10:20 | 2.272 | 2.938 | 2.031 | 1.436 | 2.249 | #N/A | 2.31 | 3.968 | 5.374
2023-02-16 10:30 | 2.22 | 2.32 | 2.205 | 1.483 | 2.014 | #N/A | 1.532 | 3.233 | 5.2957
2023-02-16 10:40 | 2.19 | 2.519 | 2.18 | 1.439 | 1.918 | #N/A | 1.544 | 2.907 | 4.7336
2023-02-16 10:50 | 1.902 | 2.229 | 3.069 | 1.587 | 2.073 | #N/A | 1.126 | 2.795 | 4.7149
2023-02-16 11:00 | 2.114 | 2.146 | 2.399 | 1.421 | 1.938 | #N/A | 1.126 | 2.902 | 4.4366
2023-02-16 11:10 | 1.943 | 2.266 | 2.558 | 1.289 | 2.141 | #N/A | 1.036 | 2.877 | 4.3773
2023-02-16 11:20 | 1.785 | 1.908 | 2.224 | 1.341 | 1.92 | #N/A | 1.408 | 3.307 | 4.6583
2023-02-16 11:30 | 1.935 | 2.028 | 1.794 | 1.276 | 2.249 | #N/A | 1.292 | 2.701 | 4.9004
2023-02-16 11:40 | 2.123 | 2.286 | 2.071 | 1.328 | 2.519 | #N/A | 1.488 | 3.005 | 4.5575
2023-02-16 11:50 | 2.161 | 2.073 | 1.678 | 1.217 | 1.715 | #N/A | 1.044 | 2.612 | 4.5787
2023-02-16 12:00 | 1.926 | 2.056 | 1.021 | 1.471 | 1.882 | #N/A | 0.85 | 2.787 | 4.2359
2023-02-16 12:10 | 1.886 | 2.163 | 1.362 | 1.226 | 1.907 | #N/A | 1.082 | 2.596 | 4.1195
2023-02-16 12:20 | 2.209 | 2.289 | 1.56 | 1.37 | 2.034 | #N/A | 1.22 | 2.861 | 4.1896
2023-02-16 12:30 | 1.921 | 2.504 | 1.493 | 1.251 | 1.864 | #N/A | 1.24 | 2.929 | 4.3347
2023-02-16 12:40 | 2.093 | 2.677 | 1.742 | 1.214 | 1.79 | #N/A | 1.018 | 2.362 | 4.3071
2023-02-16 12:50 | 1.943 | 2.247 | 1.422 | 1.44 | 1.994 | #N/A | 0.904 | 2.748 | 4.217
2023-02-16 13:00 | 2.32 | 2.172 | 1.615 | 1.124 | 1.985 | #N/A | 1.228 | 2.781 | 4.2175
2023-02-16 13:10 | 2.139 | 2.526 | 1.863 | 1.284 | 1.967 | #N/A | 2.89 | 9.3 | 4.8895
2023-02-16 13:20 | 2.173 | 2.342 | 1.883 | 1.261 | 1.981 | #N/A | 2.582 | 4.352 | 5.6779
2023-02-16 13:30 | 2.201 | 2.234 | 2.216 | 1.051 | 1.829 | #N/A | 0.902 | 2.133 | 4.3392
2023-02-16 13:40 | 2.114 | 2.342 | 1.572 | 1.035 | 2.191 | #N/A | 0.956 | 2.447 | 4.2695
2023-02-16 13:50 | 2.03 | 1.886 | 1.45 | 1.329 | 2.141 | #N/A | 1.072 | 2.384 | 4.4257
2023-02-16 14:00 | 2.024 | 2.387 | 1.55 | 1.305 | 2.652 | #N/A | 1.186 | 2.76 | 4.4686
2023-02-16 14:10 | 1.943 | 2.413 | 1.473 | 1.52 | 2.622 | #N/A | 1.368 | 2.838 | 4.6125
2023-02-16 14:20 | 2.004 | 2.348 | 1.744 | 1.322 | 2.204 | #N/A | 1.25 | 2.812 | 4.6893
2023-02-16 14:30 | 2.355 | 2.065 | 1.924 | 1.387 | 2.115 | #N/A | 1.274 | 2.695 | 5.0336
2023-02-16 14:40 | 2.003 | 2.231 | 1.603 | 1.143 | 1.97 | #N/A | 1 | 2.604 | 5.0698
2023-02-16 14:50 | 2.028 | 2.517 | 1.255 | 1.169 | 1.645 | #N/A | 0.91 | 2.636 | 5.1536
2023-02-16 15:00 | 2.267 | 2.229 | 1.613 | 1.179 | 1.826 | #N/A | 0.986 | 2.6 | 5.074
2023-02-16 15:10 | 2.448 | 2.307 | 1.553 | 1.299 | 1.95 | #N/A | 0.774 | 2.577 | 5.1776
2023-02-16 15:20 | 2.203 | 2.369 | 2.452 | 1.314 | 1.988 | #N/A | 1.352 | 2.63 | 5.2522
2023-02-16 15:30 | 2.303 | 2.829 | 2.697 | 1.309 | 2.185 | #N/A | 1.032 | 2.787 | 5.4703
2023-02-16 15:40 | 2.344 | 2.563 | 2.276 | 1.288 | 2.25 | #N/A | 1.424 | 2.984 | 5.5816
2023-02-16 15:50 | 2.46 | 2.958 | 2.296 | 1.355 | 2.203 | #N/A | 3.636 | 3.258 | 5.9606
2023-02-16 16:00 | 2.414 | 2.817 | 2.388 | 1.653 | 2.65 | #N/A | 10.416 | 5.215 | 6.9334
2023-02-16 16:10 | 2.502 | 2.621 | 2.25 | 1.381 | 2.566 | #N/A | 16.008 | 4.004 | 6.9656
2023-02-16 16:20 | 2.72 | 2.955 | 2.322 | 1.738 | 2.491 | #N/A | 3.308 | 3.325 | 6.228
2023-02-16 16:30 | 2.86 | 2.93 | 2.74 | 2.188 | 2.445 | #N/A | 1.622 | 3.152 | 6.1635
2023-02-16 16:40 | 3.066 | 3.453 | 2.532 | 2.256 | 2.438 | #N/A | 1.89 | 3.08 | 6.2172
2023-02-16 16:50 | 3.079 | 3.614 | 2.574 | 2.382 | 3.015 | #N/A | 1.378 | 3.401 | 6.4939
2023-02-16 17:00 | 3.273 | 4.754 | 2.585 | 2.682 | 4.327 | #N/A | 2.418 | 4.386 | 6.4503
2023-02-16 17:10 | 3.874 | 4.368 | 3.399 | 2.339 | 6.727 | #N/A | 2.634 | 4.573 | 6.52
2023-02-16 17:20 | 4.027 | 5.13 | 6.94 | 1.978 | 11.077 | #N/A | 2.186 | 5.343 | 7.2287
2023-02-16 17:30 | 5.291 | 4.681 | 11.686 | 2.256 | 21.353 | #N/A | 3.742 | 5.337 | 7.5477
2023-02-16 17:40 | 6.472 | 5.611 | 8.316 | 5.52 | 11.91 | #N/A | 3.388 | 7.079 | 8.4025
2023-02-16 17:50 | 6.652 | 5.717 | 11.305 | 5.978 | 9.454 | #N/A | 4.858 | 7.488 | 8.8831
2023-02-16 18:00 | 6.479 | 7.194 | 9.181 | 5.204 | 7.174 | #N/A | 9.85 | 9.278 | 9.5763
2023-02-16 18:10 | 6.697 | 7.021 | 9.049 | 3.963 | 7.262 | #N/A | 7.242 | 7.428 | 8.9331
2023-02-16 18:20 | 7.269 | 7.256 | 7.776 | 4.691 | 10.437 | #N/A | 6.67 | 9.725 | 9.6014
2023-02-16 18:30 | 7.316 | 10.149 | 7.659 | 9.211 | 14.84 | #N/A | 5.636 | 7.547 | 10.1148
2023-02-16 18:40 | 6.73 | 10.466 | 9.377 | 9.069 | 16.076 | #N/A | 9.538 | 10.446 | 10.2356
2023-02-16 18:50 | 7.612 | 11.286 | 10.132 | 7.067 | 14.017 | #N/A | 15.348 | 13.919 | 12.2552
2023-02-16 19:00 | 9.382 | 11.061 | 12.122 | 5.843 | 20.288 | #N/A | 13.716 | 12.298 | 12.7559
2023-02-16 19:10 | 11.1 | 11.183 | 11.788 | 6.211 | 29.607 | #N/A | 10.338 | 10.184 | 10.2768
2023-02-16 19:20 | 11.381 | 11.876 | 23.572 | 6.803 | 16.254 | #N/A | 10.256 | 14.053 | 11.8243
2023-02-16 19:30 | 12.324 | 12.433 | 19.794 | 7.11 | 15.071 | #N/A | 11.226 | 13.889 | 13.5079
2023-02-16 19:40 | 12.395 | 13.907 | 13.989 | 7.273 | 16.309 | #N/A | 11.186 | 13.036 | 13.149
2023-02-16 19:50 | 12.269 | 14.619 | 14.484 | 6.94 | 16.693 | #N/A | 11.684 | 12.23 | 12.7673
2023-02-16 20:00 | 12.376 | 13.751 | 14.864 | 7.114 | 19.011 | #N/A | 12.074 | 13.051 | 12.24
2023-02-16 20:10 | 12.369 | 13.384 | 19.311 | 7.532 | 21.083 | #N/A | 11.552 | 14.764 | 12.9174
2023-02-16 20:20 | 11.67 | 14.235 | 17.249 | 7.686 | 15.564 | #N/A | 11.712 | 13.765 | 13.0165
2023-02-16 20:30 | 11.526 | 14.851 | 13.306 | 7.553 | 12.965 | #N/A | 12.566 | 13.186 | 12.9009
2023-02-16 20:40 | 11.475 | 15.459 | 14.404 | 8.43 | 13.781 | #N/A | 11.688 | 13.355 | 12.9351
2023-02-16 20:50 | 11.3495 | 13.896 | 15.296 | 8.647 | 23.305 | #N/A | 14.448 | 15.232 | 13.4407
2023-02-16 21:00 | 9.882 | 11.98 | 14.33 | 8.356 | 15.657 | #N/A | 13.434 | 14.697 | 13.0414
2023-02-16 21:10 | 8.58 | 10.527 | 13.29 | 8.11 | 13.914 | #N/A | 12.914 | 16.899 | 12.8492
2023-02-16 21:20 | 8.077 | 9.516 | 11.552 | 7.105 | 13.95 | #N/A | 13.28 | 13.714 | 13.2718
2023-02-16 21:30 | 8.136 | 9.724 | 10.808 | 6.932 | 14.702 | #N/A | 11.094 | 13.315 | 12.1578
2023-02-16 21:40 | 8.628 | 9.63 | 11.962 | 6.886 | 13.867 | #N/A | 10.44 | 9.963 | 11.2375
2023-02-16 21:50 | 9.143 | 10.383 | 8.996 | 6.79 | 14.184 | #N/A | 10.092 | 12.555 | 10.6337
2023-02-16 22:00 | 8.994 | 10.95 | 9.388 | 7.041 | 13.973 | #N/A | 10.494 | 12.525 | 11.3933
2023-02-16 22:10 | 8.621 | 10.71 | 8.211 | 7.32 | 14.078 | #N/A | 8.698 | 12.707 | 11.7898
2023-02-16 22:20 | 7.849 | 11.931 | 8.009 | 6.545 | 11.813 | #N/A | 8.17 | 11.276 | 11.5744
2023-02-16 22:30 | 8.034 | 11.702 | 9.878 | 6.996 | 11.738 | #N/A | 11.692 | 11.218 | 11.4692
2023-02-16 22:40 | 8.174 | 10.249 | 9.043 | 7.253 | 13.872 | #N/A | 10.422 | 10.972 | 11.0733
2023-02-16 22:50 | 8.795 | 9.763 | 10.713 | 6.89 | 13.522 | #N/A | 10.252 | 11.003 | 10.588
2023-02-16 23:00 | 9.041 | 9.737 | 9.77 | 7.059 | 14.541 | #N/A | 9.606 | 12.535 | 10.9608
2023-02-16 23:10 | 9.043 | 10.114 | 10.712 | 7.328 | 13.798 | #N/A | 10.454 | 13.354 | 11.7759
2023-02-16 23:20 | 9.196 | 9.769 | 11.758 | 10.251 | 13.334 | #N/A | 11.442 | 14.666 | 12.4664
2023-02-16 23:30 | 8.861 | 11.135 | 12.838 | 7.422 | 13.609 | #N/A | 11.866 | 14.903 | 12.3277
2023-02-16 23:40 | 8.956 | 11.191 | 10.905 | 7.883 | 13.439 | #N/A | 10.634 | 12.977 | 11.8946
2023-02-16 23:50 | 8.908 | 10.443 | 10.528 | 22.774 | 13.542 | #N/A | 12.654 | 14.267 | 11.8636
2023-02-17 | 9.142 | 10.856 | 13.319 | 28.808 | 13.322 | #N/A | 11.45 | 15.513 | 13.0728
2023-02-17 00:10 | 9.244 | 14.069 | 13.812 | 11.436 | 14.067 | #N/A | 11.552 | 15.487 | 13.0557
2023-02-17 00:20 | 9.609 | 14.534 | 14.578 | 7.993 | 21.086 | #N/A | 13.276 | 23.12 | 14.8781
2023-02-17 00:30 | 10.545 | 16.096 | 16.723 | 9.446 | 63.457 | #N/A | 24.486 | 45.567 | 26.5962
2023-02-17 00:40 | 12.519 | 22.811 | 15.2 | 14.884 | 136.495 | #N/A | 19.94 | 20.509 | 30.7821
2023-02-17 00:50 | 11.516 | 29.856 | 14.064 | 16.528 | 19.535 | #N/A | 18.842 | 25.282 | 15.33
2023-02-17 01:00 | 30.614 | 40.525 | 17.847 | 10.038 | 17.0465 | #N/A | 31.288 | 77.434 | 40.6953
2023-02-17 01:10 | 28.798 | 21.278 | 26.169 | 8.34 | 20.368 | #N/A | 28.412 | 50.252 | 48.5303
2023-02-17 01:20 | 20.197 | 15.412 | 18.418 | 8.432 | 18.003 | #N/A | 22.55 | 33.839 | 22.3715
2023-02-17 01:30 | 15.38 | 14.53 | 16.65 | 8.467 | 20.952 | #N/A | 18.698 | 32.214 | 20.3003
2023-02-17 01:40 | 13.349 | 13.89 | 18.419 | 8.849 | 16.992 | #N/A | 13.548 | 29.574 | 18.5949
2023-02-17 01:50 | 13.131 | 16.839 | 13.981 | 8.87 | 14.569 | #N/A | 11.648 | 18.949 | 16.6862
2023-02-17 02:00 | 15.022 | 18.622 | 13.943 | 9.03 | 13.936 | #N/A | 11.302 | 17.195 | 13.8773
2023-02-17 02:10 | 15.882 | 15.306 | 12.887 | 8.757 | 14.837 | #N/A | 11.948 | 16.871 | 13.6056
2023-02-17 02:20 | 15.118 | 13.575 | 13.564 | 8.935 | 15.205 | #N/A | 12.354 | 16.983 | 13.2376
2023-02-17 02:30 | 13.902 | 14.123 | 14.397 | 8.641 | 15.569 | #N/A | 12.66 | 17.4335 | 12.6731
2023-02-17 02:40 | 13.437 | 15.164 | 14.33 | 9.341 | 15.78 | #N/A | 13.164 | 17.414 | 12.8892
2023-02-17 02:50 | 13.788 | 15.521 | 14.874 | 10.13 | 16.355 | #N/A | 13.392 | 18.137 | 12.5119
2023-02-17 03:00 | 14.824 | 16.699 | 15.388 | 10.424 | 16.853 | #N/A | 13.712 | 18.892 | 12.8524
2023-02-17 03:10 | 15.231 | 17.166 | 16.227 | 10.382 | 17.742 | #N/A | 14.898 | 19.281 | 12.7638
2023-02-17 03:20 | 15.495 | 21.019 | 16.81 | 10.765 | 18.502 | #N/A | 14.822 | 18.968 | 12.9524
2023-02-17 03:30 | 15.818 | 19.634 | 16.939 | 11.233 | 18.439 | #N/A | 15.29 | 19.673 | 13.1507
2023-02-17 03:40 | 16.453 | 18.702 | 17.172 | 11.341 | 18.483 | #N/A | 14.762 | 20.396 | 12.8848
2023-02-17 03:50 | 16.918 | 19.022 | 17.935 | 11.926 | 18.707 | #N/A | 15.732 | 20.799 | 13.2707
2023-02-17 04:00 | 17.959 | 19.345 | 17.999 | 12.506 | 19.562 | #N/A | 16.22 | 21.094 | 13.5243
2023-02-17 04:10 | 18.089 | 19.319 | 19.172 | 12.839 | 20.135 | #N/A | 17.416 | 21.861 | 13.5235
2023-02-17 04:20 | 18.495 | 19.965 | 19.406 | 12.981 | 20.966 | #N/A | 17.632 | 23.588 | 13.6289
2023-02-17 04:30 | 19.456 | 20.983 | 19.894 | 13.36 | 20.767 | #N/A | 18.726 | 24.06 | 13.7004
2023-02-17 04:40 | 19.62 | 20.85 | 20.382 | 13.393 | 21.06 | #N/A | 18.662 | 24.397 | 13.5867
2023-02-17 04:50 | 20.27 | 21.292 | 19.914 | 13.485 | 20.961 | #N/A | 18.174 | 23.213 | 13.1693
2023-02-17 05:00 | 19.774 | 20.505 | 19.543 | 13.48 | 19.582 | #N/A | 17.906 | 23.584 | 13.1083
2023-02-17 05:10 | 18.662 | 20.198 | 20.002 | 12.971 | 19.723 | #N/A | 16.684 | 22.784 | 12.6634
2023-02-17 05:20 | 18.611 | 19.826 | 18.833 | 12.812 | 19.213 | #N/A | 16.288 | 22.253 | 12.7061
2023-02-17 05:30 | 17.887 | 19.276 | 18.153 | 11.807 | 18.628 | #N/A | 16.044 | 21.252 | 12.2506
2023-02-17 05:40 | 17.653 | 18.752 | 17.97 | 12.114 | 19.032 | #N/A | 17.004 | 21.603 | 11.9805
2023-02-17 05:50 | 18.573 | 20.141 | 18.031 | 13.118 | 19.584 | #N/A | 16.804 | 22.074 | 11.3646
2023-02-17 06:00 | 18.574 | 20.381 | 19.06 | 12.998 | 19.5 | #N/A | 17.3 | 22.328 | 11.1219
2023-02-17 06:10 | 19.141 | 20.707 | 20.002 | 13.563 | 20.049 | #N/A | 17.898 | 22.218 | 11.4711
2023-02-17 06:20 | 20.284 | 21.694 | 19.81 | 14.343 | 20.778 | #N/A | 18.922 | 24.222 | 11.9993
2023-02-17 06:30 | 21.367 | 23.321 | 20.425 | 15.011 | 20.973 | #N/A | 18.81 | 24.782 | 12.1677
2023-02-17 06:40 | 22.259 | 22.875 | 20.689 | 14.489 | 21.476 | #N/A | 19.348 | 24.119 | 12.0349
2023-02-17 06:50 | 22.08 | 22.892 | 21.18 | 14.788 | 20.679 | #N/A | 18.436 | 23.801 | 11.5692
2023-02-17 07:00 | 22.23 | 22.57 | 20.659 | 14.393 | 20.652 | #N/A | 17.828 | 23.042 | 11.0956
2023-02-17 07:10 | 21.128 | 21.674 | 19.623 | 13.896 | 20.852 | #N/A | 17.42 | 23.383 | 10.8435
2023-02-17 07:20 | 22.524 | 21.872 | 20.213 | 14.515 | 21.375 | #N/A | 18.01 | 23.391 | 10.3905
2023-02-17 07:30 | 22.276 | 21.976 | 21.079 | 14.257 | 21.662 | #N/A | 18.808 | 24.607 | 10.4946
2023-02-17 07:40 | 20.895 | 21.548 | 21.225 | 14.434 | 21.451 | #N/A | 19.274 | 24.968 | 10.6613
2023-02-17 07:50 | 20.82 | 21.086 | 21.084 | 14.099 | 21.27 | #N/A | 17.672 | 24.805 | 10.7151
2023-02-17 08:00 | 19.621 | 19.355 | 20.466 | 12.458 | 20.568 | #N/A | 16.766 | 23.684 | 10.4375
2023-02-17 08:10 | 17.617 | 18.152 | 19.724 | 12.54 | 19.431 | #N/A | 16.268 | 22.041 | 10.2833
2023-02-17 08:20 | 17.48 | 18.46 | 18.456 | 12.222 | 17.767 | #N/A | 16.044 | 20.966 | 10.0419
2023-02-17 08:30 | 17.359 | 17.085 | 18.412 | 11.586 | 17.662 | #N/A | 15.34 | 19.668 | 9.6096
2023-02-17 08:40 | 17.271 | 17.274 | 17.111 | 11.984 | 17.474 | #N/A | 15.088 | 20.122 | 9.5612
2023-02-17 08:50 | 16.845 | 17.21 | 17.1 | 11.665 | 17.64 | #N/A | 15.348 | 20.074 | 9.8048
2023-02-17 09:00 | 16.69 | 17.412 | 17.399 | 11.523 | 17.475 | #N/A | 15.166 | 20.357 | 10.4837
2023-02-17 09:10 | 16.737 | 16.831 | 17.744 | 11.346 | 18.097 | #N/A | 14.948 | 20.631 | 10.6414
2023-02-17 09:20 | 16.705 | 16.796 | 17.426 | 11.763 | 17.425 | #N/A | 15.136 | 21.084 | 10.9536
2023-02-17 09:30 | 16.955 | 18.419 | 16.963 | 11.858 | 18.314 | #N/A | 15.276 | 20.868 | 11.4462
2023-02-17 09:40 | 17.523 | 17.624 | 17.466 | 11.751 | 17.785 | #N/A | 15.016 | 21.673 | 11.8412
2023-02-17 09:50 | 17.72 | 17.584 | 17.579 | 12.191 | 18.156 | #N/A | 15.61 | 21.536 | 12.1197
2023-02-17 10:00 | 17.783 | 18.189 | 18.076 | 12.199 | 17.651 | #N/A | 15.788 | 20.943 | 12.3366
2023-02-17 10:10 | 18.109 | 19.354 | 17.941 | 12.105 | 18.342 | #N/A | 15.326 | 21.737 | 12.6862
2023-02-17 10:20 | 18.269 | 18.305 | 18.168 | 12.27 | 18.394 | #N/A | 15.938 | 22.015 | 12.8305
2023-02-17 10:30 | 18.271 | 18.458 | 17.847 | 12.268 | 18.397 | #N/A | 15.36 | 21.143 | 12.7255
2023-02-17 10:40 | 17.963 | 18.128 | 18.642 | 11.776 | 18.019 | #N/A | 15.65 | 21.183 | 12.3689
2023-02-17 10:50 | 17.89 | 17.63 | 17.967 | 11.67 | 17.372 | #N/A | 15.342 | 20.078 | 12.0973
2023-02-17 11:00 | 17.786 | 17.6 | 17.598 | 11.707 | 17.356 | #N/A | 14.672 | 20.049 | 11.5886
2023-02-17 11:10 | 17.799 | 18.414 | 17.468 | 11.454 | 17.94 | #N/A | 14.462 | 19.829 | 11.4001
2023-02-17 11:20 | 18.019 | 19.225 | 18.142 | 11.942 | 17.547 | #N/A | 14.252 | 21.104 | 11.2596
2023-02-17 11:30 | 18.278 | 18.678 | 19.028 | 12.113 | 18.666 | #N/A | 15.624 | 20.73 | 11.5615
2023-02-17 11:40 | 18.587 | 19.239 | 18.848 | 12.08 | 18.52 | #N/A | 15.242 | 20.312 | 11.4018
2023-02-17 11:50 | 17.762 | 18.047 | 18.253 | 11.616 | 17.073 | #N/A | 13.98 | 19.226 | 10.5578
2023-02-17 12:00 | 16.459 | 17.103 | 16.563 | 10.642 | 15.591 | #N/A | 12.052 | 17.808 | 9.851
2023-02-17 12:10 | 15.006 | 14.444 | 15.349 | 9.978 | 14.589 | #N/A | 11.422 | 16.071 | 9.1419
2023-02-17 12:20 | 13.795 | 13.897 | 13.741 | 9.014 | 13.296 | 18.258 | 10.41 | 14.786 | 8.4556
2023-02-17 12:30 | 12.498 | 12.418 | 12.757 | 8.048 | 11.645 | 12.978 | 9.496 | 12.731 | 7.9982
2023-02-17 12:40 | 10.92 | 10.847 | 12.911 | 7.329 | 10.384 | 10.146 | 7.84 | 11.282 | 7.0935
2023-02-17 12:50 | 9.946 | 9.866 | 12.745 | 6.622 | 9.305 | 8.316 | 7.102 | 10.905 | 6.4217
2023-02-17 13:00 | 9.075 | 9.836 | 11.175 | 6.104 | 9.439 | 8.238 | 7.32 | 10.694 | 6.3622
2023-02-17 13:10 | 8.787 | 9.269 | 10.506 | 6.628 | 9.799 | 8.858 | 8.124 | 11.013 | 6.6303
2023-02-17 13:20 | 9.641 | 10.35 | 11.604 | 7.219 | 10.949 | 9.948 | 8.12 | 12.563 | 7.0068
2023-02-17 13:30 | 10.356 | 10.857 | 11.3 | 7.406 | 10.506 | 9.814 | 8.622 | 12.552 | 7.1971
2023-02-17 13:40 | 9.916 | 9.933 | 10.149 | 7.124 | 10.19 | 9.508 | 8.31 | 12.691 | 7.0241
2023-02-17 13:50 | 9.506 | 10.198 | 11.054 | 6.365 | 10.237 | 8.916 | 8.484 | 11.861 | 6.7963
2023-02-17 14:00 | 9.517 | 10.172 | 9.707 | 6.327 | 9.819 | 8.658 | 8.868 | 11.695 | 6.6593
2023-02-17 14:10 | 9.701 | 11.315 | 9.347 | 6.105 | 9.225 | 8.39 | 7.918 | 11.287 | 6.6583
2023-02-17 14:20 | 8.563 | 8.92 | 9.323 | 5.923 | 9.351 | 8.85 | 7.164 | 10.875 | 6.565
2023-02-17 14:30 | 7.024 | 6.889 | 8.461 | 5.539 | 9.526 | 7.282 | 7.29 | 9.458 | 6.37
2023-02-17 14:40 | 3.507 | 4.216 | 7.311 | 3.154 | 6.405 | 4.426 | 3.37 | 5.852 | 5.5074
2023-02-17 14:50 | 0.48 | 1.22 | 4.678 | 0.769 | 0.625 | 0.202 | 0.16 | 1.164 | 2.9118
2023-02-17 15:00 | 0.986 | 1.379 | 4.911 | 0.67 | 0.875 | 0.59 | 0.814 | 2.162 | 2.9355
2023-02-17 15:10 | 1.149 | 1.499 | 4.104 | 0.543 | 1.111 | 0.464 | 0.672 | 2.846 | 3.6392
2023-02-17 15:20 | 0.675 | 0.859 | 2.623 | 0.182 | 0.363 | 0.1 | 0.494 | 1.391 | 3.7978
2023-02-17 15:30 | 0.233 | 0.806 | 3.571 | 1.089 | 0.143 | 0 | 0.346 | 0.971 | 2.6003
2023-02-17 15:40 | 0.242 | 0.505 | 3.027 | 0.448 | 0.253 | 0.046 | 0.042 | 0.847 | 2.8772
2023-02-17 15:50 | 0.088 | 0.817 | 1.206 | 0.691 | 0.218 | 0.01 | 0.18 | 0.806 | 2.5358
2023-02-17 16:00 | 0.261 | 0.625 | 0.939 | 0.346 | 0.234 | 0.006 | 0.064 | 1.03 | 2.8862
2023-02-17 16:10 | 0.36 | 0.721 | 0.805 | 0.404 | 0.347 | 0.01 | 0.3 | 0.797 | 2.7964
2023-02-17 16:20 | 0.691 | 0.898 | 1.073 | 0.379 | 0.391 | 0.014 | 0.112 | 0.734 | 2.579
2023-02-17 16:30 | 0.492 | 0.971 | 1.239 | 0.372 | 0.398 | 0.038 | 0.146 | 0.711 | 2.2452
2023-02-17 16:40 | 0.63 | 4.563 | 0.951 | 0.312 | 0.311 | 0.014 | 0.064 | 0.859 | 2.2371
2023-02-17 16:50 | 0.552 | 0.921 | 2.386 | 0.407 | 0.413 | 0.048 | 0.158 | 0.823 | 2.4426
2023-02-17 17:00 | 0.655 | 1.34 | 1.378 | 0.356 | 0.444 | 0.084 | 0.248 | 1.069 | 2.6284
2023-02-17 17:10 | 0.734 | 1.075 | 1.359 | 0.292 | 0.375 | 0.178 | 0.278 | 0.969 | 2.6944
2023-02-17 17:20 | 0.826 | 0.982 | 1.018 | 0.251 | 0.829 | 0.14 | 0.208 | 1.129 | 2.7614
2023-02-17 17:30 | 0.687 | 1.146 | 1.418 | 0.3045 | 0.492 | 0.49 | 0.226 | 1.158 | 2.6293
2023-02-17 17:40 | 0.478 | 1.255 | 5.232 | 0.268 | 0.66 | 0.126 | 1.624 | 1.256 | 2.5691
2023-02-17 17:50 | 0.102 | 1.269 | 9.019 | 0.047 | 0.252 | 0.044 | 0.126 | 0.659 | 2.5892
2023-02-17 18:00 | 0.235 | 1.153 | 4.032 | 0.064 | 0.353 | 0 | 0.21 | 0.632 | 1.95
2023-02-17 18:10 | 0.339 | 0.887 | 2.116 | 0.398 | 0.532 | 0.084 | 0.222 | 0.91 | 2.4987
2023-02-17 18:20 | 0.576 | 1.666 | 3.994 | 0.461 | 0.636 | 0.31 | 0.244 | 1.02 | 2.3241
2023-02-17 18:30 | 0.862 | 1.345 | 1.84 | 0.666 | 1.054 | 0.336 | 0.342 | 1.659 | 2.6186
2023-02-17 18:40 | 1.277 | 1.837 | 2.07 | 0.964 | 1.442 | 0.616 | 1.412 | 2.132 | 2.9578
2023-02-17 18:50 | 1.466 | 2.233 | 2.333 | 1.127 | 1.558 | 0.972 | 1.862 | 2.683 | 3.4948
2023-02-17 19:00 | 1.909 | 2.541 | 2.951 | 1.357 | 1.919 | 1.346 | 1.318 | 2.88 | 3.3247
2023-02-17 19:10 | 2.099 | 2.895 | 3.391 | 1.494 | 2.206 | 1.754 | 2.008 | 3.218 | 3.2895
2023-02-17 19:20 | 2.34 | 3.859 | 4.04 | 1.71 | 2.562 | 1.608 | 2 | 3.795 | 3.528
2023-02-17 19:30 | 2.453 | 3.369 | 4.284 | 1.714 | 2.751 | 2.218 | 2.758 | 4.797 | 3.6757
2023-02-17 19:40 | 2.69 | 3.304 | 3.133 | 2.024 | 3.038 | 2.374 | 2.282 | 4.179 | 3.6781
2023-02-17 19:50 | 2.698 | 3.592 | 2.966 | 2.217 | 3.163 | 2.19 | 2.318 | 4.366 | 3.6279
2023-02-17 20:00 | 2.561 | 5.146 | 3.401 | 2.005 | 2.963 | 2.428 | 4.176 | 4.03 | 3.5451
2023-02-17 20:10 | 2.564 | 6.596 | 5.067 | 1.797 | 3.029 | 2.578 | 4.712 | 4.263 | 3.7303
2023-02-17 20:20 | 2.494 | 4.821 | 6.902 | 1.815 | 8.821 | 4.352 | 1.406 | 4.221 | 3.9308
2023-02-17 20:30 | 2.108 | 4.305 | 7.581 | 1.76 | 22.81 | 1.724 | 1.652 | 3.531 | 3.6673
2023-02-17 20:40 | 1.992 | 3.527 | 8.306 | 1.548 | 22.893 | 10.292 | 1.536 | 3.558 | 3.572
2023-02-17 20:50 | 1.867 | 2.803 | 5.615 | 1.174 | 2.278 | 18.646 | 1.79 | 3.325 | 3.5809
2023-02-17 21:00 | 1.789 | 2.358 | 6.392 | 1.073 | 1.927 | 6.192 | 1.384 | 3.665 | 3.6745
2023-02-17 21:10 | 1.845 | 2.237 | 4.387 | 1.1 | 1.835 | 6.558 | 1.38 | 3.589 | 3.6872
2023-02-17 21:20 | 1.876 | 2.192 | 8.76 | 1.241 | 2.066 | 3.644 | 1.002 | 4.181 | 3.9314
2023-02-17 21:30 | 2.039 | 2.805 | 9.966 | 1.326 | 1.946 | 2.012 | 1.068 | 3.982 | 4.1571
2023-02-17 21:40 | 2.117 | 2.534 | 8.46 | 1.357 | 2.967 | 1.388 | 1.492 | 3.528 | 4.0224
2023-02-17 21:50 | 1.982 | 7.616 | 8.919 | 1.381 | 2.555 | 1.458 | 1.448 | 3.592 | 3.6386
2023-02-17 22:00 | 2.158 | 7.459 | 11.034 | 1.584 | 2.217 | 1.722 | 1.26 | 4.02 | 3.8427
2023-02-17 22:10 | 2.182 | 4.301 | 10.236 | 1.586 | 2.002 | 1.508 | 1.154 | 3.942 | 4.1284
2023-02-17 22:20 | 2.092 | 2.586 | 8.118 | 1.484 | 1.997 | 1.17 | 1.236 | 3.804 | 3.9654
2023-02-17 22:30 | 1.947 | 2.762 | 8.294 | 1.308 | 1.778 | 1.066 | 1.31 | 3.297 | 3.5916
2023-02-17 22:40 | 1.9 | 2.72 | 10.911 | 1.36 | 1.762 | 1.504 | 0.944 | 3.58 | 3.7363
2023-02-17 22:50 | 1.563 | 2.315 | 11.459 | 1.222 | 1.367 | 1.004 | 0.772 | 3.034 | 3.6971
2023-02-17 23:00 | 1.495 | 2.008 | 11.829 | 0.965 | 1.422 | 0.944 | 0.644 | 3.14 | 3.6223
2023-02-17 23:10 | 1.704 | 2.752 | 6.603 | 1.168 | 1.638 | 0.864 | 0.786 | 2.851 | 3.8092
2023-02-17 23:20 | 1.446 | 2.079 | 11.097 | 1.037 | 1.518 | 0.944 | 0.476 | 2.777 | 3.3214
2023-02-17 23:30 | 1.546 | 2.279 | 9.681 | 1.071 | 1.284 | 0.804 | 0.766 | 2.769 | 3.4794
2023-02-17 23:40 | 1.441 | 2.076 | 7.929 | 1.103 | 1.297 | 0.808 | 0.532 | 2.702 | 3.3344
2023-02-17 23:50 | 1.374 | 1.93 | 7.745 | 0.869 | 1.541 | 0.652 | 0.592 | 2.794 | 3.291

## 1-hr PM Avg Conc 2.15-2.18
Notes:
Weymouth PurpleAir (PA) Sensor and MassDEP 1-hour Average Data 2/15/23 - 2/18/23.
Data is the 1-hour value from PurpleAir, average of Channel A and B to get a single value.
Glenrose and Evans PA sensors are downgraded by PurpleAir due to poor channel agreement. Data in this table is data from Channel B from each sensor only.
#N/A = no data provided by PurpleAir sensor.
T640 is MassDEP's regulatory PM2.5 monitor. The MassDEP PA is located at the same location as the T640.
Date & Time | Baxter | Claremont | King's Cove | Skyline | Idlewell | Glenrose | Evans | DEP | DEP T640
2023-02-15 | 9.6485 | 13.078 | 14.3125 | 7.011 | 14.4905 | #N/A | 13.343 | 18.6275 | 11.3213
2023-02-15 01:00 | 10.5325 | 14.1835 | 13.9735 | 7.922 | 15.605 | #N/A | 12.152 | 16.535 | 9.888
2023-02-15 02:00 | 7.3995 | 8.622 | 11.395 | 6.5555 | 13.178 | #N/A | 10.767 | 16.4305 | 9.4561
2023-02-15 03:00 | 6.329 | 7.397 | 8.0115 | 5.405 | 8.61 | #N/A | 7.045 | 9.609 | 6.5155
2023-02-15 04:00 | 5.915 | 6.6825 | 6.7755 | 4.0895 | 7.3915 | #N/A | 5.768 | 8.117 | 6.1732
2023-02-15 05:00 | 6.4255 | 7.0935 | 7.47 | 4.182 | 8.1715 | #N/A | 6.463 | 9.655 | 6.8227
2023-02-15 06:00 | 8.9365 | 9.688 | 10.1225 | 5.6255 | 10.0975 | #N/A | 8.603 | 12.094 | 8.0263
2023-02-15 07:00 | 11.5085 | 11.7495 | 10.766 | 6.997 | 11.564 | #N/A | 9.553 | 13.542 | 8.8788
2023-02-15 08:00 | 10.7995 | 11.116 | 10.215 | 6.708 | 11.0775 | #N/A | 8.848 | 12.1135 | 8.3485
2023-02-15 09:00 | 8.581 | 9.066 | 8.041 | 5.658 | 8.289 | #N/A | 6.982 | 9.6015 | 7.1513
2023-02-15 10:00 | 7.772 | 8.044 | 7.851 | 5.242 | 6.7125 | #N/A | 5.332 | 7.775 | 6.4721
2023-02-15 11:00 | 4.1515 | 3.8345 | 6.374 | 2.367 | 3.685 | #N/A | 2.663 | 4.053 | 5.1233
2023-02-15 12:00 | 2.525 | 2.472 | 5.7985 | 1.555 | 2.1705 | #N/A | 1.121 | 2.5625 | 4.2039
2023-02-15 13:00 | 2.635 | 2.545 | 5.3015 | 1.765 | 2.703 | #N/A | 1.381 | 3.143 | 4.6446
2023-02-15 14:00 | 1.6895 | 1.678 | 3.46 | 1.107 | 1.42 | #N/A | 0.487 | 1.8905 | 4.2173
2023-02-15 15:00 | 2.04 | 1.9125 | 5.324 | 1.4735 | 1.74 | #N/A | 0.69 | 2.3335 | 4.7429
2023-02-15 16:00 | 2.799 | 2.526 | 3.6635 | 1.815 | 2.2685 | #N/A | 1.13 | 2.908 | 5.5611
2023-02-15 17:00 | 3.8025 | 3.354 | 8.271 | 2.53 | 3.4405 | #N/A | 2.071 | 3.819 | 6.8171
2023-02-15 18:00 | 4.676 | 4.264 | 6.399 | 2.904 | 4.3965 | #N/A | 2.774 | 5.123 | 7.7336
2023-02-15 19:00 | 5.284 | 4.8705 | 5.449 | 3.35 | 5.1915 | #N/A | 3.567 | 5.785 | 8.364
2023-02-15 20:00 | 5.9875 | 5.6535 | 5.606 | 3.9065 | 5.7865 | #N/A | 4.141 | 6.6505 | 9.0006
2023-02-15 21:00 | 6.351 | 6.5075 | 5.96 | 4.358 | 6.849 | #N/A | 4.501 | 7.136 | 9.2982
2023-02-15 22:00 | 6.7995 | 7.1605 | 6.3735 | 4.4785 | 7.343 | #N/A | 5.127 | 7.7005 | 9.5698
2023-02-15 23:00 | 7.3555 | 7.8185 | 7.3655 | 5.068 | 7.7665 | #N/A | 6.012 | 8.736 | 9.5288
2023-02-16 | 7.8155 | 8.1865 | 8.023 | 5.4595 | 8.366 | #N/A | 6.036 | 8.9505 | 9.12
2023-02-16 01:00 | 7.905 | 8.4965 | 7.96 | 5.5965 | 8.3855 | #N/A | 6.294 | 8.713 | 8.7
2023-02-16 02:00 | 7.626 | 8.251 | 7.9785 | 5.579 | 8.421 | #N/A | 6.277 | 8.84 | 8.21
2023-02-16 03:00 | 7.45 | 8.061 | 7.5535 | 5.3465 | 8.038 | #N/A | 6.264 | 8.814 | 7.8
2023-02-16 04:00 | 7.8525 | 8.4885 | 7.562 | 5.6285 | 8.312 | #N/A | 6.454 | 9.3275 | 7.76
2023-02-16 05:00 | 7.753 | 8.8135 | 7.705 | 6.337 | 9.006 | #N/A | 7.549 | 9.951 | 8.02
2023-02-16 06:00 | 7.0215 | 7.803 | 8.3795 | 5.3105 | 8.574 | #N/A | 6.532 | 8.652 | 7.39
2023-02-16 07:00 | 7.113 | 8.236 | 9.8055 | 5.4405 | 8.56 | #N/A | 6.462 | 8.856 | 7.56
2023-02-16 08:00 | 4.987 | 6.5035 | 6.9945 | 4.672 | 6.536 | #N/A | 5.479 | 7.5285 | 7.25
2023-02-16 09:00 | 3.9125 | 4.2695 | 4.5155 | 3.228 | 4.807 | #N/A | 3.465 | 5.351 | 6.46
2023-02-16 10:00 | 2.3005 | 2.6745 | 2.5045 | 1.621 | 2.3525 | #N/A | 1.733 | 3.4465 | 5.27
2023-02-16 11:00 | 2.0105 | 2.1175 | 2.1205 | 1.312 | 2.0805 | #N/A | 1.232 | 2.9 | 4.58
2023-02-16 12:00 | 1.9965 | 2.323 | 1.4335 | 1.3285 | 1.912 | #N/A | 1.052 | 2.714 | 4.23
2023-02-16 13:00 | 2.163 | 2.2505 | 1.7665 | 1.1805 | 2.0155 | #N/A | 1.605 | 3.8995 | 4.64
2023-02-16 14:00 | 2.0595 | 2.3265 | 1.5915 | 1.3075 | 2.2015 | #N/A | 1.164 | 2.724 | 4.84
2023-02-16 15:00 | 2.338 | 2.543 | 2.148 | 1.2905 | 2.067 | #N/A | 1.534 | 2.806 | 5.42
2023-02-16 16:00 | 2.7735 | 3.0645 | 2.468 | 1.933 | 2.6005 | #N/A | 5.77 | 3.6965 | 6.5
2023-02-16 17:00 | 4.931 | 5.043 | 7.372 | 3.4585 | 10.808 | #N/A | 3.204 | 5.701 | 7.51
2023-02-16 18:00 | 7.017 | 8.8955 | 8.862 | 6.5345 | 11.6345 | #N/A | 9.047 | 9.7235 | 10.12
2023-02-16 19:00 | 11.475 | 12.513 | 15.958 | 6.697 | 19.037 | #N/A | 11.401 | 12.6155 | 12.38
2023-02-16 20:00 | 11.7945 | 14.263 | 15.739 | 7.827 | 17.618 | #N/A | 12.34 | 13.892 | 12.91
2023-02-16 21:00 | 8.7415 | 10.2935 | 11.823 | 7.3635 | 14.379 | #N/A | 11.875 | 13.5235 | 12.2
2023-02-16 22:00 | 8.411 | 10.884 | 9.2075 | 7.0075 | 13.1655 | #N/A | 9.955 | 11.6165 | 11.31
2023-02-16 23:00 | 9.001 | 10.3985 | 11.085 | 10.453 | 13.7105 | #N/A | 11.11 | 13.784 | 11.88
2023-02-17 | 10.4295 | 18.0365 | 14.616 | 14.849 | 44.6605 | #N/A | 16.591 | 24.2465 | 18.95
2023-02-17 01:00 | 20.2445 | 20.412 | 18.581 | 8.833 | 17.9885 | #N/A | 21.024 | 40.377 | 27.86
2023-02-17 02:00 | 14.525 | 15.385 | 13.9985 | 9.139 | 15.28 | #N/A | 12.47 | 17.3395 | 13.13
2023-02-17 03:00 | 15.79 | 18.707 | 16.745 | 11.0115 | 18.121 | #N/A | 14.869 | 19.6685 | 12.98
2023-02-17 04:00 | 18.9815 | 20.2925 | 19.4615 | 13.094 | 20.5755 | #N/A | 17.805 | 23.0355 | 13.52
2023-02-17 05:00 | 18.527 | 19.783 | 18.756 | 12.7165 | 19.2935 | #N/A | 16.788 | 22.258 | 12.35
2023-02-17 06:00 | 20.6175 | 21.9785 | 20.1945 | 14.199 | 20.576 | #N/A | 18.453 | 23.5785 | 11.73
2023-02-17 07:00 | 21.646 | 21.7875 | 20.647 | 14.266 | 21.2105 | #N/A | 18.169 | 24.0325 | 10.7
2023-02-17 08:00 | 17.699 | 17.923 | 18.5445 | 12.076 | 18.4235 | #N/A | 15.809 | 21.0925 | 9.96
2023-02-17 09:00 | 17.055 | 17.444 | 17.4295 | 11.7385 | 17.8755 | #N/A | 15.192 | 21.025 | 11.25
2023-02-17 10:00 | 18.0475 | 18.344 | 18.107 | 12.0485 | 18.029 | #N/A | 15.567 | 21.183 | 12.51
2023-02-17 11:00 | 18.038 | 18.534 | 18.223 | 11.819 | 17.85 | #N/A | 14.706 | 20.208 | 11.29
2023-02-17 12:00 | 13.104 | 13.0955 | 14.011 | 8.6055 | 12.468 | 14.369 | 9.721 | 13.9305 | 8.16
2023-02-17 13:00 | 9.5465 | 10.0735 | 10.9645 | 6.8075 | 10.187 | 9.214 | 8.163 | 11.896 | 6.84
2023-02-17 14:00 | 6.4655 | 7.122 | 8.1385 | 4.636 | 7.492 | 6.301 | 5.795 | 8.3885 | 5.78
2023-02-17 15:00 | 0.562 | 0.9775 | 3.24 | 0.604 | 0.494 | 0.202 | 0.424 | 1.504 | 3.06
2023-02-17 16:00 | 0.498 | 1.45 | 1.232 | 0.37 | 0.349 | 0.022 | 0.141 | 0.826 | 2.53
2023-02-17 17:00 | 0.58 | 1.1775 | 3.2375 | 0.253 | 0.5085 | 0.177 | 0.452 | 1.04 | 2.65
2023-02-17 18:00 | 0.792 | 1.52 | 2.7305 | 0.6135 | 0.929 | 0.386 | 0.715 | 1.5055 | 2.64
2023-02-17 19:00 | 2.365 | 3.2595 | 3.461 | 1.753 | 2.606 | 1.915 | 2.114 | 3.872 | 3.52
2023-02-17 20:00 | 2.2645 | 4.5325 | 6.1455 | 1.6835 | 10.4655 | 6.67 | 2.545 | 3.821 | 3.67
2023-02-17 21:00 | 1.9415 | 3.29 | 7.814 | 1.246 | 2.2165 | 3.542 | 1.296 | 3.7565 | 3.85
2023-02-17 22:00 | 1.974 | 3.6905 | 10.009 | 1.424 | 1.854 | 1.329 | 1.113 | 3.613 | 3.83
2023-02-17 23:00 | 1.5015 | 2.1875 | 9.1475 | 1.0355 | 1.45 | 0.836 | 0.633 | 2.839 | 3.48
2023-02-18 | 0.779 | 1.3975 | 11.6755 | 0.4065 | 0.596 | 0.173 | 0.242 | 1.528 | 2.682
2023-02-18 01:00 | 0.5685 | 1.127 | 8.8335 | 0.163 | 0.4745 | 0.098 | 0.12 | 1.2435 | 2.4315
2023-02-18 02:00 | 0.3125 | 1.091 | 7.181 | 0.117 | 0.3325 | 0.037 | 0.09 | 1.0495 | 2.2783
2023-02-18 03:00 | 0.217 | 0.8275 | 5.5315 | 0.0975 | 0.2915 | 0.019 | 0.078 | 0.8915 | 2.178
2023-02-18 04:00 | 0.705 | 1.227 | 3.6265 | 0.282 | 0.596 | 0.156 | 0.47 | 1.283 | 2.2763
2023-02-18 05:00 | 1.222 | 1.8515 | 4.278 | 0.675 | 1.101 | 0.504 | 1.934 | 2.0645 | 2.8521
2023-02-18 06:00 | 1.158 | 1.7615 | 2.8735 | 0.6865 | 1.085 | 0.532 | 1.925 | 2.249 | 3.0856
2023-02-18 07:00 | 1.182 | 1.725 | 2.273 | 0.696 | 1.077 | 0.528 | 1.121 | 2.0765 | 3.1301
2023-02-18 08:00 | 0.941 | 2.248 | 2.1355 | 0.4915 | 0.9495 | 0.34 | 0.43 | 1.6515 | 2.9577
2023-02-18 09:00 | 0.962 | 1.652 | 1.4545 | 0.4245 | 1.027 | 0.452 | 0.639 | 1.626 | 3.1893
2023-02-18 10:00 | 0.987 | 5.901 | 0.9795 | 0.3825 | 0.9815 | 0.369 | 0.608 | 1.37 | 3.0838
2023-02-18 11:00 | 0.8615 | 1.252 | 0.9825 | 0.409 | 0.852 | 0.33 | 0.527 | 1.265 | 3.1054
2023-02-18 12:00 | 1.062 | 1.421 | 0.8015 | 0.5085 | 0.969 | 0.462 | 0.4 | 1.4635 | 2.9326
2023-02-18 13:00 | 1.2255 | 1.6835 | 1.045 | 0.5895 | 1.21 | 0.662 | 0.4 | 1.4855 | 2.9985
2023-02-18 14:00 | 1.354 | 2.2175 | 0.7885 | 0.6985 | 1.2285 | 0.653 | 0.505 | 1.6745 | 3.0374
2023-02-18 15:00 | 1.278 | 1.9575 | 1.206 | 0.775 | 2.503 | 1.921 | 0.952 | 2.147 | 3.0371
2023-02-18 16:00 | 1.4425 | 1.95 | 1.038 | 0.8205 | 2.341 | 1.477 | 0.861 | 1.7885 | 3.159
2023-02-18 17:00 | 1.666 | 3.063 | 1.7065 | 1.3465 | 2.2255 | 1.566 | 1.657 | 3.102 | 3.6347
2023-02-18 18:00 | 3.2765 | 4.3945 | 4.102 | 2.222 | 4.6595 | 3.739 | 3.088 | 4.7815 | 4.7065
2023-02-18 19:00 | 3.8285 | 5.8675 | 4.295 | 3.1085 | 5.4185 | 5.254 | 3.069 | 5.4515 | 4.9589
2023-02-18 20:00 | 5.424 | 6.6075 | 6.5085 | 4.3025 | 6.189 | 7.423 | 4.873 | 8.773 | 6.2569
2023-02-18 21:00 | 7.0485 | 8.011 | 6.8045 | 4.645 | 7.892 | 8.72 | 5.454 | 9.129 | 6.5904
2023-02-18 22:00 | 6.446 | 7.4825 | 5.9575 | 4.053 | 7.3515 | 6.18 | 5.114 | 8.0995 | 6.112
2023-02-18 23:00 | 7.308 | 8.4185 | 7.4005 | 4.5605 | 8.291 | 8.27 | 5.745 | 9.9285 | 6.6694

## 1-hour NO2 & O3 2.16-2.17
Notes:
Weymouth 1-hour Average Nitrogen Dioxide and Ozone Data 2/16/23 - 2/17/23.
Data collected from MassDEP's regulatory monitoring station on Monatiquot Street in Weymouth.
Date & Time | Nitrogen Dioxide | Ozone
2023-02-16 | 4.5 | 42.2
2023-02-16 01:00 | 4.9 | 40.5
2023-02-16 02:00 | 5.1 | 39.8
2023-02-16 03:00 | 5.9 | 38.1
2023-02-16 04:00 | 7.5 | 33.9
2023-02-16 05:00 | 12.7 | 24.1
2023-02-16 06:00 | 11.7 | 30.9
2023-02-16 07:00 | 11.4 | 31.5
2023-02-16 08:00 | 9.1 | 35.2
2023-02-16 09:00 | 7.1 | 37.8
2023-02-16 10:00 | 4.7 | 42.5
2023-02-16 11:00 | 3.8 | 44.7
2023-02-16 12:00 | 4 | 45.5
2023-02-16 13:00 | 8.7 | 42.5
2023-02-16 14:00 | 3.6 | 45.9
2023-02-16 15:00 | 4.4 | 44.1
2023-02-16 16:00 | 9 | 39
2023-02-16 17:00 | 12.4 | 30
2023-02-16 18:00 | 23.4 | 14.8
2023-02-16 19:00 | 28.1 | 11.1
2023-02-16 20:00 | 21.1 | 17.9
2023-02-16 21:00 | 30.1 | 7.9
2023-02-16 22:00 | 25.2 | 12.6
2023-02-16 23:00 | 21 | 13.9
2023-02-17 | 26 | 8
2023-02-17 01:00 | 20.1 | 14.9
2023-02-17 02:00 | 7.6 | 31
2023-02-17 03:00 | 4.2 | 35.3
2023-02-17 04:00 | 3.8 | 33.7
2023-02-17 05:00 | 3.2 | 33.4
2023-02-17 06:00 | 3.9 | 30.4
2023-02-17 07:00 | 3.7 | 30.1
2023-02-17 08:00 | 3.3 | 30.9
2023-02-17 09:00 | 3.7 | 30.4
2023-02-17 10:00 | 4 | 29.1
2023-02-17 11:00 | 3.8 | 28.4
2023-02-17 12:00 | 3.3 | 30.3
2023-02-17 13:00 | 4.2 | 31.1
2023-02-17 14:00 | 5.6 | 30.6
2023-02-17 15:00 | 4.1 | 37
2023-02-17 16:00 | 3.9 | 40.1
2023-02-17 17:00 | 4.4 | 36.6
2023-02-17 18:00 | 3.2 | 30.9
2023-02-17 19:00 | 4 | 29.4
2023-02-17 20:00 | 3.1 | 32.2
2023-02-17 21:00 | 2.9 | 34.1
2023-02-17 22:00 | 2.5 | 35.3
2023-02-17 23:00 | 2.2 | 37