The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

23 Service Center

Northampton, MA 01060

Telephone (413) 586-7525, ext. 1196

Facsimile (413) 784-1037 TTY (800) 769-9991

peter.wheeler@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

May 4, 2011

Christopher J. Donelan, Sheriff

Franklin County Jail and House of Correction

160 Elm Street

Greenfield, MA 01301

Re: Facility Inspection

Dear Sheriff Donelan:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Franklin County Jail and House of Correction on May 4, 2011 accompanied by Captain Schindler. Violations noted are listed below

(* indicates conditions documented on previous inspection reports).

LOBBY

Men’s Bathroom

No Violations Noted

Women’s Bathroom

No Violations Noted

KITCHEN

FC 4-501.11			Good Repair: Light not working in walk-in freezer

FC 4-501.11			Good Repair: Light not working in walk-in coolers # 1 and 2

FC 3-304.12(A)			In Use Utensils: Scoop handle touching product

FC 6-501.16			Drying Mops: Mop stored in bucket

LAUNDRY

No Violations Noted

MEDICAL

No Violations Noted

COMMISSARY

No Violations Noted

A POD

Cells

105 CMR 451.353	Interior Maintenance: Blocked air vents in cell # 10

105 CMR 451.353		Interior Maintenance: Floor paint peeling in cell # 30

Showers

105 CMR 451.123	Maintenance: Dirty air vents in all showers

B POD

Cells

105 CMR 451.353		Interior Maintenance: Floor paint peeling in cell # 25 and 30

Showers

105 CMR 451.123	Maintenance: Dirty air vents in all lower showers

105 CMR 451.123	Maintenance: Standing water on floor from shower by cell # 31

C POD

Cells

105 CMR 451.353	Interior Maintenance: Floor paint peeling, in cell # 3, 5, 6, 8, 11, 12, 24, 26, 28 and 30

105 CMR 451.353	Interior Maintenance: Blocked air vents in cell # 15, 30 and 33

Showers

105 CMR 451.123	Maintenance: Dirty air vents in all upper showers

D POD

Cells

105 CMR 451.353	Interior Maintenance: Floor paint peeling, in cell # 1, 2, 4, 6, 13, 16, 21, 23 and 25

Showers

105 CMR 451.123	Maintenance: Dirty air vents in all upper showers

INTAKE

Cells

105 CMR 451.102*	Pillows and Linens: Pillow damaged in cell # E2

Booking

No Violations Noted

Programs

No Violations Noted

Maintenance

No Violations Noted

Warehouse

No Violations Noted

ADMINISTRATIONS

Central Control

No Violations Noted

Outer Break Room

No Violations Noted

MEDIUM SECURITY

105 CMR 451.353		Interior Maintenance: Blocked air vents in all cells

Laundry

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Observations and Recommendations

- The inmate population was 234 at the time of inspection

This facility does not comply with the Department’s regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Peter Wheeler

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Acting Commissioner, DOC

Captain Lori Streeter, EHSO

Greenfield Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS