Daily Procedure for Monitoring Temperatures Using Fridge-Tag 2L

**Current Temp**

**1**

**In the morning, view display for current temperature and check for “ALARMS”.**

**Repeat steps 2 & 3 for each additional day site is closed (holidays and weekends) to review min/max temperatures.**

**Press “READ” to view maximum (warmest) temperature from the previous day.**

The *Date* and *Time* will appear under the Events column whenever “READ” button is pressed. This fulfills the requirement to monitor temperatures twice daily.

**Press**

**“READ”**

**2**

**5**

**3**

**Press**

**“READ”**

**Press**

**“READ”**

**Press**

**“READ”**

**4**

**Press “READ” to view minimum (coldest) temperature from the previous day.**

**Press “READ” to view minimum (coldest) temperature since midnight.**

**Press “READ” to view the maximum (warmest) temperature since midnight.**

Freezer

REFRIGERATOR

If temperature is warmer than:

**-15°C (+5°F)**

**for >60 Minutes**

If temperature is colder than:

**2°C (35°F)**

**for >15 Minutes**

If temperature is warmer than:

**8°C (46°F)**

**for > 30 Minutes**

**Every AM**

**Immediately**

Upload temp logs into MIIS and call the Vaccine Unit at 617-983-6828 if temperatures are out of range.

**Office**

**Closed**

**Every PM**

**2-3**

**Repeat steps 1 through 3.**

**1-3**