## Overeall Takeaways
Grid Modernization Advisory Council ESMP Review Aggregated Recommendations
Feedback Pertaining to Meeting #4: October 26, 2023 (Sections 1, 2, 7, 13 and Transmission System Planning). Aggregated on November 7, 2023
These recommendations are submitted in accordance with current GMAC process, reserving the right to add, amend, or withdraw recommendations based on further review and other developments, including but not limited to GMAC review and meetings and other members' recommendations.
Section | Issue area | General Takeaway | Specific Member Takeaways | Consultant Recommendations
00 - Transmission System | Planning alignment | Recommend transmission planning efforts align with what's proposed in ESMPs | The EDCs should clearly align their transmission planning efforts with the ESMPs, as well as distributional and distributed resource plans, offering clear methodologies for creating cost estimates, cost recovery, and timelines for the study process. | n/a
00 - Transmission System | Transmission cost studies | Recommend expedited study process for transmission costs and impacts | Studies should be conducted quickly to help inform conversations about the full cost of distribution system upgrades and impacts on ratepayers, and should be communicated to stakeholders throughout the process.
01 - Executive Summary | Demand charges | Recommend no demand charges to LMIs | The EDCs should NOT impose demand charges on residential and low- to moderate-income consumers. | n/a
01 - Executive Summary | Accessible communication | Recommend using visual aids to communicate information | The ESMPs should present their findings using clear communications methods to aid readers in connecting the dots, in particular using charts, maps, graphics, tables, and any other means of tying information together succinctly and plainly.
01 - Executive Summary | Consistency | Recommend each EDC use the same time horizon for future projections | Future ESMPs should reflect agreement of time horizons represented.
01 - Executive Summary | EDC feedback | Recommend EDCs offer policy recommendations | The ESMPs should be provided space to offer policy recommendations to the Commonwealth.
02 - Compliance with 2022 Climate Law | Climate Law compliance | Recommend EDCs provide clearer details about compliance with Climate Law | The EDCs should make a stronger and clearer case as to how their ESMPs comply with specific components of the statutory requirements of the Climate Law. Such components include, but are not limited to, analyses of costs and benefits, cost effectiveness, ratepayer impacts, low-income customer impacts, assessments of alternative investments and/or options, distributed generation development and impacts, stakeholder engagement, battery storage, and consideration of alternative financing. The insufficient level of detail provided throughout the ESMPs has prevented the GMAC in meeting its statutory requirements | The ESMPs should address the following to improve the DPU's ability to assess compliance with the Climate Act: ​ —Lack of detail on costs and benefits​ —Lack of analysis of cost effectiveness​ —Lack of analysis of ratepayer impacts​ —Lack of analysis of low-income customer impacts​ —Lack of detailed assessment of alternatives, including assessment of both alternative investments and alternatives to investment —Lack of detailed consideration of alternative financing The consultant and GMAC recommendations regarding the other sections of the ESMPs should be adopted to help improve the ESMPs and make them more in compliance with the Climate Act ​ Section 2 should be expanded to provide more detail about how the ESMPs comply with the Climate Act​: —Instead of a simple reference to another section or subsection of the ESMP, Section 2 should include text explaining how the section or subsection demonstrates compliance —Section 2 should include a chart or table summarizing and mapping the requirements of the Climate Act with the location in the ESMP that demonstrates compliance with those requirements
02 - Compliance with 2022 Climate Law | Metrics | Recommend that metrics be developed earlier | Metrics development should be included as part of a stakeholder process prior to issuing future draft ESMPs and should be submitted at the same time as the ESMPs are due.
02 - Compliance with 2022 Climate Law | New technologies | Recommend that technologies such as DER and BESS are incorporated into plans | The EDCs should develop a set of factors to be considered for modeling to enable beneficial hosting capacity including land use, siting to meet load, and utilization of alternative technologies (such as DER and battery storage) to mitigate the need for infrastracture.
02 - Compliance with 2022 Climate Law | Emissions reduction | Recommend that EDCs enable DG interconnection to meet GHG emissions targets | The EDCs should propose all proactive infrastructure upgrades needed to enable hosting capacity for DG interconnection to meet the Commonwealth's clean energy objectives in its ESMP for pre-approval and reconciliation, mitigating the need for intervening adjudicatory proceedings for cost allocation.
07 - 5-year ESMP | Cost allocation and net benefits | Recommend that EDCs explicitly state methodologies regarding costs and related impacts | The ESMPs should more explicitly state their methologies for determining cost allocations, alternative options, rate impacts, cost recovery, timeline for implementation, and impacts on environmental justice populations. These investments should then map to a detailed description of customer net benefits. | The EDCs should calculate the value of risk reductions from proposed investments in terms of dollar value and use that calculation to inform spending decisions. The EDCs should standardize types, categories, and status of historical and proposed capital spending, differentiating between required (non-discretionary) and discretionary categories.
07 - 5-year ESMP | Emissions reduction | Recommend that ESMPs illustrate methodologies for GHG reduction and clean tech | The ESMPS should illustrate their methodologies for calculating greenhouse gas emissions reductions and deployment of clean technologies to achieve such.
07 - 5-year ESMP | Distributed generation | Recommend that EDCs be transparent about DG processes and proposals | When driving processes such as multiple group studies for distributed generation processes or similar, EDCs should explain the process by which it would seek to make any such proposals, including any authorization or approvals the EDC would seek from the DPU.
13 - Conclusion | Missing information | Recommend that EDCs supply detail on analyses not performed | The ESMPs should offer detail on what analyses were not included in this iteration and for what reason. | The EDCs should use benefit-cost analysis methodology, comparing a set of alternatives to a reference case, including ratepayer impacts analysis and greenhouse gas emissions reduction analysis that factors in the social cost of carbon. Rather than a simple reference to another section or subsection of the ESMP, Section 2 should include text explaining how the section or subsection demonstrates compliance, including a chart or table summarizing and mapping the requirements ​of the Climate Act with the location in the ESMP that demonstrates compliance with those requirements​.
13 - Conclusion | Benefit-cost analyses | Recommend that EDCs use BCAs and the social cost of carbon | The EDCs should provide their benefit-cost analyses, ratepayer impacts analysis, and greenhouse gas emissions reduction analysis. Within the benefit-cost analyses, it is recommended that the social cost of carbon is included and analyzed, and that the BCA elements from the GMAC consultant presentation during the 10/26/23 GMAC meeting are considered to the fullest extent possible.
13 - Conclusion | Interconnection | Recommend that stakeholder engagement include DG developers for interconnection studies | Stakeholder engagement for the EDCs should include outreach to all distributed generation developers in Massachusetts, particularly those with projects in study or pending in the interconnection queue, and to provide opportunities for their feedback on interconnection customer inquiries and related information.
13 - Conclusion | Metrics: ready-for-load | Recommendation that RFL metric offer transparent permitting and timelines | The EDCs' proposed metric regarding the timing and status of ESMP infrastructure process should be inclusive of ESMP technology projects. The ready-for-load (RFL) metric for ESMP infrastructure projects should offer transparency in reporting permits and timelines in alignment with ESMP metric reporting.
13 - Conclusion | Metrics: permitting | Recommendation that ESMPs are transparent on permit types and process timelines | Prior to substation construction permitting, the ESMPs should provide greater transparency regarding permit types and process timelines beginning with the first date that ESMP metrics are reported.
13 - Conclusion | Future ESMPs | Recommendation that EDCs offer recommendations for proposed rules and procedures to the DPU | The EDCs should offer their recommendations for proposed rules and procedures to the DPU for future ESMPs, as well as additional methodologies for investigation, stakeholder engagement, analysis, etc., that were not possible given the time constraints of this year's submission process.

## Feedback and Recommendations
Grid Modernization Advisory Council ESMP Review Aggregated Recommendations
Feedback Pertaining to Meeting #4: October 26, 2023 (Sections 1, 2, 7, 13 and Transmission System Planning). Excel Sheet Aggregated on November 7, 2023
These recommendations are submitted in accordance with current GMAC process, reserving the right to add, amend, or withdraw recommendations based on further review and other developments, including but not limited to GMAC review and meetings and other members' recommendations.
# | EDC ESMP | Section | Subsection | Page Number | Area of Concern | Comment type | Guiding Question | Recommendation or Question | Additional Comment | GMAC Member/GMAC Consultant | Additional Information Attachments
1 | All EDCs | 00 - Transmission System |  |  | Demand response | Clarification recommendation |  | I am noting in the outline under 5.1.5 that there is a note about DR and dynamic load. I would recommend adding a section to the recommendations to discuss coordinating between state-level DR and transmission/ISO-NE DR. This would help the EDCs be able to better project and model how DER may participate in ISO markets under Order 2222 as well as state-level DR. At the moment, this is being handled very conservatively in the ESMPs partially due to lack of clarity about how this would work on the customer side. |  | Kathryn Wright (Barr Foundation)
2 | All EDCs | 00 - Transmission System |  |  | Dx systems/Costs | Process recommendation |  | The EDCs indicated to the GMAC that they would need approximately a year to conduct a transmission cost study for the amount of medium and near-term distribution investments proposed in the ESMPs. I encourage the CETWG to recommend this study be conducted quickly (with a deadline) to help inform conversations about the full cost of distribution system upgrades and the impact on ratepayers in Massachusetts from both T&D costs. |  | Kathryn Wright (Barr Foundation)
3 |  | 00 - Transmission System |  |  | Lack of detail | Transparency recommendation | 3.Does the ESMP section facilitate the achievement of the statewide greenhouse gas emission limits and sublimits under chapter 21N? | This section should identify and describe required enabling transmission infrastructure and technology investments that coordinate with ESMP investments; including cost estimates, indication of expected cost recovery process, and estimated implementation timeline for those investments. To the extent assessments are being performed to determine these factors please provide estimated timelines to perform the assessment/applicable studies and any interdependencies with distribution infrastructure approval |  | Kathryn Cox-Arslan (New Leaf Energy)
4 | Eversource | 00 - Transmission System |  |  | Transmission | Transparency recommendation | 4.Does the ESMP section effectively optimize net customer benefits and cost-effective investments in the distribution grid? This includes investments to enable the interconnection of and communication with distributed energy resources and transmission-scale renewable energy resources, facilitation of electrification of buildings and transportation, and increased reliability and resiliency. | The ESMPs refer to transmission system upgrades that would be triggered by/required to enable the distribution system upgrades described in the ESMPs. At the GMAC meeting on October 12, there was some discussion regarding the additional time/work that would be required for transmission analyses identifying the exact nature of associated transmission upgrades. At the joint GMAC/CETWG meeting there was some discussion regarding how ISO-NE may not yet have visibility into the major distribution system upgrades (and the associated transmission system upgrades) described in the ESMPs. This raises questions regarding how, for example, ESMP-associated transmission system upgrades would be integrated into transmission system planning and how regulators and other stakeholders can track such upgrades, understand the full cost to ratepayers, and have a holistic view of the electric power system. Eversource and National Grid should provide details regarding (1) the timing of any studies for ESMP-associated transmission upgrades/associated costs and (2) the stakeholders with whom and forums through which they plan to provide the studies/related information. Additionally, even if they are high-level, preliminary summaries and estimates, the companies should provide in the ESMPs available information regarding the anticipated ESMP-associated transmission upgrades, including cost estimates. |  | Kelly Caiazzo (AGO)
5 | All EDCs | 00 - Transmission System |  |  |  | Request for clarification | 4.Does the ESMP section effectively optimize net customer benefits and cost-effective investments in the distribution grid? This includes investments to enable the interconnection of and communication with distributed energy resources and transmission-scale renewable energy resources, facilitation of electrification of buildings and transportation, and increased reliability and resiliency. | As noted in a previous recommendation submitted on Chapter 6, additional clarity regarding distinguishing distribution system upgrades and transmission system upgrades and related costs would be beneficial. Specifically, are any estimated transmission costs considered in the ESMP investment summaries presented in Chapters 1, 7? Specific to National Grid, is the total cost of the investments described in the tables in Chapter 6 (Exhibits 6.10, 6.13, 6.16, 6.19, 6.22, and 6.25) reflected in the summary investment charts (e.g. Exhibit 7.1)? With respect to the discussions of enabled capacity, customer benefits, and complying with the Commonwealth's clean energy and climate policy, to what extent does that enablement, delivery of benefits, and compliance depend on the completion of associated transmission upgrades? For example, for substation projects, Eversource provides numbers for the number of new EVs or residential heat pumps that would be enabled. To what extent are those numbers impacted by/dependent on associated transmission upgrades? Any forthcoming benefit cost assessments should address the full scope of the investments (and associated costs) that would be required to deliver the estimated benefits by, at a minimum, describing the full scope of the investments that would be required to deliver the benefits. |  | Kelly Caiazzo (AGO)
6 | National Grid | 00 - Transmission System |  |  |  | Transparency recommendation | 4.Does the ESMP section effectively optimize net customer benefits and cost-effective investments in the distribution grid? This includes investments to enable the interconnection of and communication with distributed energy resources and transmission-scale renewable energy resources, facilitation of electrification of buildings and transportation, and increased reliability and resiliency. | Eversource and National Grid should provide additional information regarding integrated distribution and transmission system planning and their understanding of the regulatory review process for such planning. The EDCs and other stakeholders should remain engaged in discussion on integrated planning to ensure transparency across distribution and transmission system planning. Such transparency is key to ensuring cost-effective investments for ratepayers across the electric power system. The ESMPs refer to transmission system upgrades that would be triggered by/required to enable the distribution system upgrades described in the ESMPs. At the GMAC meeting on October 12, there was some discussion regarding the additional time/work that would be required for transmission analyses identifying the exact nature of associated transmission upgrades. At the joint GMAC/CETWG meeting there was some discussion regarding how ISO-NE may not yet have visibility into the major distribution system upgrades (and the associated transmission system upgrades) described in the ESMPs. This raises questions regarding how, for example, ESMP-associated transmission system upgrades would be integrated into transmission system planning and how regulators and other stakeholders can track such upgrades, understand the full cost to ratepayers, and have a holistic view of the electric power system. Eversource and National Grid should provide details regarding (1) the timing of any studies for ESMP-associated transmission upgrades/associated costs and (2) the stakeholders with whom and forums through which they plan to provide the studies/related information. Additionally, even if they are high-level, preliminary summaries and estimates, the companies should provide in the ESMPs available information regarding the anticipated ESMP-associated transmission upgrades, including cost estimates. |  | Kelly Caiazzo (AGO)
7 | Eversource | 01 - Executive Summary | 1.1 | 5 | Siting and permitting reform | Request for clarification |  | Will Eversource lead or engage, and how, in efforts to reform siting and permiting of projects? |  | Sarah Bresolin Silver (ENGIE)
8 | Eversource | 01 - Executive Summary | 1.1 | 7 | ESMP organization | Process recommendation |  | Eversource ESMP time horizons are ten years and 2035-2050. Unitils are 5, 10 and 2050. For the next ESMP it may be helpful for utilities to look across the same time horizons. |  | Sarah Bresolin Silver (ENGIE)
9 | Eversource | 01 - Executive Summary | 1.1 | 7 | Future DG growth. | Missing information |  | Noting that there is no mention of proactively building infrastructure to support the future growth of BESS, just solar. |  | Sarah Bresolin Silver (ENGIE)
10 | Eversource | 01 - Executive Summary | 1.1 | 8 | BESS ownership | Request for clarification |  | Is Eversource referring to utility-owned BESS: "Building system capacity with substations and battery storage systems…" Is there an opportunity for private developers to participate here which has the potential to lower costs for ratepayers? |  | Sarah Bresolin Silver (ENGIE)
11 | Eversource | 01 - Executive Summary | 1.1 | 22 | Future DG growth. | Missing information |  | "The full ten-year plan enables an additional 1.2 GW of solar incremental to the five-year plan solar enablement…." What about BESS enablement? |  | Sarah Bresolin Silver (ENGIE)
12 | National Grid | 01 - Executive Summary | 1.5 |  | Visualization | Presentation recommendation | 1.Does the ESMP section demonstrate equity, including increased transparency and stakeholder engagement in the grid planning process and an equitable distribution of impacts and benefits? | The Executive summaries should include the maps of current and proposed substations for ESMPs. The Executive summary should also discuss how the utilities plan to explore NWAs and the grid compensation fund |  | Kathryn Wright (Barr Foundation)
13 | Unitil | 01 - Executive Summary | 1.5 | 18 | Visualization | Presentation recommendation | 1.Does the ESMP section demonstrate equity, including increased transparency and stakeholder engagement in the grid planning process and an equitable distribution of impacts and benefits? | Some of the visualizations from later in the ESMPs can be used to better characterize the investments. The Executive summaries should include the maps of current and proposed substations for ESMPs. The Executive summary should also discuss how the utilities plan to explore NWAs and the grid compensation fund. DOER also produced summary slides for the Listening Sessions that discussed how much demand was expected to grow, when the system would shift to a winter peak and what the key demand drivers are. A similar table would be helpful in this section to summarize key points. Right now, it is just chart showing demand growth without much explanation. |  | Kathryn Wright (Barr Foundation)
14 | Eversource | 01 - Executive Summary | 1.6 | 22 |  | Clarification recommendation | 2.Does the ESMP section encourage least-cost investments in the electric distribution systems or alternative investments, such as virtual power plants (VPP) and non-wire alternatives (NWA)? | Eversource should reconcile the .9GW incremental hosting capacity referred to on page 16 and the 1.2GW of incremental capacity cited on page 22 and specifically denote where the incremental hosting capacity is created, what if any additional process is necessary to commence construction of the infrastructure upgrades needed to make the claimed capacity ready for installed DG, and estimated construction timelines. |  | Kathryn Cox-Arslan (New Leaf Energy)
15 | Eversource | 01 - Executive Summary | 1.6 | 18 ( 40 in the PDF) | Visualization | Presentation recommendation | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | To help summarize information, can the proposed investments be mapped to the benefits in 1.6? In addition, can Eversource provide a graph or table summarizing grid modernization investments and the incremental spending in this ESMP in the Executive Summary? |  | Kathryn Wright (Barr Foundation)
16 | All EDCs | 01 - Executive Summary |  |  |  | Presentation recommendation | 3.Does the ESMP section facilitate the achievement of the statewide greenhouse gas emission limits and sublimits under chapter 21N? | To allow for adequate identification of the appropriateness and scope of the ESMPs and targets utilized by the EDCs (specifically the targets for BESS and PV) the EDCs should, at a minimum, include a chart that clearly identifies the targets cited, current status against those targets, incremental progress against targets based on other approved investments (ie grid mod), and target progress with full implementation of ESMP investments. |  | Kathryn Cox-Arslan (New Leaf Energy)
17 | Eversource | 01 - Executive Summary |  | 7 |  | Request for clarification | 3.Does the ESMP section facilitate the achievement of the statewide greenhouse gas emission limits and sublimits under chapter 21N? | The following sentence discusses both electrification in the Eversource service territory, as well as Statewide, and it is unclear what is meant by Statewide in this context: "Across the Eversource service territory, the 2035 available headroom therefore enables 2.5 million Electriv Vehicles (Statewide) and the equivalent of 1 million residential Heat Pumps (Statewide)." |  | Sarah Cullinan (MassCEC)
18 | Eversource | 01 - Executive Summary |  | 8 | Clarification | Clarification recommendation |  | The Company states that the plan will result in a 14% improvement in customer outage minutes. The 14% should include the number of minutes that translates to, so that it is more apparently how meaningful a 14% improvement is. |  | Sarah Cullinan (MassCEC)
19 | Eversource | 01 - Executive Summary |  | Labeled Page 6 (or page 28 in the PDF) | Section 1.2 | Presentation recommendation | 1.Does the ESMP section demonstrate equity, including increased transparency and stakeholder engagement in the grid planning process and an equitable distribution of impacts and benefits? | Please consider adding graphics to the section to help summarize the ESMPs connection to the CECP (see page 17 of NGrid's plan for an example). Instead of describing the proposed substations by region, this information could also be communicated visually. |  | Kathryn Wright (Barr Foundation)
20 | Eversource | 01 - Executive Summary |  | Labeled Page 11 (or page 33 in the PDF) | Section 1.2 | Strategy objection | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | Please see my earlier comments about why demand charges as discussed on page 11 of the plan, are inappropriate for residential and LMI consumers. I am happy Eversource is openly discussing needed rate reforms for electrification, but this discussion needs to be broader than demand charges (including in this Executive Summary). Here's what I'm referencing: "While the Company does not specifically propose new rate designs in its ESMP, the Company acknowledges a collective need to shift away from volumetric rates toward demand charge-based rate designs to ensure that necessary utility infrastructure investments as well as the Commonwealth’s clean energy program costs are recovered from the broadest customer segments, while ensuring that usage in this electrified future is not being penalized." |  | Kathryn Wright (Barr Foundation)
21 | Eversource | 01 - Executive Summary |  |  | Section 1.3 | Presentation recommendation | 1.Does the ESMP section demonstrate equity, including increased transparency and stakeholder engagement in the grid planning process and an equitable distribution of impacts and benefits? | Please add service territory maps to be in alignment with the other two ESMPs. |  | Kathryn Wright (Barr Foundation)
22 | National Grid | 01 - Executive Summary |  | 13 | Policy action | Process recommendation | 4.Does the ESMP section effectively optimize net customer benefits and cost-effective investments in the distribution grid? This includes investments to enable the interconnection of and communication with distributed energy resources and transmission-scale renewable energy resources, facilitation of electrification of buildings and transportation, and increased reliability and resiliency. | I like that National Grid brings to the front a list of areas where policy can/should help to enable the transition. I think a goal of the ESMPs should be to develop (perhaps jointly with the EDCs and GMAC) a set of policy recommendations for MA State agencies to consider. |  | Sarah Cullinan (MassCEC)
23 | National Grid | 01 - Executive Summary |  | 11 | Visualization | Presentation recommendation | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | To help the readers: can the investments described be mapped to how they advance the 5 outcomes described on this page? This helps communicate the value of the proposed investments. |  | Kathryn Wright (Barr Foundation)
24 | National Grid | 01 - Executive Summary |  | 17 |  | Missing information |  | I like this graphic. Is it also possible to add quantification of the GHG impact of the ESMP to the executive summary? |  | Kathryn Wright (Barr Foundation)
25 | Unitil | 01 - Executive Summary |  |  | ESMP organization | Process recommendation |  | Eversource ESMP time horizons are ten years and 2035-2050. Unitils are 5, 10 and 2050. For the next ESMP it may be helpful for utilities to look across the same time horizons. |  | Sarah Bresolin Silver (ENGIE)
26 | Unitil | 01 - Executive Summary |  | 1.2 | GHG quantification | Presentation recommendation | 3.Does the ESMP section facilitate the achievement of the statewide greenhouse gas emission limits and sublimits under chapter 21N? | Summary charts showing the contribution of the ESMP to the CECP GHG emissions targets and other relevant state targets (e.g. heat pump goals) would be helpful as opposed to pure written description. National Grid has a helpful take on this on page 17 of their document. |  | Kathryn Wright (Barr Foundation)
27 | All EDCs | 02 - Compliance with 2022 Climate Law |  |  | Compliance | Clarification recommendation | 4.Does the ESMP section effectively optimize net customer benefits and cost-effective investments in the distribution grid? This includes investments to enable the interconnection of and communication with distributed energy resources and transmission-scale renewable energy resources, facilitation of electrification of buildings and transportation, and increased reliability and resiliency. | The EDCs' Section 2 and their ESMPs should provide more details on their compliance with G.L. c. 164, § 92B(b). This includes improving the detail in the narrative within Chapter 2, as well as references to specific places within the ESMPs where compliance is specifically demonstrated. | The chapter's writing is conclusory and the level of detail provided in the ESMPs as described in Section 92B(b) is insufficient. This is evident in the EDCs’ lack of information on the cost of investments analysis, alternative investments, and net customer benefits. | Elizabeth Mahony (DOER)
28 | All EDCs | 02 - Compliance with 2022 Climate Law |  |  | Technical Conferences vs. Stakeholder Sessions | Clarification recommendation | 1.Does the ESMP section demonstrate equity, including increased transparency and stakeholder engagement in the grid planning process and an equitable distribution of impacts and benefits? | The EDCs should provide more details about, and make a distinction between, its legislatively required technical conferences and stakeholder sessions. | G.L. c. 164, § 92B(c)(iii) requires the EDCs to “conduct technical conferences and a minimum of 2 stakeholder meetings to inform the public.” There must be stakeholder sessions that are separate from the technical conferences. It is unclear it the EDCs have made that distinction. | Elizabeth Mahony (DOER)
29 | All EDCs | 02 - Compliance with 2022 Climate Law |  |  | Compliance | Clarification recommendation | 1.Does the ESMP section demonstrate equity, including increased transparency and stakeholder engagement in the grid planning process and an equitable distribution of impacts and benefits? | The EDCs should explain if and how outreach to state and federal agencies was conducted, as specified in G.L. c. 164, § 92B(b). | G.L. c. 164, § 92B(c)(iii) requires the EDCs to “… [inform] appropriate state and federal agencies and companies engaged in the development and installation of distributed generation, energy storage, vehicle electrification systems and building electrification systems.” The GMAC is unable to verify if the EDCs’ conducted outreach to any other state agencies or federal agencies as it is not discussed in the ESMPs. | Elizabeth Mahony (DOER)
30 | All EDCs | 02 - Compliance with 2022 Climate Law |  |  | Compliance | Transparency recommendation | 1.Does the ESMP section demonstrate equity, including increased transparency and stakeholder engagement in the grid planning process and an equitable distribution of impacts and benefits? | The insufficient level of detail provided throughout the ESMPs has prevented the GMAC in meeting its statutory requirements. It is recommended that in future ESMP iterations, all information that the GMAC is statutorily required to review (information including metrics, rate payer impacts, and cost-benefit analysis) is submitted at the same time. | According to with G.L. c. 164, § 92C, the GMAC has specific requirements for recommendations on the EDCs’ ESMPs. The GMAC is charged with analyzing the plans’ net customer benefits and cost effectiveness so that it may recommend how to maximize customer benefits and encourage least cost investments in the electric distribution system. The GMAC is unable to meet its statutory requirements if the EDCs fail to provide the information on costs and benefits. | Elizabeth Mahony (DOER)
31 | All EDCs | 02 - Compliance with 2022 Climate Law |  |  | Transparency | Process recommendation | 1.Does the ESMP section demonstrate equity, including increased transparency and stakeholder engagement in the grid planning process and an equitable distribution of impacts and benefits? | The GMAC received the ESMP metrics on October 19th, shortening the time the GMAC had to consider them. The EDCs should include metrics development as part of a stakeholder process before delivering the ESMPs to the GMAC in future ESMPs and also provide a full set of proposed metrics to the GMAC when they deliver their ESMPs. | Metrics are important components of grid planning and require thoughtful consideration. It is also important that metrics are able to be analyzed through a stakeholder process. Submitting metrics when ESMPs are submitted allows for more robust stakeholder feedback and more equitable outcomes. | Elizabeth Mahony (DOER)
32 | All EDCs | 02 - Compliance with 2022 Climate Law |  |  | Transparency | Presentation recommendation | 1.Does the ESMP section demonstrate equity, including increased transparency and stakeholder engagement in the grid planning process and an equitable distribution of impacts and benefits? | The EDCs should provide summary tables and clear explanation of the statutorily required discrete specific and enumerated investments and cost alternatives. | As noted in previous chapters’ recommendations, the ESMPs should include a comprehensive and clear synthesis of existing investment areas, implementation plans, future planned investments, and ongoing metrics reporting. This recommendation was laid out on May 8, 2023, in a DOER-authored letter to the EDCs to outline initial recommendations for the ESMPs (https://www.mass.gov/doc/letter-from-doer-to-edcs-on-initial-recommendations-for-esmps/download). Recommendation 1 calls for clear synthesis of investment areas and implementation plans. | Elizabeth Mahony (DOER) | Yes, attachment(s) emailed with Excel sheet.
33 | All EDCs | 02 - Compliance with 2022 Climate Law |  |  | Transmission | Clarification recommendation | 4.Does the ESMP section effectively optimize net customer benefits and cost-effective investments in the distribution grid? This includes investments to enable the interconnection of and communication with distributed energy resources and transmission-scale renewable energy resources, facilitation of electrification of buildings and transportation, and increased reliability and resiliency. | The fact that the legislation addresses/requires the ESMPs to consider investments in the transmission system should be considered in terms of how the ESMPs are supposed to address that requirement to reach full compliance. |  | Sarah Cullinan (MassCEC)
34 | All EDCs | 02 - Compliance with 2022 Climate Law |  |  | DG Interconnection/ Proactive analysis | Transparency recommendation | 4.Does the ESMP section effectively optimize net customer benefits and cost-effective investments in the distribution grid? This includes investments to enable the interconnection of and communication with distributed energy resources and transmission-scale renewable energy resources, facilitation of electrification of buildings and transportation, and increased reliability and resiliency. | The EDCs should propose an analysis process (including stakeholder engagement) for forecasting for proactive infrastracture upgrades to enable DG interconnection to meet the Commonwealth's clean energy policies and objectives. The analysis process should be based on proposals and comments submitted in D.P.U. 20-75 but be modified to model for the holistic system planning required in the ESMPs. The proactive infrastructure upgrades should drive development of DG in areas of the Commonwealth that will most benefit the state as a whole and facilitate meeting the Commonwealth's clean energy objectives. The EDCs should develop a set of factors to be considered for modeling to enable beneficial hosting capacity including land use, siting to meet load, and utilization of new technologies to mitigate the need for infrastracture. |  | Kathryn Cox-Arslan (New Leaf Energy)
35 | All EDCs | 02 - Compliance with 2022 Climate Law |  |  | Cost Allocation/ Lack of Detail | Transparency recommendation | 3.Does the ESMP section facilitate the achievement of the statewide greenhouse gas emission limits and sublimits under chapter 21N? | The EDCs should propose all proactive infrastructure upgrades needed to enable hosting capacity for DG interconnection to meet the Commonwealth's clean energy objectives in its ESMP for pre-approval and reconciliation, mitigating the need for intervening adjudicatory proceedings for cost allocation. |  | Kathryn Cox-Arslan (New Leaf Energy)
36 | All EDCs | 02 - Compliance with 2022 Climate Law |  |  | Transmission | Request for clarification | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | The compliance section makes multiple references to transmission. This is not a topic we have been able to discuss in detail beyond the session with the CETWG. The transmission needs driven by the ESMP will have an impact on the costs felt by ratepayers. Will more detailed EDC analysis on transmission costs related to this ESMP be made available for the DPU's review? ISO-New England also made comments about electrification potentially driving transmission needs at their 11/1 Board Meeting, but I am not sure how aware they are of the demand projections and infrastructure plans that have been produced through this GMAC/ESMP process. Can the EDCs comment on what the coordination process with ISO will be for the demand projections for this and future ESMPS? |  | Kathryn Wright (Barr Foundation)
37 | All EDCs | 02 - Compliance with 2022 Climate Law |  |  |  | Missing information |  | The ESMPs should address the following to improve the DPU's ability to assess compliance with the Climate Act: ​ —Lack of detail on costs and benefits​ —Lack of analysis of cost effectiveness​ —Lack of analysis of ratepayer impacts​ —Lack of analysis of low-income customer impacts​ —Lack of detailed assessment of alternatives, including assessment of both alternative investments and alternatives to investment —Lack of detailed consideration of alternative financing |  | GMAC Consultant Team
38 | Eversource | 02 - Compliance with 2022 Climate Law |  |  | BESS opportunities | Missing information |  | A requirement of G.L. c. 164, § 92B(b) is to create opportunities to deploy energy storage technologies to improve renewable energy utilization and avoid curtailment. This ESMP provides little information on opportunities for BESS. |  | Sarah Bresolin Silver (ENGIE)
39 | National Grid | 02 - Compliance with 2022 Climate Law |  |  | BESS opportunities | Missing information |  | A requirement of G.L. c. 164, § 92B(b) is to create opportunities to deploy energy storage technologies to improve renewable energy utilization and avoid curtailment. This ESMP provides little information on opportunities for BESS. |  | Sarah Bresolin Silver (ENGIE)
40 | Unitil | 02 - Compliance with 2022 Climate Law |  | 21 | BESS opportunities | Missing information |  | A requirement of G.L. c. 164, § 92B(b) is to create opportunities to deploy energy storage technologies to improve renewable energy utilization and avoid curtailment. This ESMP provides little information on opportunities for BESS. |  | Sarah Bresolin Silver (ENGIE)
41 | All EDCs | 07 - 5-year ESMP | 7.1 |  | Proposed Cost Recovery | Transparency recommendation | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | Agree with comments suggesting clearer visualizations and greater specificity of what the EDCs consider to be base/ongoing; approved (showing an itemization and quantification of the total investment and investment in plant in service, with references to the docket numbers and associated exhibits that provide the specificity); and newly proposed (with itemization). For any investments for which an EDC plans to seek cost recovery through a mechanism in an approved, pending, or forthcoming rate case, the EDC should clearly identify the mechanism through which the company plans to seek cost recovery. For example, Eversource should specify which investments the Company would propose to recover under "its approved cost recovery mechanisms," (page 263) including the "K-bar" formula, or other mechanisms (such as the exogenous cost provisions of its PBR rate plan). (See DPU 22-22 Order). To the extent any EDC plans to propose new, ESMP-specific cost recovery mechanisms, the company should provide detailed descriptions of the cost recovery proposal, the specific investments to which such a proposal would apply, and an explanation regarding the company's justification for proposing a new cost recovery mechanism. |  | Kelly Caiazzo (AGO)
42 | All EDCs | 07 - 5-year ESMP | 7.1 |  | Net Benefits and Ratepayer Impacts | Transparency recommendation | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | Will the forthcoming benefit cost assessments only address portions of the investments described in the ESMPs? Specifically, (for capital investments) for Eversource "Proposed Plan-Resiliency and Clean Energy Enablement" (page 379), for National Grid "Future Grid Plan" (page 312), and Unitil "Proposed Capital Spending" (page 105)? If so, this analysis will exclude a significant portion of what is described in the ESMPs and will present only a limited view of the benefits and costs of the investments described in the ESMPs. When presenting ratepayer impacts and bill impacts, the EDCs should include information to identify the full impacts of the investments described in the ESMPs, including major substation projects. This discussion and presentation of ratepayer and bill impacts should not be limited to what the EDCs are proposing in the "Proposed"/"Future" categories described above. |  | Kelly Caiazzo (AGO)
43 | All EDCs | 07 - 5-year ESMP | 7.1 |  | Alternatives | Transparency recommendation | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | All EDCs should provide a more fulsome description of alternatives considered, and reasons alternatives were not chosen over the ultimate proposal. An appendix table of each proposed investment and a list of alternatives considered or an explanation of why alternatives were not/could not be considered, would be a helpful tool in justifying the ultimate proposals. Such an appendix should also specify which investments were open to NWAs, and if they weren't, why not and what could have qualified the project for NWA treatment (i.e., identification of need sooner in time). |  | Sarah Cullinan (MassCEC)
44 | Eversource | 07 - 5-year ESMP | 7.1 | 378, 380 | Figures 182 & 183 | Clarification recommendation |  | The qualifier "Net" following the category name DER/CIP is confusing and should be made clear (Figure 182). Further, the category names in the Figure should map directly to the categories described in the snippets below the Figure (applies to Figures 182 and 183). |  | Sarah Cullinan (MassCEC)
45 | Eversource | 07 - 5-year ESMP | 7.1 | 379 | Clarification | Clarification recommendation |  | The use of the word "refine" in the following sentence is unclear: "… the Company intends to work collaboratively with the GMAC to refine these Proposed Resiliency and Clean Energy Enablement Investments…" |  | Sarah Cullinan (MassCEC)
46 | Eversource | 07 - 5-year ESMP | 7.1 |  |  | Transparency recommendation |  | The spending summarized in Figures in this section should be presented in a more direct way to provide the exact dollar amounts associated with each of the existing and planned categories described below the Figure. |  | Sarah Cullinan (MassCEC)
47 | Eversource | 07 - 5-year ESMP | 7.1 | 378 | CIPs/Investment | Request for clarification |  | Will Eversource file the CIPs separately from the ESMP? |  | Sarah Bresolin Silver (ENGIE)
48 | Unitil | 07 - 5-year ESMP | 7.1 | 103-107 | Capital spend | Presentation recommendation | 4.Does the ESMP section effectively optimize net customer benefits and cost-effective investments in the distribution grid? This includes investments to enable the interconnection of and communication with distributed energy resources and transmission-scale renewable energy resources, facilitation of electrification of buildings and transportation, and increased reliability and resiliency. | The spending summarized in Figures should be presented in a more direct way to provide the exact dollar amounts associated with each of the existing and planned categories descibed below the Figure. | I see that this granular information is presented in the Executive Summary, but would be helpful to include it here too for completeness | Sarah Cullinan (MassCEC)
49 | Unitil | 07 - 5-year ESMP | 7.1 | 120 | Incremental Investments | Presentation recommendation | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | I appreciate the explanations of the existing and proposed capital spend. In the next graph, can the incremental spend for this ESMP be disaggregated in a table so its easier to see the amount over the next 5-year and 10-year periods? |  | Kathryn Wright (Barr Foundation)
50 | Eversource | 07 - 5-year ESMP | 7.1.1 | 404 | Stakeholder feedback | Request for clarification | 1.Does the ESMP section demonstrate equity, including increased transparency and stakeholder engagement in the grid planning process and an equitable distribution of impacts and benefits? | "The Company encourages stakeholder feedback as a part of its investment decision-making process, including alternative analysis. To be actionable, however, the timing of feedback is critical. Large capacity projects, for instance, take many years to plan, engineer, design, and construct. Projects described in Section 6 expected to be placed in service in the 2025-2029 period have established plans not subject to change based on new feedback. Projects expected to be placed into service after 2029, however, are currently in the planning and design phase such that the Company may be able to incorporate stakeholder feedback without significant redesign cost." When would stakeholder processes start for proposed 2029 project? In addition, can Eversource and other EDCs provide clarity on where the substations with early timelines are in approval processes. |  | Kathryn Wright (Barr Foundation)
51 | Unitil | 07 - 5-year ESMP | 7.1.1 | 109-110 | Alternatives | Transparency recommendation | 2.Does the ESMP section encourage least-cost investments in the electric distribution systems or alternative investments, such as virtual power plants (VPP) and non-wire alternatives (NWA)? | Unitil does not describe what alternatives were considered and why they were not chosen. A full explanation of the alternatives to the proposed plan that were considered would provide a better sense of the universe of options and better justify the ultimate proposal. The brief discussion of the possibility of utilizing DER to address system needs should be more descriptive, including examples or areas of the system that the Company could envision benefitting from DER as an investment alternative, or even scoping the full possible potential value from deferral or other services. |  | Sarah Cullinan (MassCEC)
52 | Unitil | 07 - 5-year ESMP | 7.1.1 |  | DER Compensation | Request for clarification | 2.Does the ESMP section encourage least-cost investments in the electric distribution systems or alternative investments, such as virtual power plants (VPP) and non-wire alternatives (NWA)? | Can Unitil provide clarity on the timing of when DER compensation studies would be completed and when the grid compensation fund will be available? Will pilots occur before this timeframe? |  | Kathryn Wright (Barr Foundation)
53 | Eversource | 07 - 5-year ESMP | 7.1.2 | 384 | Federal Funding | Transparency recommendation | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | Can Eversource share their outstanding federal grant proposals to help the council understand how federal funds will offset needed spending? |  | Kathryn Wright (Barr Foundation)
54 | National Grid | 07 - 5-year ESMP | 7.1.2 | 316 | Alternatives | Transparency recommendation | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | National Grid states that they did consider alternative cost allocation approaches for Future Grid investments, but concluded that the approach proposed provides a fair, practical, and effective way to support electrification. National Grid should provide a full explanation of the alternatives considered and why they were not ultimately chosen. It is difficult to determine if the assessment of other options was robust without more information. |  | Sarah Cullinan (MassCEC)
54 | National Grid | 07 - 5-year ESMP | 7.1.2 | 317 | Federal funding | Transparency recommendation | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | National Grid should provide a full explanation of whether their application for federal cost-share for a technology innovation project will defray costs that would otherwise have been borne by ratepayers, or rather, if the project proposed is in addition to/incremental to what would otherwise have been planned/needed via the ESMP. |  | Sarah Cullinan (MassCEC)
55 | National Grid | 07 - 5-year ESMP | 7.1.2 | 316 | Cost allocation options | Transparency recommendation | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | Can National Grid surface what alternative cost allocation processes it considered and decided not to pursue? This section does not explain what the other options were. |  | Kathryn Wright (Barr Foundation)
56 | National Grid | 07 - 5-year ESMP | 7.1.2 | 317 | Federal Funding | Transparency recommendation | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | What aspects of the proposed spending plan will federal funds offset? Can National Grid and all EDCs share their outstanding federal grant proposals to help the council understand how you are trying to utilize alternative funds? | Comment applies to all EDCs | Kathryn Wright (Barr Foundation)
57 | National Grid | 07 - 5-year ESMP | 7.1.2 | 316 | DER Integration | Request for clarification | 4.Does the ESMP section effectively optimize net customer benefits and cost-effective investments in the distribution grid? This includes investments to enable the interconnection of and communication with distributed energy resources and transmission-scale renewable energy resources, facilitation of electrification of buildings and transportation, and increased reliability and resiliency. | National Grid states that the Company is currently processing multiple Group Studies for DG projects, that more such studies are likely, and that "[n]ew CIP proposals will be made at the Company's discretion." (Page 316) The Company should explain the process by which it would seek to make any such proposals, including any authorization or approvals the Company would seek from the DPU. Based on previously proposed CIPs, new CIP proposals could include major substation projects and transmission system investments, among other things. The Company should provide available information regarding the number of Group Studies it is currently processing (including the number of projects and project type and size), as well as any other Group Studies that it foresees conducting in within the 5-year planning cycle; the estimated timeframe in which the Company would propose each CIP; a description of the proposed upgrades; a description of how any new CIPs would be integrated into the Company's 5-/10-year planning; and any cost estimates. (See previously submitted Chapter 6 recommendation regarding DER integration.) |  | Kelly Caiazzo (AGO)
58 | Eversource | 07 - 5-year ESMP | 7.1.3 |  | Customer benefits | Clarification recommendation | 4.Does the ESMP section effectively optimize net customer benefits and cost-effective investments in the distribution grid? This includes investments to enable the interconnection of and communication with distributed energy resources and transmission-scale renewable energy resources, facilitation of electrification of buildings and transportation, and increased reliability and resiliency. | Description of benefits is helpful/informative, however, there should be a much more direct mapping of proposed investments/projects/dollars to benefits, for instance a table that shows a column with the investment area, a column with the specific proposed investments/projects, a column with the costs of those projects, a column with the expected categories/description of benefits, and then, when/if available, a column quantifying or further qualifying those benefits. |  | Sarah Cullinan (MassCEC)
59 | Eversource | 07 - 5-year ESMP | 7.1.3 | 407 | Benefits | Request for clarification | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | Please see previous comments about quantification of customer benefits. |  | Kathryn Wright (Barr Foundation)
60 | National Grid | 07 - 5-year ESMP | 7.1.3 | 319 | Customer benefits | Clarification recommendation | 4.Does the ESMP section effectively optimize net customer benefits and cost-effective investments in the distribution grid? This includes investments to enable the interconnection of and communication with distributed energy resources and transmission-scale renewable energy resources, facilitation of electrification of buildings and transportation, and increased reliability and resiliency. | The discussion of "Reduced GHG emission and air pollutants" should be more complete, and draw the connections from the investments being made and how they enable reductions |  | Sarah Cullinan (MassCEC)
61 | National Grid | 07 - 5-year ESMP | 7.1.3 | 319 | Customer benefits | Strategy objection | 4.Does the ESMP section effectively optimize net customer benefits and cost-effective investments in the distribution grid? This includes investments to enable the interconnection of and communication with distributed energy resources and transmission-scale renewable energy resources, facilitation of electrification of buildings and transportation, and increased reliability and resiliency. | It doesn't seem to me that the following plans/programs fulfill an intend to avoid land-use impacts via the ESMPs. I think more effective land-use avoidance would come from working to identify where to enable efficient/smart solar deployment, for instance. "Using its own land and working with partners, the Company has an opportunity to cut carbon and restore nature at the same time. The Company will improve the natural environment on the Company's own land; for example, by protecting habitats and increasing biodiversity." |  | Sarah Cullinan (MassCEC)
62 | National Grid | 07 - 5-year ESMP | 7.1.3 | 319-320 | Customer benefits | Clarification recommendation | 4.Does the ESMP section effectively optimize net customer benefits and cost-effective investments in the distribution grid? This includes investments to enable the interconnection of and communication with distributed energy resources and transmission-scale renewable energy resources, facilitation of electrification of buildings and transportation, and increased reliability and resiliency. | Exhibit 7.3 (table of benefits) is helpful/informative, however, there should be a much more direct mapping of proposed investments/projects/dollars to benefits, for instance a table that shows a column with the investment area, a column with the specific proposed investments/projects, a column with the costs of those projects, a column with the expected categories/description of benefits, and then, when/if available, a column quantifying or further qualifying those benefits. |  | Sarah Cullinan (MassCEC)
63 | National Grid | 07 - 5-year ESMP | 7.1.3 | 319 | Table 7.3 | Clarification recommendation | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | I recognize a more detailed customer benefits study is forthcoming. It would be helpful if that document or the revised ESMPs where possible could communicate the net benefits after the costs for this ESMPs. |  | Kathryn Wright (Barr Foundation)
64 | Unitil | 07 - 5-year ESMP | 7.1.3 | 112-113 | Customer benefits | Presentation recommendation | 4.Does the ESMP section effectively optimize net customer benefits and cost-effective investments in the distribution grid? This includes investments to enable the interconnection of and communication with distributed energy resources and transmission-scale renewable energy resources, facilitation of electrification of buildings and transportation, and increased reliability and resiliency. | Table 38 (table of benefits) is helpful/informative, however, there should be a much more direct mapping of proposed investments/projects/dollars to benefits, for instance a table that shows a column with the investment area, a column with the specific proposed investments/projects, a column with the costs of those projects, a column with the expected categories/description of benefits, and then, when/if available, a column quantifying or further qualifying those benefits. |  | Sarah Cullinan (MassCEC)
65 | All EDCs | 07 - 5-year ESMP |  |  | Transparency | Transparency recommendation | 2.Does the ESMP section encourage least-cost investments in the electric distribution systems or alternative investments, such as virtual power plants (VPP) and non-wire alternatives (NWA)? | The EDCs should include information on costs and implementation timelines and processes for non-infrastructure investments/programs. | In DOER’s letter to the EDCs on the ESMPs, DOER requested that the ESMPs include “a comprehensive and clear synthesis of existing investment areas, implementation plans, future planned investments” (recommendation 1) and “prioritize strategic planning in the first ESMP process” (Recommendation 6). The EDCs should provide summaries of the costs (currently missing) and plans for these non-capital investment proposals in this chapter of their ESMPs. | Elizabeth Mahony (DOER) | Yes, attachment(s) emailed with Excel sheet.
66 | All EDCs | 07 - 5-year ESMP |  |  | Stakeholder engagment | Transparency recommendation |  | The EDCs should consider adding a section to this Chapter on how they imagine other stakeholders can support distribution system planning during the 5-year ESMP period. | The stakeholder community is invested in the decarbonization of the Commonwealth and wants to participate. It would be helpful if the EDCs outlined how they imagined stakeholders could support or participate in the grid planning process to ease the transition. | Elizabeth Mahony (DOER)
67 | All EDCs | 07 - 5-year ESMP |  |  | Transparency | Clarification recommendation | 1.Does the ESMP section demonstrate equity, including increased transparency and stakeholder engagement in the grid planning process and an equitable distribution of impacts and benefits? | The EDCs should make updates to their investment summaries to improve clarity and increase standardization across their investment proposals. | Some suggestions that could help increase alignment and transparency include: - Explicitly identifying in which dockets certain investments are approved. For example, DOER understands that Eversource had a large investment approval through their most recent rate case. Are those investments included under the “Current Plan – Electric Operations”? - Aligning terminology across the EDCs for various investment areas. - Considering adding figures that separately plot the existing and proposed investments for both CapEx and OpEx. - More clearly linking legends in the figures to the qualitative descriptive text and ensuring that all areas in the bar charts are described in text as well. | Elizabeth Mahony (DOER)
68 | All EDCs | 07 - 5-year ESMP |  |  | Emissions reduction targets | Transparency recommendation | 3.Does the ESMP section facilitate the achievement of the statewide greenhouse gas emission limits and sublimits under chapter 21N? | The EDCs should include quantitative analysis for how this plan satisfies emissions reduction targets given by the 2050 CECP and identify how ratepayers are benefitting. Quantitative analysis should include (but not be limited to): clean technology adoption rates, number of interconnecting projects to the grid, building electrification rates, and customer bill impacts. | As discussed by the consultant in prior GMAC meetings, this information should be included in this chapter. It might also be referenced in this chapter, if that information is included in a different chapter. | Elizabeth Mahony (DOER)
69 | All EDCs | 07 - 5-year ESMP |  |  |  | Clarification recommendation | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | All EDCs should provide a benchmark/point of comparison for the projected level of investment in the 5-year plan, by comparing to the last 5 years of spending. |  | Sarah Cullinan (MassCEC)
70 | All EDCs | 07 - 5-year ESMP |  |  | Cost Allocation/ Lack of Detail | Transparency recommendation | 3.Does the ESMP section facilitate the achievement of the statewide greenhouse gas emission limits and sublimits under chapter 21N? | The EDCs should develop a long-term cost allocation methodology for DG interconnection that facilitates proactive system planning and shares costs between distribution customers and all interconnecting customers in a service territory. The EDCs should include their proposed methodology and any rate calculation formulas and supporting tariffs. |  | Kathryn Cox-Arslan (New Leaf Energy)
71 | All EDCs | 07 - 5-year ESMP |  |  | Lack of detail | Transparency recommendation | 2.Does the ESMP section encourage least-cost investments in the electric distribution systems or alternative investments, such as virtual power plants (VPP) and non-wire alternatives (NWA)? | Section 7 should be more detailed and comprise a full summary of the request for approval to the DPU in regards to specific infrastructure upgrades and rate recovery treatment for the initial 5-year period. The section should identify specific investment requests for Department approval, and include at a minimum, (1) a detailed description of the investment, including projected cost, equipment, permitting and licensing requirements, and construction timeline, (2) projected bill impacts; (3) expected cost recovery mechanism or proceeding, or already approved cost recovery; (4) expected timeline for cost recovery and construction, (5) any associated proposed tariffs or revised existing tariffs, (6) a detailed description of how the investment will benefit ratepayers and aligns with cost-efficiently meeting the Commonwealth’s clean energy policies; and (4) explanation of how the investment will affect low-income and environmental justice populations, including describing any projects that will be constructed in an environmental justice neighborhood. |  | Kathryn Cox-Arslan (New Leaf Energy)
72 | All EDCs | 07 - 5-year ESMP |  |  |  | Strategy objection |  | The EDCs should calculate the value of risk reductions from proposed investments in terms of dollar value and use that calculation to inform spending decisions. |  | GMAC Consultant Team
73 | All EDCs | 07 - 5-year ESMP |  |  |  | Transparency recommendation |  | The EDCs should standardize types, categories, and status of historical and proposed capital spending, differentiating between required (non-discretionary) and discretionary categories. | REQUIRED: Solution is needed for safe and reliable service within the planning period​, such as: facility relocations, new business connections, capacity expansion (backed by circuit- or substation-specific load forecasts indicating near-term equipment exceedances), repair or replacement of equipment that has failed or been damaged, some types of software (admin, operations), some types of standard compliance (strictly interpreted), real estate, fleet, tools DISCRETIONARY: Variation is available as to solutions, timing, and geographic extent, such as: advancing capacity expansion (in anticipation of future load growth); system performance (extraordinary efforts to improve reliability beyond current levels)​; specialty software​; discretionary options for standard compliance (loosely interpreted)​; and customer programs​ | GMAC Consultant Team
74 | Eversource | 07 - 5-year ESMP |  |  | Data | Presentation recommendation |  | Eversource should include a table breaking out their approved and proposed investments. | National Grid and Unitil both include tables to supplement the data present in their bar charts of 5- and 10-year investments, and Eversource should as well. | Elizabeth Mahony (DOER)
75 | Eversource | 07 - 5-year ESMP |  | 377 |  | Transparency recommendation | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | The Company states that the plan remains flat over the ten-year term, however, it should be discussed more clearly if that means flat compared to today's investment/spending and therefore bill impacts, or rather, the 10 years do not differ much among that subset of years. |  | Sarah Cullinan (MassCEC)
76 | Eversource | 07 - 5-year ESMP |  |  | Throughout | Transparency recommendation | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? | Please clarify and disaggregate proposed versus existing spending in tables in both 5-year and 10-year investment plans. Please also provide clarity on what items will require additional DPU approval either via the ESMP process or a separate filing (E.g. the proposed on-bill program). |  | Kathryn Wright (Barr Foundation)
77 | Unitil | 07 - 5-year ESMP |  |  | Alignment | Presentation recommendation | 1.Does the ESMP section demonstrate equity, including increased transparency and stakeholder engagement in the grid planning process and an equitable distribution of impacts and benefits? | Unitil should update the coloring used in their investment figures to align with the color scheme that Eversource and National Grid use. (Green shades to indicate proposed ESMP investments, blue shades to indicate base rate investments, yellow/orange/red shades to indicate discretionary investment mechanisms (Grid mod, EVs, CIPs, etc.)
78 | All EDCs | 13 - Conclusion | 13.3 |  | Metrics | Process recommendation |  | The EDCs outline a process for developing ESMP metrics. The process should be a longer, more collaborative effort. As envisioned, it includes an EDC proposal with one round of stakeholder feedback. The development of a metrics dashboard would benefit from targeted technical sessions with key representative stakeholders, kicked off by a straw proposal or multiple straw proposals from various stakeholders for consideration. Ideally, the metrics that are proposed to the DPU would be a consensus proposal. It would be ideal if a metrics track could lag the ESMP adjudication to allow enough time for this process. |  | Sarah Cullinan (MassCEC)
79 | All EDCs | 13 - Conclusion | 13.3 | Table 83 in Eversource Document | Table of ESMP metrics | Clarification recommendation | 2.Does the ESMP section encourage least-cost investments in the electric distribution systems or alternative investments, such as virtual power plants (VPP) and non-wire alternatives (NWA)? | Noting that, "Use of DER as an Asset" is a proposed metric category, but the metrics provided to the GMAC did not include a dedicated metric in this category. Please cross reference the Equity Working Group comments for a number of possible metrics focused on DERs. |  | Kathryn Wright (Barr Foundation)
80 | All EDCs | 13 - Conclusion |  |  | Technical Sessions | Process recommendation | 1.Does the ESMP section demonstrate equity, including increased transparency and stakeholder engagement in the grid planning process and an equitable distribution of impacts and benefits? | The EDCs should provide in their filed ESMPs detail about the technical sessions they will hold in November, including session agendas, attendees, feedback received, and how they responded to the stakeholder feedback. |  | Elizabeth Mahony (DOER)
81 | All EDCs | 13 - Conclusion |  |  | BCA | Transparency recommendation | 4.Does the ESMP section effectively optimize net customer benefits and cost-effective investments in the distribution grid? This includes investments to enable the interconnection of and communication with distributed energy resources and transmission-scale renewable energy resources, facilitation of electrification of buildings and transportation, and increased reliability and resiliency. | The EDCs should provide their Cost-Benefit Analysis, ratepayer impacts analysis, and greenhouse gas emissions reduction analysis. Within the Cost-Benefit Analysis, it is recommended that the social cost of carbon is included and analyzed, and that the BCA elements from the GMAC consultant presentation during the 10/26/23 GMAC meeting are considered to the fullest extent possible. | The current ESMPs note that the EDCs are working on their customer benefit analysis to submit with their filings in January. Not having this information hinders the GMAC review of the plans, and prevents the GMAC from reviewing the ESMPs to the full extent as required by law. The EDCs should also supplement their benefit cost analysis with a distributional equity analysis. | Elizabeth Mahony (DOER)
82 | All EDCs | 13 - Conclusion |  |  | Collaboration with the GMAC | Process recommendation |  | The EDCs should include more detail on how they intend to collaborate with the GMAC throughout the plan period. | The current plans have one sentence that note that the EDCs “expect an ongoing collaboration with the GMAC throughout the ESMP plan period”. The EDCs should be clearer on what this collaboration will entail. | Elizabeth Mahony (DOER)
83 | All EDCs | 13 - Conclusion |  |  | Next ESMP Process | Process recommendation |  | The EDCs should indicate how they imagine working with the GMAC to plan for the next ESMP process. | The current GMAC review process was far too short, and the ESMPs did not work with any stakeholders to seek feedback before their submission to the GMAC on September 1st. The next ESMP should have more stakeholder engagement, specifically through the GMAC but also extended to other existing working groups, to improve the plans and establish broader consensus prior to the ESMPs being submitted to the GMAC. | Elizabeth Mahony (DOER)
84 | All EDCs | 13 - Conclusion |  |  | Metrics | Transparency recommendation |  | The EDCs should provide additional detail on the metrics they submitted. Some of the metrics do not describe how they will be measured. | For example, one metric is for “The percentage of customers covered by/benefiting from incremental resiliency investments outlined in the EDC’s ESMPs”. The EDCs do not describe how resilience will be measures or how the EDCs intend to identify which customers benefit. | Elizabeth Mahony (DOER)
85 | All EDCs | 13 - Conclusion |  |  | Metrics | Transparency recommendation |  | The EDCs should identify ESMP-relevant metrics that they already reporting on. | The EDCs provided table (Pre-existing Metrics for EDCs) identifies other metrics that they are required to report. Some of these are relevant to the ESMPs, however, and it would be helpful for the EDCs to identify which specific metrics might be useful to also consider in the context of the ESMPs. | Elizabeth Mahony (DOER)
86 | All EDCs | 13 - Conclusion |  |  | Metrics |  |  | The EDCs provided a proposed stakeolder metric: The number of outreach and involvement meetings about the respective EDCs ESMP filing with stakeholders, including EJCs, municipal leaders, community-based organizations and customers (i.e., residential, commercial and industrial, as well as DER customers). We recommend that the EDC's specifically identify a goal for such a metric to make this measurable. For this particular metric we propose that the EDCs establish a goal of outreach to all trades identified by the EDCs as representing Distributed Generation Developers in Massachusetts in their stakeholdering process. |  | Kathryn Cox-Arslan (New Leaf Energy)
87 | All EDCs | 13 - Conclusion |  |  | Metrics |  |  | The EDCs provided a proposed stakeholder metric: The number of outreach and involvement meetings about specific ESMP infrastructure projects with stakeholders, including EJCs, municipal leaders, community-based organizations, and customers (i.e., residential, commercial and industrial, as well as DER customers). We recommend that the EDC's specifically identify a goal for such a metric to make this measurable. For this particular metric we propose that the EDCs conduct outreach to all DG developers with projects in study or pending in the interconnection queue. |  | Kathryn Cox-Arslan (New Leaf Energy)
88 | All EDCs | 13 - Conclusion |  |  | Metrics |  |  | The EDCs provided a proposed stakeholder metric :The number and category of requests made as part of stakeholder feedback on specific ESMP infrastructure projects, classified into visual mitigation, access accommodations, work hours, right-of-way maintenance, informational accommodations, engineering accommodations, and damage prevention, as well as the EDC’s response to these requests classified as under consideration, implemented, not accepted with reason, and other. This metric and the description of categories associated with the requests do not reflect the requets and feedback that could be provided by DG stakeholders. We suggest creating a new category of request to reflect interconnection customer inquiries. |  | Kathryn Cox-Arslan (New Leaf Energy)
89 | All EDCs | 13 - Conclusion |  |  | Metrics |  |  | The EDCs proposed a metric: Using commercially reasonable efforts, the achievement dates of ready for load (“RFL”) for major ESMP infrastructure projects which will be measured from the time the EDC receives: (1) a final, non-appealable order from the Department of Public Utilities (“Department”) approving a cost recovery mechanism applicable to the project; and (2) all required permits and approvals for such projects through final, non-appealable state or federal orders and local permitting processes. While we agree that transparency into the timing and status of ESMP infrastructure projects is relevant we recommend the following changes: 1. This metric can be modified or replicated for ESMP technology projects (measured from the date of DPU order) 2. The RFL metric for ESMP infrastructure projects depends on permitting completion in addition to a DPU order. Even if the measurement does not begin until permits are received the EDCs should provide transparency into their reporting into the types of permits and current timelines of this process in their ESMP reporting cycle beginning with the first cycle of ESMP metric reporting |  | Kathryn Cox-Arslan (New Leaf Energy)
90 | All EDCs | 13 - Conclusion |  |  | Metrics/Transmission upgrade reporting | Transparency recommendation |  | The EDCs should provide transparency between ESMP cycles on the progress and status of transmission assessments, approvals, permitting, and construction to support ESMP investments |  | Kathryn Cox-Arslan (New Leaf Energy)
91 | All EDCs | 13 - Conclusion |  |  | Metrics | Presentation recommendation |  | The EDCs should provide a summary metric that in a summary similar to the table recommended in Chapter 1 reports each target cited in the ESMP, status as of ESMP filing date, current status as of metric reporting date as measured against the target established by the full implementation of ESMP investments |  | Kathryn Cox-Arslan (New Leaf Energy)
92 | All EDCs | 13 - Conclusion |  |  |  | Transparency recommendation | 1.Does the ESMP section demonstrate equity, including increased transparency and stakeholder engagement in the grid planning process and an equitable distribution of impacts and benefits? | I am part of the equity working group and reassert our recommendations on transparency, engagement and metrics for this section. |  | Kathryn Wright (Barr Foundation)
93 | All EDCs | 13 - Conclusion |  |  |  | Strategy objection |  | The EDCS should use cost-benefit analysis (CBA) methodology (as opposed to least-cost/best fit) wherein all benefits and costs should be compared with a reference case, and alternative cases should be designed to evaluated the net benefits of incremental grid modernization projects relative to the reference case. Each incremental project should ideally be evaluated and justified on its own merits​ evaluating multiple alternative projects. If this is not practical, some projects should be bundled into logical groupings of interrelated projects. |  | GMAC Consultant Team
94 |  | 13 - Conclusion |  |  | ESMP rule and procedures | Process recommendation |  | The EDCs should propose rules and procedures to the DPU for future iterations of the ESMPs. |  | Kathryn Cox-Arslan (New Leaf Energy)
95 |  | 13 - Conclusion |  |  | Lack of detail | Transparency recommendation | 4.Does the ESMP section effectively optimize net customer benefits and cost-effective investments in the distribution grid? This includes investments to enable the interconnection of and communication with distributed energy resources and transmission-scale renewable energy resources, facilitation of electrification of buildings and transportation, and increased reliability and resiliency. | Recognizing that due to time constraints certain analysis and information was not possible to include in this ESMP, the EDCs should clearly identify in their filings, the areas of analysis that were not possible to conduct or include in this first ESMP process and indicate their intention to include specific additional items and information in the next ESMP. The EDCs should also provide proposals for additional processes needed for any topics identified in its ESMP analysis that would benefit from investigation or stakeholder collaboration in the interim between this ESMP process and the next or that cannot be fully adjudicated in this ESMP process due to time constraints. |  | Kathryn Cox-Arslan (New Leaf Energy)
96 |  | 13 - Conclusion |  |  | Metrics |  |  | The EDCs proposed a metric: The increase in: (a) DER hosting capacity, and (b) load serving capacity by substation demonstrated by an increase in transformer rating installed. This metric will additionally include reporting information specific to environmental justice communities (“EJCs”), stating what percentage of benefits is located in an EJC. This metric will be measured from the time the EDC receives: (1) a final non-appealable order from the Department approving a cost recovery mechanism applicable to the substation project, and (2) for specific projects at the time when all required permits and approvals for such projects are received, including through final, non-appealable state or federal orders and local permitting processes. The capacity metrics proposed here depend on permitting completion in addition to a DPU order. Even if the measurement does not begin until permits are recieved the EDCs should provide transparency into their reporting into the types of permits and current timelines of this process in their ESMP reporting cycle beginning with the first date that ESMP metrics are reported |  | Kathryn Cox-Arslan (New Leaf Energy)
97 | [5 empty] | Presentation recommendation |  | Rather than a simple reference to another section or subsection of the ESMP, Section 2 should include text explaining how the section or subsection demonstrates compliance, including a chart or table summarizing and mapping the requirements ​of the Climate Act with the location in the ESMP that demonstrates compliance with those requirements​.

## Attachments
Grid Modernization Advisory Council ESMP Review Aggregated Recommendations
Feedback Pertaining to Review Meeting #4: October 26, 2023 (Sections 1, 2, 7, 13 and Transmission System Planning)
These recommendations are submitted in accordance with current GMAC process, reserving the right to add, amend, or withdraw recommendations based on further review and other developments, including but not limited to GMAC review and meetings and other members’ recommendations.
Some GMAC members supplemented their ESMP recommendations and feedback with written attachments. Please see the attached zipfile containing all submitted attachments. File names begin with the cell number they correspond to in the "Cleaned Data" tab.

## Review Schedule
ESMP Review Schedule
DEADLINES FOR FEEDBACK/RECOMMENDATIONS
Please email MA-GMAC@mass.gov a completed Excel sheet with recommendations pertaining to sections reviewed at each GMAC meeting. A compiled sheet will be created and maintained by the GMAC consultant.
| Excel Due Date | ESMP Section Recommendations
| 2023-09-22 | Stakeholder Engagement, Current State, 5–10-year forecast (Chapters 3, 4, 5)
| 2023-10-06 | 5–10-year solutions, Reliable & Resilient, Workforce, Economic, & Health Benefits (Chapters 6, 10, 12)
| 2023-10-20 | 2035-2050 Drivers and Solution, Gas-Electric Planning (Chapters 8, 9, 11)
| 2023-11-03 | Executive Summary, Climate Act Compliance, 5-year ESMP, Conclusion (Chapters 1, 2, 7, 13)

## Do Not Edit - Data Key
EDC ESMP | Section | Subsection | Page Number | Area of Concern | Guiding Question | Recommendation or Question | Feedback | GMAC Member | Date Added | Upload
Eversource | 01 - Executive Summary | 1.5 |  |  | 1.Does the ESMP section demonstrate equity, including increased transparency and stakeholder engagement in the grid planning process and an equitable distribution of impacts and benefits? |  |  | Kelly Caiazzo (AGO) |  | Yes, attachment(s) emailed with Excel sheet.
National Grid | 02 - Compliance with 2022 Climate Law | 1.6 |  |  | 2.Does the ESMP section encourage least-cost investments in the electric distribution systems or alternative investments, such as virtual power plants (VPP) and non-wire alternatives (NWA)? |  |  | Sarah Cullinan (MassCEC) |  | None
Unitil | 07 - 5-year ESMP | 1.7 |  |  | 3.Does the ESMP section facilitate the achievement of the statewide greenhouse gas emission limits and sublimits under chapter 21N? |  |  | Elizabeth Mahony (DOER)
All EDCs | 13 - Conclusion | 1.8 |  |  | 4.Does the ESMP section effectively optimize net customer benefits and cost-effective investments in the distribution grid? This includes investments to enable the interconnection of and communication with distributed energy resources and transmission-scale renewable energy resources, facilitation of electrification of buildings and transportation, and increased reliability and resiliency. |  |  | Sarah Bresolin Silver (ENGIE)
| 00 - Transmission System | 1.9 |  |  | 5.Does the ESMP section minimize or mitigate impacts on ratepayers and reduce impacts on and provide benefits to low-income ratepayers? |  |  | Marybeth Campbell (Worcester Community Action Council)
|  | 1.1 | [5 empty] | Larry Chretien (GECA)
|  | 7.1 | [5 empty] | Kathryn Cox-Arslan (New Leaf Energy)
|  | 7.1.1 | [5 empty] | Amy McGuire (Highland Fleets)
|  | 7.1.2 | [5 empty] | Kyle Murray (Acadia Center)
|  | 7.1.3 | [5 empty] | JS Rancourt (DXS)
|  | 7.2 | [5 empty] | Andy Sun (MIT)
|  | 7.3 | [5 empty] | Alex Worsley (Enel North America)
|  | 13.1 | [5 empty] | Kathryn Wright (Barr Foundation)
|  | 13.2 | [5 empty] | Jeremy Koo (Designee of Julie Curti; MAPC)
|  | 13.3 | [5 empty] | Jonathan Stout (Dana-Farber)
|  | 13.4 | [5 empty] | GMAC Consultant Team