## 10-Year CAPEX
Eversource Energy
MA ESMP
10-year Capital Budget
$ millions
|  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | TOTAL
| Peak Load & Capacity | 243.3401 | 229.8643 | 264.0236 | 283.0072 | 312.826 | 237.9525 | 316.4994 | 429.5528 | 364.9491 | 526.7077 | 3208.7228
| Basic Business | 232.438 | 237.1206 | 215.1167 | 201.1297 | 207.1636 | 213.3785 | 219.7799 | 226.3733 | 233.1645 | 240.1594 | 2225.8242
| Reliability | 337.0931 | 324.9139 | 318.8214 | 320.4024 | 330.0145 | 339.9149 | 350.1124 | 360.6157 | 371.4342 | 382.5772 | 3435.8998
| New Customer | 75.6228 | 80.0677 | 88.2386 | 89.1286 | 91.8025 | 94.5565 | 97.3932 | 100.315 | 103.3245 | 106.4242 | 926.8738
| DER/CIP* | 50.3441 | 91.9253 | 108.2242 | 72.5641 | 17.3774 | -11.6596 | -11.6596 | -11.6596 | -11.6596 | -11.6596 | 282.137
| AMI | 126.5 | 190.9 | 125.7 | 5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 448.4
| Eversource Solar | 0 | 17 | 15 | 40 | 40 | 50 | 50 | 50 | 50 | 50 | 362
| EV | 18.1 | 17.3 | 17.3 | 17.3 | 17.3 | 17.3 | 17.3 | 17.3 | 17.3 | 17.3 | 173.8
| Grid Mod | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47
| Proposed Plan - Grid Technology | 12 | 23 | 20 | 8 | 7 | 5 | 5 | 5 | 5 | 5 | 95
| Proposed Plan - CIP | -15.2868 | -4.479 | 63.35 | 91.028 | 127.185 | 113.1278 | 53.3019 | 18.8653 | -15.9483 | -15.9483 | 415.1955
| Proposed Plan - Resiliency | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 450
|  | 1172.1513 | 1252.6129 | 1280.7745 | 1172.86 | 1195.669 | 1104.5707 | 1142.7272 | 1241.3625 | 1162.5643 | 1345.5607 | 12070.853

## Capacity (hidden)
Does not Apply to Headroom Sheet
|  |  | Long Range Capital Plan (In-Service from 2025-2029) | 2025-2029
|  |  | Beyond Long Range Capital Plan (In-Service 2030-2034) | 2030 to 2034 2034
CAPITAL EXPENDITURES
Included in DPU 22-22 | Included in ESMP | In-Service Year | MAJOR STATION CAPACITY PROJECTS: | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | Notes | Total Project Cost | Digaunto Comments
Y | Y | 2024 | Somerville #402 Substation Expansion | 2021: 2.3; 2022: 9.3; 2023: 11.306; 2024: 2.262 | Project Number 20332 | 25.168
|  | 2024 | Clinton 21S Substation Transformer Upgrade | 2023: 4.68; 2024: 3 | Includes 3.18M in 2023 for Clinton 3X replacement completion | 7.68
|  | 2024 | Franconia Transformer | 2023: 2; 2024: 2.5 |  | 4.5
|  | 2026 | Silver | 2024: 1; 2025: 2; 2026: 6 |  | 9
|  | 2026 | Plainfield | 2025: 1.5; 2026: 3 |  | 4.5
N | Y | 2026 | Ludlow - 2nd Transformer | 2024: 0.5; 2025: 1; 2026: 3 |  | 4.5
Y | Y | 2024 | Upgrade Medway Station #65 | 2021: 7; 2022: 8.4; 2023: 6.299; 2024: 5.98; 2025: 0 | Project Number 19314 and 19566 - In Service 2024 as per Project Cost Sheet | 27.679
Y | Y | 2025 | New East Eagle Substation #131 | 2022: 16.681; 2023: 8.042; 2024: 28.504; 2025: 37.422; 2026: 3.832 | Project Number 13327 and 13328 | 94.481
Y | Y | 2025 | 5th Submarine Cable to Martha's Vineyard | 2022: 9.787; 2023: 59.153; 2024: 63.485; 2025: 3.738 | Project Number 21012 - Updated cost as per July Cashflow of $136M | 136.163 | This is very clearly incorrect - please fix (Not sure on the final decision of the Steering Committee; need to discuss )
Y | Y | 2025 | Falmouth Tap Substation #924 Transformer Addition | 2023: 4.2559; 2024: 15.0845; 2025: 19.804; 2026: 2.0279 | Project Number 21420; Cost of project is $5M in the Project sheet, increased to match Hilltown | 41.1723 | Cannot be true - too low (increased to cost but $5M is what is in the Project Sheet - JFM)
Y | Y | 2026 | Bulk Distribution Transformer Additions (2 of 3) | 2024: 4; 2025: 21; 2026: 25; 2027: 26 | Alewife Sta 829; Requires new Switchgear and 2nd floor addition | 76
Y | Y | 2027 | Acton-Maynard Supply Initiatives | 2022: 0.5; 2023: 1; 2024: 2.7; 2025: 3.2; 2026: 4.9; 2027: 5 | Only includes interim solution of upgrading the subsation, a new substation was added in the ESMP for longer-term solution | 17.3 | For two breakers and transformer upgrade? Thought this was $15M; Decreased to be closer to 15M and not 20M
|  | 2027+ | Future Targeted BESS Applications (Program) | [6 empty] | 9 | 9.27 | 20.1571 | 20.7618 | 21.3847 | 22.0262 | 22.687 | 23.3676 | 24.0686 | 24.7907 | 25.5344 | 26.3004 | 27.0895 | 27.9021 | Included 3% escalation; Reduced beginning years to account for increase in Industrial Park and Hyde Park | 304.3402
|  | 2025 | Future Targeted BESS Applications (Hyde Park) | 2023: 1.4; 2024: 8.8; 2025: 10.2 | Use Previous numbers | 20.4
Y | Y | 2025 | Future Targeted BESS Applications (Industrial Park) | 2024: 1.4; 2025: 8.8; 2026: 10.2 | Use Previous numbers | 20.4
Y | Y | 2028 | New Cambridge #8025 115kV/14kV Substation | 2023: 11.2; 2024: 15.3; 2025: 35.3; 2026: 40.1; 2027: 56.2; 2028: 114.7; 2029: 62.6 | Project Number 17305 and 17306; | 335.4
Y | Y | 2029 | Hyde Park - Dorchester Area Supply Initiatives | 2021: 0.5; 2022: 4; 2023: 11.2; 2024: 15.3; 2025: 18.2278; 2026: 37.5492; 2027: 18.1027; 2028: 64.163; 2029: 84.2376; 2030: 8.6259 | City of Boston 1 of 6; Use same cost as East Cambridge due to property purchase and the need for 3 transformers from the beginning | 261.9062
Y | Y | 2028 | Future Burlington 115kV/14kV Substation | 2025: 18.2278; 2026: 8.7877; 2027: 31.1471; 2028: 40.892; 2029: 4.1873 | Public information says in-service 2028 | 103.2419
N |  | 2030 | Future Hilltown Substation | 2024: 0.3; 2027: 8.8277; 2028: 4.2559; 2029: 15.0845; 2030: 19.804; 2031: 2.0279 | Beyond 10-Year; Long term solution for the Worthington area of WMA, expected to be in-service after 2029; Use Project 19314 Medway | 50.3 | Seems low - please increase a bit more even though its in rural place; This only includes two banks and tow sections of switchgear; increasing to $50M
Y | Y | 2030 | Bulk Distribution Transformer Additions (3 of 3) | 2029: 4.6371; 2030: 24.3448 | Electric Ave 350 | 28.9819
Y | Y | 2031 | Future Saxonville or Natick 115/14kV Substation | 2028: 8.8277; 2029: 4.2559; 2030: 15.0845; 2031: 19.804; 2032: 2.0279 | Also known as ROW 8. Affects Mainly Sherborn Station 274, Framignham Station 240, and Speend St Sta 433; Used Medway Cost Project 19134 | 50 | Crazy low - this is a brand new greenfield station. Please fix; This only includes two banks and tow sections of switchgear; increasing to $50M
Y | Y | 2032 | Mystic Station #250 Reliability (Charleston/East Boston) | 2025: 4; 2026: 11.2; 2027: 15.3; 2028: 18.2278; 2029: 37.5492; 2030: 18.1027; 2031: 64.163; 2032: 84.2376 | City of Boston 2 of 6; Used Cambridge with no escalation | 252.7803
Y | Y | 2033 | Bulk Distribution Transformer Additions (1 of 3) | 2032: 5.0671; 2033: 26.6022 | Includes Seaport Sta 99 | 31.6693
N | Y | 2034 | Boston Substation Supply Initiative (Allston/Fenway/Brookline) | 2030: 18.269; 2031: 42.15; 2032: 47.8815; 2033: 67.1057; 2034: 136.9578; 2035: 74.7477 | City of Boston 3 of 6 - Labeled as Boston Substation Supply Initiative in ESMP; Used Cambridge with Escalation | 387.1118
Y | Y | 2034 | Future Dennis/Brewster 115/23kV Station | 2024: 0.5; 2028: 0.3; 2029: 3; 2031: 9.9357; 2032: 4.79; 2033: 16.9778; 2034: 22.2896; 2035: 2.2824 | Land Purchase added in 2024 | 60.0754
N |  | 2033 | Future North Acton Area Suppy Initiatives | 2027: 5; 2029: 0; 2030: 21.131; 2031: 10.1874; 2032: 36.108; 2033: 47.4051; 2034: 4.8543 | Beyond 10-Year; Long term solution for the Acton/Carlisle area, included in ESMP under "Future Acton-Maynard Supply Initiatives"; Used East Eagle with Escalation; Land Purchase added to 2027 | 124.6857 | This seems low for a brand new substation in Metro West (mostly two banks at the beginnning and station could be open air with Overhead feeders); This will be even simpler than East Eagle which is less than $100M
Y | Y | 2035 | Metro Boston Substation Supply Initiative (Network Station) |  |  |  |  | 0.25 | 1 | 17 | 0 | 0 | 5 | 5 | 43.4145 | 49.3179 | 69.1189 | 141.0665 | 76.9901 |  |  |  |  | City of Boston 4 of 6 - Network Substation; Used some East Cambridge with escalation; Land purchase added in 2027 | 408.158
Y | Y | 2036 | Boston Substation Supply Initiative - (South End - Andrew Square) | 2024: 10; 2029: 4.9195; 2030: 13.7746; 2031: 18.8171; 2032: 22.4179; 2033: 46.1808; 2034: 22.264; 2035: 78.9124; 2036: 103.6016; 2037: 10.6088 | City of Boston 5 of 6 - Labeled as Boston Substation Supply Initiative in ESMP; Land Purchase added to 2024 | 331.4966
Y | Y | 2037 | Boston Substation Supply Initiative (South Boston ) | 2030: 5.0671; 2031: 14.1878; 2032: 19.3816; 2033: 23.0904; 2034: 47.5662; 2035: 22.9319; 2036: 81.2798; 2037: 106.7096; 2038: 10.927 | City of Boston 6 of 6 - Labeled as Boston Substation Supply Initiative in ESMP | 331.1415
N | N | 2038 | Future West Framingham Area Supply Initiatives | 2027: 5; 2035: 24.4966; 2036: 11.8099; 2037: 41.8591; 2038: 54.9555; 2039: 5.6274 | Beyond 10-Year; Land Purchase added to 2027 | 143.7485
N |  | 2034 | Future Waltham Area Supply Initiatives | 2031: 22.4179; 2032: 10.8078; 2033: 38.307; 2034: 50.292; 2035: 5.1499 | Beyond 10-Year; Resolves Waltham Station 282 and Trapelo Rd Station 450 | 126.9746
N |  | 2035 | Future Newtown Area Supply Initiatives | 2032: 23.0904; 2033: 11.132; 2034: 39.4562; 2035: 51.8008; 2036: 5.3044 | Beyond 10-Year; Long term solution for Newtown Substation Capacity and Reliabilty | 130.7838
Y | N | 2036 | Somerville Substation Supply Initiatives | 2033: 23.7831; 2034: 11.466; 2035: 40.6399; 2036: 53.3548; 2037: 5.4635 | Origionally in Rate Case, removing from ESMP, this project is very long-term, the Mystic Project Station #10 should address near-term and long-term need | 134.7073
N | N | 2023+ | EMA - Distribution Line Capaciy - Not Including MV |  | 12.95 | 17.3 | 14.1 | 13 | 11 | 5 | 12.5917 | 12.9695 | 13.3586 | 13.7593 | 14.1721 | 14.5973 | 15.0352 | 15.4863 | 15.9509 | 16.4294 | 16.9223 | 17.4299 | 17.9528 | Distribution Enginering Projects for Distribution Line Capacity not Including Marthas Vinenard 5th cable; used Average plus 3% inflation for years after 2028 | 270.0053
N | N | 2023+ | WMA - Distribution Line Capacity |  | 19.375 | 20.1288 | 20.3326 | 21.1366 | 21.1407 | 23.1449 | 21.5027 | 22.1478 | 22.8122 | 23.4966 | 24.2015 | 24.9275 | 25.6754 | 26.4456 | 27.239 | 28.0562 | 28.8979 | 29.7648 | 30.6577 | Distribution Enginering Projects for Distribution Line Capacity used Average plus 3% inflation for years after 2028 | 461.0835
N | N | 2028 | Capital Projects - Conjuction with DER | 2023: 0.16; 2024: 1.2362; 2025: 4.785; 2026: 12.6008; 2027: 14.3136; 2028: 14.4625 | Projects 22266, 23207, Tremont Transformer #2, and Rochester Transformer 114 | 47.558
N | N | 2026 | Distribution Line Capacity Projects - Substation Related | 2023: 4.657; 2024: 3.5; 2025: 2; 2026: 1 | Substation Permanent Transfer for Load Relief | 11.157
N | N | 2026 | East Cambridge Supply Initiatives III | 2024: 2; 2025: 11; 2026: 10 | Project Number 23204 | 23
N | N | 2028 | Bell Rock 661 – Assonet 647 34.5kV (D-SS) | 2024: 2.31; 2025: 1.3295; 2026: 2.7514; 2027: 3.1705; 2028: 1.396 | Used $9M and the Projection for Assonet from Project Management Assonet Distribution Substation | 10.9574
|  | 2026 | Partridge 2nd Transformer Addition | 2025: 0.5; 2026: 1; 2027: 3 |  | 4.5
0
Total By Year | [5 empty] | 162.7816 | 224.0943 | 238.4206 | 216.0897 | 245.2065 | 310.5893 | 275.7455 | 206.1361 | 267.3314 | 359.6241 | 412.1138 | 468.3432 | 508.0287 | 400.3212 | 234.661 | 138.0031 | 79.9116 | 76.5127 |  | 4823.9145
[5 empty] | In Service 2025-2029 | 162.7816 | 213.2943 | 234.1706 | 203.8897 | 194.0788 | 278.978 | 206.2993 | 65.5585 | 58.6406 | 60.3998 | 62.2118 | 64.0782
[5 empty] | In Service 2030-2034 | 0 | 0.8 | 4 | 11.2 | 29.1277 | 31.6114 | 64.5267 | 116.7359 | 170.6858 | 190.9199 | 196.3977 | 214.3937
[5 empty] | In Service 2035+ | 0 | 10 | 0.25 | 1 | 22 | 0 | 4.9195 | 23.8417 | 38.0049 | 108.3044 | 153.5043 | 189.8713
[5 empty] | TOTAL | 162.7816 | 224.0943 | 238.4206 | 216.0897 | 245.2065 | 310.5893 | 275.7455 | 206.1361 | 267.3314 | 359.6241 | 412.1138 | 468.3432
[7 empty] | New File | 224.1 | 243.3 | 229.9 | 264 | 323
[7 empty] | LRP | 206.9886 | 326.0031 | 289.7755 | 167.5387
[7 empty] | Delta | 17.1114 | -82.7031 | -59.8755 | 96.4613
Note on Y24: Martinez, Juan F: https://www.eversource.com/content/residential/about/transmission-distribution/projects/massachusetts-projects/burlington-to-woburn-supply-initiative

## CIP2 (hidden)
Does not Apply to Headroom Sheet
|  |  | Long Range Capital Plan (In-Service from 2025-2029) | 2025-2029 |  |  |  |  | Subsation Upgrades
|  |  | Beyond Long Range Capital Plan (In-Service 2030-2034) | 2030 to 2034 |  |  |  |  | New Substations
CAPITAL EXPENDITURES
Included in DPU 22-22 | Area | In-Service Year | MAJOR STATION CAPACITY PROJECTS: | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | Notes | Total Project Cost | Digaunto Comments
Y | MetroBoston | 2024 | Somerville #402 Substation Expansion | 2021: 2.3; 2022: 9.3; 2023: 11.306; 2024: 2.262 | Project Number 20332 | 25.168
| WMA | 2024 | Clinton 21S Substation Transformer Upgrade | 2023: 4.68; 2024: 3 | Includes 3.18M in 2023 for Clinton 3X replacement completion | 7.68
| WMA | 2024 | Franconia Transformer | 2023: 2; 2024: 2.5 |  | 4.5
| WMA | 2026 | Silver | 2024: 1; 2025: 2; 2026: 6 |  | 9 | Project is Paused step load withdrew while forecast was being developed; keeping in 2026 for now until new forecast is developed
| WMA | 2026 | Plainfield | 2025: 1.5; 2026: 3 |  | 4.5
N | WMA | 2026 | Ludlow - 2nd Transformer | 2024: 0.5; 2025: 1; 2026: 3 |  | 4.5
Y | MetroWest | 2024 | Upgrade Medway Station #65 | 2021: 7; 2022: 8.4; 2023: 6.299; 2024: 5.98; 2025: 0 | Project Number 19314 and 19566 - In Service 2024 as per Project Cost Sheet | 27.679
Y | MetroBoston | 2025 | New East Eagle Substation #131 | 2022: 16.681; 2023: 8.042; 2024: 28.504; 2025: 37.422; 2026: 3.832 | Project Number 13327 and 13328 | 94.481
Y | SEMA | 2025 | 5th Submarine Cable to Martha's Vineyard | 2022: 9.787; 2023: 59.153; 2024: 63.485; 2025: 3.738 | Project Number 21012 - Updated cost as per July Cashflow of $136M | 136.163 | This is very clearly incorrect - please fix (Modified to match the latest Cashflow for July 2023 )
Y | SEMA | 2025 | Falmouth Tap Substation #924 Transformer Addition | 2023: 4.2559; 2024: 15.0845; 2025: 19.804; 2026: 2.0279 | Project Number 21420; Cost of project is $5M in the Project sheet, increased to match Hilltown | 41.1723 | Cannot be true - too low (increased to cost but $5M is what is in the Project Sheet - JFM)
| MetroBoston | 2025 | Future Targeted BESS Applications (Hyde Park) | 2023: 1.4; 2024: 8.8; 2025: 10.2 | Use Previous numbers | 20.4
Y | MetroWest | 2027 | Acton-Maynard Supply Initiatives | 2022: 0.5; 2023: 1; 2024: 2.7; 2025: 3.2; 2026: 4.9; 2027: 5 | Only includes interim solution of upgrading the subsation, a new substation was added in the ESMP for longer-term solution | 17.3 | For two breakers and transformer upgrade? Thought this was $15M; Decreased to be closer to 15M and not 20M
|  | 2027+ | Future Targeted BESS Applications (Program) | [6 empty] | 9 | 9.27 | 20.1571 | 20.7618 | 21.3847 | 22.0262 | 22.687 | 23.3676 | 24.0686 | 24.7907 | 25.5344 | 26.3004 | 27.0895 | 27.9021 | Included 3% escalation; Reduced beginning years to account for increase in Industrial Park and Hyde Park | 304.3402
Y | MetroBoston | 2026 | Bulk Distribution Transformer Additions (2 of 3) | 2024: 4; 2025: 21; 2026: 25; 2027: 26 | Alewife Sta 829; Requires new Switchgear and 2nd floor addition | 76
Y | SEMA | 2025 | Future Targeted BESS Applications (Industrial Park) | 2024: 1.4; 2025: 8.8; 2026: 10.2 | Use Previous numbers | 20.4
N | MetroBoston | 2026 | Distribution Line Capacity Projects - Substation Related | 2023: 4.657; 2024: 3.5; 2025: 2; 2026: 1 | Substation Permanent Transfer for Load Relief | 11.157
N | MetroBoston | 2026 | East Cambridge Supply Initiatives III | 2024: 2; 2025: 11; 2026: 10 | Project Number 23204 | 23
Y | MetroWest | 2028 | Future Burlington 115kV/14kV Substation | 2025: 18.2278; 2026: 8.7877; 2027: 31.1471; 2028: 30.892; 2029: 14.1873 | Public information says in-service 2028 | 103.2419
N | WMA | 2030 | Future Hilltown Substation (Worthington) | 2024: 0.3; 2027: 8.8277; 2028: 4.2559; 2029: 15.0845; 2030: 19.804; 2031: 2.0279 | Beyond 10-Year; Long term solution for the Worthington area of WMA, expected to be in-service after 2029; Use Project 19314 Medway | 50.3 | Seems low - please increase a bit more even though its in rural place; This only includes two banks and tow sections of switchgear; increasing to $50M
Y | MetroBoston | 2028 | New Cambridge #8025 115kV/14kV Substation | 2023: 11.2; 2024: 15.3; 2025: 35.3; 2026: 40.1; 2027: 56.2; 2028: 94.7; 2029: 82.6 | Project Number 17305 and 17306; | 335.4
Y | MetroWest | 2031 | Future Saxonville or Natick 115/14kV Substation | 2028: 8.8277; 2029: 4.2559; 2030: 15.0845; 2031: 19.804; 2032: 2.0279 | Also known as ROW 8. Affects Mainly Sherborn Station 274, Framignham Station 240, and Speend St Sta 433; Used Medway Cost Project 19134 | 50 | Crazy low - this is a brand new greenfield station. Please fix; This only includes two banks and tow sections of switchgear; increasing to $50M
Y | MetroBoston | 2029 | Hyde Park - Dorchester Area Supply Initiatives | 2021: 0.5; 2022: 4; 2023: 11.2; 2024: 15.3; 2025: 0; 2026: 0; 2027: 0; 2028: 0; 2029: 0; 2030: 0 | City of Boston 1 of 6; Use same cost as East Cambridge due to property purchase and the need for 3 transformers from the beginning | 31
Y | MetroBoston | 2030 | Bulk Distribution Transformer Additions (3 of 3) | 2029: 4.6371; 2030: 24.3448 | Electric Ave 350 | 28.9819
Y | MetroBoston | 2032 | Mystic Station #250 Reliability (Charleston/East Boston) | 2025: 0; 2026: 0; 2027: 0.3; 2028: 0; 2029: 0; 2030: 8.8277; 2031: 4.2559; 2032: 15.0845 | City of Boston 2 of 6; Used Cambridge with no escalation | 28.4681
Y | SEMA | 2034 | Future Dennis/Brewster 115/23kV Station | 2024: 0.5; 2028: 0.3; 2029: 3; 2031: 9.9357; 2032: 4.79; 2033: 16.9778; 2034: 22.2896; 2035: 2.2824 | Land Purchase added in 2024 | 60.0754
N | MetroWest | 2033 | Future North Acton Area Suppy Initiatives | 2027: 5; 2029: 0; 2030: 21.131; 2031: 10.1874; 2032: 36.108; 2033: 47.4051; 2034: 4.8543 | Beyond 10-Year; Long term solution for the Acton/Carlisle area, included in ESMP under "Future Acton-Maynard Supply Initiatives"; Used East Eagle with Escalation; Land Purchase added to 2027 | 124.6857 | This seems low for a brand new substation in Metro West (mostly two banks at the beginnning and station could be open air with Overhead feeders); This will be even simpler than East Eagle which is less than $100M
Y | MetroBoston | 2032 | Boston Substation Supply Initiative - (South End - Andrew Square) | 2024: 10; 2025: 4.9195; 2026: 13.7746; 2027: 18.8171; 2028: 12.4179; 2029: 22.3; 2030: 56.2; 2031: 78.9124; 2032: 103.6016; 2033: 10.6088 | City of Boston 5 of 6 - Labeled as Boston Substation Supply Initiative in ESMP; Land Purchase added to 2024 | 331.5518
Y | MetroBoston | 2033 | Bulk Distribution Transformer Additions (1 of 3) | 2032: 4.4337; 2033: 2.5335 | Includes Seaport Sta 99 | 6.9672
N | MetroBoston | 2034 | Boston Substation Supply Initiative (Allston/Fenway/Brookline) | 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 10.5407; 2035: 5.0817 | City of Boston 3 of 6 - Labeled as Boston Substation Supply Initiative in ESMP; Used Cambridge with Escalation | 15.6225
N | MetroWest | 2038 | Future West Framingham Area Supply Initiatives | 2027: 5; 2035: 24.4966; 2036: 11.8099; 2037: 41.8591; 2038: 54.9555; 2039: 5.6274 | Beyond 10-Year; Land Purchase added to 2027 | 143.7485
N | MetroWest | 2034 | Future Waltham Area Supply Initiatives | 2031: 22.4179; 2032: 10.8078; 2033: 38.307; 2034: 50.292; 2035: 5.1499 | Beyond 10-Year; Resolves Waltham Station 282 and Trapelo Rd Station 450 | 126.9746
N | MetroWest | 2035 | Future Newtown Area Supply Initiatives | 2032: 23.0904; 2033: 11.132; 2034: 39.4562; 2035: 51.8008; 2036: 5.3044 | Beyond 10-Year; Long term solution for Newtown Substation Capacity and Reliabilty | 130.7838
Y | MetroBoston | 2034 | Metro Boston Substation Supply Initiative (Network Station) | 2025: 0.25; 2026: 1; 2027: 17; 2028: 0; 2029: 0; 2030: 5; 2031: 5; 2032: 0; 2033: 0; 2034: 69.1; 2035: 0 | City of Boston 4 of 6 - Network Substation; Used some East Cambridge with escalation; Land purchase added in 2027 | 97.35
N |  | 2023+ | EMA - Distribution Line Capaciy - Not Including MV |  | 12.95 | 17.3 | 14.1 | 13 | 11 | 5 | 12.5917 | 12.9695 | 13.3586 | 13.7593 | 14.1721 | 14.5973 | 15.0352 | 15.4863 | 15.9509 | 16.4294 | 16.9223 | 17.4299 | 17.9528 | Distribution Enginering Projects for Distribution Line Capacity not Including Marthas Vinenard 5th cable; used Average plus 3% inflation for years after 2028 | 270.0053
N | WMA | 2023+ | WMA - Distribution Line Capacity |  | 19.375 | 20.1288 | 20.3326 | 21.1366 | 21.1407 | 23.1449 | 11.5027 | 11.8478 | 12.2032 | 12.5693 | 12.9464 | 13.3348 | 13.7348 | 14.1469 | 14.5713 | 15.0084 | 15.4587 | 15.9225 | 16.4001 | Distribution Enginering Projects for Distribution Line Capacity used Average plus 3% inflation for years after 2028 | 304.9056
N | SEMA | 2028 | Capital Projects - Conjuction with DER | 2023: 0.16; 2024: 1.2362; 2025: 4.785; 2026: 12.6008; 2027: 14.3136; 2028: 14.4625 | Projects 22266, 23207, Tremont Transformer #2, and Rochester Transformer 114 | 47.558
Y | MetroBoston | 2036 | Somerville Substation Supply Initiatives | 2033: 0.71288; 2034: 1.4258; 2035: 3.8496; 2036: 4.5624; 2037: 6.9862 | Origionally in Rate Case, removing from ESMP, this project is very long-term, the Mystic Project Station #10 should address near-term and long-term need | 17.5369
Y | MetroBoston | 2037 | Boston Substation Supply Initiative (South Boston ) | 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0; 2035: 6.3339; 2036: 0; 2037: 0; 2038: 26.7681 | City of Boston 6 of 6 - Labeled as Boston Substation Supply Initiative in ESMP | 33.102
N | SEMA | 2028 | Bell Rock 661 – Assonet 647 34.5kV (D-SS) | 2024: 2.31; 2025: 1.3295; 2026: 2.7514; 2027: 3.1705; 2028: 1.396 | Used $9M and the Projection for Assonet from Project Management Assonet Distribution Substation | 10.9574
| WMA | 2026 | Partridge 2nd Transformer Addition | 2025: 0.5; 2026: 1; 2027: 3 |  | 4.5
0
Total By Year | [5 empty] | 162.7816 | 224.0943 | 221.1123 | 181.1151 | 230.9209 | 200.6164 | 191.0392 | 196.7156 | 200.2544 | 249.0887 | 178.2961 | 250.0962 | 152.6967 | 76.9896 | 105.8175 | 140.405 | 66.0693 | 62.2551 |  | 3090.364
| Area | In-Service Year | MAJOR CIP PROJECTS - Distribution Capital Cost Only - Does not include DER Portion | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | Notes | Total Project Cost | Digaunto Comments
|  |  | Marion-Fairhaven | 2025: 15.6822; 2026: 14.3371; 2027: 43.4164; 2028: 38.2707; 2029: -1.48; 2030: -1.48; 2031: -1.48; 2032: -1.48; 2033: -1.48; 2034: -1.48
|  |  | Dartmouth- Westport | 2025: 0; 2026: 10.2643; 2027: 33.4482; 2028: -1.2662; 2029: -1.2662; 2030: -1.2662; 2031: -1.2662; 2032: -1.2662; 2033: -1.2662; 2034: -1.2662
|  |  | Freetown | 2025: 15.6036; 2026: 8.7469; 2027: -0.784; 2028: -0.784; 2029: -0.784; 2030: -0.784; 2031: -0.784; 2032: -0.784; 2033: -0.784; 2034: -0.784
|  |  | Plymouth | 2025: 13.6632; 2026: 48.7445; 2027: -15.8144; 2028: -3.1584; 2029: -3.1584; 2030: -3.1584; 2031: -3.1584; 2032: -3.1584; 2033: -3.1584; 2034: -3.1584
|  |  | Plainfield-Blandford | 2025: 4.6978; 2026: 6.1016; 2027: -0.498; 2028: -0.498; 2029: -0.498; 2030: -0.498; 2031: -0.498; 2032: -0.498; 2033: -0.498; 2034: -0.498
|  |  | Cape | 2025: 0.69731; 2026: 3.7309; 2027: 48.4559; 2028: 40; 2029: 24.564; 2030: -4.473; 2031: -4.473; 2032: -4.473; 2033: -4.473; 2034: -4.473
|  |  | East Freetown | 2025: 1.12; 2026: -8.852; 2027: 11.2; 2028: 13.44; 2029: 16.8; 2030: 16.8; 2031: 22.4; 2032: 9.6884; 2033: -2.5252; 2034: -2.5252
|  |  | Whately-Deerfield | 2025: 1.999; 2026: -14.387; 2027: 19.99; 2028: 23.988; 2029: 29.985; 2030: 29.985; 2031: 39.98; 2032: 18.255; 2033: -4.345; 2034: -4.345
|  |  | Berkshire | 2025: -4.4998; 2026: 5.81; 2027: 9.96; 2028: 16.6; 2029: 24.9; 2030: 21.3468; 2031: -2.1996; 2032: -2.1996; 2033: -2.1996; 2034: -2.1996
|  |  | Maynard | 2025: -3.6392; 2026: 2.8; 2027: 4.8; 2028: 8; 2029: 12; 2030: 9.3072; 2031: -1.7578; 2032: -1.7578; 2033: -1.7578; 2034: -1.7578
|  |  | Silver | 2025: -0.9472; 2026: 1.19; 2027: 2.04; 2028: 3.4; 2029: 5.1; 2030: 4.3552; 2031: -0.798; 2032: -0.798; 2033: -0.798; 2034: -0.798
|  |  | Southwick | 2025: -6.5826; 2026: 6.51; 2027: 11.16; 2028: 18.6; 2029: 27.9; 2030: 22.8916; 2031: -2.7678; 2032: -2.7678; 2033: -2.7678; 2034: -2.7678
|  |  | Walpole | 2025: -2.737; 2026: 2.45; 2027: 4.2; 2028: 7; 2029: 10.5; 2030: 8.442; 2031: -1.5549; 2032: -1.5549; 2033: -1.5549; 2034: -1.5549
Total By Year | [5 empty] | 211.5704 |  | 35.0573 | 87.4463 | 171.5742 | 163.5921 | 144.5624 | 101.4682 | 41.6423 | 7.2057 | -27.6079 | -27.6079 | 0 | 0 | 0 | 0 | 0 | 0 |  | 908.9029
Note on H15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Schilling, Jennifer A please add an additional 76M to Reliablity line item for the increase in cost for 5th cable. Probably 30M in 2025 and 36M in 2026
Note on Y24: Martinez, Juan F: https://www.eversource.com/content/residential/about/transmission-distribution/projects/massachusetts-projects/burlington-to-woburn-supply-initiative
Note on C33: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Schilling, Jennifer A, please not change to cashflow from moving this project to 2032
Note on C39: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Schilling, Jennifer A please note the changes to Cashflow from moving this project to in-service 2034
Note on D52: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Schilling, Jennifer A here are the CIP numbers for all CIP projects only the capital portion

## CIP (hidden)
DRAFT
Group | Type | Project | Subtype | CIP distribution work | Adjusted CIP Costs | Single cost | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | Total | Comments
Marion- Fairhaven | DER | Rochester | D SS | 31800000 | 31825100 |  | 529400 | 244800 | 3340400 | 4318100 | 7314900 | 15637900 |  | 31385500 |  | Missing
|  |  | D line | 14300000 | 12569355.74 | 14300000 | 241207.564 | 111536.8562 | 1521967.7877 | 1967431.7758 | 3332847.0153 | 7125009.001 |  | 14300000
|  | Wing Lane | D SS | 19500000 | 19468070 |  | 1435000 | 2930900 | 4306600 | 4999500 | 9912500 |  |  | 23584500
|  |  | D line | 6500000 | 6212113.85 | 6500000 | 395492.8025 | 807769.9336 | 1186919.375 | 1377885.8996 | 2731931.9892 |  |  | 6500000
|  | Arsene | D line |  | 716598 | [8 empty] | 0
|  | Crystal Spring | D SS | 41000000 | 40968124 |  | 1033100 | 782700 | 4732700 | 1487600 | 17881300 | 20321700 |  | 46239100
|  |  | D line | 5800000 | 4259974.02 | 5800000 | 129586.8648 | 98177.949 | 593646.0701 | 186597.0575 | 2242940.2821 | 2549051.7765 |  | 5800000
Marion-Fairhaven |  |  | Dist | 118900000 | 116019335.61 | 26600000 | 3763787.2313 | 4975884.7388 | 15682233.2328 | 14337114.7329 | 43416419.2867 | 45633660.7775 | 0 | 127809100
Darmouth- Westport | DER | Fisher Road | D SS | 38600000 | 38559700 |  | 23600 | 4594100 | 0 | 7017000 | 27260900 |  |  | 38895600
|  |  | D line | 18000000 | 15841719.3067 | 18000000 | 10921.5438 | 2126045.1054 | 0 | 3247308.1788 | 12615725.172 |  |  | 18000000
|  | Cross Road | D line |  | 3228993.3333 | [8 empty] | 0
Dartmouth- Westport |  |  | Dist | 56600000 |  | 18000000 | 34521.5438 | 6720145.1054 | 0 | 10264308.1788 | 39876625.172 | 0 | 0 | 56895600
Freetown | DER | Assonet | D SS | 47000000 | 47001500 |  | 2023: 4521800; 2024: 12527300; 2025: 22756800; 2026: 17902500 | 57708400
|  |  | Mobile |  |  |  | 2023: 100000; 2025: 882300; 2026: 845200 | 1827500
|  |  | D line | 10000000 | 8646880.74 | 10000000 | 2023: 547195.6224; 2024: 0; 2025: 4827906.9767; 2026: 4624897.4008 | 10000000
Freetown |  |  | Dist | 57000000 | 55648380.74 | 10000000 | 5168995.6224 | 12527300 | 28467006.9767 | 23372597.4008 | 0 | 0 | 0 | 69535900
Plymouth | DER | West Pond | D SS | 36200000 | 36213400 |  | 2023: 4009800; 2025: 6709800; 2026: 25493800 | 36213400
|  |  | D line | 24200000 | 24267318.73 | 24200000 | 2023: 2679592.637; 2024: 0; 2025: 4483897.121; 2026: 17036510.2421 | 24200000
|  | Tremont | D SS | 37500000 | 37555500 |  | 2023: 2630100; 2025: 6719100; 2026: 28182000 | 37531200
|  |  | D line | 41000000 | 31574566.4 | 41000000 | 2023: 2873185.5097; 2024: 0; 2025: 7340109.0293; 2026: 30786705.4611 | 41000000
|  | Wareham | D SS | 8000000 | 8073400 |  | 2023: 543600; 2025: 2528200; 2026: 4990600 | 8062400
|  |  | D line | 0 | 681496 | 0 | 2023: 0; 2024: 0; 2025: 0; 2026: 0 | 0
|  | Valley | D line | 4600000 | 4000000 | 4600000 | 2023: 310150.8236; 2024: 0; 2025: 1442463.7825; 2026: 2847385.3939 | 4600000
|  | Brook St | D line | 4700000 | 4000000 | 4700000 | 2023: 316893.2328; 2024: 0; 2025: 1473821.6908; 2026: 2909285.0764 | 4700000
|  | Kingston | D line |  | 6000000 | 6000000 | 2023: 404544.5525; 2024: 0; 2025: 1881474.4989; 2026: 3713980.9486 | 6000000
|  | Manomet | D line | [10 empty] | 0
Plymouth |  |  | Dist | 156200000 | 152365681.13 | 80500000 | 13767866.7555 | 0 | 32578866.1225 | 115960267.1221 | 0 | 0 | 0 | 162307000
Plainfield-Blandford | DER | Blandford | D SS | 12000000 | 11922900 |  | 2023: 3828100; 2025: 3156900; 2026: 5807000 | 12792000 | The number filed with the DPU (#F57) is far less than the sum of most recent estimates (#O57)
|  |  | D line | 29100000 | 25096955 | 29100000 | 2023: 8708388.8368; 2024: 0; 2025: 7181503.2833; 2026: 13210107.8799 | 29100000
Plainfield-Blandford |  |  | Dist | 41100000 | 37019855 | 29100000 | 12536488.8368 | 0 | 10338403.2833 | 19017107.8799 | 0 | 0 | 0 | 41892000
Cape | DER | Falmouth | D SS | 1400000 | [9 empty] | 0
|  |  | D line | 2700000 | 2700000 | 2700000 | 879616.7247 | 309277.0035 | 0 | 99956.446 | 1411149.8258 |  |  | 2700000
|  | Harwich | D SS | 21200000 | 231800 |  | 2023: 74800; 2024: 26300; 2026: 8500; 2027: 120000 | 229600
|  |  | D line | 400000 | 21444136.72 | 400000 | 88822.6528 | 31475.4098 | 0 | 14187.7794 | 265514.158 |  |  | 400000
|  | Hatchville | D SS | 14200000 | 232100 |  | 2023: 74500; 2024: 26400; 2026: 11900; 2027: 222700 | 335500
|  |  | D line | 1400000 | 14179159.32 | 1400000 | 310879.2846 | 110163.9344 | 0 | 49657.228 | 929299.5529 |  |  | 1400000
|  | Hyannis Junction | D SS | 38500000 |  |  | 76000 | 27900 | 5200 | 21800 | 151000 |  |  | 281900
|  |  | D line | 1100000 | 39579844.14 | 1100000 | 296559.0635 | 108868.393 | 20290.8833 | 85065.6261 | 589216.0341 |  |  | 1100000
|  | Otis | D SS | 14000000 | [9 empty] | 0
|  |  | D line |  | 14000000 | 14000000 | 3774388.0809 | 1385597.7297 | 258247.6055 | 1082653.4232 | 7499113.1607 |  |  | 14000000
|  | Sandwich | D SS | [10 empty] | 0
|  |  | D line | 2500000 | 2533222.46 | 2500000 | 673997.8716 | 247428.166 | 46115.6438 | 193330.9684 | 1339127.3501 |  |  | 2500000
|  | Oak Street | D SS | 21300000 | 294400 |  | 76300 | 28200 | 1800 | 10600 | 176000 |  |  | 292900
|  |  | D line |  | 21000000 | 21000000 | 5470467.7364 | 2021850.4609 | 129054.2847 | 759986.3435 | 12618641.1745 |  |  | 21000000
|  | Mashpee | D SS | 38500000 | [9 empty] | 0
|  |  | D line |  | 38500000 | 38500000 | 10029190.8501 | 3706725.845 | 236599.522 | 1393308.2963 | 23134175.4865 | 40000000 | 47000000 | 125500000
Cape |  |  | Dist | 157200000 | 116194662.64 | 81600000 | 21825522.2647 | 8030186.9424 | 697307.9394 | 3730946.111 | 48455936.7425 | 40000000 | 47000000 | 169739900
TOTAL |  |  |  | 1081900000 | 588668224.58 | 148900000 | 49011000 | 38716100 | 109795500 | 259978300 | 206986600 | 131858500 | 50202300 | 796346000
[7 empty] | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | Total
[6 empty] | Marion-Fairhaven | 3763787.2313 | 4975884.7388 | 15682233.2328 | 14337114.7329 | 43416419.2867 | 45633660.7775 | 0 | 127809100
[6 empty] | Dartmouth- Westport | 34521.5438 | 6720145.1054 | 0 | 10264308.1788 | 39876625.172 | 0 | 0 | 56895600
[6 empty] | Freetown | 5168995.6224 | 12527300 | 28467006.9767 | 23372597.4008 | 0 | 0 | 0 | 69535900
[6 empty] | Plymouth | 13767866.7555 | 0 | 32578866.1225 | 115960267.1221 | 0 | 0 | 0 | 162307000
[6 empty] | Plainfield-Blandford | 12536488.8368 | 0 | 10338403.2833 | 19017107.8799 | 0 | 0 | 0 | 41892000
[6 empty] | Cape | 21825522.2647 | 8030186.9424 | 697307.9394 | 3730946.111 | 48455936.7425 | 40000000 | 47000000 | 169739900
[6 empty] | TOTAL | 57097182.2545 | 32253516.7866 | 87763817.5547 | 186682341.4255 | 131748981.2012 | 85633660.7775 | 47000000 | 628179500
[6 empty] | DER/CIP | 57.0972 | 32.2535 | 87.7638 | 186.6823 | 131.749 | 85.6337 | 47
[6 empty] | East Freetown |  |  | 3360000 | 7840000 | 16800000 | 16800000 | 28000000 | $ 39,200,000
[6 empty] | Whately Deerfield |  |  | 5997000 | 13993000 | 29985000 | 29985000 | 49975000 | $ 69,965,000
[6 empty] | TOTAL |  |  | 9.357 | 21.833 | 46.785 | 46.785 | 77.975
[9 empty] | 35.0573 | 87.4463 | 171.5742 | 163.5921 | 144.5624 | 101.4682 | 41.6423 | 7.2057 | -27.6079 | -27.6079
Assumptions:
- Estimates used assume a Q42022 DPU Program approval
- For the projects we know a DPU filling is required we will need to account for a 2 year gap for permit review/approval. This is complete for both Freetown lines and the 112 line extension
Note on E5: PEER, ERICA R: W-20-690F Rochester 745 D-split - Rev15 1-25-2023
Note on E6: PEER, ERICA R: 22-47 Exh. Engineering Panel- 2 (Marion-Fairhaven Revised)
Note on E7: PEER, ERICA R: W-20-690A Wing Lane 624 D-split Rev11-1-25-2023
Note on E8: PEER, ERICA R: 22-47 Exh. Engineering Panel- 2 (Marion-Fairhaven Revised)
Note on E9: PEER, ERICA R: 22-47 Exh. Engineering Panel- 2 (Marion-Fairhaven Revised)
Note on E10: PEER, ERICA R: W-20-690C Crystal Springs 646 D Split Rev15 1-25-2023
Note on E11: PEER, ERICA R: 22-47 Exh. Engineering Panel- 2 (Marion-Fairhaven Revised)
Note on E13: PEER, ERICA R: All values pushed by 1 year E-22-2Q Fisher Road_DIST_REV09_05-05-2022 EXT
Note on E14: PEER, ERICA R: D.P.U. 22-53 Exhibit Engineering Panel - 2 (Dartmouth-Westport)
Note on E15: PEER, ERICA R: D.P.U. 22-53 Exhibit Engineering Panel - 2 (Dartmouth-Westport)
Note on E17: PEER, ERICA R: E-22-2A Asspnet_DIST_REV4_03-23-2022 1.70b EXT
Note on E18: PEER, ERICA R: E-22-2AA Assonet_Mobile Transformer REV0_03-23-2022 1.70b EXT
Note on E19: PEER, ERICA R: D.P.U. 22-51 Exhibit Engineering Panel - 2 (Freetown)
Note on E21: PEER, ERICA R: W-20-690H West Pond Dist. Split - REV08_04-13-22_1.70b EXT
Note on I21: PEER, ERICA R: 2022 and 2023 combined
Note on E22: PEER, ERICA R: D.P.U. 22-54 Exhibit Engineering Panel - 2 (Plymouth)
Note on E23: PEER, ERICA R: W-20-690L Tremont D-Split - REV4_04-13-22_1.70b EXT
Note on E24: PEER, ERICA R: D.P.U. 22-54 Exhibit Engineering Panel - 2 (Plymouth)
Note on H24: PEER, ERICA R: Sum of both Trement Dsitribution Upgrade rows shown in engineering panel
Note on E25: PEER, ERICA R: W-20-690N Wareham Dist. REV5_04-15-22_rev 1.70b EXT
Note on E26: PEER, ERICA R: D.P.U. 22-54 Exhibit Engineering Panel - 2 (Plymouth)
Note on E27: PEER, ERICA R: D.P.U. 22-54 Exhibit Engineering Panel - 2 (Plymouth)
Note on E28: PEER, ERICA R: D.P.U. 22-54 Exhibit Engineering Panel - 2 (Plymouth)
Note on E29: PEER, ERICA R: D.P.U. 22-54 Exhibit Engineering Panel - 2 (Plymouth)
Note on E32: PEER, ERICA R: E-22_2G Blandford 19J_DIST_REV08_03-30-2022 EXT(1)
Note on E36: PEER, ERICA R: CIP Distribution Work - Transmission
Note on E37: PEER, ERICA R: *All costs pushed back 1 year E-22-2Yd115049 DG Upgrades - Harwich D Station 968 rev #01 EXT
Note on P37: PEER, ERICA R: $21M according to CIP Distribution Work- Transmission
Note on E38: PEER, ERICA R: CIP Distribution Work - Transmission
Note on E39: PEER, ERICA R: *All costs pushed out 1 year E-22-2Xd 115049 DG Upgrades - Hatchville D Station 936 rev#01 EXT
Note on P39: PEER, ERICA R: $14M according to "CIP Distribution Work - tranmsission" file
Note on E40: PEER, ERICA R: CIP Distribution Work - Transmission
Note on E41: PEER, ERICA R: *All costs pushed by 1 year* Cape Study DG Upgrades Summary
Note on P41: PEER, ERICA R: 38.5M According to CIP Distribution Work- Transmission
Note on E42: PEER, ERICA R: CIP Distribution Work - Transmission
Note on E43: PEER, ERICA R: CIP Distribution Work - Transmission
Note on F43: PEER, ERICA R: Assuming the substation name column is correct, not the project name column, as there is a disconnect. Project name says Otis, Project description says Oak St
Note on E46: PEER, ERICA R: CIP Distribution Work - Transmission
Note on E47: PEER, ERICA R: *All costs pushed out 1 year* E-22-2Wd 115049 DG Upgrades - Oak Street D Station 920 rev#01 EXT
Note on F47: PEER, ERICA R: Sum of both "Oak St 920 Substation Upgrade" costs
Note on E49: PEER, ERICA R: CIP Distribution Work - Transmission