|  | Massachusetts Department of Environmental Protection Bureau of Resource Protection – Drinking Water Program Community GWUDI Exemption Application Groundwater Under the Direct Influence of Surface Water |  |  |  |  | City/Town PWS Name/ID# |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Instructions Community public water systems (PWS) must complete this application to determine if their groundwater source is exempt from microscopic particulate analysis (MPA) testing and the requirements of the Surface Water Treatment Rule (SWTR). If the source meets the exemption criteria as listed below, it will be considered “exempt” from all SWTR requirements for GWUDI and classified as a non-GWUDI source. If you are unable to answer questions on this application or provide the information requested, you should contact the services of a geologic consultant and/or a Massachusetts registered well driller. PWSs that cannot meet the exemption criteria because the source has no permanent sanitary seal or have other physical deficiencies have the option of installing a seal and making appropriate upgrades in order to meet the exemption criteria. |  |  |  |  |  |  |
|  | A. General Information |  |  |  |  |  |  |
| Important: When filling out forms on the computer, use only the tab key to move your cursor - do not use the return key. | 1. Source Name |  | Latitude |  |  |  | Longitude |
|  | Source ID # |  |  |  |  |  |  |
|  | Status: Active-on line Active-backup Emergency New |  |  |  |  |  |  |
|  | 2. Is this source currently filtered? |  | Yes No |  |  |  |  |
|  | If yes, describe method and type of filtration: |  |  |  |  |  |  |
|  | B. Exemption Criteria For Sand & Gravel Wells |  |  |  |  |  |  |
|  | Suppliers whose sand and gravel wells do not meet all of the conditions of one of the Exemption Criteria (1, 2, or 3) are required to conduct Microscopic Particle Analyses (MPA). Dug wells are evaluated using the same criteria as sand and gravel wells. |  |  |  |  |  |  |
|  | Criterion 1 |  |  |  |  |  |  |
|  | Is source located 150 feet or more horizontally from a surface water feature? Yes No |  |  |  |  |  |  |
|  | If yes, how was the distance measured? |  | Tape Surveyed |  |  |  |  |
|  | If yes, attach a map, construction plan, or site plan indicating the distance separating the well from any surface water feature. |  |  |  |  |  |  |
|  | Criterion 2 |  |  |  |  |  |  |
|  | A. Is the well constructed with a properly installed sanitary seal? Yes No |  |  |  |  |  |  |
|  | If yes, attach the well construction plans and specifications stamped by a Registered Professional Engineer or signed by a MA registered well driller in accordance with MassDEP construction guidelines. |  |  |  |  |  |  |
|  | B. Exemption Criteria For Sand & Gravel Wells (cont.) |  |  |  |  |  |  |
|  | B. Is the well screen located below a geologic confining layer? Yes No |  |  |  |  |  |  |
|  | If yes, attach driller/geologist logs indicating the confining layer's presence. |  |  |  |  |  |  |
|  | C. Attach the following additional information: |  |  |  |  |  |  |
|  | 1. Driller/geologist logs for any observation or monitoring wells in the area confirming the continuity and areal extent of the confining layer. |  |  |  |  |  |  |
|  | 2. Geologic maps indicating the areal extent of the confining layer and cross sections depicting the subsurface geology. |  |  |  |  |  |  |
|  | 3. Describe how and why the confining layer separates the well from any surface water features located within 150 feet and why surface water induction is unlikely. |  |  |  |  |  |  |
|  | Criterion 3 |  |  |  |  |  |  |
|  | A. Is the top of the well screen 50 feet or more below ground surface? Yes No |  |  |  |  |  |  |
|  | If yes, attach the well construction specifications or details demonstrating the depth of the screen below ground level. |  |  |  |  |  |  |
|  | B. Has the well been approved by MassDEP to pump or has it historically pumped on average 720,000 gallons per day or less when the well was on line? Yes No |  |  |  |  |  |  |
|  | If yes, attach the following: Historical documentation compiled in accordance with Method 2 of Section 4.7 of the MassDEP Guidelines and Policies for Public Water Systems demonstrating that the source historically has pumped 720,000 gallons per day on average excluding periods of time during which the source was not in use, or a MassDEP approval letter confirming an approved pumping rate of 720,000 gpd (500gpm) or below. If this information is unavailable, calculate water use by multiplying the number of people served by 100 gallons per day. |  |  |  |  |  |  |
|  | C. Is the well constructed with a properly installed sanitary seal? Yes No |  |  |  |  |  |  |
|  | If yes, attach the well construction plans and specifications stamped by a Registered Professional Engineer or signed by a MA registered well driller in accordance with MassDEP construction guidelines. |  |  |  |  |  |  |
|  | D. Has the groundwater source or system had total or fecal coliform or E. coli violations during the last three years? Yes No |  |  |  |  |  |  |
|  | Attach all records from the last three years of all bacterial analyses and if any violations, include an explanation as to the source of bacteria, if known. |  |  |  |  |  |  |
|  | C. Exemption Criteria For Bedrock Wells |  |  |  |  |  |  |
|  | Suppliers whose bedrock wells do not meet all of the exemption criteria listed below must conduct microscopic particulate analyses (MPA). Bedrock wells approved to pump 100,000 gpd or greater, or that historically pumped at 100,000 gpd or greater, and all springs must conduct MPA. |  |  |  |  |  |  |
|  | A. Has the bedrock well been approved by MassDEP to pump less than 100,000 gpd, or has it historically pumped, less than 100,000 gallons per day? Yes No |  |  |  |  |  |  |
|  | If yes, please provide historical pumping data. |  |  |  |  |  |  |
|  | B. Is the bedrock well 50 feet or more in depth? | Yes No |  |  |  |  |  |
|  | C. Exemption Criteria For Bedrock Wells (cont.) |  |  |  |  |  |  |
|  | If yes, please attach well construction details and specifications indicating the well depth. |  |  |  |  |  |  |
|  | C. Is the well constructed with a properly installed sanitary seal? |  |  |  | Yes No |  |  |
|  | If yes, attach the well construction plans and specifications stamped by a Registered Professional Engineer or signed by a MA registered well driller in accordance with MassDEP construction guidelines. |  |  |  |  |  |  |
|  | D. Is the well 200 feet or more from a surface water feature? Yes No |  |  |  |  |  |  |
|  | If yes, how was the distance measured? |  | Tape Surveyed |  |  |  |  |
|  | If yes, attach a map, construction plan, or site plan indicating the distance separating the well from any surface water feature. |  |  |  |  |  |  |
|  | E. Has the groundwater source or system had total or fecal coliform or E. coli violations during the last three years? Yes No |  |  |  |  |  |  |
|  | Attach all records from the last three years of all bacterial analyses and if any violations, include an explanation as to the source of bacteria, if known. |  |  |  |  |  |  |
|  | For All Applications |  |  |  |  |  |  |
|  | If this application was prepared by the water supplier with the assistance of an environmental consultant or well driller, that person must sign below. |  |  |  |  |  |  |
|  | Signature |  | Profession |  |  |  |  |
|  | Affiliation |  | Phone Number |  |  |  | Date |
|  | I hereby certify that my answers to these questions are accurate. |  |  |  |  |  |  |
|  | Water Department Official Signature |  | Phone Number |  |  |  | Date |
|  | Please submit the completed Exemption Application Form to your MassDEP regional office. |  |  |  |  |  |  |
|  | MassDEP - WERO Drinking Water Program Attn: Mike McGrath Statehouse West 4th Floor 436 Dwight St. Springfield MA 01103 |  |  | MassDEP – CERO Drinking Water Program Attn: Paula Caron 8 New Bond St. Worcester, MA 01606 |  |  |  |
|  | MassDEP – NERO Drinking Water Program Attn: Jim Persky 205-B Lowell St. Wilmington, MA 01887 |  |  | MassDEP – SERO Drinking Water Program Attn: Mike Quink 20 Riverside St. Lakeville, MA 02347 |  |  |  |