The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

23 Service Center

Northampton, MA  01060

Telephone: 413-586-7525, ext. 5863196

Fax: 413-784-1037 TTY: (800)-769-9991

Charlie.Kaniecki@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, M.D. SECRETARY LAUREN A. SMITH, MD, MPH INTERIM COMMISSIONER

December 19, 2012

Michael J. Ashe, Jr., Sheriff

Hampden County Sheriff’s Department

626 Randall Road

Ludlow, MA 01056

Re: Facility Inspection

Dear Sheriff Ashe:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Hampden County Correctional Center on December 11 and 13, 2012 accompanied by Captain Frank Barbaro, Douglas Allard Environmental Health and Safety Officers and Peter Wheeler, Environmental Health Inspector of the Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

LOBBY

Men’s Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no water in sink near entry

way

Women’s Room

105 CMR 451.350		Structural Maintenance: Wall damaged behind toilet by floor

INTAKE

Shower

105 CMR 451.353		Interior Maintenance: Floor requires painting

Visiting 141

105 CMR 451.350		Structural Maintenance: Floor damaged loose tiles

MULTI PURPOSE ROOM/GYMNASIUM

Men’s Room

105 CMR 451.353	Interior Maintenance: Wall dirty

Delta 4

No Violations Noted

Delta 5

Cells

105 CMR 451.353	Interior Maintenance: Ceiling needs painting in cell # 5

Day Room

No Violations Noted

Juvenile Cells - Delta 1 and 2

No Violations Noted

Davis 1

Cells

105 CMR 451.353	Interior Maintenance: Blocked air vent in cell # 27, 29 and 40

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 17, 32, 37, 41, 44 and 49

105 CMR 451.353	Interior Maintenance: Wall require painting in cell # 1

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # 16

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, floor drain blocked near

cell # 18

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353	Interior Maintenance: Missing floor tile by cell # 53

105 CMR 451.353	Interior Maintenance: Ripped seat on press

Showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water pooling in stall # 7

Davis 2

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 1, 2, 4, 5, 9, 10, 11, 13, - 37, 38 and 40 - 54

105 CMR 451.353	Interior Maintenance: Blocked air vent in cell # 4 and 45

105 CMR 451.353*	Interior Maintenance: Wall damage in cell # 17 and 32

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353*	Interior Maintenance: Damaged carpet by door # 132A

Showers

105 CMR 451.123*		Maintenance: Floor paint flaking in shower # 1, 2, 3, 4 and 5

Room 124

105 CMR 451.353            	Interior Maintenance: Mop stored in bucket

Davis 3

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 1, 2, 3, 6 – 16 - 23, 25 - 55

105 CMR 451.353	Interior Maintenance: Blocked air vent in cell # 7

Day Room

105 CMR 451.353*	Interior Maintenance: Damaged carpet by cell # 7

Showers

105 CMR 451.350		Structural Maintenance: Floor damaged in showers # 7 and 10

Davis 4

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 1, 2, 4, 6, 9, 15, 29,30, 32, 33, 34, 35, 37, 38, 40, 41, 42, 43, 44, 46, 48, 49, 50, 53, 54 and 56

105 CMR 451.353	Interior Maintenance: Rusted air vent in cell # 3 and 7

105 CMR 451.353	Interior Maintenance: Blocked air vent in cell # 5, 11, 16, 17, 23, 24, 30, 31, 41, 44 and 50

Janitor's Room 324

105 CMR 451.353	             Interior Maintenance: Mop stored in bucket

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353*	Interior Maintenance: Water stain on ceiling by door # 318B

Showers

105 CMR 451.123	Maintenance: Soap scum on all shower walls

Davis 5

Cells

105 CMR 451.353*	  	Interior Maintenance: Blocked air vent in cell # 16

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 5 - 12, 13, 17, 19, 20, 23, 25 - 30, 32 -33 and 34

105 CMR 451.353    		Interior Maintenance: Rusted air vent in cell # 4

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353*	Interior Maintenance: Water stain on ceiling by door # 516A

105 CMR 451.353*	Interior Maintenance: Ripped seat on table by stairs

Showers

105 CMR 451.123		Maintenance: Drain flies located in shower # 7 and 8

105 CMR 451.350		Structural Maintenance:  Connection of floor to wall damaged in all 2nd floor 					             showers

Davis 6

Cells

105 CMR 451.353*		Interior Maintenance: Rusted air vent in cell # 1, 4, 23, 30 and 31

105 CMR 451.353*		Interior Maintenance: Wall damaged in cell # 7, 8, 21 and 22

Day Room

105 CMR 451.353*		Interior Maintenance: Water stain on ceiling by door # 505 and 513

Showers

105 CMR 451.123		Maintenance: Floor damaged in shower # 2

Bravo 1

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 5, 6, 9, 13, 14, 16, 19, 28, 29, 30, 35 - 38, 40 and 41

105 CMR 451.353	Interior Maintenance: Rusted air vent in cell # 2, 13, 17, 19, 25, 29, 31, 32, 37, 40 and 44

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353*		Interior Maintenance: Stain on ceiling by door # 117

105 CMR 451.353		Interior Maintenance: Floor carpeting damaged in front of room # 127A

105 CMR 451.353		Interior Maintenance: Floor peeling paint in front of room 123

Showers

No Violations Noted

Bravo 2

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 1, 6, 7, 8, 11, 13, 19, 20, 22, 31, 32, 35, 36, 39, 40, 43, 52 and 53

105 CMR 451.353	Interior Maintenance: Rusted air vent in cell # 2, 5 and 14

105 CMR 451.353*		Interior Maintenance: Blocked air vent in cell # 4

105 CMR 451.353		Interior Maintenance: Blocked air vent in cell # 17, 23, 26 and 33

Day Room

105 CMR 451.353*	Interior Maintenance: Stain on ceiling by door # 132B

105 CMR 451.353		Interior Maintenance: Floor carpeting damaged in front of room # 132A and B

Showers

105 CMR 451.123*		Maintenance: Floor paint flaking in shower # 7, 8, 9 and 10

105 CMR 451.123		Maintenance: Floor paint flaking in all showers

Room 124

105 CMR 451.353		Interior Maintenance: Floor peeling paint

Bravo 3

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 1, 2, 4, 9, 14, 16, 22, 27, 29, 32, 38, 40, 42, 43 and 45

105 CMR 451.353	Interior Maintenance: Rusted air vent in cell # 17 and 24

105 CMR 451.353	Interior Maintenance: Missing floor tiles by cell # 3, 31 and 39

105 CMR 451.353	Interior Maintenance: Blocked air vent in cell # 3 and 27

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353	Interior Maintenance: Floor carpeting damaged in front of room # 327A

Showers

105 CMR 451.123*		Maintenance: Floor paint flaking in shower # 1, 2, 3, 4 and 5

Bravo 4

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 3, 6, 8, 9, 12, 15, 21, 23, 24, 29, 33, 36, 43 and 48

105 CMR 451.353	Interior Maintenance: Rusted air vent in cell # 16, 18, 20, 26, 31, 38, 39, 49 and 51

105 CMR 451.353	Interior Maintenance: Blocked air vent in cell # 5 and 21

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353	Interior Maintenance: Floor carpeting damaged in front of room # 332A

Showers

105 CMR 451.123		Maintenance: Floor paint flaking in all showers

Bravo 5

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 2, 8, 9, 13, 19, 20, 21, 26 and 29

105 CMR 451.353	Interior Maintenance: Rusted air vent in cell # 3, 16, 27, 30, 31 and 32

105 CMR 451.353	Interior Maintenance: Blocked air vent in cell # 8, 9 and 14

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353		Interior Maintenance: Ripped seat on bench press

Showers

No Violations Noted

Bravo 6

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 2, 5, 7, 11, 15, 16, 22 and 28

105 CMR 451.353	Interior Maintenance: Rusted air vent in cell # 19, 23 and 29

105 CMR 451.353		Interior Maintenance: Blocked air vent in cell # 11

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

Showers

105 CMR 451.123*	Maintenance: Flaking floor paint in shower # 6

105 CMR 451.123	Maintenance: Flaking floor paint in shower # 10

Charlie 1

Cells

105 CMR 451.353	Interior Maintenance: Blocked window in cell # 25

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

Showers

No Violations Noted

Kitchenette

No Violations Noted

Charlie 2

Cells

105 CMR 451.353		Interior Maintenance: Rusted air vent in cell # 5

105 CMR 451.353*		Interior Maintenance: Blocked window in cell # 25

Showers

No Violations Noted

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353*	Interior Maintenance: Clogged floor drain by cell # 20/21

Charlie 3

Cells

105 CMR 451.353*		Interior Maintenance: Rusted air vent in cell # 8, 9, 20, 21, 23, 26, 28, 29 and 30

105 CMR 451.353		Interior Maintenance: Rusted air vent in cell # 4, 19 and 22

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 6

Day Room

105 CMR 451.353	Interior Maintenance: Black substance on ceiling by air supply line

Roll Call Room 180

No Violations Noted

Charlie 4

Cells

105 CMR 451.353*		Interior Maintenance: Rusted air vent in cell # 12, 13 and 30

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

Kitchenette

No Violations Noted

Charlie 5

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 4, 5, 7 - 15, 19 - 20, 22 - 27, 29 - 34 and 35

105 CMR 451.353	Interior Maintenance: Rusted air vent in cell # 36

105 CMR 451.353		Interior Maintenance: Floor damaged missing tiles in front of cell # 27 and 28

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

Showers

105 CMR 451.123*		Maintenance: Flaking floor paint in shower # 8, - 11 and 12

105 CMR 451.123		Maintenance: Floor paint flaking in all showers

Charlie 6

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 1, 2, 3, 12, 23, 24, 28, 31 and 33

105 CMR 451.353	Interior Maintenance: Rusted air vent in cell # 4 - 11, 16 - 17, 19 - 20, 25 - 34 and 35

105 CMR 451.353*		Interior Maintenance: Blocked air vent in cell # 27, 28 and 30

105 CMR 451.123		Maintenance: Dirty storage area room # 328

Showers

105 CMR 451.123*		Maintenance: Flaking floor paint in shower # 1, 2, 4, 5, 7, 9, 10 and 12

105 CMR 451.350		Structural Maintenance: Floor damaged in shower # 10

Charlie 7

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 2, 8, 9, 18, 21, 25, 27, 30, 34 - 36 and 37

105 CMR 451.353	Interior Maintenance: Rusted air vent in cell # 7, 12, 13, 15, 17, 18, 27, 31, 32 and 38

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged by door # 606 and 608

Staff Kitchenette

No Violations Noted

Showers

No Violations Noted

Charlie 8

No Violations Noted

Charlie 9

No Violations Noted

Charlie 10

Cells

105 CMR 451.353*	Interior Maintenance: Debris on air vent in cell # 24 and 25

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 42

105 CMR 451.123		Maintenance: Dirty cell # 36

Day Room

105 CMR 451.353	Interior Maintenance: Floor carpeting damaged in front of room # 556 and 557

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling between cell # 39 and 40

Showers

No Violations Noted

Kitchenette

No Violations Noted

Industries Area

Sewing Area

FC 4-102.11(B)(2)		Materials for Construction and Repair; Multiuse: Unused single-service article not 			             protected against contamination

Pre-Release

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, coffee maker

Kitchen

FC 5-202.12(A)	*		Plumbing System, Design: Handwashing sinks water temperature recorded at 1320F

FC 5-501.16(C)	*		Refuse, Recyclables, and Returnables; Numbers and Capacities: No conveniently 					located waste receptacle at handwashing sink

FC 4-601.11(c)	*		Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty,						tilt kettle vent

Dining

No Violations Noted

Medical

105 CMR 451.353	Interior Maintenance: Damaged mattress in room 151

105 CMR 480.500(B)(1)	Procedures; Records; Record-Keeping Log: Improper record keeping

105 CMR 451.353	Interior Maintenance: Rusted exterior of water cooler

Multi Purpose

105 CMR 451.353*		Interior Maintenance: Ripped seat on shoulder press

105 CMR 451.123		Maintenance: Tables ending damaged

EAST UNIT

Lobby

No Violations Noted

Cells

No Violations Noted

Showers

105 CMR 451.123*		Maintenance: Flaking floor paint

105 CMR 451.123	Maintenance: Privacy curtains ripped in all showers

Day Room

No Violations Noted

WEST UNIT

Cells

No Violations Noted

Day Room

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Cracked floor

NORTH UNIT

Cells

No Violations Noted

Day Room

FC-4-602.12(B)*		Cooking and Baking Equipment: Dirty microwave oven

Showers

No Violations Noted

SOUTH UNIT

Cells

No Violations Noted

Day Room

FC 602.12(B)			Cooking and Baking Equipment: Dirty microwave oven

Showers

No Violations Noted

LAUNDRY

No Violations Noted

HEALTH SERVICE

Staff Kitchenette

FC 4-903.11(A)(2)	  	Protection of Clean Items, Storing: Single-service items not protected from 				contamination, items left uncovered

Room 259 Bio Hazard Storage

105 CMR 480.500(B)(1)	Procedures; Records; Record-Keeping Log: Improper record keeping

MAIN KITCHEN

Kitchen and food prep areas

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor paint peeling in dry storage

FC 6-201.11*			Design, Construction and Installation: Damaged floor tile by delivery door

FC 6-501.16	Maintenance and Operation; Cleaning: Mop stored improperly on wall in room # 142

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, gasket damaged on unit serial # S134B4352

FC 6-201.11	Design, Construction and Installation: Damaged floor tile by tub riser

FC 4-501.11	(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good

repair, dish washer will not reach proper temperature to sanitized

Staff Dinning

No Violations Noted

Culinary

No Violations Noted

Bakery

No Violations Noted

Observations and Recommendations

- The inmate population was 936 at the time of inspection

- Delta 4 and 5 not in use for the past 5-8 years

- All shower stalls need to be number for location purposes

- Delta 1 and 2 used for storage except for cells # 2 and 3 for Juveniles

- Davis 6 not in use for the past 2-3 years

- Charlie 3 not in use

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within 10 days of receipt of this letter and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Charles Kaniecki

District Health Officer, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

Judy Ann Bigby, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

James Kelleher, Assistant Superintendent

Captain Frank Barbaro, EHSO

Ludlow Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS