The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

23 Service Center Road, Northampton, MA 01060

Phone: 413-586-7525 Fax: 413-784-1037

TTY 800-769-9991

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

April 8, 2021

Nicholas Cocchi, Sheriff

Western MA Women’s Correctional Center

701 Center Street

Chicopee, MA 01013 		(electronic copy)

Re: Facility Inspection - Western MA Women’s Correctional Center, Chicopee

Dear Sheriff Cocchi:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the Western MA Women’s Correctional Center on April 7, 2021 accompanied by

Sergeant Faith Menard, Standards and Training Coordinator; Tina Mole, Standards and Training Coordinator;

and Matthew Roman, Assistant Deputy Superintendent. Violations noted during the inspection are listed below.

There were no repeat violations.

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Scott Koczela

Environmental Analyst, CSP, BEH

cc: 	Monica Bharel, MD, MPH, Commissioner, DPH

Jan Sullivan, Acting Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 		(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 		(electronic copy)

Patricia Murphy, Superintendent							(electronic copy)

Segreant Faith Menard, Standards and Training Coordinator 				(electronic copy)

Lisa Sanders, RS, CHO, Health Director, Chicopee Board of Health			(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

LOBBY

Male Bathroom # AA-112

No Violations Noted

Female Bathroom # AA-113

No Violations Noted

Janitor’s Closet # AA-114

No Violations Noted

Female Locker Room # AA-119

No Violations Noted

Male Locker Room # AA-118

No Violations Noted

ADMINISTRATION AREA

Break Room # AA-147

No Violations Noted

Female Staff Bathroom

No Violations Noted

Male Staff Bathroom

Unable to Inspect – In Use

Officer’s Cubicles

No Violations Noted

CENTRAL CONTROL

No Violations Noted

Bathroom

No Violations Noted

Janitor’s Closet # AA-215

No Violations Noted

Training/Muster Room # AA-214

No Violations Noted

VISITING AREA

No Violations Noted

Bathroom # AA-267

No Violations Noted

Janitor’s Closet # AA-252

No Violations Noted

Inmate Bathroom # AA-255

No Violations Noted

Storage # AA-258

No Violations Noted

Kitchenette # AA-261

No Violations Noted

LAUNDRY

No Violations Noted

SUPPPORT SERVICES

Central Storage

No Violations Noted

Inmate Bathroom # AA-127

No Violations Noted

Janitor’s Closet # AA-128

No Violations Noted

Staff Bathroom # AA-129

No Violations Noted

Break Room # AA-131

No Violations Noted

Maintenance Shop

No Violations Noted

Security Management

No Violations Noted

Staff Bathroom # AA-227

No Violations Noted

Janitor’s Closet # AA-218

No Violations Noted

KITCHEN

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Supervisor’s Office

No Violations Noted

Staff Bathroom # AB-224

No Violations Noted

Inmate Bathroom # AB-223

No Violations Noted

Secured Storage

No Violations Noted

Handwash Sink # 1

No Violations Noted

Dry Storage

No Violations Noted

Janitor’s Closet # AB-220

No Violations Noted

Freezer

No Violations Noted

Meat Refrigerator

No Violations Noted

Dairy/Produce Refrigerator

No Violations Noted

3-Compartment Sink

No Violations Noted

Handwash Sink # 2

No Violations Noted

Ice Machine

No Violations Noted

Dishwashing Machine

No Violations Noted

Handwash Sink # 3 (near Serving Line)

No Violations Noted

Traulsen Cooler

No Violations Noted

Food Preparation Area (near Hoods)

No Violations Noted

Inmate Dining Area

No Violations Noted

Receiving Dock # AB-212

No Violations Noted

Waste Hold Room # AB-211

No Violations Noted

Dumpster Area

No Violations Noted

Staff Bathroom # AB-209 (in Hallway)

No Violations Noted

Staff Bathroom # AB-210 (in Hallway)

Unable to Inspect – In Use

Culinary Kitchen

No Violations Noted

Secured Food Storage (located outside Culinary Kitchen)

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensil handle stored below the 	food and container line, scoop stored in flour bin

Serving Line

No Violations Noted

Dishwashing Machine

No Violations Noted

Handwash Sink

No Violations Noted

Staff Dining Area

No Violations Noted

MEDICAL

Medical Storage # AA-321

No Violations Noted

Dental Operations # AA-325

No Violations Noted

Dental Lab # AA-326

No Violations Noted

Inmate Bathroom # AA-332

No Violations Noted

Lab # AA-333

No Violations Noted

Optometry Office # AA-334

No Violations Noted

Tub/Pumping Room # AA-335

No Violations Noted

OB/GYN Office # AA-336

No Violations Noted

Janitor’s Closet # AA-337

No Violations Noted

Vaccine Room # AA-338

No Violations Noted

Clinical Treatment Room # AA-339

No Violations Noted

Staff Bathroom # AA-348

No Violations Noted

Medical Break Room # AA-349

No Violations Noted

Staff Bathroom # AA-350

No Violations Noted

Exam Rooms # 342/343

No Violations Noted

Medical Waste Room # AA-341

No Violations Noted

Dental Room # AA-345

No Violations Noted

VOCATIONAL AREA

Prison Industries # AB-356

No Violations Noted

Inmate Bathroom # AB-349

No Violations Noted

Staff Bathroom # AB-350

No Violations Noted

Computer Lab # AB-351

No Violations Noted

Beauty Salon # AB-353

No Violations Noted

Storage Room # AB-354 (located within Beauty Salon # AB-353)

No Violations Noted

PROGRAMS

Classroom # AA-306-A

No Violations Noted

Inmate Bathroom # AA-309 (located within Classroom # AA-308)

Unable to Inspect – In Use

Storage Room # AA-311

No Violations Noted

Inmate Bathroom # AA-320

No Violations Noted

Janitor’s Closet # AA-321

No Violations Noted

Library # AA-323

No Violations Noted

Storage Room # AA-325

No Violations Noted

Multi-Purpose Room # AB-330

No Violations Noted

Storage Room # AB-331 (located within Multi-Purpose Room # AB-330)

No Violations Noted

Storage Room # AB-339

No Violations Noted

Classrooms

No Violations Noted

Staff Bathroom # AA-340

No Violations Noted

Break Room # AA-341

No Violations Noted

Storage Room # AA-342

No Violations Noted

Fitness Room # AA-316

No Violations Noted

Inmate Bathroom # AA-317 (located within Fitness Room # AA-316)

No Violations Noted

Storage Closet # AA-318 (located within Fitness Room # AA-316)

No Violations Noted

HOUSING

Minimum A

Showers # HMA-116

No Violations Noted

Inmate Bathroom # HMA-117

No Violations Noted

Laundry Room # HMA-119

No Violations Noted

Staff Bathroom # HMA-120

No Violations Noted

Janitor’s Closet # HMA-124

No Violations Noted

Inmate Handicapped Bathroom # HMA-125

No Violations Noted

Cells

No Violations Noted

Minimum B

Recreation Deck

No Violations Noted

Day Room

No Violations Noted

Showers # HMA-216

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1200F in shower # 1

Inmate Bathroom # HMA-217

No Violations Noted

Laundry # HMA-219

No Violations Noted

Staff Bathroom # HMA-220

No Violations Noted

Office # HMA-222

No Violations Noted

Storage Room # HMA-223

No Violations Noted

Janitor’s Closet # HMA-224

No Violations Noted

Inmate Handicapped Bathroom # HMA-225

No Violations Noted

Cells

No Violations Noted

Unit 3 Administration

Inmate Bathroom # HS-103

No Violations Noted

Janitor’s Closet # HS-107

No Violations Noted

Triage # HS-109

No Violations Noted

Staff Bathroom # HS-110

No Violations Noted

Break Room # HS-119

No Violations Noted

Unit 3B

Janitor’s Closet # HSB-103

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Sub-Day Room # HSB-105

No Violations Noted

Staff Bathroom # HSB-113

No Violations Noted

Laundry # HSB-104

No Violations Noted

Day Area

No Violations Noted

Lower Showers

No Violations Noted

Upper Showers

No Violations Noted

Upper Storage # HSB-202

No Violations Noted

Cells

No Violations Noted

Recreation Deck

No Violations Noted

Observations and Recommendations

- The inmate population was 82 at the time of inspection.

- At the time of the inspection, the medical waste shipping log was provided to CSP staff for review during the

pre-inspection meeting.

- Hot water temperature range for handwash sinks is 1100F to 1300F.

- Hot water temperature range for showers is 1000F to 1120F.

- During the COVID-19 pandemic, there have been several changes made to the conduct of inspections for the CSP. One of the changes made includes reducing the amount of time CSP inspectors spend at one facility during an inspection. During the most recent inspection of your facility, the CSP conducted an abbreviated inspection of your facility focusing on those areas that have historically shown up on past reports, as well as areas of high concern for health and safety. The focused inspection was conducted in an effort to reduce COVID-19 exposure to facility staff, inmates, and CSP inspectors, and because of this, the inspection report is significantly shortened. We hope to return to standard inspectional procedures soon.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Scott Koczela														Environmental Analyst, CSP, BEH