The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

23 Service Center Road, Northampton, MA 01060

Phone: 413-586-7525 Fax: 413 784-1037

TTY 800 769-9991

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

May 24, 2019

Patrick J. Cahillane, Sheriff

Hampshire County Jail and House of Correction

205 Rocky Hill Road

Northampton, MA 01060		(electronic copy)

Re: Facility Inspection - Hampshire County Jail and House of Correction, Northampton

Dear Sheriff Cahillane:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and

105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the

Hampshire County Jail and House of Correction on May 20, 2019 accompanied by Jake McCormick, Compliance Officer. Violations noted during the inspection are listed below including 75 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

LOBBY

No Violations Noted

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

ADMINISTRATION

Lobby Control Area

No Violations Noted

Bathroom

Unable to Inspect – Not Used

Offices

No Violations Noted

Break Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of Microwave oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Bathroom (located within Break Area)

No Violations Noted

Bathroom (located outside Break Area)

No Violations Noted

Front Administration

Staff Break Area

No Violations Noted

Staff Bathroom

Unable to Inspect – In Use

Offices

No Violations Noted

Main Control

No Violations Noted

Control Bathroom

No Violations Noted

Staff Bathroom (outside Control)

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Male Staff Locker Area

No Violations Noted

Bathroom

105 CMR 451.123*		Maintenance: Ceiling vent dusty

Staff Gym

Unable to Inspect – Locked

MEDICAL

Medical Reception Office

No Violations Noted

Medical Waste Storage Room

No Violations Noted

Medical Waste Shipping Records

No Violations Noted

Staff Bathroom

No Violations Noted

Exam Room

No Violations Noted

Tub Room

No Violations Noted

HALLWAY (outside Medical)

No Violations Noted

Press Boxes

No Violations Noted

Maintenance Closet

No Violations Noted

SPECIAL MANAGEMENT UNIT

Control

No Violations Noted

Bathroom

No Violations Noted

A Block

Cells

No Violations Noted

Upper Shower

No Violations Noted

Storage Closet (upper)

Unable to Inspect – Not Used

Lower Shower

No Violations Noted

Storage Closet (lower)

No Violations Noted

B Block

Cells

No Violations Noted

Upper Shower

No Violations Noted

Storage Closet (upper)

Unable to Inspect – Not Used

Lower Shower

No Violations Noted

Storage Closet (lower)

No Violations Noted

HOUSING UNITS

Control

No Violations Noted

Bathroom

No Violations Noted

Unit – 1

Cells

No Violations Noted

Shower

No Violations Noted

Storage Closet

No Violations Noted

Unit – 2

Cells

No Violations Noted

Shower

No Violations Noted

Storage Closet

No Violations Noted

Unit – 3

Cells

No Violations Noted

Upper Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Soap scum on floor in shower

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower

105 CMR 451.123*	Maintenance: Floor damaged, epoxy coating peeling

Storage Closet (upper)

Unable to Inspect – Not Used

Lower Shower

No Violations Noted

Storage Closet (lower)

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Unit – 4

Cells

No Violations Noted

Upper Shower

No Violations Noted

Storage Closet (upper)

Unable to Inspect – Not Used

Lower Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

Storage Closet (lower)

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Unit – 5

Cells

No Violations Noted

Upper Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

105 CMR 451.123	Maintenance: Mold observed on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, floor paint peeling

Storage Closet (upper)

Unable to Inspect – Not Used

Lower Shower

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Mold observed on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, floor paint peeling

Storage Closet (lower)

No Violations Noted

Unit – 6

Cells

No Violations Noted

Upper Shower

105 CMR 451.123	Maintenance: Soap scum on floor in shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

Storage Closet (upper)

Unable to Inspect – Not Used

Lower Shower

105 CMR 451.123	Maintenance: Ceiling damaged

Storage Closet (lower)

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Unit – 7

Cells

No Violations Noted

Upper Shower

No Violations Noted

Storage Closet (upper)

Unable to Inspect – Not Used

Lower Shower

105 CMR 451.123*	Maintenance: Ceiling light fixture rusted

Storage Closet (lower)

No Violations Noted

Unit – 8

Cells

No Violations Noted

Upper Shower

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Soap scum on floor in shower

Storage Closet (upper)

No Violations Noted

Lower Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ceiling light fixture rusted

Storage Closet (lower)

No Violations Noted

Control Booth

Unable to Inspect – Not Used

Case Worker’s Office

Unable to Inspect – Locked

MAIN BUILDING GYM

No Violations Noted

Storage Closet

No Violations Noted

Workout Room

No Violations Noted

Weight Room

No Violations Noted

Inmate Bathroom

No Violations Noted

Maintenance Closet (located within Inmate Bathroom)

No Violations Noted

Female Staff Locker Room

Unable to Inspect – Locked

Bathroom (located within Female Staff Locker Room)

Unable to Inspect – Locked

Control

No Violations Noted

LOWER LEVEL HOUSING

Supply Closet

No Violations Noted

Laundry Area

No Violations Noted

Control

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of Microwave oven dirty

Bathroom

No Violations Noted

Unit – 1

Cells

No Violations Noted

Shower

No Violations Noted

Maintenance Closet

No Violations Noted

Unit – 2

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # C4

Shower

No Violations Noted

Maintenance Closet

No Violations Noted

SALLY PORT/INTAKE

Booking Office

No Violations Noted

Cells

No Violations Noted

Shower

No Violations Noted

Storage Closet

Unable to Inspect – Locked

Bathroom (outside Control)

No Violations Noted

Control

Unable to Inspect – Locked

Bathroom

Unable to Inspect – Locked

PROGRAM HALLWAY

Law Library

No Violations Noted

Training Room

No Violations Noted

Barber Shop

No Violations Noted

Bathroom

No Violations Noted

Captain’s Office

No Violations Noted

Wood Shop

No Violations Noted

Office

Unable to Inspect – Locked

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Adult Learning Center

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Inmate Bathroom

No Violations Noted

VISITING STRIP SEARCH AREA

Search Room

No Violations Noted

Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Maintenance Closet

No Violations Noted

Visiting Area

No Violations Noted

Storage Room

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, items stored within 18 inches of ceiling

Bathroom

No Violations Noted

KITCHEN

Staff Bathroom

Unable to Inspect – In Use

Pot Room

No Violations Noted

Food Prep Area (outside Pot Room)

No Violations Noted

Walk-in Freezer # 1

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice build-up on ceiling

Walk-in Cooler # 2

No Violations Noted

Walk-in Cooler # 3

No Violations Noted

Handwash Sink

No Violations Noted

3-Compartment Sink

No Violations Noted

Serving Line

No Violations Noted

Dishwashing Area

No Violations Noted

True Refrigerator # 4

No Violations Noted

Food Prep Area (behind Juice Machine)

No Violations Noted

Ventilation Hood Area

No Violations Noted

Dry Storage

FC 6-501.12(A)			Maintenance and Operation; Cleaning: Facility not cleaned properly, spilled flour on floor

Deep Freezer # 6

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice build-up on ceiling, floor, and food

Inmate Clothing Storage

No Violations Noted

Inmate Bathroom

No Violations Noted

Mop Room

No Violations Noted

Chemical Storage Room

No Violations Noted

DUMPSTER AREA

105 CMR 451.360	Protective Measures: Building not protected against infestation,

bird’s nest observed above loading dock door

LAUNDRY

No Violations Noted

Bathroom

No Violations Noted

Storage Room

No Violations Noted

MODULAR UNITS

Control

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator gasket dirty

Control Bathroom

No Violations Noted

Old Dining Area/Case Worker’s Area

Unable to Inspect – Under Construction

Culinary Arts Kitchen

Unable to Inspect –Under Construction

North Housing Unit

Bathroom

105 CMR 451.123*	Maintenance: Plumbing chase behind toilets has rotted wall studs, floor joists, and sill

plate

105 CMR 451.123*	Maintenance: Floor and wall beginning to separate between toilet stall # 3 and 4

105 CMR 451.123*	Maintenance: Handwash sink fixtures not easily cleanable on sink # 1, 2, 3, 4, 5, 6, 7, 8,

and 9, finish worn

105 CMR 451.123*	Maintenance: Floor cracked near floor drain

105 CMR 451.123	Maintenance: Floor cracked near toilets 1, 2, and 3

Utility Sink Area

105 CMR 451.353*	Interior Maintenance: Wall surface damaged behind faucet

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged at entrance to bathroom

Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 1, 2, 3, 4, 5, 6, 7, and 8

105 CMR 451.123*	Maintenance: Floor cracked at shower divider’s support beam in shower # 6, 7, 8, and 9

105 CMR 451.123*	Maintenance: Shower wall board cracked in shower # 5

105 CMR 451.123*	Maintenance: Wall board in shower not moisture proof,

wall bulging in shower # 2, 3, 4, 5, 6, 7, and 8

105 CMR 451.123*	Maintenance: Wall behind showers dirty in shower # 1, 2, 3, 4, 5, 6, 7, 8, and 9

105 CMR 451.123*	Maintenance: Hole in wall near shower # 9

105 CMR 451.123*	Maintenance: Ceiling light rusted

105 CMR 451.123*	Maintenance: Ceiling vent rusted

Day Room

105 CMR 451.353	Interior Maintenance: Floor damaged outside shower area

Room # 1

No Violations Noted

Room # 2

No Violations Noted

Room # 3

105 CMR 451.350	Structural Maintenance: Wall damaged near light switch

Room # 4

No Violations Noted

Room # 5

No Violations Noted

Exterior Door (at end of Hallway)

No Violations Noted

Room # 6

No Violations Noted

Room # 7

105 CMR 451.350	Structural Maintenance: Wall damaged near light switch

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged at entrance to room

Room # 8

105 CMR 451.350*	Structural Maintenance: Wall damaged near light switch

Room # 9

105 CMR 451.141	Screens: Screen missing

105 CMR 451.353*	Interior Maintenance: Far right ceiling grille rusted

Room # 10

105 CMR 451.141	Screens: Screen not well fitted

105 CMR 451.350*	Structural Maintenance: Wall covering buckling

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged inside room

105 CMR 451.350*	Structural Maintenance: Hole in wall

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged at entrance to room

South Housing Unit

Unable to Inspect – Under Construction

OLD CANE SHOP

No Violations Noted

Storage Room

No Violations Noted

Bathroom

No Violations Noted

Property

No Violations Noted

MINIMUMN HOUSING

Main Utility Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Staff Bathroom

No Violations Noted

Day Room

No Violations Noted

Kitchenette

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, temperature recorded at 480F in refrigerator # 1

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, temperature recorded at 550F in refrigerator # 2

A – Block

Cells

No Violations Noted

Storage

No Violations Noted

Bathroom

No Violations Noted

Shower

105 CMR 451.123	Maintenance: Soap scum on floor in shower

B – Block

Cells

No Violations Noted

Storage

No Violations Noted

Bathroom

No Violations Noted

Shower

No Violations Noted

C – Block

Cells

No Violations Noted

Storage

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, items stored within 18 inches of ceiling

Bathroom

No Violations Noted

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

D – Block

Cells

No Violations Noted

Bathroom

No Violations Noted

Shower

No Violations Noted

E – Block

Cells

No Violations Noted

Storage Closet

No Violations Noted

Bathroom

No Violations Noted

Shower

No Violations Noted

F – Block

Cells

No Violations Noted

Janitor’s Closet

No Violations Noted

Weight Room

105 CMR 451.353	Interior Maintenance: Padding damaged on bench press

Storage Closet # 1

No Violations Noted

Storage Closet # 2

No Violations Noted

Laundry Area

No Violations Noted

Bathroom

No Violations Noted

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

REGIONAL LOCKUP

Lobby Bathroom

No Violations Noted

Main Desk

No Violations Noted

Staff Bathroom

No Violations Noted

A – Block

No Violations Noted

B – Block

No Violations Noted

C – Block

No Violations Noted

D – Block

No Violations Noted

Kitchenette

No Violations Noted

Booking

No Violations Noted

Janitor’s Closet

No Violations Noted

Bathroom

No Violations Noted

Bullpen

No Violations Noted

Sally Port Hallway

No Violations Noted

Observations and Recommendations

- The inmate population was 197 at the time of inspection.

- At the time of the inspection the South Modular Housing Unit, Culinary Kitchen, Old Dining, and Case Worker’s Areas were closed for repairs. The Department asks to be kept apprised of any construction updates associated with the North and South Modular units.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Scott Koczela														Environmental Analyst, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC 	 					(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Major Daniel Hart, Assistant Deputy Superintendent 				(electronic copy)

Jake McCormick, Compliance Officer						(electronic copy)

David Murphy, EHSO 								(electronic copy)

Christopher Austin, EHSO							(electronic copy)

Cheryl Thouin, Administrative Assistant						(electronic copy)

Merridith O’Leary, RS, Health Director, Northampton Board of Health		(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate