The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

128 East Mountain Road

Westfield, MA 01085-1889

Phone: 617-448-3373

MAURA T. HEALEY Governor KIMBERLEY DRISCOLL Lieutenant Governor

KATHLEEN E. WALSH

Secretary

MARGRET R. COOKE Commissioner

Tel: 617-624-6000

www.mass.gov/dph

March 27, 2023

Patrick J. Cahillane, Sheriff

Hampshire County Jail and House of Correction

205 Rocky Hill Road

Northampton, MA 01060		(electronic copy)

Re: Facility Inspection - Hampshire County Jail and House of Correction, Northampton

Dear Sheriff Cahillane:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Minimum Requirements for the Management of Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and

105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the Hampshire County Jail and House of Correction on March 21, 2023 accompanied by Lieutenant Bryan Luszczki. Violations noted during the inspection are listed below including 18 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Scott Koczela

Environmental Analyst, CSP, BEH

cc: 	Margret R. Cooke, Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Kathleen E. Walsh, Secretary, Executive Office of Health and Human Services		(electronic copy)

Carol A. Mici, Commissioner, DOC							(electronic copy)

Terrence Reidy, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 			(electronic copy)

Lieutenant Bryan Luszcki, Compliance Officer						(electronic copy)	Merridith O’Leary, Director, Northampton Board of Health				(electronic copy)

Clerk, Massachusetts House of Representatives						(electronic copy)

Clerk, Massachusetts Senate								(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

LOBBY

No Violations Noted

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

ADMINISTRATION

Lobby Control Area

No Violations Noted

Bathroom

No Violations Noted

Offices

No Violations Noted

Break Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Bathroom (located within Break Area)

No Violations Noted

Bathroom (located outside Control)

Unable to Inspect – In Use

Front Administration

Staff Break Area

No Violations Noted

Staff Bathroom

No Violations Noted

Offices

No Violations Noted

Main Control

No Violations Noted

Control Bathroom

No Violations Noted

Male Staff Locker Area

No Violations Noted

Bathroom

No Violations Noted

Staff Gym

No Violations Noted

MEDICAL

Medical Reception Office

No Violations Noted

Medical Waste Storage Room

No Violations Noted

Medical Waste Shipping Records

No Violations Noted

Staff Bathroom

No Violations Noted

Exam Room

No Violations Noted

Optometry Office

No Violations Noted

Tub Room

No Violations Noted

Storage

No Violations Noted

HALLWAY (outside Medical)

No Violations Noted

Press Boxes

No Violations Noted

Maintenance Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Supply Closet

Unable to Inspect – Locked

SPECIAL MANAGEMENT UNIT

Control

Unable to Inspect – Under Construction

Bathroom

Unable to Inspect – Under Construction

B Block

Cells

No Violations Noted

Upper Shower

105 CMR 451.123*	Maintenance: Floor epoxy damaged in shower

105 CMR 451.123	Maintenance: Mold observed on floor in shower

Storage Closet (upper)

Unable to Inspect – Not Used

Lower Shower

105 CMR 451.123	Maintenance: Soap scum on floor in shower

Storage Closet (lower)

No Violations Noted

HOUSING UNITS

Control

No Violations Noted

Bathroom

No Violations Noted

Unit – 1

Cells

No Violations Noted

Shower

105 CMR 451.123*	Maintenance: Floor paint damaged in shower

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Storage Closet

105 CMR 451.353	Interior Maintenance: Wet mop not hung to dry

Unit – 3

Cells

No Violations Noted

Lower Shower

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower

Storage Closet (lower)

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Upper Shower

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor epoxy damaged in shower

Storage Closet (upper)

Unable to Inspect – Not Used

Unit – 4

Cells

105 CMR 451.350*	Structural Maintenance: Ceiling damaged in cell # C28

Upper Shower

105 CMR 451.123	Maintenance: Floor epoxy damaged in shower

105 CMR 451.123	Maintenance: Shower dirty

Storage Closet (upper)

Unable to Inspect – Not Used

Lower Shower

105 CMR 451.123	Maintenance: Floor epoxy damaged in shower

105 CMR 451.123	Maintenance: Soap scum on floor in shower

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower

Storage Closet (lower)

105 CMR 451.353	Interior Maintenance: Wet mop not hung to dry

Unit – 5

Cells

No Violations Noted

Upper Shower

105 CMR 451.123*	Maintenance: Floor paint damaged in shower

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Storage Closet (upper)

Unable to Inspect – Not Used

Lower Shower

105 CMR 451.123*	Maintenance: Floor paint damaged in shower

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Shower dirty

Storage Closet (lower)

105 CMR 451.353	Interior Maintenance: Wall vent dusty

105 CMR 451.353	Interior Maintenance: Standing water observed in mop bucket

105 CMR 451.353*	Interior Maintenance: Wet mop not hung to dry

Unit – 6

Cells

No Violations Noted

Upper Shower

No Violations Noted

Storage Closet (upper)

105 CMR 451.353	Interior Maintenance: Wall vent dusty

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Lower Shower

105 CMR 451.123*	Maintenance: Ceiling damaged in shower

Storage Closet (lower)

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

105 CMR 451.353*	Interior Maintenance: Wet mop not hung to dry

Unit – 7

Cells

No Violations Noted

Upper Shower

105 CMR 451.123	Maintenance: Mold observed on floor in shower

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Storage Closet (upper)

Unable to Inspect – Not Used

Lower Shower

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower

105 CMR 451.123	Maintenance: Soap scum on floor in shower

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ceiling damaged in shower

Storage Closet (lower)

No Violations Noted

Unit – 8

Cells

No Violations Noted

Upper Shower

No Violations Noted

Storage Closet (upper)

No Violations Noted

Lower Shower

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

Storage Closet (lower)

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Control Booth

No Violations Noted

Bathroom

No Violations Noted

Case Worker’s Office

No Violations Noted

MAIN BUILDING GYM

105 CMR 451.353		Interior Maintenance: Padding damaged on several pieces of exercise equipment

Storage Closet

No Violations Noted

Workout Room

No Violations Noted

Weight Room

105 CMR 451.353		Interior Maintenance: Padding damaged on several pieces of exercise equipment

Inmate Bathroom

No Violations Noted

Maintenance Closet (located within Inmate Bathroom)

105 CMR 451.350	Structural Maintenance: Ceiling damaged in closet

Female Staff Locker Room

Unable to Inspect – Locked

Bathroom (located within Female Staff Locker Room)

Unable to Inspect – Locked

Control

No Violations Noted

LOWER LEVEL HOUSING

Supply Closet

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, mop bucket stored within 18” of ceiling

Laundry Area

No Violations Noted

Control

No Violations Noted

Bathroom

No Violations Noted

Unit-A

Shower

105 CMR 451.123	Maintenance: Soap scum on floor in shower

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Storage Closet

No Violations Noted

Cells

No Violations Noted

Unit-B

Showers

105 CMR 451.123	Maintenance: Floor epoxy damaged in shower # 1

Storage Closet

No Violations Noted

Cells

No Violations Noted

SALLY PORT/INTAKE

Booking Office

No Violations Noted

Cells

No Violations Noted

Shower

105 CMR 451.123*	Maintenance: Floor damaged in shower

Storage Closet

105 CMR 451.353*	Interior Maintenance: Wet mop not hung to dry

Bathroom (outside Control)

No Violations Noted

Control

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Bathroom

No Violations Noted

PROGRAM HALLWAY

Law Library

No Violations Noted

Office (located withing Law Library)

Missing 105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Training Room

No Violations Noted

Barber Shop

No Violations Noted

Staff Bathroom

No Violations Noted

Captain’s Office

No Violations Noted

Library

No Violations Noted

Wood Shop

No Violations Noted

Office

Unable to Inspect – Locked

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Adult Learning Center

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Inmate Bathroom

No Violations Noted

VISITING STRIP SEARCH AREA

Search Room

No Violations Noted

Bathroom

No Violations Noted

Maintenance Closet

No Violations Noted

Visiting Area

No Violations Noted

Storage Room

No Violations Noted

Bathroom

No Violations Noted

KITCHEN

Staff Bathroom

105 CMR 451.123		Maintenance: Ceiling vent dusty

Pot Room

No Violations Noted

Food Prep Area (outside Pot Room)

No Violations Noted

Walk-in Freezer # 1

No Violations Noted

Walk-in Cooler # 2

No Violations Noted

Walk-in Cooler # 3

No Violations Noted

Handwash Sink

No Violations Noted

3-Compartment Sink

No Violations Noted

Serving Line

No Violations Noted

Dishwashing Area

FC 4-703.11(B)	Sanitization of Equipment and Utensils; Methods: Mechanical warewash machine does not achieve a utensil surface temperature of 160°F as measured by an irreversible registering temperature indicatorP, temperature recorded at 1550F

True Refrigerator # 4

No Violations Noted

2-Compartment Sink

No Violations Noted

Food Prep Area (behind Juice Machine)

No Violations Noted

Ventilation Hood Area

No Violations Noted

Dry Storage

No Violations Noted

Deep Freezer # 6

No Violations Noted

Inmate Clothing Storage

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, clothing stored within 18” of ceiling

Inmate Bathroom

No Violations Noted

Mop Room

No Violations Noted

Chemical Storage Room

No Violations Noted

DUMPSTER AREA

FC 5-501.111	Refuse, Recyclables, and Returnables; Facilities on the Premises: Storage areas not maintained in good repair, debris observed outside dumpsters

LAUNDRY

No Violations Noted

Bathroom

No Violations Noted

Storage Room

No Violations Noted

MODULAR UNITS

Control

No Violations Noted

Control Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Old Dining Area/Case Worker’s Area

No Violations Noted

Bathroom

No Violations Noted

Dental Office

No Violations Noted

Office # 52

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, inside of refrigerator dirty

Office # 53

No Violations Noted

Office # 54

No Violations Noted

Office # 55

No Violations Noted

Culinary Arts Kitchen

Traulsen Cooler

FC 3-302.11(A)(1)(b)  	Preventing Contamination after Receiving; Preventing Food and Ingredient Contamination: Raw animal food not stored separate from cooked ready-to-eat foodP,

raw chicken and seafood stored above ready-to-eat foods

Dishwashing Machine

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, mechanical warewashing machine out-of-order

Mop Area

No Violations Noted

Spice Rack

No Violations Noted

Food Preparation Area

No Violations Noted

Ventilation Hood

No Violations Noted

True Freezer

No Violations Noted

Handwash Sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, handwash sink not draining

2-Compartment Sink

No Violations Noted

3-Compartment Sink

No Violations Noted

North Housing Unit

Bathroom

No Violations Noted

Utility Sink Area

No Violations Noted

Showers

No Violations Noted

Day Room

No Violations Noted

Dorm Room # 101

No Violations Noted

Officer’s Station

No Violations Noted

Dorm Room # 102

No Violations Noted

Dorm Room # 103

105 CMR 451.141	Screens: Screen damaged

Dorm Room # 104

No Violations Noted

Dorm Room # 105

No Violations Noted

Dorm Room # 106

No Violations Noted

South Housing Unit

Bathroom

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, water runs continuously at

handwash sink # 1

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, missing water controls at

handwash sink # 2 and 3

Utility Sink Area

No Violations Noted

Showers

No Violations Noted

Day Room

No Violations Noted

Dorm Room # 201

105 CMR 451.141	Screens: Screen damaged

Officer’s Station

No Violations Noted

Dorm Room # 202

No Violations Noted

Dorm Room # 203

No Violations Noted

Dorm Room # 204

No Violations Noted

Dorm Room # 205

No Violations Noted

Dorm Room # 206

No Violations Noted

OLD CANE SHOP BUILDING

Testing Center

No Violations Noted

Bathroom

No Violations Noted

Property

Unable to Inspect – Locked

REGIONAL LOCKUP

Lobby Bathroom

No Violations Noted

Main Desk

No Violations Noted

Staff Bathroom

No Violations Noted

A – Block

No Violations Noted

B – Block

No Violations Noted

C – Block

No Violations Noted

D – Block

No Violations Noted

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, handle damaged on microwave

Booking

No Violations Noted

Janitor’s Closet

No Violations Noted

Bathroom

No Violations Noted

Bullpen

No Violations Noted

Sally Port Hallway

No Violations Noted

MAINTENANCE GARAGE

Office

No Violations Noted

Key Room

No Violations Noted

Office Bathroom

No Violations Noted

Tool Room

No Violations Noted

Chemical Storage Room

No Violations Noted

Garage Bathroom

No Violations Noted

Shop Area

No Violations Noted

Observations and Recommendations

- The inmate population was 129 at the time of inspection

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Scott Koczela

Environmental Analyst, CSP, BEH