| Issue to be Addressed | Regulations/Statutes/Standards Available (Mandates are in bold) | Other Guidance |
| --- | --- | --- |
| Renovations while school is occupied or adjacent to occupied spaces. | - 603 CMR 38.00: SCHOOL CONSTRUCTION – Massachusetts Department of Education, refers to SMACNA - SMACNA. 1995. IAQ Guidelines for Occupied Buildings Under Construction. 1st ed. Sheet Metal and Air Conditioning Contractors’ National Association, Inc., Chantilly, VA. - U.S. EPA. 2000. Indoor Air Quality Tools for Schools Renovation and Repairs Checklist. 2nd ed. - U.S. EPA. 2001. Mold Remediation in Schools and Commercial Buildings. EPA 402K-01-001 - Notification Requirement for Dust Control: 310 CMR 7.09(2). | # MDPH, ER/IAQ Program # MDOE, SBAB Sheet Metal and Air Conditioning Contractors’ National Association, Inc., Chantilly, VA. DEP/Bureau of Waste Prevention, regional offices |
| Heating, Ventilating, and Air- Conditioning (HVAC) maintenance -General Ventilation/Heating Air Handling Units (AHUs) -Air-Conditioned Buildings -Vehicle Exhaust Entrainment Issues | General Ventilation For all buildings - U.S. EPA. 1991. Building Air Quality A Guide for Building Owners and Facility Managers. Dec. 1991 For buildings since 1998 - 780 CMR 1209.0 Mechanical Ventilation. State Board of Building Regulations and Standards, refers to BOCA - BOCA. 1993. The BOCA National Mechanical Code-1993. 8th ed. Building Officials & Code Administrators International, Inc., Country Club Hills, IL. For buildings prior to 1998 - State Board of Building Regulations and Standards in force at the time of construction/major renovation - ASHRAE. Latest version. Ventilation for Acceptable Indoor Air Quality. American Society of Heating, Refrigeration and Air Conditioning Engineers. ANSI/ASHRAE 62-1999 Filtration - ASHRAE. 1992. Gravimetric and Dust-Spot Procedures for Testing Air-Cleaning Devices Used in General Ventilation for Removing Particulate Matter. American Society of Heating, Refrigeration and Air Conditioning Engineers. ANSI/ASHRAE 52.1-1992. - CDC. 1998. Compendium of Measures to Control Chlamydia psittaci Infection Among Humans (Psittacosis) and Pet Birds (Avian Chlamydiosis), 1998. MMWR 47:RR-10. July 10, 1998. ## Balancing and Commissioning - SMACNA. 1994. HVAC Systems Commissioning Manual. 1st ed. Sheet Metal and Air Conditioning Contractors’ National Association, Inc., Chantilly, VA. Vehicle Exhaust Entrainment Issues - M.G.L. c. 90:16A. Stopped Motor Vehicles; Operation of Engine; Time Limit; Penalty. - BOCA. 1993. The BOCA National Mechanical Code-1993. 8th ed. Building Officials & Code Administrators International, Inc., Country Club Hills, IL. - US DOE. School Design Guidelines | # General Ventilation # MDPH, ER/IAQ Program Department of Public Safety, State Board of Building Regulations Filtration MDPH, ER/IAQ Program #### Balancing and Commissioning Local SMACNA Chapter |
| Furnace/Boiler Maintenance/Emergency Generators | - 527 CMR 4.00 Oil Burning Equipment. Board of Fire Prevention ## Furnace/Boiler Maintenance - 310 CMR 7.00 Air Pollution Control - For boilers with a maximum energy input capacity of 10 million BTU/hour or more, source registration requirement: 310 CMR 7.12 18b. 310 CMR 7.02-7.04 - For boilers constructed before September 14, 2001with units having maximum energy input capacities of 10 million BTU per hour or more, and for boilers constructed after September 14, 2001 with a maximum energy input capacity greater than 40 million BTU/hour, permit requirements: 310 CMR 7.02 - Maintenance and record keeping requirements: 310 CMR 7.03 and 7.04 18c. 310 CMR 7.26 (30-37) - For boilers constructed after September 14, 2001 with units having a maximum energy input capacity between 10 million and 40 million BTU/hour: certification, operating and record keeping requirements. 18d. 310 CMR7.12; Source Registration Requirement 18e. 40 CFR Part 60, subpart Dc - For boilers with a maximum capacity of more than 10 million BTU/hour, notify US EPA. Degreasers 19a. 310 CMR 7.03(10) 19b. 310 CMR 7.02 (8) i | Local Fire Department, Fire Prevention Office MA Dept. of Environmental Protection, regional offices (permits) US EPA, Region 1 |
| Building Envelope Issues -Roofs -Windows/doors -Exterior walls- Brick, Mortar etc. -Foundation -Other | For all buildings - Building Science Corporation. 2001. Read This Before You Design, Build and Renovate. Building Science Corporation. Westford, MA For buildings since 1998 - 780 CMR 1.00 et al. State Board of Building Regulations and Standards, refers to BOCA For buildings prior to 1998 - State Board of Building Regulations and Standards in force at the time of construction/major renovation | MA State Board of Building Regulations MDPH, ER/IAQ Program |
| # Chemical Management Chemical Purchasing Practices Chemical Storage Chemical Use Practices Chemical Removal/Disposal | ## Chemical Labeling and Storage Practices - 527 CMR 14.00 Flammable and Combustible Liquids, Flammable Solids or Flammable Gases. Board of Fire Prevention - M.G.L. c. 111F. Hazardous Substances Disclosure by Employers. Massachusetts General Laws. M.G.L. c. 111F. 24b.310 CMR 7.18 (8). Solvent Cleaners and Degreasers - NFPA. 1996. Flammable and Combustible Liquids Code. 1996 ed. National Fire Prevention Association, Quincy, MA. NFPA 30. - NFPA. 1991. Fire Protection Guide to Hazardous Materials. 10th ed. National Fire Prevention Association, Quincy, MA. - Rose, S. 1984. Clinical Laboratory Safety. Van Nostrand Reinhold, New York, NY. Pp. 88. - FSI. 1999. Flinn Scientific & Biological Catalog Reference Manual 1999. Flinn Scientific Inc., Batavia, IL. - Scott Specialty Gases, Inc. 1997. Gas & Equipment Reference Guide. 1000.1 03/97-RRD-80M. Plumsteadsville, PA. # Hazardous Waste Disposal - M.G.L. c. 21C, Massachusetts Hazardous Waste Management Act, 310 CMR 30.000 Spill Cleanup - MGL c. 21E, Massachusetts Oil and Hazardous Material Release Prevention and Response Act - 310 CMR 40.0000, Massachusetts Contingency Plan Mercury - MA DEP/ EOEA and NEWMOA: Guidance for School Mercury Cleanouts Other - ANSI. Z358.1. Emergency Eyewash and Shower Equipment. American National Standards Institute. Washington, DC | ## Chemical Labeling And Storage Practices MDPH, ER/IAQ Program Division of Occupational Safety ###### Hazardous Waste Disposal MA Dept. of Environmental Protection web site/fact sheets MA DEP Hazardous Waste Compliance Hotline: 617/292-5898 Local Board of Health/Haz-Mat Coordinator Spill Cleanup MA Dept. of Environmental Protection web site/fact sheets MA DEP “MCP Helpline”: 800/462-0444 or 617/338-2255 ##### Mercury Mercury Management – See MA DEP Web page MDPH, ER/IAQ Program Local Board of Health/Haz Mat Coordinator Northeast Waste Management Officials’ Association (NEWMOA) web page: See Other Resources |
| Drinking Water | - 40 CFR Parts 9, 141 and 142 National Primary Drinking Water Regulations for Lead and Copper; Final Rule - 310 CMR 22.00 (Public Water Supplies) - 248 CMR 2.00 (Plumbing Related to Drinking Water Fixtures) - 105 CMR 570.000 (Bottled Water) | MDPH MDEP, Bureau of Resource Protection |
| Asbestos Management Plans | - M.G.L. c. 149:6A-6G. Monitoring, inspection and investigation of work involving asbestos - 453 CMR 6.00 U.S. Asbestos Hazard Emergency Response Act of 1986 (AHERA) - U.S. Asbestos School Hazard Abatement Reauthorization Act of 1990 (ASHARA) - 310 CMR 4.00, 7.00, 7.09(5), 7.15 (notifications and fees; work practices for asbestos removal, storage, transport, and handling; inspections for demolition and renovations) - 310 CMR 19.00 (disposal of asbestos-containing material | MA Dept. of Labor and Workforce Development Division of Occupational Safety US Environmental Protection Agency MA Dept. of Environmental Protection |
| IPM Plans (Integrated Pest Management) Pesticide Regulatory Requirements IPM Components and Pesticide Use | - 527 CMR 37.00 Pesticide Storage. Board of Fire Prevention. - M.G.L. c. 132B: 2, 6C-6i Massachusetts Pesticide Control Act - 333 CMR Pesticide Regulations - 333 CMR 13.11: Special Requirements for School, Day Care and Child Care Program Property. | - Local Fire Department, Fire Prevention Office - Massachusetts Department of Agricultural Resources |
| Underground Storage Tanks | ### 527 CMR 9.00 Tanks and Containers. Board of Fire Prevention. - 310 CMR 40.0000, Massachusetts Contingency Plan (leaking tanks) | # Local Fire Department, Fire Prevention Office MA Dept. of Environmental Protection Bureau of Waste Site Cleanup (Assessment and cleanup of leaking USTs) |
| Septic Systems (Title V)/Sanitary Sewers | - 310 CMR 15.000 Title V siting, Construction, Inspection and Maintenance of Septic Systems | MA DEP Local Board of Health |

| Issue to be Addressed | Regulations/Statutes/Standards Available (Mandates are in bold) | # Other Guidance |
| --- | --- | --- |
| Miscellaneous (Maintenance/Custodial Issues) # Carpeting Other | - Berry, M.A. 1994. Protecting the Built Environment: Cleaning for Health, Michael A. Berry, Chapel Hill, NC. - Riggs, J.R. 1996. Materials and Components of Interior Architecture, 4th ed. Prentice Hall, Englewood Hills, NJ. - IIRC S001 Reference Guideline for Professional On-Location Cleaning of Textile Floor Covering Materials Institute of Inspection, Cleaning and Restoration Certification - Recommendations from carpet manufacturers - U.S. EPA. 2000. Indoor Air Quality Tools for Schools. 2nd ed. - U.S. EPA. 2001. Building Air Quality – A Guide for Building Owners and Facility Managers. Dec. 1991. ###### Management of Wastes Other than Chemicals - 310 CMR 19.10 (waste bans) - 310 CMR 30.00 (Universal wastes, e.g., fluorescent lamps) 58b 40 CFR 761.2 (a) (4) 58c 40 CFR 761.50 (b) (2) - 310 CMR 27.00 (Underground Injection Control, e.g., floor drains) Vehicle inspections - 540 CMR 404(a) (safety inspections) - 310 CMR 60.02 (emission inspections - MGL. 1986. Stopped motor vehicles; Operation of Engine; Time Limit; Penalty. Massachusetts General Laws. M.G.L. c. 90:16A. | # MDPH, ER/IAQ Program # The Carpet and Rug Institute, Dalton, GA The Institute of Inspection, Cleaning and Restoration Certification Management of Wastes Other than Chemicals MA Dept. of Environmental Protection US EPA, Region 1 Vehicle inspections # MA Registry of Motor Vehicles MA Dept. of Environmental Protection |