# INTRODUCTION

The Massachusetts Watershed Initiative is a collaborative effort between state and federal environmental agencies, municipal agencies, citizens, non-profit groups, businesses and industries in the watershed.  The mission is to improve water quality conditions and to provide a framework under which the restoration and/or protection of the basin’s natural resources can be achieved.  Implementation of this project is underway in a process known as the “Watershed Approach”.  The five-year cycle of the Watershed Approach, as illustrated in Figure 2, provides the management structure to carry out the mission. This report presents the 1997/1998  assessment of water quality conditions in the Housatonic River Basin.  The assessment is based on information that has been researched and developed through the first three years (information gathering, monitoring, and assessment) of the five-year cycle by the Department of Environmental Protection (DEP) as part of its federal mandate under the Federal Water Pollution Control Act (commonly known as the Clean Water Act).

Figure 2. Clean Water Act Implementation Cycle

The objective of the Clean Water Act (CWA) is to restore and maintain the chemical, physical, and biological integrity of the Nation’s waters (Environmental Law Reporter 1988).  To meet this goal, the CWA requires states to develop information on the quality of the Nation's water resources and report this information to the U.S. Environmental Protection Agency (EPA), the U.S. Congress, and the public.  Together, these agencies are responsible for implementation of the CWA mandates.  Under Section 305(b) of the Federal Clean Water Act, DEP must submit a statewide report every two years to the EPA, which describes the status of water quality in the Commonwealth.  The most recent 305(b) report is the Commonwealth of Massachusetts Summary of Water Quality 1998 (MA DEP 1998a). The 305(b) statewide report is based on the compilation of information for the Commonwealth’s 27 watersheds.  The 305(b) report compiles data from a variety of sources, and provides an evaluation of water quality, progress made towards maintaining and restoring water quality, and the extent to which problems remain at the statewide level.   At the watershed level, instream biological, habitat, physical/chemical, toxicity data and other information is evaluated to assess the status of water quality conditions.  This analysis follows a standardized process described below (Assessment Methodology).

ASSESSMENT METHODOLOGY

### WATER QUALITY CLASSIFICATION

The Massachusetts Surface Water Quality Standards designate the most sensitive uses for which the surface waters of the Commonwealth shall be enhanced, maintained and protected; prescribe minimum water quality criteria required to sustain the designated uses; and include provisions for the prohibition of discharges (MA DEP 1996).  These regulations undergo public review every three years.  These surface waters are segmented and each segment is assigned to one of the six classes described below:

- Inland Water Classes

- Class A – These waters are designated as a source of public water supply.  To the extent compatible with this use they shall be an excellent habitat for fish, other aquatic life and wildlife, and suitable for primary and secondary contact recreation.  These waters shall have excellent aesthetic value.  These waters are designated for protection as Outstanding Resource Waters (ORW’s) under 314 CMR 4.04(3).

- Class B – These waters are designated as a habitat for fish, other aquatic life, and wildlife, and for primary and secondary contact recreation.  Where designated they shall be suitable as a source of water supply with appropriate treatment.  They shall be suitable for irrigation and other agricultural uses and for compatible industrial cooling and process uses.  These waters shall have consistently good aesthetic value.

- Class C – These waters are designated as a habitat for fish, other aquatic life and wildlife, and for secondary contact recreation. These waters shall be suitable for the irrigation of crops used for consumption after cooking and for compatible industrial cooling and process uses.  These waters shall have good aesthetic value.

- Coastal and Marine Classes

- Class SA – These waters are designated as an excellent habitat for fish, other aquatic life and wildlife and for primary and secondary recreation. In approved areas they shall be suitable for shellfish harvesting without depuration (Open Shellfishing Areas). These waters shall have excellent aesthetic value.

- Class SB – These waters are designated as a habitat for fish, other aquatic life and wildlife and for primary and secondary contact recreation.  In approved areas they shall be suitable for shellfish harvesting with depuration (Restricted Shellfishing Areas).  These waters shall have consistently good aesthetic value.

- Class SC – These waters are designated as a habitat for fish, other aquatic life, and wildlife and for secondary contact recreation.  They shall also be suitable for certain industrial cooling and process uses.  These waters shall have good aesthetic value.

The CWA Section 305(b) water quality reporting process is an essential aspect of the Nation's water pollution control effort.  It is the principal means by which EPA, Congress, and the public evaluate existing water quality, assess progress made in maintaining and restoring water quality, and determine the extent of remaining problems.  In so doing, the States report on waterbodies within the context of meeting their designated uses (described above in each class).  Each class is identified by the most sensitive, and therefore governing, water uses to be achieved and protected.  These uses include: Aquatic Life, Fish Consumption, Drinking Water, Primary and Secondary Contact Recreation, Shellfishing and Aesthetics. Three subclasses of Aquatic Life are also designated in the standards: Cold Water Fishery (capable of sustaining a year-round population of cold water aquatic life such as trout), Warm Water Fishery (waters which are not capable of sustaining a year-round population of cold water aquatic life), and Marine Fishery (suitable for sustaining marine flora and fauna).

A summary of the state water quality standards (Table 3) prescribes minimum water quality criteria to sustain the designated uses.  Furthermore these standards describe the hydrological conditions at which water quality criteria must be met (MA DEP 1996).  In rivers and streams, the lowest flow conditions at and above which criteria must be met is the lowest mean flow for seven consecutive days to be expected once in ten years (7Q10).  In artificially regulated waters, the lowest flow conditions at which criteria must be met is the flow equal or exceeded 99% of the time on a yearly basis or another equivalent flow which has been agreed upon.  In coastal and marine waters and for lakes and ponds the most severe hydrological condition is determined by DEP on a case by case basis.

The availability of appropriate and reliable scientific data and technical information is fundamental to the 305(b) reporting process.  It is EPA policy (EPA Order 5360.1 CHG 1) that any organization performing work for or on behalf of EPA establish a Quality System to support the development, review, approval, implementation, and assessment of data collection operations.  To this end, DEP describes its Quality System in an EPA-approved Quality Management Plan to ensure that environmental data collected or compiled by the Agency are of known and documented quality and are suitable for their intended use.  For external sources of information, DEP requires the following: 1) an appropriate Quality Assurance Project Plan including a QA/QC plan, 2) use of a state certified lab (certified in the applicable analysis), 3) data management QA/QC be described, and 4) the information be documented in a citable report.

Table 3.  Summary of Massachusetts Surface Water Quality Standards (MADEP 1996). Note: Italics are direct quotations.

| Dissolved Oxygen | Class A, BCWF*, SA :  6.0 mg/L and > 75% saturation unless background conditions are lower Class BWWF**, SB:  5.0 mg/L and > 60% saturation unless background conditions are lower Class C: Not < 5.0 mg/L for more than 16 of any 24 –hour period and not < 3.0 mg/L anytime unless background conditions are lower; levels cannot be lowered below 50% saturation due to a discharge Class SC: Not < 5.0 mg/L for more than 16 of any 24 –hour period and not < 4.0 mg/L anytime unless background conditions are lower; and 50% saturation; levels cannot be lowered below 50% saturation due to a discharge |
| --- | --- |
| Temperature | Class A: < 68°F (20°C) and  1.5°F (0.8°C) for Cold Water and < 83°F (28.3°C) and  1.5°F (0.8°C) for Warm Water Class BCWF: < 68°F (20°C) and 3°F (1.7°C) due to a discharge Class BWWF: < 83°F (28.3°C) and 3°F (1.7°C) in lakes, 5°F (2.8°C) in rivers Class C, SC: <85°F (29.4°C) nor 5°F (2.8°C) due to a discharge Class SA: <85°F (29.4°C) nor a maximum daily mean of 80°F (26.7°C) and 1.5°F (0.8°C) Class SB: <85°F (29.4°C) nor a maximum daily mean of 80°F (26.7°C) and 1.5°F (0.8°C) between July through September and  4.0°F (2.2°C) between October through June |
| pH | Class A, BCWF, BWWF: 6.5 – 8.3 and 0.5 outside the background range. Class C: 6.5 – 9.0 and 1.0 outside the naturally occurring range. Class SA, SB: 6.5 – 8.5 and 0.2 outside the normally occurring range. Class SC: 6.5 – 9.0 and 0.5 outside the naturally occurring range. |
| Fecal Coliform Bacteria | Class A: an arithmetic mean of < 20 organisms /100 ml in any representative set of samples and < 10% of the samples > 100 organisms/100 ml. Class B: a geometric mean of < 200 organisms /100 ml in any representative set of samples and < 10% of the samples > 400 organisms /100 ml. (This criterion can be applied on a seasonal basis at the discretion of the DEP.) Class C: a geometric mean of < 1000 organisms /100ml, and < 10% of the samples > 2000 organisms/100 ml. Class SA: approved Open Shellfish Areas: a geometric mean (MPN method) of < 14 organisms/100 ml and < 10% of the samples > 43 organisms/100 ml (MPN method). Waters not designated for shellfishing: < a geometric mean of 200 organisms in any representative set of samples, and < 10% of the samples > 400 organisms /100 ml. (This criterion can be applied on a seasonal basis at the discretion of the DEP.) Class SB: approved Restricted Shellfish Areas: < a fecal coliform median or geometric mean (MPN method) of 88 organisms/100 ml and < 10% of the samples > 260 organisms /100 ml (MPN method). Waters not designated for shellfishing: < a geometric mean of 200 organisms in any representative set of samples, and < 10% of the samples > 400 organisms /100 ml. (This criterion can be applied on a seasonal basis at the discretion of the DEP.) Class SC: < a geometric mean of 1000 organisms/100 ml and < 10% of the samples > 2000 organisms/100ml. |
| Solids | All Classes: These waters shall be free from floating, suspended, and settleable solids in concentrations or combinations that would impair any use assigned to each class, that would cause aesthetically objectionable conditions, or that would impair the benthic biota or degrade the chemical composition of the bottom. |
| Color and Turbidity | All Classes: These waters shall be free from color and turbidity in concentrations or combinations that are aesthetically objectionable or would impair any use. |  |  |
| Oil & Grease | Class A, SA: Waters shall be free from oil and grease, petrochemicals and other volatile or synthetic organic pollutants. Class SA: Waters shall be free from oil and grease and petrochemicals. Class B, C,SB, SC: Waters shall be free from oil and grease, petrochemicals that produce a visible film on the surface of the water, impart an oily taste to the water or an oily or other undesirable taste to the edible portions of aquatic life, coat the banks or bottom of the water course or are deleterious or become toxic to aquatic life. |
| Taste and Odor | Class A, SA: None other than of natural origin. Class B, C,SB, SC: None in such concentrations or combinations that are aesthetically objectionable, that would impair any use assigned to each class, or that would cause tainting or undesirable flavors in the edible portions of aquatic life. |
| Aesthetics | All Classes: All surface waters shall be free from pollutants in concentrations or combinations that settle to form objectionable deposits; float as debris, scum or other matter to form nuisances; produce objectionable odor, color, taste or turbidity; or produce undesirable or nuisance species of aquatic life. |
| Toxic Pollutants ~ | All Classes: All surface waters shall be free from pollutants in concentrations or combinations that are toxic to humans, aquatic life or wildlife… The division shall use the recommended limit published by EPA pursuant to 33 USC 1251, 304(a) as the allowable receiving water concentrations for the affected waters unless a site-specific limit is established. |
| Nutrients | Shall not exceed the site-specific limits necessary to control accelerated or cultural eutrophication. |

*Class BCWF = Class B Cold Water Fishery, ** Class BWWF = Class B Warm Water Fishery,  criterion (referring to a change from ambient) is applied to the effects of a permitted discharge.  ~ USEPA. 19 November 1999.  Federal Register Document. [Online]. United States Environmental Protection Agency. http://www.epa.gov/fedrgstr/EPA-WATER/1998/December/Day-10/w30272.htm.

EPA provides guidelines to the States for making their use support determinations (EPA 1997).   The determination of whether or not a waterbody supports each of its designated uses is a function of the type(s), quality and quantity of available current information.  Each designated use within a given segment is individually assessed as 1) support, 2) partial support, or 3) non- support.  The term threatened is used when the use is fully supported but may not support the use within two years because of adverse pollution trends or anticipated sources of pollution.  When too little current data/information exists or no reliable data are available the use is not assessed.  Although data/information older than five years are usually considered “historical” and used for descriptive purposes, they can be utilized in the use support determination providing they are known to reflect the current conditions. While the water quality standards (Table 3) prescribe minimum water quality criteria to sustain the designated uses, numerical criteria are not available for every indicator of pollution.  Best available guidance in the literature may be applied in lieu of actual numerical criteria (e.g., freshwater sediment data may be compared to Guidelines for the Protection and Management of Aquatic Sediment Quality in Ontario 1993 by D. Persaud, R. Jaagumagi and A. Hayton).

### Designated Uses

The Massachusetts Surface Water Quality Standards designate the most sensitive uses for which the surface waters of the Commonwealth shall be enhanced, maintained and protected.  Each of these uses is briefly described below (MA DEP 1996):

- AQUATIC LIFE - suitable habitat for sustaining a native, naturally diverse, community of aquatic flora and fauna.  Three subclasses of aquatic life are also designated in the standards for freshwater bodies; Cold Water Fishery - capable of sustaining a year-round population of cold water aquatic life such as trout, Warm Water Fishery - waters which are not capable of sustaining a year-round population of cold water aquatic life, and Marine Fishery - suitable for sustaining marine flora and fauna.

- FISH CONSUMPTION - pollutants shall not result in unacceptable concentrations in edible portions of marketable fish or shellfish or for the recreational use of fish, shellfish, other aquatic life or wildlife for human consumption.

- DRINKING WATER - used to denote those waters used as a source of public drinking water.  They may be subject to more stringent regulation in accordance with the Massachusetts Drinking Water Regulations (310 CMR 22.00).  These waters are designated for protection as Outstanding Resource Waters under 314 CMR 4.04(3).

- PRIMARY CONTACT RECREATION - suitable for any recreation or other water use in which there is prolonged and intimate contact with the water with a significant risk of ingestion of water. These include, but are not limited to, wading, swimming, diving, surfing and water skiing.

- SECONDARY CONTACT RECREATION - suitable for any recreation or other water use in which contact with the water is either incidental or accidental.  These include, but are not limited to, fishing, boating and limited contact incident to shoreline activities.

- AESTHETICS - all surface waters shall be free from pollutants in concentrations or combinations that settle to form objectionable deposits; float as debris, scum or other matter to form nuisances; produce objectionable odor, color, taste or turbidity; or produce undesirable or nuisance species of aquatic life.

- AGRICULTURAL AND INDUSTRIAL - suitable for irrigation or other agricultural process water and for compatible industrial cooling and process water.

- The guidance used to assess the Aquatic Life, Fish Consumption, Drinking Water, Primary and Secondary Contact Recreation and Aesthetics uses follows.

- AQUATIC LIFE USE

This use is suitable for sustaining a native, naturally diverse, community of aquatic flora and fauna. The results of biological (and habitat), toxicological, and chemical data are integrated to assess this use.  The nature, frequency, and precision of the DEP's data collection techniques dictate that a weight of evidence be used to make the assessment, with biosurvey results used as the final arbiter of borderline cases.  The following chart provides an overview of the guidance used to assess the status (support, partial support, non-support) of the Aquatic Life Use:

| Variable (# indicates reference) | Support—Data available clearly indicates support. Minor excursions from chemical criteria (Table 3) may be tolerated if the biosurvey results demonstrate support. | Partial Support -- Uncertainty about support in the chemical or toxicity testing data, or there is some minor modification of the biological community. Excursions not frequent or prolonged. | Non-Support -- There are frequent or severe violations of chemical criteria, presence of acute toxicity, or a moderate or severe modification of the biological community. |
| --- | --- | --- | --- |
| BIOLOGY |  |  |  |
| Rapid Bioassessment Protocol (RBP) II or III (4) | Non-Impaired | Slightly Impaired | Moderately or Severely Impaired |
| Fish Community (4) | Best Professional Judgement (BPJ) | BPJ | BPJ |
| Habitat and Flow (4) | BPJ | BPJ | Dewatered Streambed due to artificial regulation or channel alteration |
| Macrophytes (4) | BPJ | Non-native plant species present, but not dominant, BPJ | Non-native plant species dominant, BPJ |
| Plankton/ Periphyton (4) | No algal blooms | Occasional algal blooms | Persistent algal blooms |
| TOXICITY TESTS |  |  |  |
| Water Column (4) | >75% survival either 48 hr or 7-day exposure | >50 - <75% survival either 48 hr or 7-day exposure | <50% survival either 48 hr or 7-day exposure |
| Effluent (4) | Meets permit limits | (NOTE: if limit is not met, the stream is listed as threatened for 1.0 river mile downstream from the discharge.) |  |
| Sediment (4) | >75% survival | >50 - <75% survival | <50% survival |
| CHEMISTRY- WATER |  |  |  |
| DO (3, 6) | Criteria (Table 3) | Criteria exceed in 11-25% of measurements. | Criteria exceeded >25% of measurements. |
| pH (3, 6) | Criteria (Table 3) | Criteria exceed in 11-25% of measurements. | Criteria exceeded >25% of measurements. |
| Temperature (3, 6) 1 | Criteria (Table 3), 1 | Criteria exceed in 11-25% of measurements. | Criteria exceeded >25% of measurements. |
| Turbidity (4) |  5 NTU due to a discharge | BPJ | BPJ |
| Suspended Solids (4) | 25 mg/L max., 10 mg/L due to a discharge | BPJ | BPJ |
| Nutrients (3) Total Phosphorus (4) | Table 1, (Site-Specific Criteria; Maintain Balanced Biocommunity, no pH/DO violations) | BPJ | BPJ |
| Toxic Pollutants (3, 6) Ammonia-N (3, 4) Chlorine (3, 6) | Criteria (Table 3) 0.254 mg/L NH3-N 2 0.011 mg/L TRC | BPJ | Criterion is exceed in > 10% of samples. |
| CHEMISTRY – SEDIMENT |  |  |  |
| Toxic Pollutants (5) | < L-EL3, Low Effect Level | One pollutant between L-EL and S-EL | One pollutant  S-EL (severe) |
| Nutrients (5) | < L-EL | between L-EL and S-EL |  S-EL |
| Metal Normalization to Al or Fe (4) | Enrichment Ratio < 1 | Enrichment Ratio >1 but <10 | Enrichment Ratio >10 |
| CHEMISTRY- EFFLUENT |  |  |  |
| Compliance with permit limits (4) | In-compliance with all limits | NOTE: If the facility is not in compliance with their permit limits, the information is used to threaten one river mile downstream from the discharge. |  |
| CHEMISTRY-TISSUE |  |  |  |
| PCB – whole fish (1) | <500 g/kg wet weight | BPJ | BPJ |
| DDT (2) | <14.0 g/kg wet weight | BPJ | BPJ |
| PCB in aquatic tissue (2) | <0.79 ng TEQ/kg wet weight | BPJ | BPJ |

- 1maximum daily mean T in a month (min 6 measurements evenly distributed over 24-hours) <criterion, 2Ammonia levels for pH of 9.0, actual “criterion” varies with pH and is evaluated case-by-case. 3For the purpose of this report, the S-EL for total PCB in sediment (which varies with TOC content) with 1% TOC is 5.3 PPM while a sediment sample with 10% TOC is 53ppm.

Note: The National Academy of Sciences/National Academy of Engineering (NAS/NAE) guideline for maximum organochlorine concentrations (i.e., total PCB) in fish tissue for the protection of fish-eating wildlife is 500g/kg wet weight (PPB, not lipid-normalized).  PCB data (tissue) in this report are presented in g/kg wet weight (PPB) and are not lipid-normalized to allow for direct comparison to the NAS/NAE guideline.

- FISH CONSUMPTION USE

Pollutants shall not result in unacceptable concentrations in edible portions of marketable fish or shellfish or for the recreational use of fish, shellfish, other aquatic life or wildlife for human consumption.  The assessment of this use is made using the most recent list of Fish Consumption Advisories issued by the Massachusetts Executive Office of Health and Human Services, Department of Public Health (DPH), Bureau of Environmental Health Assessment Fish Consumption Advisory List (MA DPH 1999).  The DPH list identifies waterbodies where elevated levels of a specified contaminant in edible portions of freshwater species poses a health risk for human consumption; hence the Fish Consumption Use is assessed as non-support in these waters.   In 1994, DPH also issued a statewide “Interim Freshwater Fish Consumption Advisory” for mercury (MA DPH 1994).  This precautionary measure was aimed at pregnant women only; the general public was not considered to be at risk from fish consumption.  DPH’s interim advisory does not include fish stocked by the state Division of Fisheries and Wildlife or farm-raised fish sold commercially.  Because of the statewide interim advisory, however, no fresh waters can be assessed as supporting the Fish Consumption Use.  The following is an overview of the guidance used to assess the status (support, partial support, non-support) of the Fish Consumption Use.

| Variable (# indicates reference) | Support —No restrictions or bans in effect | Partial Support – A "restricted consumption" fish advisory is in effect for the general population or a sub-population that could be at potentially greater risk (e.g., pregnant women, and children | Non-Support – A "no consumption" advisory or ban in effect for the general population or a sub-population for one or more fish species; or there is a commercial fishing ban in effect |
| --- | --- | --- | --- |
| DPH Fish Consumption Advisory List (8) | Not applicable, precluded by statewide advisory (Hg) | Not applicable | Waterbody on DPH Fish Consumption Advisory List * |

*NOTE: The Housatonic River PCB fish consumption advisory also recommends that fish taken from feeder streams to the Housatonic River be trimmed of fatty tissue prior to cooking.  Since this advisory does not restrict consumption, only preparation methods, the Fish Consumption Use is not assessed unless a site-specific advisory is in place.

- DRINKING WATER USE

The Drinking Water Use denotes those waters used as a source of public drinking water.  These waters may be subject to more stringent regulation in accordance with the Massachusetts Drinking Water Regulations (310 CMR 22.00).  They are designated for protection as Outstanding Resource Waters in 314 CMR 4.04(3).  This use is assessed by DEP’s Drinking Water Program (DWP).  Below is EPA’s guidance used to assess the status (support, partial support, non-support) of the drinking water use.

| Variable (# indicates reference) | Support-- No closures or advisories (no contaminants with confirmed exceedences of MCLs, conventional treatment is adequate to maintain the supply). | Partial Support – Is one or more advisories or more than conventional treatment is required | Non-Support – One or more contamination-based closures of the water supply |
| --- | --- | --- | --- |
| Drinking Water Program (DWP) Evaluation | Reported by DWP | Reported by DWP | Reported by DWP |

- PRIMARY CONTACT RECREATIONAL USE

This use is suitable for any recreational or other water use in which there is prolonged and intimate contact with the water with a significant risk of ingestion of water (1 April to 15 October).  These include, but are not limited to, wading, swimming, diving, surfing and water skiing.  The chart below provides an overview of the guidance used to assess the status (support, partial support, non-support) of the Primary Contact Use.

| Variable (# indicates reference) | Support-- Criteria are met, no aesthetic conditions that preclude the use | Partial Support –Criteria exceeded intermittently (neither frequent nor prolonged), marginal aesthetic violations | Non-Support –Frequent or prolonged violations of criteria, formal bathing area closures, or severe aesthetic conditions that preclude the use |
| --- | --- | --- | --- |
| Fecal Coliform Bacteria (3, 9) * | Criteria met OR Dry Weather Guidance <5 samples--<400/100 ml maximum Wet Weather Guidance Dry weather samples meet and wet samples <2000/100 ml | Guidance exceeded in 11-25% of the samples OR Wet Weather Dry weather samples meet and wet samples >2000/100 ml | Guidance exceeded in > 25% of the samples |
| pH (3, 6) | Criteria exceeded in <10 % of the measurements | Criteria exceeded in 11-25% of the measurements | Criteria exceeded in >25% of the measurements |
| Temperature (3) | Criteria met | Criteria exceeded 11-25% of the time | Criteria exceeded 25% of the time |
| Color and Turbidity (3, 6) |  5 NTU (due to a discharge) exceeded in <10 % of the measurements | Guidance exceeded in 11-25% of the measurements | Guidance exceeded in >25% of the measurements |
| Secchi disk depth (10) ** | Lakes - >1.2 meters ( > 4’) | Infrequent excursions from the guidance | Frequent and/or prolonged excursions from the guidance |
| Oil & Grease (3) | Criteria met | ### Criteria exceeded 11-25% of the time | ### Criteria exceeded >25% of the time |
| Aesthetics (3) Biocommunity (4)** | No nuisance organisms that render the water aesthetically objectionable or unusable; Lakes – cover of macrophytes < 50% of lake area at maximum extent of growth. | Lakes – cover of macrophytes 50-75% of lake area at their maximum extent of growth. | Lakes – cover of macrophytes >75% of lake area at their maximum extent of growth. |

Note:  Excursions from criteria due to natural conditions are not considered impairment of use.

* Fecal Coliform bacteria interpretations require additional information in order to apply this use assessment guidance.  Bacteria data results (fecal coliform) are interpreted according to whether they represent dry weather or wet weather (stormwater runoff) conditions.  Accordingly, it is important to interpret the amount of precipitation received in the study region immediately prior to sampling and streamflow conditions.

** Lakes exhibiting impairment of the primary contact recreation use (swimmable) because of macrophyte cover and/or transparency (Secchi disk depth) are assessed as either partial or non-support. If no fecal coliform bacteria data are available and the lake (entirely or in part) met the transparency (Secchi disk depth) and aesthetics guidance this use is not assessed.

- SECONDARY CONTACT RECREATIONAL USE

This use is suitable for any recreation or other water use in which contact with the water is either incidental or accidental.  These include, but are not limited to, fishing, boating and limited contact incident to shoreline activities. Following is an overview of the guidance used to assess the status (support, partial support, non-support) of the Secondary Contact Use.

| Variable (# indicates reference) | Support-- Criteria are met, no aesthetic conditions that preclude the use | Partial Support –Criteria exceeded intermittently (neither frequent nor prolonged), marginal aesthetic violations | Non-Support –Frequent or prolonged violations of criteria, or severe aesthetic conditions that preclude the use |
| --- | --- | --- | --- |
| Fecal Coliform Bacteria (4) * | Dry Weather Guidance <5 samples--<2000/100 ml maximum >5 samples--<1000/100 ml geometric mean < 10% samples >2000/100 ml Wet Weather Guidance Dry weather samples meet and wet samples <4000/100 ml | Wet Weather Guidance Dry weather samples meet and wet samples >4000/100 ml | Criteria exceeded in dry weather |
| Oil & Grease (3) | Criteria met | Criteria exceeded 11-25% of the time | Criteria exceeded >25% of the time |
| Aesthetics (3) Biocommunity (4) ** | No nuisance organisms that render the water aesthetically objectionable or unusable; Lakes – cover of macrophytes < 50% of lake area at their maximum extent of growth. | Macrophyte cover is between 50 – 75% | Macrophyte cover exceeds 75% of the lake area. |

Note: Excursions from criteria due to natural conditions are not considered impairment of use.

* Fecal Coliform bacteria interpretations require additional information in order to apply this use assessment guidance.  Bacteria data results (fecal coliform) are interpreted according to whether they represent dry weather or wet weather (stormwater runoff) conditions.  Accordingly it is important to interpret the amount of precipitation received in the subject region immediately prior to sampling and streamflow conditions.

** In lakes if no fecal coliform data are available, macrophyte cover is the only criterion used to assess the Secondary Contact Recreational Use.

For the Primary and Secondary Contact Recreational uses the following steps are taken to interpret the fecal coliform bacteria results:

- Identify  the range of fecal coliform bacteria results,

- Calculate the geometric mean (monthly, seasonally, or on dataset),  (Note: the geometric mean is only calculated on datasets with >5 samples collected within a 30-day period.)

- Calculate the % of sample results exceeding 400 cfu/100 mls,

- Determine if the samples were collected during wet or dry weather conditions (review precipitation and streamflow data),

Dry weather can be defined as:  No/trace antecedent (to the sampling event) precipitation that causes more than a slight increase in stream flow.

Wet weather can be defined as:  Precipitation antecedent to the sampling event that results in a marked increase in stream flow.

- Apply the following to interpret dry weather data:

<10% of the samples exceed criteria (step 2 and 3, above) assessed as Support,

- 11-25% of the samples exceed criteria (step 2 and 3, above) assessed as Partial Support,

>25% of the samples exceed criteria (step 2 and 3, above) assessed as Non-Support.

- AESTHETICS USE

All surface waters shall be free from pollutants in concentrations or combinations that settle to form objectionable deposits; float as debris, scum or other matter to form nuisances; produce objectionable odor, color, taste or turbidity; or produce undesirable or nuisance species of aquatic life. The aesthetic use is closely tied to the public health aspects of the recreational uses (swimming and boating).  Below is an overview of the guidance used to assess the status (support, partial support, non-support) of the Aesthetics Use.

| Variable (# indicates reference) | Support – 1. No objectionable bottom deposits, floating debris, scum, or nuisances; 2. objectionable odor, color, taste or turbidity, or nuisance aquatic life | Partial Support - Objectionable conditions neither frequent nor prolonged | Non-Support – Objectionable conditions frequent and/or prolonged |
| --- | --- | --- | --- |
| Aesthetics (3)* Visual observation (4) | Criteria met | BPJ (spatial and temporal extent of degradation) | BPJ (extent of spatial and temporal degradation |

- * For lakes, the aesthetic use category is generally assessed at the same level of impairment as the more severely impaired recreational use category (Primary or Secondary Contact).

- SHELLFISHING USE

This use is applicable to coastal waters and is assessed using information from the Department of Fisheries, Wildlife and Environmental Law Enforcement's Division of Marine Fisheries (DMF).  The information is in the form of various classifications of shellfish closures and restrictions.  Shellfish areas under management orders are not assessed.

| Variable (# indicates reference) | Support – SA Waters—open for shellfish harvesting without depuration (Open areas) SB Waters—open for shellfish harvesting with depuration (Open, conditionally approved, restricted areas) | Partial Support – SA Waters—Seasonally closed/open, conditionally approved and restricted SB Waters—Seasonally closed, seasonally open, conditionally restricted areas | Non-Support –SA Waters—Closed areas SB Waters—Closed areas |
| --- | --- | --- | --- |
| Division of Marine Fisheries Shellfish Project Classification Area Information (11) | Reported by DMF | Reported by DMF | Reported by DMF |

References

- Coles, J.C. 1998.Organochlorine Compounds in Fish Tissue from the Connecticut, Housatonic and Thames River Basins Study Unit, 1992-94. National Water-Quality Assessment Program. U.S. Department of the Interior, U.S. Geological Survey. Marlborough, MA.

- Environment Canada.  04 November 1999.  Canadian Environmental Quality Guidelines.  [Online]. Environment Canada. http://www.ec.gc.ca/ceqg-rcqe/tistbl_e.doc [28 September 1998].

- MA DEP.  1996. (Revision of 1995 report).  Massachusetts surface water quality standards.  Massachusetts Department of Environmental Protection, Division of Water Pollution Control, Technical Services Branch.  Westborough, MA  (Revision of 314 CMR 4.00, effective June 23, 1996).

- MA DEP.  1999. Open File. Department of Watershed Management 305(b) Assessment Guidance.  Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester, MA

- Persaud, D., R. Jaagumagi, and A. Hayton.  1993.  Guidelines for the protection and management of aquatic sediment quality in Ontario.  Water Resources Branch, Ontario Ministry of the Environment.  Queen’s Printer for Ontario. Canada.

- USEPA. 1997. Guidelines for Preparation of the Comprehensive State Water Quality Assessments (305(b) Reports) and Electronic Updates: Supplement.  Assessment and Watershed Protection Division (4503F), Office of Wetlands, Oceans and Watersheds, Office of Water, U.S. Environmental Protection Agency. Washington, DC.

- USEPA. 19 November 1999.  Federal Register Document. [Online]. United States Environmental Protection Agency. http://www.epa.gov/fedrgstr/EPA-WATER/1998/December/Day-10/w30272.htm.

- MA DPH. 1999.  Freshwater Fish Consumption Advisory List.  The Commonwealth of Massachusetts, Bureau of Environmental Health Assessment. Boston, MA.

- Kimball, W.A., 1996. Memorandum to 305(b) Committee.  Re: Small data sets/ wet weather data. Massachusetts Department of Environmental Protection, Office of Watershed Management.  Grafton, MA.

- MA DPH. 1969. Article 7 Regulation 10.2B of the State Sanitary Code. Commonwealth of Massachusetts. Department of Public Health. Boston, MA.

- Churchill, N.  1999.  Personal Communication.  Shellfish Project Classification Area Information as of 1 January 1999.  Department of Fisheries, Wildlife, and Environmental Law Enforcement, Division of Marine Fisheries.  Pocasset, MA.

HOUSATONIC RIVER BASIN DESCRIPTION AND CLASSIFICATION

### DESCRIPTION

The Housatonic Basin (Figure 3) is located in southwestern Massachusetts.  It is bordered by the Hoosic River Basin to the north, the Westfield River Basin to the northeast and by the Farmington River Basin to the southeast. The south and west portions of the basin are bordered by the states of Connecticut and New York, respectively.  The Housatonic River originates at the confluence of the West and Southwest Branches of the Housatonic River in Pittsfield.  The West Branch Housatonic River originates at the outlet of Pontoosuc Lake in Lanesborough and Pittsfield and the Southwest Branch originates from Richmond Pond in the town of Richmond.  The East Branch Housatonic River, which originates from Muddy Pond in the town of Washington, soon joins the mainstem Housatonic River. From Pittsfield, the river flows south for 150 miles (approximately 54 river miles in Massachusetts) until it empties into Long Island Sound near Bridgeport, Connecticut.  Other major tributaries to the Housatonic River in Massachusetts include the Williams, Green and Konkapot Rivers and Hubbard Brook.

The drainage basin of the Massachusetts portion of the Housatonic River encompasses 545 square miles, and is located entirely in Berkshire County.  The communities of Alford, Becket, Cheshire, Dalton, Egremont, Great Barrington, Hancock, Hinsdale, Lanesborough, Lee, Lenox, Monterey, Mount Washington, New Ashford, New Marlborough, Otis, Peru, Pittsfield, Richmond, Sandisfield, Sheffield, Stockbridge, Tyringham, Washington, West Stockbridge, and Windsor lie wholly or in part within the basin boundaries.

Much of the upper third of the Housatonic River Basin is urbanized, with the city of Pittsfield being the major urban area.  The remaining two-thirds of the watershed is primarily rural; large portions of the basin are undeveloped as forest or large wetland systems. The major industries of this region are paper manufacturing and tourism, and both industries have traditionally supported the economy of the area.

The major industrial discharges of wastewater to the river include Crane Paper Company, General Electric Company, Schweitzer-Mauduit International, Inc. and Mead Paper Company; all of these companies provide treatment for their process wastewater prior to discharge to the river.  Major municipal wastewater treatment plants are located at Pittsfield, Lenox, Lee, Stockbridge, and Great Barrington.  One additional municipal wastewater treatment plant, the West Stockbridge WWTP, discharges into the Williams River.  Nonpoint source pollution that is associated with storm water runoff and failing septic systems is also known to contribute to the basin's water quality problems.  Urbanization around lakes and ponds has lead to increased loadings of sediment and nutrients, resulting in eutrophication of these waterbodies.

While water quality problems within the basin include eutrophication due to phosphorous loading, sediment and fecal coliform bacteria, these problems have been overshadowed by the PCB contamination from electrical manufacturing in the upper portion of the watershed.

A total of 119 lakes, ponds or impoundments (the term "lakes" will hereafter be used to include all) have been identified and assigned PALIS (Pond and Lake Information System) code numbers in the Housatonic River Basin (Ackerman 1989).  Ninety-six of the lakes are less than or equal to 50 acres in total surface area; 51 are less than or equal to ten acres. The total surface area of the Housatonic Watershed lakes is 5,227 acres.

### Classification

Consistent with the National Goal Uses of “fishable and swimmable waters”, the classification of waters in the Housatonic River Basin according to the SWQS, include the following (MA DEP 1996):

Class A Public Water Supplies in the Housatonic River Basin:

- Karner Brook, entire length

- Unnamed Reservoir (East Mountain Reservoir), source to outlet in Great Barrington and those tributaries thereto

- Long Pond, source to outlet in Great Barrington and those tributaries thereto

- Belmont Reservoir, source to outlet in Hinsdale and those tributaries thereto

- Lower Reservoir (Codding Brook Lower Reservoir, Vanetti Reservoir), source to outlet in Lee and those tributaries thereto

- Upper Reservoir (Codding Brook Upper Reservoir, Leahey Reservoir), source to outlet in Lee and those tributaries thereto

- Basin Pond (Washington Mountain Brook Reservoir), source to outlet in Lee and those tributaries thereto

- Lenox Reservoir, source to outlet in Lenox and those tributaries thereto

- Upper Lenox Reservoir, source to outlet in Lenox and those tributaries thereto

- Ashley Lake, source to outlet in Washington and those tributaries thereto

- Sandwash Reservoir, source to outlet in Washington and those tributaries thereto

- Farnham Reservoir, source to outlet in Washington and those tributaries thereto

- Upper Sackett Reservoir (Sackett Reservoir), Reservoir to outlet in Hinsdale and those tributaries thereto

- Lower Sackett Reservoir, source to outlet in Hinsdale and those tributaries thereto

- Cleveland Brook Reservoir, source to outlet in Hinsdale and those tributaries thereto

- Lake Averic (Echo Lake, Mountain Mirror Lake), source to outlet in Stockbridge and those tributaries thereto

- Egypt Reservoir (Egypt Brook Reservoir), Reservoir to outlet in Dalton and those tributaries thereto

- Windsor Reservoir (Cady Brook Reservoir), Reservoir to outlet in Windsor and those tributaries thereto

- Anthony Pond (Anthony Brook Reservoir), Pond to outlet in Dalton and those tributaries thereto

- Ashley Reservoir, Reservoir to outlet in Dalton and those tributaries thereto

In the Housatonic River Basin, all designated ORWs are associated with the Class A waters (Rojko et al. 1995).  The designation of ORW is applied to those waters with exceptional socio-economic, recreational, ecological and/or aesthetic values. ORWs have more stringent requirements than other waters because the existing use is so exceptional or the perceived risk of harm is such that no lowering of water quality is permissible.  ORWs include certified vernal pools and all designated Class A Public Water Supplies, and may include surface waters found in National Parks, State Forests and Parks, Areas of Critical Environmental Concern (ACEC) and those protected by special legislation (MA DEM 1993).  Wetlands that border ORWs are designated as ORWs to the boundary of the defined area.

- Four areas in the Housatonic River Basin have been formally designated as ACECs by the Massachusetts Secretary of Environmental Affairs due to their unique environmental characteristics, including the ability to support rare or endangered species (MA DEM 1993).  These ACECs are:  Hinsdale Flats Watershed, which includes 14,500 acres in the headwaters of the East Branch Housatonic River (above the Old Grist Mill Dam in the town of Hinsdale); Karner Brook Watershed, which includes 7,000 acres within Egremont and Mount Washington (encompassing the entire length of Karner Brook); Schenob Brook Drainage Basin, which includes 13,750 acres in the Southern Berkshire Mountains near the Massachusetts-Connecticut border; and Kampoosa Bog Drainage Basin, which includes 1,350 acres in Stockbridge and Lee.

Class B Cold Water Fisheries in the Housatonic River Basin:

- East Branch Housatonic River, from its source to the Crane Paper Company, Dalton

- West Branch Housatonic River, entire length

- Southwest Branch Housatonic River, entire length

- Goose Pond Brook, entire length

- Williams River, entire length

- Green River, entire length

- Hubbard Brook, entire length

- Fenton Brook, entire length

Class B Warm Water Fisheries in the Housatonic River Basin:

- East Branch Housatonic River, from Crane Paper Company, Dalton, to the confluence with the Housatonic River

- Housatonic River, Pittsfield, entire length (confluence of Southwest and West Branch Housatonic Rivers to the Massachusetts/Connecticut State Line)

Unlisted waters not otherwise designated in the SWQS are designated Class B, High Quality Water.  According to the SWQS, where fisheries designations are necessary, they shall be made on a case-by-case basis.

## SUMMARY OF EXISTING CONDITIONS AND PERCEIVED PROBLEMS

The Clean Water Act section 303(d) requires states to identify those waterbodies that are not meeting Surface Water Quality Standards (SWQS).  The following waterbodies in the Housatonic River Basin are  on the 1998 Massachusetts Section 303(d) list of waters (MA DEP 1999a):

| 1998 303(d) Listed Waterbody | Cause of Impairment |
| --- | --- |
| East Branch Housatonic River | priority organics (PCB) and pathogens (fecal coliform bacteria) |
| Housatonic River | PCB and pathogens |
| West Branch Housatonic River | pathogens |
| Hubbard Brook | pathogens |
| Goose Pond Brook | pathogens |
| Konkapot River | pathogens and suspended solids |
| Windsor Brook | flow alteration |
| Long Pond Brook* | flow alteration |
| Center Pond | PCB |
| Woods Pond | PCB |
| Prospect Lake | noxious aquatic plants |
| Ashmere Lake* | noxious aquatic plants |
| Lake Buel* | nutrients |

*needs confirmation (additional data collection is necessary to confirm the presence of impairment)

PCB contamination in the Housatonic River Basin is widespread, affecting the East Branch Housatonic River and the mainstem Housatonic River as well as other areas in the watershed.  In 1981, DEP Bureau of Waste Site Cleanup (BWSC) issued an Administrative Consent Order designating the GE Company Pittsfield and the river as a hazardous waste site because of severe PCB contamination (Steenstrup 1999).  Under the Massachusetts Contingency Plan (MCP), DEP established the following GE sites as priority disposal sites under M.G.L. c. 21E on the following dates (MA DEP 1995):

East Street Area II on February 24, 1986

East Street Area I on November 6, 1987

Housatonic River on January 9, 1988

Unkamet Brook on April 7, 1988

Newell Street Area I on December 6, 1988

Hill 78 Landfill Area on January 11, 1990

GE/Facility (Remainder/General) on February 5, 1990

Lyman Street Parking Lot on December 20, 1990

Allendale School Yard on November 20, 1991

Newell Street Area II on August 4, 1993

Former Oxbows A, B, C, E, F, J and K on January 28, 1994

Highly contaminated sediment and riverbank soils in the vicinity of Building 68, located at the GE facility were removed in 1998 (Steenstrup 1999).  Additional contaminated sediments and riverbank soils in the stretch from Newell Street down to the Lyman Street Bridge (known as the “1/2 mile stretch”) were scheduled for removal commencing in late summer/early fall 1999 and expected to be completed by June 2001.  However, in 1999, additional dense non-aqueous phase liquids (DNAPL) were found at sites along the river in the “1/2 mile stretch”.  Prior to initiating the cleanup effort additional source control measures in the form of sheetpiling, and the installation of additional recovery wells were implemented to ensure that sources of contamination to the river (both Light NAPL and DNAPL) would be contained.  Source control activities were undertaken in the East Street Area II, Newell Street Parking Lot and the Lyman Street Parking Lot sites.  These measures were required to prevent recontamination of the river by sources adjacent to the river after the excavation and capping effort in the river is completed (Steenstrup 1999).  Due to the segmented nature of the cleanup activities, the magnitude of PCB contamination in the river is ever changing.

In April 1982 the state issued a fish consumption advisory for the Housatonic River.  The advisory recommended that the general public should not consume fish, frogs and turtles from the Housatonic River between Dalton and Sheffield because of PCB contamination.  DPH updated this advisory in 1995 to include a recommendation that fish taken from feeder streams to the Housatonic River should be trimmed of fatty tissue prior to cooking (MA DPH 1999). In 1994, DPH issued a statewide Interim Freshwater Fish Consumption Advisory for mercury (MA DPH 1994).  This precautionary measure was aimed at pregnant women only; the general public was not considered to be at risk from fish consumption. The advisory encompasses all freshwaters in Massachusetts therefore the Fish Consumption Use can not be  assessed as support.

## SOURCES OF INFORMATION

Multiple local, state and federal agencies provided information used in the water quality assessment of the Housatonic River Basin.  Within the Department of Environmental Protection (DEP) information was obtained from three programmatic bureaus: Bureau of Resource Protection (BRP, see below), Bureau of Waste Prevention (industrial wastewater discharge information) and the Bureau of Waste Site Cleanup (hazardous waste site cleanup information).  Specifically, water quality, habitat assessment, and biological data were provided by DEP BRP Division of Watershed Management (DWM ) Watershed Planning Program. Water withdrawal and wastewater discharge permit information was provided by the DWM Watershed Permitting Program (Water Management Act, and National Pollutant Discharge Elimination System). [Note:  The BRP DWM Drinking Water Program evaluates the status of the Drinking Water Use and this information is therefore not provided in this assessment report.]

Other state agencies contributing information to this report include: the Massachusetts Department of Public Health (MA DPH), the Department of Fisheries, Wildlife, and Environmental Law Enforcement (DFWELE) Division of Fisheries and Wildlife and Riverways programs, and the Department of Environmental Management (DEM).   Federal agencies contributing include the EPA and United States Geological Survey (USGS).

The USGS as part of their National Water-Quality Assessment (NAWQA) Program in the Connecticut, Housatonic, and Thames River Basins Study Unit conducted water quality sampling in the Housatonic River Basin between 1992 and 1995.  A summary of their data collection by study component is provided in Table 4. Results of the USGS investigations are published in Breault and Harris (1997), Coles (1996 and 1998), Garabedian et al. (1998), and Harris (1997).  This USGS data was identified as meeting the quality objectives and therefore was utilized in the assessment process.

Table 4.  Summary of Data Collection by USGS NAWQA Program in the Housatonic River Basin (Garabedian et al. 1998).

| STUDY COMPONENT | STUDY OBJECTIVE | BRIEF DESCRIPTION OF SAMPLING EFFORT | FREQUENCY OF SAMPLE COLLECTION AND LOCATION* |
| --- | --- | --- | --- |
| Bottom-sediment survey | Determine presence of potentially toxic compounds within the bed sediments of streams | Sample depositional zones of streams for trace elements and hydrophobic organic compounds | Once per site (1994) EB, WP, HR, GR, KR |
| Water chemistry, synoptic sites | Describe the short-term presence and distribution of contamination over broad areas | Sample streams during high and low flow conditions for pesticides and (or) nutrients, organic carbon, suspended sediment, and streamflow | Once per site (1994-1995) KR |
| Contaminants in fish tissues | Determine the presence of contaminants that can accumulate in fish tissues | Collect eight white sucker and submit composite of whole fishes for organic compound analysis. | Once per site (1994) EB, WP, GR, KR |

*East Branch Housatonic River at Pittsfield (EB), Housatonic River at Woods Pond in Lenox (WP), Housatonic River at Great Barrington (HR), Green River at Great Barrington (GR) and Konkapot River at Ashley Falls (KR).

The USGS also conducted a suspended sediment study in the lower Housatonic River Basin between April 1994 and March 1996 to characterize suspended sediment concentrations, discharges, loads and yields during storm events and stable streamflow conditions.  Continuous record data at three stations, two sites on the Housatonic mainstem: at Great Barrington and upstream of the confluence with the Konkapot River “Ashley Falls” in Sheffield and one station on the Green River) were collected.  Partial-record data was also collected on the following tributaries: Williams River, Hubbard Brook, Ironworks Brook, and the Konkapot River.  At these locations, most suspended sediment concentration sampling occurred during the rising and falling stream stages of runoff events (biasing the dataset towards wet weather conditions) while periodic sampling was conducted to capture the entire streamflow range during stable stream conditions.  These instantaneous data are reported in Socolow et al. (1996) and Socolow et al. (1997).  Daily mean concentrations of suspended sediment were calculated from the instantaneous dataset and the ranges are reported in the appropriate segment summaries later in this report.  Suspended sediment concentrations (reported in mg/L) by USGS are synonymous with suspended solids concentrations (also mg/L) reported by DEP DWM.  Data from the three continuous record stations were analyzed to determine the percentage of the time (over the study period) where the instream concentration of suspended solids exceeded 25 mg/L (Use Assessment Methodology Table 3).

In addition to state and federal agencies, regional, local and citizen monitoring groups provided valuable data/information for the watershed management process which may be used to indicate areas of degraded water quality, as well as causes and sources of contamination.  The Berkshire Regional Planning Commission (BRPC) conducted an “Assessment of Land Use Activities and Nonpoint Source Pollution in the Housatonic River Watershed” under a 604(b) grant (Project # 96-05/604) (Berkshire Regional Planning Commission 1999).  BRPC’s assessment was conducted between August 1997 and June 1999 and identifies and inventories the existing and potential sources of nonpoint source pollution in the Housatonic River Watershed.  The Housatonic Valley Association (HVA), in conjunction with Stream Teams (in subwatersheds of the Housatonic River Basin), provided useful information from windshield and shoreline surveys for the assessment process (Housatonic Valley Association 1999 and Regan 2000) .

A decision was made by DEP DWM to focus the 1997 sampling efforts on the Konkapot River because it was listed on the 1996 303(d) list of waters because of pathogens and suspended solids (MA DEP 1997a). Inclusion of the Konkapot River on the 303(d) list had been based on a very limited dataset (one station).  Stations sampled in 1997 were selected to better characterize the river (bracketing changes in land-use) in an attempt to determine sources of pollution.   Fish toxics monitoring was also conducted in this river (above and below the dam at Ashley Falls) to determine if fishes from unobstructed reaches of the Housatonic River tributaries have elevated body burdens of PCBs compared to those isolated from the mainstem by barriers to migration.

Site specific evaluations of other water quality issues in the Housatonic River Basin related to either wastewater discharges and/or water withdrawals  were conducted by DEP DWM either through field investigations (where resources could be allocated) or through the review of discharge monitoring reports (DMRs) and annual water withdrawal reports submitted by the permittees.

Water Management Act (WMA):  Registration and permit files (both public water suppliers and other industrial users) were reviewed to determine where stream segments might be affected by water withdrawal activities (LeVangie 2000,  MA DEP 2000c, and Prendergast 1999 and 2000).   The information is summarized in the segments where the withdrawals occur.  However the following WMA registrants do not withdraw water from streams discussed in this report.  These include:

- V1021520 Cranwell Conference Center, Inc. surface withdrawal (0.02 MGD) from Cranwell Pond

- 10211304 Butternut Basin Ski Area registered withdrawal of 0.43 MGD from three sources (two surface and one well) from a small unnamed tributary to the Housatonic River in Great Barrington. Actual water withdrawal figures have not been received.

- The Pittsfield Water Department is registered (10223601) to withdraw 13.5 MGD of water from six reservoirs (Ashley Lake, Lower Ashley Intake, Sandwash, Farnham, Sackett, and Cleveland).  In 1998, their total average water use was 10.67 MGD (LeVangie 2000).  Cleveland, Pittsfield Water Department’s primary source, is discussed in the Cleveland Brook segment of this report (MA21-08).  The Ashley Reservoir System is located in the town of Washington near the southeastern corner of Pittsfield (Prendergast 2000).  All of the above named reservoirs excluding Cleveland are treated at the Ashley Water Treatment Facility.  The Ashley Water Supply System is comprised as follows: Ashley Lake has a storage capacity of 409 MG and flows via Ashley Brook directly to the 4 MG Lower Ashley Reservoir.  The Sandwash Reservoir in the Mill Brook subwatershed has a storage capacity of 245 MG and flows through an open channel to the 445 MG Farnham Reservoir.  From the Farnham Reservoir, water flows through a 30” transmission main to a hydroelectric generation facility to the lower Ashley Reservoir intake structure and directly to the Ashley Treatment Facility.  The 155 MG Upper Sackett Reservoir located on the Hinsdale/Dalton/Washington town line flows via a 10” transmission main to the Lower Ashley Reservoir intake structure and directly to the Ashley Filtration Facility. The Sackett System is currently using approximately 0.19 MG from the Upper Sackett Reservoir.  The Ashley Treatment Facility has two water treatment units with a total capacity of 6.25 MGD. Overflow from the Lower Ashley Reservoir flows to Sackett Brook which flows west to the Housatonic Main Stem approximately one mile north of the Pittsfield WWTP.  A brief summary of the 1998 annual reports submitted by the Pittsfield Water Department for the Ashley Reservoir System are as follows (LeVangie 2000):

Source ID#	Reservoir					Safe Yield	1998 Average Use

1236000-01S	Ashley Lake and Lower Ashley Reservoir	0.8 MGD		0.22 MGD

1236000-02S	Farnam Reservoir				1.8 MGD		2.27 MGD

1236000-04S	Upper Sackett Reservoir			0.8 MGD		0.28 MGD

1236000-05S	Sandwash Reservoir			1.3 MGD		thru Farnam

Total	4.7 MGD		2.77 MGD

NPDES Discharge Monitoring Reports (DMRs):  Four of the six municipal wastewater treatment plants, Pittsfield Sewer Commission (MA0101681), Lee WWTP (MA0100153), Great Barrington WWTP (MA0101524) and the West Stockbridge WWTP (MA01013110), submit quarterly toxicity testing reports to EPA and DEP as required by their NPDES permits.  Five industrial NPDES dischargers, Crane & Co., Inc (MA0000671), GE Pittsfield (MA0003891), Schweitzer-Mauduit International (MA0005371), and the Mead Corporation Laurel Mill (MA0001716) and Willow Mill (MA0001848), also conduct quarterly toxicity testing of their effluents.  Data from these toxicity reports is maintained by DWM in a database known as “Toxicity Testing Data - TOXTD” (Dallaire 2000).  Information from the reports includes: survival of test organisms exposed to ambient river water (used as dilution water), physicochemical analysis (e.g., hardness, alkalinity, pH, total suspended solids) of the dilution water, and the whole effluent toxicity test results.  These data were reviewed and summarized (ranges) for use in the assessment of current water quality conditions in the Housatonic River Basin.

Note: The following minor NPDES facilities were listed as discharging in the Housatonic River Basin (MA DEP 2000b and 2000c) .  Some discharge into streams not assessed in this report.  These facilities include:

- MA0032191 Brook Hill Estates, Dalton.

- MA0035491 Eisner Camp Institute, Great Barrington.  Current status: connected to sewer.

- MA0034461 Carpenter’s Variety, Great Barrington.

- MA0103250 Root Reservoir Water Treatment Facility, Lenox, discharges into Lenox Mountain Brook.

- MA0035335 Getty Station, Pittsfield.

- MA0032158 Pittsfield Sand and Gravel, Pittsfield.

- MA0027294 Sheffield Plastics, Inc., Sheffield.  Current status: NPDES permit terminated in May 1999.  The facility’s stormwater discharges are now covered under the multi-sector general permits MAR05B410 and MAR05B411.  The stormwater discharges into Schenob Brook via a ditch and a wetland, respectively (Vergara 1999).

- MA0034231 South Egremont Mobil, South Egremont.

## OBJECTIVES

This report summarizes information generated in the Housatonic River Basin through Year 1 (information gathering in 1996) and Year 2 (environmental monitoring in 1997) activities established in the “Five-Year Cycle” of the Watershed Initiative.  Data collected by DWM in 1997/1998, in accordance with the preliminary Quality Assurance Project Plan (QAPP) (MA DEP 1998b), are provided in Appendices A, B, C and D (QA/QC, data tables, and two technical memorandum; Housatonic River Watershed 1997 Biological Assessment and 1997 Housatonic Survey: Macroinvertebrate RBP II Evaluations Upstream and Downstream of NPDES Discharges, respectively).  Together with other sources of information (identified in each segment assessment), the status of water quality conditions of lakes and streams in the Housatonic River Basin was assessed in accordance with EPA’s and DEP’s use assessment methods. Not all waters in the Housatonic River Basin are included in the DEP/EPA Water Body System (WBS) database or this report (Dallaire 1999).

The objectives of this water quality assessment report are to:

- Evaluate whether or not surface waters in the Housatonic River Basin, defined as segments in the WBS database, currently support their designated uses (i.e., meet water quality standards),

- identify water withdrawals and/or major point (wastewater discharges) and nonpoint (land-use practices, stormwater discharges, etc.) sources of pollution that may impair water quality conditions,

- identify the presence or absence of any non-native macrophytes in lakes,

- identify waters (or segments) of concern that require additional data to fully assess water quality conditions, and

- recommend additional monitoring needs and/or remediation actions in order to better determine the level of impairment or to improve/restore water quality.

### SEGMENT REPORT FORMAT

The segment order in this assessment report follows the Massachusetts Stream Classification Program (Halliwell et al. 1982) hierarchy.  Stream segments are organized hydrologically (from most upstream to downstream).  Tributary summaries follow the segment into which they discharge.  The Housatonic River Basin lake (the term "lake" will hereafter be used to include lakes, pond, and impoundments) summary is presented after the stream segments.  Each stream segment summary is formatted as follows:

### Segment identification

name, water body identification number (WBID) (Dallaire 1999), location, length/size, classification.

Sources of information: coding system (waterbody identification number e.g., MA21-01) used by DEP to reference the stream segment in databases such as 305(b) and 303(d), the Massachusetts SWQS (MA DEP 1996), and other descriptive information.

### Segment description

flow direction, tributary confluences, and major land-use estimates (the top three uses for the subwatershed and 100’ riparian zone)

Sources of information: descriptive information from USGS topographical maps, base geographic data from MassGIS, land use statistics from a GIS analysis using the MassGIS land use coverage developed at a scale of 1:25,000 and based on aerial photographs taken in 1985 and 1990-1992 (EOEA 1999b and EOEA 1999c).

Segment locator map

Subbasin map, major river location, segment origin and termination points, and segment drainage area (gray shaded)

Sources of information: MassGIS (EOEA 1999b) data layers (stream/lake segments, and quadrangle maps).

### Water withdrawals and wastewater discharge permit information

WMA, NPDES, and stormwater permits

Sources of information: WMA Database Printout (LeVangie 2000); open permit files located in Worcester and Springfield DEP Offices (MA DEP 2000b and 2000c); MassGIS Priority Resource Map (EOEA 1999a); Department Environmental Management (DEM) Housatonic River Basin report (MA DEM 1999); and the Assessment of Land Use Activities and Nonpoint Source Pollution in the Housatonic River Watershed Report (Berkshire Regional Planning Commission 1999).

### Use Assessment

Discussion of current reliable data/information

Sources of information: recent DWM survey data (Appendix B, C, D) and synoptic lake survey data (MA DEP 1997b) as well as the following: data from the DEP DWM Toxicity Testing Database “TOXTD” (Dallaire 2000), USGS streamflow data (Socolow et al. 1998, and Socolow et al. 1999), USGS NAWQA Program (Garabedian et al. 1998), and data from the GE Pittsfield Company Waste Site Cleanup Investigations (Steenstrup 1999 and Stefanosky 1999).  Any relevant historical data (> 5 years old) may also be described.  The MA DPH Freshwater Fish Consumption Advisory List (MA DPH 1999) was used to determine the Fish Consumption Use.

### Summary

Use summary table (uses, status).

### Recommendations

Additional monitoring and implementation needs.