## Sheet1
Proposed Reporting Revision | Eversource | National Grid | Unitil | Space for Additional EDC Responses and Rationale
Add Group Study Name | Add after order | Add before order | Add after order | need to ensure this is something the source can perform. Already available on company website. Requires adding field to database | Add before order
Add Group Study Designation | Add after order | Add before order | Add after order | need to ensure this is something the source can perform. Already available on company website. Requires adding field to database | Add after order if new requirement is part of application submission
Add "BESS" | Add after order | Add after order | Add before order | need to review and make sure this doesn't interfere or conflict with other reporting requirements Requires some effort. Proposal to use ISO report How should we treat scenarios where multiple applications are submitted for the same location that sequentially add/remove/replace more DERs | Share elsewhere - explanation in rationale column
Add "Export Capacity" | Add after order | Add after order | Add before order | Need to ensure new applications collect this data for reporting | Have data, but not feasible to publish - explanation in rationale column
Add "Import Capacity" | Add after order | Add after order | Add before order | Need to ensure new applications collect this data for reporting | Do not have this data
Add "Offered Participation in Group study" (Y/N) - Group Study Status - Group Study Agreement Date - "Oferred Participation in ASO Study" (Y/N) - ASO Study Agreement Date | Share elsewhere - explanation in rationale column | Share elsewhere - explanation in rationale column | Do not have this data | Eversource provides this data on Group Study Wep Page. Same for NG, info can be found on GS Web page.
Add "System Modifications" (Y/N) - System Equipment Required (list major items from established list including RTO, DTT, transformer, etc.) - Estimated Cost (included in ISA) - Actual customer Upgrade Costs - Actual Utility Upgrade Costs - Down Payment Date - Full Payment Date - Increased Headroom (additional kW Capacity Enabled beyond project requirements) - Completion Date Anticipated - Modifications Completed | Have data, but not feasible to publish - explanation in rationale column | Have data, but not feasible to publish - explanation in rationale column | Do not have this data | some data may be able to be collected from source generating report (TBD) The data only exists in individual ISA; not database The data only exists in individual ISA; not database
Add "Transformer ID" | Add before order | Add after order | Share elsewhere - explanation in rationale column | need to confirm data is available from source generating report This is available for address in Hosting Capacity map. If looking in report circuit ID can be used to aggregate gens Is this refering to a Substation Transformer?
Add "Substation Name" | Add before order | Add before order | Share elsewhere - explanation in rationale column | need to confirm data is available from source generating report This is available for address in Hosting Capacity map. If looking in report circuit ID can be used to aggregate gens
Add "Common Study Area" |  | Add after order | Do not have this data | need to ensure this is something the source can perform. Already available on company website.
Add "Supplemental Review Engg Hours (Actual)" | Have data, but not feasible to publish - explanation in rationale column | Have data, but not feasible to publish - explanation in rationale column | Do not have this data | this is not available in source that generates the report
Add "Developer Name" (opt-in) | Have data, but not feasible to publish - explanation in rationale column | Have data, but not feasible to publish - explanation in rationale column | Do not have this data | may be difficult as this changes over time but may not be updated in source generating report The administrative effort would be greater than the value The administrative effort would be greater than the value
Add "Address" | Have data, but not feasible to publish - explanation in rationale column | Have data, but not feasible to publish - explanation in rationale column | Have data, but not feasible to publish - explanation in rationale column | Any legal concerns/customer information being shared? NG has concerns with this info being shared.
Add "Flexible Interconnection" - Capacity Derated (by X kW or alternatively, as as percent across all hours of import and all hours of export) or "Max Derating %nameplate" - Scheduled (Operational Tariff ON schedule) - Scheduled (Operational Tariff OFF schedule) - Variable: Utility Control: [name type] (e.g. NGrid ARI Pilot, Eversource Pilot) - Variable: Dynamic Local Control: [name type used] (e.g. inverter enabled Volt/VAR, EMS, etc.) | Do not have this data | Have data, but not feasible to publish - explanation in rationale column | Do not have this data | uncertain where this information resides for reporting The data only exists in individual ISA; not database
Add "Curtailment" | Add after order if new requirement is part of application submission | Add after order if new requirement is part of application submission | Do not have this data | if defined in application may be available to report out NG agrees with above statement. Concern about availability of data. Possibly revisit this after pilots are further developed/implemented. The format of data storage is likely to evolve over next 1-2 years. Maybe simply flagging projects that are “flexible” (leaving blank if not).
Other Change Requests
Consolidate options of Status field | Add after order | Add after order |  | can work with other EDC's to align terminology where possible Propose to use ISO report Difficult to consolidate further as it is dependent on IT systems that are different per EDC
Make "Expedited / Standard / Complex Project" a required field | Add after order | Add before order | Add before order | should be available. This is provided currently
Convert "Design Capacity" into "Generation Nameplate Capacity" | Add after order | Add after order | Add before order | need to review and make sure this doesn't interfere or conflict with other reporting requirements Assume this is only a heading change on spreadsheet. Do not understand value
Spreadsheet version of hosting capacity maps on a monthly basis, which includes: - System Planning Modifications Anticipated (Y/N) and details above - Circuit saturation (%) - Max Export Capacity Permitted (MW) - Min Load in last reading (MW) - Max Capacity (% and/or MW) - Curcuit Status (Open, Closed In Study, Closed with Upgrades in Progress, etc) - CIP Status - ASO Study Status | Share elsewhere - explanation in rationale column | Share elsewhere - explanation in rationale column | Add after order | needs IT review, possible budget and cost requirements and recovery. Some data in this column is redundant and already avialable on website. The Spreadsheet will not be concistent across EDC's. This is not practical as there is too much data to fit into a spreadsheet format
Remove lapsed time of specific step of process. Keep date step began. |  | Add before order | Add before order | NG supports simplifying the report.