|  |
| --- |
| UST Owner/Operator Requirements:1. Conduct at least once each calendar month, a test using the in-tank monitor over a continuous period of time in accordance with manufacturer’s specifications. If manufacturer specifications do not specify a continuous period of time, the period of time shall be 6 hours.
2. During the test period, no regulated substance shall be delivered or taken from the UST.
3. A loss of 0.20 g/hr or more over the testing period with a probability of detection of 0.95 and probability of false alarm of 0.05 shall indicate a release or leakage.
4. If, at the end of a calendar month, a passing test result has **not** been obtained, a tightness test shall be conducted within 72 hours of the end of the calendar month.
5. Any failed tightness test requires compliance with 310 CMR 80.33 within 24 hours of obtaining knowledge of a release, or 72 hours of obtaining knowledge of leakage.
6. Maintain all records in a hard copy or electronic log for a minimum of four years.
 |
|  |
| Facility Name |        | UST ID# |        |
|  |
| **Date** of Monthly Test |       | **Result** of Monthly Test (attached) | [ ]  Pass | [ ]  Fail |
| If Required, Tightness Test **Date** |       | **Tightness Test Results** (attached) | [ ]  Pass | [ ]  Fail: Release |
| [ ]  Fail: Leakage |
| Failed Test: Release | All product removed from UST within **24 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |        |
| Failed Test: Leakage | All product removed from UST within **72 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |        |
|  |
| **Date** of Monthly Test |       | **Result** of Monthly Test (attached) | [ ]  Pass | [ ]  Fail |
| If Required, Tightness Test **Date** |       | **Tightness Test Results** (attached) | [ ]  Pass | [ ]  Fail: Release |
| [ ]  Fail: Leakage |
| Failed Test: Release | All product removed from UST within **24 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |        |
| Failed Test: Leakage | All product removed from UST within **72 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |        |
|  |
| **Date** of Monthly Test |       | **Result** of Monthly Test (attached) | [ ]  Pass | [ ]  Fail |
| If Required, Tightness Test **Date** |       | **Tightness Test Results** (attached) | [ ]  Pass | [ ]  Fail: Release |
| [ ]  Fail: Leakage |
| Failed Test: Release | All product removed from UST within **24 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |        |
| Failed Test: Leakage | All product removed from UST within **72 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |        |
|  |  |  |  |  |
| Facility Name |        | UST ID# |  |
|  |
| **Date** of Monthly Test |       | **Result** of Monthly Test (attached) | [ ]  Pass | [ ]  Fail |
| If Required, Tightness Test **Date** |       | **Tightness Test Results** (attached) | [ ]  Pass | [ ]  Fail: Release |
| [ ]  Fail: Leakage |
| Failed Test: Release | All product removed from UST within **24 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |       |
| Failed Test: Leakage | All product removed from UST within **72 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |       |
|  |
| **Date** of Monthly Test |       | **Result** of Monthly Test (attached) | [ ]  Pass | [ ]  Fail |
| If Required, Tightness Test **Date** |       | **Tightness Test Results** (attached) | [ ]  Pass | [ ]  Fail: Release |
| [ ]  Fail: Leakage |
| Failed Test: Release | All product removed from UST within **24 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |       |
| Failed Test: Leakage | All product removed from UST within **72 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |       |
|  |
| **Date** of Monthly Test |       | **Result** of Monthly Test (attached) | [ ]  Pass | [ ]  Fail |
| If Required, Tightness Test **Date** |       | **Tightness Test Results** (attached) | [ ]  Pass | [ ]  Fail: Release |
| [ ]  Fail: Leakage |
| Failed Test: Release | All product removed from UST within **24 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |        |
| Failed Test: Leakage | All product removed from UST within **72 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |        |
|  |
| **Date** of Monthly Test |       | **Result** of Monthly Test (attached) | [ ]  Pass | [ ]  Fail |
| If Required, Tightness Test **Date** |       | **Tightness Test Results** (attached) | [ ]  Pass | [ ]  Fail: Release |
| [ ]  Fail: Leakage |
| Failed Test: Release | All product removed from UST within **24 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |       |
| Failed Test: Leakage | All product removed from UST within **72 hours** of failed test? | [ ]  Yes | [ ]  No | Date Removed (HW Manifest attached) |       |
|  |
| **Date** of Monthly Test |       | **Result** of Monthly Test (attached) | [ ]  Pass | [ ]  Fail |
| If Required, Tightness Test **Date** |       | **Tightness Test Results** (attached) | [ ]  Pass | [ ]  Fail: Release |
| [ ]  Fail: Leakage |
| Failed Test: Release | All product removed from UST within **24 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |       |
| Failed Test: Leakage | All product removed from UST within **72 hours** of failed test? | [ ]  Yes | [ ]  No | **Date** Removed (HW Manifest attached) |       |