| UST Owner/Operator Requirements: - Conduct at least once each calendar month, a test using the in-tank monitor over a continuous period of time in accordance with manufacturer’s specifications. If manufacturer specifications do not specify a continuous period of time, the period of time shall be 6 hours. - During the test period, no regulated substance shall be delivered or taken from the UST. - A loss of 0.20 g/hr or more over the testing period with a probability of detection of 0.95 and probability of false alarm of 0.05 shall indicate a release or leakage. - If, at the end of a calendar month, a passing test result has not been obtained, a tightness test shall be conducted within 72 hours of the end of the calendar month. - Any failed tightness test requires compliance with 310 CMR 80.33 within 24 hours of obtaining knowledge of a release, or 72 hours of obtaining knowledge of leakage. - Maintain all records in a hard copy or electronic log for a minimum of four years. |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Facility Name |  |  |  |  |  |  |  |  | UST ID# |  |  |  |
| Date of Monthly Test |  |  |  |  | Result of Monthly Test (attached) |  |  |  | Pass |  | Fail |  |
| If Required, Tightness Test Date |  |  |  |  |  | Tightness Test Results (attached) |  |  | Pass |  | Fail: Release |  |
|  |  |  |  |  |  |  |  |  |  |  | Fail: Leakage |  |
| Failed Test: Release |  | All product removed from UST within 24 hours of failed test? |  |  |  |  | Yes | No | Date Removed (HW Manifest attached) |  |  |  |
| Failed Test: Leakage |  | All product removed from UST within 72 hours of failed test? |  |  |  |  | Yes | No | Date Removed (HW Manifest attached) |  |  |  |
| Date of Monthly Test |  |  |  |  | Result of Monthly Test (attached) |  |  |  | Pass |  | Fail |  |
| If Required, Tightness Test Date |  |  |  |  |  | Tightness Test Results (attached) |  |  | Pass |  | Fail: Release |  |
|  |  |  |  |  |  |  |  |  |  |  | Fail: Leakage |  |
| Failed Test: Release |  | All product removed from UST within 24 hours of failed test? |  |  |  |  | Yes | No | Date Removed (HW Manifest attached) |  |  |  |
| Failed Test: Leakage |  | All product removed from UST within 72 hours of failed test? |  |  |  |  | Yes | No | Date Removed (HW Manifest attached) |  |  |  |
| Date of Monthly Test |  |  |  |  | Result of Monthly Test (attached) |  |  |  | Pass |  | Fail |  |
| If Required, Tightness Test Date |  |  |  |  |  | Tightness Test Results (attached) |  |  | Pass |  | Fail: Release |  |
|  |  |  |  |  |  |  |  |  |  |  | Fail: Leakage |  |
| Failed Test: Release |  | All product removed from UST within 24 hours of failed test? |  |  |  |  | Yes | No | Date Removed (HW Manifest attached) |  |  |  |
| Failed Test: Leakage |  | All product removed from UST within 72 hours of failed test? |  |  |  |  | Yes | No | Date Removed (HW Manifest attached) |  |  |  |
| Facility Name |  |  |  |  |  |  |  |  | UST ID# |  |  |  |
| Date of Monthly Test |  |  |  |  | Result of Monthly Test (attached) |  |  |  | Pass |  | Fail |  |
| If Required, Tightness Test Date |  |  |  |  |  | Tightness Test Results (attached) |  |  | Pass |  | Fail: Release |  |
|  |  |  |  |  |  |  |  |  |  |  | Fail: Leakage |  |
| Failed Test: Release |  | All product removed from UST within 24 hours of failed test? |  |  |  |  | Yes | No | Date Removed (HW Manifest attached) |  |  |  |
| Failed Test: Leakage |  | All product removed from UST within 72 hours of failed test? |  |  |  |  | Yes | No | Date Removed (HW Manifest attached) |  |  |  |
| Date of Monthly Test |  |  |  |  | Result of Monthly Test (attached) |  |  |  | Pass |  | Fail |  |
| If Required, Tightness Test Date |  |  |  |  |  | Tightness Test Results (attached) |  |  | Pass |  | Fail: Release |  |
|  |  |  |  |  |  |  |  |  |  |  | Fail: Leakage |  |
| Failed Test: Release |  | All product removed from UST within 24 hours of failed test? |  |  |  |  | Yes | No | Date Removed (HW Manifest attached) |  |  |  |
| Failed Test: Leakage |  | All product removed from UST within 72 hours of failed test? |  |  |  |  | Yes | No | Date Removed (HW Manifest attached) |  |  |  |
| Date of Monthly Test |  |  |  |  | Result of Monthly Test (attached) |  |  |  | Pass |  | Fail |  |
| If Required, Tightness Test Date |  |  |  |  |  | Tightness Test Results (attached) |  |  | Pass |  | Fail: Release |  |
|  |  |  |  |  |  |  |  |  |  |  | Fail: Leakage |  |
| Failed Test: Release |  | All product removed from UST within 24 hours of failed test? |  |  |  |  | Yes | No | Date Removed (HW Manifest attached) |  |  |  |
| Failed Test: Leakage |  | All product removed from UST within 72 hours of failed test? |  |  |  |  | Yes | No | Date Removed (HW Manifest attached) |  |  |  |
| Date of Monthly Test |  |  |  |  | Result of Monthly Test (attached) |  |  |  | Pass |  | Fail |  |
| If Required, Tightness Test Date |  |  |  |  |  | Tightness Test Results (attached) |  |  | Pass |  | Fail: Release |  |
|  |  |  |  |  |  |  |  |  |  |  | Fail: Leakage |  |
| Failed Test: Release |  | All product removed from UST within 24 hours of failed test? |  |  |  |  | Yes | No | Date Removed (HW Manifest attached) |  |  |  |
| Failed Test: Leakage |  | All product removed from UST within 72 hours of failed test? |  |  |  |  | Yes | No | Date Removed (HW Manifest attached) |  |  |  |
| Date of Monthly Test |  |  |  |  | Result of Monthly Test (attached) |  |  |  | Pass |  | Fail |  |
| If Required, Tightness Test Date |  |  |  |  |  | Tightness Test Results (attached) |  |  | Pass |  | Fail: Release |  |
|  |  |  |  |  |  |  |  |  |  |  | Fail: Leakage |  |
| Failed Test: Release |  | All product removed from UST within 24 hours of failed test? |  |  |  |  | Yes | No | Date Removed (HW Manifest attached) |  |  |  |
| Failed Test: Leakage |  | All product removed from UST within 72 hours of failed test? |  |  |  |  | Yes | No | Date Removed (HW Manifest attached) |  |  |  |